## GAG Standard Curve
Plate set-up for GAG [chondroitin sulphate B] standards | [5 empty] | Values are ug/ml
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 200 | 150 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0
B | 200 | 150 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0
C | 200 | 150 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0
D | 200 | 150 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0
E | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
F | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
G | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
H | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
Plate:1 - Wavelength:525 |  |  |  | Absorbances at 525 nm
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.769 | 0.733 | 0.735 | 0.567 | 0.419 | 0.346 | 0.314 | 0.29 | 0.281 | 0.279 | 0.273 | 0.27
B | 0.769 | 0.732 | 0.734 | 0.567 | 0.418 | 0.345 | 0.313 | 0.29 | 0.28 | 0.278 | 0.271 | 0.268
C | 0.728 | 0.712 | 0.712 | 0.557 | 0.412 | 0.343 | 0.311 | 0.287 | 0.268 | 0.272 | 0.272 | 0.271
D | 0.729 | 0.714 | 0.713 | 0.559 | 0.415 | 0.344 | 0.313 | 0.289 | 0.27 | 0.273 | 0.273 | 0.272
E | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
F | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
G | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
H | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
Standard curve plotted using only linear portion of the curve
ug/ml Chondroitin Sulphate |  |  | Mean A525 |  | Mean with 0.27025 subtracted
0 |  |  | 0.27025 |  | 0
3.125 |  |  | 0.289 |  | 0.01845
6.25 |  |  | 0.31275 |  | 0.0425
12.5 |  |  | 0.3445 |  | 0.07425
25 |  |  | 0.416 |  | 0.14575
50 |  |  | 0.5625 |  | 0.29225

## Pulmonary Wall GAG Analysis
Plate set-up for GAG assay of papain digested pulmonary wall tissues
Papain digests [5 ml] were diluted 1/4 in assay buffer prior to assay
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | HP012W4 | HP012W5 | HP012W6 | HP026W4 | HP026W5 | HP026W6 | HP017W4 | HP017W5 | HP017W6 | Blank | Blank | Blank
| B | HP012W4 | HP012W5 | HP012W6 | HP026W4 | HP026W5 | HP026W6 | HP017W4 | HP017W5 | HP017W6 | Blank | Blank | Blank
| C | HP012W4 | HP012W5 | HP012W6 | HP026W4 | HP026W5 | HP026W6 | HP017W4 | HP017W5 | HP017W6 | Blank | Blank | Blank
| D | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
| E | HP023W4 | HP023W5 | HP023W6 | HP016W4 | HP016W5 | HP016W6 | HP024W4 | HP024W5 | HP024W6 | Blank | Blank | Blank
| F | HP023W4 | HP023W5 | HP023W6 | HP016W4 | HP016W5 | HP016W6 | HP024W4 | HP024W5 | HP024W6 | Blank | Blank | Blank
| G | HP023W4 | HP023W5 | HP023W6 | HP016W4 | HP016W5 | HP016W6 | HP024W4 | HP024W5 | HP024W6 | Blank | Blank | Blank
| H | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
|  | Plate:1 - Wavelength:525 |  |  |  | Absorbances at 525 nm
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.319 | 0.329 | 0.33 | 0.347 | 0.339 | 0.366 | 0.346 | 0.343 | 0.337 | 0.055 | 0.047 | 0.051
| B | 0.318 | 0.335 | 0.333 | 0.342 | 0.337 | 0.359 | 0.336 | 0.329 | 0.33 | 0.048 | 0.047 | 0.05
| C | 0.316 | 0.339 | 0.33 | 0.339 | 0.343 | 0.349 | 0.339 | 0.336 | 0.33 | 0.047 | 0.049 | 0.046
| D | 0.053 | 0.052 | 0.048 | 0.051 | 0.048 | 0.052 | 0.051 | 0.047 | 0.047 | 0.046 | 0.047 | 0.048
| E | 0.313 | 0.312 | 0.303 | 0.309 | 0.305 | 0.304 | 0.302 | 0.299 | 0.298 | 0.047 | 0.048 | 0.049
| F | 0.314 | 0.318 | 0.306 | 0.301 | 0.309 | 0.299 | 0.299 | 0.295 | 0.304 | 0.047 | 0.047 | 0.049
| G | 0.306 | 0.313 | 0.308 | 0.308 | 0.304 | 0.302 | 0.298 | 0.333 | 0.291 | 0.047 | 0.046 | 0.048
| H | 0.054 | 0.054 | 0.048 | 0.05 | 0.052 | 0.049 | 0.048 | 0.048 | 0.051 | 0.055 | 0.047 | 0.055
[15 empty] | GAGug/mg | GAGug/mg
|  | Plate:1 - Wavelength:525 2: Mean; Plate:1 - Wavelength:525 4: Mean A570; Absorbances at 525 nm 6: GAG; Absorbances at 525 nm 8: Volume; Absorbances at 525 nm 10: GAG ug/ml xVol; Absorbances at 525 nm 12: Weight | GAG | Mean 3 | Mean | 95% CL
|  | Plate:1 - Wavelength:525 2: A525; Plate:1 - Wavelength:525 4: 0.27025; Absorbances at 525 nm 6: ug/ml; Absorbances at 525 nm 8: ml; Absorbances at 525 nm 10: x 4 [Dilution factor]; Absorbances at 525 nm 12: ug | ug/mg | samples | N=3
Native | HP012W4 | Plate:1 - Wavelength:525 2: 0.31767; Plate:1 - Wavelength:525 4: 0.047667; Absorbances at 525 nm 6: 8.0791; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 161.58; Absorbances at 525 nm 12: 32.5 | 4.97 | 5.7 | 6.57 | 2.21
| HP012W5 | Plate:1 - Wavelength:525 2: 0.33433; Plate:1 - Wavelength:525 4: 0.064333; Absorbances at 525 nm 6: 10.904; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 218.08; Absorbances at 525 nm 12: 34.9 | 6.25
| HP012W6 | Plate:1 - Wavelength:525 2: 0.331; Plate:1 - Wavelength:525 4: 0.061; Absorbances at 525 nm 6: 10.339; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 206.78; Absorbances at 525 nm 12: 35.2 | 5.87
| HP026W4 | Plate:1 - Wavelength:525 2: 0.34267; Plate:1 - Wavelength:525 4: 0.072667; Absorbances at 525 nm 6: 12.3164; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 246.32; Absorbances at 525 nm 12: 33.6 | 7.33 | 7.48
| HP026W5 | Plate:1 - Wavelength:525 2: 0.33967; Plate:1 - Wavelength:525 4: 0.069667; Absorbances at 525 nm 6: 11.8079; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 236.16; Absorbances at 525 nm 12: 33.9 | 6.97
| HP026W6 | Plate:1 - Wavelength:525 2: 0.358; Plate:1 - Wavelength:525 4: 0.088; Absorbances at 525 nm 6: 14.9153; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 298.16; Absorbances at 525 nm 12: 36.7 | 8.13
| HP017W4 | Plate:1 - Wavelength:525 2: 0.34033; Plate:1 - Wavelength:525 4: 0.070333; Absorbances at 525 nm 6: 11.9209; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 298.42; Absorbances at 525 nm 12: 33.6 | 7.1 | 6.53
| HP017W5 | Plate:1 - Wavelength:525 2: 0.336; Plate:1 - Wavelength:525 4: 0.066; Absorbances at 525 nm 6: 11.1864; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 223.73; Absorbances at 525 nm 12: 35.8 | 6.25
| HP017W6 | Plate:1 - Wavelength:525 2: 0.33233; Plate:1 - Wavelength:525 4: 0.06233; Absorbances at 525 nm 6: 10.565; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 211.3; Absorbances at 525 nm 12: 33.8 | 6.25
Decelled | HP023W4 | Plate:1 - Wavelength:525 2: 0.311; Plate:1 - Wavelength:525 4: 0.041; Absorbances at 525 nm 6: 6.9492; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 138.98; Absorbances at 525 nm 12: 38.4 | 3.62 | 3.85 | 3.93 | 0.6
| HP023W5 | Plate:1 - Wavelength:525 2: 0.31433; Plate:1 - Wavelength:525 4: 0.044333; Absorbances at 525 nm 6: 7.5141; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 150.28; Absorbances at 525 nm 12: 33.1 | 4.54
| HP023W6 | Plate:1 - Wavelength:525 2: 0.30567; Plate:1 - Wavelength:525 4: 0.035667; Absorbances at 525 nm 6: 6.0452; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 120.9; Absorbances at 525 nm 12: 35.7 | 3.39
| HP016W4 | Plate:1 - Wavelength:525 2: 0.306; Plate:1 - Wavelength:525 4: 0.036; Absorbances at 525 nm 6: 6.1017; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 122.03; Absorbances at 525 nm 12: 28.3 | 4.31 | 4.2
| HP016W5 | Plate:1 - Wavelength:525 2: 0.306; Plate:1 - Wavelength:525 4: 0.036; Absorbances at 525 nm 6: 6.1017; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 122.03; Absorbances at 525 nm 12: 29.3 | 4.16
| HP016W6 | Plate:1 - Wavelength:525 2: 0.30167; Plate:1 - Wavelength:525 4: 0.031667; Absorbances at 525 nm 6: 5.3672; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 107.34; Absorbances at 525 nm 12: 26 | 4.13
| HP024W4 | Plate:1 - Wavelength:525 2: 0.29967; Plate:1 - Wavelength:525 4: 0.029667; Absorbances at 525 nm 6: 5.0285; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 100.57; Absorbances at 525 nm 12: 34 | 2.96 | 3.74
| HP024W5 | Plate:1 - Wavelength:525 2: 0.309; Plate:1 - Wavelength:525 4: 0.039; Absorbances at 525 nm 6: 6.6102; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 132.2; Absorbances at 525 nm 12: 26.9 | 4.91
| HP024W6 | Plate:1 - Wavelength:525 2: 0.29767; Plate:1 - Wavelength:525 4: 0.027667; Absorbances at 525 nm 6: 4.6893; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 93.79; Absorbances at 525 nm 12: 28.1 | 3.34
t-Test: Two-Sample Assuming Equal Variances
[7 empty] | Variable 1 | Variable 2
|  |  |  | Mean |  |  | 6.57 | 3.93
|  |  |  | Variance |  |  | 0.7933 | 0.0577
|  |  |  | Observations |  |  | 3 | 3
|  |  |  | Pooled Variance |  |  | 0.4255
|  |  |  | Hypothesized Mean Difference |  |  | 0
|  |  |  | df |  |  | 4
|  |  |  | t Stat |  |  | 4.9568
|  |  |  | P(T<=t) one-tail |  |  | 0.0038619
|  |  |  | t Critical one-tail |  |  | 2.1318
|  |  |  | P(T<=t) two-tail |  |  | 0.0077238
|  |  |  | t Critical two-tail |  |  | 2.7764

## Aortic Wall GAG Analysis
Plate set-up for GAG assay of papain digested aortic wall tissues
Papain digests [5 ml] were diluted 1/4 in assay buffer prior to assay
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | HA026W4 | HA026W5 | HA026W6 | HA027W3 | HA027W4 | HA027W5 | HA025W4 | HA025W5 | HA025W6 | Blank | Blank | Blank
| B | HA026W4 | HA026W5 | HA026W6 | HA027W3 | HA027W4 | HA027W5 | HA025W4 | HA025W5 | HA025W6 | Blank | Blank | Blank
| C | HA026W4 | HA026W5 | HA026W6 | HA027W3 | HA027W4 | HA027W5 | HA025W4 | HA025W5 | HA025W6 | Blank | Blank | Blank
| D | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
| E | HA024W4 | HA024W5 | HA024W6 | HA017W4 | HA017W5 | HA017W6 | HA023W4 | HA023W5 | HA023W6 | Blank | Blank | Blank
| F | HA024W4 | HA024W5 | HA024W6 | HA017W4 | HA017W5 | HA017W6 | HA023W4 | HA023W5 | HA023W6 | Blank | Blank | Blank
| G | HA024W4 | HA024W5 | HA024W6 | HA017W4 | HA017W5 | HA017W6 | HA023W4 | HA023W5 | HA023W6 | Blank | Blank | Blank
| H | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
|  | Plate:1 - Wavelength:525 |  |  |  | Absorbances at 525 nm
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.423 | 0.452 | 0.458 | 0.356 | 0.296 | 0.502 | 0.356 | 0.377 | 0.372 | 0.049 | 0.049 | 0.057
| B | 0.419 | 0.445 | 0.488 | 0.356 | 0.293 | 0.505 | 0.35 | 0.362 | 0.384 | 0.047 | 0.047 | 0.048
| C | 0.406 | 0.465 | 0.498 | 0.355 | 0.292 | 0.509 | 0.359 | 0.373 | 0.382 | 0.047 | 0.046 | 0.05
| D | 0.051 | 0.047 | 0.047 | 0.047 | 0.048 | 0.046 | 0.046 | 0.047 | 0.047 | 0.047 | 0.047 | 0.048
| E | 0.334 | 0.339 | 0.321 | 0.355 | 0.329 | 0.358 | 0.395 | 0.389 | 0.363 | 0.047 | 0.052 | 0.048
| F | 0.321 | 0.34 | 0.332 | 0.35 | 0.331 | 0.362 | 0.395 | 0.382 | 0.359 | 0.047 | 0.049 | 0.047
| G | 0.327 | 0.337 | 0.328 | 0.347 | 0.325 | 0.367 | 0.396 | 0.381 | 0.354 | 0.047 | 0.047 | 0.05
| H | 0.049 | 0.047 | 0.048 | 0.052 | 0.051 | 0.051 | 0.048 | 0.05 | 0.051 | 0.048 | 0.048 | 0.055
[15 empty] | GAGug/mg | GAGug/mg
|  | Plate:1 - Wavelength:525 2: Mean; Plate:1 - Wavelength:525 4: Mean A570; Absorbances at 525 nm 6: GAG; Absorbances at 525 nm 8: Volume; Absorbances at 525 nm 10: GAG ug/ml xVol; Absorbances at 525 nm 12: Weight | GAG | Mean 3 | Mean | 95% CL
|  | Plate:1 - Wavelength:525 2: A525; Plate:1 - Wavelength:525 4: 0.27025; Absorbances at 525 nm 6: ug/ml; Absorbances at 525 nm 8: ml; Absorbances at 525 nm 10: x 4 [Dilution factor]; Absorbances at 525 nm 12: ug | ug/mg | samples | N=3
Native | HA026W4 | Plate:1 - Wavelength:525 2: 0.416; Plate:1 - Wavelength:525 4: 0.146; Absorbances at 525 nm 6: 24.7458; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 494.9153; Absorbances at 525 nm 12: 52.8 | 9.37 | 11.85 | 10.49 | 6.56
| HA026W5 | Plate:1 - Wavelength:525 2: 0.454; Plate:1 - Wavelength:525 4: 0.184; Absorbances at 525 nm 6: 31.1864; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 623.7288; Absorbances at 525 nm 12: 51.5 | 12.11
| HA026W6 | Plate:1 - Wavelength:525 2: 0.48133; Plate:1 - Wavelength:525 4: 0.21133; Absorbances at 525 nm 6: 35.8192; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 716.3842; Absorbances at 525 nm 12: 50.9 | 14.07
| HA027W3 | Plate:1 - Wavelength:525 2: 0.35567; Plate:1 - Wavelength:525 4: 0.085667; Absorbances at 525 nm 6: 14.5198; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 290.3955; Absorbances at 525 nm 12: 30 | 9.68 | 12.18
1 in 4 Dil | HA027W4 | Plate:1 - Wavelength:525 2: 0.29367; Plate:1 - Wavelength:525 4: 0.023667; Absorbances at 525 nm 6: below; Absorbances at 525 nm 10: below; Absorbances at 525 nm 12: 45.5 | 9.73
| HA027W5 | Plate:1 - Wavelength:525 2: 0.50533; Plate:1 - Wavelength:525 4: 0.23533; Absorbances at 525 nm 6: 39.887; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 797.7401; Absorbances at 525 nm 12: 46.6 | 17.12
| HA025W4 | Plate:1 - Wavelength:525 2: 0.355; Plate:1 - Wavelength:525 4: 0.085; Absorbances at 525 nm 6: 14.4068; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 288.1356; Absorbances at 525 nm 12: 42.7 | 6.75 | 7.45
| HA025W5 | Plate:1 - Wavelength:525 2: 0.37067; Plate:1 - Wavelength:525 4: 0.10067; Absorbances at 525 nm 6: 17.0621; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 341.2429; Absorbances at 525 nm 12: 46.3 | 7.37
| HA025W6 | Plate:1 - Wavelength:525 2: 0.37933; Plate:1 - Wavelength:525 4: 0.10933; Absorbances at 525 nm 6: 18.5311; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 370.6215; Absorbances at 525 nm 12: 45 | 8.24
1 in 2 Dil | HA027W4 | Plate:1 - Wavelength:525 2: 0.53133; Plate:1 - Wavelength:525 4: 0.26133; Absorbances at 525 nm 6: 44.2938; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 442.9379
Decelled | HA024W4 | Plate:1 - Wavelength:525 2: 0.32733; Plate:1 - Wavelength:525 4: 0.05733; Absorbances at 525 nm 6: 9.7175; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 194.3503; Absorbances at 525 nm 12: 40.2 | 4.83 | 5.12 | 6.93 | 5.4
| HA024W5 | Plate:1 - Wavelength:525 2: 0.33867; Plate:1 - Wavelength:525 4: 0.068667; Absorbances at 525 nm 6: 11.6384; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 232.7684; Absorbances at 525 nm 12: 42.5 | 5.48
| HA024W6 | Plate:1 - Wavelength:525 2: 0.327; Plate:1 - Wavelength:525 4: 0.057; Absorbances at 525 nm 6: 9.661; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 193.2203; Absorbances at 525 nm 12: 38.2 | 5.06
| HA017W4 | Plate:1 - Wavelength:525 2: 0.35067; Plate:1 - Wavelength:525 4: 0.080667; Absorbances at 525 nm 6: 13.6723; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 273.4463; Absorbances at 525 nm 12: 41.6 | 6.57 | 6.32
| HA017W5 | Plate:1 - Wavelength:525 2: 0.32833; Plate:1 - Wavelength:525 4: 0.058333; Absorbances at 525 nm 6: 9.887; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 197.7401; Absorbances at 525 nm 12: 36.2 | 5.46
| HA017W6 | Plate:1 - Wavelength:525 2: 0.36233; Plate:1 - Wavelength:525 4: 0.092333; Absorbances at 525 nm 6: 15.6497; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 312.9944; Absorbances at 525 nm 12: 45.5 | 6.88
| HA023W4 | Plate:1 - Wavelength:525 2: 0.39533; Plate:1 - Wavelength:525 4: 0.12533; Absorbances at 525 nm 6: 21.2429; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 424.8588; Absorbances at 525 nm 12: 38.7 | 10.98 | 9.34
| HA023W5 | Plate:1 - Wavelength:525 2: 0.384; Plate:1 - Wavelength:525 4: 0.114; Absorbances at 525 nm 6: 19.322; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 386.4407; Absorbances at 525 nm 12: 40.8 | 9.47
| HA023W6 | Plate:1 - Wavelength:525 2: 0.35867; Plate:1 - Wavelength:525 4: 0.088667; Absorbances at 525 nm 6: 15.0282; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 300.565; Absorbances at 525 nm 12: 39.7 | 7.57
Analysis of HA027W4 was repeated at 1/2 dilution since off standard curve
t-Test: Two-Sample Assuming Equal Variances
[10 empty] | Variable 1 | Variable 2
[7 empty] | Mean |  |  | 10.4933 | 6.9267
[7 empty] | Variance |  |  | 6.9736 | 4.7281
[7 empty] | Observations |  |  | 3 | 3
[7 empty] | Pooled Variance |  |  | 5.8509
[7 empty] | Hypothesized Mean Difference |  |  | 0
[7 empty] | df |  |  | 4
[7 empty] | t Stat |  |  | 1.8059
[7 empty] | P(T<=t) one-tail |  |  | 0.072618
[7 empty] | t Critical one-tail |  |  | 2.1318
[7 empty] | P(T<=t) two-tail |  |  | 0.14524
[7 empty] | t Critical two-tail |  |  | 2.7764

## Digestion Volumes
Volumes of Tissue Digests following Papain Digestion or Acid Hydrolysis
Native Tissues |  |  |  | Decellularised Tissues
|  | Dry mg | Vol ml |  |  |  | Dry mg | Vol ml
HA025 | Leaflet | 19.5 | 5 |  | HA017 | Leaflet | 6.75 | 5
| Leaflet | 19.5 | 11.8 |  |  | Leaflet | 6.75 | 12
| Wall 1 | 44.4 | 11.1 |  |  | Wall 1 | 45.5 | 11.9
| Wall 2 | 42.4 | 11.4 |  |  | Wall 2 | 43.6 | 11.5
| Wall 3 | 47.1 | 11 |  |  | Wall 3 | 40.7 | 11.6
| Wall 4 | 42.7 | 5 |  |  | Wall 4 | 41.6 | 5
| Wall 5 | 46.3 | 5 |  |  | Wall 5 | 36.2 | 5
| Wall 6 | 45 | 5 |  |  | Wall 6 | 45.5 | 5
HA026 | Leaflet | 31.7 | 5 |  | HA023 | Leaflet | 21.5 | 5
| Leaflet | 31.7 | 22.4 |  |  | Leaflet | 21.5 | 14
| Wall 1 | 48.4 | 13.3 |  |  | Wall 1 | 40.9 | 12
| Wall 2 | 51 | 11.5 |  |  | Wall 2 | 38.5 | 11.4
| Wall 3 | 48.5 | 13.5 |  |  | Wall 3 | 85 | 11.3
| Wall 4 | 52.8 | 5 |  |  | Wall 4 | 38.7 | 5
| Wall 5 | 51.5 | 5 |  |  | Wall 5 | 40.8 | 5
| Wall 6 | 50.9 | 5 |  |  | Wall 6 | 39.7 | 5
HA027 | Leaflet | 23.45 | 5 |  | HA024 | Leaflet | 17.1 | 5
| Leaflet | 23.45 | 12 |  |  | Leaflet | 17.1 | 15
| Wall 1 | 45.4 | 11.5 |  |  | Wall 1 | 44.5 | 11.6
| Wall 2 | 45.8 | 11.1 |  |  | Wall 2 | 42.5 | 10.9
| Wall 3 | 46 | 5 |  |  | Wall 3 | 39.7 | 10.8
| Wall 4 | 45.5 | 5 |  |  | Wall 4 | 40.2 | 5
| Wall 5 | 46.6 | 5 |  |  | Wall 5 | 42.5 | 5
| Wall 6 | 47.7 | 12 |  |  | Wall 6 | 38.2 | 5
HP012 | Leaflet | 14 | 5 |  | HP016 | Leaflet | 15.85 | 5
| Leaflet | 14 | 11 |  |  | Leaflet | 15.85 | 11.5
| Wall 1 | 41.2 | 11.5 |  |  | Wall 1 | 30.2 | 11.1
| Wall 2 | 36.5 | 14.5 |  |  | Wall 2 | 27 | 11.3
| Wall 3 | 33 | 13.4 |  |  | Wall 3 | 27.1 | 11.4
| Wall 4 | 32.5 | 5 |  |  | Wall 4 | 28.3 | 5
| Wall 5 | 34.9 | 5 |  |  | Wall 5 | 29.3 | 5
| Wall 6 | 35.2 | 5 |  |  | Wall 6 | 26 | 5
HP017 | Leaflet | 10.15 | 5 |  | HP023 | Leaflet | 9.45 | 5
| Leaflet | 10.15 | 12.3 |  |  | Leaflet | 9.45 | 11.9
| Wall 1 | 37.2 | 11.1 |  |  | Wall 1 | 34.3 | 11.3
| Wall 2 | 30.8 | 11.5 |  |  | Wall 2 | 35.7 | 11.2
| Wall 3 | 30.5 | 11.1 |  |  | Wall 3 | 36.8 | 12
| Wall 4 | 33.6 | 5 |  |  | Wall 4 | 38.4 | 5
| Wall 5 | 35.8 | 5 |  |  | Wall 5 | 33.1 | 5
| Wall 6 | 33.8 | 5 |  |  | Wall 6 | 35.7 | 5
HP026 | Leaflet | 8.7 | 5 |  | HP024 | Leaflet | 13.5 | 5
| Leaflet | 8.7 | 12.1 |  |  | Leaflet | 13.5 | 12.1
| Wall 1 | 33.4 | 11.8 |  |  | Wall 1 | 31.2 | 11.3
| Wall 2 | 37.2 | 11 |  |  | Wall 2 | 27.3 | 10.5
| Wall 3 | 36 | 12.3 |  |  | Wall 3 | 28.6 | 12
| Wall 4 | 33.6 | 5 |  |  | Wall 4 | 34 | 5
| Wall 5 | 33.9 | 5 |  |  | Wall 5 | 26.9 | 5
| Wall 6 | 36.7 | 5 |  |  | Wall 6 | 28.1 | 5

## Tissue Weights
Weights of tissues used for biochemical assays
Native Tissues |  | 2012-05-18 | 2012-05-29 | 2012-05-31 |  | Decellularised Tissues |  |  | 2012-05-18 | 2012-05-29 | 2012-05-31
|  | Wet mg | Dry mg | Dry mg |  |  |  |  | Wet mg | Dry mg | Dry mg
HA025 | Leaflet | 321.8 | 39 | 40 |  |  | HA017 | Leaflet | 115.6 | 13.5 | 13.8
| Wall 1 | 202 | 44.4 | 45 |  |  |  | Wall 1 | 203.8 | 45.5 | 45.6
| Wall 2 | 200 | 42.4 | 43 |  |  |  | Wall 2 | 199.8 | 43.6 | 33.5
| Wall 3 | 200 | 47.1 | 47.1 |  |  |  | Wall 3 | 202 | 40.7 | 41
| Wall 4 | 200 | 42.7 | 42.5 |  |  |  | Wall 4 | 200.2 | 41.6 | 41.7
| Wall 5 | 202 | 46.3 | 46.3 |  |  |  | Wall 5 | 203.6 | 36.2 | 37
| Wall 6 | 99 | 45 | 45.2 |  |  |  | Wall 6 | 204.5 | 45.5 | 45.5
HA026 | Leaflet | 394.6 | 63.4 | 63.4 |  |  | HA023 | Leaflet | 307 | 43 | 3.1
| Wall 1 | 201 | 48.4 | 48.6 |  |  |  | Wall 1 | 200.7 | 40.9 | 41
| Wall 2 | 201 | 51 | 50.9 |  |  |  | Wall 2 | 202 | 38.5 | 38.6
| Wall 3 | 201 | 48.5 | 48.5 |  |  |  | Wall 3 | 200.6 | 85 | 40.5
| Wall 4 | 200 | 52.8 | 53 |  |  |  | Wall 4 | 206 | 38.7 | 38.5
| Wall 5 | 201.8 | 51.5 | 51.3 |  |  |  | Wall 5 | 209 | 40.8 | 40.8
| Wall 6 | 200.4 | 50.9 | 51 |  |  |  | Wall 6 | 200 | 39.7 | 39.6
HA027 | Leaflet | 426 | 4.9 | 47 |  |  | HA024 | Leaflet | 262 | 34.2 | 34.5
| Wall 1 | 200.5 | 45.4 | 45.5 |  |  |  | Wall 1 | 209 | 44.5 | 44.7
| Wall 2 | 200 | 45.8 | 45.8 |  |  |  | Wall 2 | 200.2 | 42.5 | 42.6
| Wall 3 | 200 | 46 | 46.1 |  |  |  | Wall 3 | 205 | 39.7 | 39.7
| Wall 4 | 200.6 | 45.5 | 45.5 |  |  |  | Wall 4 | 201.8 | 40.2 | 40.8
| Wall 5 | 202 | 46.6 | 47.1 |  |  |  | Wall 5 | 205.4 | 42.5 | 42.5
| Wall 6 | 202 | 47.7 | 47.8 | [30mg] |  |  | Wall 6 | 205.6 | 38.2 | 38.7
HP012 | Leaflet | 324 | 28 | 28.1 |  |  | HP016 | Leaflet | 298 | 31.7 | 31.8
| Wall 1 | 202.4 | 41.2 | 41.3 |  |  |  | Wall 1 | 195 | 30.2 | 30.4
| Wall 2 | 199 | 36.5 | 36.5 |  |  |  | Wall 2 | 209 | 27 | 26.9
| Wall 3 | 201.8 | 33 | 33 |  |  |  | Wall 3 | 198.1 | 27.1 | 27.1
| Wall 4 | 200 | 32.5 | 32.8 |  |  |  | Wall 4 | 202 | 28.3 | 28.3
| Wall 5 | 202 | 34.9 | 35 |  |  |  | Wall 5 | 205 | 29.3 | 29.4
| Wall 6 | 204 | 35.2 | 35.3 |  |  |  | Wall 6 | 201.5 | 26 | 26
HP017 | Leaflet | 186 | 20.3 | 20.9 |  |  | HP023 | Leaflet | 178 | 18.9 | 18.8
| Wall 1 | 203 | 37.2 | 36.9 |  |  |  | Wall 1 | 202 | 34.3 | 34.3
| Wall 2 | 197 | 30.8 | 31 |  |  |  | Wall 2 | 203 | 35.7 | 35.6
| Wall 3 | 203.6 | 30.5 | 30.4 |  |  |  | Wall 3 | 198 | 36.8 | 36.6
| Wall 4 | 201.4 | 33.6 | 33.6 |  |  |  | Wall 4 | 204.4 | 38.4 | 38.3
| Wall 5 | 202 | 35.8 | 35.9 |  |  |  | Wall 5 | 203.2 | 33.1 | 33.2
| Wall 6 | 201.6 | 33.8 | 34.4 |  |  |  | Wall 6 | 198 | 35.7 | 35.8
HP026 | Leaflet | 122.4 | 17.4 | 17.5 |  |  | HP024 | Leaflet | 205.5 | 27 | 27.2
| Wall 1 | 203 | 33.4 | 34.3 |  |  |  | Wall 1 | 203.4 | 31.2 | 31.2
| Wall 2 | 205 | 37.2 | 36.9 |  |  |  | Wall 2 | 208 | 27.3 | 26.9
| Wall 3 | 200.6 | 36 | 36.7 |  |  |  | Wall 3 | 201 | 28.6 | 29
| Wall 4 | 202 | 33.6 | 33.5 |  |  |  | Wall 4 | 201 | 34 | 33.9
| Wall 5 | 202 | 33.9 | 33.9 |  |  |  | Wall 5 | 204 | 26.9 | 26.7
| Wall 6 | 200 | 36.7 | 36.7 |  |  |  | Wall 6 | 296 | 28.1 | 28.4
Due to the small size it was only possible to obtain one sample of leflet tissue [combined 3 leaflets] from each valve for desired weights
Six samples of the wall tissue from each valve
Shaded wall tissue samples were acid hydrolysed and used for hydroyproline assay [HXP]
Unshaded were digested in 5 ml papain and used for GAG assays
The dry leaflet tissue weights were divided into two for (a) acid hydrolysis and (b) papain digestion

## Leaflets GAG Analysis
Plate set-up for GAG assay of papain digested aortic and pulmonary lealfet tissues
Papain digests [5 ml] were diluted 1/2 in assay buffer prior to assay
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | HA027 | HA026 | HA025 | HP026 | HP012 | HP017 | Blank | Blank | Blank | Blank | Blank | Blank
| B | HA027 | HA026 | HA025 | HP026 | HP012 | HP017 | Blank | Blank | Blank | Blank | Blank | Blank
| C | HA027 | HA026 | HA025 | HP026 | HP012 | HP017 | Blank | Blank | Blank | Blank | Blank | Blank
| D | HA024 | HA017 | HA023 | HP024 | HP016 | HP023 | Blank | Blank | Blank | Blank | Blank | Blank
| E | HA024 | HA017 | HA023 | HP024 | HP016 | HP023 | Blank | Blank | Blank | Blank | Blank | Blank
| F | HA024 | HA017 | HA023 | HP024 | HP016 | HP023 | Blank | Blank | Blank | Blank | Blank | Blank
| G | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
| H | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank | Blank
|  | Plate:1 - Wavelength:525 |  |  |  | Absorbances at 525 nm
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.487 | 0.58 | 0.442 | 0.316 | 0.376 | 0.325 | 0.048 | 0.048 | 0.047 | 0.047 | 0.049 | 0.053
| B | 0.487 | 0.581 | 0.442 | 0.316 | 0.375 | 0.325 | 0.048 | 0.047 | 0.047 | 0.047 | 0.049 | 0.053
| C | 0.312 | 0.29 | 0.312 | 0.293 | 0.289 | 0.289 | 0.049 | 0.049 | 0.05 | 0.047 | 0.056 | 0.054
| D | 0.311 | 0.288 | 0.309 | 0.292 | 0.289 | 0.288 | 0.048 | 0.048 | 0.049 | 0.047 | 0.056 | 0.052
| E | 0.302 | 0.293 | 0.308 | 0.291 | 0.295 | 0.291 | 0.051 | 0.048 | 0.049 | 0.05 | 0.056 | 0.049
| F | 0.302 | 0.293 | 0.307 | 0.289 | 0.296 | 0.291 | 0.051 | 0.047 | 0.049 | 0.049 | 0.055 | 0.048
| G | 0.05 | 0.049 | 0.049 | 0.054 | 0.053 | 0.054 | 0.049 | 0.048 | 0.054 | 0.051 | 0.05 | 0.057
| H | 0.049 | 0.048 | 0.048 | 0.052 | 0.051 | 0.051 | 0.048 | 0.047 | 0.053 | 0.051 | 0.049 | 0.057
GAGug/mg
|  | Plate:1 - Wavelength:525 2: Mean; Plate:1 - Wavelength:525 4: Mean A570; Absorbances at 525 nm 6: GAG; Absorbances at 525 nm 8: Volume; Absorbances at 525 nm 10: GAG ug/ml xVol; Absorbances at 525 nm 12: Weight |  | GAG | Mean | 95% CL
|  | Plate:1 - Wavelength:525 2: A525; Plate:1 - Wavelength:525 4: 0.27025; Absorbances at 525 nm 6: ug/ml; Absorbances at 525 nm 8: ml; Absorbances at 525 nm 10: x 2 [Dilution factor]; Absorbances at 525 nm 12: ug |  | ug/mg | N=3
Native | HA027 | Plate:1 - Wavelength:525 2: 0.42867; Plate:1 - Wavelength:525 4: 0.15867; Absorbances at 525 nm 6: 26.8927; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 268.9266; Absorbances at 525 nm 12: 23.45 |  | 11.47 | 11.36 | 0.39
Aortic | HA026 | Plate:1 - Wavelength:525 2: 0.48367; Plate:1 - Wavelength:525 4: 0.21367; Absorbances at 525 nm 6: 36.2147; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 362.1469; Absorbances at 525 nm 12: 31.7 |  | 11.42
| HA025 | Plate:1 - Wavelength:525 2: 0.39867; Plate:1 - Wavelength:525 4: 0.12867; Absorbances at 525 nm 6: 21.8079; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 218.0791; Absorbances at 525 nm 12: 19.5 |  | 11.18
Native | HP026 | Plate:1 - Wavelength:525 2: 0.30833; Plate:1 - Wavelength:525 4: 0.038333; Absorbances at 525 nm 6: 6.4972; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 64.9718; Absorbances at 525 nm 12: 8.7 |  | 7.47 | 7.98 | 2.83
Pulmonary | HP012 | Plate:1 - Wavelength:525 2: 0.34667; Plate:1 - Wavelength:525 4: 0.076667; Absorbances at 525 nm 6: 12.9944; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 129.9435; Absorbances at 525 nm 12: 14 |  | 9.28
| HP017 | Plate:1 - Wavelength:525 2: 0.313; Plate:1 - Wavelength:525 4: 0.043; Absorbances at 525 nm 6: 7.2881; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 72.8814; Absorbances at 525 nm 12: 10.15 |  | 7.18
Decelled | HA024 | Plate:1 - Wavelength:525 2: 0.305; Plate:1 - Wavelength:525 4: 0.035; Absorbances at 525 nm 6: 5.9322; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 59.322; Absorbances at 525 nm 12: 17.1 |  | 3.47 | 3.94 | 3.1
Aortic | HA017 | Plate:1 - Wavelength:525 2: 0.29133; Plate:1 - Wavelength:525 4: 0.021333; Absorbances at 525 nm 6: 3.6158; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 36.1582; Absorbances at 525 nm 12: 6.75 |  | 5.36
| HA023 | Plate:1 - Wavelength:525 2: 0.308; Plate:1 - Wavelength:525 4: 0.038; Absorbances at 525 nm 6: 6.4407; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 64.4068; Absorbances at 525 nm 12: 21.5 |  | 3
Decelled | HP024 | Plate:1 - Wavelength:525 2: 0.29067; Plate:1 - Wavelength:525 4: 0.020667; Absorbances at 525 nm 6: 3.5028; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 35.0282; Absorbances at 525 nm 12: 13.5 |  | 2.59 | 2.89 | 1.5
Pulmonary | HP016 | Plate:1 - Wavelength:525 2: 0.29333; Plate:1 - Wavelength:525 4: 0.023333; Absorbances at 525 nm 6: 3.9548; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 39.548; Absorbances at 525 nm 12: 15.85 |  | 2.5
| HP023 | Plate:1 - Wavelength:525 2: 0.29; Plate:1 - Wavelength:525 4: 0.02; Absorbances at 525 nm 6: 3.3898; Absorbances at 525 nm 8: 5; Absorbances at 525 nm 10: 33.8983; Absorbances at 525 nm 12: 9.45 |  | 3.59
|  | Student t-test for aortic leaflets | [7 empty] | Student t-test for pulmonary leaflets
|  | t-Test: Two-Sample Assuming Equal Variances | [7 empty] | t-Test: Two-Sample Assuming Equal Variances
|  | Plate:1 - Wavelength:525 4: Variable 1; Absorbances at 525 nm 5: Variable 2; Absorbances at 525 nm 12: Variable 1 | Variable 2
|  | Plate:1 - Wavelength:525 1: Mean; Plate:1 - Wavelength:525 4: 11.3567; Absorbances at 525 nm 5: 3.9433; Absorbances at 525 nm 9: Mean; Absorbances at 525 nm 12: 7.9767 | 2.8933
|  | Plate:1 - Wavelength:525 1: Variance; Plate:1 - Wavelength:525 4: 0.024033; Absorbances at 525 nm 5: 1.5604; Absorbances at 525 nm 9: Variance; Absorbances at 525 nm 12: 1.295 | 0.36603
|  | Plate:1 - Wavelength:525 1: Observations; Plate:1 - Wavelength:525 4: 3; Absorbances at 525 nm 5: 3; Absorbances at 525 nm 9: Observations; Absorbances at 525 nm 12: 3 | 3
|  | Pooled Variance |  |  | 0.79223 |  |  |  |  | Pooled Variance |  |  | 0.83053
|  | Hypothesized Mean Difference |  |  | 0 |  |  |  |  | Hypothesized Mean Difference |  |  | 0
|  | df |  |  | 4 |  |  |  |  | df |  |  | 4
|  | t Stat |  |  | 10.2008 |  |  |  |  | t Stat |  |  | 6.8315
|  | P(T<=t) one-tail |  |  | 0.00026018 |  |  |  |  | P(T<=t) one-tail |  |  | 0.0012007
|  | t Critical one-tail |  |  | 2.1318 |  |  |  |  | t Critical one-tail |  |  | 2.1318
|  | P(T<=t) two-tail |  |  | 0.00052035 |  |  |  |  | P(T<=t) two-tail |  |  | 0.0024014
|  | t Critical two-tail |  |  | 2.7764 |  |  |  |  | t Critical two-tail |  |  | 2.7764