## Sheet1
Dell SC1425 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption3 | 5 | 15 | 0.0070785 | 0.01573
0.45 | 10 | 20 | 0.009438 | 0.020973
| 12.5 | 23 | 0.010854 | 0.024119
| 15 | 26 | 0.012269 | 0.027265
| 20 | 29 | 0.013685 | 0.030411
| 25 | 33 | 0.015573 | 0.034606
| 30 | 37 | 0.01746 | 0.038801
| 35 | 40 | 0.018876 | 0.041947
| 40 | 43 | 0.020292 | 0.045093
| 45 | 46 | 0.021707 | 0.048239
| 50 | 48 | 0.022651 | 0.050336
IBM xSeries 360 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption4 | 5 | 29 | 0.013685 | 0.030411
0.37 | 10 | 44 | 0.020764 | 0.046141
| 12.5 | 47 | 0.022179 | 0.049287
| 15 | 53 | 0.025011 | 0.055579
| 20 | 65 | 0.030673 | 0.068163
| 25 | 73 | 0.034449 | 0.076553
| 30 | 77 | 0.036336 | 0.080747
| 35 | 87 | 0.041055 | 0.091234
| 40 | 94 | 0.044359 | 0.098575
| 45 | 102 | 0.048134 | 0.10696
| 50 | 107 | 0.050493 | 0.11221
Dell 2850 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption5 | 5 | 18 | 0.0084942 | 0.018876
0.7 | 10 | 27 | 0.012741 | 0.028314
| 12.5 | 30 | 0.014157 | 0.03146
| 15 | 34 | 0.016045 | 0.035655
| 20 | 39 | 0.018404 | 0.040898
| 25 | 45 | 0.021236 | 0.04719
| 30 | 49 | 0.023123 | 0.051385
| 35 | 53 | 0.025011 | 0.055579
| 40 | 57 | 0.026898 | 0.059774
| 45 | 60 | 0.028314 | 0.06292
| 50 | 63 | 0.02973 | 0.066066
Dell 1850 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption6 | 5 | 11 | 0.0051909 | 0.011535
0.55 | 10 | 14 | 0.0066066 | 0.014681
| 12.5 | 16 | 0.0075504 | 0.016779
| 15 | 18 | 0.0084942 | 0.018876
| 20 | 22 | 0.010382 | 0.023071
| 25 | 25 | 0.011798 | 0.026217
| 30 | 27 | 0.012741 | 0.028314
| 35 | 30 | 0.014157 | 0.03146
| 40 | 32 | 0.015101 | 0.033557
| 45 | 34 | 0.016045 | 0.035655
| 50 | 37 | 0.01746 | 0.038801
Dell 750 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption7 | 5 | 13 | 0.0061347 | 0.013633
0.28 | 10 | 17 | 0.0080223 | 0.017827
| 12.5 | 21 | 0.0099099 | 0.022022
| 15 | 24 | 0.011326 | 0.025168
| 20 | 28 | 0.013213 | 0.029363
| 25 | 32 | 0.015101 | 0.033557
| 30 | 34 | 0.016045 | 0.035655
| 35 | 38 | 0.017932 | 0.039849
| 40 | 40 | 0.018876 | 0.041947
| 45 | 42 | 0.01982 | 0.044044
| 50 | 45 | 0.021236 | 0.04719
Rackable 2U | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption8 | 5 | 27 | 0.012741 | 0.028314
0.45 | 10 | 38 | 0.017932 | 0.039849
| 12.5 | 43 | 0.020292 | 0.045093
| 15 | 47 | 0.022179 | 0.049287
| 20 | 56 | 0.026426 | 0.058725
| 25 | 62 | 0.029258 | 0.065017
| 30 | 69 | 0.032561 | 0.072358
| 35 | 75 | 0.035393 | 0.07865
| 40 | 80 | 0.037752 | 0.083893
| 45 | 85 | 0.040112 | 0.089137
| 50 | 90 | 0.042471 | 0.09438
IBM eSeries 306 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption9 | 5 | 14 | 0.0066066 | 0.014681
0.35 | 10 | 19 | 0.0089661 | 0.019925
| 12.5 | 21 | 0.0099099 | 0.022022
| 15 | 23 | 0.010854 | 0.024119
| 20 | 26 | 0.012269 | 0.027265
| 25 | 30 | 0.014157 | 0.03146
| 30 | 33 | 0.015573 | 0.034606
| 35 | 36 | 0.016988 | 0.037752
| 40 | 39 | 0.018404 | 0.040898
| 45 | 41 | 0.019348 | 0.042995
| 50 | 43 | 0.020292 | 0.045093
IBM eSeries 346 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption10 | 5 | 23 | 0.010854 | 0.024119
0.625 | 10 | 35 | 0.016516 | 0.036703
| 12.5 | 38 | 0.017932 | 0.039849
| 15 | 42 | 0.01982 | 0.044044
| 20 | 49 | 0.023123 | 0.051385
| 25 | 55 | 0.025954 | 0.057677
| 30 | 60 | 0.028314 | 0.06292
| 35 | 67 | 0.031617 | 0.070261
| 40 | 72 | 0.033977 | 0.075504
| 45 | 76 | 0.035864 | 0.079699
| 50 | 81 | 0.038224 | 0.084942
HP DL580 | Pressure (Pa)1 | Flow rate (CFM)1 | m^3/s | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0 | 0
Power consumption11 | 5 | 45 | 0.021236 | 0.04719
0.45 | 10 | 66 | 0.031145 | 0.069212
| 12.5 | 75 | 0.035393 | 0.07865
| 15 | 84 | 0.03964 | 0.088088
| 20 | 96 | 0.045302 | 0.10067
| 25 | 108 | 0.050965 | 0.11326
| 30 | 119 | 0.056156 | 0.12479
| 35 | 131 | 0.061819 | 0.13738
| 40 | 141 | 0.066538 | 0.14786
| 45 | 151 | 0.071257 | 0.15835
| 50 | 160 | 0.075504 | 0.16779
SunFire V20z | Pressure (Pa)2 | Flow rate (m3/s)2 | Flow rate per nameplate power consumption (m3.s-1.kW-1)
| 0 | 0 | 0
Power consumption12 | 5 | 0.010232 | 0.022005
0.465 | 10 | 0.015086 | 0.032443
| 12.5 | 0.017047 | 0.036661
| 15 | 0.018822 | 0.040477
| 20 | 0.021975 | 0.047258
| 25 | 0.024755 | 0.053236
| 30 | 0.027269 | 0.058643
| 35 | 0.029582 | 0.063617
| 40 | 0.031735 | 0.068247
| 45 | 0.033757 | 0.072596
| 50 | 0.035671 | 0.076711
References
1 | Kennedy D. Ramification of Server Airflow Leakage in Data Centers with Aisle Containment 2012. http://tateinc.com/pdf/ramification_leakage_aisle_containment.pdf (accessed August 14, 2014).
2 | Brady GA. An Interdisciplinary Investigation into Energy Use and Efficiency within the Data Centre. Ph. D. Thesis. University of Leeds. 2014 (unpublished).
3 | Dell. Dell PowerEdge SC 1425 Server 2005. http://www.dell.com/downloads/global/products/pedge/en/sc1425_specs.pdf (accessed April 01, 2016).
4 | IBM. IBM eserver xSeries 360 Servers 2003. http://www-01.ibm.com/common/ssi/rep_ca/5/897/ENUS103-195/ENUS103-195.PDF (accessed April 01, 2016).
5 | Dell. Dell PowerEdge 2850 Server 2005. https://www.dell.com/downloads/global/products/pedge/en/2850_specs.pdf (accessed April 01, 2016).
6 | Dell. Dell PowerEdge 1850 Server 2005. http://www.dell.com/downloads/global/products/pedge/en/1850_specs.pdf (accessed April 01, 2016).
7 | Dell. Dell PowerEdge 750 2005. http://www.dell.com/downloads/global/products/pedge/en/750_specs.pdf (accessed April 01, 2016).
8 | SGI. SGI Rackable 2009. https://www.sgi.com/products/servers/rackable/2u_intel.html (accessed April 01, 2016).
9 | IBM. IBM eserver xSeries 306m server features ease of use and manageability at a competitive price 2005. http://www-01.ibm.com/common/ssi/cgi-bin/ssialias?infotype=an&subtype=ca&htmlfid=897/ENUS105-415&language=enus (accessed April 01, 2016).
10 | IBM. IBM eserver xSeries 346 Servers 2004. http://www-01.ibm.com/common/ssi/cgi-bin/ssialias?infotype=an&subtype=ca&appname=redbooks&htmlfid=897/ENUS104-284 (accessed April 01, 2016).
11 | Packard H. Proliant DL580 - Technical Specifications 2016. http://h20564.www2.hpe.com/hpsc/doc/public/display?docId=emr_na-c00351993 (accessed April 01, 2016).
12 | Oracle. Sun Fire V20z Server 2011. http://www.andovercg.com/datasheets/sun-sunfire-V20Z.pdf (accessed April 01, 2016).