## GAG_Cellular_raw
Photometric1
Plate 1
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un_0001 1/1 | Un_0009 1/1 | Un_0017 1/1 | Un_0025 1/1 | Un_0033 1/1 | Un_0041 1/1 | Un_0049 1/1 | Un_0057 1/1 | Un_0065 1/1 | Un_0073 1/1 | Un_0081 1/1 | Un_0089 1/1
B | Un_0002 1/1 | Standards | Standards | Standards | Standards | Standards | Standards | Un_0058 1/1 | Unknowns | Unknowns | Unknowns | Un_0090 1/1
C | Un_0003 1/1 | Standards | Standards | Standards | Standards | Standards | Standards | Un_0059 1/1 | Unknowns | Unknowns | Unknowns | Un_0091 1/1
D | Un_0004 1/1 | Standards | Standards | Standards | Standards | Standards | Standards | Un_0060 1/1 | Unknowns | Unknowns | Unknowns | Un_0092 1/1
E | Un_0005 1/1 | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Un_0061 1/1 | Unknowns | Unknowns | Unknowns | Un_0093 1/1
F | Un_0006 1/1 | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Un_0062 1/1 | Unknowns | Unknowns | Unknowns | Un_0094 1/1
G | Un_0007 1/1 | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Unknowns | Un_0063 1/1 | Unknowns | Unknowns | Unknowns | Un_0095 1/1
H | Un_0008 1/1 | Un_0016 1/1 | Un_0024 1/1 | Un_0032 1/1 | Un_0040 1/1 | Un_0048 1/1 | Un_0056 1/1 | Un_0064 1/1 | Un_0072 1/1 | Un_0080 1/1 | Un_0088 1/1 | Un_0096 1/1
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.0523 | 0.0522 | 0.0519 | 0.0523 | 0.0532 | 0.0522 | 0.0521 | 0.0529 | 0.0532 | 0.0532 | 0.0563 | 0.0517
B | 0.0519 | 0.2299 | 0.2534 | 0.2723 | 0.306 | 0.3815 | 0.4868 | 0.0514 | 0.3173 | 0.3268 | 0.327 | 0.0541
C | 0.0517 | 0.2306 | 0.2523 | 0.2705 | 0.3107 | 0.3769 | 0.487 | 0.0558 | 0.3151 | 0.3266 | 0.3276 | 0.0524
D | 0.0523 | 0.2286 | 0.251 | 0.2693 | 0.3043 | 0.3776 | 0.4672 | 0.0522 | 0.353 | 0.3544 | 0.3731 | 0.0532
E | 0.0522 | 0.2967 | 0.3263 | 0.3255 | 0.3443 | 0.2969 | 0.3076 | 0.0524 | 0.3411 | 0.3354 | 0.3289 | 0.0527
F | 0.0521 | 0.2947 | 0.3267 | 0.3215 | 0.3388 | 0.3006 | 0.3116 | 0.0541 | 0.3609 | 0.3545 | 0.3573 | 0.0522
G | 0.0519 | 0.2752 | 0.3152 | 0.3291 | 0.3297 | 0.2918 | 0.3085 | 0.0535 | 0.3841 | 0.3787 | 0.3771 | 0.0519
H | 0.0519 | 0.0524 | 0.053 | 0.0531 | 0.0524 | 0.0528 | 0.0522 | 0.0531 | 0.0535 | 0.0532 | 0.0522 | 0.0521
Plate 3
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.0529 | 0.0532 | 0.0528 | 0.0563 | 0.0533 | 0.0524 | 0.053 | 0.0524 | 0.0522 | 0.0544 | 0.053 | 0.0528
B | 0.0521 | 0.2249 | 0.2574 | 0.2766 | 0.318 | 0.39 | 0.5035 | 0.0526 | 0.0527 | 0.0532 | 0.0525 | 0.0553
C | 0.0524 | 0.2291 | 0.258 | 0.2764 | 0.3167 | 0.3872 | 0.5032 | 0.0531 | 0.0533 | 0.0524 | 0.0526 | 0.0533
D | 0.0522 | 0.2331 | 0.2566 | 0.2781 | 0.3131 | 0.3925 | 0.5047 | 0.0534 | 0.0529 | 0.0532 | 0.0527 | 0.0534
E | 0.0527 | 0.5334 | 0.3283 | 0.3584 | 0.3424 | 0.3708 | 0.2803 | 0.0552 | 0.0535 | 0.0518 | 0.0526 | 0.053
F | 0.0525 | 0.5289 | 0.3295 | 0.3577 | 0.3376 | 0.3705 | 0.2917 | 0.0539 | 0.0533 | 0.0509 | 0.0523 | 0.0519
G | 0.0517 | 0.5346 | 0.3305 | 0.3579 | 0.336 | 0.3754 | 0.2985 | 0.0527 | 0.0538 | 0.0533 | 0.053 | 0.0523
H | 0.0523 | 0.0555 | 0.0534 | 0.053 | 0.0523 | 0.0527 | 0.0524 | 0.0529 | 0.0533 | 0.0536 | 0.0525 | 0.0526

## GAG_cellular_processed
GAG assay, cellular samples
Plate 1
[CS] (µg.ml-1) | Absorbance at 525 nm |  |  | Normalised absorbance (abs-background) |  |  | Mean Abs | Sample ID | Cellular C2 tissue ID |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 50 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
[8 empty] | 127 | T30 | Cellular NP | 0.2967 | 0.2947 | 0.2752 | 0.067 | 0.065 | 0.0455 | 0.059167 | 0.0053 | 11.1635 | 558.1761 | 2790.8805 | 8.3 | 336.2507
50 | 0.4868 | 0.487 | 0.4672 | 0.2571 | 0.2573 | 0.2375 | 0.25063 | 131 | T31 | Cellular NP | 0.3263 | 0.3267 | 0.3152 | 0.0966 | 0.097 | 0.0855 | 0.093033 | 0.0053 | 17.5535 | 877.673 | 4388.3648 | 9.7 | 452.4087
25 | 0.3815 | 0.3769 | 0.3776 | 0.1518 | 0.1472 | 0.1479 | 0.14897 | 135 | T32 | Cellular NP | 0.3255 | 0.3215 | 0.3291 | 0.0958 | 0.0918 | 0.0994 | 0.095667 | 0.0053 | 18.0503 | 902.5157 | 4512.5786 | 8.8 | 512.793
12.5 | 0.306 | 0.3107 | 0.3043 | 0.0763 | 0.081 | 0.0746 | 0.0773 | 139 | T33 | Cellular NP | 0.3443 | 0.3388 | 0.3297 | 0.1146 | 0.1091 | 0.1 | 0.1079 | 0.0053 | 20.3585 | 1017.9245 | 5089.6226 | 10.1 | 503.923
6.25 | 0.2723 | 0.2705 | 0.2693 | 0.0426 | 0.0408 | 0.0396 | 0.041 | 143 | T34 | Cellular NP | 0.2969 | 0.3006 | 0.2918 | 0.0672 | 0.0709 | 0.0621 | 0.066733 | 0.0053 | 12.5912 | 629.5597 | 3147.7987 | 9.5 | 331.3472
3.125 | 0.2534 | 0.2523 | 0.251 | 0.0237 | 0.0226 | 0.0213 | 0.022533 | 148 | T35 | Cellular NP | 0.3076 | 0.3116 | 0.3085 | 0.0779 | 0.0819 | 0.0788 | 0.079533 | 0.0053 | 15.0063 | 750.3145 | 3751.5723 | 10.2 | 367.8012
0 | 0.2299 | 0.2306 | 0.2286 | 0.0002 | 0.0009 | -0.0011 | -1.8504e-17
| Mean of background |  | 0.2297
[8 empty] | Sample ID | Cellular C2 tissue ID |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 50 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
[8 empty] | 128 | T30 | Cellular iAF | 0.3841 | 0.3787 | 0.3771 | 0.1544 | 0.149 | 0.1474 | 0.15027 | 0.0053 | 28.3522 | 1417.6101 | 7088.0503 | 21.4 | 331.2173
[8 empty] | 132 | T31 | Cellular iAF | 0.3609 | 0.3545 | 0.3573 | 0.1312 | 0.1248 | 0.1276 | 0.12787 | 0.0053 | 24.1258 | 1206.2893 | 6031.4465 | 20.3 | 297.1156
[8 empty] | 136 | T32 | Cellular iAF | 0.3411 | 0.3354 | 0.3289 | 0.1114 | 0.1057 | 0.0992 | 0.10543 | 0.0053 | 19.8931 | 994.6541 | 4973.2704 | 21.2 | 234.5882
[8 empty] | 140 | T33 | Cellular iAF | 0.353 | 0.3544 | 0.3731 | 0.1233 | 0.1247 | 0.1434 | 0.13047 | 0.0053 | 24.6164 | 1230.8176 | 6154.0881 | 21.7 | 283.5985
[8 empty] | 144 | T34 | Cellular iAF | 0.3151 | 0.3266 | 0.3276 | 0.0854 | 0.0969 | 0.0979 | 0.0934 | 0.0053 | 17.6226 | 881.1321 | 4405.6604 | 21.2 | 207.8142
[8 empty] | 148 | T35 | Cellular iAF | 0.3173 | 0.3268 | 0.327 | 0.0876 | 0.0971 | 0.0973 | 0.094 | 0.0053 | 17.7358 | 886.7925 | 4433.9623 | 21.3 | 208.1672
Plate 2
Plate 3
[CS] (µg.ml-1) | Absorbance at 525 nm |  |  | Normalised absorbance (abs-background) |  |  | Mean Abs | Sample ID | Cellular C2 tissue ID |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 5 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
[8 empty] | 129 | T30 | Cellular oAF | 0.5334 | 0.5289 | 0.5346 | 0.30437 | 0.29987 | 0.30557 | 0.30327 | 0.0058 | 52.2874 | 261.4368 | 1307.1839 | 23.3 | 56.1023
50 | 0.5035 | 0.5032 | 0.5047 | 0.27447 | 0.27417 | 0.27567 | 0.27477 | 133 | T31 | Cellular oAF | 0.3283 | 0.3295 | 0.3305 | 0.099267 | 0.10047 | 0.10147 | 0.1004 | 0.0058 | 17.3103 | 86.5517 | 432.7586 | 25.4 | 17.0377
25 | 0.39 | 0.3872 | 0.3925 | 0.16097 | 0.15817 | 0.16347 | 0.16087 | 137 | T32 | Cellular oAF | 0.3584 | 0.3577 | 0.3579 | 0.12937 | 0.12867 | 0.12887 | 0.12897 | 0.0058 | 22.2356 | 111.1782 | 555.8908 | 24.3 | 22.8762
12.5 | 0.318 | 0.3167 | 0.3131 | 0.088967 | 0.087667 | 0.084067 | 0.0869 | 141 | T33 | Cellular oAF | 0.3424 | 0.3376 | 0.336 | 0.11337 | 0.10857 | 0.10697 | 0.10963 | 0.0058 | 18.9023 | 94.5115 | 472.5575 | 23.2 | 20.3689
6.25 | 0.2766 | 0.2764 | 0.2781 | 0.047567 | 0.047367 | 0.049067 | 0.048 | 145 | T34 | Cellular oAF | 0.3708 | 0.3705 | 0.3754 | 0.14177 | 0.14147 | 0.14637 | 0.1432 | 0.0058 | 24.6897 | 123.4483 | 617.2414 | 22.4 | 27.5554
3.125 | 0.2574 | 0.258 | 0.2566 | 0.028367 | 0.028967 | 0.027567 | 0.0283 | 149 | T35 | Cellular oAF | 0.2803 | 0.2917 | 0.2985 | 0.051267 | 0.062667 | 0.069467 | 0.061133 | 0.0058 | 10.5402 | 52.7011 | 263.5057 | 22.4 | 11.7636
0 | 0.2249 | 0.2291 | 0.2331 | -0.0041333 | 6.6667e-05 | 0.0040667 | 1.8504e-17
| Mean of background |  | 0.22903

## GAG_decel_raw
Photometric1 |  | standards
blanks
Plate 1 |  | unknowns
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.0523 | 0.0521 | 0.0514 | 0.052 | 0.0527 | 0.0519 | 0.0517 | 0.0554 | 0.0525 | 0.0529 | 0.0528 | 0.0527
B | 0.053 | 0.2661 | 0.2541 | 0.28 | 0.3213 | 0.3841 | 0.5014 | 0.5518 | 0.5532 | 0.5553 | 0.2369 | 0.0524
C | 0.0522 | 0.2406 | 0.2661 | 0.289 | 0.3169 | 0.3953 | 0.4931 | 0.4964 | 0.5519 | 0.6577 | 0.2403 | 0.053
D | 0.0535 | 0.2397 | 0.2606 | 0.2813 | 0.321 | 0.3907 | 0.4854 | 0.5057 | 0.5485 | 0.3708 | 0.2338 | 0.0535
E | 0.0528 | 0.3098 | 0.3228 | 0.3102 | 0.36 | 0.3276 | 0.3378 | 0.2503 | 0.2503 | 0.2583 | 0.0527 | 0.053 | NP 1 in 50 dilution - ok
F | 0.052 | 0.3092 | 0.3242 | 0.3235 | 0.3607 | 0.3304 | 0.3446 | 0.2505 | 0.2525 | 0.258 | 0.0531 | 0.0524 | Half of oAF 1 in 50 - too dilute
G | 0.0517 | 0.3089 | 0.3252 | 0.3198 | 0.3549 | 0.3229 | 0.3379 | 0.2505 | 0.2599 | 0.2564 | 0.0527 | 0.052
H | 0.0521 | 0.0524 | 0.053 | 0.0534 | 0.0528 | 0.0528 | 0.0528 | 0.0533 | 0.0538 | 0.0546 | 0.0522 | 0.0526
Plate 2
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.0546 | 0.0522 | 0.0517 | 0.0523 | 0.055 | 0.0609 | 0.0551 | 0.0522 | 0.0547 | 0.0525 | 0.0527 | 0.0522
B | 0.0522 | 0.2516 | 0.2676 | 0.286 | 0.3267 | 0.3948 | 0.5008 | 0.5473 | 0.5489 | 0.5504 | 0.2378 | 0.0525
C | 0.0534 | 0.2473 | 0.2692 | 0.2882 | 0.3182 | 0.3915 | 0.5031 | 0.5402 | 0.5428 | 0.5524 | 0.243 | 0.0532
D | 0.0541 | 0.2475 | 0.264 | 0.2853 | 0.319 | 0.3958 | 0.5021 | 0.5466 | 0.5457 | 0.5501 | 0.2426 | 0.0534
E | 0.0537 | 0.3436 | 0.3319 | 0.3509 | 0.3569 | 0.3364 | 0.3956 | 0.2549 | 0.2485 | 0.2475 | 0.0529 | 0.0543 | iAF 1 in 50 dilution - ok
F | 0.0536 | 0.352 | 0.3371 | 0.3495 | 0.3611 | 0.3379 | 0.4092 | 0.2537 | 0.2446 | 0.2494 | 0.094 | 0.0519 | Half of oAF 1 in 50 - too dilute
G | 0.0516 | 0.3514 | 0.3374 | 0.3525 | 0.3599 | 0.3362 | 0.403 | 0.2561 | 0.2494 | 0.2491 | 0.0536 | 0.0521
H | 0.0524 | 0.0528 | 0.0535 | 0.0527 | 0.0522 | 0.0552 | 0.0527 | 0.0538 | 0.054 | 0.0533 | 0.0533 | 0.0529
Plate 4
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.0519 | 0.0521 | 0.0528 | 0.0529 | 0.0517 | 0.0524 | 0.0532 | 0.0519 | 0.0524 | 0.0531 | 0.0524 | 0.052 | oAF 1 in 3 dilution - ok
B | 0.0518 | 0.2459 | 0.2722 | 0.2874 | 0.3254 | 0.3988 | 0.5131 | 0.5598 | 0.5574 | 0.5531 | 0.2446 | 0.0517
C | 0.0511 | 0.2482 | 0.2702 | 0.2899 | 0.3351 | 0.3967 | 0.5067 | 0.5582 | 0.5589 | 0.5542 | 0.246 | 0.0519
D | 0.0527 | 0.2479 | 0.2672 | 0.2864 | 0.3262 | 0.3917 | 0.5073 | 0.5556 | 0.5639 | 0.5542 | 0.2453 | 0.0527
E | 0.0521 | 0.3769 | 0.3798 | 0.4231 | 0.3506 | 0.3158 | 0.3496 | 0.0519 | 0.0521 | 0.0521 | 0.0527 | 0.0526
F | 0.0528 | 0.3696 | 0.383 | 0.4298 | 0.348 | 0.3124 | 0.3556 | 0.0517 | 0.0518 | 0.0521 | 0.052 | 0.0521
G | 0.0516 | 0.3682 | 0.381 | 0.4316 | 0.3538 | 0.3173 | 0.3564 | 0.0518 | 0.0519 | 0.0519 | 0.0521 | 0.0518
H | 0.0516 | 0.0513 | 0.0524 | 0.0531 | 0.0514 | 0.0515 | 0.052 | 0.0519 | 0.0533 | 0.0524 | 0.0521 | 0.0532

## GAG_decel_processed
GAG assay, Run 6, decellularised samples |  |  |  |  | GAG assay, decellularised samples
Plate 1
[CS] (µg.ml-1) | Absorbance at 525 nm |  |  | Normalised absorbance (abs-background) |  |  | Mean Abs | Sample ID | Decell C1 tissue ID |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 50 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
100 | 0.5518 | 0.4964 | 0.5057 | 0.303 | 0.2476 | 0.2569 | 0.26917 | 127 | T30 | dCell NP | 0.3098 | 0.3092 | 0.3089 | 0.061 | 0.0604 | 0.0601 | 0.0605 | 0.0051 | 11.8627 | 593.1373 | 2965.6863 | 9.3 | 318.891
50 | 0.5014 | 0.4931 | 0.4854 | 0.2526 | 0.2443 | 0.2366 | 0.2445 | 131 | T31 | dCell NP | 0.3228 | 0.3242 | 0.3252 | 0.074 | 0.0754 | 0.0764 | 0.075267 | 0.0051 | 14.7582 | 737.9085 | 3689.5425 | 9 | 409.9492
25 | 0.3841 | 0.3953 | 0.3907 | 0.1353 | 0.1465 | 0.1419 | 0.14123 | 135 | T32 | dCell NP | 0.3102 | 0.3235 | 0.3198 | 0.0614 | 0.0747 | 0.071 | 0.069033 | 0.0051 | 13.5359 | 676.7974 | 3383.9869 | 9.4 | 359.9986
12.5 | 0.3213 | 0.3169 | 0.321 | 0.0725 | 0.0681 | 0.0722 | 0.070933 | 139 | T33 | dCell NP | 0.36 | 0.3607 | 0.3549 | 0.1112 | 0.1119 | 0.1061 | 0.10973 | 0.0051 | 21.5163 | 1075.817 | 5379.085 | 9.8 | 548.8862
6.25 | 0.28 | 0.289 | 0.2813 | 0.0312 | 0.0402 | 0.0325 | 0.034633 | 143 | T34 | dCell NP | 0.3276 | 0.3304 | 0.3229 | 0.0788 | 0.0816 | 0.0741 | 0.078167 | 0.0051 | 15.3268 | 766.3399 | 3831.6993 | 9 | 425.7444
3.125 | 0.2541 | 0.2661 | 0.2606 | 0.0053 | 0.0173 | 0.0118 | 0.011467 | 148 | T35 | dCell NP | 0.3378 | 0.3446 | 0.3379 | 0.089 | 0.0958 | 0.0891 | 0.0913 | 0.0051 | 17.902 | 895.098 | 4475.4902 | 9.6 | 466.1969
0 | 0.2661 | 0.2406 | 0.2397 | 0.0173 | -0.0082 | -0.0091 | -1.8504e-17
| Mean of background |  | 0.2488
Plate 2
[CS] (µg.ml-1) | Absorbance at 525 nm |  |  | Normalised absorbance (abs-background) |  |  | Mean Abs | Sample ID | C1 decell |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 50 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
100 | 0.5473 | 0.5402 | 0.5466 | 0.2985 | 0.2914 | 0.2978 | 0.2959 | 128 | T30 | dCell iAF | 0.3436 | 0.352 | 0.3514 | 0.0948 | 0.1032 | 0.1026 | 0.1002 | 0.0053 | 18.9057 | 945.283 | 4726.4151 | 23.7 | 199.4268
50 | 0.5008 | 0.5031 | 0.5021 | 0.252 | 0.2543 | 0.2533 | 0.2532 | 132 | T31 | dCell iAF | 0.3319 | 0.3371 | 0.3374 | 0.0831 | 0.0883 | 0.0886 | 0.086667 | 0.0053 | 16.3522 | 817.6101 | 4088.0503 | 22.2 | 184.1464
25 | 0.3948 | 0.3915 | 0.3958 | 0.146 | 0.1427 | 0.147 | 0.14523 | 136 | T32 | dCell iAF | 0.3509 | 0.3495 | 0.3525 | 0.1021 | 0.1007 | 0.1037 | 0.10217 | 0.0053 | 19.2767 | 963.8365 | 4819.1824 | 21.7 | 222.0821
12.5 | 0.3267 | 0.3182 | 0.319 | 0.0779 | 0.0694 | 0.0702 | 0.0725 | 140 | T33 | dCell iAF | 0.3569 | 0.3611 | 0.3599 | 0.1081 | 0.1123 | 0.1111 | 0.1105 | 0.0053 | 20.8491 | 1042.4528 | 5212.2642 | 22.3 | 233.7338
6.25 | 0.286 | 0.2882 | 0.2853 | 0.0372 | 0.0394 | 0.0365 | 0.0377 | 144 | T34 | dCell iAF | 0.3364 | 0.3379 | 0.3362 | 0.0876 | 0.0891 | 0.0874 | 0.088033 | 0.0053 | 16.6101 | 830.5031 | 4152.5157 | 22.4 | 185.3802
3.125 | 0.2676 | 0.2692 | 0.264 | 0.0188 | 0.0204 | 0.0152 | 0.018133 | 148 | T35 | dCell iAF | 0.3956 | 0.4092 | 0.403 | 0.1468 | 0.1604 | 0.1542 | 0.1538 | 0.0053 | 29.0189 | 1450.9434 | 7254.717 | 22.3 | 325.3236
0 | 0.2516 | 0.2473 | 0.2475 | 0.0028 | -0.0015 | -0.0013 | 0
| Mean of background |  | 0.2488
Plate 4
[CS] (µg.ml-1) | Absorbance at 525 nm |  |  | Normalised absorbance (abs-background) |  |  | Mean Abs | Sample ID | C1 decell |  | Absorbance 525 nm |  |  | Normalised Abs 525 nm |  |  | Mean norm. abs. | "m" from std curve | [GAG] ug/ml in well (mean abs/"m") diluted sample | I in 3 correction [GAG] in undiluted sample (ug) | µg in original 5 ml sample | Tissue dr. wt. (mg) | [GAG] µg/mg dr. wt.
100 | 0.5598 | 0.5582 | 0.5556 | 0.31247 | 0.31087 | 0.30827 | 0.31053 | 129 | T30 | dCell oAF | 0.3769 | 0.3696 | 0.3682 | 0.12957 | 0.12227 | 0.12087 | 0.12423 | 0.0054 | 23.0062 | 69.0185 | 345.0926 | 22 | 15.686
50 | 0.5131 | 0.5067 | 0.5073 | 0.26577 | 0.25937 | 0.25997 | 0.2617 | 133 | T31 | dCell oAF | 0.3798 | 0.383 | 0.381 | 0.13247 | 0.13567 | 0.13367 | 0.13393 | 0.0054 | 24.8025 | 74.4074 | 372.037 | 22.5 | 16.535
25 | 0.3988 | 0.3967 | 0.3917 | 0.15147 | 0.14937 | 0.14437 | 0.1484 | 137 | T32 | dCell oAF | 0.4231 | 0.4298 | 0.4316 | 0.17577 | 0.18247 | 0.18427 | 0.18083 | 0.0054 | 33.4877 | 100.463 | 502.3148 | 22.2 | 22.6268
12.5 | 0.3254 | 0.3351 | 0.3262 | 0.078067 | 0.087767 | 0.078867 | 0.081567 | 141 | T33 | dCell oAF | 0.3506 | 0.348 | 0.3538 | 0.10327 | 0.10067 | 0.10647 | 0.10347 | 0.0054 | 19.1605 | 57.4815 | 287.4074 | 21.2 | 13.557
6.25 | 0.2874 | 0.2899 | 0.2864 | 0.040067 | 0.042567 | 0.039067 | 0.040567 | 145 | T34 | dCell oAF | 0.3158 | 0.3124 | 0.3173 | 0.068467 | 0.065067 | 0.069967 | 0.067833 | 0.0054 | 12.5617 | 37.6852 | 188.4259 | 21.2 | 8.888
3.125 | 0.2722 | 0.2702 | 0.2672 | 0.024867 | 0.022867 | 0.019867 | 0.022533 | 149 | T35 | dCell oAF | 0.3496 | 0.3556 | 0.3564 | 0.10227 | 0.10827 | 0.10907 | 0.10653 | 0.0054 | 19.7284 | 59.1852 | 295.9259 | 21.2 | 13.9588
0 | 0.2459 | 0.2482 | 0.2479 | -0.0014333 | 0.00086667 | 0.00056667 | 1.8504e-17
| Mean of background |  | 0.24733

## GAG_collated
Descriptive stats
Cellular | ug/mg for each speciment (n=6) | [5 empty] | Mean | Mean | Standard Error | Median | Mode | Standard Deviation | Sample Variance | Kurtosis | Skewness | Range | Minimum | Maximum | Sum | Count | Confidence Level(95.0%)
NP | 336.2507 | 452.4087 | 512.793 | 503.923 | 331.3472 | 367.8012 | 417.4207 | 417.4207 | 33.7945 | 410.105 | #N/A | 82.7792 | 6852.4014 | -2.6038 | 0.13907 | 181.4458 | 331.3472 | 512.793 | 2504.5239 | 6 | 86.8715
iAF | 331.2173 | 297.1156 | 234.5882 | 283.5985 | 207.8142 | 208.1672 | 260.4168 | 260.4168 | 20.8655 | 259.0934 | #N/A | 51.1098 | 2612.2147 | -1.861 | 0.25022 | 123.4031 | 207.8142 | 331.2173 | 1562.5011 | 6 | 53.6365
oAF | 56.1023 | 17.0377 | 22.8762 | 20.3689 | 27.5554 | 11.7636 | 25.9507 | 25.9507 | 6.411 | 21.6225 | #N/A | 15.7036 | 246.6036 | 3.8148 | 1.832 | 44.3387 | 11.7636 | 56.1023 | 155.7041 | 6 | 16.4799
Decel | ng/mg | [5 empty] | Mean
NP | 318.891 | 409.9492 | 359.9986 | 548.8862 | 425.7444 | 466.1969 | 421.611 | 421.611 | 33.0088 | 417.8468 | #N/A | 80.8547 | 6537.4906 | 0.17236 | 0.4717 | 229.9952 | 318.891 | 548.8862 | 2529.6663 | 6 | 84.8519
iAF | 199.4268 | 184.1464 | 222.0821 | 233.7338 | 185.3802 | 325.3236 | 225.0155 | 225.0155 | 21.6351 | 210.7545 | #N/A | 52.995 | 2808.4718 | 3.2399 | 1.7388 | 141.1772 | 184.1464 | 325.3236 | 1350.093 | 6 | 55.6149
oAF | 15.686 | 16.535 | 22.6268 | 13.557 | 8.888 | 13.9588 | 15.2086 | 15.2086 | 1.8372 | 14.8224 | #N/A | 4.5001 | 20.2513 | 1.6651 | 0.49938 | 13.7388 | 8.888 | 22.6268 | 91.2515 | 6 | 4.7226