## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567491592
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 137
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 137
Vial | 137
SampleLocation | 137
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 07:19:52
SampleName | CS-135_0137
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 26.175
StopPressure | 62.041
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 21.2086
DAD1UVBurnTime | 167.8753
DAD1VisOnTime | 21.2081
DAD1VisBurnTime | 153.3867
StartLeftTemp | 39.998
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 8 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 13 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 35 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 7084.9764 | 1505.4599 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 4421.6116 | 796.2647 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 2061.2308 | 432.9688 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 747.4003 | 202.6727 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 471.9438 | 134.5239 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 491.749 | 147.1345 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 394.2299 | 118.5347 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0137.D | 140.9263 | 42.7048 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 37 | 14 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31511 | 0 | BB | 126.0433 | 28.7707 | 0.065111 | 1.0752 | 0 |  | -1 | -1 | 4 | -1 | 28 | 78 | 0.22292 | 0.42292 | 0.0066667 | 61 | -1 | 0.22292 | 0.13333 | 55.9522 | 0.22292 | 0.13333 | 56.1206 | 0.26906 | 0.094091 | 85.7126 | 63.7454 | 96.7329 | 45.7429 | 0.30034 | 78.6642 | 0.34548 | 64.4977 | 0.22292 | 0.11833 | 68.7528 | 0.032699 | -0.1117 | -0.077608 | 126.0433 | 0.31208 | 0.0010692 | -3.9054e-06 | 3.341e-06 | 0.71429 | 180.753 | 140.6448 | 39.5691 | 91.0882 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31625 | 0.22292 | 0.13167 | 0.70536 | 0.41071 | 65.288 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.31714 | 0 | BB | 776.4303 | 81.9186 | 0.12458 | 1.7305 | 0 |  | -1 | -1 | 3 | -1 | 11 | 105 | 0.07625 | 0.48292 | 0.0066667 | 105 | -1 | 0.07625 | 0.32133 | 66.084 | 0.07625 | 0.32 | 66.5684 | 0.22374 | 0.1728 | 147.4742 | 84.0134 | 163.8344 | 43.889 | 0.30259 | 137.5894 | 0.34696 | 118.781 | 0.07625 | 0.284 | 102.9013 | 0.073543 | -0.3802 | -0.36255 | 776.4303 | 0.28534 | 0.0054086 | -0.00015123 | 7.7152e-05 | 0.66667 | 53.5935 | 24.2153 | 6.8696 | 15.0539 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31625 | 0.07625 | 0.316 | 0.65833 | 0.31667 | 9.4753 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.31858 | 0 | BB | 59.7235 | 16.9791 | 0.053037 | 1.2769 | 0 |  | -1 | -1 | 5 | -1 | 32 | 73 | 0.20958 | 0.40292 | 0.0066667 | 52 | -1 | 0.20958 | 0.148 | 24.6731 | 0.20958 | 0.148 | 24.773 | 0.28345 | 0.073618 | 43.7805 | 25.9927 | 50.2143 | 22.1647 | 0.30603 | 37.426 | 0.34632 | 30.0006 | 0.29025 | 0.052667 | 32.2649 | 0.029853 | -0.80005 | 0.37836 | 59.7235 | 0.30962 | 0.00089121 | -2.1286e-05 | 2.6833e-06 | 0.65294 | 307.8471 | 119.0138 | 208.2663 | 107.5695 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.20958 | 0.146 | 0.64412 | 0.28824 | 43.2241 | -1 | -1
Modified | 1 | 20 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32224 | 0 | BB | 42.6449 | 13.7044 | 0.048304 | 1.2628 | 0 |  | -1 | -1 | 6 | -1 | 29 | 72 | 0.18958 | 0.40958 | 0.0066667 | 54 | -1 | 0.18958 | 0.17185 | 15.1543 | 0.18958 | 0.17185 | 15.2359 | 0.28976 | 0.066803 | 32.3175 | 14.9179 | 35.2335 | 14.1878 | 0.30606 | 23.6506 | 0.34615 | 20.5747 | 0.29995 | 0.045185 | 21.3588 | 0.029224 | -1.3424 | 2.0137 | 42.6449 | 0.31344 | 0.00085402 | -3.3504e-05 | 3.6568e-06 | 0.64444 | 373.8597 | 88.2699 | 282.9427 | 115.0407 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.18958 | 0.16889 | 0.63333 | 0.26667 | 30.4891 | -1 | -1
NextPeakSignal_ | Peak | 21 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32288 | 0 | BB | 37.8857 | 12.5201 | 0.047303 | 1.2285 | 0 |  | -1 | -1 | 7 | -1 | 29 | 71 | 0.18958 | 0.41625 | 0.0066667 | 53 | -1 | 0.18958 | 0.17259 | 6.1371 | 0.18958 | 0.17259 | 6.2116 | 0.29048 | 0.066198 | 22.1167 | 5.8008 | 24.286 | 5.3716 | 0.30612 | 13.6751 | 0.34616 | 11.2607 | 0.30069 | 0.045185 | 11.8023 | 0.028006 | -1.3929 | 2.4614 | 37.8857 | 0.31517 | 0.00078434 | -3.0596e-05 | 3.3598e-06 | 0.64722 | 380.7251 | 87.5138 | 282.9427 | 126.6419 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.23181 | 0.12741 | 0.69919 | 0.39837 | 71.2387 | -1 | -1
Signal_ | Signal | 29 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.3233 | 0 | BB | 37.7021 | 12.4349 | 0.047373 | 1.2364 | 0 |  | -1 | -1 | 8 | -1 | 29 | 71 | 0.18958 | 0.41625 | 0.0066667 | 53 | -1 | 0.18958 | 0.17333 | 9.0224 | 0.18958 | 0.17259 | 9.0963 | 0.29058 | 0.066462 | 24.9526 | 8.6746 | 26.8777 | 8.2752 | 0.30612 | 16.4072 | 0.34616 | 14.2766 | 0.30069 | 0.045185 | 14.6407 | 0.027986 | -1.3806 | 2.4822 | 37.7021 | 0.31561 | 0.00078321 | -3.0262e-05 | 3.3629e-06 | 0.64722 | 377.7089 | 86.7674 | 282.9427 | 127.182 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.23699 | 0.12296 | 0.71552 | 0.43103 | 80.5564 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.3307 | 0 | BB | 1509.98 | 139.3883 | 0.14038 | 1.9619 | 0 |  | -1 | -1 | 2 | -1 | 1 | 114 | 0.0029167 | 0.50292 | 0.0066667 | 119 | -1 | 0.029583 | 0.39667 | 51.7611 | 0.029583 | 0.395 | 52.5925 | 0.23169 | 0.20179 | 196.8804 | 69.4647 | 200.5907 | 20.4042 | 0.30699 | 166.3591 | 0.37325 | 126.0061 | 0.029583 | 0.35167 | 114.9468 | 0.092489 | -0.58613 | -0.22343 | 1509.98 | 0.28205 | 0.0085542 | -0.00046373 | 0.00020317 | 0.65833 | 42.6814 | 17.2591 | 4.8661 | 9.2999 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32958 | 0.029583 | 0.38833 | 0.64722 | 0.29444 | 6.4648 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.33921 | 0 | BB | 1499.1335 | 160.6823 | 0.12685 | 1.5817 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.0029167 | 0.51625 | 0.0066667 | 115 | -1 | 0.029583 | 0.41167 | -4.5707 | 0.029583 | 0.41167 | -3.6244 | 0.26096 | 0.17844 | 167.427 | 1.6395 | 166.21 | -29.5253 | 0.31202 | 109.825 | 0.37629 | 93.7739 | 0.26458 | 0.125 | 67.3492 | 0.090124 | -0.78066 | 0.21634 | 1499.1335 | 0.30226 | 0.0081224 | -0.00057146 | 0.00021219 | 0.6712 | 56.817 | 16.6791 | 40.088 | 11.2478 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33625 | 0.029583 | 0.40333 | 0.65761 | 0.31522 | 6.5535 | -1 | -1
RTRatioRefComp_ | Compound | 16 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4645 | 0 | BB | 87.8895 | 10.9598 | 0.10756 | 0.67745 | 0 |  | -1 | -1 | 3 | -1 | 188 | 270 | 1.2896 | 1.6096 | 0.0066667 | 93 | -1 | 1.2896 | 0.30667 | 20.2082 | 1.2896 | 0.30667 | 20.2727 | 1.4068 | 0.19722 | 32.4384 | 20.1987 | 46.2219 | 18.5683 | 1.4416 | 27.5746 | 1.5885 | 21.6463 | 1.4269 | 0.13067 | 25.1143 | 0.063895 | -0.30373 | -0.36904 | 87.8895 | 1.4781 | 0.0040826 | -7.9231e-05 | 4.3851e-05 | 0.88462 | 880.3774 | 568.9132 | 694.4154 | 535.1494 | 6.2017 | 4.5675 | 3.2511 | 3.265 | -1 | -1 | -1 | -1 | 4.3393 | 4.6178 | -1 | -1 | -1 | 1.4629 | 1.2896 | 0.304 | 0.87692 | 0.75385 | 374.7941 | -1 | -1
|  | 15 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4645 | 0 | BB | 737.0149 | 34.9336 | 0.26014 | 3.7771 | 0 |  | -1 | -1 | 2 | -1 | 127 | 243 | 0.84292 | 1.6087 | 0.0066667 | 127 | -1 | 1.1329 | 0.47578 | 19.22 | 1.1346 | 0.47412 | 19.4275 | 1.3748 | 0.22628 | 56.6951 | 13.393 | 85.3482 | 24.4525 | 1.4415 | 45.5751 | 1.5844 | 31.8868 | 1.3696 | 0.20833 | 34.9901 | 0.17054 | -0.30433 | -0.914 | 739.5369 | 1.3035 | 0.029083 | -0.0015094 | 0.0017644 | 0.722 | 668.7455 | 236.3533 | 273.169 | 58.4261 | 5.2974 | 3.249 | 2.379 | 2.3892 | -1 | -1 | -1 | -1 | 1.9418 | 4.4286 | -1 | -1 | -1 | 1.4629 | 1.1546 | 0.45412 | 0.7364 | 0.47281 | 128.6038 | -1 | -1
|  | 13 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4646 | 0 | BB | 1183.4045 | 51.0683 | 0.28435 | 4.2557 | 0 |  | -1 | -1 | 1 | -1 | 122 | 243 | 0.80958 | 1.6077 | 0.0066667 | 132 | -1 | 1.1296 | 0.47816 | 10.661 | 1.1329 | 0.47483 | 10.9646 | 1.369 | 0.23118 | 65.1967 | 0.73107 | 106.5536 | 19.6894 | 1.4416 | 49.6803 | 1.5836 | 30.3028 | 1.3596 | 0.21833 | 33.7353 | 0.17646 | -0.26116 | -0.9311 | 1189.8756 | 1.2873 | 0.031137 | -0.0014349 | 0.0020058 | 0.71944 | 640.728 | 234.0046 | 248.7189 | 53.2209 | 5.4949 | 3.1618 | 3.8514 | 3.8678 | -1 | -1 | -1 | -1 | 1.8475 | 4.3176 | -1 | -1 | -1 | 1.4629 | 1.1513 | 0.4565 | 0.73235 | 0.4647 | 125.8845 | -1 | -1
|  | 25 | 5 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0856 | 0 | BB | 64.1611 | 13.4956 | 0.073466 | 0.57744 | 0 |  | -1 | -1 | 5 | -1 | 276 | 347 | 1.8362 | 2.2885 | 0.0066667 | 82 | -1 | 2.0318 | 0.16111 | 17.659 | 2.0318 | 0.15889 | 17.7387 | 2.0379 | 0.12984 | 34.1872 | 17.0608 | 32.0639 | 17.0951 | 2.0582 | 24.3556 | 2.119 | 25.9804 | 2.0562 | 0.075556 | 23.7172 | 0.035268 | 0.10065 | 3.0241 | 64.1662 | 2.0995 | 0.0012439 | 4.4152e-06 | 9.3204e-06 | 1.375 | 4143.8084 | 4205.4107 | 4237.3696 | 3543.7486 | 17.3694 | 14.291 | 16.1924 | 16.2613 | -1 | -1 | -1 | -1 | 13.7426 | 6.5465 | -1 | -1 | -1 | 2.0896 | 2.0362 | 0.14 | 1.3125 | 1.625 | 3231.1828 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0856 | 0 | BB | 672.0982 | 137.4952 | 0.075029 | 0.59395 | 0 |  | -1 | -1 | 1 | -1 | 271 | 348 | 1.8029 | 2.264 | 0.0066667 | 88 | -1 | 2.0307 | 0.16778 | 54.6899 | 2.0318 | 0.16333 | 55.5023 | 2.0374 | 0.13171 | 222.8115 | 48.4132 | 201.126 | 49.2188 | 2.0577 | 121.7106 | 2.1188 | 140.733 | 2.0551 | 0.077778 | 116.4323 | 0.040608 | -1.0049 | 7.0188 | 672.047 | 2.098 | 0.001649 | -6.729e-05 | 2.7244e-05 | 1.4135 | 4027.1157 | 3877.8457 | 3998.6933 | 2669.2171 | 3.4225 | 2.4034 | 2.4642 | 2.4746 | -1 | -1 | -1 | -1 | 1.8674 | 1.424 | -1 | -1 | -1 | 2.0896 | 2.0362 | 0.14333 | 1.3437 | 1.6875 | 3017.0546 | -1 | -1
|  | 26 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0856 | 0 | BB | 129.7533 | 27.2243 | 0.073604 | 0.5761 | 0 |  | -1 | -1 | 4 | -1 | 276 | 348 | 1.8362 | 2.2722 | 0.0066667 | 83 | -1 | 2.0318 | 0.16222 | 25.3124 | 2.0318 | 0.16 | 25.4733 | 2.0378 | 0.13032 | 58.6501 | 24.1013 | 54.3537 | 24.1812 | 2.0579 | 38.6291 | 2.1191 | 42.1079 | 2.0562 | 0.076667 | 37.5356 | 0.034818 | 0.17189 | 2.4261 | 129.7344 | 2.0996 | 0.0012123 | 7.2558e-06 | 7.9748e-06 | 1.3846 | 4113.6192 | 4147.9996 | 4115.4373 | 3636.4449 | 15.779 | 14.9759 | 10.6683 | 10.7137 | -1 | -1 | -1 | -1 | 13.2378 | 6.6186 | -1 | -1 | -1 | 2.0896 | 2.0362 | 0.14111 | 1.3229 | 1.6458 | 3157.6171 | -1 | -1
|  | 19 | 2 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0856 | 0 | BB | 452.3057 | 92.4535 | 0.075076 | 0.59386 | 0 |  | -1 | -1 | 2 | -1 | 271 | 348 | 1.8029 | 2.2637 | 0.0066667 | 88 | -1 | 2.0307 | 0.16889 | 48.5821 | 2.0318 | 0.16444 | 49.1285 | 2.0374 | 0.13178 | 161.6235 | 44.3434 | 147.0521 | 44.9302 | 2.0577 | 93.6467 | 2.1189 | 106.4527 | 2.0551 | 0.077778 | 90.104 | 0.040661 | -1.0078 | 7.0474 | 452.2825 | 2.098 | 0.0016533 | -6.7746e-05 | 2.7464e-05 | 1.4231 | 4022.6421 | 3826.9893 | 3998.6933 | 2662.426 | 3.4691 | 2.4085 | 2.5506 | 2.5615 | -1 | -1 | -1 | -1 | 1.881 | 1.4241 | -1 | -1 | -1 | 2.0896 | 2.0362 | 0.14333 | 1.3437 | 1.6875 | 3017.0546 | -1 | -1
|  | 24 | 3 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0856 | 0 | BB | 240.2562 | 49.4725 | 0.074657 | 0.59033 | 0 |  | -1 | -1 | 3 | -1 | 271 | 348 | 1.8029 | 2.2647 | 0.0066667 | 88 | -1 | 2.0307 | 0.16667 | 29.243 | 2.0318 | 0.16333 | 29.5353 | 2.0376 | 0.13132 | 89.7404 | 26.9893 | 81.9557 | 27.2668 | 2.0577 | 53.3162 | 2.1188 | 60.1579 | 2.0551 | 0.077778 | 51.4603 | 0.039442 | -0.87544 | 6.7964 | 240.2176 | 2.0983 | 0.0015557 | -5.3715e-05 | 2.3708e-05 | 1.4135 | 4050.9602 | 3929.7227 | 3998.6933 | 2830.3383 | 3.7812 | 3.2806 | 3.5013 | 3.5162 | -1 | -1 | -1 | -1 | 3.0011 | 1.4241 | -1 | -1 | -1 | 2.0896 | 2.0362 | 0.14222 | 1.3333 | 1.6667 | 3086.2687 | -1 | -1
|  | 18 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.9378 | 0 | BB | 20.8058 | 5.4565 | 0.058485 | 0.52002 | 0 |  | -1 | -1 | 1 | -1 | 724 | 791 | 4.8896 | 5.2629 | 0.0066667 | 78 | -1 | 4.8896 | 0.096667 | 67.6945 | 4.8896 | 0.095556 | 67.7262 | 4.9018 | 0.076918 | 74.2511 | 68.066 | 74.2136 | 66.7168 | 4.9153 | 70.3938 | 4.9578 | 70.5549 | 4.9129 | 0.048889 | 70.1024 | 0.057579 | 2.1136 | 4.9816 | 20.8058 | 4.9667 | 0.0033153 | 0.00040346 | 8.7728e-05 | 1.0238 | 65895.3633 | 65189.6751 | 56478.5742 | 7440.7687 | 27.342 | 26.9638 | 26.4577 | 26.5703 | -1 | -1 | -1 | -1 | 14.6086 | 2.3676 | -1 | -1 | -1 | 4.9363 | 4.8896 | 0.09 | 0.96428 | 0.92857 | 53908.8661 | -1 | -1
|  | 22 | 1 | 19 | 5 | 3 | 0 | 0 | 0 | 5.4693 | 0 | BV E | 35.6025 | 16.4781 | 0.0348 | 2.3137 | 0 |  | -1 | -1 | 1 | -1 | 811 | 825 | 5.4167 | 5.4885 | 0.0066667 | 25 | -1 | 5.4356 | 0.052927 | 62.5362 | 5.4359 | 0.052594 | 62.6329 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4479 | 0.040594 | 69.8865 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.7811 | -1 | 266986.5731 | 100576.3332 | -1 | -1 | 8.8836 | 6.9801 | 7.0098 | -1 | -1 | -1 | -1 | -1 | 1.1077 | -1 | -1 | -1 | 5.4696 | 5.4376 | 0.050927 | 0.79574 | 0.59148 | 163566.976 | -1 | -1
|  | 23 | 2 | 18 | 5 | 4 | 0 | 0 | 0 | 5.4694 | 0 | BV E | 27.1356 | 11.6898 | 0.037082 | 1.6695 | 0 |  | -1 | -1 | 2 | -1 | 810 | 826 | 5.4108 | 5.4963 | 0.0066667 | 27 | -1 | 5.434 | 0.062222 | 103.7648 | 5.4344 | 0.061852 | 103.834 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4477 | 0.048519 | 109.0306 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.87895 | -1 | 193176.9614 | 70404.5063 | -1 | -1 | 36.6036 | 31.4812 | 31.6152 | -1 | -1 | -1 | -1 | -1 | 2.6224 | -1 | -1 | -1 | 5.4696 | 5.4363 | 0.06 | 0.9 | 0.8 | 138612.0754 | -1 | -1
|  | 32 | 6 | 21 | 6 | 4 | 0 | 0 | 0 | 5.5408 | 0 | BB | 18.7868 | 6.7711 | 0.04437 | 0.84191 | 0 |  | -1 | -1 | 6 | -1 | 818 | 853 | 5.4963 | 5.6096 | 0.0066667 | 46 | -1 | 5.4963 | 0.087273 | 15.448 | 5.4963 | 0.086667 | 15.4873 | 5.5058 | 0.074218 | 23.8003 | 15.5735 | 23.5778 | 14.7466 | 5.5195 | 18.7997 | 5.5592 | 19.4458 | 5.5175 | 0.047273 | 18.4339 | 0.017569 | 0.23107 | -0.29217 | 18.7868 | 5.5434 | 0.00030866 | 1.253e-06 | 2.5798e-07 | 0.92857 | 89244.9125 | 100846.5697 | 76166.7012 | 99556.1756 | 74.0116 | 50.3482 | 66.3202 | 66.6024 | -1 | -1 | -1 | -1 | 55.8843 | 17.1948 | -1 | -1 | -1 | 5.5429 | 5.4963 | 0.083636 | 0.89611 | 0.79221 | 72904.4637 | -1 | -1
|  | 34 | 7 | 23 | 6 | 4 | 0 | 0 | 0 | 5.5408 | 0 | BB | 21.0724 | 7.424 | 0.045115 | 0.85725 | 0 |  | -1 | -1 | 7 | -1 | 818 | 853 | 5.4963 | 5.6096 | 0.0066667 | 46 | -1 | 5.4963 | 0.089697 | 6.4581 | 5.4963 | 0.089091 | 6.5012 | 5.5048 | 0.075722 | 15.5761 | 6.4601 | 15.3042 | 5.8287 | 5.5199 | 10.2941 | 5.5592 | 10.9265 | 5.5169 | 0.048485 | 9.7333 | 0.018083 | 0.24262 | -0.25873 | 21.0724 | 5.5432 | 0.00032701 | 1.4347e-06 | 2.9314e-07 | 0.95455 | 85734.2048 | 95469.0592 | 72405.9703 | 93963.1241 | 73.5337 | 49.7346 | 65.4541 | 65.7326 | -1 | -1 | -1 | -1 | 56.7161 | 17.1606 | -1 | -1 | -1 | 5.5429 | 5.4993 | 0.082424 | 0.94444 | 0.88889 | 79403.4206 | -1 | -1
|  | 27 | 1 | 20 | 6 | 3 | 0 | 0 | 0 | 5.5409 | 0 | VB R | 1959.3242 | 627.8945 | 0.048405 | 0.98474 | 0 |  | -1 | -1 | 1 | -1 | 813 | 933 | 5.4161 | 6.2096 | 0.0066667 | 131 | -1 | 5.4912 | 0.10667 | 84.6496 | 5.4912 | 0.105 | 88.2984 | 5.5011 | 0.081714 | 836.0622 | 58.4516 | 810.8474 | 57.358 | 5.5187 | 403.1913 | 5.5616 | 437.0378 | 5.5146 | 0.053333 | 361.9615 | 0.035307 | 7.3945 | 111.2412 | 1994.9181 | 5.5424 | 0.0012465 | 0.00032544 | 0.00017752 | 1.0161 | 73620.9161 | 67508.6246 | 59839.6449 | 24642.7721 | -1 | 1.1203 | 0.89467 | 0.89848 | -1 | -1 | -1 | -1 | -1 | 1.0131 | 31.591 | -1 | 31.591 | 5.5429 | 5.4979 | 0.091667 | 1.0185 | 1.037 | 66667.885 | -1 | -1
|  | 28 | 2 | 24 | 6 | 4 | 0 | 0 | 0 | 5.5409 | 0 | VB R | 596.8468 | 192.2258 | 0.048224 | 1.151 | 0 |  | -1 | -1 | 2 | -1 | 812 | 854 | 5.4096 | 5.6507 | 0.0066667 | 53 | -1 | 5.4518 | 0.14593 | 110.8808 | 5.4888 | 0.10741 | 111.9975 | 5.5015 | 0.080619 | 344.8148 | 102.4435 | 336.104 | 102.925 | 5.5195 | 213.639 | 5.5597 | 229.4087 | 5.5155 | 0.051111 | 195.7546 | 0.026412 | -0.77793 | 1.9205 | 623.9448 | 5.5387 | 0.00069757 | -1.4333e-05 | 2.3944e-06 | 0.99315 | 75634.5421 | 36070.4692 | 65156.2107 | 43977.7823 | -1 | 0.85798 | 0.84247 | 0.84606 | -1 | -1 | -1 | -1 | -1 | 1.0131 | 13.5516 | -1 | 13.5516 | 5.5429 | 5.497 | 0.091852 | 1 | 1 | 67492.327 | -1 | -1
|  | 30 | 3 | 25 | 6 | 4 | 0 | 0 | 0 | 5.5409 | 0 | BB | 424.1625 | 132.5934 | 0.049321 | 1.0034 | 0 |  | -1 | -1 | 3 | -1 | 811 | 855 | 5.4029 | 5.6382 | 0.0066667 | 55 | -1 | 5.4911 | 0.10741 | 88.1159 | 5.4925 | 0.10444 | 88.8863 | 5.5016 | 0.080435 | 249.7753 | 81.8836 | 243.309 | 83.0182 | 5.5194 | 157.9849 | 5.5598 | 169.5269 | 5.5163 | 0.05037 | 146.6656 | 0.025268 | -0.72543 | 2.0131 | 423.9963 | 5.5396 | 0.00063846 | -1.1703e-05 | 2.0435e-06 | 1.0368 | 75980.5797 | 66580.6821 | 67086.6607 | 48063.6641 | 32.6343 | 31.5179 | 31.6818 | 31.8167 | -1 | -1 | -1 | -1 | 26.5897 | 2.6567 | -1 | -1 | -1 | 5.5429 | 5.4985 | 0.09037 | 1.0167 | 1.0333 | 68705.4696 | -1 | -1
|  | 31 | 5 | 26 | 6 | 4 | 0 | 0 | 0 | 5.5409 | 0 | BB | 19.0754 | 6.9037 | 0.042236 | 0.84068 | 0 |  | -1 | -1 | 5 | -1 | 819 | 852 | 5.4963 | 5.6096 | 0.0066667 | 44 | -1 | 5.4963 | 0.087778 | 23.6558 | 5.4963 | 0.087222 | 23.6958 | 5.506 | 0.073979 | 32.1982 | 23.7366 | 31.9206 | 22.9858 | 5.519 | 26.8718 | 5.5591 | 27.7665 | 5.5179 | 0.046667 | 26.6995 | 0.017475 | 0.23095 | -0.30071 | 19.0754 | 5.5434 | 0.00030539 | 1.2325e-06 | 2.5175e-07 | 0.93453 | 89822.0338 | 99689.4164 | 78157.9035 | 100623.6736 | 33.9056 | 34.7078 | 33.2185 | 33.3599 | -1 | -1 | -1 | -1 | 32.6477 | 2.6568 | -1 | -1 | -1 | 5.5429 | 5.4974 | 0.082778 | 0.90854 | 0.81707 | 75579.9313 | -1 | -1
|  | 33 | 4 | 22 | 6 | 4 | 0 | 0 | 0 | 5.541 | 0 | BB | 163.0699 | 49.6043 | 0.050353 | 1.0744 | 0 |  | -1 | -1 | 4 | -1 | 811 | 855 | 5.4029 | 5.6316 | 0.0066667 | 55 | -1 | 5.4518 | 0.14741 | 50.905 | 5.4888 | 0.10889 | 51.1932 | 5.5015 | 0.08051 | 111.357 | 48.4377 | 108.9114 | 49.126 | 5.5194 | 76.9993 | 5.5598 | 81.4404 | 5.5163 | 0.05037 | 72.8097 | 0.027566 | -0.88987 | 1.7313 | 162.9674 | 5.5376 | 0.00075988 | -1.864e-05 | 2.732e-06 | 1.0068 | 75839.1793 | 35349.0781 | 67086.6607 | 40354.3919 | 32.7788 | 27.8992 | 31.9596 | 32.0956 | -1 | -1 | -1 | -1 | 27.5543 | 2.6568 | -1 | -1 | -1 | 5.5429 | 5.4977 | 0.091111 | 1.0082 | 1.0164 | 68098.0636 | -1 | -1
|  | 35 | 1 | 28 | 7 | 3 | 0 | 0 | 0 | 6.3055 | 0 | BB | 1674.1611 | 492.1686 | 0.053685 | 0.8411 | 0 |  | -1 | -1 | 1 | -1 | 936 | 978 | 6.234 | 6.5096 | 0.0066667 | 53 | -1 | 6.2555 | 0.11333 | 68.7305 | 6.2562 | 0.11111 | 71.597 | 6.2627 | 0.091335 | 657.7625 | 48.2872 | 628.6764 | 46.9762 | 6.2797 | 290.1861 | 6.3263 | 379.2914 | 6.2785 | 0.056296 | 286.5837 | 0.023226 | 0.58687 | 1.5433 | 1674.0555 | 6.3068 | 0.00053946 | 7.3534e-06 | 1.3222e-06 | 1.1905 | 76195.6284 | 77322.8431 | 69443.7632 | 73731.6138 | 8.8368 | 8.6887 | 8.1949 | 8.2298 | -1 | -1 | -1 | -1 | 6.5294 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2607 | 0.098519 | 1.1667 | 1.3333 | 66069.8001 | -1 | -1
|  | 36 | 2 | 29 | 7 | 4 | 0 | 0 | 0 | 6.3055 | 0 | BB | 1069.6078 | 315.4525 | 0.053558 | 0.84689 | 0 |  | -1 | -1 | 2 | -1 | 930 | 971 | 6.2096 | 6.4215 | 0.0066667 | 52 | -1 | 6.2556 | 0.114 | 120.1908 | 6.2562 | 0.11133 | 122.0278 | 6.2627 | 0.091157 | 497.9055 | 106.452 | 478.4503 | 107.0575 | 6.2798 | 262.4535 | 6.3262 | 319.5027 | 6.2789 | 0.056 | 259.8067 | 0.022611 | 0.34638 | 0.12903 | 1069.6883 | 6.3088 | 0.00051127 | 4.0044e-06 | 8.1793e-07 | 1.1929 | 76493.6616 | 76421.1267 | 70180.5619 | 77847.5191 | 8.9027 | 7.3544 | 8.388 | 8.4237 | -1 | -1 | -1 | -1 | 7.8543 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2609 | 0.098667 | 1.1746 | 1.3492 | 65469.2723 | -1 | -1
|  | 6 | 8 | 30 | 7 | 4 | 0 | 0 | 0 | 6.3055 | 0 | BB | 103.2242 | 30.27 | 0.053785 | 0.83829 | 0 |  | -1 | -1 | 8 | -1 | 930 | 986 | 6.2029 | 6.5629 | 0.0066667 | 67 | -1 | 6.2553 | 0.11429 | 9.5303 | 6.2562 | 0.11143 | 9.7065 | 6.2627 | 0.091446 | 45.6945 | 8.2481 | 43.9077 | 8.2251 | 6.2805 | 23.7814 | 6.3272 | 28.0363 | 6.2791 | 0.05619 | 22.9237 | 0.024426 | 1.1173 | 5.5301 | 103.2242 | 6.3095 | 0.00059664 | 1.6283e-05 | 3.0366e-06 | 1.1939 | 76010.7851 | 76039.4987 | 69705.5679 | 66722.1494 | 75.7689 | 51.998 | 69.3375 | 69.6326 | -1 | -1 | -1 | -1 | 57.1799 | 19.5036 | -1 | -1 | -1 | 6.3029 | 6.261 | 0.099048 | 1.1818 | 1.3636 | 64607.947 | -1 | -1
|  | 37 | 3 | 31 | 7 | 4 | 0 | 0 | 0 | 6.3056 | 0 | BB | 521.8656 | 154.1235 | 0.053504 | 0.85049 | 0 |  | -1 | -1 | 3 | -1 | 930 | 971 | 6.2362 | 6.4108 | 0.0066667 | 52 | -1 | 6.2562 | 0.11467 | 99.5403 | 6.2569 | 0.112 | 100.4377 | 6.2628 | 0.091095 | 284.2903 | 92.3325 | 274.4784 | 93.754 | 6.2798 | 168.6085 | 6.3262 | 197.239 | 6.2789 | 0.056 | 167.7438 | 0.022496 | 0.32588 | 0.054953 | 521.7935 | 6.3088 | 0.00050605 | 3.7098e-06 | 7.8234e-07 | 1.2174 | 76597.6056 | 75535.0921 | 70180.5619 | 78649.6637 | 8.9155 | 8.6079 | 8.4464 | 8.4823 | -1 | -1 | -1 | -1 | 8.0524 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2609 | 0.099333 | 1.1825 | 1.3651 | 64201.3696 | -1 | -1
|  | 3 | 5 | 32 | 7 | 4 | 0 | 0 | 0 | 6.3056 | 0 | BB | 328.9838 | 97.1455 | 0.053509 | 0.84879 | 0 |  | -1 | -1 | 5 | -1 | 930 | 971 | 6.2096 | 6.4193 | 0.0066667 | 52 | -1 | 6.2562 | 0.11333 | 28.4306 | 6.2569 | 0.11133 | 28.9961 | 6.2628 | 0.091069 | 144.742 | 24.1546 | 138.7658 | 24.4467 | 6.2798 | 72.0177 | 6.3262 | 89.9174 | 6.2789 | 0.056 | 71.4118 | 0.022543 | 0.33576 | 0.099419 | 328.927 | 6.3088 | 0.0005082 | 3.8466e-06 | 8.0047e-07 | 1.2101 | 76640.6455 | 77322.8431 | 70180.5619 | 78318.9268 | 9.2655 | 9.505 | 8.751 | 8.7882 | -1 | -1 | -1 | -1 | 9.5631 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2609 | 0.098667 | 1.1746 | 1.3492 | 65469.2723 | -1 | -1
|  | 4 | 6 | 33 | 7 | 4 | 0 | 0 | 0 | 6.3056 | 0 | BB | 430.3173 | 126.659 | 0.053637 | 0.84332 | 0 |  | -1 | -1 | 6 | -1 | 930 | 979 | 6.2029 | 6.5174 | 0.0066667 | 60 | -1 | 6.2554 | 0.11417 | 19.8364 | 6.2562 | 0.11167 | 20.5737 | 6.2628 | 0.091251 | 171.3245 | 14.4227 | 163.8262 | 14.439 | 6.2802 | 78.2671 | 6.3269 | 98.1372 | 6.2787 | 0.056667 | 75.8684 | 0.023292 | 0.61876 | 1.7891 | 430.3162 | 6.3091 | 0.0005425 | 7.8185e-06 | 1.4095e-06 | 1.1964 | 76336.5322 | 76198.1622 | 68538.9681 | 73373.5066 | 9.2436 | 9.4912 | 8.6453 | 8.6821 | -1 | -1 | -1 | -1 | 9.3707 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2613 | 0.098333 | 1.18 | 1.36 | 65641.2973 | -1 | -1
|  | 1 | 4 | 34 | 7 | 4 | 0 | 0 | 0 | 6.3056 | 0 | BB | 328.5338 | 97.0734 | 0.053485 | 0.85115 | 0 |  | -1 | -1 | 4 | -1 | 930 | 971 | 6.2096 | 6.4105 | 0.0066667 | 52 | -1 | 6.2562 | 0.11467 | 59.5145 | 6.2569 | 0.112 | 60.0796 | 6.2628 | 0.091052 | 175.875 | 54.9616 | 169.7036 | 55.8877 | 6.2798 | 102.9511 | 6.3262 | 121.0628 | 6.2789 | 0.056 | 102.4678 | 0.022484 | 0.32456 | 0.054581 | 328.4946 | 6.3088 | 0.00050551 | 3.6888e-06 | 7.8056e-07 | 1.2174 | 76670.0284 | 75535.0921 | 70180.5619 | 78734.3047 | 8.9134 | 7.2938 | 8.4461 | 8.482 | -1 | -1 | -1 | -1 | 7.7047 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.2616 | 0.098667 | 1.1935 | 1.3871 | 64528.5944 | -1 | -1
|  | 5 | 7 | 27 | 7 | 4 | 0 | 0 | 0 | 6.3056 | 0 | BB | 335.2718 | 98.5906 | 0.053674 | 0.84194 | 0 |  | -1 | -1 | 7 | -1 | 930 | 986 | 6.2029 | 6.5629 | 0.0066667 | 67 | -1 | 6.2553 | 0.11429 | 9.6039 | 6.2562 | 0.11143 | 10.1778 | 6.2627 | 0.091353 | 127.3951 | 5.4029 | 121.5837 | 5.386 | 6.2805 | 55.9384 | 6.3272 | 69.8942 | 6.2791 | 0.05619 | 53.2187 | 0.023636 | 0.78982 | 3.1319 | 335.2718 | 6.3093 | 0.00055865 | 1.0429e-05 | 1.9137e-06 | 1.1939 | 76164.7761 | 76039.4987 | 69705.5679 | 71254.6765 | 9.1545 | 9.3727 | 8.5844 | 8.621 | -1 | -1 | -1 | -1 | 9.181 | 1.138 | -1 | -1 | -1 | 6.3029 | 6.261 | 0.099048 | 1.1818 | 1.3636 | 64607.947 | -1 | -1
|  | 8 | 1 | 36 | 8 | 3 | 0 | 0 | 0 | 6.7049 | 0 | BB | 40.4464 | 14.2164 | 0.045192 | 0.84031 | 0 |  | -1 | -1 | 1 | -1 | 993 | 1028 | 6.6562 | 6.7762 | 0.0066667 | 46 | -1 | 6.6562 | 0.089697 | 43.7037 | 6.6562 | 0.089697 | 43.7858 | 6.669 | 0.075871 | 60.64 | 44.1873 | 60.9749 | 41.7577 | 6.6867 | 52.2834 | 6.7263 | 50.696 | 6.6805 | 0.047879 | 49.942 | 0.018095 | 0.19597 | -0.26597 | 40.4464 | 6.7074 | 0.00032743 | 1.1611e-06 | 2.9311e-07 | 0.96104 | 124879.4051 | 139608.579 | 108580.3184 | 137402.2116 | 4.7782 | 4.9189 | 4.5057 | 4.5249 | -1 | -1 | -1 | -1 | 4.8475 | 1.0634 | -1 | -1 | -1 | 6.7029 | 6.6562 | 0.086667 | 0.92857 | 0.85714 | 103214.9857 | -1 | -1
|  | 7 | 2 | 37 | 8 | 4 | 0 | 0 | 0 | 6.7056 | 0 | BB | 28.7208 | 10.1212 | 0.045106 | 0.92677 | 0 |  | -1 | -1 | 2 | -1 | 993 | 1028 | 6.6562 | 6.7751 | 0.0066667 | 46 | -1 | 6.6617 | 0.090909 | 110.2475 | 6.6623 | 0.089697 | 110.3059 | 6.6687 | 0.075878 | 122.6028 | 109.9034 | 122.3294 | 109.7156 | 6.6867 | 116.0833 | 6.7263 | 115.6393 | 6.6817 | 0.048485 | 114.6897 | 0.017988 | 0.16759 | -0.30648 | 28.721 | 6.7071 | 0.00032356 | 9.7536e-07 | 2.8198e-07 | 1.1045 | 124858.6335 | 135910.5028 | 105882.7761 | 139031.8549 | 4.7911 | 4.8819 | 4.4998 | 4.519 | -1 | -1 | -1 | -1 | 4.9044 | 1.0635 | -1 | -1 | -1 | 6.7029 | 6.6659 | 0.081818 | 1.1066 | 1.2131 | 113626.4402 | -1 | -1
|  | 2 | 3 | 35 | 8 | 4 | 0 | 0 | 0 | 6.7068 | 0 | BB | 10.6267 | 3.9011 | 0.04378 | 1.0624 | 0 |  | -1 | -1 | 3 | -1 | 993 | 1027 | 6.6562 | 6.7578 | 0.0066667 | 45 | -1 | 6.6714 | 0.086355 | 100.4995 | 6.6714 | 0.086355 | 100.5218 | 6.6697 | 0.073372 | 105.4604 | 99.8634 | 105.011 | 100.7325 | 6.6866 | 102.4117 | 6.7267 | 102.6652 | 6.6847 | 0.047273 | 102.194 | 0.016768 | 0.08873 | -0.47639 | 10.5921 | 6.7064 | 0.00028117 | 4.1833e-07 | 1.995e-07 | 1.1308 | 133798.6325 | 150922.5636 | 111603.946 | 159960.4473 | 4.8796 | 4.9903 | 4.5654 | 4.5849 | -1 | -1 | -1 | -1 | 5.0633 | 1.0636 | -1 | -1 | -1 | 6.7096 | 6.6732 | 0.084537 | 1.1624 | 1.3248 | 102022.34 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 07:28:27
ResNewDateTime | 03 September 2019 07:28:27
ResModBy | SYSTEM
ResModTime | 09/03/19 07:28:28
ResModDateTime | 03 September 2019 07:28:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7084.9764

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7084.9764

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4421.6116

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2061.2308

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 747.4003

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 471.9438

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 491.749

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 394.2299

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.9263

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7084.9764

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4421.6116

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2061.2308

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 747.4003

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 471.9438

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 491.749

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 394.2299

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.9263

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 8 | 0 | 8 | 0.33921 | 1499.1335 | 160.6823 | 0.12685 | 1.5817 | -12.0276 | 0.0029167 | 0 | 46.7081 | 0.51625 | 0 | -42.9482 | 1 | -174.6552 | 47.2175 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4646 | 1183.4045 | 51.0683 | 0.28435 | 4.2557 | 8.572 | 0.80958 | 0 | -45.1441 | 1.6077 | 1.4211e-14 | 20.3119 | 1 | 82.0081 | -111.5365 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0856 | 672.0982 | 137.4952 | 0.075029 | 0.59395 | 48.7078 | 1.8029 | 0 | 46.979 | 2.264 | 0 | 49.7992 | 1 | 6.1162 | 35.9519 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9378 | 20.8058 | 5.4565 | 0.058485 | 0.52002 | 67.4356 | 4.8896 | 0 | 68.2807 | 5.2629 | 0 | 61.7323 | 1 | -17.5404 | 154.0458 | 0 | 0 | 0
DateTime |  | 2 | 31 | 5.4693 | 35.6025 | 16.4781 | 0.0348 | 2.3137 | 61.6062 | 5.4167 | 3.1762e-08 | 59.5924 | 5.4885 | -3.2561e-09 | 78.4953 | 2 | -13.3832 | 132.0736 | 176.0556 | -103.5133 | 5.5096
IntegStart | 0 | 32 | 20 | 5.5409 | 1959.3242 | 627.8945 | 0.048405 | 0.98474 | 57.9191 | 5.4161 | 0 | 59.5887 | 6.2096 | 0 | 48.9693 | 1 | -13.3832 | 132.0736 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.3055 | 1674.1611 | 492.1686 | 0.053685 | 0.8411 | 47.6732 | 6.234 | 0 | 48.6992 | 6.5096 | 0 | 44.7431 | 1 | -14.3543 | 138.1835 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.7049 | 40.4464 | 14.2164 | 0.045192 | 0.84031 | 43.0374 | 6.6562 | 0 | 44.5962 | 6.7762 | 0 | 40.7534 | 1 | -32.0236 | 257.7532 | 0 | 0 | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.3307 | 1509.98 | 139.3883 | 0.14038 | 1.9619 | 45.3917 | 0.0029167 | 0 | 125.0844 | 0.50292 | 0 | 3.5229 | 1 | -243.123 | 125.7935 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4645 | 737.0149 | 34.9336 | 0.26014 | 3.7771 | 17.7777 | 0.84292 | 0 | -12.6042 | 1.6087 | 3.5527e-15 | 24.8235 | 1 | 48.8751 | -53.8019 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0856 | 452.3057 | 92.4535 | 0.075076 | 0.59386 | 44.558 | 1.8029 | 0 | 43.2992 | 2.2637 | 0 | 45.3508 | 1 | 4.4527 | 35.2713 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.4694 | 27.1356 | 11.6898 | 0.037082 | 1.6695 | 103.1744 | 5.4108 | -6.0522e-08 | 101.9046 | 5.4963 | 7.8549e-08 | 116.5972 | 2 | 5.9726 | 69.5858 | 27.9736 | -101.8648 | 5.5029
DateTime |  | 32 | 20 | 5.5409 | 596.8468 | 192.2258 | 0.048224 | 1.151 | 102.6789 | 5.4096 | 0 | 101.8949 | 5.6507 | 0 | 103.3349 | 1 | 5.9726 | 69.5858 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.3055 | 1069.6078 | 315.4525 | 0.053558 | 0.84689 | 106.7362 | 6.2096 | 0 | 106.0991 | 6.4215 | 1.4211e-14 | 107.5068 | 1 | 6.642 | 64.8553 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7056 | 28.7208 | 10.1212 | 0.045106 | 0.92677 | 109.8121 | 6.6562 | 0 | 109.9343 | 6.7751 | 0 | 109.6402 | 1 | -2.4753 | 126.4105 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.31714 | 776.4303 | 81.9186 | 0.12458 | 1.7305 | 62.3243 | 0.07625 | 0 | 118.2609 | 0.48292 | 0 | 23.8304 | 1 | -232.206 | 135.9666 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4645 | 87.8895 | 10.9598 | 0.10756 | 0.67745 | 19.7217 | 1.2896 | 0 | 21.1678 | 1.6096 | 0 | 18.5223 | 1 | -8.2672 | 31.829 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0856 | 240.2562 | 49.4725 | 0.074657 | 0.59033 | 27.0908 | 1.8029 | 0 | 26.4935 | 2.2647 | -3.5527e-15 | 27.4692 | 1 | 2.1128 | 22.6844 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5409 | 424.1625 | 132.5934 | 0.049321 | 1.0034 | 82.4382 | 5.4029 | 0 | 80.4915 | 5.6382 | 0 | 83.8101 | 1 | 14.106 | 4.2778 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3056 | 521.8656 | 154.1235 | 0.053504 | 0.85049 | 93.0004 | 6.2362 | 0 | 91.9189 | 6.4108 | 0 | 94.6422 | 1 | 15.6039 | -5.3908 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.7068 | 10.6267 | 3.9011 | 0.04378 | 1.0624 | 100.3033 | 6.6562 | 0 | 99.7043 | 6.7578 | 0 | 100.9066 | 1 | 11.8453 | 20.8593 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31511 | 126.0433 | 28.7707 | 0.065111 | 1.0752 | 54.9343 | 0.22292 | 0 | 72.5746 | 0.42292 | 0 | 34.3084 | 1 | -191.3309 | 115.2255 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0856 | 129.7533 | 27.2243 | 0.073604 | 0.5761 | 24.1306 | 1.8362 | 0 | 23.9778 | 2.2722 | 0 | 24.245 | 1 | 0.61289 | 22.8523 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.541 | 163.0699 | 49.6043 | 0.050353 | 1.0744 | 48.7747 | 5.4029 | 0 | 47.5945 | 5.6316 | 0 | 49.5498 | 1 | 8.5487 | 1.4064 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3056 | 328.5338 | 97.0734 | 0.053485 | 0.85115 | 55.3969 | 6.2096 | 0 | 54.4205 | 6.4105 | 7.1054e-15 | 56.4638 | 1 | 10.1718 | -8.7423 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31858 | 59.7235 | 16.9791 | 0.053037 | 1.2769 | 24.1661 | 0.20958 | 3.5527e-15 | 29.8338 | 0.40292 | 3.5527e-15 | 19.7806 | 1 | -51.9991 | 40.7319 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0856 | 64.1611 | 13.4956 | 0.073466 | 0.57744 | 17.0734 | 1.8362 | 0 | 17.0074 | 2.2885 | 0 | 17.1271 | 1 | 0.26484 | 16.521 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5409 | 19.0754 | 6.9037 | 0.042236 | 0.84068 | 23.3822 | 5.4963 | 7.1054e-15 | 23.8357 | 5.6096 | 7.1054e-15 | 22.6855 | 1 | -10.1482 | 79.6128 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3056 | 328.9838 | 97.1455 | 0.053509 | 0.84879 | 24.2918 | 6.2096 | 0 | 23.984 | 6.4193 | 0 | 24.6565 | 1 | 3.2073 | 4.0681 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32224 | 42.6449 | 13.7044 | 0.048304 | 1.2628 | 14.563 | 0.18958 | 0 | 16.0127 | 0.40958 | 0 | 13.6085 | 1 | -10.9282 | 18.0845 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5408 | 18.7868 | 6.7711 | 0.04437 | 0.84191 | 15.1833 | 5.4963 | 7.1054e-15 | 15.6798 | 5.6096 | 7.1054e-15 | 14.4172 | 1 | -11.1412 | 76.9144 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3056 | 430.3173 | 126.659 | 0.053637 | 0.84332 | 14.4303 | 6.2029 | 0 | 14.4119 | 6.5174 | 0 | 14.4683 | 1 | 0.17919 | 13.3004 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32288 | 37.8857 | 12.5201 | 0.047303 | 1.2285 | 5.5907 | 0.18958 | 0 | 6.4549 | 0.41625 | 0 | 4.9853 | 1 | -6.4836 | 7.6841 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5408 | 21.0724 | 7.424 | 0.045115 | 0.85725 | 6.1595 | 5.4963 | 0 | 6.5312 | 5.6096 | 0 | 5.5861 | 1 | -8.339 | 52.3647 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3056 | 335.2718 | 98.5906 | 0.053674 | 0.84194 | 5.395 | 6.2029 | 0 | 5.414 | 6.5629 | 0 | 5.3473 | 1 | -0.18544 | 6.5643 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.3233 | 37.7021 | 12.4349 | 0.047373 | 1.2364 | 8.478 | 0.18958 | 0 | 9.2816 | 0.41625 | 8.8818e-16 | 7.9193 | 1 | -6.0103 | 10.4211 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3055 | 103.2242 | 30.27 | 0.053785 | 0.83829 | 8.2373 | 6.2029 | 0 | 8.2631 | 6.5629 | 0 | 8.1725 | 1 | -0.25166 | 9.8242 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2