## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567441912
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 45
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 45
Vial | 45
SampleLocation | 45
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 17:31:52
SampleName | CS-135_0045
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 7.4089
DAD1UVBurnTime | 154.0756
DAD1VisOnTime | 7.4083
DAD1VisBurnTime | 139.5869
StartPressure | 25.814
StopPressure | 61.421
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.997
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 11 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 24 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup | 41 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 11250.6056 | 1676.9308 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 7484.752 | 929.424 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 1984.7128 | 432.905 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 782.8941 | 212.1782 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 502.2689 | 146.2243 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 512.5938 | 159.5585 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 408.8257 | 127.5158 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0045.D | 141.4371 | 44.9353 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 42 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31322 | 0 | BB | 141.1982 | 29.6725 | 0.067516 | 1.1305 | 0 |  | -1 | -1 | 4 | -1 | 27 | 79 | 0.20542 | 0.43208 | 0.0066667 | 63 | -1 | 0.20542 | 0.15167 | 49.5175 | 0.20542 | 0.15167 | 49.6883 | 0.26541 | 0.096804 | 79.9087 | 55.9498 | 90.6387 | 40.0088 | 0.30151 | 74.0391 | 0.34204 | 60.8538 | 0.20542 | 0.135 | 62.5015 | 0.037008 | -0.15176 | -0.05699 | 141.1982 | 0.308 | 0.0013696 | -7.6923e-06 | 5.5205e-06 | 0.71094 | 166.2946 | 105.8524 | 29.6062 | 69.2648 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31208 | 0.20542 | 0.14917 | 0.69922 | 0.39844 | 48.5477 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.31539 | 0 | BB | 668.5493 | 75.9609 | 0.11468 | 1.511 | 0 |  | -1 | -1 | 3 | -1 | 13 | 100 | 0.09875 | 0.47875 | 0.0066667 | 98 | -1 | 0.09875 | 0.296 | 62.7196 | 0.09875 | 0.296 | 63.1755 | 0.23181 | 0.16213 | 139.568 | 80.1688 | 154.7198 | 41.3934 | 0.30042 | 128.9262 | 0.34488 | 112.1689 | 0.09875 | 0.25867 | 97.3655 | 0.068632 | -0.3421 | -0.35212 | 668.5493 | 0.29153 | 0.0047104 | -0.0001106 | 5.875e-05 | 0.67273 | 61.8469 | 28.9906 | 8.4126 | 18.0429 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.09875 | 0.29067 | 0.66061 | 0.32121 | 11.4932 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.31701 | 0 | BB | 62.7625 | 16.9248 | 0.055264 | 1.3789 | 0 |  | -1 | -1 | 5 | -1 | 29 | 74 | 0.19208 | 0.41208 | 0.0066667 | 56 | -1 | 0.19208 | 0.16519 | 20.8204 | 0.19208 | 0.16444 | 20.9204 | 0.28115 | 0.07419 | 40.2473 | 21.7454 | 45.708 | 18.4739 | 0.30203 | 32.5186 | 0.3422 | 27.8122 | 0.28912 | 0.052593 | 28.4175 | 0.033331 | -0.82887 | 0.52813 | 62.7625 | 0.30579 | 0.0011109 | -3.0692e-05 | 4.3544e-06 | 0.64912 | 295.3475 | 93.089 | 203.4984 | 84.1716 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.19208 | 0.16222 | 0.64035 | 0.2807 | 33.4538 | -1 | -1
Modified | 1 | 31 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32025 | 0 | BB | 41.8303 | 13.6029 | 0.047876 | 1.2542 | 0 |  | -1 | -1 | 6 | -1 | 27 | 71 | 0.17875 | 0.41875 | 0.0066667 | 55 | -1 | 0.17875 | 0.18148 | 11.8964 | 0.17875 | 0.18074 | 11.9759 | 0.28779 | 0.066938 | 28.8846 | 11.6086 | 31.5494 | 10.9698 | 0.30226 | 19.3116 | 0.3423 | 18.3871 | 0.29801 | 0.045185 | 17.9413 | 0.029633 | -1.4224 | 2.6004 | 41.8303 | 0.31205 | 0.00087813 | -3.7013e-05 | 4.3186e-06 | 0.6455 | 362.8081 | 77.1215 | 275.6881 | 110.8929 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.17875 | 0.17852 | 0.63757 | 0.27513 | 27.217 | -1 | -1
NextPeakSignal_ | Peak | 30 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32071 | 0 | BB | 37.1866 | 12.4539 | 0.046836 | 1.196 | 0 |  | -1 | -1 | 7 | -1 | 27 | 70 | 0.17875 | 0.42542 | 0.0066667 | 54 | -1 | 0.17875 | 0.18222 | 2.8799 | 0.17875 | 0.18148 | 2.9528 | 0.28847 | 0.066383 | 18.665 | 2.5534 | 20.8105 | 2.1794 | 0.30221 | 9.4203 | 0.3423 | 9.0286 | 0.29875 | 0.045185 | 8.4211 | 0.028151 | -1.4485 | 3.175 | 37.1866 | 0.31404 | 0.00079249 | -3.2315e-05 | 3.8781e-06 | 0.61869 | 384.4862 | 79.7291 | 287.3407 | 124.4461 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.24542 | 0.11259 | 0.7037 | 0.40741 | 94.0288 | -1 | -1
Signal_ | Signal | 35 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32102 | 0 | BB | 37.0108 | 12.3831 | 0.046869 | 1.1891 | 0 |  | -1 | -1 | 8 | -1 | 27 | 70 | 0.17875 | 0.42542 | 0.0066667 | 54 | -1 | 0.17875 | 0.18296 | 6.2878 | 0.17875 | 0.18222 | 6.3605 | 0.28856 | 0.066693 | 21.9771 | 5.9466 | 23.9896 | 5.5999 | 0.30222 | 12.6942 | 0.34233 | 12.5442 | 0.29875 | 0.045185 | 11.8099 | 0.027981 | -1.4327 | 3.2238 | 37.0108 | 0.31461 | 0.00078291 | -3.1386e-05 | 3.8149e-06 | 0.62121 | 380.9249 | 79.0848 | 287.3407 | 126.4265 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.25134 | 0.10667 | 0.72 | 0.44 | 110.174 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.32907 | 0 | BB | 1428.0697 | 133.2634 | 0.13902 | 1.9016 | 0 |  | -1 | -1 | 2 | -1 | 1 | 113 | 0.0054167 | 0.50542 | 0.0066667 | 118 | -1 | 0.032083 | 0.39167 | 47.5785 | 0.032083 | 0.39167 | 48.367 | 0.23508 | 0.19939 | 187.0898 | 63.6415 | 187.8638 | 15.4246 | 0.30455 | 154.8763 | 0.37231 | 117.1262 | 0.032083 | 0.34667 | 107.5043 | 0.092699 | -0.5763 | -0.25313 | 1428.0697 | 0.28223 | 0.0085932 | -0.00045907 | 0.00020284 | 0.66761 | 42.6191 | 17.2578 | 4.8816 | 9.2692 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.032083 | 0.385 | 0.65625 | 0.3125 | 6.6947 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.3373 | 0 | BB | 1420.5034 | 152.8604 | 0.12842 | 1.5177 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.0054167 | 0.51875 | 0.0066667 | 115 | -1 | 0.032083 | 0.41 | -9.4082 | 0.032083 | 0.40833 | -8.5009 | 0.26117 | 0.17939 | 156.6811 | -2.2852 | 153.5466 | -34.1415 | 0.30942 | 98.4668 | 0.37551 | 84.0994 | 0.27542 | 0.11333 | 59.5442 | 0.090557 | -0.77762 | 0.18249 | 1420.5034 | 0.30233 | 0.0082005 | -0.00057747 | 0.00021402 | 0.66576 | 57.0515 | 17.066 | 49.4941 | 11.1461 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33875 | 0.032083 | 0.40167 | 0.65489 | 0.30978 | 6.6233 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4653 | 0 | BB | 85.919 | 10.8217 | 0.10463 | 0.65548 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2988 | 1.6121 | 0.0066667 | 90 | -1 | 1.2988 | 0.29733 | 17.7675 | 1.2988 | 0.29733 | 17.8314 | 1.4081 | 0.1963 | 29.8727 | 17.8317 | 43.7729 | 16.0055 | 1.4425 | 25.0629 | 1.5885 | 19.1962 | 1.4281 | 0.13067 | 22.6235 | 0.062383 | -0.27584 | -0.40447 | 85.919 | 1.4809 | 0.0038917 | -6.6965e-05 | 3.9309e-05 | 0.892 | 891.6628 | 607.2607 | 696.7908 | 563.5256 | 6.4165 | 4.8452 | 3.4704 | 3.4852 | -1 | -1 | -1 | -1 | 4.539 | 4.646 | -1 | -1 | -1 | 1.4654 | 1.2988 | 0.29467 | 0.884 | 0.768 | 404.1119 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4654 | 0 | BB | 752.9043 | 35.3931 | 0.26018 | 3.8324 | 0 |  | -1 | -1 | 2 | -1 | 127 | 243 | 0.84542 | 1.6088 | 0.0066667 | 127 | -1 | 1.1471 | 0.46174 | 16.6965 | 1.1504 | 0.45841 | 16.9065 | 1.373 | 0.22811 | 54.5132 | 10.2593 | 83.5276 | 22.349 | 1.4424 | 43.5 | 1.5847 | 29.7546 | 1.3638 | 0.215 | 32.6543 | 0.16834 | -0.31373 | -0.88048 | 757.0284 | 1.3062 | 0.028337 | -0.0014966 | 0.001702 | 0.72763 | 660.3227 | 251.8033 | 257.3683 | 60.2064 | 5.316 | 3.3287 | 2.3771 | 2.3872 | -1 | -1 | -1 | -1 | 1.9613 | 4.453 | -1 | -1 | -1 | 1.4654 | 1.1687 | 0.44008 | 0.7417 | 0.4834 | 139.3281 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4654 | 0 | BB | 1204.4988 | 51.7656 | 0.28346 | 4.2841 | 0 |  | -1 | -1 | 1 | -1 | 122 | 242 | 0.81208 | 1.6078 | 0.0066667 | 131 | -1 | 1.1438 | 0.46409 | 8.8003 | 1.1454 | 0.46243 | 9.1076 | 1.3671 | 0.23319 | 63.8633 | -2.0053 | 105.6408 | 18.2836 | 1.4425 | 48.4945 | 1.5838 | 28.9913 | 1.3521 | 0.22667 | 32.1527 | 0.17405 | -0.27257 | -0.90372 | 1201.7904 | 1.2902 | 0.030293 | -0.0014371 | 0.0019236 | 0.72254 | 631.8646 | 249.2587 | 231.5564 | 54.9535 | 5.4685 | 3.2265 | 3.8986 | 3.9152 | -1 | -1 | -1 | -1 | 1.8667 | 4.3445 | -1 | -1 | -1 | 1.4654 | 1.1638 | 0.44409 | 0.73607 | 0.47213 | 134.8129 | -1 | -1
|  | 32 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0648 | 0 | BB | 70.2241 | 14.6945 | 0.073754 | 0.56917 | 0 |  | -1 | -1 | 5 | -1 | 288 | 352 | 1.9254 | 2.3399 | 0.0066667 | 75 | -1 | 2.011 | 0.16444 | 14.5596 | 2.011 | 0.16111 | 14.6469 | 2.017 | 0.12898 | 32.6695 | 13.9016 | 30.2332 | 13.9497 | 2.0363 | 21.4851 | 2.0964 | 23.8834 | 2.0354 | 0.075556 | 21.192 | 0.037426 | 1.299 | 3.7709 | 70.2209 | 2.0808 | 0.0014007 | 6.8096e-05 | 1.3284e-05 | 1.4796 | 4102.7949 | 3943.8188 | 4139.9235 | 3091.1536 | 17.2048 | 13.2555 | 16.0254 | 16.0936 | -1 | -1 | -1 | -1 | 12.5431 | 6.5133 | -1 | -1 | -1 | 2.0654 | 2.0154 | 0.14 | 1.4 | 1.8 | 2975.7435 | -1 | -1
|  | 29 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0649 | 0 | BB | 144.3178 | 29.9361 | 0.074243 | 0.56933 | 0 |  | -1 | -1 | 4 | -1 | 287 | 345 | 1.9121 | 2.2894 | 0.0066667 | 69 | -1 | 2.0102 | 0.17048 | 21.9832 | 2.0111 | 0.16571 | 22.161 | 2.0169 | 0.12998 | 58.9302 | 20.6146 | 53.8744 | 20.7878 | 2.0359 | 35.8295 | 2.0966 | 41.0867 | 2.0349 | 0.07619 | 35.4967 | 0.036328 | 0.92855 | 1.7049 | 144.3602 | 2.0806 | 0.0013197 | 4.4518e-05 | 8.1945e-06 | 1.5263 | 4039.8336 | 3669.6775 | 4071.2122 | 3280.1946 | 15.4475 | 13.5937 | 9.7456 | 9.7871 | -1 | -1 | -1 | -1 | 12.0856 | 6.5924 | -1 | -1 | -1 | 2.0654 | 2.0159 | 0.1419 | 1.4327 | 1.8654 | 2835.6054 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.065 | 0 | BB | 778.0043 | 153.2502 | 0.077228 | 0.56517 | 0 |  | -1 | -1 | 1 | -1 | 265 | 344 | 1.7654 | 2.2854 | 0.0066667 | 90 | -1 | 2.0094 | 0.196 | 54.6044 | 2.0094 | 0.188 | 55.515 | 2.0162 | 0.13336 | 242.843 | 47.4224 | 217.2204 | 48.7873 | 2.037 | 130.7339 | 2.0979 | 151.6262 | 2.0347 | 0.078667 | 123.8132 | 0.043407 | -0.042337 | 5.1523 | 778.0094 | 2.0814 | 0.0018842 | -3.4627e-06 | 2.8942e-05 | 1.6786 | 3837.9341 | 2776.1519 | 3818.9469 | 2299.197 | 3.2714 | 2.2708 | 2.3073 | 2.3171 | -1 | -1 | -1 | -1 | 1.8191 | 1.4091 | -1 | -1 | -1 | 2.0654 | 2.0147 | 0.152 | 1.5 | 2 | 2369.0863 | -1 | -1
|  | 27 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.065 | 0 | BB | 273.4109 | 54.9387 | 0.076061 | 0.5562 | 0 |  | -1 | -1 | 3 | -1 | 285 | 345 | 1.8987 | 2.2849 | 0.0066667 | 71 | -1 | 2.0102 | 0.18857 | 27.372 | 2.0102 | 0.1819 | 27.6984 | 2.0166 | 0.13224 | 95.1085 | 24.7891 | 85.7389 | 25.3015 | 2.0362 | 53.3434 | 2.0968 | 62.8174 | 2.0349 | 0.077143 | 52.1787 | 0.038973 | 0.94131 | 1.7164 | 273.4414 | 2.0823 | 0.0015189 | 5.5721e-05 | 1.0881e-05 | 1.6466 | 3903.2099 | 2999.1872 | 3971.309 | 2854.6469 | 3.6506 | 3.0854 | 3.3907 | 3.4052 | -1 | -1 | -1 | -1 | 2.9667 | 1.4093 | -1 | -1 | -1 | 2.0654 | 2.0149 | 0.14857 | 1.4717 | 1.9434 | 2523.6435 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.065 | 0 | BB | 523.3126 | 103.0623 | 0.077239 | 0.55994 | 0 |  | -1 | -1 | 2 | -1 | 265 | 344 | 1.7654 | 2.2846 | 0.0066667 | 90 | -1 | 2.0094 | 0.19867 | 47.5901 | 2.0094 | 0.19067 | 48.2025 | 2.0162 | 0.13353 | 174.2324 | 42.7044 | 156.9191 | 43.7752 | 2.037 | 98.7478 | 2.0979 | 112.9429 | 2.0347 | 0.078667 | 94.1339 | 0.042905 | 0.10135 | 4.8823 | 523.4541 | 2.0819 | 0.0018408 | 8.0048e-06 | 2.671e-05 | 1.7024 | 3828.3332 | 2702.1245 | 3818.9469 | 2354.6257 | 3.3163 | 2.27 | 2.3993 | 2.4095 | -1 | -1 | -1 | -1 | 1.8362 | 1.4092 | -1 | -1 | -1 | 2.0654 | 2.0147 | 0.152 | 1.5 | 2 | 2369.0863 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 2.7323 | 0 | BV | 1314.8298 | 44.5972 | 0.51396 | 1.0698 | 0 |  | -1 | -1 | 1 | -1 | 343 | 464 | 2.2854 | 3.0863 | 0.0066667 | 132 | -1 | 2.3487 | 0.7376 | 53.9967 | 2.3504 | 0.73593 | 54.2642 | 2.3371 | 0.73983 | 119.815 | 50.3925 | 132.9426 | 53.468 | 2.4273 | 66.2325 | 2.9971 | 71.8906 | 2.4737 | 0.51333 | 74.3333 | 0.16118 | -0.083661 | -0.81544 | 1192.8997 | 2.7125 | 0.02598 | -0.00035033 | 0.0014745 | 0.9641 | 218.1936 | 342.9961 | 156.9274 | 283.1978 | 1.5285 | 1.787 | 1.3245 | 1.3302 | -1 | -1 | -1 | -1 | 1.5423 | 1.3232 | -1 | 8.7881 | 8.7881 | 2.7321 | 2.3671 | 0.71926 | 0.98529 | 0.97059 | 263.8483 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 2.7571 | 0 | BV | 872.2455 | 29.803 | 0.51145 | 1.2882 | 0 |  | -1 | -1 | 2 | -1 | 344 | 464 | 2.2921 | 3.0848 | 0.0066667 | 131 | -1 | 2.3921 | 0.69276 | 52.1476 | 2.3937 | 0.69109 | 52.3263 | 2.3416 | 0.72908 | 98.5291 | 45.5197 | 103.4419 | 54.8142 | 2.43 | 56.7889 | 2.9986 | 65.9906 | 2.5038 | 0.49667 | 65.7277 | 0.16065 | -0.097079 | -0.81725 | 816.9947 | 2.7173 | 0.025809 | -0.00040252 | 0.001454 | 0.9467 | 229.0832 | 396.4624 | 170.9245 | 286.0811 | 1.6047 | 1.941 | 1.4135 | 1.4195 | -1 | -1 | -1 | -1 | 1.5606 | 1.3352 | -1 | 12.7517 | 12.7517 | 2.7588 | 2.4054 | 0.67942 | 0.96145 | 0.9229 | 294.6205 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 3.4908 | 0 | VB | 751.8506 | 37.2155 | 0.2837 | 2.5042 | 0 |  | -1 | -1 | 1 | -1 | 463 | 559 | 3.0863 | 3.7178 | 0.0066667 | 107 | -1 | 3.0863 | 0.60307 | 56.8306 | 3.0863 | 0.59907 | 57.0538 | 3.0903 | 0.56411 | 137.0902 | 53.5235 | 102.0287 | 55.8685 | 3.1647 | 69.0442 | 3.5819 | 76.3351 | 3.1881 | 0.404 | 73.7948 | 0.1329 | -0.2811 | -0.97845 | 655.97 | 3.4092 | 0.017663 | -0.00065985 | 0.00063066 | 0.73825 | 613.1375 | 838.2523 | 413.9198 | 658.0264 | 1.1634 | 1.4144 | 0.97155 | 0.97568 | -1 | -1 | -1 | -1 | 1.1845 | 1.2776 | 7.3335 | -1 | 7.3335 | 3.4921 | 3.0987 | 0.564 | 0.71695 | 0.4339 | 449.7235 | -1 | -1
|  | 22 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 3.4977 | 0 | VB | 506.9528 | 26.1606 | 0.27408 | 2.4488 | 0 |  | -1 | -1 | 2 | -1 | 463 | 559 | 3.0848 | 3.7163 | 0.0066667 | 107 | -1 | 3.1387 | 0.57754 | 61.4213 | 3.1401 | 0.57621 | 61.5782 | 3.2857 | 0.37293 | 90.5232 | 57.5545 | 92.5208 | 62.3087 | 3.4237 | 79.0181 | 3.5848 | 76.1618 | 3.3828 | 0.21733 | 73.3426 | 0.13339 | -0.31165 | -0.94107 | 463.3379 | 3.4142 | 0.017792 | -0.00073962 | 0.00065177 | 0.80327 | 1408.3032 | 917.4786 | 1435.7635 | 655.177 | 1.3441 | 1.4575 | 1.2188 | 1.224 | -1 | -1 | -1 | -1 | 1.1851 | 1.2686 | 11.1933 | -1 | 11.1933 | 3.4987 | 3.1494 | 0.56688 | 0.81137 | 0.62274 | 556.231 | -1 | -1
|  | 23 | 1 | 22 | 6 | 3 | 0 | 0 | 0 | 4.1398 | 0 | BB | 1164.7067 | 52.3657 | 0.30349 | 1.0299 | 0 |  | -1 | -1 | 1 | -1 | 558 | 686 | 3.7188 | 4.5654 | 0.0066667 | 139 | -1 | 3.7188 | 0.75 | 55.2263 | 3.7188 | 0.74667 | 55.5404 | 3.9128 | 0.54891 | 111.7484 | 54.647 | 112.7943 | 50.4581 | 4.0704 | 94.2916 | 4.3167 | 78.5435 | 3.9787 | 0.33667 | 79.098 | 0.15464 | -0.08827 | -0.54305 | 1164.7066 | 4.1339 | 0.023913 | -0.00032641 | 0.0014049 | 0.88889 | 909.6066 | 761.3001 | 837.236 | 714.6512 | 1.1662 | 1.1991 | 1.0296 | 1.0339 | -1 | -1 | -1 | -1 | 1.2603 | 1.1859 | -1 | -1 | -1 | 4.1387 | 3.7704 | 0.675 | 0.91629 | 0.83258 | 639.5996 | -1 | -1
|  | 24 | 2 | 21 | 6 | 4 | 0 | 0 | 0 | 4.156 | 0 | BB | 917.0256 | 40.2737 | 0.31565 | 0.94076 | 0 |  | -1 | -1 | 2 | -1 | 559 | 689 | 3.7254 | 4.5862 | 0.0066667 | 141 | -1 | 3.8221 | 0.76412 | 69.7876 | 3.8237 | 0.76245 | 70.029 | 3.9332 | 0.57088 | 115.535 | 65.4527 | 113.9999 | 71.946 | 4.0745 | 97.2167 | 4.3202 | 94.1637 | 4.0287 | 0.345 | 88.131 | 0.15687 | -0.11472 | -0.49301 | 916.8247 | 4.1595 | 0.024608 | -0.00044283 | 0.0015181 | 1.138 | 849.0833 | 740.5274 | 805.0025 | 703.0685 | 1.3949 | 1.2266 | 1.3754 | 1.3813 | -1 | -1 | -1 | -1 | 1.2838 | 1.1882 | -1 | -1 | -1 | 4.1588 | 3.8388 | 0.74745 | 1.1679 | 1.3358 | 499.2269 | -1 | -1
|  | 25 | 1 | 24 | 7 | 4 | 0 | 0 | 0 | 4.9018 | 0 | BV | 664.7194 | 41.3199 | 0.23768 | 0.75213 | 0 |  | -1 | -1 | 1 | -1 | 687 | 769 | 4.5788 | 5.1191 | 0.0066667 | 93 | -1 | 4.6614 | 0.45766 | 52.1069 | 4.6654 | 0.45366 | 52.3547 | 4.7249 | 0.47224 | 100.5812 | 49.9353 | 95.1183 | 50.8982 | 4.8164 | 76.1391 | 4.9805 | 83.3396 | 4.7974 | 0.28533 | 70.9387 | 0.079021 | 0.081461 | -0.45138 | 383.3943 | 4.9075 | 0.0062443 | 4.0196e-05 | 9.9376e-05 | 0.97214 | 1721.7367 | 2864.2801 | 1632.9591 | 3856.8543 | 1.4925 | 1.5775 | 1.4395 | 1.4457 | -1 | -1 | -1 | -1 | 1.6554 | 1.1841 | -1 | 2.3558 | 2.3558 | 4.8987 | 4.6988 | 0.42033 | 1.0508 | 1.1017 | 2408.5112 | -1 | -1
|  | 28 | 2 | 23 | 7 | 3 | 0 | 0 | 0 | 4.9193 | 0 | BB | 748.9602 | 33.5623 | 0.30835 | 0.42504 | 0 |  | -1 | -1 | 2 | -1 | 693 | 824 | 4.6188 | 5.4887 | 0.0066667 | 142 | -1 | 4.7432 | 0.74556 | 80.1326 | 4.7454 | 0.74333 | 80.334 | 4.7424 | 0.54053 | 122.3062 | 75.4412 | 139.2788 | 85.2919 | 4.8249 | 97.3107 | 5.1749 | 101.3228 | 4.8165 | 0.46889 | 95.4403 | 0.15899 | 0.42993 | -0.52437 | 747.3747 | 5.0202 | 0.025279 | 0.001728 | 0.001582 | 2.1442 | 1324.8976 | 1088.1519 | 609.6483 | 996.9489 | 1.3735 | 1.264 | 1.102 | 1.1066 | -1 | -1 | -1 | -1 | 1.3624 | 1.1837 | -1 | -1 | -1 | 4.9188 | 4.7565 | 0.73222 | 2.2568 | 3.5137 | 395.0167 | -1 | -1
|  | 26 | 1 | 25 | 8 | 3 | 0 | 0 | 0 | 5.1518 | 0 | VB | 163.9938 | 20.1702 | 0.10686 | 0.26007 | 0 |  | -1 | -1 | 1 | -1 | 768 | 823 | 5.1191 | 5.4774 | 0.0066667 | 66 | -1 | 5.1191 | 0.32919 | 51.6885 | 5.1191 | 0.32062 | 51.8088 | 4.994 | 0.24823 | 71.8763 | 50.4841 | 73.3383 | 50.9902 | 5.1352 | 69.6259 | 5.1752 | 67.5653 | 5.1191 | 0.11776 | 60.8306 | 0.013379 | -0.052936 | -0.67955 | 9.9099 | 5.1549 | 0.00017901 | -1.2678e-07 | 7.4354e-08 | 4.8576 | 6892.5397 | 6123.5941 | 10603.5756 | 148446.7911 | 0.69406 | 0.79437 | 0.7288 | 0.7319 | -1 | -1 | -1 | -1 | 1.3387 | 1.051 | 1.15 | -1 | 1.15 | 5.1521 | 5.1191 | 0.27681 | 4.1939 | 7.3878 | 1672.3726 | -1 | -1
|  | 33 | 1 | 27 | 9 | 3 | 0 | 0 | 0 | 5.8559 | 0 | BB | 2068.8257 | 587.8154 | 0.053061 | 0.89268 | 0 |  | -1 | -1 | 1 | -1 | 826 | 923 | 5.5054 | 6.1474 | 0.0066667 | 108 | -1 | 5.8027 | 0.11867 | 78.8678 | 5.8027 | 0.11733 | 82.2966 | 5.8122 | 0.090719 | 776.4199 | 53.4489 | 752.3694 | 53.9839 | 5.8325 | 388.6523 | 5.8783 | 420.0233 | 5.8281 | 0.057333 | 339.4567 | 0.034401 | -1.2236 | 17.8748 | 2068.6172 | 5.8574 | 0.0011835 | -4.9814e-05 | 2.9237e-05 | 1.0476 | 66731.5175 | 60938.5976 | 57850.2598 | 28990.4233 | 4.1541 | 3.9299 | 4.7243 | 4.7444 | -1 | -1 | -1 | -1 | 7.3514 | 1.1367 | -1 | -1 | -1 | 5.8587 | 5.8094 | 0.10133 | 1.027 | 1.0541 | 60499.0655 | -1 | -1
|  | 36 | 3 | 28 | 9 | 4 | 0 | 0 | 0 | 5.8562 | 0 | BB | 425.8216 | 125.327 | 0.05164 | 0.88755 | 0 |  | -1 | -1 | 3 | -1 | 854 | 903 | 5.6921 | 5.9662 | 0.0066667 | 60 | -1 | 5.8046 | 0.1175 | 78.6668 | 5.8054 | 0.115 | 79.3983 | 5.813 | 0.089501 | 228.5406 | 72.6659 | 222.8243 | 73.9103 | 5.8347 | 150.9063 | 5.8763 | 158.2032 | 5.8296 | 0.055 | 134.2641 | 0.023131 | 0.27631 | 0.37126 | 425.7429 | 5.8585 | 0.00053503 | 3.4196e-06 | 9.6505e-07 | 1.0781 | 68561.2236 | 62154.7335 | 62862.8865 | 64150.1246 | 34.1948 | 30.9663 | 33.7106 | 33.854 | -1 | -1 | -1 | -1 | 30.4029 | 2.8359 | -1 | -1 | -1 | 5.8587 | 5.8104 | 0.1 | 1.0345 | 1.069 | 61723.6638 | -1 | -1
|  | 34 | 2 | 29 | 9 | 4 | 0 | 0 | 0 | 5.8562 | 0 | BB | 634.5463 | 184.0448 | 0.052224 | 0.89847 | 0 |  | -1 | -1 | 2 | -1 | 835 | 903 | 5.5654 | 5.9768 | 0.0066667 | 79 | -1 | 5.8043 | 0.11889 | 102.261 | 5.8043 | 0.11667 | 103.336 | 5.8128 | 0.090118 | 321.5658 | 93.6595 | 313.5009 | 95.0685 | 5.8334 | 201.8053 | 5.8775 | 214.063 | 5.8288 | 0.056667 | 183.958 | 0.026439 | -1.0464 | 8.8694 | 634.9386 | 5.8578 | 0.00069903 | -1.9339e-05 | 5.7999e-06 | 1.0714 | 67625.0609 | 60711.0026 | 59219.4493 | 49088.0633 | 2.9714 | 2.7097 | 2.0948 | 2.1037 | -1 | -1 | -1 | -1 | 2.2587 | 1.1905 | -1 | -1 | -1 | 5.8587 | 5.8099 | 0.10111 | 1.0341 | 1.0682 | 60394.964 | -1 | -1
|  | 40 | 4 | 30 | 9 | 4 | 0 | 0 | 0 | 5.8565 | 0 | BB | 162.9538 | 48.0587 | 0.051558 | 0.89231 | 0 |  | -1 | -1 | 4 | -1 | 863 | 903 | 5.7721 | 5.9613 | 0.0066667 | 51 | -1 | 5.8054 | 0.11733 | 43.8605 | 5.8061 | 0.11467 | 44.1414 | 5.8134 | 0.089401 | 101.4965 | 41.4914 | 99.0829 | 42.1003 | 5.8353 | 71.9384 | 5.8754 | 75.781 | 5.8294 | 0.055333 | 65.21 | 0.022904 | 0.2787 | 0.17337 | 162.8622 | 5.8588 | 0.00052458 | 3.3485e-06 | 8.7325e-07 | 1.0886 | 68714.756 | 62331.4348 | 62107.7836 | 65433.8199 | 34.5663 | 32.9353 | 33.8735 | 34.0176 | -1 | -1 | -1 | -1 | 31.8928 | 2.8363 | -1 | -1 | -1 | 5.8587 | 5.8107 | 0.1 | 1.0417 | 1.0833 | 61343.592 | -1 | -1
|  | 38 | 7 | 31 | 9 | 4 | 0 | 0 | 0 | 5.8575 | 0 | BB | 30.1657 | 8.832 | 0.053847 | 0.87477 | 0 |  | -1 | -1 | 7 | -1 | 863 | 904 | 5.7521 | 5.9717 | 0.0066667 | 52 | -1 | 5.8048 | 0.11667 | 2.7892 | 5.8061 | 0.114 | 2.841 | 5.8144 | 0.089827 | 13.4165 | 2.4091 | 12.9272 | 2.4094 | 5.8352 | 7.7342 | 5.882 | 7.4204 | 5.8308 | 0.055333 | 6.7268 | 0.023217 | 0.29421 | 0.24623 | 30.1664 | 5.86 | 0.00053901 | 3.6818e-06 | 9.4315e-07 | 1.0823 | 68063.4463 | 63045.8294 | 62107.7836 | 63707.6613 | 70.8886 | 46.3113 | 64.7216 | 64.997 | -1 | -1 | -1 | -1 | 53.9825 | 18.264 | -1 | -1 | -1 | 5.8587 | 5.8114 | 0.1 | 1.0563 | 1.1127 | 60581.7491 | -1 | -1
|  | 39 | 6 | 32 | 9 | 4 | 0 | 0 | 0 | 5.8585 | 0 | BB | 32.0318 | 9.4347 | 0.05361 | 0.88401 | 0 |  | -1 | -1 | 6 | -1 | 863 | 904 | 5.7654 | 5.9703 | 0.0066667 | 52 | -1 | 5.8061 | 0.116 | 11.5463 | 5.8068 | 0.114 | 11.6017 | 5.8156 | 0.089086 | 22.9325 | 11.1329 | 22.421 | 11.1476 | 5.8353 | 16.5589 | 5.882 | 16.6898 | 5.8314 | 0.055333 | 15.7571 | 0.02304 | 0.28482 | 0.23084 | 32.036 | 5.8608 | 0.00053083 | 3.4834e-06 | 9.1038e-07 | 1.0962 | 69200.1174 | 63772.5765 | 62107.7836 | 64708.828 | 70.9922 | 46.5428 | 64.7388 | 65.0143 | -1 | -1 | -1 | -1 | 52.6719 | 18.2934 | -1 | -1 | -1 | 5.8587 | 5.8121 | 0.099333 | 1.0643 | 1.1286 | 60987.3512 | -1 | -1
|  | 37 | 5 | 26 | 9 | 4 | 0 | 0 | 0 | 5.8588 | 0 | BB | 33.5504 | 9.9072 | 0.053509 | 0.8927 | 0 |  | -1 | -1 | 5 | -1 | 863 | 904 | 5.7721 | 5.9603 | 0.0066667 | 52 | -1 | 5.8074 | 0.11733 | 18.844 | 5.8081 | 0.11467 | 18.9022 | 5.8158 | 0.088896 | 30.8211 | 18.3474 | 30.2561 | 18.4922 | 5.8353 | 24.0176 | 5.882 | 24.3134 | 5.8321 | 0.055333 | 23.2656 | 0.022873 | 0.25372 | 0.15096 | 33.5386 | 5.8609 | 0.00052319 | 3.0363e-06 | 8.6251e-07 | 1.1316 | 69496.9984 | 62331.4348 | 62107.7836 | 65654.6231 | 34.827 | 33.6613 | 34.0591 | 34.204 | -1 | -1 | -1 | -1 | 31.3443 | 2.8375 | -1 | -1 | -1 | 5.8587 | 5.8128 | 0.1 | 1.087 | 1.1739 | 59051.2306 | -1 | -1
|  | 41 | 1 | 34 | 10 | 3 | 0 | 0 | 0 | 7.0145 | 0 | BB | 1702.4979 | 529.5166 | 0.051511 | 0.89265 | 0 |  | -1 | -1 | 1 | -1 | 1037 | 1077 | 6.9454 | 7.1454 | 0.0066667 | 51 | -1 | 6.9654 | 0.106 | 64.2972 | 6.9661 | 0.104 | 67.3708 | 6.9726 | 0.086942 | 688.4981 | 43.3117 | 675.2071 | 39.8867 | 6.9889 | 293.2612 | 7.0354 | 380.3752 | 6.9887 | 0.053333 | 297.8884 | 0.021249 | 0.28306 | 0.13798 | 1702.498 | 7.0167 | 0.00045152 | 2.7157e-06 | 6.3974e-07 | 1.1304 | 104076.6229 | 109401.2831 | 95764.9191 | 109041.8347 | 13.0438 | 12.8934 | 12.3023 | 12.3547 | -1 | -1 | -1 | -1 | 10.4162 | 1.1979 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.092667 | 1.121 | 1.2419 | 95817.8266 | -1 | -1
|  | 42 | 2 | 35 | 10 | 4 | 0 | 0 | 0 | 7.0146 | 0 | BB | 1089.4537 | 339.6091 | 0.051426 | 0.89655 | 0 |  | -1 | -1 | 2 | -1 | 1037 | 1077 | 6.9454 | 7.1254 | 0.0066667 | 51 | -1 | 6.9654 | 0.106 | 115.741 | 6.9661 | 0.10467 | 117.712 | 6.9727 | 0.086828 | 516.3633 | 101.5561 | 507.4795 | 100.9633 | 6.9889 | 261.7634 | 7.0354 | 318.7815 | 6.9887 | 0.053333 | 265.5353 | 0.02109 | 0.24611 | -0.0042453 | 1089.4537 | 7.0167 | 0.00044478 | 2.3086e-06 | 5.9265e-07 | 1.1377 | 104350.7759 | 109401.2831 | 95764.9191 | 110691.5497 | 13.0928 | 12.877 | 12.3734 | 12.426 | -1 | -1 | -1 | -1 | 12.1909 | 1.1978 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.093333 | 1.129 | 1.2581 | 93846.4687 | -1 | -1
|  | 6 | 8 | 36 | 10 | 4 | 0 | 0 | 0 | 7.0146 | 0 | BB | 104.4264 | 32.5522 | 0.051426 | 0.89542 | 0 |  | -1 | -1 | 8 | -1 | 1037 | 1077 | 6.9454 | 7.1521 | 0.0066667 | 51 | -1 | 6.9654 | 0.106 | 6.8071 | 6.9661 | 0.104 | 6.996 | 6.9728 | 0.086807 | 45.1835 | 5.4722 | 44.3624 | 5.3619 | 6.9889 | 20.7466 | 7.0354 | 26.3082 | 6.9887 | 0.053333 | 21.1598 | 0.021191 | 0.28983 | 0.1889 | 104.4264 | 7.0168 | 0.00044907 | 2.7581e-06 | 6.4308e-07 | 1.1304 | 104401.777 | 109401.2831 | 95764.9191 | 109638.518 | 87.2136 | 57.9108 | 79.8328 | 80.1725 | -1 | -1 | -1 | -1 | 68.1506 | 21.8512 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.093333 | 1.129 | 1.2581 | 93846.4687 | -1 | -1
|  | 2 | 3 | 37 | 10 | 4 | 0 | 0 | 0 | 7.0147 | 0 | BB | 531.012 | 165.8567 | 0.051352 | 0.90172 | 0 |  | -1 | -1 | 3 | -1 | 1037 | 1076 | 6.9454 | 7.1073 | 0.0066667 | 50 | -1 | 6.9661 | 0.10667 | 96.0402 | 6.9668 | 0.10467 | 97.0026 | 6.9727 | 0.086733 | 292.4597 | 88.3813 | 286.9313 | 89.7045 | 6.9885 | 165.3426 | 7.0352 | 196.2429 | 6.9887 | 0.053333 | 169.1837 | 0.020955 | 0.22146 | -0.086283 | 530.9074 | 7.0166 | 0.0004391 | 2.0378e-06 | 5.618e-07 | 1.1544 | 104579.2464 | 108038.0405 | 95764.9191 | 112120.937 | 13.1475 | 12.9202 | 12.5654 | 12.6189 | -1 | -1 | -1 | -1 | 13.1345 | 1.1978 | -1 | -1 | -1 | 7.0121 | 6.9714 | 0.093333 | 1.1475 | 1.2951 | 92481.5 | -1 | -1
|  | 3 | 5 | 38 | 10 | 4 | 0 | 0 | 0 | 7.0147 | 0 | BB | 335.7319 | 104.6978 | 0.051411 | 0.89761 | 0 |  | -1 | -1 | 5 | -1 | 1037 | 1077 | 6.9454 | 7.1269 | 0.0066667 | 51 | -1 | 6.9661 | 0.106 | 25.3079 | 6.9668 | 0.10467 | 25.9153 | 6.9728 | 0.086763 | 148.8688 | 20.7178 | 146.0312 | 21.0176 | 6.9889 | 69.9493 | 7.0354 | 88.1641 | 6.9887 | 0.053333 | 71.4707 | 0.02112 | 0.26028 | 0.043077 | 335.7052 | 7.0167 | 0.00044606 | 2.4521e-06 | 6.0547e-07 | 1.1544 | 104506.8118 | 109401.2831 | 95764.9191 | 110377.7921 | 13.1607 | 12.9392 | 12.4986 | 12.5518 | -1 | -1 | -1 | -1 | 13.1369 | 1.1973 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.093333 | 1.129 | 1.2581 | 93846.4687 | -1 | -1
|  | 5 | 7 | 39 | 10 | 4 | 0 | 0 | 0 | 7.0147 | 0 | BB | 341.4734 | 106.2299 | 0.051502 | 0.89288 | 0 |  | -1 | -1 | 7 | -1 | 1037 | 1077 | 6.9454 | 7.1654 | 0.0066667 | 51 | -1 | 6.9661 | 0.106 | 6.6077 | 6.9668 | 0.104 | 7.2239 | 6.9728 | 0.086832 | 131.8764 | 2.1314 | 129.1152 | 2.0373 | 6.9889 | 51.9527 | 7.0354 | 70.4085 | 6.9887 | 0.053333 | 53.4399 | 0.02144 | 0.36146 | 0.49284 | 341.4734 | 7.0169 | 0.00045968 | 3.5623e-06 | 7.3805e-07 | 1.1471 | 104339.8508 | 109401.2831 | 95764.9191 | 107112.6822 | 13.1009 | 12.9925 | 12.5126 | 12.5659 | -1 | -1 | -1 | -1 | 12.9538 | 1.1976 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.093333 | 1.129 | 1.2581 | 93846.4687 | -1 | -1
|  | 4 | 6 | 40 | 10 | 4 | 0 | 0 | 0 | 7.0147 | 0 | BB | 438.7316 | 136.521 | 0.051493 | 0.89334 | 0 |  | -1 | -1 | 6 | -1 | 1037 | 1077 | 6.9454 | 7.1654 | 0.0066667 | 51 | -1 | 6.9661 | 0.106 | 16.9309 | 6.9668 | 0.104 | 17.7228 | 6.9728 | 0.086818 | 177.9323 | 11.1475 | 174.3693 | 11.0944 | 6.9889 | 75.1825 | 7.0354 | 98.9234 | 6.9887 | 0.053333 | 77.1173 | 0.021401 | 0.34699 | 0.42355 | 438.7316 | 7.0169 | 0.00045799 | 3.401e-06 | 7.1812e-07 | 1.1471 | 104374.216 | 109401.2831 | 95764.9191 | 107505.7238 | 13.1456 | 13.0201 | 12.5017 | 12.5549 | -1 | -1 | -1 | -1 | 13.0072 | 1.1974 | -1 | -1 | -1 | 7.0121 | 6.9707 | 0.093333 | 1.129 | 1.2581 | 93846.4687 | -1 | -1
|  | 1 | 4 | 33 | 10 | 4 | 0 | 0 | 0 | 7.0147 | 0 | BB | 334.4244 | 104.5109 | 0.051332 | 0.90271 | 0 |  | -1 | -1 | 4 | -1 | 1037 | 1076 | 6.9454 | 7.1062 | 0.0066667 | 50 | -1 | 6.9668 | 0.10667 | 55.795 | 6.9674 | 0.10467 | 56.4014 | 6.9727 | 0.086687 | 179.6081 | 50.846 | 176.0611 | 51.9516 | 6.9885 | 99.307 | 7.0352 | 119.0216 | 6.9887 | 0.053333 | 101.8796 | 0.020948 | 0.22311 | -0.08319 | 334.393 | 7.0166 | 0.00043882 | 2.0509e-06 | 5.6166e-07 | 1.1716 | 104689.424 | 108038.0405 | 95764.9191 | 112195.5999 | 13.1548 | 12.9263 | 12.5235 | 12.5768 | -1 | -1 | -1 | -1 | 13.2021 | 1.1978 | -1 | -1 | -1 | 7.0121 | 6.9714 | 0.093333 | 1.1475 | 1.2951 | 92481.5 | -1 | -1
|  | 8 | 1 | 42 | 11 | 3 | 0 | 0 | 0 | 7.308 | 0 | BB | 16.1753 | 6.054 | 0.043171 | 0.91016 | 0 |  | -1 | -1 | 1 | -1 | 1083 | 1117 | 7.2654 | 7.3654 | 0.0066667 | 45 | -1 | 7.2654 | 0.083636 | 36.6074 | 7.2654 | 0.083636 | 36.6422 | 7.2734 | 0.071687 | 44.0401 | 36.5509 | 43.956 | 36.1065 | 7.2891 | 39.9503 | 7.3292 | 39.4619 | 7.2854 | 0.045455 | 39.2525 | 0.01665 | 0.15657 | -0.39482 | 16.1753 | 7.3095 | 0.00027724 | 7.2274e-07 | 2.0023e-07 | 1.0455 | 166161.0871 | 190738.8871 | 143101.804 | 192719.5165 | 3.6998 | 3.8686 | 3.4903 | 3.5052 | -1 | -1 | -1 | -1 | 3.8625 | 1.0418 | -1 | -1 | -1 | 7.3054 | 7.2691 | 0.07697 | 1.0583 | 1.1167 | 158726.4816 | -1 | -1
|  | 7 | 2 | 41 | 11 | 4 | 0 | 0 | 0 | 7.3103 | 0 | BB | 11.2813 | 4.2517 | 0.042956 | 1.1955 | 0 |  | -1 | -1 | 2 | -1 | 1084 | 1117 | 7.2587 | 7.3551 | 0.0066667 | 44 | -1 | 7.2776 | 0.07751 | 105.1834 | 7.2776 | 0.07751 | 105.2077 | 7.2728 | 0.071295 | 110.8021 | 104.0445 | 110.0032 | 105.7882 | 7.2892 | 107.0019 | 7.3293 | 107.6281 | 7.2893 | 0.046667 | 107.0313 | 0.015885 | 0.04023 | -0.5617 | 11.0734 | 7.3083 | 0.00025232 | 1.6125e-07 | 1.5524e-07 | 1.1252 | 168300.4101 | 222485.9235 | 136012.3885 | 211675.3567 | 3.74 | 4.0282 | 3.4743 | 3.4891 | -1 | -1 | -1 | -1 | 3.9432 | 1.0422 | -1 | -1 | -1 | 7.3121 | 7.2793 | 0.075844 | 1.1569 | 1.3139 | 151175.7468 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 17:40:27
ResNewDateTime | 02 September 2019 17:40:27
ResModBy | SYSTEM
ResModTime | 09/02/19 17:40:28
ResModDateTime | 02 September 2019 17:40:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11250.6056

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11250.6056

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7484.752

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1984.7128

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 782.8941

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 502.2689

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.5938

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 408.8257

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.4371

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11250.6056

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7484.752

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1984.7128

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 782.8941

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 502.2689

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.5938

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 408.8257

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.4371

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 11 | 0 | 8 | 0.3373 | 1420.5034 | 152.8604 | 0.12842 | 1.5177 | -15.8042 | 0.0054167 | 0 | 43.1314 | 0.51875 | 0 | -48.0256 | 1 | -177.5785 | 44.0932 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4654 | 1204.4988 | 51.7656 | 0.28346 | 4.2841 | 6.5458 | 0.81208 | 0 | -50.2968 | 1.6078 | 1.7764e-14 | 18.939 | 1 | 87.0058 | -120.9527 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.065 | 778.0043 | 153.2502 | 0.077228 | 0.56517 | 47.9218 | 1.7654 | 0 | 44.8561 | 2.2854 | 0 | 50.1777 | 1 | 10.2343 | 26.7883 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.7323 | 1314.8298 | 44.5972 | 0.51396 | 1.0698 | 52.0353 | 2.2854 | 0 | 50.1776 | 3.0863 | 5.0747 | 53.507 | 1 | 4.157 | 40.6771 | 0 | 0 | 0
DateTime |  | 32 | 8 | 3.4908 | 751.8506 | 37.2155 | 0.2837 | 2.5042 | 55.1883 | 3.0863 | 5.0747 | 53.507 | 3.7178 | 0 | 56.1319 | 1 | 4.157 | 40.6771 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 4.1398 | 1164.7067 | 52.3657 | 0.30349 | 1.0299 | 52.915 | 3.7188 | 0 | 56.128 | 4.5654 | 7.1054e-15 | 49.6669 | 1 | -7.6313 | 84.5068 | 0 | 0 | 0
IntegEnd | 0 | 2 | 8 | 4.9018 | 664.7194 | 41.3199 | 0.23768 | 0.75213 | 50.2961 | 4.5788 | 0 | 49.6373 | 5.1191 | 17.54 | 50.7391 | 1 | 2.0391 | 40.301 | 0 | 0 | 0
Errors | 0 | 32 | 8 | 5.1518 | 163.9938 | 20.1702 | 0.10686 | 0.26007 | 50.8059 | 5.1191 | 17.54 | 50.7391 | 5.4774 | 0 | 51.4697 | 1 | 2.0391 | 40.301 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 5.8559 | 2068.8257 | 587.8154 | 0.053061 | 0.89268 | 53.7062 | 5.5054 | 0 | 51.6396 | 6.1474 | 0 | 55.4259 | 1 | 5.8974 | 19.1721 | 0 | 0 | 0
|  | 0 | 8 | 7.0145 | 1702.4979 | 529.5166 | 0.051511 | 0.89265 | 41.6609 | 6.9454 | 0 | 44.384 | 7.1454 | 0 | 36.5052 | 1 | -39.3939 | 317.9911 | 0 | 0 | 0
|  | 0 | 8 | 7.308 | 16.1753 | 6.054 | 0.043171 | 0.91016 | 36.3362 | 7.2654 | -7.1054e-15 | 36.6001 | 7.3654 | -7.1054e-15 | 35.9802 | 1 | -6.1989 | 81.6376 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.32907 | 1428.0697 | 133.2634 | 0.13902 | 1.9016 | 40.9118 | 0.0054167 | 0 | 119.1802 | 0.50542 | 1.4211e-14 | -1.7323 | 1 | -241.8251 | 120.4901 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4654 | 752.9043 | 35.3931 | 0.26018 | 3.8324 | 15.154 | 0.84542 | 0 | -17.7031 | 1.6088 | 0 | 22.7574 | 1 | 52.9996 | -62.5098 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.065 | 523.3126 | 103.0623 | 0.077239 | 0.55994 | 43.0958 | 1.7654 | 0 | 40.6933 | 2.2846 | 0 | 44.8567 | 1 | 8.0192 | 26.5361 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.7571 | 872.2455 | 29.803 | 0.51145 | 1.2882 | 50.8165 | 2.2921 | 0 | 44.888 | 3.0848 | 2.3372 | 54.9944 | 1 | 12.7483 | 15.6678 | 0 | 0 | 0
DateTime |  | 32 | 8 | 3.4977 | 506.9528 | 26.1606 | 0.27408 | 2.4488 | 60.2579 | 3.0848 | 2.3372 | 54.9944 | 3.7163 | 0 | 63.0443 | 1 | 12.7483 | 15.6678 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 4.156 | 917.0256 | 40.2737 | 0.31565 | 0.94076 | 67.9862 | 3.7254 | 0 | 63.0889 | 4.5862 | 0 | 72.8795 | 1 | 11.3741 | 20.7158 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 4.9193 | 748.9602 | 33.5623 | 0.30835 | 0.42504 | 78.665 | 4.6188 | 0 | 73.1883 | 5.4887 | 0 | 89.0431 | 1 | 18.2239 | -10.9836 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.8562 | 634.5463 | 184.0448 | 0.052224 | 0.89847 | 94.3385 | 5.5654 | 0 | 89.7918 | 5.9768 | 0 | 96.2238 | 1 | 15.6349 | 2.7771 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 7.0146 | 1089.4537 | 339.6091 | 0.051426 | 0.89655 | 101.2701 | 6.9454 | 0 | 101.7423 | 7.1254 | 0 | 100.5135 | 1 | -6.8267 | 149.1567 | 0 | 0 | 0
|  | 0 | 8 | 7.3103 | 11.2813 | 4.2517 | 0.042956 | 1.1955 | 104.9608 | 7.2587 | 0 | 103.7006 | 7.3551 | 0 | 106.0583 | 1 | 24.4576 | -73.8308 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.31539 | 668.5493 | 75.9609 | 0.11468 | 1.511 | 60.18 | 0.09875 | 0 | 111.9938 | 0.47875 | 0 | 21.1096 | 1 | -239.169 | 135.6117 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4653 | 85.919 | 10.8217 | 0.10463 | 0.65548 | 17.2999 | 1.2988 | 0 | 18.8494 | 1.6121 | 0 | 15.9345 | 1 | -9.3029 | 30.9315 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.065 | 273.4109 | 54.9387 | 0.076061 | 0.5562 | 24.9768 | 1.8987 | 0 | 24.3325 | 2.2849 | 0 | 25.8291 | 1 | 3.8754 | 16.9742 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.8562 | 425.8216 | 125.327 | 0.05164 | 0.88755 | 73.266 | 5.6921 | 0 | 70.9848 | 5.9662 | 0 | 74.7967 | 1 | 13.9038 | -8.1566 | 0 | 0 | 0
DateTime |  | 0 | 8 | 7.0147 | 531.012 | 165.8567 | 0.051352 | 0.90172 | 89.0219 | 6.9454 | 0 | 87.9655 | 7.1073 | 0 | 90.4354 | 1 | 15.2554 | -17.9896 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31322 | 141.1982 | 29.6725 | 0.067516 | 1.1305 | 48.0779 | 0.20542 | 0 | 65.8298 | 0.43208 | -1.4211e-14 | 28.5039 | 1 | -164.6729 | 99.6563 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0649 | 144.3178 | 29.9361 | 0.074243 | 0.56933 | 20.6785 | 1.9121 | 0 | 20.4749 | 2.2894 | 0 | 20.9777 | 1 | 1.3324 | 17.9272 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.8565 | 162.9538 | 48.0587 | 0.051558 | 0.89231 | 41.7851 | 5.7721 | 0 | 41.2102 | 5.9613 | 0 | 42.4989 | 1 | 6.8107 | 1.8981 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.0147 | 334.4244 | 104.5109 | 0.051332 | 0.90271 | 51.3815 | 6.9454 | 0 | 50.498 | 7.1062 | 0 | 52.5484 | 1 | 12.7535 | -38.08 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31701 | 62.7625 | 16.9248 | 0.055264 | 1.3789 | 20.1642 | 0.19208 | 0 | 25.6729 | 0.41208 | 3.5527e-15 | 15.9717 | 1 | -44.0966 | 34.1431 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0648 | 70.2241 | 14.6945 | 0.073754 | 0.56917 | 13.9194 | 1.9254 | 0 | 13.8674 | 2.3399 | 0 | 14.022 | 1 | 0.37316 | 13.1489 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.8588 | 33.5504 | 9.9072 | 0.053509 | 0.8927 | 18.4174 | 5.7721 | 0 | 18.2762 | 5.9603 | 0 | 18.5828 | 1 | 1.6288 | 8.8747 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.0147 | 335.7319 | 104.6978 | 0.051411 | 0.89761 | 20.8626 | 6.9454 | 0 | 20.6232 | 7.1269 | 0 | 21.2506 | 1 | 3.4563 | -3.3821 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32025 | 41.8303 | 13.6029 | 0.047876 | 1.2542 | 11.2987 | 0.17875 | 0 | 12.6491 | 0.41875 | 0 | 10.3588 | 1 | -9.5427 | 14.3548 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.8585 | 32.0318 | 9.4347 | 0.05361 | 0.88401 | 11.14 | 5.7654 | 0 | 11.1246 | 5.9703 | 0 | 11.1584 | 1 | 0.1648 | 10.1744 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.0147 | 438.7316 | 136.521 | 0.051493 | 0.89334 | 11.1218 | 6.9454 | 0 | 11.1642 | 7.1654 | 0 | 11.0297 | 1 | -0.61122 | 15.4094 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32071 | 37.1866 | 12.4539 | 0.046836 | 1.196 | 2.3718 | 0.17875 | 0 | 3.1714 | 0.42542 | 0 | 1.7819 | 1 | -5.6331 | 4.1784 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.8575 | 30.1657 | 8.832 | 0.053847 | 0.87477 | 2.4093 | 5.7521 | 0 | 2.409 | 5.9717 | 0 | 2.4096 | 1 | 0.0026536 | 2.3937 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.0147 | 341.4734 | 106.2299 | 0.051502 | 0.89288 | 2.086 | 6.9454 | 8.8818e-16 | 2.161 | 7.1654 | 8.8818e-16 | 1.9226 | 1 | -1.0837 | 9.6879 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32102 | 37.0108 | 12.3831 | 0.046869 | 1.1891 | 5.7779 | 0.17875 | 0 | 6.5174 | 0.42542 | 0 | 5.2352 | 1 | -5.1982 | 7.4466 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 7.0146 | 104.4264 | 32.5522 | 0.051426 | 0.89542 | 5.419 | 6.9454 | 0 | 5.507 | 7.1521 | 0 | 5.2443 | 1 | -1.2713 | 14.3368 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2