## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567478092
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 112
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 112
Vial | 112
SampleLocation | 112
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 03:34:52
SampleName | CS-135_0112
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 26.428
StopPressure | 62.24
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 17.4589
DAD1UVBurnTime | 164.1256
DAD1VisOnTime | 17.4583
DAD1VisBurnTime | 149.6367
StartLeftTemp | 39.998
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 7123.4979 | 1486.9317 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 4416.456 | 783.4788 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 1973.4077 | 426.1795 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 773.1549 | 204.963 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 494.6694 | 136.6958 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 491.416 | 147.4318 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 405.296 | 120.2467 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0112.D | 141.1358 | 42.9967 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 15 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.3125 | 0 | BB | 140.5696 | 29.6304 | 0.067348 | 1.1539 | 0 |  | -1 | -1 | 4 | -1 | 27 | 78 | 0.20458 | 0.43125 | 0.0066667 | 62 | -1 | 0.20458 | 0.15167 | 52.4681 | 0.20458 | 0.15083 | 52.6385 | 0.26451 | 0.096681 | 82.7533 | 58.9536 | 93.6065 | 42.953 | 0.30065 | 76.8758 | 0.34125 | 63.7006 | 0.20458 | 0.135 | 65.4168 | 0.036846 | -0.16271 | -0.062389 | 140.5696 | 0.30677 | 0.0013576 | -8.1393e-06 | 5.4146e-06 | 0.70703 | 165.8279 | 105.2879 | 29.4483 | 69.3157 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31125 | 0.20458 | 0.14917 | 0.69922 | 0.39844 | 48.2888 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.31453 | 0 | BB | 667.8453 | 75.909 | 0.11464 | 1.5325 | 0 |  | -1 | -1 | 3 | -1 | 13 | 100 | 0.097917 | 0.47792 | 0.0066667 | 98 | -1 | 0.097917 | 0.296 | 65.4494 | 0.097917 | 0.29467 | 65.9046 | 0.23019 | 0.16173 | 142.1249 | 83.0742 | 157.6443 | 44.43 | 0.29978 | 131.8007 | 0.34414 | 114.3144 | 0.097917 | 0.25867 | 100.0476 | 0.068553 | -0.33652 | -0.35748 | 667.8453 | 0.29013 | 0.0046995 | -0.00010841 | 5.836e-05 | 0.6697 | 61.8284 | 28.8392 | 8.3687 | 17.9111 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31792 | 0.097917 | 0.29067 | 0.66061 | 0.32121 | 11.4332 | -1 | -1
NumberOfHead | 9 | 16 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.31641 | 0 | BB | 62.882 | 16.9388 | 0.05531 | 1.4068 | 0 |  | -1 | -1 | 5 | -1 | 29 | 74 | 0.19125 | 0.41125 | 0.0066667 | 56 | -1 | 0.19125 | 0.16519 | 23.2644 | 0.19125 | 0.16444 | 23.3643 | 0.28051 | 0.074149 | 42.5968 | 24.1942 | 48.1245 | 20.8997 | 0.30128 | 34.8388 | 0.34142 | 30.3254 | 0.28829 | 0.052593 | 30.8524 | 0.033351 | -0.84011 | 0.49881 | 62.882 | 0.30479 | 0.0011123 | -3.1166e-05 | 4.3289e-06 | 0.64912 | 294.126 | 92.6029 | 202.4357 | 83.5158 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31792 | 0.19125 | 0.16222 | 0.64035 | 0.2807 | 33.2791 | -1 | -1
Modified | 1 | 18 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.31956 | 0 | BB | 42.0729 | 13.6256 | 0.048024 | 1.2688 | 0 |  | -1 | -1 | 6 | -1 | 27 | 71 | 0.17792 | 0.41125 | 0.0066667 | 55 | -1 | 0.17792 | 0.18148 | 14.2203 | 0.17792 | 0.18074 | 14.2997 | 0.28702 | 0.06714 | 31.1376 | 13.9364 | 33.8907 | 13.2876 | 0.30148 | 21.5786 | 0.3415 | 20.8252 | 0.29718 | 0.045926 | 20.2563 | 0.02984 | -1.4222 | 2.5114 | 42.0729 | 0.31109 | 0.00089044 | -3.7791e-05 | 4.3699e-06 | 0.6455 | 358.739 | 76.7188 | 265.4731 | 108.6819 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31792 | 0.17792 | 0.17852 | 0.63757 | 0.27513 | 27.0748 | -1 | -1
NextPeakSignal_ | Peak | 20 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32001 | 0 | BB | 37.3671 | 12.4721 | 0.046954 | 1.2089 | 0 |  | -1 | -1 | 7 | -1 | 27 | 70 | 0.17792 | 0.42458 | 0.0066667 | 54 | -1 | 0.17792 | 0.18222 | 5.1488 | 0.17792 | 0.18222 | 5.2219 | 0.28772 | 0.066567 | 20.8571 | 4.8224 | 23.0946 | 4.4438 | 0.3014 | 11.6137 | 0.3415 | 11.4005 | 0.29792 | 0.045185 | 10.7036 | 0.028345 | -1.4602 | 3.0851 | 37.3671 | 0.31307 | 0.00080343 | -3.3252e-05 | 3.928e-06 | 0.62121 | 380.4138 | 79.3213 | 285.871 | 121.9911 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32458 | 0.24088 | 0.1163 | 0.69469 | 0.38938 | 85.0746 | -1 | -1
Signal_ | Signal | 27 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.3203 | 0 | BB | 37.2412 | 12.4091 | 0.047013 | 1.2036 | 0 |  | -1 | -1 | 8 | -1 | 27 | 71 | 0.17792 | 0.42458 | 0.0066667 | 55 | -1 | 0.17792 | 0.18296 | 8.163 | 0.17792 | 0.18222 | 8.2359 | 0.28778 | 0.066906 | 23.7739 | 7.822 | 25.8956 | 7.4703 | 0.30153 | 14.5637 | 0.34154 | 14.5166 | 0.29792 | 0.045926 | 13.7018 | 0.028247 | -1.4497 | 3.1259 | 37.2412 | 0.31357 | 0.00079788 | -3.2673e-05 | 3.8998e-06 | 0.62121 | 376.5721 | 78.6803 | 276.7237 | 123.2371 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32458 | 0.24755 | 0.11037 | 0.71635 | 0.43269 | 101.274 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.32794 | 0 | BB | 1424.884 | 132.5027 | 0.13946 | 1.9134 | 0 |  | -1 | -1 | 2 | -1 | 1 | 113 | 0.0045833 | 0.50458 | 0.0066667 | 118 | -1 | 0.03125 | 0.39167 | 50.8393 | 0.03125 | 0.39167 | 51.6245 | 0.23334 | 0.19842 | 189.4573 | 67.0029 | 189.899 | 19.3351 | 0.30379 | 158.1939 | 0.35227 | 149.9268 | 0.03125 | 0.34667 | 110.5129 | 0.092594 | -0.57045 | -0.25891 | 1424.884 | 0.28082 | 0.0085737 | -0.00045287 | 0.00020149 | 0.66761 | 42.8175 | 17.1696 | 4.8567 | 9.198 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32458 | 0.03125 | 0.385 | 0.65625 | 0.3125 | 6.6605 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.33632 | 0 | BB | 1416.4501 | 151.6333 | 0.12898 | 1.5292 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.0045833 | 0.51792 | 0.0066667 | 115 | -1 | 0.03125 | 0.41 | -6.2888 | 0.03125 | 0.40833 | -5.3889 | 0.25975 | 0.18028 | 158.4555 | 0.82573 | 154.6993 | -30.8016 | 0.30861 | 101.4076 | 0.37441 | 86.5627 | 0.27125 | 0.11667 | 62.0995 | 0.090551 | -0.76787 | 0.16711 | 1416.4501 | 0.30098 | 0.0081995 | -0.00057013 | 0.00021293 | 0.66576 | 56.2145 | 16.9821 | 46.4767 | 11.0484 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33792 | 0.03125 | 0.4 | 0.65217 | 0.30435 | 6.5613 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4669 | 0 | BB | 88.3737 | 11.0207 | 0.10755 | 0.66433 | 0 |  | -1 | -1 | 3 | -1 | 188 | 270 | 1.2912 | 1.616 | 0.0066667 | 93 | -1 | 1.2912 | 0.30933 | 19.0029 | 1.2912 | 0.308 | 19.0677 | 1.4097 | 0.19762 | 31.3214 | 18.986 | 45.5147 | 17.3365 | 1.4439 | 26.3568 | 1.5913 | 20.5504 | 1.4299 | 0.13333 | 23.9252 | 0.06406 | -0.31166 | -0.35107 | 88.587 | 1.4816 | 0.0041037 | -8.1931e-05 | 4.4609e-05 | 0.88846 | 878.7516 | 560.4214 | 668.437 | 534.9068 | 6.4134 | 4.7591 | 3.4541 | 3.4688 | -1 | -1 | -1 | -1 | 4.4923 | 4.6637 | -1 | -1 | -1 | 1.4646 | 1.2912 | 0.30533 | 0.88077 | 0.76154 | 374.3216 | -1 | -1
|  | 13 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4669 | 0 | BB | 746.4987 | 35.2747 | 0.2609 | 3.7599 | 0 |  | -1 | -1 | 2 | -1 | 127 | 243 | 0.84458 | 1.6113 | 0.0066667 | 127 | -1 | 1.1329 | 0.47833 | 17.3229 | 1.1346 | 0.47667 | 17.5323 | 1.378 | 0.22661 | 55.2316 | 11.5597 | 84.9146 | 22.6235 | 1.4438 | 43.8862 | 1.5878 | 30.2365 | 1.3729 | 0.20833 | 33.2427 | 0.17113 | -0.3003 | -0.91904 | 746.4987 | 1.3058 | 0.029287 | -0.0015051 | 0.0017849 | 0.72222 | 668.301 | 234.3726 | 273.7918 | 58.2177 | 5.3595 | 3.2729 | 2.4113 | 2.4216 | -1 | -1 | -1 | -1 | 1.9432 | 4.4731 | -1 | -1 | -1 | 1.4646 | 1.1546 | 0.45667 | 0.73656 | 0.47312 | 127.5136 | -1 | -1
|  | 12 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.467 | 0 | BB | 1198.4186 | 51.6601 | 0.28465 | 4.2098 | 0 |  | -1 | -1 | 1 | -1 | 122 | 243 | 0.81125 | 1.6112 | 0.0066667 | 132 | -1 | 1.1296 | 0.48165 | 8.4948 | 1.1313 | 0.47998 | 8.8019 | 1.3722 | 0.23169 | 63.7622 | -1.2908 | 106.6105 | 17.6023 | 1.4439 | 47.9353 | 1.5869 | 28.6704 | 1.3613 | 0.22167 | 31.8343 | 0.17685 | -0.25821 | -0.93543 | 1198.52 | 1.29 | 0.031276 | -0.0014282 | 0.0020196 | 0.71997 | 639.3493 | 231.1576 | 241.845 | 53.2085 | 5.489 | 3.1701 | 3.9266 | 3.9433 | -1 | -1 | -1 | -1 | 1.8493 | 4.3619 | -1 | -1 | -1 | 1.4646 | 1.1513 | 0.45998 | 0.73401 | 0.46803 | 124.829 | -1 | -1
|  | 17 | 1 | 13 | 3 | 3 | 0 | 0 | 0 | 2.1108 | 0 | BB | 768.7758 | 143.9869 | 0.082291 | 0.71087 | 0 |  | -1 | -1 | 1 | -1 | 272 | 355 | 1.8112 | 2.2849 | 0.0066667 | 94 | -1 | 2.0433 | 0.18667 | 54.3244 | 2.0473 | 0.17867 | 55.1807 | 2.0601 | 0.13662 | 229.5292 | 47.5362 | 207.9606 | 48.8948 | 2.0827 | 128.79 | 2.1457 | 143.2974 | 2.0793 | 0.08 | 119.4025 | 0.050828 | -1.3804 | 5.0558 | 768.7592 | 2.1166 | 0.0025834 | -0.00018126 | 5.3765e-05 | 1.3958 | 3820.9641 | 3198.054 | 3858.4166 | 1734.1015 | 3.4961 | 2.4084 | 2.5077 | 2.5184 | -1 | -1 | -1 | -1 | 1.8152 | 1.4389 | -1 | -1 | -1 | 2.1113 | 2.0566 | 0.152 | 1.3902 | 1.7805 | 2654.7013 | -1 | -1
|  | 21 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.1108 | 0 | BB | 519.9246 | 97.042 | 0.082507 | 0.71308 | 0 |  | -1 | -1 | 2 | -1 | 272 | 355 | 1.8112 | 2.2845 | 0.0066667 | 94 | -1 | 2.0419 | 0.18933 | 47.997 | 2.0459 | 0.18133 | 48.5741 | 2.06 | 0.13692 | 166.0427 | 43.3752 | 151.5319 | 44.4162 | 2.0827 | 98.2657 | 2.1458 | 107.9757 | 2.0793 | 0.08 | 91.8579 | 0.050903 | -1.3596 | 4.9578 | 519.9465 | 2.1166 | 0.0025912 | -0.00017932 | 5.3429e-05 | 1.3878 | 3804.4548 | 3108.6024 | 3858.4166 | 1728.9421 | 3.5425 | 2.411 | 2.624 | 2.6352 | -1 | -1 | -1 | -1 | 1.8259 | 1.439 | -1 | -1 | -1 | 2.1113 | 2.0566 | 0.152 | 1.3902 | 1.7805 | 2654.7013 | -1 | -1
|  | 23 | 3 | 15 | 3 | 4 | 0 | 0 | 0 | 2.1109 | 0 | BB | 267.2275 | 51.3858 | 0.080672 | 0.67199 | 0 |  | -1 | -1 | 3 | -1 | 277 | 354 | 1.8446 | 2.2858 | 0.0066667 | 88 | -1 | 2.049 | 0.17889 | 28.6421 | 2.0501 | 0.17444 | 28.9477 | 2.0606 | 0.13565 | 91.3526 | 26.2371 | 83.4867 | 26.6778 | 2.0825 | 54.5976 | 2.1458 | 60.2629 | 2.0801 | 0.078889 | 51.8635 | 0.045075 | -0.94033 | 4.0424 | 267.1956 | 2.1196 | 0.0020317 | -8.6116e-05 | 2.9071e-05 | 1.4273 | 3875.6574 | 3482.1911 | 3967.8698 | 2211.3387 | 3.8648 | 3.2978 | 3.5657 | 3.5809 | -1 | -1 | -1 | -1 | 2.9232 | 1.439 | -1 | -1 | -1 | 2.1113 | 2.0579 | 0.14889 | 1.3958 | 1.7917 | 2756.6345 | -1 | -1
|  | 24 | 4 | 16 | 3 | 4 | 0 | 0 | 0 | 2.1109 | 0 | BB | 138.5312 | 27.7897 | 0.078158 | 0.62364 | 0 |  | -1 | -1 | 4 | -1 | 277 | 353 | 1.8446 | 2.2942 | 0.0066667 | 87 | -1 | 2.0535 | 0.17 | 24.3398 | 2.0546 | 0.16556 | 24.505 | 2.0617 | 0.13325 | 58.4471 | 23.0742 | 54.0273 | 23.2199 | 2.0828 | 38.224 | 2.1455 | 41.3303 | 2.0801 | 0.077778 | 36.8945 | 0.039959 | -0.55669 | 3.9699 | 138.4901 | 2.1225 | 0.0015967 | -3.5518e-05 | 1.7769e-05 | 1.4608 | 4016.6319 | 3855.8621 | 4082.0473 | 2821.3674 | 15.6429 | 13.9772 | 9.9311 | 9.9733 | -1 | -1 | -1 | -1 | 11.8202 | 6.7549 | -1 | -1 | -1 | 2.1113 | 2.0601 | 0.14444 | 1.413 | 1.8261 | 2896.1102 | -1 | -1
|  | 19 | 5 | 12 | 3 | 4 | 0 | 0 | 0 | 2.1109 | 0 | BB | 66.8349 | 13.6853 | 0.076977 | 0.58844 | 0 |  | -1 | -1 | 5 | -1 | 282 | 353 | 1.8779 | 2.3184 | 0.0066667 | 82 | -1 | 2.0557 | 0.16667 | 16.8266 | 2.0557 | 0.16333 | 16.9079 | 2.0623 | 0.13215 | 33.6828 | 16.2153 | 31.4476 | 16.2552 | 2.0826 | 23.5129 | 2.1452 | 25.2134 | 2.0801 | 0.077778 | 23.0084 | 0.036492 | 0.32002 | 1.8552 | 66.8344 | 2.1249 | 0.0013316 | 1.5551e-05 | 8.6096e-06 | 1.47 | 4083.8982 | 4011.6389 | 4082.0473 | 3390.7833 | 17.3972 | 13.5188 | 16.1735 | 16.2423 | -1 | -1 | -1 | -1 | 13.0302 | 6.6714 | -1 | -1 | -1 | 2.1113 | 2.0612 | 0.14222 | 1.4222 | 1.8444 | 2969.5987 | -1 | -1
|  | 22 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.8891 | 0 | BB | 18.3908 | 5.1699 | 0.053501 | 0.57588 | 0 |  | -1 | -1 | 1 | -1 | 718 | 773 | 4.8446 | 5.1446 | 0.0066667 | 66 | -1 | 4.8446 | 0.092381 | 65.9061 | 4.8446 | 0.091428 | 65.9362 | 4.8535 | 0.075082 | 72.3027 | 66.2094 | 72.1932 | 65.1685 | 4.8677 | 68.6454 | 4.9081 | 68.8035 | 4.8646 | 0.048571 | 68.1888 | 0.049058 | 2.123 | 5.0547 | 18.3908 | 4.9117 | 0.0024067 | 0.00025066 | 4.6656e-05 | 0.97959 | 67902.8344 | 70083.6212 | 56180.7759 | 10023.836 | 26.247 | 24.8906 | 25.3903 | 25.4983 | -1 | -1 | -1 | -1 | 13.9914 | 2.3162 | -1 | -1 | -1 | 4.8913 | 4.8446 | 0.085714 | 0.91837 | 0.83674 | 55535.597 | -1 | -1
|  | 30 | 6 | 19 | 5 | 4 | 0 | 0 | 0 | 5.5141 | 0 | BB | 15.2918 | 5.7864 | 0.042832 | 0.80503 | 0 |  | -1 | -1 | 6 | -1 | 815 | 848 | 5.4713 | 5.5712 | 0.0066667 | 44 | -1 | 5.4713 | 0.077222 | 15.678 | 5.4713 | 0.077222 | 15.7106 | 5.4813 | 0.070795 | 22.4342 | 16.2607 | 22.8522 | 14.3145 | 5.4939 | 18.6371 | 5.5341 | 18.3528 | 5.4901 | 0.045556 | 18.1591 | 0.016489 | 0.11713 | -0.3958 | 15.2918 | 5.5168 | 0.00027189 | 5.2511e-07 | 1.9252e-07 | 0.96528 | 96964.4746 | 127337.4902 | 81082.5305 | 111939.6442 | 75.3178 | 50.1974 | 66.7188 | 67.0027 | -1 | -1 | -1 | -1 | 56.1819 | 17.2551 | -1 | -1 | -1 | 5.5113 | 5.4713 | 0.075555 | 0.94445 | 0.88889 | 93420.2038 | -1 | -1
|  | 29 | 5 | 20 | 5 | 4 | 0 | 0 | 0 | 5.5141 | 0 | BB | 33.0363 | 7.8781 | 0.060923 | 1.6588 | 0 |  | -1 | -1 | 5 | -1 | 806 | 856 | 5.3713 | 5.5979 | 0.0066667 | 61 | -1 | 5.4262 | 0.14917 | 21.8191 | 5.4262 | 0.14667 | 21.8647 | 5.4656 | 0.090345 | 30.6291 | 21.3851 | 31.1111 | 21.5818 | 5.495 | 26.9788 | 5.5348 | 26.4105 | 5.4813 | 0.06 | 25.2866 | 0.031161 | -0.31007 | -0.4789 | 33.0363 | 5.5014 | 0.00097098 | -9.3816e-06 | 2.3769e-06 | 0.86275 | 59540.8255 | 34126.8861 | 46742.0212 | 31170.1667 | 30.5918 | 26.9385 | 29.0235 | 29.147 | -1 | -1 | -1 | -1 | 24.9549 | 2.6122 | -1 | -1 | -1 | 5.5113 | 5.4313 | 0.1325 | 0.82812 | 0.65625 | 26009.2535 | -1 | -1
|  | 32 | 7 | 21 | 5 | 4 | 0 | 0 | 0 | 5.5143 | 0 | BB | 29.7271 | 8.1153 | 0.054736 | 1.2918 | 0 |  | -1 | -1 | 7 | -1 | 811 | 853 | 5.4046 | 5.6046 | 0.0066667 | 53 | -1 | 5.4275 | 0.14296 | 4.9417 | 5.429 | 0.14074 | 4.9886 | 5.4706 | 0.085407 | 14.3548 | 4.5951 | 14.5193 | 4.5998 | 5.4945 | 9.9375 | 5.5347 | 9.6678 | 5.4861 | 0.054815 | 8.5106 | 0.028312 | -0.4494 | 0.1143 | 29.7271 | 5.5075 | 0.00080155 | -1.0198e-05 | 2.0009e-06 | 0.85586 | 66623.7999 | 37152.937 | 56003.3603 | 37842.1968 | 68.3574 | 39.9332 | 61.0328 | 61.2925 | -1 | -1 | -1 | -1 | 45.8413 | 17.2318 | -1 | -1 | -1 | 5.5113 | 5.4372 | 0.12519 | 0.845 | 0.69 | 29942.1661 | -1 | -1
|  | 26 | 2 | 23 | 5 | 4 | 0 | 0 | 0 | 5.5146 | 0 | BB | 622.8268 | 191.5988 | 0.049925 | 1.005 | 0 |  | -1 | -1 | 2 | -1 | 808 | 851 | 5.3846 | 5.6256 | 0.0066667 | 54 | -1 | 5.4475 | 0.12444 | 109.3332 | 5.452 | 0.11852 | 110.4402 | 5.474 | 0.082076 | 338.8819 | 100.9814 | 334.6452 | 101.4976 | 5.4944 | 220.4847 | 5.5346 | 221.9209 | 5.489 | 0.051852 | 193.4614 | 0.023881 | -0.26088 | 0.86675 | 622.7894 | 5.5138 | 0.00057029 | -3.553e-06 | 1.2576e-06 | 1 | 72141.4639 | 49033.0836 | 62586.6124 | 53308.5941 | 31.0854 | 27.1189 | 30.3324 | 30.4614 | -1 | -1 | -1 | -1 | 22.7131 | 2.6125 | -1 | -1 | -1 | 5.5113 | 5.4668 | 0.095556 | 1.075 | 1.15 | 57798.0456 | -1 | -1
|  | 25 | 1 | 18 | 5 | 3 | 0 | 0 | 0 | 5.5146 | 0 | BB | 2000.1917 | 625.5159 | 0.049306 | 0.92394 | 0 |  | -1 | -1 | 1 | -1 | 812 | 935 | 5.409 | 6.2246 | 0.0066667 | 134 | -1 | 5.4612 | 0.11 | 83.7237 | 5.4629 | 0.10833 | 87.3359 | 5.4742 | 0.082726 | 827.8315 | 57.7264 | 805.8321 | 56.6283 | 5.4926 | 408.9087 | 5.5355 | 435.7914 | 5.4879 | 0.053333 | 358.2484 | 0.040954 | 8.5097 | 109.7954 | 1999.8672 | 5.5158 | 0.0016772 | 0.00058453 | 0.00031731 | 1.1207 | 71013.0905 | 62755.9433 | 59157.8705 | 18139.1511 | 7.9279 | 7.7273 | 7.2127 | 7.2434 | -1 | -1 | -1 | -1 | 3.3556 | 1.1279 | -1 | -1 | -1 | 5.5113 | 5.4696 | 0.093333 | 1.12 | 1.24 | 58393.3483 | -1 | -1
|  | 28 | 3 | 24 | 5 | 4 | 0 | 0 | 0 | 5.5146 | 0 | BB | 423.3533 | 132.0702 | 0.049398 | 0.98479 | 0 |  | -1 | -1 | 3 | -1 | 809 | 851 | 5.3913 | 5.6127 | 0.0066667 | 53 | -1 | 5.4587 | 0.11407 | 86.5384 | 5.4609 | 0.11037 | 87.3006 | 5.4744 | 0.081653 | 245.3738 | 80.3419 | 241.5864 | 81.4812 | 5.4944 | 162.1812 | 5.5347 | 164.005 | 5.489 | 0.051852 | 144.4647 | 0.02315 | -0.21723 | 0.819 | 423.2439 | 5.5143 | 0.0005359 | -2.695e-06 | 1.0968e-06 | 0.96753 | 73066.9321 | 58494.6812 | 62738.1194 | 56741.5686 | 31.327 | 29.0461 | 30.5906 | 30.7207 | -1 | -1 | -1 | -1 | 24.8789 | 2.6125 | -1 | -1 | -1 | 5.5179 | 5.469 | 0.094074 | 0.96212 | 0.92424 | 61521.0848 | -1 | -1
|  | 31 | 4 | 22 | 5 | 4 | 0 | 0 | 0 | 5.5147 | 0 | BB | 162.534 | 49.4115 | 0.050376 | 1.0477 | 0 |  | -1 | -1 | 4 | -1 | 808 | 851 | 5.3846 | 5.6063 | 0.0066667 | 54 | -1 | 5.4453 | 0.12815 | 49.4766 | 5.4475 | 0.12444 | 49.7617 | 5.4738 | 0.082216 | 108.5577 | 47.0195 | 107.4807 | 47.703 | 5.4944 | 78.0129 | 5.5346 | 78.6352 | 5.489 | 0.051852 | 71.143 | 0.024446 | -0.37314 | 0.75848 | 162.4567 | 5.5129 | 0.00059762 | -5.4514e-06 | 1.3424e-06 | 0.88421 | 72070.032 | 46351.6944 | 62738.1194 | 50854.4667 | 31.5944 | 28.5409 | 30.8527 | 30.984 | -1 | -1 | -1 | -1 | 26.3212 | 2.6125 | -1 | -1 | -1 | 5.5179 | 5.4653 | 0.097778 | 0.92958 | 0.85915 | 55014.9263 | -1 | -1
|  | 33 | 1 | 26 | 6 | 3 | 0 | 0 | 0 | 6.321 | 0 | BB | 1688.3403 | 497.379 | 0.053602 | 0.84593 | 0 |  | -1 | -1 | 1 | -1 | 938 | 979 | 6.2494 | 6.5179 | 0.0066667 | 52 | -1 | 6.2713 | 0.11267 | 67.7118 | 6.2719 | 0.11067 | 70.6006 | 6.2781 | 0.091322 | 661.5768 | 47.0813 | 633.2957 | 45.8096 | 6.2948 | 286.3927 | 6.3413 | 387.5477 | 6.2946 | 0.056 | 287.2612 | 0.023073 | 0.54491 | 1.3018 | 1688.2774 | 6.3226 | 0.00053238 | 6.6935e-06 | 1.2192e-06 | 1.2029 | 76581.0369 | 78613.4587 | 70514.9979 | 75087.8353 | 9.2662 | 9.0537 | 8.6661 | 8.703 | -1 | -1 | -1 | -1 | 6.3005 | 1.1462 | -1 | -1 | -1 | 6.3179 | 6.2759 | 0.098667 | 1.1746 | 1.3492 | 65781.2572 | -1 | -1
|  | 34 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.321 | 0 | BB | 1078.9641 | 318.8189 | 0.053483 | 0.85129 | 0 |  | -1 | -1 | 2 | -1 | 932 | 974 | 6.2512 | 6.435 | 0.0066667 | 53 | -1 | 6.2713 | 0.11333 | 119.1092 | 6.272 | 0.11111 | 120.9607 | 6.2782 | 0.091207 | 500.1179 | 105.2549 | 481.5612 | 105.8903 | 6.2947 | 257.8335 | 6.3414 | 323.6076 | 6.2942 | 0.056296 | 259.8211 | 0.022535 | 0.33921 | 0.11047 | 1079.0834 | 6.3243 | 0.00050782 | 3.8818e-06 | 8.0214e-07 | 1.2097 | 76774.1424 | 77691.3147 | 69774.6881 | 78760.9032 | 9.308 | 8.4791 | 8.762 | 8.7993 | -1 | -1 | -1 | -1 | 8.7311 | 1.1462 | -1 | -1 | -1 | 6.3179 | 6.2764 | 0.098519 | 1.1875 | 1.375 | 65330.9222 | -1 | -1
|  | 6 | 8 | 28 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 103.8946 | 30.5876 | 0.053627 | 0.84489 | 0 |  | -1 | -1 | 8 | -1 | 932 | 987 | 6.2446 | 6.5712 | 0.0066667 | 66 | -1 | 6.2713 | 0.11333 | 8.7739 | 6.2722 | 0.11048 | 8.9516 | 6.2782 | 0.091336 | 45.2769 | 7.48 | 43.5196 | 7.4626 | 6.2955 | 22.7176 | 6.3422 | 27.8361 | 6.2941 | 0.05619 | 22.2754 | 0.023769 | 0.90806 | 4.1219 | 103.8946 | 6.3248 | 0.00056498 | 1.2194e-05 | 2.2733e-06 | 1.0545 | 76718.6392 | 77855.361 | 70185.626 | 70803.2971 | 75.8432 | 50.6315 | 69.0477 | 69.3415 | -1 | -1 | -1 | -1 | 57.782 | 19.7347 | -1 | -1 | -1 | 6.3246 | 6.276 | 0.099048 | 1.0196 | 1.0392 | 74271.9968 | -1 | -1
|  | 2 | 3 | 29 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 526.608 | 155.7939 | 0.053435 | 0.8549 | 0 |  | -1 | -1 | 3 | -1 | 932 | 974 | 6.2512 | 6.4254 | 0.0066667 | 53 | -1 | 6.272 | 0.11407 | 98.7242 | 6.2727 | 0.11111 | 99.6287 | 6.2782 | 0.09115 | 285.0139 | 91.3464 | 275.6328 | 92.8105 | 6.2947 | 165.9668 | 6.3414 | 198.8743 | 6.2942 | 0.056296 | 167.4664 | 0.022436 | 0.32068 | 0.047211 | 526.5594 | 6.3242 | 0.00050338 | 3.6217e-06 | 7.7214e-07 | 1.0714 | 77032.7023 | 76847.5352 | 69922.0183 | 79454.6703 | 9.3335 | 8.8367 | 8.7616 | 8.7989 | -1 | -1 | -1 | -1 | 8.8833 | 1.1462 | -1 | -1 | -1 | 6.3246 | 6.2764 | 0.099259 | 1.0308 | 1.0615 | 73241.4122 | -1 | -1
|  | 3 | 5 | 30 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 331.9161 | 98.1935 | 0.053436 | 0.85305 | 0 |  | -1 | -1 | 5 | -1 | 932 | 974 | 6.2446 | 6.4336 | 0.0066667 | 53 | -1 | 6.2713 | 0.11333 | 27.6164 | 6.272 | 0.11111 | 28.1866 | 6.2783 | 0.091123 | 144.9241 | 23.281 | 139.2285 | 23.5839 | 6.2947 | 70.0901 | 6.3414 | 90.6844 | 6.2942 | 0.056296 | 70.9511 | 0.022476 | 0.33112 | 0.087872 | 331.8797 | 6.3243 | 0.00050519 | 3.7598e-06 | 7.8806e-07 | 1.0563 | 77078.149 | 77855.361 | 69922.0183 | 79172.1192 | 8.8935 | 7.6851 | 8.1529 | 8.1876 | -1 | -1 | -1 | -1 | 7.6707 | 1.1463 | -1 | -1 | -1 | 6.3246 | 6.2764 | 0.098519 | 1.0231 | 1.0462 | 74845.0642 | -1 | -1
|  | 4 | 6 | 31 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 434.0513 | 128.0199 | 0.053556 | 0.8479 | 0 |  | -1 | -1 | 6 | -1 | 932 | 979 | 6.2179 | 6.5212 | 0.0066667 | 58 | -1 | 6.2713 | 0.11333 | 19.0408 | 6.272 | 0.11111 | 19.7843 | 6.2782 | 0.091215 | 171.8424 | 13.5764 | 164.5271 | 13.5994 | 6.2952 | 76.3384 | 6.3418 | 99.8832 | 6.2942 | 0.056296 | 75.5505 | 0.023142 | 0.5787 | 1.5228 | 434.0437 | 6.3246 | 0.00053557 | 7.1725e-06 | 1.2973e-06 | 1.0563 | 76922.5958 | 77855.361 | 69922.0183 | 74687.7974 | 9.9628 | 10.5879 | 9.3103 | 9.3499 | -1 | -1 | -1 | -1 | 10.1906 | 1.1464 | -1 | -1 | -1 | 6.3246 | 6.2764 | 0.098519 | 1.0231 | 1.0462 | 74845.0642 | -1 | -1
|  | 1 | 4 | 32 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 331.5201 | 98.1313 | 0.053414 | 0.85539 | 0 |  | -1 | -1 | 4 | -1 | 932 | 974 | 6.2512 | 6.4252 | 0.0066667 | 53 | -1 | 6.272 | 0.11407 | 58.54 | 6.2727 | 0.11111 | 59.1097 | 6.2782 | 0.091104 | 175.8729 | 53.8776 | 169.973 | 54.8295 | 6.2947 | 100.8169 | 6.3414 | 121.6355 | 6.2942 | 0.056296 | 101.8415 | 0.022423 | 0.32028 | 0.046981 | 331.4979 | 6.3242 | 0.00050278 | 3.6108e-06 | 7.7023e-07 | 1.0714 | 77109.6237 | 76847.5352 | 69922.0183 | 79550.42 | 9.3057 | 8.3233 | 8.7617 | 8.799 | -1 | -1 | -1 | -1 | 8.6556 | 1.1462 | -1 | -1 | -1 | 6.3246 | 6.2764 | 0.099259 | 1.0308 | 1.0615 | 73241.4122 | -1 | -1
|  | 5 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.3211 | 0 | BB | 338.2019 | 99.6593 | 0.053592 | 0.84663 | 0 |  | -1 | -1 | 7 | -1 | 931 | 987 | 6.2046 | 6.5712 | 0.0066667 | 67 | -1 | 6.2713 | 0.11333 | 8.7438 | 6.2722 | 0.11048 | 9.3227 | 6.2782 | 0.091304 | 127.6005 | 4.5039 | 121.9108 | 4.494 | 6.2957 | 54.8103 | 6.3423 | 70.3837 | 6.2941 | 0.05619 | 52.7366 | 0.02346 | 0.73426 | 2.7403 | 338.2019 | 6.3247 | 0.00055035 | 9.4801e-06 | 1.7387e-06 | 1.0545 | 76772.1594 | 77855.361 | 70185.626 | 72683.3772 | 9.1314 | 7.8699 | 8.5402 | 8.5765 | -1 | -1 | -1 | -1 | 7.8921 | 1.1463 | -1 | -1 | -1 | 6.3246 | 6.276 | 0.099048 | 1.0196 | 1.0392 | 74271.9968 | -1 | -1
|  | 8 | 1 | 34 | 7 | 3 | 0 | 0 | 0 | 6.7115 | 0 | BB | 32.9306 | 11.5866 | 0.047158 | 0.84888 | 0 |  | -1 | -1 | 1 | -1 | 993 | 1029 | 6.6646 | 6.7779 | 0.0066667 | 47 | -1 | 6.6646 | 0.087879 | 42.86 | 6.6646 | 0.087273 | 42.9274 | 6.6753 | 0.076499 | 56.6762 | 43.3809 | 56.9638 | 41.2209 | 6.6878 | 47.9638 | 6.7348 | 47.8746 | 6.687 | 0.047879 | 47.9857 | 0.018032 | 0.18985 | -0.29096 | 32.9306 | 6.7141 | 0.00032514 | 1.113e-06 | 2.8639e-07 | 0.93506 | 123145.931 | 145806.6963 | 108850.469 | 138643.678 | 4.6545 | 4.8687 | 4.4177 | 4.4365 | -1 | -1 | -1 | -1 | 4.7618 | 1.0618 | -1 | -1 | -1 | 6.7112 | 6.6646 | 0.084849 | 0.90909 | 0.81818 | 105527.4183 | -1 | -1
|  | 7 | 2 | 33 | 7 | 4 | 0 | 0 | 0 | 6.7123 | 0 | BB | 23.3578 | 8.2416 | 0.047065 | 0.93005 | 0 |  | -1 | -1 | 2 | -1 | 993 | 1029 | 6.6646 | 6.7779 | 0.0066667 | 47 | -1 | 6.6688 | 0.091515 | 109.1899 | 6.6694 | 0.089697 | 109.2378 | 6.675 | 0.076461 | 119.2803 | 108.8777 | 118.9925 | 108.7944 | 6.6878 | 112.4333 | 6.7348 | 113.1495 | 6.6888 | 0.047879 | 112.8341 | 0.017932 | 0.1685 | -0.31722 | 23.3578 | 6.7137 | 0.00032156 | 9.7163e-07 | 2.774e-07 | 1.0725 | 123266.7432 | 134450.0093 | 108850.469 | 140172.0154 | 4.6679 | 4.7759 | 4.4139 | 4.4326 | -1 | -1 | -1 | -1 | 4.8118 | 1.0619 | -1 | -1 | -1 | 6.7112 | 6.6731 | 0.081818 | 1.0714 | 1.1429 | 117253.6765 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 03:43:27
ResNewDateTime | 03 September 2019 03:43:27
ResModBy | SYSTEM
ResModTime | 09/03/19 03:43:28
ResModDateTime | 03 September 2019 03:43:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7123.4979

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7123.4979

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4416.456

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1973.4077

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 773.1549

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 494.6694

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 491.416

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 405.296

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.1358

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7123.4979

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4416.456

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1973.4077

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 773.1549

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 494.6694

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 491.416

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 405.296

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.1358

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.33632 | 1416.4501 | 151.6333 | 0.12898 | 1.5292 | -12.6068 | 0.0045833 | 0 | 45.5909 | 0.51792 | -7.1054e-15 | -44.466 | 1 | -175.4355 | 46.395 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.467 | 1198.4186 | 51.6601 | 0.28465 | 4.2098 | 6.437 | 0.81125 | 0 | -47.0333 | 1.6112 | -1.0658e-14 | 18.2012 | 1 | 81.545 | -113.1867 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1108 | 768.7758 | 143.9869 | 0.082291 | 0.71087 | 48.0404 | 1.8112 | 0 | 45.0616 | 2.2849 | 0 | 49.7717 | 1 | 9.9446 | 27.0494 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.8891 | 18.3908 | 5.1699 | 0.053501 | 0.57588 | 65.7163 | 4.8446 | -1.4211e-14 | 66.3328 | 5.1446 | -1.4211e-14 | 62.1738 | 1 | -13.8632 | 133.4945 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.5146 | 2000.1917 | 625.5159 | 0.049306 | 0.92394 | 57.1901 | 5.409 | 0 | 58.5913 | 6.2246 | 0 | 47.7657 | 1 | -13.274 | 130.3906 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.321 | 1688.3403 | 497.379 | 0.053602 | 0.84593 | 46.4847 | 6.2494 | 1.4211e-14 | 47.482 | 6.5179 | 1.4211e-14 | 43.7422 | 1 | -13.9254 | 134.5065 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7115 | 32.9306 | 11.5866 | 0.047158 | 0.84888 | 42.3573 | 6.6646 | 0 | 43.6831 | 6.7779 | 0 | 40.483 | 1 | -28.2358 | 231.8627 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32794 | 1424.884 | 132.5027 | 0.13946 | 1.9134 | 44.2742 | 0.0045833 | 0 | 121.9587 | 0.50458 | 0 | 1.8377 | 1 | -240.242 | 123.0598 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4669 | 746.4987 | 35.2747 | 0.2609 | 3.7599 | 15.9007 | 0.84458 | 0 | -14.483 | 1.6113 | 7.1054e-15 | 22.9473 | 1 | 48.8221 | -55.7173 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1108 | 519.9246 | 97.042 | 0.082507 | 0.71308 | 43.7616 | 1.8112 | 0 | 41.4839 | 2.2845 | 0 | 45.0817 | 1 | 7.6031 | 27.7128 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5146 | 622.8268 | 191.5988 | 0.049925 | 1.005 | 101.2364 | 5.3846 | 0 | 100.419 | 5.6256 | 0 | 101.9347 | 1 | 6.2886 | 66.5577 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.321 | 1078.9641 | 318.8189 | 0.053483 | 0.85129 | 105.5533 | 6.2512 | 0 | 105.0673 | 6.435 | 0 | 106.3478 | 1 | 6.967 | 61.5146 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.7123 | 23.3578 | 8.2416 | 0.047065 | 0.93005 | 108.8371 | 6.6646 | 0 | 108.8891 | 6.7779 | 0 | 108.7656 | 1 | -1.0897 | 116.1516 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.31453 | 667.8453 | 75.909 | 0.11464 | 1.5325 | 62.9206 | 0.097917 | 0 | 114.6798 | 0.47792 | 0 | 23.8791 | 1 | -238.9494 | 138.0769 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4669 | 88.3737 | 11.0207 | 0.10755 | 0.66433 | 18.5089 | 1.2912 | 0 | 19.9747 | 1.616 | 0 | 17.2643 | 1 | -8.3467 | 30.7524 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1109 | 267.2275 | 51.3858 | 0.080672 | 0.67199 | 26.4003 | 1.8446 | 0 | 25.5351 | 2.2858 | 0 | 26.9686 | 1 | 3.2489 | 19.5422 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5146 | 423.3533 | 132.0702 | 0.049398 | 0.98479 | 80.9035 | 5.3913 | 0 | 79.1817 | 5.6127 | 0 | 82.2711 | 1 | 13.9528 | 3.9584 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3211 | 526.608 | 155.7939 | 0.053435 | 0.8549 | 92.0349 | 6.2512 | 0 | 90.9133 | 6.4254 | 0 | 93.7106 | 1 | 16.0617 | -9.4923 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.3125 | 140.5696 | 29.6304 | 0.067348 | 1.1539 | 51.012 | 0.20458 | 0 | 68.872 | 0.43125 | 0 | 31.3587 | 1 | -165.4997 | 102.7304 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1109 | 138.5312 | 27.7897 | 0.078158 | 0.62364 | 23.128 | 1.8446 | 0 | 22.8367 | 2.2942 | 0 | 23.3285 | 1 | 1.0938 | 20.8191 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5147 | 162.534 | 49.4115 | 0.050376 | 1.0477 | 47.3589 | 5.3846 | 0 | 46.2775 | 5.6063 | 0 | 48.1207 | 1 | 8.3135 | 1.5127 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3211 | 331.5201 | 98.1313 | 0.053414 | 0.85539 | 54.3253 | 6.2512 | 0 | 53.5955 | 6.4252 | 7.1054e-15 | 55.4128 | 1 | 10.4484 | -11.7201 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31641 | 62.882 | 16.9388 | 0.05531 | 1.4068 | 22.599 | 0.19125 | 0 | 28.1601 | 0.41125 | 0 | 18.3854 | 1 | -44.4304 | 36.6574 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1109 | 66.8349 | 13.6853 | 0.076977 | 0.58844 | 16.23 | 1.8779 | 0 | 16.1595 | 2.3184 | 0 | 16.2927 | 1 | 0.30226 | 15.5919 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5141 | 33.0363 | 7.8781 | 0.060923 | 1.6588 | 21.4908 | 5.3713 | 0 | 21.1797 | 5.5979 | 0 | 21.6732 | 1 | 2.1773 | 9.4847 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3211 | 331.9161 | 98.1935 | 0.053436 | 0.85305 | 23.4234 | 6.2446 | 0 | 23.169 | 6.4336 | 0 | 23.7976 | 1 | 3.3247 | 2.4074 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.31956 | 42.0729 | 13.6256 | 0.048024 | 1.2688 | 13.6219 | 0.17792 | 0 | 14.9908 | 0.41125 | 0 | 12.7358 | 1 | -9.6641 | 16.7102 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5141 | 15.2918 | 5.7864 | 0.042832 | 0.80503 | 15.3613 | 5.4713 | 0 | 16.5381 | 5.5712 | 0 | 13.7892 | 1 | -27.4897 | 166.941 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3211 | 434.0513 | 128.0199 | 0.053556 | 0.8479 | 13.5872 | 6.2179 | 0 | 13.5612 | 6.5212 | 0 | 13.6375 | 1 | 0.25152 | 11.9973 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32001 | 37.3671 | 12.4721 | 0.046954 | 1.2089 | 4.6388 | 0.17792 | 0 | 5.4469 | 0.42458 | 0 | 4.0441 | 1 | -5.6872 | 6.4588 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5143 | 29.7271 | 8.1153 | 0.054736 | 1.2918 | 4.5975 | 5.4046 | 0 | 4.5915 | 5.6046 | 0 | 4.6024 | 1 | 0.054836 | 4.2951 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3211 | 338.2019 | 99.6593 | 0.053592 | 0.84663 | 4.4993 | 6.2046 | 0 | 4.5118 | 6.5712 | 0 | 4.4723 | 1 | -0.10794 | 5.1815 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.3203 | 37.2412 | 12.4091 | 0.047013 | 1.2036 | 7.6511 | 0.17792 | 0 | 8.3995 | 0.42458 | 0 | 7.103 | 1 | -5.2562 | 9.3346 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3211 | 103.8946 | 30.5876 | 0.053627 | 0.84489 | 7.4718 | 6.2446 | 0 | 7.4863 | 6.5712 | 0 | 7.4244 | 1 | -0.18976 | 8.6713 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2