## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567437052
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 36
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 36
Vial | 36
SampleLocation | 36
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 16:10:52
SampleName | CS-135_0036
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.722
StopPressure | 61.551
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 6.0589
DAD1UVBurnTime | 152.7258
DAD1VisOnTime | 6.0586
DAD1VisBurnTime | 138.2369
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 12 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 23 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup | 34 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ControlLimits_ | ControlLimits | 42 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 10806.0528 | 1681.1383 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 6783.6289 | 913.9743 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 3 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 2283.5893 | 433.6135 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 849.2336 | 207.5938 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 2 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 483.937 | 133.2893 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 488.2988 | 143.2557 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 406.4702 | 117.0797 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0036.D | 139.7888 | 42.3027 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 42 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32375 | 0 | BB | 194.5381 | 35.7281 | 0.075525 | 1.3124 | 0 |  | -1 | -1 | 4 | -1 | 26 | 84 | 0.19 | 0.44333 | 0.0066667 | 69 | -1 | 0.19 | 0.18286 | 48.0996 | 0.19 | 0.18286 | 48.3073 | 0.27071 | 0.10458 | 84.6014 | 55.0443 | 96.3439 | 38.2177 | 0.31219 | 78.1604 | 0.35286 | 63.5082 | 0.19 | 0.16286 | 63.878 | 0.043342 | -0.29467 | -0.20339 | 194.5381 | 0.31226 | 0.0018786 | -2.3993e-05 | 9.8693e-06 | 0.68571 | 152.9509 | 78.1659 | 21.8372 | 51.9038 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32333 | 0.19 | 0.18 | 0.675 | 0.35 | 32.7606 | -1 | -1
NumberOfCol | 81 | 12 | 5 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32666 | 0 | BB | 64.8119 | 18.1507 | 0.053659 | 1.2674 | 0 |  | -1 | -1 | 5 | -1 | 32 | 75 | 0.21 | 0.41667 | 0.0066667 | 54 | -1 | 0.21 | 0.1563 | 20.9398 | 0.21 | 0.1563 | 21.0468 | 0.29239 | 0.072753 | 41.4604 | 22.0711 | 48.3428 | 18.3646 | 0.31318 | 33.8336 | 0.35328 | 27.6022 | 0.29963 | 0.051852 | 29.0746 | 0.031464 | -0.82095 | 0.52554 | 64.8119 | 0.31752 | 0.00098997 | -2.5571e-05 | 3.4552e-06 | 0.65123 | 329.1878 | 111.4475 | 224.3929 | 101.8405 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.21 | 0.15407 | 0.64198 | 0.28395 | 40.0893 | -1 | -1
NumberOfHead | 9 | 9 | 3 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32737 | 0 | BB | 929.3367 | 91.6686 | 0.13028 | 1.9433 | 0 |  | -1 | -1 | 3 | -1 | 7 | 109 | 0.043333 | 0.49 | 0.0066667 | 113 | -1 | 0.043333 | 0.36833 | 57.7855 | 0.043333 | 0.36667 | 58.3366 | 0.23725 | 0.17262 | 150.8774 | 73.8048 | 166.5518 | 36.468 | 0.31132 | 137.1571 | 0.3563 | 120.9344 | 0.043333 | 0.33 | 99.6729 | 0.082924 | -0.5036 | -0.36224 | 929.3367 | 0.28353 | 0.0068764 | -0.00028716 | 0.00012473 | 0.63953 | 58.4747 | 20.0672 | 5.54 | 11.6902 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.043333 | 0.36167 | 0.63081 | 0.26163 | 6.8446 | -1 | -1
Modified | 1 | 30 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.33072 | 0 | BB | 41.8831 | 14.1704 | 0.046483 | 1.2033 | 0 |  | -1 | -1 | 6 | -1 | 30 | 72 | 0.19667 | 0.41667 | 0.0066667 | 53 | -1 | 0.19667 | 0.17259 | 11.627 | 0.19667 | 0.17259 | 11.7108 | 0.29908 | 0.065387 | 29.7397 | 11.3459 | 32.5274 | 10.6409 | 0.31325 | 19.583 | 0.35336 | 17.8415 | 0.30852 | 0.044444 | 17.9955 | 0.027461 | -1.4839 | 2.8234 | 41.8831 | 0.3236 | 0.00075408 | -3.0727e-05 | 3.3114e-06 | 0.64722 | 407.5385 | 91.3952 | 305.4237 | 138.8677 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.19667 | 0.16963 | 0.63611 | 0.27222 | 32.0545 | -1 | -1
NextPeakSignal_ | Peak | 31 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.33126 | 0 | BB | 36.9829 | 12.8367 | 0.045612 | 1.1727 | 0 |  | -1 | -1 | 7 | -1 | 29 | 72 | 0.19 | 0.42333 | 0.0066667 | 54 | -1 | 0.19 | 0.18 | 2.6064 | 0.19 | 0.18 | 2.6822 | 0.29989 | 0.064653 | 19.2066 | 2.227 | 21.3819 | 1.8483 | 0.3134 | 9.5387 | 0.35342 | 8.3772 | 0.31 | 0.043704 | 8.3663 | 0.026833 | -1.6068 | 3.68 | 36.9829 | 0.32492 | 0.00072002 | -3.1044e-05 | 3.4631e-06 | 0.64286 | 416.8401 | 84.0278 | 315.8647 | 146.6266 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.26852 | 0.098519 | 0.8012 | 0.60241 | 160.7812 | -1 | -1
Signal_ | Signal | 36 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.33164 | 0 | BB | 36.5543 | 12.6624 | 0.04568 | 1.1725 | 0 |  | -1 | -1 | 8 | -1 | 29 | 72 | 0.19 | 0.43 | 0.0066667 | 54 | -1 | 0.19 | 0.18074 | 6.0358 | 0.19 | 0.18 | 6.1104 | 0.3 | 0.064939 | 22.4474 | 5.6505 | 24.3969 | 5.3006 | 0.31341 | 12.7695 | 0.35345 | 11.8918 | 0.31 | 0.044444 | 11.704 | 0.026745 | -1.5872 | 3.7187 | 36.5543 | 0.32547 | 0.00071528 | -3.0363e-05 | 3.4375e-06 | 0.64286 | 413.1817 | 83.3404 | 305.4237 | 148.0961 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.28407 | 0.083704 | 0.91129 | 0.82258 | 262.8674 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.34218 | 0 | BB | 1584.0264 | 154.8501 | 0.13934 | 2.0537 | 0 |  | -1 | -1 | 2 | -1 | 1 | 116 | 0.0033333 | 0.51 | 0.0066667 | 121 | -1 | 0.03 | 0.40333 | 45.1742 | 0.03 | 0.40333 | 46.0951 | 0.25205 | 0.18256 | 209.1351 | 60.6028 | 214.9213 | 16.2413 | 0.31629 | 166.4729 | 0.38231 | 128.6538 | 0.03 | 0.36 | 115.1613 | 0.093771 | -0.66299 | -0.1803 | 1584.0263 | 0.28989 | 0.008793 | -0.00054666 | 0.00021801 | 0.64362 | 56.5916 | 18.1152 | 5.0389 | 9.5569 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34333 | 0.03 | 0.39667 | 0.63298 | 0.26596 | 6.2356 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34936 | 0 | BB | 1558.9752 | 181.3143 | 0.12031 | 1.6048 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0033333 | 0.52333 | 0.0066667 | 113 | -1 | 0.03 | 0.41833 | -10.6032 | 0.03 | 0.41667 | -9.5286 | 0.27738 | 0.16147 | 186.514 | -5.9934 | 185.7079 | -33.7661 | 0.32152 | 112.0411 | 0.3839 | 101.0091 | 0.30167 | 0.093333 | 71.0671 | 0.090633 | -0.89312 | 0.37588 | 1558.9752 | 0.31097 | 0.0082144 | -0.00066492 | 0.00022779 | 0.65104 | 75.1776 | 17.4997 | 77.9062 | 11.7721 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.35 | 0.03 | 0.40833 | 0.63802 | 0.27604 | 6.2875 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4564 | 0 | BB | 87.905 | 10.8875 | 0.1062 | 0.71862 | 0 |  | -1 | -1 | 3 | -1 | 187 | 241 | 1.29 | 1.5967 | 0.0066667 | 65 | -1 | 1.29 | 0.29333 | 18.0918 | 1.29 | 0.2925 | 18.1562 | 1.3966 | 0.19505 | 30.2114 | 18.2385 | 43.4006 | 16.2287 | 1.4334 | 25.5967 | 1.5744 | 19.6968 | 1.415 | 0.12667 | 22.9839 | 0.06223 | -0.27806 | -0.4404 | 87.905 | 1.4679 | 0.0038725 | -6.7007e-05 | 3.8385e-05 | 0.8775 | 892.4141 | 616.5062 | 732.665 | 556.3952 | 6.1415 | 4.2658 | 2.905 | 2.9173 | -1 | -1 | -1 | -1 | 4.0796 | 4.4488 | -1 | -1 | -1 | 1.4567 | 1.29 | 0.29 | 0.87 | 0.74 | 404.4467 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4564 | 0 | BB | 739.0252 | 35.437 | 0.2553 | 3.787 | 0 |  | -1 | -1 | 2 | -1 | 126 | 241 | 0.83667 | 1.5967 | 0.0066667 | 126 | -1 | 1.135 | 0.46167 | 17.65 | 1.1367 | 0.46 | 17.8603 | 1.3579 | 0.2313 | 55.2217 | 11.1902 | 82.3251 | 22.7103 | 1.4335 | 45.0067 | 1.5722 | 30.3383 | 1.3417 | 0.22333 | 33.6343 | 0.16481 | -0.34648 | -0.84261 | 739.0252 | 1.302 | 0.027162 | -0.001551 | 0.0015916 | 0.71875 | 634.5692 | 248.8876 | 235.6802 | 62.4092 | 5.3844 | 3.2202 | 2.2443 | 2.2539 | -1 | -1 | -1 | -1 | 1.957 | 4.2562 | -1 | -1 | -1 | 1.4567 | 1.155 | 0.44167 | 0.73204 | 0.46409 | 133.2234 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4564 | 0 | BB | 1188.9683 | 51.7972 | 0.2798 | 4.2837 | 0 |  | -1 | -1 | 1 | -1 | 121 | 241 | 0.80333 | 1.5959 | 0.0066667 | 131 | -1 | 1.13 | 0.46588 | 9.6907 | 1.1333 | 0.46255 | 9.9983 | 1.3511 | 0.23711 | 64.3585 | -1.3647 | 103.455 | 18.4088 | 1.4336 | 50.0948 | 1.5713 | 29.3211 | 1.3317 | 0.23333 | 33.0655 | 0.17173 | -0.30502 | -0.86716 | 1192.5629 | 1.2849 | 0.02949 | -0.0015447 | 0.0018548 | 0.71528 | 603.8497 | 244.4056 | 215.9119 | 55.9864 | 5.555 | 3.1301 | 3.982 | 3.999 | -1 | -1 | -1 | -1 | 1.8562 | 4.1688 | -1 | -1 | -1 | 1.4567 | 1.15 | 0.44588 | 0.72698 | 0.45396 | 128.8968 | -1 | -1
|  | 32 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 1.9916 | 0 | BB | 74.7799 | 15.1133 | 0.075726 | 0.55089 | 0 |  | -1 | -1 | 5 | -1 | 263 | 350 | 1.75 | 2.3253 | 0.0066667 | 98 | -1 | 1.9367 | 0.17067 | 14.0226 | 1.938 | 0.16533 | 14.1119 | 1.9435 | 0.13015 | 32.5541 | 13.3467 | 30.1503 | 13.4044 | 1.9635 | 21.3424 | 2.0246 | 23.4134 | 1.962 | 0.076 | 20.8135 | 0.047306 | 1.6827 | 6.88 | 74.767 | 2.0106 | 0.0022378 | 0.00017813 | 4.9477e-05 | 1.5897 | 3740.5753 | 3398.9811 | 3798.2954 | 1806.4378 | 16.4113 | 12.7305 | 15.3015 | 15.3666 | -1 | -1 | -1 | -1 | 10.747 | 6.0969 | -1 | -1 | -1 | 1.99 | 1.942 | 0.14267 | 1.4861 | 1.9722 | 2517.9186 | -1 | -1
|  | 33 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 1.9917 | 0 | BB | 157.7228 | 31.1915 | 0.076994 | 0.55111 | 0 |  | -1 | -1 | 4 | -1 | 258 | 344 | 1.7167 | 2.2858 | 0.0066667 | 97 | -1 | 1.9367 | 0.188 | 21.2353 | 1.9367 | 0.17867 | 21.4197 | 1.9433 | 0.13136 | 59.465 | 19.8092 | 54.4728 | 20.0162 | 1.9636 | 36.4488 | 2.0246 | 40.8011 | 1.962 | 0.077333 | 35.2516 | 0.047663 | 0.96565 | 5.1056 | 157.663 | 2.0102 | 0.0022718 | 0.00010456 | 4.1832e-05 | 1.675 | 3671.7336 | 2801.1119 | 3668.4488 | 1778.8092 | 14.1385 | 11.2438 | 8.1594 | 8.1942 | -1 | -1 | -1 | -1 | 9.329 | 6.152 | -1 | -1 | -1 | 1.99 | 1.942 | 0.14667 | 1.5278 | 2.0556 | 2322.3887 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 1.9918 | 0 | BB | 901.9286 | 161.4137 | 0.08319 | 0.55099 | 0 |  | -1 | -1 | 1 | -1 | 253 | 343 | 1.6833 | 2.2762 | 0.0066667 | 101 | -1 | 1.934 | 0.28133 | 49.8784 | 1.934 | 0.26933 | 50.8332 | 1.9424 | 0.13549 | 247.2985 | 42.1645 | 221.007 | 44.1913 | 1.9636 | 130.3325 | 2.0246 | 153.5788 | 1.9607 | 0.08 | 122.4446 | 0.061333 | 0.11315 | 3.9063 | 902.1095 | 2.0117 | 0.0037617 | 2.6106e-05 | 9.7729e-05 | 2.4048 | 3451.3161 | 1250.8458 | 3427.9616 | 1075.8682 | 2.8735 | 1.7911 | 2.0075 | 2.0161 | -1 | -1 | -1 | -1 | 1.5593 | 1.3676 | -1 | -1 | -1 | 1.99 | 1.9407 | 0.168 | 1.7027 | 2.4054 | 1600.6195 | -1 | -1
|  | 29 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 1.9918 | 0 | BB | 311.1282 | 57.776 | 0.080826 | 0.53519 | 0 |  | -1 | -1 | 3 | -1 | 258 | 343 | 1.7167 | 2.2769 | 0.0066667 | 96 | -1 | 1.9353 | 0.26933 | 25.9488 | 1.9353 | 0.25467 | 26.2904 | 1.9428 | 0.13411 | 96.6788 | 23.2123 | 87.2973 | 23.8688 | 1.9636 | 54.3482 | 2.0246 | 62.8505 | 1.9607 | 0.08 | 51.9145 | 0.055227 | 0.67523 | 3.809 | 311.1136 | 2.0131 | 0.00305 | 0.00011374 | 6.3343e-05 | 2.3293 | 3522.8544 | 1364.7904 | 3427.9616 | 1328.677 | 3.2532 | 2.3789 | 3.044 | 3.057 | -1 | -1 | -1 | -1 | 2.3209 | 1.3676 | -1 | -1 | -1 | 1.99 | 1.9407 | 0.16 | 1.6216 | 2.2432 | 1846.6025 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 1.9918 | 0 | BB | 601.6713 | 108.4146 | 0.082747 | 0.53222 | 0 |  | -1 | -1 | 2 | -1 | 258 | 343 | 1.7167 | 2.276 | 0.0066667 | 96 | -1 | 1.934 | 0.284 | 44.6532 | 1.9353 | 0.27067 | 45.2944 | 1.9425 | 0.13551 | 177.2748 | 39.4582 | 159.5904 | 40.8636 | 1.9635 | 98.2337 | 2.0246 | 114.4467 | 1.9607 | 0.08 | 93.3864 | 0.058552 | 0.53171 | 3.3747 | 601.8241 | 2.014 | 0.0034283 | 0.00010673 | 7.4925e-05 | 2.4756 | 3450.7375 | 1227.466 | 3427.9616 | 1183.0817 | 2.9193 | 1.7951 | 2.074 | 2.0828 | -1 | -1 | -1 | -1 | 1.5938 | 1.3676 | -1 | -1 | -1 | 1.99 | 1.9407 | 0.16933 | 1.7162 | 2.4324 | 1563.9487 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 2.6539 | 0 | BV | 772.2 | 38.8038 | 0.33417 | 1.5167 | 0 |  | -1 | -1 | 1 | -1 | 343 | 429 | 2.2833 | 2.852 | 0.0066667 | 97 | -1 | 2.3447 | 0.50735 | 51.4739 | 2.3473 | 0.50468 | 51.7066 | 2.3295 | 0.53903 | 102.0465 | 47.5169 | 100.1624 | 51.2252 | 2.4242 | 63.4416 | 2.7679 | 74.1634 | 2.458 | 0.33333 | 69.1573 | 0.10825 | -0.2012 | -0.69197 | 589.0885 | 2.5997 | 0.011717 | -0.00025518 | 0.00031687 | 0.81576 | 388.6626 | 685.4882 | 351.9058 | 576.8229 | 1.9633 | 2.0989 | 1.8823 | 1.8903 | -1 | -1 | -1 | -1 | 1.7337 | 1.3324 | -1 | 3.6283 | 3.6283 | 2.6567 | 2.362 | 0.49002 | 0.83148 | 0.66295 | 444.356 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 2.6614 | 0 | BV | 508.6326 | 26.0969 | 0.32939 | 1.6761 | 0 |  | -1 | -1 | 2 | -1 | 343 | 429 | 2.2833 | 2.8505 | 0.0066667 | 97 | -1 | 2.3767 | 0.47382 | 49.1062 | 2.378 | 0.47249 | 49.2626 | 2.3342 | 0.52596 | 83.6854 | 43.6187 | 81.2406 | 50.555 | 2.4293 | 55.2602 | 2.7689 | 64.6375 | 2.4767 | 0.31733 | 60.9938 | 0.10729 | -0.20626 | -0.69042 | 405.1134 | 2.6025 | 0.011511 | -0.00025474 | 0.00030604 | 0.82795 | 410.2672 | 789.8886 | 390.2379 | 588.3946 | 2.0246 | 2.209 | 1.9801 | 1.9886 | -1 | -1 | -1 | -1 | 1.7745 | 1.3362 | -1 | 4.2913 | 4.2913 | 2.6633 | 2.39 | 0.46049 | 0.84235 | 0.6847 | 514.6449 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 3.0859 | 0 | VB | 1037.3683 | 52.5253 | 0.33642 | 0.78393 | 0 |  | -1 | -1 | 1 | -1 | 428 | 512 | 2.852 | 3.4033 | 0.0066667 | 95 | -1 | 2.852 | 0.54732 | 55.0145 | 2.852 | 0.54065 | 55.3297 | 2.8543 | 0.51892 | 120.761 | 51.1276 | 135.7953 | 54.6976 | 2.9588 | 82.5397 | 3.315 | 71.1363 | 2.946 | 0.34133 | 78.9701 | 0.10748 | 0.078823 | -0.75577 | 861.0991 | 3.1238 | 0.011552 | 9.7866e-05 | 0.00029948 | 1.1686 | 564.8839 | 793.4189 | 452.0571 | 844.7359 | 0.81658 | 1.0239 | 0.75229 | 0.75549 | -1 | -1 | -1 | -1 | 1.2147 | 1.1628 | 4.9114 | -1 | 4.9114 | 3.0833 | 2.852 | 0.51798 | 1.1196 | 1.2393 | 593.5684 | -1 | -1
|  | 22 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 3.1003 | 0 | VV | 741.5169 | 36.6659 | 0.34394 | 0.82416 | 0 |  | -1 | -1 | 2 | -1 | 428 | 512 | 2.8505 | 3.404 | 0.0066667 | 95 | -1 | 2.8513 | 0.55269 | 55.373 | 2.8513 | 0.55269 | 55.5927 | 2.8637 | 0.52039 | 103.6336 | 50.6012 | 111.6591 | 57.464 | 2.9621 | 72.6597 | 3.3169 | 70.2888 | 2.9593 | 0.34933 | 72.0711 | 0.10774 | 0.063437 | -0.76729 | 609.3544 | 3.1267 | 0.011609 | 7.9346e-05 | 0.00030089 | 1.0966 | 568.9981 | 788.2029 | 437.2065 | 842.1282 | 0.83884 | 1.0688 | 0.7735 | 0.77679 | -1 | -1 | -1 | -1 | 1.2188 | 1.1649 | 6.0292 | 19.4879 | 6.0292 | 3.1033 | 2.874 | 0.53002 | 1.1556 | 1.3111 | 558.1807 | -1 | -1
|  | 23 | 1 | 22 | 6 | 3 | 0 | 0 | 0 | 3.601 | 0 | BB | 458.855 | 38.9571 | 0.19542 | 0.9829 | 0 |  | -1 | -1 | 1 | -1 | 511 | 573 | 3.4051 | 3.81 | 0.0066667 | 73 | -1 | 3.4195 | 0.34857 | 55.4756 | 3.4224 | 0.34381 | 55.7093 | 3.4394 | 0.32062 | 102.7304 | 54.7177 | 104.7105 | 52.8479 | 3.5058 | 74.4504 | 3.6995 | 72.5794 | 3.5014 | 0.19619 | 73.2374 | 0.07151 | 0.0086938 | -0.56206 | 459.1431 | 3.6034 | 0.0051136 | 3.1791e-06 | 6.3751e-05 | 0.95 | 2020.9174 | 2671.5624 | 1868.7999 | 2539.2352 | 1.2273 | 1.4376 | 1.1262 | 1.131 | -1 | -1 | -1 | -1 | 1.3398 | 1.167 | -1 | -1 | -1 | 3.6033 | 3.4386 | 0.31619 | 0.95954 | 0.91908 | 2316.2931 | -1 | -1
|  | 24 | 2 | 21 | 6 | 4 | 0 | 0 | 0 | 3.6085 | 0 | VB | 357.9616 | 29.2021 | 0.20101 | 1.1205 | 0 |  | -1 | -1 | 2 | -1 | 511 | 573 | 3.404 | 3.8104 | 0.0066667 | 73 | -1 | 3.4386 | 0.37188 | 61.7272 | 3.4405 | 0.36997 | 61.9023 | 3.4343 | 0.33106 | 97.5715 | 58.1269 | 97.5654 | 62.4929 | 3.5084 | 74.8904 | 3.7011 | 76.8684 | 3.5081 | 0.2019 | 75.0311 | 0.071943 | 0.0091664 | -0.55972 | 335.0151 | 3.6064 | 0.0051757 | 3.4131e-06 | 6.5371e-05 | 1.0912 | 1902.4585 | 2355.8914 | 1771.0509 | 2512.9089 | 1.1939 | 1.3744 | 1.0834 | 1.088 | -1 | -1 | -1 | -1 | 1.3349 | 1.1639 | 15.5209 | -1 | 15.5209 | 3.61 | 3.451 | 0.34381 | 1.0808 | 1.1617 | 1906.319 | -1 | -1
|  | 25 | 1 | 24 | 7 | 3 | 0 | 0 | 0 | 4.0398 | 0 | BB | 700.1092 | 48.8137 | 0.22933 | 0.79527 | 0 |  | -1 | -1 | 1 | -1 | 572 | 651 | 3.8105 | 4.3315 | 0.0066667 | 90 | -1 | 3.854 | 0.44133 | 55.4901 | 3.8553 | 0.436 | 55.7828 | 3.8648 | 0.39682 | 114.3575 | 52.7487 | 111.6199 | 54.1217 | 3.9369 | 78.1317 | 4.1501 | 83.0392 | 3.9353 | 0.236 | 77.7395 | 0.089691 | 0.15158 | -0.49178 | 700.1333 | 4.0572 | 0.0080444 | 0.00010937 | 0.00016231 | 1.2022 | 1655.6543 | 2091.4733 | 1620.8079 | 2046.281 | 1.223 | 1.3885 | 1.1927 | 1.1978 | -1 | -1 | -1 | -1 | 1.4076 | 1.1218 | -1 | -1 | -1 | 4.0367 | 3.87 | 0.39733 | 1.192 | 1.384 | 1634.0151 | -1 | -1
|  | 28 | 2 | 23 | 7 | 4 | 0 | 0 | 0 | 4.0547 | 0 | BB | 536.4692 | 36.6262 | 0.23488 | 0.86758 | 0 |  | -1 | -1 | 2 | -1 | 573 | 715 | 3.8167 | 4.3308 | 0.0066667 | 153 | -1 | 3.8833 | 0.4475 | 69.776 | 3.8856 | 0.44528 | 69.9955 | 3.8712 | 0.40456 | 115.8511 | 64.2713 | 111.1146 | 72.766 | 3.9463 | 85.3996 | 4.1617 | 92.5497 | 3.95 | 0.24889 | 86.4567 | 0.0905 | 0.14309 | -0.51847 | 536.2379 | 4.0659 | 0.0081903 | 0.00010606 | 0.00016646 | 1.3011 | 1608.7565 | 2054.4349 | 1471.7614 | 2018.4613 | 1.2129 | 1.3611 | 1.1628 | 1.1678 | -1 | -1 | -1 | -1 | 1.4144 | 1.1236 | -1 | -1 | -1 | 4.0567 | 3.8922 | 0.43861 | 1.3336 | 1.6672 | 1222.7693 | -1 | -1
|  | 26 | 1 | 25 | 8 | 3 | 0 | 0 | 0 | 4.5576 | 0 | BB | 452.6214 | 30.5758 | 0.2487 | 0.72167 | 0 |  | -1 | -1 | 1 | -1 | 651 | 728 | 4.3367 | 4.8462 | 0.0066667 | 88 | -1 | 4.39 | 0.45617 | 57.1017 | 4.3922 | 0.45395 | 57.2852 | 4.3945 | 0.40763 | 97.8603 | 54.7405 | 92.2984 | 57.2938 | 4.4487 | 69.0622 | 4.6979 | 72.2109 | 4.4556 | 0.25111 | 71.0477 | 0.090703 | 0.19594 | -0.56153 | 452.3932 | 4.5822 | 0.008227 | 0.00014621 | 0.00016505 | 1.3802 | 1999.2856 | 2494.4814 | 1824.1999 | 2552.1719 | 1.2875 | 1.4425 | 1.2491 | 1.2545 | -1 | -1 | -1 | -1 | 1.4551 | 1.1282 | -1 | -1 | -1 | 4.5567 | 4.4033 | 0.40778 | 1.3297 | 1.6594 | 1789.6867 | -1 | -1
|  | 27 | 1 | 26 | 9 | 3 | 0 | 0 | 0 | 5.0798 | 0 | BB | 15.7489 | 5.7576 | 0.045912 | 0.64201 | 0 |  | -1 | -1 | 1 | -1 | 749 | 784 | 5.0433 | 5.1367 | 0.0066667 | 46 | -1 | 5.0433 | 0.06606 | 62.7245 | 5.0433 | 0.06606 | 62.7567 | 5.0487 | 0.071573 | 69.0236 | 64.4173 | 70.5195 | 59.4819 | 5.0598 | 66.0608 | 5.0995 | 65.1404 | 5.0494 | 0.050303 | 65.1668 | 0.016358 | 0.13268 | -0.46667 | 15.7489 | 5.0851 | 0.00026758 | 5.8073e-07 | 1.8138e-07 | 0.99091 | 80496.7704 | 147643.6557 | 56425.9352 | 96636.9239 | 2.1795 | 2.4999 | 2.0357 | 2.0444 | -1 | -1 | -1 | -1 | 2.3484 | 1.1146 | -1 | -1 | -1 | 5.0767 | 5.0433 | 0.064848 | 0.97273 | 0.94546 | 110743.8454 | -1 | -1
|  | 34 | 1 | 28 | 10 | 3 | 0 | 0 | 0 | 5.8265 | 0 | BB | 2013.3997 | 581.9777 | 0.052362 | 0.81072 | 0 |  | -1 | -1 | 1 | -1 | 859 | 906 | 5.7433 | 6.03 | 0.0066667 | 58 | -1 | 5.7752 | 0.12741 | 80.0695 | 5.7759 | 0.1237 | 83.4479 | 5.784 | 0.08877 | 773.2664 | 55.413 | 749.2774 | 55.1458 | 5.8061 | 429.5008 | 5.847 | 441.4094 | 5.7996 | 0.055556 | 336.8273 | 0.025363 | 0.69008 | 1.1346 | 2013.3997 | 5.8312 | 0.00064326 | 1.1259e-05 | 1.7108e-06 | 1.3047 | 68854.0633 | 52226.8644 | 60869.2675 | 52860.319 | 9.3136 | 9.6487 | 8.288 | 8.3233 | -1 | -1 | -1 | -1 | 8.9422 | 1.147 | -1 | -1 | -1 | 5.8233 | 5.7811 | 0.1037 | 1.2281 | 1.4561 | 48589.2845 | -1 | -1
|  | 35 | 2 | 29 | 10 | 4 | 0 | 0 | 0 | 5.8265 | 0 | BB | 634.1904 | 177.0884 | 0.053781 | 0.74652 | 0 |  | -1 | -1 | 2 | -1 | 858 | 900 | 5.75 | 5.9729 | 0.0066667 | 53 | -1 | 5.7759 | 0.14 | 101.7268 | 5.7767 | 0.13704 | 102.7542 | 5.7842 | 0.089122 | 313.0411 | 94.0355 | 303.9653 | 94.3943 | 5.8066 | 209.7857 | 5.8468 | 213.3522 | 5.8004 | 0.055556 | 179.8047 | 0.027434 | 0.77231 | 0.93159 | 634.1206 | 5.8334 | 0.00075265 | 1.5947e-05 | 2.2272e-06 | 1.4683 | 68311.2116 | 43254.0958 | 60869.2675 | 45212.1061 | 7.1781 | 7.5398 | 6.8385 | 6.8676 | -1 | -1 | -1 | -1 | 7.4935 | 1.437 | -1 | -1 | -1 | 5.8233 | 5.7811 | 0.11556 | 1.3684 | 1.7368 | 35455.6483 | -1 | -1
|  | 37 | 3 | 30 | 10 | 4 | 0 | 0 | 0 | 5.8266 | 0 | BB | 430.3647 | 122.299 | 0.053054 | 0.774 | 0 |  | -1 | -1 | 3 | -1 | 859 | 899 | 5.75 | 5.9642 | 0.0066667 | 51 | -1 | 5.776 | 0.13667 | 78.2817 | 5.7767 | 0.13333 | 78.9911 | 5.7843 | 0.088647 | 224.278 | 72.8366 | 218.401 | 73.3871 | 5.8065 | 152.4209 | 5.8467 | 155.4092 | 5.8 | 0.055333 | 132.199 | 0.026418 | 0.72376 | 0.92015 | 430.341 | 5.8325 | 0.00069792 | 1.3344e-05 | 1.9095e-06 | 1.4286 | 69044.8237 | 45389.7829 | 61359.159 | 48741.6524 | 34.4299 | 23.6132 | 33.2946 | 33.4362 | -1 | -1 | -1 | -1 | 23.39 | 2.9253 | -1 | -1 | -1 | 5.8233 | 5.7813 | 0.11067 | 1.3175 | 1.6349 | 40023.2017 | -1 | -1
|  | 40 | 6 | 31 | 10 | 4 | 0 | 0 | 0 | 5.8266 | 0 | BB | 12.3463 | 4.7965 | 0.04003 | 1.3223 | 0 |  | -1 | -1 | 6 | -1 | 862 | 893 | 5.7767 | 5.8657 | 0.0066667 | 42 | -1 | 5.7944 | 0.071263 | 13.1525 | 5.7944 | 0.071263 | 13.1805 | 5.788 | 0.069331 | 19.5328 | 11.5288 | 18.6238 | 14.3155 | 5.8075 | 15.5787 | 5.8391 | 16.8659 | 5.8056 | 0.048333 | 15.2783 | 0.015469 | -0.068791 | -0.53124 | 12.1264 | 5.8228 | 0.00023929 | -2.5464e-07 | 1.4136e-07 | 1.2334 | 112878.6806 | 166938.182 | 80419.167 | 141689.1802 | 81.5907 | 56.3432 | 69.603 | 69.8992 | -1 | -1 | -1 | -1 | 64.0491 | 17.6178 | -1 | -1 | -1 | 5.8233 | 5.7961 | 0.069596 | 1.2783 | 1.5566 | 104022.4238 | -1 | -1
|  | 39 | 7 | 32 | 10 | 4 | 0 | 0 | 0 | 5.8266 | 0 | BB | 31.7466 | 7.5243 | 0.061224 | 0.54618 | 0 |  | -1 | -1 | 7 | -1 | 856 | 903 | 5.7367 | 5.966 | 0.0066667 | 58 | -1 | 5.7759 | 0.15704 | 2.3894 | 5.7767 | 0.15481 | 2.4329 | 5.7842 | 0.093761 | 11.3725 | 2.0577 | 10.6469 | 2.0871 | 5.8062 | 6.8829 | 5.8462 | 7.3814 | 5.8004 | 0.06 | 5.6998 | 0.03309 | 0.59313 | -0.17738 | 31.7434 | 5.8418 | 0.001095 | 2.1491e-05 | 3.3842e-06 | 1.6587 | 61718.9693 | 34377.8826 | 52185.586 | 31166.4253 | 69.3791 | 40.7619 | 62.2638 | 62.5288 | -1 | -1 | -1 | -1 | 46.0325 | 17.5891 | -1 | -1 | -1 | 5.8233 | 5.7811 | 0.14 | 1.6579 | 2.3158 | 20233.3403 | -1 | -1
|  | 38 | 5 | 33 | 10 | 4 | 0 | 0 | 0 | 5.8266 | 0 | BB | 11.9314 | 4.7142 | 0.039528 | 1.4428 | 0 |  | -1 | -1 | 5 | -1 | 863 | 893 | 5.7767 | 5.8634 | 0.0066667 | 41 | -1 | 5.7956 | 0.067729 | 20.6335 | 5.7956 | 0.067729 | 20.661 | 5.7882 | 0.06793 | 26.9898 | 18.8501 | 26.028 | 21.9099 | 5.8076 | 22.954 | 5.8391 | 24.2784 | 5.8059 | 0.048205 | 22.7248 | 0.015314 | -0.064941 | -0.52238 | 11.9289 | 5.8226 | 0.00023453 | -2.3325e-07 | 1.3628e-07 | 1.2229 | 117582.6906 | 184811.4794 | 80847.4974 | 144552.8286 | 38.7215 | 40.2164 | 36.2794 | 36.4338 | -1 | -1 | -1 | -1 | 30.4374 | 2.9256 | -1 | -1 | -1 | 5.8233 | 5.7967 | 0.066704 | 1.2507 | 1.5014 | 115511.8572 | -1 | -1
|  | 41 | 4 | 27 | 10 | 4 | 0 | 0 | 0 | 5.8266 | 0 | BB | 166.5777 | 45.5918 | 0.054626 | 0.71647 | 0 |  | -1 | -1 | 4 | -1 | 858 | 900 | 5.75 | 5.9615 | 0.0066667 | 53 | -1 | 5.7759 | 0.14444 | 43.4589 | 5.7767 | 0.14148 | 43.7231 | 5.7843 | 0.089572 | 97.9091 | 41.3599 | 95.2116 | 41.6762 | 5.8066 | 71.1423 | 5.8468 | 72.3765 | 5.8004 | 0.055556 | 63.5397 | 0.028195 | 0.73969 | 0.65687 | 166.6252 | 5.8345 | 0.00079497 | 1.658e-05 | 2.3111e-06 | 1.3264 | 67781.4018 | 40726.3447 | 61008.7159 | 42821.0896 | 34.7151 | 28.8388 | 33.9082 | 34.0525 | -1 | -1 | -1 | -1 | 25.2068 | 2.9255 | -1 | -1 | -1 | 5.83 | 5.7819 | 0.12222 | 1.2692 | 1.5385 | 34025.7851 | -1 | -1
|  | 42 | 1 | 35 | 11 | 3 | 0 | 0 | 0 | 7.0997 | 0 | BB | 1689.9441 | 483.3513 | 0.05679 | 0.82846 | 0 |  | -1 | -1 | 1 | -1 | 1048 | 1092 | 7.03 | 7.23 | 0.0066667 | 55 | -1 | 7.0485 | 0.11407 | 62.3985 | 7.0493 | 0.11259 | 65.2158 | 7.0558 | 0.095266 | 639.5853 | 43.8606 | 611.7348 | 39.6092 | 7.0736 | 284.9707 | 7.1264 | 314.6377 | 7.0722 | 0.058519 | 276.5128 | 0.022987 | 0.31462 | 0.038286 | 1689.9441 | 7.1033 | 0.00052841 | 3.8216e-06 | 8.4834e-07 | 1.0411 | 88955.5225 | 96937.2051 | 81629.5701 | 95489.3213 | 13.8366 | 13.1813 | 13.1145 | 13.1703 | -1 | -1 | -1 | -1 | 13.1554 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0537 | 0.10074 | 1.0149 | 1.0299 | 90937.6546 | -1 | -1
|  | 7 | 2 | 36 | 11 | 4 | 0 | 0 | 0 | 7.0998 | 0 | BB | 1080.1354 | 309.5933 | 0.056704 | 0.83179 | 0 |  | -1 | -1 | 2 | -1 | 1048 | 1092 | 7.03 | 7.23 | 0.0066667 | 55 | -1 | 7.0493 | 0.11407 | 114.083 | 7.05 | 0.11185 | 115.8874 | 7.0558 | 0.095134 | 483.974 | 101.3869 | 465.6885 | 100.3131 | 7.0736 | 255.8642 | 7.1264 | 275.8035 | 7.0722 | 0.058519 | 251.2176 | 0.022877 | 0.29989 | -0.0078741 | 1080.1353 | 7.1033 | 0.00052336 | 3.5906e-06 | 8.1957e-07 | 1.0486 | 89200.9615 | 96937.2051 | 81629.5701 | 96408.4477 | 13.8202 | 12.5282 | 13.1147 | 13.1705 | -1 | -1 | -1 | -1 | 12.62 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.10074 | 1.0303 | 1.0606 | 89727.2292 | -1 | -1
|  | 6 | 8 | 37 | 11 | 4 | 0 | 0 | 0 | 7.0998 | 0 | BB | 103.2345 | 29.6403 | 0.056634 | 0.83251 | 0 |  | -1 | -1 | 8 | -1 | 1048 | 1092 | 7.0367 | 7.23 | 0.0066667 | 55 | -1 | 7.0493 | 0.11333 | 6.3959 | 7.05 | 0.11185 | 6.5687 | 7.0559 | 0.09503 | 41.8056 | 5.2058 | 40.0856 | 5.0511 | 7.0736 | 19.9251 | 7.1264 | 21.8861 | 7.0722 | 0.058519 | 19.5294 | 0.022772 | 0.28739 | -0.061125 | 103.2345 | 7.1033 | 0.00051858 | 3.3939e-06 | 7.9034e-07 | 1.0486 | 89397.9152 | 98208.4991 | 81629.5701 | 97298.0683 | 84.6189 | 57.5379 | 77.2374 | 77.5661 | -1 | -1 | -1 | -1 | 68.4393 | 21.4079 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.1 | 1.0227 | 1.0455 | 91662.5105 | -1 | -1
|  | 3 | 3 | 38 | 11 | 4 | 0 | 0 | 0 | 7.0998 | 0 | BB | 524.8546 | 150.9825 | 0.056556 | 0.83908 | 0 |  | -1 | -1 | 3 | -1 | 1049 | 1092 | 7.03 | 7.197 | 0.0066667 | 54 | -1 | 7.05 | 0.11481 | 94.8538 | 7.0507 | 0.11259 | 95.7337 | 7.0559 | 0.094959 | 275.4688 | 87.7564 | 266.0888 | 89.0462 | 7.0736 | 163.4688 | 7.1263 | 174.1259 | 7.073 | 0.057778 | 161.7301 | 0.022628 | 0.25665 | -0.15801 | 524.8438 | 7.1032 | 0.00051201 | 2.9734e-06 | 7.4504e-07 | 1.0704 | 89530.1102 | 95690.4373 | 83736.0531 | 98542.4838 | 13.8696 | 12.6577 | 13.2268 | 13.2831 | -1 | -1 | -1 | -1 | 12.9541 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.10074 | 1.0303 | 1.0606 | 89727.2292 | -1 | -1
|  | 2 | 5 | 39 | 11 | 4 | 0 | 0 | 0 | 7.0999 | 0 | BB | 332.4138 | 95.3111 | 0.056689 | 0.83295 | 0 |  | -1 | -1 | 5 | -1 | 1048 | 1092 | 7.03 | 7.2282 | 0.0066667 | 55 | -1 | 7.0493 | 0.11481 | 24.4596 | 7.05 | 0.11333 | 25.0153 | 7.0559 | 0.095054 | 138.3911 | 20.2497 | 132.6141 | 20.5204 | 7.0736 | 67.7182 | 7.1264 | 74.4705 | 7.073 | 0.057778 | 66.6902 | 0.022929 | 0.31781 | 0.052562 | 332.4488 | 7.1034 | 0.00052575 | 3.8312e-06 | 8.4377e-07 | 1.0625 | 89351.443 | 95690.4373 | 83736.0531 | 95973.3946 | 15.6245 | 17.4379 | 14.1164 | 14.1764 | -1 | -1 | -1 | -1 | 16.7454 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.10074 | 1.0303 | 1.0606 | 89727.2292 | -1 | -1
|  | 5 | 7 | 40 | 11 | 4 | 0 | 0 | 0 | 7.0999 | 0 | BB | 337.7407 | 96.7187 | 0.05674 | 0.83057 | 0 |  | -1 | -1 | 7 | -1 | 1048 | 1092 | 7.03 | 7.2367 | 0.0066667 | 55 | -1 | 7.0493 | 0.11481 | 5.9004 | 7.05 | 0.11259 | 6.4644 | 7.0559 | 0.095104 | 121.4622 | 1.8165 | 115.7175 | 1.7122 | 7.0736 | 49.8652 | 7.1264 | 56.6551 | 7.073 | 0.057778 | 48.7635 | 0.023031 | 0.34081 | 0.14747 | 337.7407 | 7.1035 | 0.00053042 | 4.1633e-06 | 8.8552e-07 | 1.0556 | 89258.0444 | 95690.4373 | 83736.0531 | 95131.2402 | 13.4837 | 11.7095 | 12.7029 | 12.757 | -1 | -1 | -1 | -1 | 11.2408 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.10074 | 1.0303 | 1.0606 | 89727.2292 | -1 | -1
|  | 4 | 6 | 41 | 11 | 4 | 0 | 0 | 0 | 7.0999 | 0 | BB | 434.0695 | 124.2888 | 0.056745 | 0.83043 | 0 |  | -1 | -1 | 6 | -1 | 1048 | 1092 | 7.03 | 7.2413 | 0.0066667 | 55 | -1 | 7.0493 | 0.11481 | 16.0713 | 7.05 | 0.11259 | 16.7961 | 7.0559 | 0.095104 | 164.5794 | 10.7898 | 157.1683 | 10.7231 | 7.0736 | 72.5461 | 7.1264 | 81.3066 | 7.073 | 0.057778 | 71.1518 | 0.023044 | 0.3424 | 0.14937 | 434.0696 | 7.1035 | 0.00053101 | 4.1898e-06 | 8.8804e-07 | 1.0556 | 89258.712 | 95690.4373 | 83736.0531 | 95024.7265 | 15.4871 | 17.1072 | 14.0997 | 14.1597 | -1 | -1 | -1 | -1 | 16.6267 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0544 | 0.10074 | 1.0303 | 1.0606 | 89727.2292 | -1 | -1
|  | 1 | 4 | 34 | 11 | 4 | 0 | 0 | 0 | 7.0999 | 0 | BB | 330.395 | 95.0825 | 0.05654 | 0.84001 | 0 |  | -1 | -1 | 4 | -1 | 1049 | 1092 | 7.03 | 7.1958 | 0.0066667 | 54 | -1 | 7.05 | 0.11481 | 54.8244 | 7.0507 | 0.11259 | 55.3786 | 7.0559 | 0.094917 | 168.6073 | 50.1826 | 162.5997 | 51.3394 | 7.0736 | 97.8618 | 7.1263 | 104.8377 | 7.073 | 0.057778 | 96.9428 | 0.022633 | 0.25994 | -0.15164 | 330.4628 | 7.1032 | 0.00051224 | 3.0136e-06 | 7.4738e-07 | 1.0704 | 89610.819 | 95690.4373 | 83736.0531 | 98499.0149 | 13.8034 | 12.2781 | 13.2009 | 13.2571 | -1 | -1 | -1 | -1 | 12.4799 | 1.2185 | -1 | -1 | -1 | 7.1033 | 7.0552 | 0.10074 | 1.0462 | 1.0923 | 88512.8288 | -1 | -1
|  | 8 | 1 | 42 | 12 | 3 | 0 | 0 | 0 | 7.3723 | 0 | BB | 15.9342 | 5.8508 | 0.043773 | 0.91495 | 0 |  | -1 | -1 | 1 | -1 | 1093 | 1127 | 7.3233 | 7.4367 | 0.0066667 | 45 | -1 | 7.3276 | 0.087273 | 34.99 | 7.3288 | 0.085455 | 35.0237 | 7.3369 | 0.073123 | 42.1417 | 34.901 | 42.0599 | 34.5506 | 7.3537 | 38.3336 | 7.3938 | 37.7809 | 7.3494 | 0.046667 | 37.556 | 0.017037 | 0.15907 | -0.37366 | 15.9342 | 7.3738 | 0.00029025 | 7.8659e-07 | 2.2126e-07 | 1.0368 | 162534.2545 | 178286.2657 | 138175.5426 | 187330.2277 | 3.2377 | 3.3847 | 3.0451 | 3.0581 | -1 | -1 | -1 | -1 | 3.3787 | 1.0384 | -1 | -1 | -1 | 7.37 | 7.3336 | 0.077576 | 1.0667 | 1.1333 | 157918.93 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 16:19:28
ResNewDateTime | 02 September 2019 16:19:28
ResModBy | SYSTEM
ResModTime | 09/02/19 16:19:28
ResModDateTime | 02 September 2019 16:19:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10806.0528

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10806.0528

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6783.6289

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2283.5893

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 849.2336

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 483.937

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 488.2988

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.4702

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.7888

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10806.0528

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6783.6289

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2283.5893

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 849.2336

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 483.937

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 488.2988

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.4702

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.7888

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 12 | 0 | 8 | 0.34936 | 1558.9752 | 181.3143 | 0.12031 | 1.6048 | -18.3737 | 0.0033333 | 0 | 41.1439 | 0.52333 | 0 | -48.2974 | 1 | -172.0025 | 41.7172 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4564 | 1188.9683 | 51.7972 | 0.2798 | 4.2837 | 7.4144 | 0.80333 | 0 | -47.0481 | 1.5959 | -3.5527e-15 | 19.0447 | 1 | 83.3928 | -114.0403 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 1.9918 | 901.9286 | 161.4137 | 0.08319 | 0.55099 | 42.9027 | 1.6833 | 0 | 38.2891 | 2.2762 | 0 | 47.1569 | 1 | 14.9588 | 13.1085 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.6539 | 772.2 | 38.8038 | 0.33417 | 1.5167 | 49.7487 | 2.2833 | 0 | 47.1992 | 2.852 | 10.6947 | 51.1116 | 1 | 6.8797 | 31.4907 | 0 | 0 | 0
DateTime |  | 32 | 8 | 3.0859 | 1037.3683 | 52.5253 | 0.33642 | 0.78393 | 52.7203 | 2.852 | 10.6947 | 51.1116 | 3.4033 | 0 | 54.9045 | 1 | 6.8797 | 31.4907 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 3.601 | 458.855 | 38.9571 | 0.19542 | 0.9829 | 53.7751 | 3.4051 | -7.1054e-15 | 54.9179 | 3.81 | -7.1054e-15 | 52.5565 | 1 | -5.832 | 74.7763 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 4.0398 | 700.1092 | 48.8137 | 0.22933 | 0.79527 | 53.3539 | 3.8105 | 0 | 52.5606 | 4.3315 | -7.1054e-15 | 54.3631 | 1 | 3.4599 | 39.3767 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 4.5576 | 452.6214 | 30.5758 | 0.2487 | 0.72167 | 55.762 | 4.3367 | 0 | 54.378 | 4.8462 | 0 | 57.5695 | 1 | 6.2638 | 27.2138 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 5.0798 | 15.7489 | 5.7576 | 0.045912 | 0.64201 | 62.2717 | 5.0433 | 0 | 64.7874 | 5.1367 | 0 | 58.3515 | 1 | -68.9558 | 412.5543 | 0 | 0 | 0
|  | 0 | 8 | 5.8265 | 2013.3997 | 581.9777 | 0.052362 | 0.81072 | 55.2851 | 5.7433 | 0 | 55.5353 | 6.03 | 0 | 54.6727 | 1 | -3.0091 | 72.8174 | 0 | 0 | 0
|  | 0 | 8 | 7.0997 | 1689.9441 | 483.3513 | 0.05679 | 0.82846 | 41.8998 | 7.03 | 0 | 45.011 | 7.23 | 0 | 36.0856 | 1 | -44.6272 | 358.7402 | 0 | 0 | 0
|  | 0 | 8 | 7.3723 | 15.9342 | 5.8508 | 0.043773 | 0.91495 | 34.7313 | 7.3233 | -7.1054e-15 | 34.966 | 7.4367 | -7.1054e-15 | 34.4229 | 1 | -4.7922 | 70.061 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 9 | 0 | 8 | 0.34218 | 1584.0264 | 154.8501 | 0.13934 | 2.0537 | 38.701 | 0.0033333 | 0 | 121.0413 | 0.51 | -1.4211e-14 | -2.079 | 1 | -243.0006 | 121.8513 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4564 | 739.0252 | 35.437 | 0.2553 | 3.787 | 16.0936 | 0.83667 | 0 | -14.7715 | 1.5967 | 0 | 23.0803 | 1 | 49.805 | -56.4417 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 1.9918 | 601.6713 | 108.4146 | 0.082747 | 0.53222 | 39.9696 | 1.7167 | 0 | 37.1161 | 2.276 | 0 | 42.9171 | 1 | 10.3713 | 19.312 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.6614 | 508.6326 | 26.0969 | 0.32939 | 1.6761 | 47.9336 | 2.2833 | 0 | 42.9478 | 2.8505 | 6.0814 | 50.4272 | 1 | 13.1878 | 12.8357 | 0 | 0 | 0
DateTime |  | 34 | 8 | 3.1003 | 741.5169 | 36.6659 | 0.34394 | 0.82416 | 53.7212 | 2.8505 | 6.0814 | 50.4272 | 3.404 | 1.8815 | 57.7271 | 1 | 13.1878 | 12.8357 | 0 | 0 | 0
IntegStart | 0 | 32 | 8 | 3.6085 | 357.9616 | 29.2021 | 0.20101 | 1.1205 | 60.4243 | 3.404 | 1.8815 | 57.7271 | 3.8104 | 0 | 63.087 | 1 | 13.1878 | 12.8357 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 4.0547 | 536.4692 | 36.6262 | 0.23488 | 0.86758 | 68.1243 | 3.8167 | 0 | 63.127 | 4.3308 | 0 | 73.9232 | 1 | 20.9975 | -17.0132 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.8265 | 634.1904 | 177.0884 | 0.053781 | 0.74652 | 94.2058 | 5.75 | 0 | 93.8978 | 5.9729 | 0 | 94.795 | 1 | 4.0252 | 70.7531 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 7.0998 | 1080.1354 | 309.5933 | 0.056704 | 0.83179 | 100.8911 | 7.03 | 0 | 101.6784 | 7.23 | 0 | 99.421 | 1 | -11.2867 | 181.0241 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32737 | 929.3367 | 91.6686 | 0.13028 | 1.9433 | 54.3132 | 0.043333 | 0 | 115.7484 | 0.49 | 0 | 19.1364 | 1 | -216.2955 | 125.1212 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4564 | 87.905 | 10.8875 | 0.1062 | 0.71862 | 17.6227 | 1.29 | 3.5527e-15 | 19.3372 | 1.5967 | 3.5527e-15 | 16.1772 | 1 | -10.3043 | 32.6298 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 1.9918 | 311.1282 | 57.776 | 0.080826 | 0.53519 | 23.452 | 1.7167 | 0 | 22.1052 | 2.2769 | 0 | 24.8479 | 1 | 4.8954 | 13.7014 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.8266 | 430.3647 | 122.299 | 0.053054 | 0.774 | 73.0992 | 5.75 | 0 | 72.6237 | 5.9642 | 0 | 73.954 | 1 | 6.2099 | 36.9168 | 0 | 0 | 0
DateTime |  | 0 | 8 | 7.0998 | 524.8546 | 150.9825 | 0.056556 | 0.83908 | 88.3533 | 7.03 | 0 | 87.4047 | 7.197 | 0 | 89.6731 | 1 | 13.5826 | -8.0808 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32375 | 194.5381 | 35.7281 | 0.075525 | 1.3124 | 46.5107 | 0.19 | 0 | 68.0308 | 0.44333 | 0 | 27.2689 | 1 | -160.9024 | 98.6023 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.9917 | 157.7228 | 31.1915 | 0.076994 | 0.55111 | 19.8855 | 1.7167 | 0 | 19.4521 | 2.2858 | 0 | 20.3489 | 1 | 1.5758 | 16.747 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.8266 | 166.5777 | 45.5918 | 0.054626 | 0.71647 | 41.5092 | 5.75 | 0 | 41.2388 | 5.9615 | 0 | 41.9857 | 1 | 3.5309 | 20.9359 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.0999 | 330.395 | 95.0825 | 0.05654 | 0.84001 | 50.7182 | 7.03 | 0 | 49.8667 | 7.1958 | 0 | 51.8874 | 1 | 12.1868 | -35.8065 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32666 | 64.8119 | 18.1507 | 0.053659 | 1.2674 | 20.3251 | 0.21 | 0 | 26.2685 | 0.41667 | 3.5527e-15 | 15.7394 | 1 | -50.947 | 36.9673 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.9916 | 74.7799 | 15.1133 | 0.075726 | 0.55089 | 13.368 | 1.75 | 0 | 13.2608 | 2.3253 | 0 | 13.5161 | 1 | 0.44366 | 12.4844 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.8266 | 11.9314 | 4.7142 | 0.039528 | 1.4428 | 20.5782 | 5.7767 | 0 | 18.3296 | 5.8634 | 1.7764e-14 | 22.2351 | 1 | 45.0446 | -241.878 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.0999 | 332.4138 | 95.3111 | 0.056689 | 0.83295 | 20.3749 | 7.03 | 0 | 20.1759 | 7.2282 | 0 | 20.7403 | 1 | 2.8475 | 0.15791 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.33072 | 41.8831 | 14.1704 | 0.046483 | 1.2033 | 11.0047 | 0.19667 | 0 | 12.4502 | 0.41667 | 0 | 10.078 | 1 | -10.783 | 14.5709 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.8266 | 12.3463 | 4.7965 | 0.04003 | 1.3223 | 13.0772 | 5.7767 | 0 | 11.0717 | 5.8657 | 5.3291e-15 | 14.6505 | 1 | 40.1936 | -221.1136 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.0999 | 434.0695 | 124.2888 | 0.056745 | 0.83043 | 10.759 | 7.03 | 0 | 10.808 | 7.2413 | -1.7764e-15 | 10.6597 | 1 | -0.70171 | 15.741 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.33126 | 36.9829 | 12.8367 | 0.045612 | 1.1727 | 2.0432 | 0.19 | 0 | 2.8706 | 0.42333 | 0 | 1.5039 | 1 | -5.8569 | 3.9834 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.8266 | 31.7466 | 7.5243 | 0.061224 | 0.54618 | 2.071 | 5.7367 | 0 | 2.0428 | 5.966 | 0 | 2.1147 | 1 | 0.31352 | 0.24418 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.0999 | 337.7407 | 96.7187 | 0.05674 | 0.83057 | 1.7683 | 7.03 | 0 | 1.8449 | 7.2367 | 0 | 1.6184 | 1 | -1.096 | 9.5495 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.33164 | 36.5543 | 12.6624 | 0.04568 | 1.1725 | 5.48 | 0.19 | 0 | 6.2432 | 0.43 | 0 | 4.95 | 1 | -5.3883 | 7.267 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 7.0998 | 103.2345 | 29.6403 | 0.056634 | 0.83251 | 5.1343 | 7.0367 | -1.7764e-15 | 5.2371 | 7.23 | -1.7764e-15 | 4.9224 | 1 | -1.6278 | 16.6916 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2