## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567446232
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 53
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 53
Vial | 53
SampleLocation | 53
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 18:43:52
SampleName | CS-135_0053
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.873
StopPressure | 61.928
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 8.6089
DAD1UVBurnTime | 155.2756
DAD1VisOnTime | 8.6083
DAD1VisBurnTime | 140.7867
StartLeftTemp | 39.997
StopLeftTemp | 40.002
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 12 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 20 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 24 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup | 34 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ControlLimits_ | ControlLimits | 42 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 9574.3777 | 1455.6809 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 5106.7394 | 745.4105 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 2136.6188 | 384.6082 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 789.7054 | 174.9795 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 507.2693 | 106.3451 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 514.9475 | 107.6288 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 411.4336 | 87.4221 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0053.D | 144.09 | 32.9538 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 43 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32002 | 0 | BB | 142.931 | 31.1985 | 0.065449 | 1.0597 | 0 |  | -1 | -1 | 4 | -1 | 28 | 78 | 0.22 | 0.43333 | 0.0066667 | 61 | -1 | 0.22 | 0.14333 | 51.559 | 0.22 | 0.14333 | 51.7402 | 0.27316 | 0.09589 | 83.6369 | 58.869 | 95.1196 | 41.1837 | 0.30941 | 78.0283 | 0.34955 | 62.6339 | 0.22 | 0.1275 | 65.3296 | 0.034919 | -0.1402 | -0.081311 | 142.931 | 0.31655 | 0.0012193 | -5.9691e-06 | 4.3393e-06 | 0.71667 | 178.1874 | 124.6079 | 34.8971 | 82.1799 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32 | 0.22 | 0.14167 | 0.70833 | 0.41667 | 58.2918 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32293 | 0 | BB | 810.4789 | 85.6112 | 0.12245 | 1.7273 | 0 |  | -1 | -1 | 3 | -1 | 11 | 105 | 0.073333 | 0.48667 | 0.0066667 | 105 | -1 | 0.073333 | 0.33067 | 60.6683 | 0.073333 | 0.33067 | 61.1828 | 0.2356 | 0.16854 | 147.4759 | 77.9021 | 163.3654 | 39.0217 | 0.30745 | 135.1394 | 0.35221 | 118.5304 | 0.073333 | 0.29333 | 99.7713 | 0.075237 | -0.43852 | -0.35792 | 810.4789 | 0.28916 | 0.0056606 | -0.00018676 | 8.4658e-05 | 0.65263 | 60.1055 | 24.3988 | 6.8706 | 14.7712 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.073333 | 0.32533 | 0.64211 | 0.28421 | 8.8167 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32307 | 0 | BB | 63.1508 | 17.7093 | 0.053603 | 1.2767 | 0 |  | -1 | -1 | 5 | -1 | 31 | 74 | 0.20667 | 0.41333 | 0.0066667 | 54 | -1 | 0.20667 | 0.1563 | 21.5287 | 0.20667 | 0.1563 | 21.6331 | 0.28861 | 0.072855 | 41.5433 | 22.6562 | 48.1901 | 19.0324 | 0.30982 | 34.2835 | 0.34995 | 27.7771 | 0.2963 | 0.051111 | 29.4631 | 0.031381 | -0.82588 | 0.51104 | 63.1508 | 0.31372 | 0.00098475 | -2.5522e-05 | 3.4048e-06 | 0.65123 | 321.6671 | 109.2074 | 226.3022 | 99.9476 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.20667 | 0.15407 | 0.64198 | 0.28395 | 39.2835 | -1 | -1
Modified | 1 | 32 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32705 | 0 | BB | 41.6409 | 13.9569 | 0.046808 | 1.2155 | 0 |  | -1 | -1 | 6 | -1 | 29 | 71 | 0.19333 | 0.41333 | 0.0066667 | 53 | -1 | 0.19333 | 0.17259 | 12.2578 | 0.19333 | 0.17185 | 12.3406 | 0.2952 | 0.065569 | 30.0562 | 11.9845 | 32.7039 | 11.2894 | 0.3099 | 20.3219 | 0.34991 | 18.1865 | 0.30519 | 0.044444 | 18.5474 | 0.027765 | -1.4612 | 2.6698 | 41.6409 | 0.31959 | 0.00077088 | -3.1275e-05 | 3.3694e-06 | 0.64444 | 397.1264 | 89.5582 | 299.2847 | 132.4961 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.19333 | 0.16963 | 0.63611 | 0.27222 | 31.4102 | -1 | -1
NextPeakSignal_ | Peak | 31 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32763 | 0 | BB | 37.023 | 12.6902 | 0.046037 | 1.1915 | 0 |  | -1 | -1 | 7 | -1 | 28 | 71 | 0.18667 | 0.42 | 0.0066667 | 54 | -1 | 0.18667 | 0.18 | 3.1887 | 0.18667 | 0.17926 | 3.2639 | 0.29585 | 0.065038 | 19.6393 | 2.8171 | 21.598 | 2.4384 | 0.30992 | 10.2641 | 0.34993 | 8.7489 | 0.30593 | 0.044444 | 8.8998 | 0.027339 | -1.5733 | 3.4285 | 37.023 | 0.32081 | 0.0007474 | -3.2148e-05 | 3.5911e-06 | 0.64021 | 403.6408 | 82.3388 | 299.2846 | 137.7026 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.25926 | 0.10444 | 0.77473 | 0.54945 | 132.873 | -1 | -1
Signal_ | Signal | 36 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.328 | 0 | BB | 36.6507 | 12.5469 | 0.046079 | 1.1922 | 0 |  | -1 | -1 | 8 | -1 | 28 | 71 | 0.18667 | 0.42667 | 0.0066667 | 54 | -1 | 0.18667 | 0.18074 | 6.5434 | 0.18667 | 0.18 | 6.6176 | 0.29594 | 0.065452 | 22.8356 | 6.1643 | 24.665 | 5.8137 | 0.30994 | 13.4456 | 0.35006 | 12.2118 | 0.30593 | 0.044444 | 12.178 | 0.027218 | -1.5585 | 3.481 | 36.6507 | 0.32134 | 0.00074082 | -3.1426e-05 | 3.5569e-06 | 0.64286 | 398.5561 | 81.6653 | 299.2846 | 139.389 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.26296 | 0.10148 | 0.79651 | 0.59302 | 147.1551 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33779 | 0 | BB | 1528.6814 | 147.42 | 0.14098 | 1.9942 | 0 |  | -1 | -1 | 2 | -1 | 1 | 115 | 0.0066667 | 0.50667 | 0.0066667 | 120 | -1 | 0.033333 | 0.395 | 47.506 | 0.033333 | 0.395 | 48.3742 | 0.2458 | 0.18827 | 202.0781 | 62.5773 | 206.2208 | 16.4702 | 0.3122 | 163.2724 | 0.37885 | 125.2999 | 0.033333 | 0.35167 | 113.4869 | 0.092566 | -0.63161 | -0.20326 | 1528.6814 | 0.28768 | 0.0085685 | -0.00050096 | 0.00020533 | 0.65833 | 50.1567 | 17.8034 | 4.9774 | 9.6586 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.033333 | 0.38833 | 0.64722 | 0.29444 | 6.6128 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34525 | 0 | BB | 1513.3107 | 171.9642 | 0.12267 | 1.5738 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0066667 | 0.52 | 0.0066667 | 113 | -1 | 0.033333 | 0.41167 | -9.8444 | 0.033333 | 0.41167 | -8.8245 | 0.27193 | 0.16684 | 176.9673 | -4.2082 | 175.6543 | -33.4856 | 0.31743 | 108.2327 | 0.38076 | 96.2362 | 0.295 | 0.098333 | 67.6698 | 0.089759 | -0.85043 | 0.31143 | 1513.3106 | 0.30832 | 0.0080567 | -0.00061499 | 0.00021495 | 0.65691 | 69.0816 | 17.7285 | 68.8545 | 11.7988 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34667 | 0.033333 | 0.40333 | 0.64362 | 0.28723 | 6.5108 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4651 | 0 | BB | 80.1381 | 10.4458 | 0.1015 | 0.58467 | 0 |  | -1 | -1 | 3 | -1 | 189 | 266 | 1.3067 | 1.613 | 0.0066667 | 88 | -1 | 1.3067 | 0.28889 | 17.3825 | 1.3067 | 0.28889 | 17.4441 | 1.4103 | 0.19438 | 29.146 | 17.5463 | 42.9756 | 15.4243 | 1.4422 | 24.3006 | 1.589 | 18.5072 | 1.4289 | 0.10889 | 22.066 | 0.059861 | -0.23071 | -0.42331 | 80.2264 | 1.4849 | 0.0035833 | -4.9486e-05 | 3.3084e-05 | 0.90278 | 910.8931 | 644.3785 | 1005.0912 | 615.3376 | 6.2942 | 4.6088 | 3.3365 | 3.3507 | -1 | -1 | -1 | -1 | 4.4255 | 4.5369 | -1 | -1 | -1 | 1.4667 | 1.3067 | 0.28556 | 0.89236 | 0.78472 | 435.7829 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4651 | 0 | BB | 769.6295 | 34.6125 | 0.27142 | 3.9975 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.84 | 1.6092 | 0.0066667 | 127 | -1 | 1.115 | 0.49417 | 15.5058 | 1.1167 | 0.49251 | 15.7104 | 1.3758 | 0.22563 | 52.4994 | 9.5057 | 81.3824 | 20.6803 | 1.4421 | 41.3923 | 1.5849 | 28.0358 | 1.37 | 0.20833 | 31.0563 | 0.17125 | -0.23394 | -0.96729 | 768.2163 | 1.2958 | 0.029325 | -0.0011748 | 0.0017481 | 0.70358 | 676.0957 | 220.2127 | 274.5713 | 57.2554 | 5.4476 | 3.1697 | 2.3654 | 2.3755 | -1 | -1 | -1 | -1 | 1.9106 | 4.3374 | -1 | -1 | -1 | 1.4667 | 1.135 | 0.47417 | 0.71484 | 0.42967 | 111.5219 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4652 | 0 | BB | 1230.4557 | 50.6813 | 0.29525 | 4.4521 | 0 |  | -1 | -1 | 1 | -1 | 122 | 242 | 0.81333 | 1.6082 | 0.0066667 | 131 | -1 | 1.1133 | 0.49487 | 6.9126 | 1.115 | 0.49321 | 7.2123 | 1.3701 | 0.23062 | 60.8185 | -3.2655 | 102.4304 | 15.785 | 1.4421 | 45.2555 | 1.584 | 26.4346 | 1.3583 | 0.22167 | 29.6928 | 0.17632 | -0.20129 | -0.96453 | 1230.3272 | 1.2813 | 0.031089 | -0.0011034 | 0.0019674 | 0.70124 | 647.1028 | 219.5905 | 242.5336 | 52.8049 | 5.6356 | 3.0886 | 4.1124 | 4.1299 | -1 | -1 | -1 | -1 | 1.8283 | 4.2439 | -1 | -1 | -1 | 1.4667 | 1.1317 | 0.47654 | 0.71125 | 0.42251 | 109.2127 | -1 | -1
|  | 33 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0853 | 0 | BB | 71.5957 | 14.2371 | 0.07867 | 0.54251 | 0 |  | -1 | -1 | 5 | -1 | 289 | 354 | 1.9267 | 2.3527 | 0.0066667 | 76 | -1 | 2.03 | 0.17556 | 14.7895 | 2.0311 | 0.17 | 14.8742 | 2.0367 | 0.13581 | 32.4499 | 14.1361 | 29.9392 | 14.2229 | 2.0567 | 21.6602 | 2.1209 | 23.5198 | 2.0544 | 0.08 | 21.2297 | 0.038975 | 1.1563 | 2.8368 | 71.6023 | 2.1031 | 0.001519 | 6.8455e-05 | 1.3468e-05 | 1.53 | 3776.9131 | 3531.97 | 3769.0851 | 2911.7666 | 16.8906 | 13.2761 | 15.7933 | 15.8605 | -1 | -1 | -1 | -1 | 12.7167 | 6.4548 | -1 | -1 | -1 | 2.0867 | 2.0356 | 0.14778 | 1.4457 | 1.8913 | 2646.7562 | -1 | -1
|  | 30 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0855 | 0 | BB | 146.8471 | 28.9005 | 0.07928 | 0.54686 | 0 |  | -1 | -1 | 4 | -1 | 288 | 349 | 1.92 | 2.3028 | 0.0066667 | 72 | -1 | 2.0295 | 0.18381 | 22.1394 | 2.0305 | 0.17714 | 22.3115 | 2.0365 | 0.13718 | 58.0261 | 20.7624 | 52.862 | 21.0774 | 2.0567 | 36.1237 | 2.1221 | 39.6455 | 2.0552 | 0.08 | 35.2161 | 0.037843 | 0.79976 | 1.242 | 146.7751 | 2.1026 | 0.0014321 | 4.3344e-05 | 8.7002e-06 | 1.5763 | 3702.1678 | 3221.8858 | 3769.0851 | 3087.0773 | 15.1496 | 13.4914 | 9.9971 | 10.0396 | -1 | -1 | -1 | -1 | 12.2735 | 6.5167 | -1 | -1 | -1 | 2.0867 | 2.0352 | 0.15048 | 1.463 | 1.9259 | 2524.854 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0857 | 0 | BB | 800.2507 | 148.9262 | 0.08269 | 0.5481 | 0 |  | -1 | -1 | 1 | -1 | 264 | 346 | 1.76 | 2.297 | 0.0066667 | 93 | -1 | 2.028 | 0.21867 | 53.9567 | 2.0293 | 0.208 | 54.8438 | 2.0355 | 0.14175 | 237.7853 | 46.4064 | 211.6134 | 49.2994 | 2.0566 | 126.9958 | 2.1211 | 148.7879 | 2.0547 | 0.082667 | 121.3802 | 0.044526 | -0.067467 | 4.533 | 801.2772 | 2.1033 | 0.0019825 | -5.9555e-06 | 2.9608e-05 | 1.814 | 3467.2775 | 2276.5699 | 3529.8404 | 2231.5016 | 3.3324 | 2.1739 | 2.3955 | 2.4057 | -1 | -1 | -1 | -1 | 1.8612 | 1.4235 | -1 | -1 | -1 | 2.0867 | 2.0347 | 0.16267 | 1.5641 | 2.1282 | 2031.2298 | -1 | -1
|  | 28 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0857 | 0 | BB | 280.4847 | 53.2209 | 0.081486 | 0.53991 | 0 |  | -1 | -1 | 3 | -1 | 287 | 351 | 1.9133 | 2.2965 | 0.0066667 | 75 | -1 | 2.0289 | 0.21222 | 27.2055 | 2.03 | 0.20111 | 27.5225 | 2.0359 | 0.14034 | 93.26 | 24.5161 | 83.6073 | 25.5254 | 2.0566 | 53.1234 | 2.1223 | 60.1525 | 2.0544 | 0.082222 | 51.2963 | 0.04039 | 0.7427 | 1.2009 | 280.2221 | 2.104 | 0.0016313 | 4.8935e-05 | 1.1179e-05 | 1.7745 | 3537.4608 | 2416.9321 | 3568.104 | 2713.6526 | 3.7081 | 3.096 | 3.8155 | 3.8318 | -1 | -1 | -1 | -1 | 3.0878 | 1.4236 | -1 | -1 | -1 | 2.0867 | 2.0344 | 0.16 | 1.5319 | 2.0638 | 2140.2872 | -1 | -1
|  | 19 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0857 | 0 | BB | 536.5718 | 100.1318 | 0.082518 | 0.53778 | 0 |  | -1 | -1 | 2 | -1 | 285 | 351 | 1.9 | 2.2962 | 0.0066667 | 77 | -1 | 2.0278 | 0.22333 | 47.1213 | 2.0289 | 0.21222 | 47.7178 | 2.0356 | 0.14182 | 171.2925 | 41.9788 | 153.1109 | 44.1137 | 2.0566 | 96.0309 | 2.1223 | 109.7084 | 2.0544 | 0.083333 | 92.4557 | 0.041558 | 0.70647 | 1.1957 | 536.0851 | 2.1045 | 0.001727 | 5.0705e-05 | 1.2515e-05 | 1.8365 | 3463.61 | 2182.4237 | 3473.5889 | 2564.5014 | 3.3778 | 2.1623 | 2.5 | 2.5107 | -1 | -1 | -1 | -1 | 1.9002 | 1.4236 | -1 | -1 | -1 | 2.0867 | 2.0344 | 0.16444 | 1.5745 | 2.1489 | 1975.4261 | -1 | -1
|  | 18 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 2.7563 | 0 | BV | 1489.468 | 40.8238 | 0.54566 | 0.83404 | 0 |  | -1 | -1 | 1 | -1 | 345 | 483 | 2.3 | 3.2164 | 0.0066667 | 149 | -1 | 2.3667 | 0.84971 | 56.7041 | 2.3689 | 0.84749 | 56.9492 | 2.347 | 0.84106 | 125.4411 | 52.0695 | 166.4089 | 57.9432 | 2.4337 | 67.6023 | 3.1288 | 72.8469 | 2.4778 | 0.64222 | 75.3287 | 0.19586 | -0.039942 | -0.93563 | 1471.4569 | 2.7808 | 0.038362 | -0.00030011 | 0.003038 | 1.1022 | 171.4693 | 262.4915 | 101.8255 | 201.5733 | 1.3648 | 1.5693 | 1.0871 | 1.0917 | -1 | -1 | -1 | -1 | 1.4091 | 1.3215 | -1 | 64.1965 | 64.1965 | 2.7533 | 2.3822 | 0.82444 | 1.1108 | 1.2216 | 188.1743 | -1 | -1
|  | 20 | 1 | 19 | 5 | 3 | 0 | 0 | 0 | 3.3773 | 0 | VV | 237.0981 | 24.483 | 0.15698 | 1.0287 | 0 |  | -1 | -1 | 1 | -1 | 482 | 528 | 3.2164 | 3.512 | 0.0066667 | 57 | -1 | 3.2422 | 0.2698 | 60.3589 | 3.243 | 0.26906 | 60.5055 | 3.2435 | 0.26319 | 90.4225 | 58.3299 | 89.4064 | 60.1679 | 3.297 | 71.1567 | 3.4437 | 74.4052 | 3.2978 | 0.15926 | 71.5038 | 0.053221 | -0.037494 | -0.60085 | 193.4588 | 3.3737 | 0.0028325 | -5.6521e-06 | 1.9248e-05 | 0.9817 | 2638.8292 | 3923.6423 | 2495.3633 | 4018.4531 | 1.1248 | 1.3868 | 0.91043 | 0.9143 | -1 | -1 | -1 | -1 | 1.1903 | 1.2253 | 38.5002 | 5.7256 | 5.7256 | 3.38 | 3.2519 | 0.26017 | 1.0151 | 1.0302 | 3086.5601 | -1 | -1
|  | 21 | 2 | 18 | 5 | 4 | 0 | 0 | 0 | 3.3817 | 0 | BV | 158.9186 | 16.7989 | 0.15437 | 1.1013 | 0 |  | -1 | -1 | 2 | -1 | 461 | 527 | 3.22 | 3.5097 | 0.0066667 | 77 | -1 | 3.2589 | 0.25083 | 62.769 | 3.26 | 0.24972 | 62.8699 | 3.2476 | 0.25789 | 84.0691 | 59.9872 | 82.3416 | 63.9641 | 3.2982 | 69.0708 | 3.445 | 72.9382 | 3.3056 | 0.15778 | 70.4372 | 0.052838 | -0.055616 | -0.60453 | 134.4349 | 3.3712 | 0.0027919 | -8.2044e-06 | 1.8672e-05 | 1.0405 | 2748.5111 | 4539.6792 | 2542.4446 | 4070.8008 | 6.4847 | 6.8331 | 6.3157 | 6.3426 | -1 | -1 | -1 | -1 | 6.7095 | 1.6214 | -1 | 6.1213 | 6.1213 | 3.38 | 3.2656 | 0.24416 | 1.0667 | 1.1334 | 3352.8608 | -1 | -1
|  | 22 | 1 | 21 | 6 | 3 | 0 | 0 | 0 | 3.6682 | 0 | VB | 318.9055 | 31.418 | 0.16642 | 1.086 | 0 |  | -1 | -1 | 1 | -1 | 527 | 576 | 3.512 | 3.833 | 0.0066667 | 60 | -1 | 3.512 | 0.31214 | 62.6677 | 3.512 | 0.30798 | 62.8562 | 3.5255 | 0.27667 | 100.203 | 60.2998 | 101.05 | 62.232 | 3.5905 | 78.4744 | 3.7504 | 77.2499 | 3.585 | 0.16667 | 76.9929 | 0.057508 | 0.0085205 | -0.58353 | 277.811 | 3.6688 | 0.0033071 | 1.6205e-06 | 2.6429e-05 | 0.99576 | 2810.2414 | 3449.6239 | 2681.36 | 4070.0829 | 1.0777 | 1.2497 | 1.0488 | 1.0532 | -1 | -1 | -1 | -1 | 1.3325 | 1.0861 | 7.3475 | -1 | 7.3475 | 3.6667 | 3.512 | 0.29298 | 0.94726 | 0.89453 | 2758.3172 | -1 | -1
|  | 23 | 2 | 20 | 6 | 4 | 0 | 0 | 0 | 3.6747 | 0 | VV | 240.74 | 23.095 | 0.16961 | 1.0987 | 0 |  | -1 | -1 | 2 | -1 | 526 | 576 | 3.5097 | 3.831 | 0.0066667 | 61 | -1 | 3.53 | 0.30096 | 67.5695 | 3.5317 | 0.29929 | 67.7081 | 3.5288 | 0.28177 | 95.8516 | 64.3237 | 95.0114 | 68.6689 | 3.5958 | 78.8144 | 3.7559 | 79.2725 | 3.5925 | 0.17 | 78.1073 | 0.057572 | 0.0083356 | -0.58744 | 200.3385 | 3.6757 | 0.0033146 | 1.5906e-06 | 2.6505e-05 | 1.0563 | 2719.305 | 3724.4041 | 2586.6198 | 4076.1659 | 1.0856 | 1.3272 | 1.0501 | 1.0546 | -1 | -1 | -1 | -1 | 1.3788 | 1.0866 | 8.4155 | 15.881 | 8.4155 | 3.6733 | 3.5425 | 0.28846 | 1.1024 | 1.2048 | 2754.8114 | -1 | -1
|  | 24 | 1 | 23 | 7 | 3 | 0 | 0 | 0 | 3.9547 | 0 | BB | 93.7221 | 12.0371 | 0.13084 | 0.94372 | 0 |  | -1 | -1 | 1 | -1 | 575 | 614 | 3.8333 | 4.084 | 0.0066667 | 50 | -1 | 3.8453 | 0.22 | 62.7995 | 3.846 | 0.218 | 62.8716 | 3.8529 | 0.20927 | 78.2414 | 62.4146 | 78.4122 | 62.1136 | 3.8901 | 68.1893 | 4.0232 | 68.0337 | 3.8907 | 0.13133 | 68.2847 | 0.046169 | 0.018136 | -0.63938 | 93.7467 | 3.9569 | 0.0021315 | 1.7848e-06 | 1.0725e-05 | 1.0155 | 5710.0749 | 8072.7502 | 5019.8033 | 7345.3474 | 1.1791 | 1.3459 | 1.1296 | 1.1344 | -1 | -1 | -1 | -1 | 1.3892 | 1.0781 | -1 | -1 | -1 | 3.9533 | 3.854 | 0.20333 | 1.0235 | 1.047 | 6862.5982 | -1 | -1
|  | 26 | 2 | 22 | 7 | 4 | 0 | 0 | 0 | 3.9613 | 0 | VB | 80.0566 | 9.5635 | 0.13766 | 1.2555 | 0 |  | -1 | -1 | 2 | -1 | 575 | 657 | 3.831 | 4.0819 | 0.0066667 | 93 | -1 | 3.8547 | 0.22721 | 71.3949 | 3.856 | 0.22587 | 71.4524 | 3.8422 | 0.22242 | 83.9841 | 69.1568 | 83.0888 | 72.5867 | 3.8915 | 75.2961 | 4.0265 | 76.4601 | 3.8947 | 0.14 | 75.7631 | 0.046145 | 0.0092004 | -0.64269 | 69.2667 | 3.956 | 0.0021294 | 9.0402e-07 | 1.0688e-05 | 1.0859 | 5071.8548 | 7594.3349 | 4432.4522 | 7349.4564 | 1.1371 | 1.3568 | 1.0865 | 1.0911 | -1 | -1 | -1 | -1 | 1.3511 | 1.078 | 6.5762 | -1 | 6.5762 | 3.96 | 3.8613 | 0.22054 | 1.1176 | 1.2352 | 5409.9358 | -1 | -1
|  | 25 | 1 | 24 | 8 | 3 | 0 | 0 | 0 | 4.2059 | 0 | BB | 89.6925 | 11.4804 | 0.12715 | 0.9265 | 0 |  | -1 | -1 | 1 | -1 | 613 | 689 | 4.0867 | 4.34 | 0.0066667 | 87 | -1 | 4.1111 | 0.22889 | 63.5971 | 4.1111 | 0.22889 | 63.666 | 4.1067 | 0.21426 | 78.7379 | 62.2451 | 76.886 | 64.0615 | 4.1424 | 68.178 | 4.2648 | 70.3272 | 4.1456 | 0.13333 | 68.8274 | 0.047099 | 0.10462 | -0.6054 | 89.6925 | 4.2098 | 0.0022183 | 1.093e-05 | 1.1784e-05 | 1.1977 | 6167.85 | 8444.3497 | 5514.5298 | 7989.1766 | 1.1863 | 1.3991 | 1.1153 | 1.12 | -1 | -1 | -1 | -1 | 1.356 | 1.0635 | -1 | -1 | -1 | 4.2067 | 4.1156 | 0.22444 | 1.2317 | 1.4634 | 5398.5655 | -1 | -1
|  | 27 | 1 | 26 | 9 | 4 | 0 | 0 | 0 | 5.5325 | 0 | BB | 17.3161 | 5.5129 | 0.048645 | 0.68972 | 0 |  | -1 | -1 | 1 | -1 | 815 | 853 | 5.4867 | 5.6667 | 0.0066667 | 49 | -1 | 5.4867 | 0.086667 | 64.2305 | 5.4867 | 0.086 | 64.2627 | 5.4971 | 0.075939 | 70.9312 | 64.8077 | 70.9801 | 63.1015 | 5.5098 | 67.0062 | 5.55 | 67.5924 | 5.5073 | 0.048667 | 66.6808 | 0.025862 | 1.1315 | 1.6389 | 17.3161 | 5.5414 | 0.00066887 | 1.9573e-05 | 2.0754e-06 | 0.92143 | 84949.837 | 101908.3139 | 71617.6769 | 45908.7515 | 9.1427 | 10.5098 | 8.5644 | 8.6009 | -1 | -1 | -1 | -1 | 9.1251 | 1.3154 | -1 | -1 | -1 | 5.5333 | 5.4867 | 0.083333 | 0.89286 | 0.78571 | 72878.9494 | -1 | -1
|  | 29 | 2 | 25 | 9 | 3 | 0 | 0 | 0 | 5.5341 | 0 | BB | 20.2517 | 4.3706 | 0.066059 | 0.93914 | 0 |  | -1 | -1 | 2 | -1 | 810 | 861 | 5.4 | 5.7048 | 0.0066667 | 62 | -1 | 5.4208 | 0.25583 | 94.9994 | 5.4225 | 0.24917 | 95.025 | 5.4906 | 0.088381 | 100.2722 | 94.7834 | 99.964 | 94.8416 | 5.5105 | 97.2875 | 5.5509 | 98.0468 | 5.5067 | 0.055833 | 96.9461 | 0.047191 | 0.1373 | 0.60651 | 20.2677 | 5.5367 | 0.002227 | 1.443e-05 | 1.7887e-05 | 1.1241 | 62715.7854 | 11694.9782 | 54412.2041 | 13765.1079 | 10.1209 | 8.14 | 9.4367 | 9.4768 | -1 | -1 | -1 | -1 | 8.468 | 1.397 | -1 | -1 | -1 | 5.5333 | 5.4358 | 0.205 | 1.0513 | 1.1026 | 12913.9926 | -1 | -1
|  | 34 | 1 | 28 | 10 | 3 | 0 | 0 | 0 | 6.1514 | 0 | BB | 2003.5498 | 620.8795 | 0.049648 | 0.87366 | 0 |  | -1 | -1 | 1 | -1 | 908 | 978 | 6.0714 | 6.5133 | 0.0066667 | 81 | -1 | 6.1022 | 0.10889 | 82.8395 | 6.1033 | 0.10667 | 86.4602 | 6.1105 | 0.084996 | 828.592 | 56.8223 | 797.9731 | 55.7622 | 6.1292 | 409.9687 | 6.1719 | 453.615 | 6.1256 | 0.053333 | 358.0127 | 0.024158 | 2.0082 | 17.9016 | 2003.3188 | 6.1525 | 0.00058361 | 2.8313e-05 | 7.1191e-06 | 1.0667 | 83858.6049 | 79835.0791 | 73745.1041 | 64860.8915 | 7.6916 | 7.9123 | 7.1297 | 7.16 | -1 | -1 | -1 | -1 | 6.1089 | 1.1119 | -1 | -1 | -1 | 6.1533 | 6.1078 | 0.094444 | 1.0366 | 1.0732 | 76194.3869 | -1 | -1
|  | 38 | 3 | 29 | 10 | 4 | 0 | 0 | 0 | 6.1519 | 0 | BB | 425.7188 | 132.0653 | 0.049608 | 0.88594 | 0 |  | -1 | -1 | 3 | -1 | 908 | 946 | 6.0667 | 6.2536 | 0.0066667 | 49 | -1 | 6.1033 | 0.11067 | 83.0895 | 6.104 | 0.108 | 83.8608 | 6.111 | 0.084828 | 243.3132 | 76.7414 | 234.5969 | 78.1293 | 6.1302 | 154.9163 | 6.1699 | 170.3146 | 6.126 | 0.053333 | 141.7074 | 0.021655 | 0.30863 | 0.1718 | 425.697 | 6.1542 | 0.00046893 | 3.134e-06 | 6.9745e-07 | 1.0946 | 84189.5472 | 77290.6989 | 73745.1041 | 80768.2785 | 36.1178 | 31.483 | 35.246 | 35.396 | -1 | -1 | -1 | -1 | 32.6397 | 2.9496 | -1 | -1 | -1 | 6.1533 | 6.1087 | 0.094667 | 1.0597 | 1.1194 | 74357.3386 | -1 | -1
|  | 35 | 2 | 30 | 10 | 4 | 0 | 0 | 0 | 6.152 | 0 | BB | 626.798 | 192.5134 | 0.049985 | 0.87747 | 0 |  | -1 | -1 | 2 | -1 | 908 | 946 | 6.0533 | 6.2678 | 0.0066667 | 49 | -1 | 6.1033 | 0.11067 | 106.5574 | 6.104 | 0.108 | 107.6828 | 6.111 | 0.085661 | 339.9248 | 97.8986 | 326.776 | 98.7203 | 6.1302 | 211.3086 | 6.1699 | 235.134 | 6.126 | 0.053333 | 192.0822 | 0.022012 | 0.34225 | 0.28489 | 626.7381 | 6.1546 | 0.00048451 | 3.65e-06 | 7.7112e-07 | 1.0946 | 82560.9266 | 77290.6989 | 73745.1041 | 78180.3806 | 7.1011 | 4.2152 | 6.6511 | 6.6794 | -1 | -1 | -1 | -1 | 4.4645 | 1.1117 | -1 | -1 | -1 | 6.1533 | 6.108 | 0.096 | 1.0588 | 1.1176 | 72359.8253 | -1 | -1
|  | 41 | 4 | 31 | 10 | 4 | 0 | 0 | 0 | 6.1525 | 0 | BB | 163.4147 | 50.0646 | 0.052081 | 0.8764 | 0 |  | -1 | -1 | 4 | -1 | 907 | 947 | 6.0733 | 6.2479 | 0.0066667 | 51 | -1 | 6.104 | 0.112 | 46.2476 | 6.1047 | 0.10933 | 46.5407 | 6.111 | 0.086694 | 107.1767 | 43.7073 | 103.3246 | 44.5092 | 6.1299 | 72.5376 | 6.17 | 80.565 | 6.1267 | 0.053333 | 68.5177 | 0.021745 | 0.27294 | 0.04597 | 163.3681 | 6.1548 | 0.00047287 | 2.8066e-06 | 6.8109e-07 | 1.1233 | 80605.5519 | 75461.3981 | 73745.1041 | 80111.2364 | 36.3338 | 34.3723 | 35.841 | 35.9935 | -1 | -1 | -1 | -1 | 34.0013 | 2.9502 | -1 | -1 | -1 | 6.1533 | 6.1093 | 0.095333 | 1.0833 | 1.1667 | 71887.0447 | -1 | -1
|  | 40 | 7 | 32 | 10 | 4 | 0 | 0 | 0 | 6.1547 | 0 | BB | 29.9482 | 8.7328 | 0.05401 | 0.87249 | 0 |  | -1 | -1 | 7 | -1 | 907 | 949 | 6.08 | 6.2467 | 0.0066667 | 53 | -1 | 6.1037 | 0.11333 | 3.0098 | 6.1044 | 0.11185 | 3.061 | 6.1111 | 0.092261 | 13.5896 | 2.6309 | 12.9275 | 2.6386 | 6.1299 | 7.3638 | 6.1768 | 8.2653 | 6.1274 | 0.057037 | 6.9007 | 0.02255 | 0.22678 | -0.10615 | 29.9482 | 6.1573 | 0.00050849 | 2.6003e-06 | 7.4825e-07 | 1.1439 | 71171.0545 | 73696.2803 | 64478.7687 | 74557.7998 | 74.089 | 49.6625 | 67.4685 | 67.7556 | -1 | -1 | -1 | -1 | 58.4952 | 18.7857 | -1 | -1 | -1 | 6.1533 | 6.1089 | 0.1 | 1.125 | 1.25 | 63156.3365 | -1 | -1
|  | 39 | 6 | 33 | 10 | 4 | 0 | 0 | 0 | 6.1577 | 0 | BB | 31.9155 | 9.0184 | 0.057287 | 0.90993 | 0 |  | -1 | -1 | 6 | -1 | 906 | 950 | 6.08 | 6.2467 | 0.0066667 | 55 | -1 | 6.1044 | 0.11481 | 11.835 | 6.1052 | 0.11333 | 11.8878 | 6.1114 | 0.096625 | 22.6121 | 11.4301 | 22.199 | 11.4646 | 6.1302 | 15.9637 | 6.1835 | 16.712 | 6.1289 | 0.059259 | 15.8513 | 0.022881 | 0.15033 | -0.20767 | 31.9155 | 6.1595 | 0.00052353 | 1.8008e-06 | 7.6532e-07 | 1.0338 | 65028.1707 | 71962.3892 | 59863.0378 | 72470.2243 | 71.8975 | 50.7179 | 66.0637 | 66.3448 | -1 | -1 | -1 | -1 | 57.6553 | 18.8281 | -1 | -1 | -1 | 6.16 | 6.1096 | 0.10148 | 1.0074 | 1.0147 | 67844.0982 | -1 | -1
|  | 37 | 5 | 27 | 10 | 4 | 0 | 0 | 0 | 6.1585 | 0 | BB | 33.5166 | 9.444 | 0.057405 | 0.92935 | 0 |  | -1 | -1 | 5 | -1 | 907 | 951 | 6.08 | 6.2456 | 0.0066667 | 55 | -1 | 6.1059 | 0.11704 | 19.6189 | 6.1067 | 0.11481 | 19.6743 | 6.1115 | 0.097081 | 30.8597 | 19.0969 | 30.5148 | 19.3276 | 6.1302 | 23.7767 | 6.1835 | 24.9278 | 6.1296 | 0.059259 | 23.8343 | 0.022901 | 0.13682 | -0.21675 | 33.5348 | 6.16 | 0.00052447 | 1.6433e-06 | 7.6558e-07 | 1.0764 | 64419.0256 | 69255.584 | 59863.0378 | 72350.929 | 34.9788 | 34.8026 | 34.3676 | 34.5138 | -1 | -1 | -1 | -1 | 32.7825 | 2.9532 | -1 | -1 | -1 | 6.16 | 6.1111 | 0.10148 | 1.0379 | 1.0758 | 66063.1743 | -1 | -1
|  | 42 | 1 | 35 | 11 | 3 | 0 | 0 | 0 | 7.1424 | 0 | BB | 1765.1182 | 331.7897 | 0.080067 | 0.48883 | 0 |  | -1 | -1 | 1 | -1 | 1047 | 1123 | 7.0667 | 7.48 | 0.0066667 | 87 | -1 | 7.0867 | 0.17333 | 61.1178 | 7.0878 | 0.17 | 63.0839 | 7.0938 | 0.14793 | 470.1715 | 48.0858 | 407.5835 | 44.2037 | 7.1142 | 225.1945 | 7.1772 | 280.2686 | 7.1122 | 0.084444 | 210.5463 | 0.043482 | 1.8593 | 7.7308 | 1765.1181 | 7.1642 | 0.0018907 | 0.00015286 | 3.8361e-05 | 1.4434 | 37342.3317 | 42499.4083 | 39680.273 | 27146.2345 | 8.5086 | 8.7781 | 8.451 | 8.487 | -1 | -1 | -1 | -1 | 7.4785 | 1.1611 | -1 | -1 | -1 | 7.1467 | 7.0922 | 0.15333 | 1.4082 | 1.8163 | 29542.7931 | -1 | -1
|  | 43 | 2 | 36 | 11 | 4 | 0 | 0 | 0 | 7.1424 | 0 | BB | 1134.3221 | 212.9307 | 0.080151 | 0.51693 | 0 |  | -1 | -1 | 2 | -1 | 1030 | 1108 | 6.8667 | 7.38 | 0.0066667 | 89 | -1 | 7.0867 | 0.176 | 111.7889 | 7.088 | 0.172 | 113.0506 | 7.0936 | 0.14798 | 374.049 | 102.6264 | 333.9377 | 102.3767 | 7.114 | 215.7047 | 7.1774 | 252.3953 | 7.112 | 0.085333 | 207.6736 | 0.040495 | 0.0002517 | 3.1034 | 1134.3222 | 7.1606 | 0.0016398 | 1.6714e-08 | 1.6413e-05 | 1.4659 | 37317.8156 | 41221.3039 | 38857.9062 | 31267.5046 | 8.4779 | 8.6372 | 8.3922 | 8.4279 | -1 | -1 | -1 | -1 | 8.047 | 1.161 | -1 | -1 | -1 | 7.1467 | 7.092 | 0.15467 | 1.4146 | 1.8293 | 28913.5972 | -1 | -1
|  | 6 | 8 | 37 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 107.4393 | 20.4069 | 0.079423 | 0.50428 | 0 |  | -1 | -1 | 8 | -1 | 1048 | 1108 | 7.02 | 7.3533 | 0.0066667 | 71 | -1 | 7.0867 | 0.17238 | 6.8074 | 7.0876 | 0.16952 | 6.9283 | 7.0939 | 0.14761 | 31.9852 | 5.9938 | 28.1379 | 5.7887 | 7.1155 | 17.5919 | 7.1771 | 20.3136 | 7.1124 | 0.084762 | 15.9995 | 0.037033 | 0.61709 | 0.34775 | 107.4393 | 7.1616 | 0.0013714 | 3.1341e-05 | 6.2965e-06 | 1.4355 | 37504.5138 | 42970.3123 | 39383.5991 | 37397.7075 | 63.9664 | 48.2444 | 61.9706 | 62.2343 | -1 | -1 | -1 | -1 | 53.2307 | 21.7757 | -1 | -1 | -1 | 7.1467 | 7.0924 | 0.15238 | 1.4035 | 1.807 | 30004.3214 | -1 | -1
|  | 3 | 5 | 38 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 339.0063 | 64.9547 | 0.07889 | 0.51145 | 0 |  | -1 | -1 | 5 | -1 | 1030 | 1108 | 6.8667 | 7.3404 | 0.0066667 | 89 | -1 | 7.088 | 0.17333 | 23.8977 | 7.088 | 0.17067 | 24.2826 | 7.0939 | 0.14684 | 103.9863 | 21.035 | 91.6993 | 21.1477 | 7.114 | 55.3753 | 7.1773 | 66.7014 | 7.112 | 0.085333 | 53.1464 | 0.036834 | 0.30975 | 1.1653 | 339.0038 | 7.1607 | 0.0013568 | 1.548e-05 | 7.6675e-06 | 1.4545 | 37898.6551 | 42499.4083 | 38857.9062 | 37793.0545 | 8.0677 | 8.4715 | 7.9958 | 8.0299 | -1 | -1 | -1 | -1 | 8.3763 | 1.1598 | -1 | -1 | -1 | 7.1467 | 7.0933 | 0.152 | 1.425 | 1.85 | 29736.8004 | -1 | -1
|  | 2 | 3 | 39 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 539.7983 | 103.265 | 0.078985 | 0.51497 | 0 |  | -1 | -1 | 3 | -1 | 1030 | 1108 | 6.8667 | 7.3132 | 0.0066667 | 89 | -1 | 7.088 | 0.176 | 93.3158 | 7.088 | 0.17333 | 93.9276 | 7.0939 | 0.14695 | 220.7546 | 88.477 | 201.0196 | 89.4579 | 7.114 | 143.2022 | 7.1773 | 161.545 | 7.112 | 0.085333 | 139.8114 | 0.037312 | 0.12561 | 1.7756 | 539.8169 | 7.1604 | 0.0013922 | 6.5249e-06 | 9.2558e-06 | 1.4773 | 37842.6566 | 41221.3039 | 38857.9062 | 36828.5887 | 8.5479 | 8.639 | 8.394 | 8.4297 | -1 | -1 | -1 | -1 | 8.5319 | 1.161 | -1 | -1 | -1 | 7.1467 | 7.0933 | 0.15333 | 1.4375 | 1.875 | 28988.1121 | -1 | -1
|  | 4 | 6 | 40 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 441.3912 | 84.6535 | 0.078831 | 0.50682 | 0 |  | -1 | -1 | 6 | -1 | 1048 | 1108 | 7 | 7.3467 | 0.0066667 | 71 | -1 | 7.0876 | 0.17238 | 15.2981 | 7.0886 | 0.16952 | 15.7997 | 7.094 | 0.14673 | 119.8808 | 11.6714 | 103.7318 | 11.5269 | 7.1156 | 59.7292 | 7.177 | 71.3535 | 7.1124 | 0.084762 | 53.4207 | 0.036194 | 0.57877 | 0.13089 | 441.3912 | 7.1612 | 0.00131 | 2.7441e-05 | 5.3727e-06 | 1.459 | 37959.1673 | 42970.3123 | 39383.5991 | 39147.8528 | 8.0934 | 8.5722 | 8.0342 | 8.0684 | -1 | -1 | -1 | -1 | 8.4779 | 1.1599 | -1 | -1 | -1 | 7.1467 | 7.0933 | 0.15143 | 1.4196 | 1.8393 | 30065.5658 | -1 | -1
|  | 5 | 7 | 41 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 344.4624 | 65.9991 | 0.078891 | 0.50637 | 0 |  | -1 | -1 | 7 | -1 | 1048 | 1108 | 7.0133 | 7.3467 | 0.0066667 | 71 | -1 | 7.0876 | 0.17238 | 5.4667 | 7.0886 | 0.16952 | 5.8578 | 7.094 | 0.14683 | 86.996 | 2.6625 | 74.4214 | 2.4844 | 7.1156 | 40.1253 | 7.177 | 49.1652 | 7.1124 | 0.084762 | 35.1899 | 0.036272 | 0.58699 | 0.15308 | 344.4624 | 7.1613 | 0.0013156 | 2.8012e-05 | 5.4577e-06 | 1.459 | 37906.2364 | 42970.3123 | 39383.5991 | 38979.9397 | 8.263 | 8.6432 | 8.1853 | 8.2201 | -1 | -1 | -1 | -1 | 8.534 | 1.1605 | -1 | -1 | -1 | 7.1467 | 7.0933 | 0.15143 | 1.4196 | 1.8393 | 30065.5658 | -1 | -1
|  | 1 | 4 | 34 | 11 | 4 | 0 | 0 | 0 | 7.1425 | 0 | BB | 336.5125 | 64.8159 | 0.078571 | 0.51106 | 0 |  | -1 | -1 | 4 | -1 | 1029 | 1108 | 6.86 | 7.3097 | 0.0066667 | 90 | -1 | 7.088 | 0.17467 | 53.909 | 7.0893 | 0.17067 | 54.293 | 7.094 | 0.1465 | 133.9316 | 50.8579 | 121.528 | 51.5122 | 7.1141 | 85.2534 | 7.1772 | 96.7437 | 7.112 | 0.085333 | 83.092 | 0.03607 | 0.3675 | 0.78226 | 336.3532 | 7.1607 | 0.001301 | 1.7246e-05 | 6.4021e-06 | 1.4884 | 38074.4208 | 41853.0389 | 38857.9062 | 39411.7643 | 8.4906 | 8.6336 | 8.3887 | 8.4244 | -1 | -1 | -1 | -1 | 8.6991 | 1.1609 | -1 | -1 | -1 | 7.1467 | 7.0933 | 0.15333 | 1.4375 | 1.875 | 28988.1121 | -1 | -1
|  | 8 | 1 | 43 | 12 | 3 | 0 | 0 | 0 | 7.5253 | 0 | BB | 15.4905 | 5.6848 | 0.045791 | 0.81363 | 0 |  | -1 | -1 | 1 | -1 | 1122 | 1150 | 7.4825 | 7.5867 | 0.0066667 | 39 | -1 | 7.4825 | 0.079512 | 37.1483 | 7.4825 | 0.079512 | 37.1814 | 7.491 | 0.074016 | 43.9014 | 37.7642 | 44.2491 | 35.9837 | 7.5024 | 39.8125 | 7.5509 | 38.9218 | 7.501 | 0.046667 | 39.6676 | 0.017091 | 0.11918 | -0.40519 | 15.7272 | 7.5305 | 0.0002921 | 5.95e-07 | 2.214e-07 | 0.90094 | 165451.0794 | 224015.9137 | 144112.4722 | 194135.1987 | 3.4507 | 3.7863 | 3.4319 | 3.4465 | -1 | -1 | -1 | -1 | 3.023 | 1.0536 | -1 | -1 | -1 | 7.5267 | 7.4825 | 0.077461 | 0.87769 | 0.75539 | 152967.174 | -1 | -1
|  | 7 | 2 | 42 | 12 | 4 | 0 | 0 | 0 | 7.5278 | 0 | BB | 10.7698 | 3.9741 | 0.045616 | 1.0624 | 0 |  | -1 | -1 | 2 | -1 | 1115 | 1151 | 7.48 | 7.578 | 0.0066667 | 47 | -1 | 7.4909 | 0.087078 | 102.3914 | 7.4915 | 0.086472 | 102.4145 | 7.4904 | 0.073884 | 107.4452 | 101.8468 | 107.0117 | 102.6105 | 7.5032 | 103.7701 | 7.5502 | 104.3021 | 7.5055 | 0.047273 | 104.149 | 0.016875 | 0.082253 | -0.44768 | 10.8479 | 7.5274 | 0.00028477 | 3.9527e-07 | 2.0698e-07 | 1.23 | 166043.0027 | 186780.7911 | 140440.9678 | 198974.5676 | 3.4737 | 3.6619 | 3.4145 | 3.429 | -1 | -1 | -1 | -1 | 3.1972 | 1.054 | -1 | -1 | -1 | 7.5267 | 7.4933 | 0.084653 | 1.2698 | 1.5396 | 118170.9166 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 18:52:28
ResNewDateTime | 02 September 2019 18:52:28
ResModBy | SYSTEM
ResModTime | 09/02/19 18:52:29
ResModDateTime | 02 September 2019 18:52:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9574.3777

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9574.3777

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5106.7394

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2136.6188

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 789.7054

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 507.2693

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 514.9475

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 411.4336

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 144.09

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9574.3777

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5106.7394

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2136.6188

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 789.7054

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 507.2693

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 514.9475

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 411.4336

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 144.09

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 12 | 0 | 8 | 0.34525 | 1513.3107 | 171.9642 | 0.12267 | 1.5738 | -17.0746 | 0.0066667 | 0 | 42.3412 | 0.52 | -7.1054e-15 | -47.7414 | 1 | -175.4857 | 43.5111 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4652 | 1230.4557 | 50.6813 | 0.29525 | 4.4521 | 4.5939 | 0.81333 | 0 | -49.2535 | 1.6082 | 1.7764e-14 | 16.4063 | 1 | 82.604 | -116.4381 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0857 | 800.2507 | 148.9262 | 0.08269 | 0.5481 | 47.4304 | 1.76 | 0 | 40.7839 | 2.297 | 0 | 51.7429 | 1 | 20.4092 | 4.8637 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.7563 | 1489.468 | 40.8238 | 0.54566 | 0.83404 | 54.9278 | 2.3 | 0 | 51.7411 | 3.2164 | 0.63592 | 58.1408 | 1 | 6.9836 | 35.6787 | 0 | 0 | 0
DateTime |  | 34 | 8 | 3.3773 | 237.0981 | 24.483 | 0.15698 | 1.0287 | 59.2648 | 3.2164 | 0.63592 | 58.1408 | 3.512 | 4.276 | 60.2055 | 1 | 6.9836 | 35.6787 | 0 | 0 | 0
IntegStart | 0 | 32 | 8 | 3.6682 | 318.9055 | 31.418 | 0.16642 | 1.086 | 61.2964 | 3.512 | 4.276 | 60.2055 | 3.833 | 7.1054e-15 | 62.4472 | 1 | 6.9836 | 35.6787 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 3.9547 | 93.7221 | 12.0371 | 0.13084 | 0.94372 | 62.2682 | 3.8333 | 0 | 62.4428 | 4.084 | 0 | 62.0823 | 1 | -1.4383 | 67.9563 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 4.2059 | 89.6925 | 11.4804 | 0.12715 | 0.9265 | 63.0863 | 4.0867 | 0 | 62.0751 | 4.34 | 0 | 64.2228 | 1 | 8.4777 | 27.4298 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 5.5325 | 17.3161 | 5.5129 | 0.048645 | 0.68972 | 64.0123 | 5.4867 | -1.4211e-14 | 65.0425 | 5.6667 | -1.4211e-14 | 60.9984 | 1 | -22.467 | 188.3113 | 0 | 0 | 0
|  | 0 | 8 | 6.1514 | 2003.5498 | 620.8795 | 0.049648 | 0.87366 | 56.3113 | 6.0714 | -7.1054e-15 | 57.3098 | 6.5133 | -1.4211e-14 | 51.7974 | 1 | -12.473 | 133.0384 | 0 | 0 | 0
|  | 0 | 8 | 7.1424 | 1765.1182 | 331.7897 | 0.080067 | 0.48883 | 46.8116 | 7.0667 | 0 | 48.7986 | 7.48 | 0 | 37.9519 | 1 | -26.2418 | 234.2407 | 0 | 0 | 0
|  | 0 | 8 | 7.5253 | 15.4905 | 5.6848 | 0.045791 | 0.81363 | 36.9375 | 7.4825 | 7.1054e-15 | 37.9667 | 7.5867 | 0 | 35.4619 | 1 | -24.0547 | 217.9569 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.33779 | 1528.6814 | 147.42 | 0.14098 | 1.9942 | 40.0478 | 0.0066667 | 0 | 121.141 | 0.50667 | 0 | -1.3103 | 1 | -244.9026 | 122.7736 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4651 | 769.6295 | 34.6125 | 0.27142 | 3.9975 | 13.9301 | 0.84 | 0 | -17.0317 | 1.6092 | 7.1054e-15 | 21.0633 | 1 | 49.5271 | -58.6345 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0857 | 536.5718 | 100.1318 | 0.082518 | 0.53778 | 42.7328 | 1.9 | 0 | 39.937 | 2.2962 | 0 | 45.9007 | 1 | 15.0533 | 11.3358 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 3.3817 | 158.9186 | 16.7989 | 0.15437 | 1.1013 | 62.0557 | 3.22 | 0 | 59.5617 | 3.5097 | 2.7443 | 64.0295 | 1 | 15.4212 | 9.9056 | 0 | 0 | 0
DateTime |  | 34 | 8 | 3.6747 | 240.74 | 23.095 | 0.16961 | 1.0987 | 66.573 | 3.5097 | 2.7443 | 64.0295 | 3.831 | 1.4543 | 68.9834 | 1 | 15.4212 | 9.9056 | 0 | 0 | 0
IntegStart | 0 | 32 | 8 | 3.9613 | 80.0566 | 9.5635 | 0.13766 | 1.2555 | 70.9935 | 3.831 | 1.4543 | 68.9834 | 4.0819 | 0 | 72.8528 | 1 | 15.4212 | 9.9056 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 5.5341 | 20.2517 | 4.3706 | 0.066059 | 0.93914 | 94.812 | 5.4 | 0 | 94.7237 | 5.7048 | 0 | 94.9245 | 1 | 0.65877 | 91.1664 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.152 | 626.798 | 192.5134 | 0.049985 | 0.87747 | 98.2925 | 6.0533 | 0 | 97.3458 | 6.2678 | 0 | 99.4028 | 1 | 9.5922 | 39.281 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 7.1424 | 1134.3221 | 212.9307 | 0.080151 | 0.51693 | 102.5441 | 6.8667 | 0 | 103.0092 | 7.38 | 0 | 102.1433 | 1 | -1.6869 | 114.5925 | 0 | 0 | 0
|  | 0 | 8 | 7.5278 | 10.7698 | 3.9741 | 0.045616 | 1.0624 | 102.2331 | 7.48 | 0 | 101.7394 | 7.578 | 0 | 102.7522 | 1 | 10.3365 | 24.4224 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32293 | 810.4789 | 85.6112 | 0.12245 | 1.7273 | 57.7573 | 0.073333 | -1.4211e-14 | 115.3359 | 0.48667 | -2.8422e-14 | 19.9852 | 1 | -230.6873 | 132.253 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4651 | 80.1381 | 10.4458 | 0.1015 | 0.58467 | 16.9478 | 1.3067 | 3.5527e-15 | 18.6772 | 1.613 | 3.5527e-15 | 15.3326 | 1 | -10.9167 | 32.9418 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0857 | 280.4847 | 53.2209 | 0.081486 | 0.53991 | 24.8738 | 1.9133 | 0 | 23.6344 | 2.2965 | 0 | 26.3903 | 1 | 7.1916 | 9.8745 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.1519 | 425.7188 | 132.0653 | 0.049608 | 0.88594 | 77.4097 | 6.0667 | 0 | 76.0155 | 6.2536 | 0 | 79.0745 | 1 | 16.3612 | -23.2422 | 0 | 0 | 0
DateTime |  | 0 | 8 | 7.1425 | 539.7983 | 103.265 | 0.078985 | 0.51497 | 88.8015 | 6.8667 | 0 | 86.9603 | 7.3132 | 0 | 89.941 | 1 | 6.6753 | 41.1235 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32002 | 142.931 | 31.1985 | 0.065449 | 1.0597 | 50.2272 | 0.22 | 0 | 68.6736 | 0.43333 | 0 | 29.3279 | 1 | -184.4332 | 109.2489 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0855 | 146.8471 | 28.9005 | 0.07928 | 0.54686 | 20.8749 | 1.92 | 0 | 20.4949 | 2.3028 | 0 | 21.374 | 1 | 2.2961 | 16.0863 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1525 | 163.4147 | 50.0646 | 0.052081 | 0.8764 | 44.0912 | 6.0733 | 0 | 43.3588 | 6.2479 | 0 | 44.9733 | 1 | 9.2497 | -12.818 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.1425 | 336.5125 | 64.8159 | 0.078571 | 0.51106 | 51.0745 | 6.86 | 0 | 49.8128 | 7.3097 | 0 | 51.8211 | 1 | 4.4663 | 19.174 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32307 | 63.1508 | 17.7093 | 0.053603 | 1.2767 | 20.9422 | 0.20667 | 0 | 26.732 | 0.41333 | 0 | 16.4523 | 1 | -49.7403 | 37.0116 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0853 | 71.5957 | 14.2371 | 0.07867 | 0.54251 | 14.1672 | 1.9267 | 0 | 14.0657 | 2.3527 | 0 | 14.3381 | 1 | 0.63936 | 12.8339 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1585 | 33.5166 | 9.444 | 0.057405 | 0.92935 | 19.2086 | 6.08 | 0 | 19.022 | 6.2456 | 0 | 19.4155 | 1 | 2.3767 | 4.5719 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 7.1425 | 339.0063 | 64.9547 | 0.07889 | 0.51145 | 21.0723 | 6.8667 | 0 | 20.8607 | 7.3404 | 0 | 21.2241 | 1 | 0.76726 | 15.5921 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32705 | 41.6409 | 13.9569 | 0.046808 | 1.2155 | 11.6469 | 0.19333 | 0 | 13.0644 | 0.41333 | 0 | 10.7322 | 1 | -10.601 | 15.1139 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1577 | 31.9155 | 9.0184 | 0.057287 | 0.90993 | 11.4466 | 6.08 | 0 | 11.4188 | 6.2467 | 0 | 11.4784 | 1 | 0.35763 | 9.2444 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.1425 | 441.3912 | 84.6535 | 0.078831 | 0.50682 | 11.6237 | 7 | 0 | 11.764 | 7.3467 | 0 | 11.4226 | 1 | -0.98485 | 18.658 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32763 | 37.023 | 12.6902 | 0.046037 | 1.1915 | 2.6321 | 0.18667 | 0 | 3.4528 | 0.42 | 0 | 2.0943 | 1 | -5.8222 | 4.5396 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1547 | 29.9482 | 8.7328 | 0.05401 | 0.87249 | 2.6345 | 6.08 | 0 | 2.6283 | 6.2467 | 0 | 2.6422 | 1 | 0.08297 | 2.1239 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 7.1425 | 344.4624 | 65.9991 | 0.078891 | 0.50637 | 2.6037 | 7.0133 | 0 | 2.7604 | 7.3467 | 0 | 2.3561 | 1 | -1.2131 | 11.2681 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.328 | 36.6507 | 12.5469 | 0.046079 | 1.1922 | 5.9926 | 0.18667 | 0 | 6.7496 | 0.42667 | 0 | 5.4641 | 1 | -5.3565 | 7.7495 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 7.1425 | 107.4393 | 20.4069 | 0.079423 | 0.50428 | 5.9263 | 7.02 | 0 | 6.0964 | 7.3533 | 0 | 5.6334 | 1 | -1.389 | 15.8473 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2