## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567477012
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 110
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 110
Vial | 110
SampleLocation | 110
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 03:16:52
SampleName | CS-135_0110
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 17.1589
DAD1UVBurnTime | 163.8256
DAD1VisOnTime | 17.1583
DAD1VisBurnTime | 149.3367
StartPressure | 28.243
StopPressure | 62.052
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.997
StopLeftTemp | 40.002
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 3 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 4 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 6 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 10 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 3 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 7299.9788 | 1440.7252 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 2 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 2922.9533 | 667.4047 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 1 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 1238.3998 | 358.7763 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
Modified | 1 | 8 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 610.243 | 181.6923 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 9 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 425.8585 | 126.6525 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 11 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 450.3956 | 144.0753 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 13 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 367.6218 | 115.6505 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 20 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0110.D | 104.1599 | 32.9545 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 27 | 7 | 3 | 2 | 1 | 4 | 0 | 0 | 0 | 1.4651 | 0 | BB | 83.0223 | 10.6328 | 0.10309 | 0.63273 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.2979 | 1.6113 | 0.0066667 | 89 | -1 | 1.2979 | 0.29867 | 19.4914 | 1.2979 | 0.29867 | 19.5541 | 1.4099 | 0.19588 | 31.4119 | 19.6329 | 45.549 | 17.4789 | 1.4424 | 26.5726 | 1.5902 | 20.5919 | 1.4286 | 0.094667 | 24.2558 | 0.062283 | -0.27168 | -0.38646 | 83.0223 | 1.4826 | 0.0038791 | -6.5639e-05 | 3.9327e-05 | 0.896 | 894.5016 | 601.1663 | 1326.0007 | 566.6303 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4646 | 1.2979 | 0.296 | 0.888 | 0.776 | 402.139 | -1 | -1
NumberOfCol | 81 | 5 | 2 | 3 | 1 | 4 | 0 | 0 | 0 | 1.4652 | 0 | BB | 784.5212 | 34.9371 | 0.27398 | 4.0974 | 0 |  | -1 | -1 | 2 | -1 | 123 | 243 | 0.81792 | 1.6106 | 0.0066667 | 131 | -1 | 1.1096 | 0.50106 | 18.0516 | 1.1113 | 0.49939 | 18.2589 | 1.3764 | 0.22662 | 55.4726 | 12.3942 | 84.8749 | 23.0309 | 1.4424 | 44.4055 | 1.5863 | 30.5335 | 1.3613 | 0.21833 | 33.8097 | 0.17706 | -0.26993 | -0.93581 | 786.4279 | 1.291 | 0.031351 | -0.0014984 | 0.0020289 | 0.70668 | 668.2915 | 213.5973 | 249.286 | 53.1636 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4646 | 1.1313 | 0.47939 | 0.71908 | 0.43817 | 110.1891 | -1 | -1
NumberOfHead | 9 | 4 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 1.4652 | 0 | BV | 1849.2155 | 70.7859 | 0.31678 | 3.5025 | 0 |  | -1 | -1 | 1 | -1 | 115 | 243 | 0.76458 | 1.6097 | 0.0066667 | 139 | -1 | 0.99625 | 0.61345 | -9.1266 | 0.99958 | 0.61012 | -8.7051 | 1.3438 | 0.29261 | 64.1514 | -18.2008 | 106.4966 | -3.7061 | 1.4424 | 48.6693 | 1.5854 | 29.1036 | 1.2196 | 0.375 | 22.9059 | 0.18163 | -0.22905 | -0.95459 | 1247.5432 | 1.277 | 0.032991 | -0.0013725 | 0.0022263 | 0.65604 | 400.851 | 142.4989 | 84.5036 | 49.4292 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.9496 | 2.9496 | 1.4646 | 1.0163 | 0.59345 | 0.66184 | 0.32368 | 58.5273 | -1 | -1
Modified | 1 | 6 | 1 | 4 | 2 | 3 | 0 | 0 | 0 | 1.9215 | 0 | VV | 938.4796 | 35.2037 | 0.43302 | 3.0959 | 0 |  | -1 | -1 | 1 | -1 | 242 | 308 | 1.6097 | 2.0449 | 0.0066667 | 77 | -1 | 1.6101 | 0.4348 | 12.1116 | 1.6101 | 0.4348 | 12.3218 | 1.5661 | 0.61975 | 177.1817 | -7.1885 | 52.6324 | 23.5119 | 1.6278 | 24.8191 | 2.0339 | 40.2503 | 1.6346 | 0.41035 | 28.0935 | 0.10407 | 0.24876 | -0.97566 | 331.572 | 1.8008 | 0.01083 | 0.00028038 | 0.00023744 | 0.69137 | 154.2973 | 489.8285 | 121.8633 | 299.4295 | 1.0002 | 1.0882 | 0.68266 | 0.68556 | -1 | -1 | -1 | -1 | 0.91668 | 1.3114 | 1.4669 | 1.5518 | 1.4669 | 1.9246 | 1.6101 | 0.4348 | 0.69137 | 0.38274 | 211.517 | -1 | -1
NextPeakSignal_ | Peak | 14 | 2 | 7 | 3 | 4 | 0 | 0 | 0 | 2.1087 | 0 | BB | 366.093 | 81.0879 | 0.070672 | 0.59398 | 0 |  | -1 | -1 | 2 | -1 | 295 | 349 | 2.0446 | 2.2313 | 0.0066667 | 65 | -1 | 2.0496 | 0.14333 | 37.3181 | 2.0513 | 0.14083 | 37.7995 | 2.0622 | 0.12547 | 136.3967 | 36.2915 | 125.2528 | 29.8848 | 2.0814 | 77.5421 | 2.1416 | 85.5006 | 2.0787 | 0.073333 | 73.9096 | 0.029985 | 0.42352 | -0.23993 | 366.093 | 2.1211 | 0.00089911 | 1.1418e-05 | 2.2312e-06 | 1.1736 | 4530.2009 | 5424.0656 | 4591.8346 | 5003.7348 | 3.6553 | 2.4965 | 2.5924 | 2.6034 | -1 | -1 | -1 | -1 | 2.0045 | 1.4392 | -1 | -1 | -1 | 2.1113 | 2.0587 | 0.12667 | 1.2063 | 1.4127 | 4350.796 | -1 | -1
Signal_ | Signal | 10 | 1 | 5 | 3 | 3 | 0 | 0 | 0 | 2.1087 | 0 | VB | 676.9445 | 135.9809 | 0.076079 | 0.68784 | 0 |  | -1 | -1 | 1 | -1 | 307 | 352 | 2.0449 | 2.2395 | 0.0066667 | 56 | -1 | 2.0449 | 0.19446 | 25.7311 | 2.0449 | 0.18483 | 26.5376 | 2.0557 | 0.13525 | 187.8193 | 17.0648 | 170.8321 | 23.7649 | 2.0813 | 99.6092 | 2.1415 | 112.2727 | 2.0772 | 0.079259 | 87.0295 | 0.029971 | 0.41925 | -0.25292 | 545.6309 | 2.1214 | 0.00089826 | 1.1287e-05 | 2.2165e-06 | 1.3936 | 3898.5216 | 2946.7304 | 3930.8735 | 5010.085 | 0.49594 | 0.74381 | 0.4493 | 0.45121 | -1 | -1 | -1 | -1 | 1.1959 | 1.0974 | 5.9941 | -1 | 5.9941 | 2.1113 | 2.0449 | 0.15965 | 1.2037 | 1.4074 | 2744.2509 | -1 | -1
NextPeakComp_ | Peak | 16 | 3 | 8 | 3 | 4 | 0 | 0 | 0 | 2.1089 | 0 | BB | 199.5421 | 43.86 | 0.071078 | 0.59278 | 0 |  | -1 | -1 | 3 | -1 | 295 | 350 | 2.0446 | 2.2313 | 0.0066667 | 66 | -1 | 2.0513 | 0.14476 | 23.7218 | 2.0522 | 0.14286 | 23.9823 | 2.0622 | 0.12632 | 77.4228 | 22.9282 | 71.1547 | 20.0535 | 2.0814 | 45.3464 | 2.1416 | 50.1438 | 2.0789 | 0.073333 | 43.5188 | 0.030317 | 0.43499 | -0.22083 | 199.5421 | 2.1215 | 0.00091911 | 1.2121e-05 | 2.3477e-06 | 1.2097 | 4469.5578 | 5317.5399 | 4591.8346 | 4896.8407 | 3.9962 | 3.6296 | 4.5027 | 4.5218 | -1 | -1 | -1 | -1 | 3.4499 | 1.4394 | -1 | -1 | -1 | 2.1113 | 2.0589 | 0.12857 | 1.2273 | 1.4545 | 4157.499 | -1 | -1
Compound_ | Compound | 17 | 4 | 9 | 3 | 4 | 0 | 0 | 0 | 2.1094 | 0 | BB | 115.7022 | 24.8735 | 0.072269 | 0.58645 | 0 |  | -1 | -1 | 4 | -1 | 295 | 350 | 2.0446 | 2.2446 | 0.0066667 | 66 | -1 | 2.0541 | 0.14952 | 22.9368 | 2.0551 | 0.14762 | 23.0846 | 2.0621 | 0.12865 | 53.5715 | 22.1586 | 49.6612 | 21.3587 | 2.0814 | 34.9981 | 2.1418 | 38.375 | 2.0798 | 0.075238 | 34.1704 | 0.031389 | 0.48204 | -0.12578 | 115.7022 | 2.1227 | 0.00098526 | 1.4907e-05 | 2.7901e-06 | 1.3136 | 4309.1258 | 4984.2363 | 4362.2797 | 4573.2846 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.1113 | 2.0598 | 0.13333 | 1.2963 | 1.5926 | 3678.0979 | -1 | -1
RTRatioRefComp_ | Compound | 12 | 5 | 6 | 3 | 4 | 0 | 0 | 0 | 2.1097 | 0 | BB | 59.9866 | 12.6477 | 0.073333 | 0.57837 | 0 |  | -1 | -1 | 5 | -1 | 295 | 351 | 2.0379 | 2.2646 | 0.0066667 | 67 | -1 | 2.0541 | 0.15619 | 16.4673 | 2.0551 | 0.15333 | 16.5425 | 2.0619 | 0.13058 | 32.0808 | 16.0051 | 30.0086 | 15.7691 | 2.0815 | 22.5785 | 2.1421 | 24.4355 | 2.0798 | 0.07619 | 22.182 | 0.032467 | 0.53448 | 0.00738 | 59.9866 | 2.1238 | 0.0010541 | 1.8292e-05 | 3.3415e-06 | 1.3644 | 4182.3895 | 4567.8332 | 4253.9043 | 4278.9042 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.1113 | 2.0598 | 0.1381 | 1.3426 | 1.6852 | 3320.6451 | -1 | -1
|  | 15 | 1 | 10 | 4 | 3 | 0 | 0 | 0 | 5.4618 | 0 | BV E | 75.4513 | 5.3992 | 0.17504 | 0.10123 | 0 |  | -1 | -1 | 1 | -1 | 767 | 889 | 5.4179 | 5.9171 | 0.0066667 | 133 | -1 | 5.4179 | 0.093333 | 66.4443 | 5.4179 | 0.091667 | 66.4749 | 5.4266 | 0.072922 | 72.831 | 67.0054 | 72.7596 | 66.118 | 5.4403 | 69.2726 | 5.4813 | 69.3271 | 5.4363 | 0.05 | 68.7701 | 0.021609 | 0.90504 | 1.1832 | 14.2108 | 5.467 | 0.00046693 | 9.1316e-06 | 9.1204e-07 | 1.1458 | 89631.0878 | 85491.1703 | 66012.1012 | 64008.6177 | 32.2143 | 29.1274 | 30.4807 | 30.6104 | -1 | -1 | -1 | -1 | 32.431 | 2.5901 | -1 | -1 | -1 | 5.4579 | 5.4179 | 0.086667 | 1.0833 | 1.1667 | 68433.6074 | -1 | -1
|  | 23 | 6 | 12 | 5 | 4 | 0 | 0 | 0 | 6.0046 | 0 | BB | 15.4909 | 6.0625 | 0.04181 | 0.79573 | 0 |  | -1 | -1 | 6 | -1 | 888 | 921 | 5.9646 | 6.0646 | 0.0066667 | 44 | -1 | 5.9646 | 0.075 | 15.4042 | 5.9646 | 0.074444 | 15.4392 | 5.973 | 0.068959 | 22.5925 | 15.9903 | 22.929 | 14.1525 | 5.9885 | 19.2195 | 6.0286 | 17.2825 | 5.9818 | 0.043889 | 18.061 | 0.015851 | 0.13725 | -0.42314 | 15.4909 | 6.0073 | 0.00025126 | 5.4664e-07 | 1.6268e-07 | 0.93056 | 121310.4156 | 160244.8095 | 103697.0365 | 143624.7804 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.0046 | 5.9646 | 0.072778 | 0.90972 | 0.81945 | 114907.6055 | -1 | -1
|  | 22 | 5 | 13 | 5 | 4 | 0 | 0 | 0 | 6.0048 | 0 | BB | 32.4693 | 8.0831 | 0.058864 | 1.64 | 0 |  | -1 | -1 | 5 | -1 | 883 | 929 | 5.8979 | 6.0803 | 0.0066667 | 57 | -1 | 5.9187 | 0.14667 | 22.1038 | 5.9194 | 0.1437 | 22.1508 | 5.9595 | 0.085611 | 31.2911 | 21.5974 | 31.5427 | 21.9042 | 5.9875 | 27.5902 | 6.0275 | 26.1074 | 5.975 | 0.055556 | 25.6785 | 0.030501 | -0.36856 | -0.51281 | 32.4324 | 5.9918 | 0.00093032 | -1.0458e-05 | 2.1527e-06 | 0.84348 | 78708.4902 | 41902.7878 | 64717.3205 | 38591.0781 | 36.0327 | 32.1525 | 34.7386 | 34.8865 | -1 | -1 | -1 | -1 | 30.7146 | 2.8462 | -1 | -1 | -1 | 6.0046 | 5.9238 | 0.12889 | 0.79817 | 0.59633 | 30921.4278 | -1 | -1
|  | 24 | 7 | 14 | 5 | 4 | 0 | 0 | 0 | 6.0048 | 0 | BB | 29.151 | 8.3005 | 0.052973 | 1.2763 | 0 |  | -1 | -1 | 7 | -1 | 885 | 926 | 5.8979 | 6.0846 | 0.0066667 | 52 | -1 | 5.9192 | 0.13867 | 4.7989 | 5.9206 | 0.13667 | 4.8472 | 5.9626 | 0.082503 | 14.4182 | 4.438 | 14.5231 | 4.4502 | 5.9879 | 10.4103 | 6.0278 | 8.78 | 5.9786 | 0.051333 | 8.4747 | 0.027507 | -0.53156 | 0.16145 | 29.151 | 5.9979 | 0.00075661 | -1.1063e-05 | 1.8098e-06 | 0.81349 | 84750.4261 | 46877.1942 | 75801.2881 | 47546.5558 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.0046 | 5.9286 | 0.122 | 0.80263 | 0.60526 | 34806.3684 | -1 | -1
|  | 19 | 2 | 16 | 5 | 4 | 0 | 0 | 0 | 6.005 | 0 | BB | 652.8303 | 198.5638 | 0.052357 | 1.0905 | 0 |  | -1 | -1 | 2 | -1 | 836 | 926 | 5.5712 | 6.1593 | 0.0066667 | 101 | -1 | 5.9352 | 0.12533 | 110.617 | 5.9393 | 0.12 | 111.7749 | 5.9652 | 0.080309 | 347.7157 | 101.8838 | 342.282 | 102.376 | 5.9836 | 215.7557 | 6.0251 | 222.9006 | 5.9793 | 0.052 | 198.6218 | 0.045537 | -3.83 | 21.0814 | 652.6866 | 5.9975 | 0.0020736 | -0.00036165 | 0.00010355 | 0.91837 | 89444.6735 | 57381.5904 | 73870.1244 | 17346.3569 | 37.8685 | 36.2557 | 36.5276 | 36.6831 | -1 | -1 | -1 | -1 | 25.6641 | 2.8477 | -1 | -1 | -1 | 6.0046 | 5.9592 | 0.092 | 1.0147 | 1.0294 | 77929.7652 | -1 | -1
|  | 18 | 1 | 11 | 5 | 3 | 0 | 0 | 0 | 6.005 | 0 | VB R | 2017.0896 | 645.3547 | 0.050465 | 1.1236 | 0 |  | -1 | -1 | 1 | -1 | 813 | 963 | 5.4179 | 6.4113 | 0.0066667 | 161 | -1 | 5.9535 | 0.10667 | 81.6388 | 5.9557 | 0.10444 | 85.4022 | 5.9656 | 0.080507 | 853.6101 | 54.9099 | 828.2557 | 53.1162 | 5.9831 | 409.4096 | 6.0257 | 437.5596 | 5.9801 | 0.051111 | 367.6584 | 0.072672 | -4.64 | 29.204 | 2092.5409 | 5.995 | 0.0052812 | -0.0017808 | 0.00089819 | 1.0682 | 89004.8805 | 79222.4583 | 76461.8626 | 6805.2642 | 7.0804 | 6.7896 | 6.3121 | 6.3389 | -1 | -1 | -1 | -1 | 2.8003 | 1.0994 | 127.7351 | -1 | 127.7351 | 6.0046 | 5.9601 | 0.091111 | 1.025 | 1.05 | 78746.5047 | -1 | -1
|  | 21 | 3 | 17 | 5 | 4 | 0 | 0 | 0 | 6.0051 | 0 | BB | 428.1285 | 136.4118 | 0.050616 | 1.0161 | 0 |  | -1 | -1 | 3 | -1 | 845 | 925 | 5.6312 | 6.0974 | 0.0066667 | 91 | -1 | 5.9526 | 0.10933 | 89.2683 | 5.9539 | 0.10667 | 90.0637 | 5.9657 | 0.079732 | 253.1968 | 82.6573 | 248.0912 | 84.2515 | 5.9835 | 160.016 | 6.0248 | 168.0728 | 5.9806 | 0.050667 | 149.7184 | 0.029921 | -3.3767 | 26.5653 | 428.3045 | 6.0027 | 0.00089524 | -9.0451e-05 | 2.3696e-05 | 1.0526 | 90745.5901 | 75405.0763 | 77809.1823 | 40248.6558 | 37.8174 | 38.3335 | 36.9191 | 37.0762 | -1 | -1 | -1 | -1 | 32.2159 | 2.8475 | -1 | -1 | -1 | 6.0046 | 5.9606 | 0.092 | 1.0455 | 1.0909 | 75882.4955 | -1 | -1
|  | 25 | 4 | 15 | 5 | 4 | 0 | 0 | 0 | 6.0051 | 0 | BB | 162.2188 | 51.0486 | 0.051074 | 1.0563 | 0 |  | -1 | -1 | 4 | -1 | 885 | 925 | 5.8979 | 6.0899 | 0.0066667 | 51 | -1 | 5.9393 | 0.12333 | 50.9598 | 5.9426 | 0.118 | 51.2574 | 5.9654 | 0.079986 | 112.3001 | 48.2836 | 110.6072 | 49.293 | 5.9814 | 74.1005 | 6.028 | 75.7515 | 5.9806 | 0.05 | 73.5759 | 0.023795 | -0.42936 | 0.86905 | 162.3358 | 6.0032 | 0.0005662 | -5.7846e-06 | 1.2404e-06 | 0.95161 | 90169.7149 | 59257.7044 | 79897.9266 | 63649.4055 | 37.3445 | 35.6933 | 36.5497 | 36.7052 | -1 | -1 | -1 | -1 | 35.1597 | 2.8468 | -1 | -1 | -1 | 6.0046 | 5.9592 | 0.092667 | 1.0221 | 1.0441 | 76320.1192 | -1 | -1
|  | 26 | 1 | 19 | 6 | 3 | 0 | 0 | 0 | 6.514 | 0 | BB | 1689.9315 | 535.1254 | 0.050843 | 0.9794 | 0 |  | -1 | -1 | 1 | -1 | 962 | 1005 | 6.4355 | 6.6912 | 0.0066667 | 54 | -1 | 6.4609 | 0.1037 | 65.8892 | 6.4616 | 0.10222 | 68.9862 | 6.4719 | 0.084072 | 688.522 | 43.9025 | 711.9144 | 42.3525 | 6.4945 | 389.3791 | 6.5408 | 284.2387 | 6.4875 | 0.052593 | 301.2643 | 0.021014 | 0.17375 | 0.60276 | 1689.7463 | 6.5116 | 0.0004416 | 1.6124e-06 | 7.0259e-07 | 1.0299 | 95972.5201 | 98555.3524 | 84915.9642 | 96016.4787 | 6.1854 | 6.0488 | 5.7671 | 5.7917 | -1 | -1 | -1 | -1 | 2.7573 | 1.0848 | -1 | -1 | -1 | 6.5113 | 6.4675 | 0.091111 | 1.0424 | 1.0847 | 91218.4134 | -1 | -1
|  | 27 | 2 | 20 | 6 | 4 | 0 | 0 | 0 | 6.5141 | 0 | BB | 1082.936 | 343.5525 | 0.050775 | 0.9837 | 0 |  | -1 | -1 | 2 | -1 | 962 | 1001 | 6.4313 | 6.6353 | 0.0066667 | 50 | -1 | 6.4612 | 0.104 | 118.9496 | 6.4619 | 0.102 | 120.9372 | 6.4721 | 0.083954 | 518.266 | 104.0437 | 535.2024 | 104.7524 | 6.4947 | 327.2735 | 6.5415 | 254.145 | 6.4879 | 0.052667 | 270.0055 | 0.020845 | 0.10184 | 0.24752 | 1083.0772 | 6.514 | 0.0004345 | 9.2235e-07 | 6.131e-07 | 1.0338 | 96242.5384 | 97994.5834 | 84677.2687 | 97658.1922 | 6.1988 | 5.55 | 5.7154 | 5.7397 | -1 | -1 | -1 | -1 | 3.8907 | 1.0848 | -1 | -1 | -1 | 6.5113 | 6.4679 | 0.091333 | 1.0538 | 1.1077 | 89891.5881 | -1 | -1
|  | 20 | 8 | 21 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 104.1599 | 32.9545 | 0.050875 | 0.97879 | 0 |  | -1 | -1 | 8 | -1 | 962 | 1008 | 6.4113 | 6.7112 | 0.0066667 | 57 | -1 | 6.4609 | 0.10444 | 8.6512 | 6.4616 | 0.10296 | 8.8418 | 6.4721 | 0.083976 | 46.999 | 7.2681 | 48.4939 | 7.2401 | 6.4944 | 28.3136 | 6.5409 | 22.2084 | 6.4875 | 0.053333 | 23.1428 | 0.021225 | 0.22835 | 0.95506 | 104.1599 | 6.5143 | 0.00045049 | 2.1834e-06 | 8.0263e-07 | 0.91447 | 96388.6426 | 97361.4263 | 82742.7434 | 94199.2881 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.5179 | 6.4675 | 0.091852 | 0.91176 | 0.82353 | 85209.2552 | -1 | -1
|  | 1 | 3 | 22 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 527.7069 | 167.8717 | 0.050674 | 0.99272 | 0 |  | -1 | -1 | 3 | -1 | 962 | 1001 | 6.4313 | 6.6049 | 0.0066667 | 50 | -1 | 6.4626 | 0.10333 | 100.0072 | 6.4633 | 0.10133 | 100.978 | 6.4722 | 0.083865 | 295.2825 | 91.8454 | 303.2191 | 93.7563 | 6.4947 | 201.0885 | 6.5415 | 166.5239 | 6.4879 | 0.052667 | 173.7924 | 0.020562 | 0.016869 | -0.050491 | 527.6785 | 6.5139 | 0.00042278 | 1.4664e-07 | 5.272e-07 | 0.92683 | 96645.2097 | 99466.4774 | 84850.7543 | 100362.6066 | 6.2239 | 5.9848 | 5.789 | 5.8137 | -1 | -1 | -1 | -1 | 5.0633 | 1.0848 | -1 | -1 | -1 | 6.5179 | 6.4686 | 0.090667 | 0.91892 | 0.83784 | 88193.671 | -1 | -1
|  | 9 | 5 | 23 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 333.4026 | 105.9216 | 0.050722 | 0.98633 | 0 |  | -1 | -1 | 5 | -1 | 962 | 1001 | 6.4246 | 6.6262 | 0.0066667 | 50 | -1 | 6.4619 | 0.10333 | 27.9689 | 6.4626 | 0.10133 | 28.5817 | 6.4722 | 0.083845 | 151.1 | 23.2946 | 156.3801 | 23.6262 | 6.4947 | 91.8132 | 6.5415 | 69.8497 | 6.4879 | 0.052667 | 74.5399 | 0.020734 | 0.066401 | 0.12578 | 333.3671 | 6.5141 | 0.00042989 | 5.9186e-07 | 5.7767e-07 | 0.91566 | 96691.3043 | 99466.4774 | 84850.7543 | 98705.5728 | 6.0122 | 5.094 | 5.5307 | 5.5543 | -1 | -1 | -1 | -1 | 5.0963 | 1.0848 | -1 | -1 | -1 | 6.5179 | 6.4679 | 0.091333 | 0.91333 | 0.82667 | 86340.9637 | -1 | -1
|  | 11 | 6 | 24 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 434.9047 | 138.0128 | 0.050764 | 0.98264 | 0 |  | -1 | -1 | 6 | -1 | 962 | 1004 | 6.4113 | 6.6846 | 0.0066667 | 53 | -1 | 6.4616 | 0.1037 | 19.2648 | 6.4624 | 0.10148 | 20.0634 | 6.4722 | 0.083835 | 179.9455 | 13.4012 | 186.2043 | 13.4145 | 6.4944 | 101.6323 | 6.5412 | 74.4204 | 6.4875 | 0.053333 | 79.9582 | 0.020949 | 0.14919 | 0.54078 | 434.9047 | 6.5142 | 0.00043885 | 1.3716e-06 | 6.8193e-07 | 0.91333 | 96712.9563 | 98757.2713 | 82742.7434 | 96693.6595 | 6.6698 | 7.1285 | 6.1583 | 6.1845 | -1 | -1 | -1 | -1 | 6.887 | 1.0849 | -1 | -1 | -1 | 6.5179 | 6.4675 | 0.091111 | 0.90441 | 0.80882 | 85831.4266 | -1 | -1
|  | 13 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 338.4709 | 107.35 | 0.050785 | 0.98156 | 0 |  | -1 | -1 | 7 | -1 | 961 | 1008 | 6.4046 | 6.7112 | 0.0066667 | 58 | -1 | 6.4609 | 0.10444 | 8.8482 | 6.4624 | 0.10148 | 9.4694 | 6.4722 | 0.083868 | 133.7724 | 4.3058 | 138.7001 | 4.2821 | 6.4944 | 72.7441 | 6.5409 | 52.886 | 6.4875 | 0.053333 | 56.0586 | 0.02101 | 0.16966 | 0.64721 | 338.4708 | 6.5142 | 0.00044141 | 1.5734e-06 | 7.1064e-07 | 0.91333 | 96636.7864 | 97361.4263 | 82742.7434 | 96134.0862 | 6.1238 | 5.2384 | 5.7187 | 5.743 | -1 | -1 | -1 | -1 | 5.3214 | 1.0848 | -1 | -1 | -1 | 6.5179 | 6.4675 | 0.091852 | 0.91176 | 0.82353 | 85209.2552 | -1 | -1
|  | 8 | 4 | 18 | 6 | 4 | 0 | 0 | 0 | 6.5142 | 0 | BB | 332.3219 | 105.7702 | 0.050656 | 0.99376 | 0 |  | -1 | -1 | 4 | -1 | 962 | 1001 | 6.4313 | 6.6039 | 0.0066667 | 50 | -1 | 6.4626 | 0.10333 | 59.5468 | 6.4633 | 0.10133 | 60.1586 | 6.4722 | 0.083821 | 182.5889 | 54.3873 | 187.6177 | 55.6219 | 6.4947 | 123.1316 | 6.5415 | 101.493 | 6.4879 | 0.052667 | 106.0421 | 0.020554 | 0.013968 | -0.051339 | 332.3765 | 6.5139 | 0.00042247 | 1.2129e-07 | 5.2628e-07 | 0.92683 | 96745.1068 | 99466.4774 | 84850.7543 | 100435.7207 | 6.2158 | 5.615 | 5.8265 | 5.8513 | -1 | -1 | -1 | -1 | 5.758 | 1.0848 | -1 | -1 | -1 | 6.5179 | 6.4686 | 0.090667 | 0.91892 | 0.83784 | 88193.671 | -1 | -1
|  | 3 | 1 | 27 | 7 | 3 | 0 | 0 | 0 | 6.9481 | 0 | BB | 52.8667 | 12.8755 | 0.059903 | 1.7523 | 0 |  | -1 | -1 | 1 | -1 | 1023 | 1070 | 6.8179 | 7.0266 | 0.0066667 | 58 | -1 | 6.8527 | 0.17383 | 40.3892 | 6.8535 | 0.16519 | 40.4632 | 6.9047 | 0.083009 | 55.4361 | 39.462 | 55.616 | 40.1472 | 6.9279 | 48.0033 | 6.968 | 47.8475 | 6.9209 | 0.053333 | 46.0191 | 0.034298 | -0.52339 | -0.41243 | 52.7752 | 6.9321 | 0.0011763 | -2.1116e-05 | 3.5805e-06 | 0.8447 | 112201.2726 | 39977.8885 | 94110.5096 | 40851.7452 | 5.1967 | 3.9107 | 4.8157 | 4.8362 | -1 | -1 | -1 | -1 | 3.8014 | 1.0666 | -1 | -1 | -1 | 6.9512 | 6.8579 | 0.13926 | 0.74603 | 0.49206 | 31654.9029 | -1 | -1
|  | 2 | 2 | 26 | 7 | 4 | 0 | 0 | 0 | 6.9491 | 0 | BB | 36.5729 | 9.2634 | 0.058061 | 1.8034 | 0 |  | -1 | -1 | 2 | -1 | 1021 | 1070 | 6.8046 | 7.0067 | 0.0066667 | 60 | -1 | 6.8762 | 0.13043 | 112.3081 | 6.8762 | 0.13043 | 112.3615 | 6.905 | 0.082026 | 123.4814 | 110.5526 | 122.9676 | 112.9722 | 6.9279 | 117.2525 | 6.9681 | 117.9755 | 6.9238 | 0.051667 | 116.3614 | 0.033658 | -0.708 | -0.14356 | 36.2385 | 6.932 | 0.0011329 | -2.6997e-05 | 3.6661e-06 | 0.86955 | 114906.4654 | 71006.4918 | 100280.0851 | 42416.0246 | 5.2423 | 4.6395 | 4.8996 | 4.9204 | -1 | -1 | -1 | -1 | 3.8346 | 1.0668 | -1 | -1 | -1 | 6.9512 | 6.8846 | 0.1221 | 0.91574 | 0.83148 | 55106.1834 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 03:25:27
ResNewDateTime | 03 September 2019 03:25:27
ResModBy | SYSTEM
ResModTime | 09/03/19 03:25:28
ResModDateTime | 03 September 2019 03:25:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7299.9788

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7299.9788

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2922.9533

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1238.3998

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 610.243

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 425.8585

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 450.3956

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 367.6218

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 104.1599

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7299.9788

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2922.9533

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1238.3998

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 610.243

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 425.8585

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 450.3956

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 367.6218

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 104.1599

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 2 | 8 | 1.4652 | 1849.2155 | 70.7859 | 0.31678 | 3.5025 | -12.1855 | 0.76458 | 0 | -46.8931 | 1.6097 | 23.9988 | -5.0289 | 1 | 49.5367 | -84.768 | 0 | 0 | 0
NumberOfCol | 20 | 34 | 8 | 1.9215 | 938.4796 | 35.2037 | 0.43302 | 3.0959 | 10.417 | 1.6097 | 23.9988 | -5.0289 | 2.0449 | 22.6857 | 16.5312 | 1 | 49.5367 | -84.768 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 2.1087 | 676.9445 | 135.9809 | 0.076079 | 0.68784 | 19.6913 | 2.0449 | 22.6857 | 16.5312 | 2.2395 | 7.1054e-15 | 26.171 | 1 | 49.5367 | -84.768 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.4618 | 75.4513 | 5.3992 | 0.17504 | 0.10123 | 66.1325 | 5.4179 | 7.6681e-08 | 67.111 | 5.9171 | 0.0053162 | 61.0368 | 2 | -22.2795 | 187.8195 | 13.2245 | -67.9965 | 5.9313
DateTime |  | 32 | 20 | 6.005 | 2017.0896 | 645.3547 | 0.050465 | 1.1236 | 54.031 | 5.4179 | -1.4211e-14 | 67.111 | 6.4113 | 0 | 44.98 | 1 | -22.2795 | 187.8195 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.514 | 1689.9315 | 535.1254 | 0.050843 | 0.9794 | 43.1268 | 6.4355 | 7.1054e-15 | 44.5745 | 6.6912 | 1.4211e-14 | 39.8588 | 1 | -18.4373 | 163.2276 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.9481 | 52.8667 | 12.8755 | 0.059903 | 1.7523 | 39.8202 | 6.8179 | 0 | 38.7454 | 7.0266 | 0 | 40.4675 | 1 | 8.2539 | -17.5289 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 1.4652 | 784.5212 | 34.9371 | 0.27398 | 4.0974 | 16.5591 | 0.81792 | 0 | -13.8216 | 1.6106 | -7.1054e-15 | 23.3865 | 1 | 46.9371 | -52.2122 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1087 | 366.093 | 81.0879 | 0.070672 | 0.59398 | 33.9187 | 2.0446 | 0 | 37.1914 | 2.2313 | 0 | 27.6599 | 1 | -51.0616 | 141.5911 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.005 | 652.8303 | 198.5638 | 0.052357 | 1.0905 | 102.1276 | 5.5712 | 0 | 99.4697 | 6.1593 | -1.4211e-14 | 103.0737 | 1 | 6.1284 | 65.3269 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.5141 | 1082.936 | 343.5525 | 0.050775 | 0.9837 | 104.3978 | 6.4313 | 0 | 103.6987 | 6.6353 | 0 | 105.4207 | 1 | 8.441 | 49.4129 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.9491 | 36.5729 | 9.2634 | 0.058061 | 1.8034 | 111.8545 | 6.8046 | 0 | 107.5907 | 7.0067 | 1.4211e-14 | 113.5522 | 1 | 29.4979 | -93.1305 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 1.4651 | 83.0223 | 10.6328 | 0.10309 | 0.63273 | 19.0257 | 1.2979 | 0 | 20.8645 | 1.6113 | 0 | 17.4189 | 1 | -10.9967 | 35.1373 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1089 | 199.5421 | 43.86 | 0.071078 | 0.59278 | 21.8648 | 2.0446 | 0 | 23.3288 | 2.2313 | 7.1054e-15 | 19.0806 | 1 | -22.7579 | 69.8592 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.0051 | 428.1285 | 136.4118 | 0.050616 | 1.0161 | 83.4449 | 5.6312 | 0 | 75.9706 | 6.0974 | 0 | 85.291 | 1 | 19.9949 | -36.6254 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.5142 | 527.7069 | 167.8717 | 0.050674 | 0.99272 | 92.8021 | 6.4313 | 0 | 90.9128 | 6.6049 | 0 | 94.8686 | 1 | 22.7852 | -55.6244 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 2.1094 | 115.7022 | 24.8735 | 0.072269 | 0.58645 | 21.8642 | 2.0446 | 3.5527e-15 | 22.2673 | 2.2446 | 3.5527e-15 | 21.0238 | 1 | -6.218 | 34.9805 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.0051 | 162.2188 | 51.0486 | 0.051074 | 1.0563 | 48.784 | 5.8979 | 0 | 47.4315 | 6.0899 | -7.1054e-15 | 49.8537 | 1 | 12.6196 | -26.9976 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5142 | 332.3219 | 105.7702 | 0.050656 | 0.99376 | 55.0055 | 6.4313 | 0 | 53.7839 | 6.6039 | 7.1054e-15 | 56.3274 | 1 | 14.729 | -40.9421 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 2.1097 | 59.9866 | 12.6477 | 0.073333 | 0.57837 | 15.9187 | 2.0379 | 0 | 16.0484 | 2.2646 | 0 | 15.6388 | 1 | -1.8071 | 19.7311 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.0048 | 32.4693 | 8.0831 | 0.058864 | 1.64 | 21.7595 | 5.8979 | 0 | 21.3766 | 6.0803 | 0 | 22.0301 | 1 | 3.5838 | 0.23956 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5142 | 333.4026 | 105.9216 | 0.050722 | 0.98633 | 23.4604 | 6.4246 | 0 | 23.1061 | 6.6262 | 0 | 23.9036 | 1 | 3.9546 | -2.3005 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 6.0046 | 15.4909 | 6.0625 | 0.04181 | 0.79573 | 15.1467 | 5.9646 | 0 | 16.2139 | 6.0646 | 0 | 13.5489 | 1 | -26.6504 | 175.1726 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.5142 | 434.9047 | 138.0128 | 0.050764 | 0.98264 | 13.4078 | 6.4113 | 0 | 13.3915 | 6.6846 | 0 | 13.4349 | 1 | 0.15875 | 12.3737 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 6.0048 | 29.151 | 8.3005 | 0.052973 | 1.2763 | 4.4442 | 5.8979 | 0 | 4.4284 | 6.0846 | 0 | 4.456 | 1 | 0.14816 | 3.5546 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.5142 | 338.4709 | 107.35 | 0.050785 | 0.98156 | 4.2939 | 6.4046 | 0 | 4.3249 | 6.7112 | 0 | 4.2381 | 1 | -0.28299 | 6.1374 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.5142 | 104.1599 | 32.9545 | 0.050875 | 0.97879 | 7.2541 | 6.4113 | 0 | 7.2885 | 6.7112 | 0 | 7.1883 | 1 | -0.33379 | 9.4284 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2