## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567458112
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 75
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 75
Vial | 75
SampleLocation | 75
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 22:01:52
SampleName | CS-135_0075
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 11.9089
DAD1UVBurnTime | 158.5756
DAD1VisOnTime | 11.9083
DAD1VisBurnTime | 144.0867
StartPressure | 26.376
StopPressure | 62.008
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 10 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 29 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 35 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 43 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 7932.182 | 1658.7437 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 5018.9269 | 891.955 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 2109.6806 | 463.8494 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 780.5327 | 224.499 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 500.9775 | 152.9295 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 512.5874 | 168.3951 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 399.9967 | 132.1 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0075.D | 139.8807 | 46.6161 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 44 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31927 | 0 | BB | 153.4412 | 31.8063 | 0.068283 | 1.1548 | 0 |  | -1 | -1 | 4 | -1 | 28 | 80 | 0.21042 | 0.43708 | 0.0066667 | 63 | -1 | 0.21042 | 0.155 | 50.7921 | 0.21042 | 0.155 | 50.981 | 0.27167 | 0.097091 | 84.4237 | 58.4937 | 95.954 | 41.5549 | 0.30689 | 77.6765 | 0.34747 | 64.9609 | 0.21042 | 0.1375 | 65.1472 | 0.037274 | -0.17636 | -0.11097 | 153.4412 | 0.31362 | 0.0013893 | -9.1328e-06 | 5.5765e-06 | 0.68382 | 177.9038 | 109.0677 | 30.7131 | 70.794 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.21042 | 0.1525 | 0.67279 | 0.34559 | 45.3562 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32245 | 0 | BB | 830.3862 | 85.6206 | 0.12715 | 1.7828 | 0 |  | -1 | -1 | 3 | -1 | 10 | 107 | 0.06375 | 0.49042 | 0.0066667 | 108 | -1 | 0.06375 | 0.34133 | 61.1871 | 0.06375 | 0.34 | 61.6992 | 0.23296 | 0.16996 | 147.585 | 77.7796 | 163.0313 | 39.6897 | 0.30701 | 135.543 | 0.35144 | 118.5891 | 0.06375 | 0.30267 | 100.1004 | 0.077429 | -0.44333 | -0.35989 | 830.3862 | 0.28604 | 0.0059952 | -0.0002058 | 9.4893e-05 | 0.65385 | 58.0586 | 22.4907 | 6.3387 | 13.6474 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.06375 | 0.33467 | 0.64359 | 0.28718 | 8.2466 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32316 | 0 | BB | 68.548 | 17.9351 | 0.05659 | 1.4916 | 0 |  | -1 | -1 | 5 | -1 | 29 | 75 | 0.19042 | 0.42375 | 0.0066667 | 57 | -1 | 0.19042 | 0.17259 | 22.1273 | 0.19042 | 0.17259 | 22.2324 | 0.28721 | 0.074168 | 42.577 | 23.014 | 48.297 | 19.651 | 0.30737 | 33.9822 | 0.34751 | 30.049 | 0.29486 | 0.052593 | 30.1095 | 0.035469 | -0.84233 | 0.42866 | 68.548 | 0.30964 | 0.0012581 | -3.7587e-05 | 5.4266e-06 | 0.64722 | 304.8662 | 87.9661 | 209.9327 | 76.2101 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.19042 | 0.17037 | 0.63889 | 0.27778 | 31.0474 | -1 | -1
Modified | 1 | 23 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32604 | 0 | BB | 42.5837 | 14.0359 | 0.047396 | 1.2553 | 0 |  | -1 | -1 | 6 | -1 | 28 | 72 | 0.18375 | 0.41708 | 0.0066667 | 55 | -1 | 0.18375 | 0.18222 | 12.9911 | 0.18375 | 0.18148 | 13.0738 | 0.2943 | 0.066306 | 30.3469 | 12.7454 | 33.54 | 12.0838 | 0.30748 | 20.0521 | 0.34744 | 20.2565 | 0.30449 | 0.044444 | 19.2725 | 0.029739 | -1.4869 | 2.6593 | 42.5837 | 0.31781 | 0.00088442 | -3.9108e-05 | 4.4267e-06 | 0.61869 | 397.3233 | 82.198 | 306.1954 | 114.2 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.18375 | 0.17926 | 0.61111 | 0.22222 | 24.6393 | -1 | -1
NextPeakSignal_ | Peak | 30 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32644 | 0 | BB | 35.4147 | 12.6152 | 0.044752 | 1.1016 | 0 |  | -1 | -1 | 7 | -1 | 32 | 71 | 0.21042 | 0.41042 | 0.0066667 | 50 | -1 | 0.21042 | 0.15533 | 4.0529 | 0.21042 | 0.15467 | 4.1274 | 0.29516 | 0.065189 | 19.9645 | 3.7539 | 22.4172 | 3.2966 | 0.30687 | 9.8255 | 0.34686 | 10.8994 | 0.30508 | 0.044667 | 9.7145 | 0.023298 | -1.317 | 2.7425 | 35.4147 | 0.32251 | 0.00054281 | -1.6656e-05 | 1.692e-06 | 0.64444 | 411.0513 | 113.1187 | 303.1563 | 191.6233 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.26242 | 0.10067 | 0.7402 | 0.48039 | 134.8439 | -1 | -1
Signal_ | Signal | 38 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32673 | 0 | BB | 35.1547 | 12.4761 | 0.044874 | 1.0961 | 0 |  | -1 | -1 | 8 | -1 | 32 | 71 | 0.21042 | 0.41708 | 0.0066667 | 50 | -1 | 0.21042 | 0.156 | 7.2709 | 0.21042 | 0.15533 | 7.3447 | 0.2952 | 0.065588 | 22.9698 | 6.9593 | 25.2887 | 6.5316 | 0.30687 | 12.8836 | 0.34686 | 14.204 | 0.30575 | 0.044 | 12.88 | 0.023274 | -1.2804 | 2.7324 | 35.1547 | 0.323 | 0.00054169 | -1.6142e-05 | 1.682e-06 | 0.64722 | 406.0662 | 112.154 | 312.4124 | 192.5978 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.26642 | 0.096667 | 0.75521 | 0.51042 | 151.814 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33655 | 0 | BB | 1527.2021 | 145.3553 | 0.14258 | 1.9369 | 0 |  | -1 | -1 | 2 | -1 | 1 | 116 | 0.00375 | 0.51042 | 0.0066667 | 121 | -1 | 0.030417 | 0.4 | 47.2302 | 0.030417 | 0.39833 | 48.0962 | 0.24407 | 0.19086 | 200.4464 | 63.4711 | 204.481 | 17.1164 | 0.31149 | 163.334 | 0.37832 | 124.9308 | 0.030417 | 0.355 | 113.0408 | 0.09324 | -0.6254 | -0.20592 | 1527.2021 | 0.28653 | 0.0086937 | -0.00050695 | 0.00021118 | 0.64946 | 49.9083 | 17.7539 | 4.9949 | 9.4436 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33708 | 0.030417 | 0.39333 | 0.6413 | 0.28261 | 6.3958 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34443 | 0 | BB | 1511.0555 | 169.2097 | 0.12418 | 1.5926 | 0 |  | -1 | -1 | 1 | -1 | 1 | 109 | 0.00375 | 0.52375 | 0.0066667 | 114 | -1 | 0.030417 | 0.415 | -8.7265 | 0.030417 | 0.41333 | -7.7251 | 0.27029 | 0.16948 | 174.4048 | -3.2333 | 172.8515 | -32.8467 | 0.31665 | 107.8588 | 0.38027 | 95.5178 | 0.29208 | 0.10167 | 67.3807 | 0.090511 | -0.84054 | 0.29792 | 1511.0556 | 0.3073 | 0.0081922 | -0.00062325 | 0.00022133 | 0.65957 | 65.825 | 17.1526 | 63.3342 | 11.5272 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34375 | 0.030417 | 0.40667 | 0.64894 | 0.29787 | 6.4671 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4629 | 0 | BB | 85.276 | 10.7783 | 0.1043 | 0.66377 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2971 | 1.6102 | 0.0066667 | 90 | -1 | 1.2971 | 0.296 | 18.5605 | 1.2971 | 0.296 | 18.6242 | 1.4057 | 0.19608 | 30.5854 | 18.6936 | 44.1269 | 16.6668 | 1.4399 | 25.7984 | 1.5859 | 19.8101 | 1.4251 | 0.10667 | 23.3981 | 0.062391 | -0.26698 | -0.41781 | 85.3525 | 1.4779 | 0.0038926 | -6.4839e-05 | 3.9126e-05 | 0.888 | 891.5995 | 611.3509 | 1043.2446 | 561.0792 | 6.2315 | 4.4737 | 3.2738 | 3.2878 | -1 | -1 | -1 | -1 | 4.262 | 4.537 | -1 | -1 | -1 | 1.4638 | 1.2971 | 0.29333 | 0.88 | 0.76 | 404.6935 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.463 | 0 | BB | 751.6196 | 35.0887 | 0.26191 | 3.8829 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.83708 | 1.6063 | 0.0066667 | 127 | -1 | 1.1321 | 0.47422 | 17.2664 | 1.1338 | 0.47255 | 17.4743 | 1.3709 | 0.22762 | 54.6584 | 11.1373 | 82.7627 | 22.4306 | 1.44 | 43.7878 | 1.5821 | 29.7768 | 1.3571 | 0.21833 | 33.0659 | 0.16965 | -0.30344 | -0.90121 | 750.0916 | 1.3004 | 0.02878 | -0.0014815 | 0.0017384 | 0.71599 | 661.6557 | 238.1854 | 249.0024 | 58.7569 | 5.3835 | 3.2213 | 2.3086 | 2.3184 | -1 | -1 | -1 | -1 | 1.9283 | 4.3471 | -1 | -1 | -1 | 1.4638 | 1.1538 | 0.45255 | 0.72992 | 0.45985 | 127.3847 | -1 | -1
|  | 15 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.463 | 0 | BB | 1208.1558 | 51.3797 | 0.28633 | 4.3553 | 0 |  | -1 | -1 | 1 | -1 | 121 | 242 | 0.80375 | 1.6053 | 0.0066667 | 132 | -1 | 1.1287 | 0.47658 | 8.8071 | 1.1304 | 0.47492 | 9.1117 | 1.3645 | 0.23331 | 63.2387 | -1.6503 | 103.8168 | 17.6806 | 1.4401 | 48.159 | 1.5812 | 28.2936 | 1.3454 | 0.23 | 31.9533 | 0.17559 | -0.26221 | -0.91871 | 1207.9312 | 1.2845 | 0.030831 | -0.0014195 | 0.0019784 | 0.71238 | 629.774 | 235.8271 | 224.3819 | 53.5155 | 5.5544 | 3.1366 | 3.9629 | 3.9798 | -1 | -1 | -1 | -1 | 1.8362 | 4.2478 | -1 | -1 | -1 | 1.4638 | 1.1504 | 0.45492 | 0.72593 | 0.45187 | 124.6652 | -1 | -1
|  | 25 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.07 | 0 | BB | 62.7493 | 13.1975 | 0.073471 | 0.57707 | 0 |  | -1 | -1 | 5 | -1 | 289 | 345 | 1.9971 | 2.2838 | 0.0066667 | 67 | -1 | 2.0161 | 0.16476 | 15.6245 | 2.0171 | 0.16095 | 15.7029 | 2.0221 | 0.12996 | 31.9648 | 14.997 | 29.6903 | 15.1381 | 2.0411 | 21.7215 | 2.1014 | 24.1091 | 2.0399 | 0.07619 | 21.5832 | 0.03403 | 0.79015 | 1.0712 | 62.7493 | 2.0847 | 0.0011581 | 3.1139e-05 | 5.4598e-06 | 1.5089 | 4060.5784 | 3947.6797 | 4090.9474 | 3752.7108 | 17.1145 | 12.9449 | 15.9377 | 16.0055 | -1 | -1 | -1 | -1 | 12.7701 | 6.4054 | -1 | -1 | -1 | 2.0704 | 2.0209 | 0.14095 | 1.4231 | 1.8462 | 2905.9237 | -1 | -1
|  | 26 | 4 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0701 | 0 | BB | 128.9789 | 26.7007 | 0.074356 | 0.56457 | 0 |  | -1 | -1 | 4 | -1 | 289 | 345 | 1.9971 | 2.2771 | 0.0066667 | 67 | -1 | 2.0161 | 0.17905 | 22.9283 | 2.0171 | 0.17143 | 23.0869 | 2.0221 | 0.13099 | 56.0495 | 21.5868 | 51.3292 | 22.0691 | 2.0411 | 35.2118 | 2.1015 | 40.2543 | 2.0399 | 0.077143 | 34.9856 | 0.035544 | 0.88554 | 1.274 | 128.9789 | 2.0859 | 0.0012634 | 3.9764e-05 | 6.8215e-06 | 1.6071 | 3997.0891 | 3342.8618 | 3990.5599 | 3444.1441 | 15.3526 | 13.1031 | 9.5844 | 9.6252 | -1 | -1 | -1 | -1 | 12.1697 | 6.4838 | -1 | -1 | -1 | 2.0704 | 2.0218 | 0.14476 | 1.4902 | 1.9804 | 2640.5095 | -1 | -1
|  | 27 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0703 | 0 | BB | 239.5073 | 48.3918 | 0.075742 | 0.54565 | 0 |  | -1 | -1 | 3 | -1 | 288 | 346 | 1.9971 | 2.2762 | 0.0066667 | 69 | -1 | 2.0171 | 0.25914 | 27.4843 | 2.018 | 0.25819 | 27.7718 | 2.0221 | 0.1325 | 87.7256 | 24.7836 | 78.7658 | 26.4059 | 2.041 | 49.4063 | 2.1018 | 59.215 | 2.0399 | 0.079048 | 49.34 | 0.038045 | 1.0129 | 1.5264 | 239.6019 | 2.0881 | 0.0014474 | 5.5775e-05 | 9.4829e-06 | 2.4645 | 3906.8666 | 1595.7936 | 3800.5608 | 3012.2678 | 3.697 | 2.7352 | 3.8428 | 3.8592 | -1 | -1 | -1 | -1 | 3.0378 | 1.4152 | -1 | -1 | -1 | 2.0704 | 2.0218 | 0.15429 | 1.5882 | 2.1765 | 2191.5588 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0703 | 0 | BB | 673.5591 | 134.4875 | 0.076431 | 0.5367 | 0 |  | -1 | -1 | 1 | -1 | 288 | 346 | 1.9971 | 2.2794 | 0.0066667 | 69 | -1 | 2.0171 | 0.26233 | 53.137 | 2.018 | 0.26138 | 53.9363 | 2.022 | 0.13324 | 220.6981 | 45.5146 | 195.4969 | 50.3606 | 2.0409 | 114.1134 | 2.1018 | 141.763 | 2.0399 | 0.079048 | 113.8855 | 0.038986 | 1.0387 | 1.5307 | 672.8652 | 2.0889 | 0.0015199 | 6.1546e-05 | 1.0466e-05 | 2.495 | 3863.4576 | 1557.2502 | 3800.5608 | 2870.8098 | 3.3136 | 2.0547 | 2.309 | 2.3188 | -1 | -1 | -1 | -1 | 1.8743 | 1.4151 | -1 | -1 | -1 | 2.0704 | 2.0218 | 0.15905 | 1.6373 | 2.2745 | 2004.9267 | -1 | -1
|  | 18 | 2 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0704 | 0 | BB | 452.7283 | 90.3439 | 0.076464 | 0.53652 | 0 |  | -1 | -1 | 2 | -1 | 288 | 346 | 1.9971 | 2.2774 | 0.0066667 | 69 | -1 | 2.0171 | 0.26029 | 46.7866 | 2.018 | 0.25934 | 47.3235 | 2.022 | 0.13329 | 159.4177 | 41.5576 | 142.3875 | 45.1161 | 2.0409 | 87.6271 | 2.1018 | 106.43 | 2.0399 | 0.079048 | 87.5947 | 0.039119 | 1.0429 | 1.5318 | 452.67 | 2.089 | 0.0015303 | 6.2431e-05 | 1.0612e-05 | 2.4755 | 3860.2926 | 1581.7833 | 3800.5608 | 2851.7841 | 3.3659 | 2.0674 | 2.3999 | 2.4102 | -1 | -1 | -1 | -1 | 1.8888 | 1.4152 | -1 | -1 | -1 | 2.0704 | 2.0218 | 0.1619 | 1.6667 | 2.3333 | 1903.0277 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 3.7257 | 0 | BV | 244.7874 | 24.8242 | 0.16304 | 0.88439 | 0 |  | -1 | -1 | 1 | -1 | 510 | 585 | 3.5704 | 3.8885 | 0.0066667 | 86 | -1 | 3.5704 | 0.29333 | 61.4619 | 3.5704 | 0.29222 | 61.6106 | 3.5971 | 0.26578 | 91.5499 | 62.1385 | 92.6229 | 58.4309 | 3.6459 | 73.2947 | 3.8057 | 72.6795 | 3.6426 | 0.16333 | 72.7621 | 0.056709 | 0.0010184 | -0.59421 | 223.848 | 3.727 | 0.0032159 | 1.8572e-07 | 2.4881e-05 | 0.9529 | 3140.8355 | 4028.8238 | 2879.5269 | 4319.2716 | 8.2974 | 7.4478 | 8.0249 | 8.0591 | -1 | -1 | -1 | -1 | 8.5591 | 1.7996 | -1 | 11.3259 | 11.3259 | 3.7237 | 3.5838 | 0.26889 | 0.96032 | 0.92063 | 3423.2615 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 3.7323 | 0 | BB | 164.9004 | 17.4329 | 0.15836 | 1.0695 | 0 |  | -1 | -1 | 2 | -1 | 513 | 584 | 3.5704 | 3.887 | 0.0066667 | 82 | -1 | 3.6037 | 0.28328 | 70.5546 | 3.6049 | 0.28217 | 70.6592 | 3.5998 | 0.25746 | 92.5192 | 68.7715 | 92.0842 | 70.7737 | 3.6484 | 77.4803 | 3.808 | 79.1704 | 3.6538 | 0.15889 | 78.5061 | 0.056842 | -0.004552 | -0.59613 | 164.6624 | 3.7295 | 0.0032311 | -8.3603e-07 | 2.5096e-05 | 1.1237 | 3359.1332 | 4335.2384 | 3053.7775 | 4304.8253 | 8.5064 | 7.6436 | 8.2071 | 8.242 | -1 | -1 | -1 | -1 | 8.5476 | 1.8027 | -1 | -1 | -1 | 3.7304 | 3.6115 | 0.25667 | 1.0794 | 1.1589 | 3656.7638 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 4.09 | 0 | VB | 526.4951 | 39.9101 | 0.20991 | 0.90792 | 0 |  | -1 | -1 | 1 | -1 | 584 | 709 | 3.8885 | 4.3571 | 0.0066667 | 136 | -1 | 3.8885 | 0.39359 | 57.0124 | 3.8885 | 0.39192 | 57.2518 | 3.9126 | 0.37045 | 102.7148 | 57.7371 | 102.2676 | 52.5693 | 3.9818 | 75.2892 | 4.1685 | 82.0714 | 3.9804 | 0.21667 | 75.2096 | 0.08061 | 0.12781 | -0.48005 | 495.3309 | 4.0986 | 0.006498 | 6.6948e-05 | 0.0001064 | 0.97048 | 1950.7317 | 2700.1472 | 1974.516 | 2585.1421 | 1.1451 | 1.3258 | 1.1264 | 1.1312 | -1 | -1 | -1 | -1 | 1.353 | 1.0978 | 18.2087 | -1 | 18.2087 | 4.0904 | 3.8885 | 0.38026 | 0.94159 | 0.88317 | 2025.4675 | -1 | -1
|  | 24 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 4.0998 | 0 | BB | 398.4012 | 30.3411 | 0.20519 | 0.8835 | 0 |  | -1 | -1 | 2 | -1 | 584 | 709 | 3.8904 | 4.3771 | 0.0066667 | 136 | -1 | 3.9171 | 0.40667 | 72.3856 | 3.9188 | 0.40167 | 72.5675 | 3.9242 | 0.37362 | 107.4951 | 71.0133 | 105.9639 | 71.096 | 3.9977 | 86.2939 | 4.1755 | 92.6268 | 3.9971 | 0.21667 | 86.211 | 0.083075 | 0.14653 | -0.4511 | 398.4013 | 4.109 | 0.0069014 | 8.4013e-05 | 0.0001214 | 1.1262 | 1924.063 | 2537.5374 | 1980.9575 | 2446.4231 | 1.1646 | 1.3315 | 1.1497 | 1.1546 | -1 | -1 | -1 | -1 | 1.3561 | 1.0985 | -1 | -1 | -1 | 4.0971 | 3.9321 | 0.36667 | 1.1111 | 1.2222 | 2105.985 | -1 | -1
|  | 22 | 1 | 21 | 6 | 3 | 0 | 0 | 0 | 5.4542 | 0 | BB | 59.7207 | 7.4792 | 0.10516 | 0.20934 | 0 |  | -1 | -1 | 1 | -1 | 787 | 867 | 5.4037 | 5.7638 | 0.0066667 | 91 | -1 | 5.4037 | 0.14 | 69.8048 | 5.4037 | 0.13867 | 69.8473 | 5.4158 | 0.098543 | 78.5076 | 70.8646 | 78.0048 | 66.9566 | 5.4315 | 73.9891 | 5.472 | 74.7304 | 5.4251 | 0.06 | 73.039 | 0.072132 | 0.55875 | -0.59739 | 59.7207 | 5.5272 | 0.0052031 | 0.00020971 | 6.5043e-05 | 1.4857 | 48946.7924 | 37891.604 | 45715.8366 | 5871.4481 | 5.8176 | 6.3916 | 5.7937 | 5.8184 | -1 | -1 | -1 | -1 | 4.6765 | 1.3335 | -1 | -1 | -1 | 5.4504 | 5.4037 | 0.13333 | 1.4286 | 1.8571 | 22426.2528 | -1 | -1
|  | 29 | 1 | 23 | 7 | 3 | 0 | 0 | 0 | 5.8162 | 0 | BV E | 53.7079 | 20.7837 | 0.042148 | 0.98989 | 0 |  | -1 | -1 | 1 | -1 | 866 | 881 | 5.7704 | 5.8637 | 0.0066667 | 26 | -1 | 5.7708 | 0.092982 | 56.8477 | 5.7736 | 0.090175 | 56.9708 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.7939 | 0.042807 | 66.2065 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.0363 | -1 | 97847.2738 | 102303.4769 | -1 | -1 | 3.8842 | 4.1372 | 4.1548 | -1 | -1 | -1 | -1 | -1 | 1.0664 | -1 | -1 | -1 | 5.8171 | 5.7795 | 0.070877 | 0.94393 | 0.88785 | 118203.2597 | -1 | -1
|  | 31 | 6 | 24 | 7 | 4 | 0 | 0 | 0 | 5.8165 | 0 | BV | 9.1918 | 3.491 | 0.042719 | 0.98762 | 0 |  | -1 | -1 | 6 | -1 | 860 | 881 | 5.7638 | 5.8611 | 0.0066667 | 32 | -1 | 5.7775 | 0.083609 | 12.3838 | 5.7779 | 0.083192 | 12.4045 | 5.7815 | 0.068864 | 16.9501 | 12.2092 | 16.6501 | 12.2528 | 5.7922 | 13.662 | 5.8322 | 14.6122 | 5.7942 | 0.04375 | 13.9597 | 0.015398 | 0.032597 | -0.508 | 8.54 | 5.8158 | 0.0002371 | 1.1901e-07 | 1.4009e-07 | 1.062 | 114167.4034 | 121017.1184 | 97940.9294 | 142653.8327 | 81.238 | 51.6349 | 73.1486 | 73.4599 | -1 | -1 | -1 | -1 | 60.9028 | 17.8399 | -1 | 14.2536 | 14.2536 | 5.8171 | 5.7808 | 0.07375 | 1.0172 | 1.0345 | 113562.4339 | -1 | -1
|  | 28 | 2 | 25 | 7 | 4 | 0 | 0 | 0 | 5.8167 | 0 | BV E | 35.7101 | 13.724 | 0.042357 | 1.0265 | 0 |  | -1 | -1 | 2 | -1 | 860 | 881 | 5.7704 | 5.8637 | 0.0066667 | 32 | -1 | 5.7775 | 0.08625 | 102.3961 | 5.7779 | 0.085833 | 102.4774 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.7946 | 0.043333 | 108.5752 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.0957 | -1 | 113718.8775 | 99833.464 | -1 | -1 | 8.7077 | 7.759 | 7.792 | -1 | -1 | -1 | -1 | -1 | 1.4188 | -1 | -1 | -1 | 5.8171 | 5.7808 | 0.07125 | 0.98276 | 0.96552 | 121605.9838 | -1 | -1
|  | 34 | 5 | 26 | 7 | 4 | 0 | 0 | 0 | 5.8167 | 0 | BV | 10.3697 | 3.9435 | 0.042678 | 1.0337 | 0 |  | -1 | -1 | 5 | -1 | 860 | 881 | 5.7638 | 5.8609 | 0.0066667 | 32 | -1 | 5.7792 | 0.081751 | 20.7128 | 5.7796 | 0.081334 | 20.7362 | 5.7814 | 0.068743 | 25.9137 | 20.4238 | 25.5024 | 20.6497 | 5.7922 | 22.1029 | 5.8322 | 23.255 | 5.7946 | 0.04375 | 22.4929 | 0.015419 | 0.035879 | -0.50268 | 9.6751 | 5.8157 | 0.00023776 | 1.3154e-07 | 1.4117e-07 | 1.0845 | 114569.1973 | 126580.1127 | 97940.9294 | 142255.6373 | 37.7106 | 37.997 | 36.7046 | 36.8608 | -1 | -1 | -1 | -1 | 37.7257 | 2.81 | -1 | 14.8119 | 14.8119 | 5.8171 | 5.7821 | 0.075 | 1.0714 | 1.1429 | 104835.2482 | -1 | -1
|  | 33 | 4 | 27 | 7 | 4 | 0 | 0 | 0 | 5.8172 | 0 | BV E | 12.4364 | 4.7949 | 0.042259 | 1.1129 | 0 |  | -1 | -1 | 4 | -1 | 860 | 881 | 5.7638 | 5.8637 | 0.0066667 | 32 | -1 | 5.7817 | 0.082083 | 47.3624 | 5.7821 | 0.081667 | 47.3909 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.7954 | 0.04375 | 49.5284 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.1667 | -1 | 125556.9659 | 97940.9294 | -1 | -1 | 35.8736 | 36.4192 | 36.5742 | -1 | -1 | -1 | -1 | -1 | 2.8101 | -1 | -1 | -1 | 5.8171 | 5.7842 | 0.079583 | 1.2089 | 1.4177 | 83514.5577 | -1 | -1
|  | 32 | 3 | 22 | 7 | 4 | 0 | 0 | 0 | 5.8173 | 0 | BV E | 19.4811 | 7.529 | 0.042187 | 1.1092 | 0 |  | -1 | -1 | 3 | -1 | 860 | 881 | 5.7704 | 5.8637 | 0.0066667 | 32 | -1 | 5.7817 | 0.082083 | 82.4089 | 5.7821 | 0.081667 | 82.4536 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.7954 | 0.04375 | 85.8095 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.1667 | -1 | 125556.9659 | 97940.9294 | -1 | -1 | 27.4522 | 35.8531 | 36.0057 | -1 | -1 | -1 | -1 | -1 | 2.8098 | -1 | -1 | -1 | 5.8171 | 5.7838 | 0.08 | 1.2 | 1.4 | 83199.5694 | -1 | -1
|  | 36 | 2 | 30 | 8 | 4 | 0 | 0 | 0 | 5.9118 | 0 | VB R | 587.9182 | 199.5319 | 0.048376 | 1.2193 | 0 |  | -1 | -1 | 2 | -1 | 866 | 910 | 5.7704 | 6.0432 | 0.0066667 | 55 | -1 | 5.8667 | 0.098519 | 110.3821 | 5.8675 | 0.096296 | 111.5435 | 5.8738 | 0.077578 | 354.1438 | 101.8264 | 345.0056 | 101.9086 | 5.8875 | 192.9821 | 5.9336 | 211.5152 | 5.8875 | 0.04963 | 198.6485 | 0.029816 | -1.4824 | 3.7818 | 623.6353 | 5.9081 | 0.00088902 | -3.9294e-05 | 5.3601e-06 | 1.1207 | 92869.9211 | 89978.8546 | 78571.2917 | 39262.7336 | -1 | 1.2879 | 1.2031 | 1.2082 | -1 | -1 | -1 | -1 | -1 | 1.0164 | 54.4373 | -1 | 54.4373 | 5.9104 | 5.8712 | 0.085926 | 1.0943 | 1.1887 | 80903.8387 | -1 | -1
|  | 35 | 1 | 28 | 8 | 3 | 0 | 0 | 0 | 5.9119 | 0 | VB R | 1922.3069 | 649.418 | 0.048534 | 1.0311 | 0 |  | -1 | -1 | 1 | -1 | 866 | 910 | 5.7704 | 6.0504 | 0.0066667 | 55 | -1 | 5.8667 | 0.098519 | 81.1134 | 5.8675 | 0.096296 | 84.8927 | 5.8737 | 0.078013 | 872.3858 | 54.3146 | 843.8702 | 52.3708 | 5.8875 | 351.7254 | 5.9336 | 412.3938 | 5.8875 | 0.04963 | 368.3373 | 0.025293 | -1.1969 | 4.6309 | 1976.0148 | 5.9111 | 0.00063975 | -1.9368e-05 | 3.1232e-06 | 1.1207 | 91838.0709 | 89978.8546 | 78571.2917 | 54616.394 | -1 | 1.2489 | 1.216 | 1.2212 | -1 | -1 | -1 | -1 | -1 | 1.0164 | 55.7391 | -1 | 55.7391 | 5.9104 | 5.8712 | 0.085926 | 1.0943 | 1.1887 | 80903.8387 | -1 | -1
|  | 42 | 7 | 31 | 8 | 4 | 0 | 0 | 0 | 5.9119 | 0 | BB | 23.6428 | 8.2186 | 0.047562 | 0.89915 | 0 |  | -1 | -1 | 7 | -1 | 873 | 910 | 5.8571 | 5.9904 | 0.0066667 | 48 | -1 | 5.868 | 0.093939 | 3.7989 | 5.8686 | 0.092121 | 3.8467 | 5.8743 | 0.076774 | 13.8957 | 3.4901 | 13.5235 | 3.4014 | 5.887 | 7.0017 | 5.9339 | 7.8332 | 5.888 | 0.048485 | 7.4316 | 0.018586 | 0.24683 | -0.14239 | 23.6428 | 5.9136 | 0.00034545 | 1.5848e-06 | 3.4101e-07 | 1.1014 | 94825.3792 | 98964.7878 | 82325.405 | 101230.7883 | 78.6882 | 56.0171 | 70.4537 | 70.7535 | -1 | -1 | -1 | -1 | 66.7434 | 18.1102 | -1 | -1 | -1 | 5.9104 | 5.8722 | 0.08303 | 1.0873 | 1.1746 | 87148.183 | -1 | -1
|  | 41 | 6 | 32 | 8 | 4 | 0 | 0 | 0 | 5.9119 | 0 | VB | 22.9546 | 7.8617 | 0.048064 | 0.92149 | 0 |  | -1 | -1 | 6 | -1 | 880 | 910 | 5.8611 | 5.9884 | 0.0066667 | 41 | -1 | 5.8668 | 0.097436 | 12.6264 | 5.8673 | 0.095897 | 12.6722 | 5.8738 | 0.077497 | 22.2697 | 12.2676 | 21.8982 | 12.3167 | 5.8862 | 15.5454 | 5.9344 | 16.4142 | 5.8879 | 0.048718 | 16.1038 | 0.018356 | 0.24094 | -0.19089 | 22.0522 | 5.9109 | 0.00033694 | 1.4902e-06 | 3.1892e-07 | 1.1131 | 93064.4713 | 91989.4932 | 81539.4868 | 103694.3423 | 1.303 | 1.3167 | 1.2117 | 1.2168 | -1 | -1 | -1 | -1 | 1.4094 | 1.0164 | 32.0995 | -1 | 32.0995 | 5.9104 | 5.8714 | 0.085128 | 1.0921 | 1.1842 | 82578.5328 | -1 | -1
|  | 37 | 3 | 33 | 8 | 4 | 0 | 0 | 0 | 5.9119 | 0 | VB R | 404.9224 | 137.6992 | 0.048307 | 1.1518 | 0 |  | -1 | -1 | 3 | -1 | 866 | 910 | 5.7704 | 6.0036 | 0.0066667 | 55 | -1 | 5.8675 | 0.099259 | 89.4529 | 5.8682 | 0.097037 | 90.2544 | 5.8739 | 0.077494 | 257.9294 | 82.9898 | 251.2722 | 84.2313 | 5.8876 | 145.9594 | 5.9336 | 159.5839 | 5.8882 | 0.048889 | 150.3633 | 0.028102 | -1.4855 | 4.2611 | 424.4186 | 5.9091 | 0.00078972 | -3.2967e-05 | 4.5284e-06 | 1.1491 | 93072.2517 | 88640.8977 | 80970.2775 | 44215.4624 | -1 | 1.3047 | 1.2003 | 1.2054 | -1 | -1 | -1 | -1 | -1 | 1.0163 | 57.012 | -1 | 57.012 | 5.9104 | 5.8719 | 0.085926 | 1.1154 | 1.2308 | 79531.1832 | -1 | -1
|  | 40 | 4 | 34 | 8 | 4 | 0 | 0 | 0 | 5.912 | 0 | VB R | 151.652 | 51.6226 | 0.048273 | 1.3709 | 0 |  | -1 | -1 | 4 | -1 | 865 | 910 | 5.7638 | 5.9963 | 0.0066667 | 56 | -1 | 5.8675 | 0.10074 | 50.3949 | 5.8682 | 0.098519 | 50.6954 | 5.8739 | 0.077477 | 113.6294 | 47.785 | 111.0107 | 48.6471 | 5.8875 | 71.3215 | 5.9336 | 76.8158 | 5.8882 | 0.048889 | 73.2284 | 0.032137 | -1.5235 | 3.0814 | 164.1668 | 5.9061 | 0.0010328 | -5.0566e-05 | 6.4868e-06 | 1.1667 | 93111.9909 | 86052.9822 | 80970.2775 | 33774.9155 | -1 | 1.296 | 1.2021 | 1.2073 | -1 | -1 | -1 | -1 | -1 | 1.0163 | 54.55 | -1 | 54.55 | 5.9104 | 5.8719 | 0.085926 | 1.1154 | 1.2308 | 79531.1832 | -1 | -1
|  | 39 | 5 | 29 | 8 | 4 | 0 | 0 | 0 | 5.912 | 0 | VB | 23.7159 | 8.1059 | 0.048134 | 0.92926 | 0 |  | -1 | -1 | 5 | -1 | 880 | 910 | 5.8609 | 5.9859 | 0.0066667 | 41 | -1 | 5.8684 | 0.10154 | 21.1937 | 5.8689 | 0.098974 | 21.2409 | 5.8737 | 0.077616 | 31.1723 | 20.7271 | 30.715 | 20.9822 | 5.8862 | 24.1501 | 5.9344 | 25.1654 | 5.8884 | 0.048718 | 24.7792 | 0.01843 | 0.25268 | -0.16933 | 22.7668 | 5.9108 | 0.00033965 | 1.5817e-06 | 3.2655e-07 | 1.1914 | 92780.8663 | 84706.1704 | 81539.4868 | 102863.4771 | 1.3024 | 1.3 | 1.2111 | 1.2163 | -1 | -1 | -1 | -1 | 1.4043 | 1.0164 | 30.446 | -1 | 30.446 | 5.9104 | 5.8725 | 0.086154 | 1.1351 | 1.2703 | 77871.0077 | -1 | -1
|  | 43 | 1 | 36 | 9 | 3 | 0 | 0 | 0 | 6.4124 | 0 | BB | 1697.0902 | 553.5574 | 0.047768 | 0.93848 | 0 |  | -1 | -1 | 1 | -1 | 948 | 987 | 6.3375 | 6.5704 | 0.0066667 | 50 | -1 | 6.3624 | 0.10133 | 67.5452 | 6.3637 | 0.099333 | 70.7581 | 6.3727 | 0.080706 | 720.2987 | 44.5711 | 736.1783 | 43.3161 | 6.3939 | 406.8427 | 6.4336 | 377.6358 | 6.3871 | 0.051333 | 311.7261 | 0.020531 | 0.3006 | 0.83545 | 1697.1487 | 6.4137 | 0.00042153 | 2.6015e-06 | 6.8152e-07 | 1.0643 | 100943.6492 | 100047.875 | 86393.9539 | 97586.7397 | 6.3067 | 6.2608 | 5.8247 | 5.8495 | -1 | -1 | -1 | -1 | 5.4846 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3684 | 0.088667 | 1.0556 | 1.1111 | 92314.8108 | -1 | -1
|  | 44 | 2 | 37 | 9 | 4 | 0 | 0 | 0 | 6.4124 | 0 | BB | 1088.8638 | 355.6685 | 0.047717 | 0.94135 | 0 |  | -1 | -1 | 2 | -1 | 948 | 985 | 6.3238 | 6.5528 | 0.0066667 | 48 | -1 | 6.3631 | 0.10121 | 119.0917 | 6.3637 | 0.099394 | 121.1555 | 6.3727 | 0.080622 | 538.7797 | 103.7265 | 548.6112 | 104.2196 | 6.394 | 336.5017 | 6.4334 | 320.4596 | 6.3874 | 0.050909 | 275.9416 | 0.020416 | 0.25449 | 0.61455 | 1088.7705 | 6.4134 | 0.00041683 | 2.1657e-06 | 6.2802e-07 | 1.0649 | 101155.7883 | 100287.6541 | 87839.8527 | 98675.9933 | 6.3282 | 6.2655 | 5.8501 | 5.875 | -1 | -1 | -1 | -1 | 5.0295 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3686 | 0.089091 | 1.0652 | 1.1304 | 90695.4509 | -1 | -1
|  | 2 | 3 | 38 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 530.1075 | 173.8304 | 0.047578 | 0.95106 | 0 |  | -1 | -1 | 3 | -1 | 948 | 985 | 6.3304 | 6.5016 | 0.0066667 | 48 | -1 | 6.3637 | 0.10121 | 98.9482 | 6.3644 | 0.099394 | 99.9566 | 6.3728 | 0.080525 | 304.3468 | 90.8403 | 308.7743 | 92.3659 | 6.394 | 204.6808 | 6.4334 | 197.7923 | 6.3874 | 0.050909 | 175.5887 | 0.019998 | 0.10839 | -0.0032526 | 530.3329 | 6.4132 | 0.00039994 | 8.6691e-07 | 4.7933e-07 | 1.0789 | 101398.5459 | 100287.6541 | 87839.8527 | 102838.0414 | 6.3356 | 6.2424 | 5.8936 | 5.9187 | -1 | -1 | -1 | -1 | 5.2397 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3692 | 0.088485 | 1.0735 | 1.1471 | 91304.4738 | -1 | -1
|  | 6 | 8 | 39 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 104.7259 | 34.14 | 0.047788 | 0.93548 | 0 |  | -1 | -1 | 8 | -1 | 948 | 1007 | 6.3304 | 6.7038 | 0.0066667 | 70 | -1 | 6.3628 | 0.10095 | 7.8947 | 6.3637 | 0.099048 | 8.0927 | 6.3726 | 0.080997 | 48.1748 | 6.4521 | 49.0675 | 6.4319 | 6.3932 | 27.9297 | 6.4345 | 26.2105 | 6.3876 | 0.051429 | 22.9429 | 0.021661 | 1.1512 | 8.9294 | 104.7259 | 6.4138 | 0.00046921 | 1.1701e-05 | 2.6264e-06 | 1.0612 | 100220.8764 | 100804.378 | 86074.2725 | 87672.2646 | 83.0341 | 59.211 | 74.9332 | 75.252 | -1 | -1 | -1 | -1 | 67.7726 | 19.6263 | -1 | -1 | -1 | 6.4104 | 6.3685 | 0.089524 | 1.0682 | 1.1364 | 89597.2832 | -1 | -1
|  | 3 | 5 | 40 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 335.5946 | 109.7475 | 0.047675 | 0.94303 | 0 |  | -1 | -1 | 5 | -1 | 948 | 985 | 6.3238 | 6.5458 | 0.0066667 | 48 | -1 | 6.3631 | 0.10121 | 26.955 | 6.3644 | 0.098788 | 27.5915 | 6.3729 | 0.080533 | 156.5227 | 22.1639 | 159.4822 | 22.4284 | 6.394 | 93.6886 | 6.4334 | 89.3272 | 6.3874 | 0.050909 | 75.3294 | 0.020354 | 0.23247 | 0.515 | 335.5537 | 6.4134 | 0.00041428 | 1.9602e-06 | 6.0327e-07 | 1.0724 | 101378.8022 | 100287.6541 | 87839.8527 | 99285.4932 | 6.3297 | 6.1716 | 5.9031 | 5.9282 | -1 | -1 | -1 | -1 | 6.4799 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3692 | 0.088485 | 1.0735 | 1.1471 | 91304.4738 | -1 | -1
|  | 1 | 4 | 41 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 334.0241 | 109.5745 | 0.047564 | 0.95175 | 0 |  | -1 | -1 | 4 | -1 | 948 | 985 | 6.3304 | 6.5013 | 0.0066667 | 48 | -1 | 6.3637 | 0.10121 | 58.0722 | 6.3644 | 0.099394 | 58.7078 | 6.3728 | 0.080486 | 187.5646 | 52.9441 | 190.3487 | 53.9446 | 6.394 | 124.6201 | 6.4334 | 120.4299 | 6.3874 | 0.050909 | 106.3761 | 0.019995 | 0.10712 | -9.9882e-05 | 334.1899 | 6.4132 | 0.00039982 | 8.5639e-07 | 4.7954e-07 | 1.0789 | 101497.0619 | 100287.6541 | 87839.8527 | 102870.0318 | 6.3374 | 6.1962 | 5.8932 | 5.9183 | -1 | -1 | -1 | -1 | 4.8632 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3692 | 0.088485 | 1.0735 | 1.1471 | 91304.4738 | -1 | -1
|  | 4 | 6 | 42 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 437.8573 | 143.0065 | 0.047721 | 0.93903 | 0 |  | -1 | -1 | 6 | -1 | 947 | 1003 | 6.3104 | 6.6804 | 0.0066667 | 67 | -1 | 6.3628 | 0.10095 | 18.4592 | 6.3637 | 0.099048 | 19.2885 | 6.3727 | 0.080886 | 187.3304 | 12.3709 | 191.0791 | 12.3856 | 6.3932 | 102.4236 | 6.4344 | 95.7072 | 6.3876 | 0.051429 | 81.4847 | 0.020803 | 0.50399 | 2.6029 | 437.8506 | 6.4136 | 0.00043275 | 4.537e-06 | 1.0493e-06 | 1.0612 | 100496.1773 | 100804.378 | 86074.2725 | 95053.2042 | 6.322 | 6.3089 | 5.874 | 5.899 | -1 | -1 | -1 | -1 | 6.4184 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3685 | 0.089524 | 1.0682 | 1.1364 | 89597.2832 | -1 | -1
|  | 5 | 7 | 35 | 9 | 4 | 0 | 0 | 0 | 6.4125 | 0 | BB | 340.9391 | 111.2663 | 0.047749 | 0.93737 | 0 |  | -1 | -1 | 7 | -1 | 947 | 1007 | 6.3104 | 6.7038 | 0.0066667 | 71 | -1 | 6.3628 | 0.10095 | 7.9962 | 6.3637 | 0.099048 | 8.6414 | 6.3727 | 0.080953 | 139.2079 | 3.2723 | 142.2534 | 3.2558 | 6.3931 | 72.8207 | 6.4344 | 68.2474 | 6.3876 | 0.051429 | 57.0329 | 0.021143 | 0.75385 | 4.9978 | 340.9391 | 6.4137 | 0.00044701 | 7.1247e-06 | 1.5981e-06 | 1.0612 | 100328.3829 | 100804.378 | 86074.2725 | 92022.9964 | 6.3484 | 6.4222 | 5.8878 | 5.9129 | -1 | -1 | -1 | -1 | 6.2943 | 1.0847 | -1 | -1 | -1 | 6.4104 | 6.3685 | 0.089524 | 1.0682 | 1.1364 | 89597.2832 | -1 | -1
|  | 8 | 1 | 44 | 10 | 3 | 0 | 0 | 0 | 6.8731 | 0 | BB | 35.3035 | 7.694 | 0.065532 | 2.0129 | 0 |  | -1 | -1 | 1 | -1 | 1012 | 1062 | 6.7504 | 6.9437 | 0.0066667 | 61 | -1 | 6.7562 | 0.165 | 39.2639 | 6.7588 | 0.16167 | 39.3085 | 6.828 | 0.084977 | 47.9909 | 39.0444 | 48.5625 | 38.8292 | 6.8539 | 44.1852 | 6.8939 | 43.4793 | 6.8429 | 0.055 | 42.6527 | 0.036256 | -0.37217 | -0.84778 | 35.3035 | 6.8513 | 0.0013145 | -1.7737e-05 | 3.7189e-06 | 0.72388 | 104587.6789 | 43344.9267 | 86447.1218 | 35709.4035 | 5.5614 | 4.3246 | 5.091 | 5.1127 | -1 | -1 | -1 | -1 | 3.8525 | 1.0718 | -1 | -1 | -1 | 6.8704 | 6.7671 | 0.14917 | 0.72177 | 0.44355 | 25242.1847 | -1 | -1
|  | 7 | 2 | 43 | 10 | 4 | 0 | 0 | 0 | 6.8747 | 0 | BB | 11.5831 | 4.4687 | 0.042241 | 0.97054 | 0 |  | -1 | -1 | 2 | -1 | 1019 | 1052 | 6.8304 | 6.9278 | 0.0066667 | 44 | -1 | 6.8343 | 0.083333 | 110.306 | 6.8349 | 0.082222 | 110.3316 | 6.8402 | 0.069846 | 115.8975 | 110.0983 | 115.6835 | 110.1353 | 6.8531 | 112.2679 | 6.8933 | 112.7658 | 6.8526 | 0.045 | 112.2557 | 0.016038 | 0.093337 | -0.45578 | 11.5971 | 6.8753 | 0.00025721 | 3.8503e-07 | 1.6832e-07 | 0.97368 | 155110.3515 | 170259.3906 | 129387.7948 | 183778.8147 | 6.145 | 6.2628 | 5.6638 | 5.6879 | -1 | -1 | -1 | -1 | 6.3365 | 1.0721 | -1 | -1 | -1 | 6.8771 | 6.8382 | 0.075 | 0.96429 | 0.92857 | 150674.6098 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 22:10:28
ResNewDateTime | 02 September 2019 22:10:28
ResModBy | SYSTEM
ResModTime | 09/02/19 22:10:28
ResModDateTime | 02 September 2019 22:10:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7932.182

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7932.182

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5018.9269

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2109.6806

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 780.5327

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.9775

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.5874

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 399.9967

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.8807

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7932.182

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5018.9269

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2109.6806

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 780.5327

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.9775

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.5874

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 399.9967

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.8807

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.34443 | 1511.0555 | 169.2097 | 0.12418 | 1.5926 | -16.1882 | 0.00375 | 0 | 43.3397 | 0.52375 | 1.4211e-14 | -47.5225 | 1 | -174.7351 | 43.995 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.463 | 1208.1558 | 51.3797 | 0.28633 | 4.3553 | 6.5145 | 0.80375 | 0 | -48.1105 | 1.6053 | 3.5527e-15 | 18.3047 | 1 | 82.8549 | -114.7051 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0703 | 673.5591 | 134.4875 | 0.076431 | 0.5367 | 47.2724 | 1.9971 | 0 | 44.6081 | 2.2794 | 7.1054e-15 | 54.8768 | 1 | 36.3711 | -28.028 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 3.7257 | 244.7874 | 24.8242 | 0.16304 | 0.88439 | 60.3439 | 3.5704 | -7.1054e-15 | 62.5105 | 3.8885 | 2.1918 | 58.0733 | 1 | -13.9499 | 112.3175 | 0 | 0 | 0
DateTime |  | 32 | 8 | 4.09 | 526.4951 | 39.9101 | 0.20991 | 0.90792 | 55.2622 | 3.8885 | 2.1918 | 58.0733 | 4.3571 | -7.1054e-15 | 51.5366 | 1 | -13.9499 | 112.3175 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 5.4542 | 59.7207 | 7.4792 | 0.10516 | 0.20934 | 69.3424 | 5.4037 | 0 | 71.3434 | 5.7638 | 0 | 57.0664 | 1 | -39.6583 | 285.6469 | 0 | 0 | 0
IntegEnd | 0 | 2 | 31 | 5.8162 | 53.7079 | 20.7837 | 0.042148 | 0.98989 | 55.7482 | 5.7704 | -1.8867e-08 | 56.8871 | 5.8637 | 9.5974e-08 | 66.2127 | 2 | -24.9164 | 200.6654 | 40.5628 | -187.1184 | 5.8704
Errors | 0 | 32 | 20 | 5.9119 | 1922.3069 | 649.418 | 0.048534 | 1.0311 | 53.363 | 5.7704 | 0 | 56.8871 | 6.0504 | 0 | 49.9105 | 1 | -24.9164 | 200.6654 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.4124 | 1697.0902 | 553.5574 | 0.047768 | 0.93848 | 43.9538 | 6.3375 | -7.1054e-15 | 45.1186 | 6.5704 | -1.4211e-14 | 41.4958 | 1 | -15.5508 | 143.6707 | 0 | 0 | 0
|  | 0 | 8 | 6.8731 | 35.3035 | 7.694 | 0.065532 | 2.0129 | 38.9302 | 6.7504 | 0 | 39.2408 | 6.9437 | 0 | 38.7511 | 1 | -2.533 | 56.3396 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 9 | 0 | 8 | 0.33655 | 1527.2021 | 145.3553 | 0.14258 | 1.9369 | 41.0108 | 0.00375 | 0 | 121.8386 | 0.51042 | 0 | -1.2183 | 1 | -242.8754 | 122.7494 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.463 | 751.6196 | 35.0887 | 0.26191 | 3.8829 | 15.7042 | 0.83708 | 0 | -15.3499 | 1.6063 | -1.0658e-14 | 22.8146 | 1 | 49.6146 | -56.8814 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0704 | 452.7283 | 90.3439 | 0.076464 | 0.53652 | 42.8482 | 1.9971 | 0 | 40.8912 | 2.2774 | 0 | 48.374 | 1 | 26.6969 | -12.4247 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 3.7323 | 164.9004 | 17.4329 | 0.15836 | 1.0695 | 69.8021 | 3.5704 | 0 | 68.543 | 3.887 | 0 | 71.0053 | 1 | 7.7772 | 40.7752 | 0 | 0 | 0
DateTime |  | 0 | 8 | 4.0998 | 398.4012 | 30.3411 | 0.20519 | 0.8835 | 71.0522 | 3.8904 | 0 | 71.0058 | 4.3771 | 0 | 71.1136 | 1 | 0.22144 | 70.1443 | 0 | 0 | 0
IntegStart | 0 | 2 | 31 | 5.8167 | 35.7101 | 13.724 | 0.042357 | 1.0265 | 101.7667 | 5.7704 | 8.2445e-09 | 101.717 | 5.8637 | 6.9414e-08 | 105.4811 | 2 | 1.0586 | 95.6086 | 12.1989 | -180.3635 | 5.8704
IntegEnd | 0 | 32 | 20 | 5.9118 | 587.9182 | 199.5319 | 0.048376 | 1.2193 | 101.8667 | 5.7704 | 0 | 101.717 | 6.0432 | 0 | 102.0058 | 1 | 1.0586 | 95.6086 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.4124 | 1088.8638 | 355.6685 | 0.047717 | 0.94135 | 103.9692 | 6.3238 | 0 | 103.4269 | 6.5528 | 0 | 104.8281 | 1 | 6.1165 | 64.7475 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.8747 | 11.5831 | 4.4687 | 0.042241 | 0.97054 | 110.1166 | 6.8304 | 0 | 110.0931 | 6.9278 | 0 | 110.1447 | 1 | 0.52934 | 106.4775 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32245 | 830.3862 | 85.6206 | 0.12715 | 1.7828 | 57.7244 | 0.06375 | 0 | 115.7026 | 0.49042 | 0 | 20.0796 | 1 | -224.1164 | 129.9901 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4629 | 85.276 | 10.7783 | 0.1043 | 0.66377 | 18.102 | 1.2971 | -3.5527e-15 | 19.8164 | 1.6102 | -3.5527e-15 | 16.5802 | 1 | -10.3361 | 33.2232 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0703 | 239.5073 | 48.3918 | 0.075742 | 0.54565 | 25.3742 | 1.9971 | 0 | 24.4775 | 2.2762 | 0 | 27.8953 | 1 | 12.244 | 0.025287 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.8173 | 19.4811 | 7.529 | 0.042187 | 1.1092 | 82.0839 | 5.7704 | 2.9426e-08 | 81.3327 | 5.8637 | 8.7377e-08 | 85.2432 | 2 | 16.0208 | -11.1137 | 8.3109 | -185.3633 | 5.8704
DateTime |  | 32 | 20 | 5.9119 | 404.9224 | 137.6992 | 0.048307 | 1.1518 | 83.5996 | 5.7704 | 0 | 81.3327 | 6.0036 | 0 | 85.0692 | 1 | 16.0208 | -11.1137 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.4125 | 530.1075 | 173.8304 | 0.047578 | 0.95106 | 91.5922 | 6.3304 | 0 | 90.0373 | 6.5016 | 0 | 93.2802 | 1 | 18.946 | -29.899 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.31927 | 153.4412 | 31.8063 | 0.068283 | 1.1548 | 50.1879 | 0.21042 | 0 | 69.1795 | 0.43708 | 0 | 29.6345 | 1 | -174.4635 | 105.8896 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0701 | 128.9789 | 26.7007 | 0.074356 | 0.56457 | 21.7637 | 1.9971 | 0 | 21.4949 | 2.2771 | 0 | 22.5258 | 1 | 3.6819 | 14.1419 | 0 | 0 | 0
NumberOfHead | 9 | 2 | 31 | 5.8172 | 12.4364 | 4.7949 | 0.042259 | 1.1129 | 47.1546 | 5.7638 | 7.3011e-08 | 46.5598 | 5.8637 | 7.5322e-08 | 48.6188 | 2 | 11.1265 | -17.5704 | 3.1214 | -179.016 | 5.8704
Modified | 1 | 32 | 20 | 5.912 | 151.652 | 51.6226 | 0.048273 | 1.3709 | 48.209 | 5.7638 | 0 | 46.5598 | 5.9963 | -7.1054e-15 | 49.1469 | 1 | 11.1265 | -17.5704 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.4125 | 334.0241 | 109.5745 | 0.047564 | 0.95175 | 53.4373 | 6.3304 | 0 | 52.4168 | 6.5013 | 0 | 54.5406 | 1 | 12.4312 | -26.2778 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32316 | 68.548 | 17.9351 | 0.05659 | 1.4916 | 21.3838 | 0.19042 | -3.5527e-15 | 27.4029 | 0.42375 | -3.5527e-15 | 16.8228 | 1 | -45.3431 | 36.037 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.07 | 62.7493 | 13.1975 | 0.073471 | 0.57707 | 15.049 | 1.9971 | 0 | 14.9698 | 2.2838 | 0 | 15.2812 | 1 | 1.0862 | 12.8006 | 0 | 0 | 0
NumberOfHead | 9 | 2 | 8 | 5.8167 | 10.3697 | 3.9435 | 0.042678 | 1.0337 | 20.5396 | 5.7638 | 0 | 20.3657 | 5.8609 | 0.26624 | 20.6851 | 1 | 3.2867 | 1.422 | 0 | 0 | 0
Modified | 1 | 32 | 8 | 5.912 | 23.7159 | 8.1059 | 0.048134 | 0.92926 | 20.8529 | 5.8609 | 0.26624 | 20.6851 | 5.9859 | 0 | 21.0958 | 1 | 3.2867 | 1.422 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.4125 | 335.5946 | 109.7475 | 0.047675 | 0.94303 | 22.2941 | 6.3238 | 0 | 22.0027 | 6.5458 | 0 | 22.7317 | 1 | 3.2839 | 1.2358 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32604 | 42.5837 | 14.0359 | 0.047396 | 1.2553 | 12.4287 | 0.18375 | 0 | 13.8483 | 0.41708 | 0 | 11.5204 | 1 | -9.9768 | 15.6815 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 5.8165 | 9.1918 | 3.491 | 0.042719 | 0.98762 | 12.2314 | 5.7638 | 0 | 12.198 | 5.8611 | 0.24492 | 12.2596 | 1 | 0.63333 | 8.5476 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 5.9119 | 22.9546 | 7.8617 | 0.048064 | 0.92149 | 12.2918 | 5.8611 | 0.24492 | 12.2596 | 5.9884 | 0 | 12.3403 | 1 | 0.63333 | 8.5476 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.4125 | 437.8573 | 143.0065 | 0.047721 | 0.93903 | 12.3782 | 6.3104 | 0 | 12.3596 | 6.6804 | 0 | 12.4269 | 1 | 0.18171 | 11.2129 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32644 | 35.4147 | 12.6152 | 0.044752 | 1.1016 | 3.5345 | 0.21042 | 0 | 4.3483 | 0.41042 | 0 | 2.9454 | 1 | -7.0143 | 5.8242 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.9119 | 23.6428 | 8.2186 | 0.047562 | 0.89915 | 3.4467 | 5.8571 | -8.8818e-16 | 3.51 | 5.9904 | -8.8818e-16 | 3.356 | 1 | -1.1551 | 10.2757 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.4125 | 340.9391 | 111.2663 | 0.047749 | 0.93737 | 3.2641 | 6.3104 | 0 | 3.2849 | 6.7038 | 0 | 3.2048 | 1 | -0.20367 | 4.5701 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32673 | 35.1547 | 12.4761 | 0.044874 | 1.0961 | 6.7537 | 0.21042 | 0 | 7.5121 | 0.41708 | 0 | 6.1646 | 1 | -6.5204 | 8.8841 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.4125 | 104.7259 | 34.14 | 0.047788 | 0.93548 | 6.4421 | 6.3304 | 8.8818e-16 | 6.4626 | 6.7038 | 8.8818e-16 | 6.3696 | 1 | -0.24906 | 8.0392 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2