## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567487812
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 130
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 130
Vial | 130
SampleLocation | 130
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 06:16:52
SampleName | CS-135_0130
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 20.1586
DAD1UVBurnTime | 166.8256
DAD1VisOnTime | 20.1583
DAD1VisBurnTime | 152.3367
StartPressure | 26.253
StopPressure | 62.273
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 10 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 20 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 28 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 29 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 37 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 9318.4996 | 1657.1647 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 5330.2497 | 858.244 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 2126.7179 | 449.2019 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 811.9408 | 214.1058 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 492.4741 | 141.7585 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 503.9636 | 155.2119 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 401.3277 | 124.5894 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0130.D | 139.0928 | 44.2647 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 39 | 15 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32076 | 0 | BB | 176.877 | 33.7654 | 0.075115 | 1.2991 | 0 |  | -1 | -1 | 4 | -1 | 26 | 84 | 0.195 | 0.44167 | 0.0066667 | 69 | -1 | 0.195 | 0.17333 | 52.277 | 0.195 | 0.17333 | 52.4748 | 0.26913 | 0.10232 | 87.1441 | 59.3873 | 98.0442 | 42.7152 | 0.30605 | 79.2365 | 0.35046 | 65.6152 | 0.195 | 0.15429 | 67.3137 | 0.041434 | -0.25182 | -0.17566 | 176.877 | 0.31076 | 0.0017168 | -1.7913e-05 | 8.3241e-06 | 0.68421 | 158.1331 | 86.097 | 24.0808 | 56.2536 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32167 | 0.195 | 0.17048 | 0.67293 | 0.34586 | 35.8495 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32364 | 0 | BB | 785.3046 | 84.8938 | 0.12192 | 1.7218 | 0 |  | -1 | -1 | 3 | -1 | 13 | 105 | 0.081667 | 0.48833 | 0.0066667 | 103 | -1 | 0.081667 | 0.32267 | 64.2479 | 0.081667 | 0.32267 | 64.7582 | 0.23799 | 0.16578 | 150.8154 | 81.7333 | 166.3473 | 42.7834 | 0.30803 | 138.2213 | 0.35271 | 121.5143 | 0.081667 | 0.28533 | 103.0278 | 0.07337 | -0.42776 | -0.356 | 785.3046 | 0.29172 | 0.0053832 | -0.00016895 | 7.6621e-05 | 0.65405 | 62.7627 | 25.8858 | 7.3356 | 15.8089 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.081667 | 0.31733 | 0.64324 | 0.28649 | 9.4168 | -1 | -1
NumberOfHead | 9 | 16 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.3239 | 0 | BB | 60.4459 | 17.547 | 0.052189 | 1.2192 | 0 |  | -1 | -1 | 5 | -1 | 33 | 74 | 0.215 | 0.415 | 0.0066667 | 52 | -1 | 0.215 | 0.148 | 24.4033 | 0.215 | 0.148 | 24.5065 | 0.28942 | 0.072855 | 44.244 | 25.6742 | 50.83 | 21.8773 | 0.31143 | 37.5318 | 0.35174 | 29.825 | 0.297 | 0.051333 | 32.2513 | 0.029395 | -0.81114 | 0.53806 | 60.4459 | 0.31599 | 0.0008641 | -2.0603e-05 | 2.6417e-06 | 0.65294 | 324.959 | 123.0401 | 226.6422 | 115.5533 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.215 | 0.146 | 0.64412 | 0.28824 | 44.6863 | -1 | -1
Modified | 1 | 23 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32754 | 0 | BB | 41.6531 | 13.9361 | 0.04687 | 1.1828 | 0 |  | -1 | -1 | 6 | -1 | 30 | 72 | 0.195 | 0.415 | 0.0066667 | 53 | -1 | 0.195 | 0.17111 | 14.8899 | 0.195 | 0.17111 | 14.9732 | 0.29583 | 0.065702 | 32.539 | 14.6283 | 35.4842 | 13.9236 | 0.31152 | 23.4936 | 0.35157 | 20.2409 | 0.30537 | 0.045185 | 21.2147 | 0.027574 | -1.4481 | 2.6552 | 41.6531 | 0.32041 | 0.00076031 | -3.0359e-05 | 3.2691e-06 | 0.64167 | 399.5647 | 92.0478 | 292.5146 | 135.0298 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.195 | 0.16889 | 0.63333 | 0.26667 | 31.5206 | -1 | -1
NextPeakSignal_ | Peak | 24 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32821 | 0 | BB | 36.5648 | 12.6406 | 0.045747 | 1.1456 | 0 |  | -1 | -1 | 7 | -1 | 30 | 72 | 0.195 | 0.42167 | 0.0066667 | 53 | -1 | 0.195 | 0.17185 | 5.853 | 0.195 | 0.17185 | 5.9285 | 0.29656 | 0.06503 | 22.1949 | 5.4972 | 24.329 | 5.093 | 0.31153 | 13.3933 | 0.35157 | 10.8677 | 0.30685 | 0.043704 | 11.5872 | 0.025931 | -1.4957 | 3.3006 | 36.5648 | 0.32234 | 0.00067241 | -2.6079e-05 | 2.8488e-06 | 0.64444 | 407.8757 | 91.256 | 312.6823 | 154.5231 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.26315 | 0.10074 | 0.77273 | 0.54545 | 143.6598 | -1 | -1
Signal_ | Signal | 31 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32867 | 0 | BB | 36.2961 | 12.5155 | 0.045834 | 1.1558 | 0 |  | -1 | -1 | 8 | -1 | 30 | 72 | 0.195 | 0.42167 | 0.0066667 | 53 | -1 | 0.195 | 0.17259 | 8.7665 | 0.195 | 0.17259 | 8.841 | 0.29667 | 0.065305 | 25.029 | 8.4003 | 26.8627 | 8.0274 | 0.31153 | 16.124 | 0.35157 | 13.9107 | 0.30685 | 0.044444 | 14.435 | 0.025883 | -1.4756 | 3.2994 | 36.2961 | 0.32281 | 0.00066995 | -2.5589e-05 | 2.8274e-06 | 0.64722 | 404.4432 | 90.4744 | 302.3464 | 155.538 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.26611 | 0.098519 | 0.79167 | 0.58333 | 156.2465 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33834 | 0 | BB | 1545.6873 | 147.5122 | 0.13625 | 2.0427 | 0 |  | -1 | -1 | 2 | -1 | 1 | 114 | 0.0016667 | 0.50833 | 0.0066667 | 119 | -1 | 0.028333 | 0.40167 | 50.5768 | 0.028333 | 0.40167 | 51.4495 | 0.24624 | 0.18846 | 205.9313 | 65.5829 | 208.8452 | 20.1305 | 0.31272 | 166.8867 | 0.37904 | 129.1515 | 0.028333 | 0.35833 | 116.9022 | 0.093987 | -0.63354 | -0.21044 | 1545.6873 | 0.2865 | 0.0088336 | -0.00052599 | 0.00021768 | 0.65489 | 50.5561 | 17.3899 | 4.842 | 9.2921 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.335 | 0.028333 | 0.395 | 0.64402 | 0.28804 | 6.3523 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34567 | 0 | BB | 1525.1398 | 171.6277 | 0.12167 | 1.5897 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0016667 | 0.52167 | 0.0066667 | 113 | -1 | 0.028333 | 0.41833 | -6.7527 | 0.028333 | 0.41833 | -5.7352 | 0.27249 | 0.16699 | 179.9595 | -1.1502 | 178.1916 | -29.9173 | 0.31791 | 111.257 | 0.3811 | 99.5861 | 0.295 | 0.098333 | 70.5799 | 0.091253 | -0.85178 | 0.29993 | 1525.1397 | 0.30744 | 0.0083271 | -0.00064724 | 0.00022882 | 0.65365 | 69.6169 | 17.3335 | 69.5182 | 11.3506 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34833 | 0.028333 | 0.41 | 0.64062 | 0.28125 | 6.2635 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4654 | 0 | BB | 81.9316 | 10.6779 | 0.10152 | 0.58727 | 0 |  | -1 | -1 | 3 | -1 | 190 | 267 | 1.315 | 1.6139 | 0.0066667 | 88 | -1 | 1.315 | 0.28111 | 19.9446 | 1.315 | 0.28111 | 20.0075 | 1.4097 | 0.19559 | 31.9544 | 20.1176 | 45.7763 | 18.0034 | 1.4423 | 27.0429 | 1.5894 | 21.1563 | 1.4283 | 0.10556 | 24.7219 | 0.059497 | -0.18584 | -0.49417 | 82.1392 | 1.485 | 0.0035399 | -3.9141e-05 | 3.1401e-05 | 0.91667 | 901.7356 | 682.0771 | 1072.0052 | 622.9597 | 6.319 | 4.7275 | 3.432 | 3.4466 | -1 | -1 | -1 | -1 | 4.4905 | 4.5278 | -1 | -1 | -1 | 1.4683 | 1.315 | 0.27778 | 0.9058 | 0.81159 | 469.4225 | -1 | -1
|  | 13 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4654 | 0 | BB | 728.3541 | 35.0292 | 0.25458 | 3.6254 | 0 |  | -1 | -1 | 2 | -1 | 128 | 243 | 0.84833 | 1.6083 | 0.0066667 | 126 | -1 | 1.1383 | 0.47 | 18.5389 | 1.14 | 0.46833 | 18.7451 | 1.3756 | 0.22671 | 55.8702 | 12.5654 | 84.6881 | 23.4746 | 1.4424 | 44.7759 | 1.5857 | 30.9049 | 1.37 | 0.20833 | 34.2083 | 0.16956 | -0.31718 | -0.90504 | 728.3541 | 1.3072 | 0.02875 | -0.0015462 | 0.0017316 | 0.7132 | 671.1469 | 244.0021 | 275.1956 | 59.4364 | 5.4295 | 3.2326 | 2.3371 | 2.347 | -1 | -1 | -1 | -1 | 1.9365 | 4.3312 | -1 | -1 | -1 | 1.4683 | 1.1617 | 0.44667 | 0.72826 | 0.45652 | 130.9784 | -1 | -1
|  | 12 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4655 | 0 | BB | 1172.9448 | 51.3543 | 0.27847 | 4.0749 | 0 |  | -1 | -1 | 1 | -1 | 123 | 243 | 0.815 | 1.6083 | 0.0066667 | 131 | -1 | 1.135 | 0.47333 | 9.81 | 1.1383 | 0.47 | 10.1123 | 1.3699 | 0.23179 | 64.2888 | -0.35283 | 105.9454 | 18.3534 | 1.4424 | 48.6965 | 1.5847 | 29.2392 | 1.36 | 0.22 | 32.7894 | 0.1755 | -0.27269 | -0.92597 | 1172.9448 | 1.2912 | 0.030802 | -0.0014741 | 0.0019677 | 0.71212 | 642.0926 | 240.5776 | 246.7821 | 54.123 | 5.6163 | 3.1397 | 4.1334 | 4.151 | -1 | -1 | -1 | -1 | 1.8438 | 4.2396 | -1 | -1 | -1 | 1.4683 | 1.1567 | 0.45167 | 0.7246 | 0.4492 | 126.7785 | -1 | -1
|  | 17 | 1 | 13 | 3 | 3 | 0 | 0 | 0 | 2.1032 | 0 | BB | 836.7376 | 147.2862 | 0.086279 | 0.7653 | 0 |  | -1 | -1 | 1 | -1 | 270 | 344 | 1.795 | 2.2817 | 0.0066667 | 85 | -1 | 1.9328 | 0.28556 | 47.524 | 1.9494 | 0.26667 | 48.3968 | 2.0513 | 0.14167 | 225.3048 | 41.6241 | 204.7795 | 40.216 | 2.0752 | 126.2891 | 2.1397 | 137.8422 | 2.0706 | 0.083333 | 113.8577 | 0.056119 | -1.3742 | 4.0793 | 836.7376 | 2.1063 | 0.0031494 | -0.00024287 | 7.0215e-05 | 0.87591 | 3521.3496 | 1354.2114 | 3523.7081 | 1408.6382 | 3.4154 | 2.1009 | 2.4704 | 2.4809 | -1 | -1 | -1 | -1 | 1.7595 | 1.4352 | -1 | -1 | -1 | 2.1017 | 2.0439 | 0.15778 | 1.3654 | 1.7308 | 2482.2396 | -1 | -1
|  | 19 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.1032 | 0 | BB | 568.8873 | 99.4719 | 0.084723 | 0.75216 | 0 |  | -1 | -1 | 2 | -1 | 270 | 355 | 1.795 | 2.2817 | 0.0066667 | 96 | -1 | 1.9283 | 0.29067 | 43.3071 | 1.9443 | 0.272 | 43.8966 | 2.0511 | 0.14221 | 163.2254 | 39.3404 | 149.4799 | 38.339 | 2.0749 | 95.7993 | 2.1401 | 103.9746 | 2.071 | 0.082667 | 88.1065 | 0.056535 | -1.3565 | 3.9573 | 568.8873 | 2.106 | 0.0031962 | -0.00024511 | 7.1075e-05 | 0.86441 | 3494.5288 | 1307.0049 | 3580.7713 | 1387.6802 | 3.4577 | 2.0962 | 2.5754 | 2.5863 | -1 | -1 | -1 | -1 | 1.7666 | 1.4352 | -1 | -1 | -1 | 2.1017 | 2.043 | 0.15867 | 1.3523 | 1.7045 | 2476.2909 | -1 | -1
|  | 27 | 3 | 15 | 3 | 4 | 0 | 0 | 0 | 2.1033 | 0 | BB | 288.8575 | 52.3834 | 0.082333 | 0.70194 | 0 |  | -1 | -1 | 3 | -1 | 275 | 354 | 1.8283 | 2.2817 | 0.0066667 | 90 | -1 | 1.9603 | 0.25733 | 26.8441 | 1.9763 | 0.23867 | 27.1544 | 2.052 | 0.1405 | 90.2655 | 24.7437 | 82.7769 | 24.249 | 2.075 | 54.1609 | 2.1399 | 58.736 | 2.071 | 0.082667 | 50.4256 | 0.050461 | -1.0942 | 3.6045 | 288.8575 | 2.1098 | 0.0025464 | -0.0001406 | 4.2823e-05 | 0.95213 | 3580.2326 | 1667.5374 | 3580.7713 | 1748.062 | 3.7963 | 2.962 | 3.9824 | 3.9994 | -1 | -1 | -1 | -1 | 2.841 | 1.4353 | -1 | -1 | -1 | 2.1017 | 2.0457 | 0.15467 | 1.381 | 1.7619 | 2556.4014 | -1 | -1
|  | 26 | 4 | 16 | 3 | 4 | 0 | 0 | 0 | 2.1034 | 0 | BB | 143.988 | 27.9163 | 0.078175 | 0.62173 | 0 |  | -1 | -1 | 4 | -1 | 280 | 352 | 1.8617 | 2.2883 | 0.0066667 | 83 | -1 | 2.0428 | 0.17333 | 24.431 | 2.0439 | 0.16889 | 24.5962 | 2.0537 | 0.13686 | 58.5524 | 23.2679 | 54.2552 | 23.1293 | 2.0752 | 38.5505 | 2.1393 | 41.4493 | 2.0728 | 0.08 | 36.9887 | 0.041723 | -0.51084 | 3.053 | 143.988 | 2.115 | 0.0017408 | -3.7102e-05 | 1.8342e-05 | 1.4615 | 3773.2961 | 3675.3906 | 3823.468 | 2569.7956 | 14.9068 | 12.8558 | 8.9405 | 8.9785 | -1 | -1 | -1 | -1 | 10.8487 | 6.5577 | -1 | -1 | -1 | 2.1017 | 2.0506 | 0.14778 | 1.4457 | 1.8913 | 2684.9453 | -1 | -1
|  | 22 | 5 | 12 | 3 | 4 | 0 | 0 | 0 | 2.1035 | 0 | BB | 68.7384 | 13.6692 | 0.076668 | 0.57814 | 0 |  | -1 | -1 | 5 | -1 | 280 | 352 | 1.8617 | 2.3217 | 0.0066667 | 83 | -1 | 2.0461 | 0.17111 | 17.2714 | 2.0472 | 0.16778 | 17.3523 | 2.0545 | 0.13539 | 34.0622 | 16.6873 | 31.867 | 16.6617 | 2.0752 | 24.0471 | 2.139 | 25.6218 | 2.0728 | 0.08 | 23.4177 | 0.038632 | 0.13676 | 2.412 | 68.7384 | 2.118 | 0.0014924 | 7.8847e-06 | 1.2054e-05 | 1.5408 | 3855.4143 | 3771.4752 | 3823.468 | 3005.9568 | 17.0913 | 13.9418 | 15.9215 | 15.9892 | -1 | -1 | -1 | -1 | 13.2451 | 6.4943 | -1 | -1 | -1 | 2.1017 | 2.0528 | 0.14556 | 1.4886 | 1.9773 | 2693.8319 | -1 | -1
|  | 18 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 2.5723 | 0 | BB | 514.5833 | 33.9343 | 0.24291 | 1.3294 | 0 |  | -1 | -1 | 1 | -1 | 346 | 421 | 2.3017 | 2.7958 | 0.0066667 | 86 | -1 | 2.4072 | 0.38855 | 59.6071 | 2.4083 | 0.38744 | 59.8095 | 2.352 | 0.40863 | 107.1794 | 43.2654 | 95.5412 | 70.4843 | 2.4385 | 68.3749 | 2.6587 | 84.0458 | 2.4606 | 0.27667 | 74.9941 | 0.090418 | 0.046145 | -0.55807 | 513.845 | 2.553 | 0.0081754 | 3.4111e-05 | 0.00016321 | 1.1623 | 635.3526 | 1097.979 | 479.8998 | 797.2492 | 1.7048 | 1.7397 | 1.531 | 1.5376 | -1 | -1 | -1 | -1 | 1.5244 | 1.223 | -1 | -1 | -1 | 2.575 | 2.4139 | 0.38189 | 1.1852 | 1.3703 | 723.5468 | -1 | -1
|  | 20 | 1 | 19 | 5 | 3 | 0 | 0 | 0 | 3.4563 | 0 | BB | 1058.4099 | 53.3448 | 0.28148 | 1.7255 | 0 |  | -1 | -1 | 1 | -1 | 435 | 566 | 3.0217 | 3.7617 | 0.0066667 | 142 | -1 | 3.0217 | 0.64222 | 68.0435 | 3.0217 | 0.64 | 68.3634 | 3.2026 | 0.45479 | 124.055 | 70.3753 | 130.4369 | 61.9471 | 3.3869 | 109.3613 | 3.5515 | 98.0289 | 3.1772 | 0.39111 | 92.3523 | 0.13662 | -0.25074 | -0.67461 | 1058.4099 | 3.3977 | 0.018665 | -0.00063938 | 0.00081009 | 0.73846 | 923.4038 | 723.5451 | 432.3202 | 618.523 | 2.0478 | 2.1441 | 1.5555 | 1.5621 | -1 | -1 | -1 | -1 | 1.8603 | 1.3437 | -1 | -1 | -1 | 3.455 | 3.0217 | 0.62667 | 0.72308 | 0.44615 | 363.0464 | -1 | -1
|  | 25 | 2 | 18 | 5 | 4 | 0 | 0 | 0 | 3.4648 | 0 | BB | 747.026 | 37.9822 | 0.27946 | 1.6785 | 0 |  | -1 | -1 | 2 | -1 | 437 | 647 | 3.015 | 3.7771 | 0.0066667 | 221 | -1 | 3.0883 | 0.64 | 68.1043 | 3.0883 | 0.63333 | 68.3321 | 3.217 | 0.45192 | 109.032 | 65.7697 | 111.182 | 66.9964 | 3.3886 | 95.725 | 3.5565 | 91.3398 | 3.2917 | 0.29333 | 85.4171 | 0.13757 | -0.25712 | -0.62487 | 746.9312 | 3.4082 | 0.018925 | -0.00066943 | 0.00085069 | 0.84821 | 938.7956 | 731.3926 | 771.5382 | 613.7632 | 4.5835 | 3.6576 | 4.255 | 4.2731 | -1 | -1 | -1 | -1 | 3.3542 | 1.6474 | -1 | -1 | -1 | 3.4617 | 3.1083 | 0.58333 | 0.82547 | 0.65094 | 527.0547 | -1 | -1
|  | 21 | 1 | 20 | 6 | 3 | 0 | 0 | 0 | 4.1788 | 0 | BB | 290.3389 | 22.3952 | 0.19525 | 1.3641 | 0 |  | -1 | -1 | 1 | -1 | 569 | 716 | 3.8017 | 4.4053 | 0.0066667 | 158 | -1 | 3.9861 | 0.41917 | 67.7421 | 3.9906 | 0.41472 | 67.8761 | 4.0028 | 0.32646 | 93.7362 | 63.5963 | 92.6489 | 69.3711 | 4.1004 | 80.3002 | 4.2451 | 82.3967 | 4.0861 | 0.19111 | 77.9215 | 0.094334 | -0.44724 | 0.16409 | 291.3256 | 4.1545 | 0.008899 | -0.00037545 | 0.00025057 | 1.085 | 2625.1322 | 2488.0864 | 2652.3859 | 1939.5757 | 1.8495 | 1.7017 | 1.458 | 1.4643 | -1 | -1 | -1 | -1 | 1.6385 | 1.209 | -1 | -1 | -1 | 4.1817 | 4.0083 | 0.39694 | 1.145 | 1.2901 | 1821.9267 | -1 | -1
|  | 28 | 1 | 21 | 7 | 3 | 0 | 0 | 0 | 5.5518 | 0 | BV E | 106.253 | 6.1374 | 0.21398 | 0.084888 | 0 |  | -1 | -1 | 1 | -1 | 769 | 913 | 5.5017 | 6.0742 | 0.0066667 | 155 | -1 | 5.5017 | 0.13556 | 66.8662 | 5.5017 | 0.13333 | 66.9013 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.5239 | 0.053333 | 69.5328 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4286 | -1 | 41882.2188 | 59956.6554 | -1 | -1 | 6.1877 | 6.5997 | 6.6278 | -1 | -1 | -1 | -1 | -1 | 1.3286 | -1 | -1 | -1 | 5.5483 | 5.5017 | 0.11778 | 1.2619 | 1.5238 | 33362.4184 | -1 | -1
|  | 32 | 5 | 23 | 8 | 4 | 0 | 0 | 0 | 6.1245 | 0 | BB | 32.9349 | 8.3688 | 0.059913 | 1.3417 | 0 |  | -1 | -1 | 5 | -1 | 901 | 947 | 6.0283 | 6.2062 | 0.0066667 | 57 | -1 | 6.0557 | 0.13185 | 22.5845 | 6.0565 | 0.12889 | 22.634 | 6.0616 | 0.10623 | 31.9223 | 22.049 | 32.6943 | 22.3542 | 6.0983 | 27.8125 | 6.1453 | 27.7226 | 6.0876 | 0.064444 | 26.3444 | 0.025666 | -0.064565 | -0.31894 | 32.9739 | 6.1186 | 0.00065876 | -1.0917e-06 | 1.1635e-06 | 0.98864 | 53135.5307 | 53889.8403 | 49989.4263 | 56829.8824 | 33.2841 | 33.1807 | 32.7094 | 32.8486 | -1 | -1 | -1 | -1 | 31.1094 | 2.9116 | -1 | -1 | -1 | 6.1217 | 6.0617 | 0.11333 | 0.94444 | 0.88889 | 51226.7109 | -1 | -1
|  | 34 | 6 | 24 | 8 | 4 | 0 | 0 | 0 | 6.1247 | 0 | BB | 31.3638 | 8.1252 | 0.059034 | 1.3077 | 0 |  | -1 | -1 | 6 | -1 | 902 | 947 | 6.035 | 6.2083 | 0.0066667 | 56 | -1 | 6.0543 | 0.12741 | 14.367 | 6.055 | 0.12519 | 14.4149 | 6.0648 | 0.10299 | 23.4026 | 14.0051 | 24.1825 | 14.0247 | 6.0986 | 19.3124 | 6.1452 | 19.3507 | 6.0891 | 0.062963 | 18.006 | 0.025422 | -0.082265 | -0.28515 | 31.3638 | 6.1193 | 0.00064627 | -1.3516e-06 | 1.1339e-06 | 0.93889 | 56533.3554 | 57715.1738 | 52369.5457 | 57941.1987 | 68.7322 | 48.5493 | 62.9845 | 63.2525 | -1 | -1 | -1 | -1 | 54.711 | 18.6992 | -1 | -1 | -1 | 6.1217 | 6.0602 | 0.11333 | 0.92169 | 0.84337 | 49949.7988 | -1 | -1
|  | 33 | 7 | 25 | 8 | 4 | 0 | 0 | 0 | 6.126 | 0 | BB | 29.566 | 8.421 | 0.052962 | 1.1633 | 0 |  | -1 | -1 | 7 | -1 | 904 | 944 | 6.035 | 6.215 | 0.0066667 | 51 | -1 | 6.0577 | 0.124 | 5.5265 | 6.059 | 0.12133 | 5.5756 | 6.0776 | 0.090451 | 15.1798 | 5.1745 | 15.5286 | 5.1611 | 6.1049 | 10.8047 | 6.145 | 10.8453 | 6.0963 | 0.056 | 9.2528 | 0.024112 | -0.12452 | -0.019329 | 29.566 | 6.1229 | 0.00058139 | -1.7455e-06 | 1.0075e-06 | 0.875 | 73446.9098 | 61063.4584 | 66346.5691 | 64483.5013 | 74.5791 | 48.9926 | 68.3268 | 68.6176 | -1 | -1 | -1 | -1 | 57.9559 | 18.6652 | -1 | -1 | -1 | 6.1283 | 6.067 | 0.10667 | 0.86957 | 0.73913 | 52880.9213 | -1 | -1
|  | 30 | 2 | 26 | 8 | 4 | 0 | 0 | 0 | 6.1271 | 0 | BB | 622.1526 | 195.3648 | 0.049153 | 0.98629 | 0 |  | -1 | -1 | 2 | -1 | 882 | 943 | 5.875 | 6.2411 | 0.0066667 | 72 | -1 | 6.0731 | 0.11048 | 111.5167 | 6.074 | 0.10857 | 112.6557 | 6.086 | 0.082452 | 344.907 | 102.8917 | 340.1288 | 103.4209 | 6.1051 | 215.2545 | 6.1461 | 231.2213 | 6.1007 | 0.052381 | 198.0835 | 0.022738 | -0.36512 | 3.3629 | 622.1973 | 6.1272 | 0.00051702 | -4.2923e-06 | 1.7008e-06 | 1 | 88390.2654 | 76928.5218 | 75831.1676 | 72613.1932 | 9.9642 | 8.8686 | 9.0484 | 9.0869 | -1 | -1 | -1 | -1 | 8.4806 | 1.7684 | -1 | -1 | -1 | 6.1283 | 6.0807 | 0.094286 | 0.99 | 0.98 | 77593.4538 | -1 | -1
|  | 36 | 4 | 27 | 8 | 4 | 0 | 0 | 0 | 6.1271 | 0 | BB | 161.858 | 50.4415 | 0.049436 | 1.0185 | 0 |  | -1 | -1 | 4 | -1 | 905 | 943 | 6.0283 | 6.2139 | 0.0066667 | 49 | -1 | 6.073 | 0.11267 | 50.9893 | 6.0743 | 0.11 | 51.2833 | 6.0853 | 0.082829 | 111.1978 | 48.3425 | 109.8957 | 49.2858 | 6.1051 | 78.1301 | 6.145 | 83.546 | 6.101 | 0.052 | 73.3395 | 0.022096 | -0.021383 | 0.24134 | 161.9418 | 6.1267 | 0.00048825 | -2.307e-07 | 7.7271e-07 | 1.0185 | 87586.9891 | 73966.2969 | 76946.3168 | 76878.9756 | 36.6317 | 35.1723 | 35.8171 | 35.9695 | -1 | -1 | -1 | -1 | 31.4299 | 2.9129 | -1 | -1 | -1 | 6.1283 | 6.0803 | 0.094667 | 0.98611 | 0.97222 | 76694.4603 | -1 | -1
|  | 35 | 3 | 28 | 8 | 4 | 0 | 0 | 0 | 6.1273 | 0 | BB | 421.2707 | 134.3007 | 0.048596 | 0.97187 | 0 |  | -1 | -1 | 3 | -1 | 905 | 943 | 6.035 | 6.22 | 0.0066667 | 49 | -1 | 6.0763 | 0.108 | 88.7482 | 6.0777 | 0.10533 | 89.5312 | 6.0867 | 0.081451 | 250.8762 | 82.2375 | 245.4245 | 83.7412 | 6.1049 | 158.0318 | 6.145 | 175.5002 | 6.1017 | 0.051333 | 148.2578 | 0.021464 | 0.077185 | 0.30047 | 421.4656 | 6.1278 | 0.00046071 | 7.6327e-07 | 7.0055e-07 | 1.0395 | 90575.064 | 80496.548 | 78957.9004 | 81502.9367 | 36.2602 | 27.5361 | 35.2846 | 35.4348 | -1 | -1 | -1 | -1 | 27.9314 | 2.9131 | -1 | -1 | -1 | 6.1283 | 6.083 | 0.092 | 1.0147 | 1.0294 | 81175.0143 | -1 | -1
|  | 29 | 1 | 22 | 8 | 3 | 0 | 0 | 0 | 6.1273 | 0 | VB R | 2076.9011 | 638.6804 | 0.049938 | 1.1105 | 0 |  | -1 | -1 | 1 | -1 | 826 | 989 | 5.5017 | 6.5817 | 0.0066667 | 174 | -1 | 6.075 | 0.11111 | 80.9338 | 6.0772 | 0.10667 | 84.6587 | 6.0866 | 0.08259 | 841.3734 | 54.5524 | 820.6401 | 52.7025 | 6.105 | 410.6839 | 6.1483 | 435.5747 | 6.1017 | 0.053333 | 364.0251 | 0.090322 | -3.2273 | 19.6299 | 2183.1541 | 6.1186 | 0.008158 | -0.002378 | 0.0015061 | 1.0435 | 88094.2858 | 76051.8506 | 73147.0924 | 4589.0614 | -1 | 5.8329 | 6.3396 | 6.3666 | -1 | -1 | -1 | -1 | -1 | 1.1037 | 27.2028 | -1 | 27.2028 | 6.1283 | 6.0817 | 0.093333 | 1 | 1 | 79903.3049 | -1 | -1
|  | 37 | 1 | 30 | 9 | 3 | 0 | 0 | 0 | 6.6642 | 0 | BB | 1673.2378 | 516.5546 | 0.051791 | 1.0135 | 0 |  | -1 | -1 | 1 | -1 | 989 | 1025 | 6.5851 | 6.7817 | 0.0066667 | 47 | -1 | 6.6089 | 0.10606 | 64.0099 | 6.6095 | 0.10485 | 67.0098 | 6.6202 | 0.086688 | 657.5036 | 42.7921 | 691.5007 | 41.1578 | 6.6453 | 392.9663 | 6.6918 | 271.8401 | 6.6368 | 0.053939 | 291.9996 | 0.021231 | 0.0093688 | -0.0088936 | 1672.9416 | 6.6604 | 0.00045076 | 8.9661e-08 | 6.0775e-07 | 1.0058 | 94486.0427 | 98627.4025 | 84501.3088 | 98414.6757 | 6.3438 | 6.181 | 5.8812 | 5.9063 | -1 | -1 | -1 | -1 | 2.4285 | 1.0876 | -1 | -1 | -1 | 6.6617 | 6.6156 | 0.093939 | 1.0197 | 1.0395 | 91594.7722 | -1 | -1
|  | 38 | 2 | 31 | 9 | 4 | 0 | 0 | 0 | 6.6643 | 0 | BB | 1071.8539 | 331.3774 | 0.051736 | 1.0173 | 0 |  | -1 | -1 | 2 | -1 | 985 | 1025 | 6.5817 | 6.7647 | 0.0066667 | 51 | -1 | 6.6097 | 0.106 | 118.2744 | 6.6103 | 0.10467 | 120.1981 | 6.6203 | 0.086641 | 500.2675 | 103.6529 | 521.0394 | 104.7278 | 6.6449 | 324.9933 | 6.6918 | 252.6344 | 6.637 | 0.054 | 264.4812 | 0.021155 | -0.012524 | -0.070219 | 1071.6551 | 6.6636 | 0.00044753 | -1.1857e-07 | 5.8679e-07 | 1.0195 | 94588.8143 | 98740.2162 | 84311.7378 | 99219.8328 | 6.3541 | 6.2041 | 5.9337 | 5.9589 | -1 | -1 | -1 | -1 | 6.1111 | 1.0877 | -1 | -1 | -1 | 6.6617 | 6.6163 | 0.093333 | 1.0294 | 1.0588 | 92010.5354 | -1 | -1
|  | 6 | 8 | 32 | 9 | 4 | 0 | 0 | 0 | 6.6644 | 0 | BB | 102.7967 | 31.7492 | 0.051774 | 1.0143 | 0 |  | -1 | -1 | 8 | -1 | 985 | 1025 | 6.5817 | 6.7883 | 0.0066667 | 51 | -1 | 6.609 | 0.10667 | 9.0748 | 6.6103 | 0.10467 | 9.2591 | 6.6203 | 0.08665 | 45.664 | 7.7285 | 47.6913 | 7.7187 | 6.6449 | 28.8311 | 6.6918 | 22.0069 | 6.637 | 0.054 | 23.0763 | 0.021247 | 0.010038 | 0.0053825 | 102.7967 | 6.6638 | 0.00045141 | 9.6271e-08 | 6.1242e-07 | 1.0195 | 94569.5882 | 97509.8206 | 84311.7378 | 98370.4644 | 83.3897 | 56.7191 | 75.6212 | 75.943 | -1 | -1 | -1 | -1 | 67.271 | 20.277 | -1 | -1 | -1 | 6.6617 | 6.6157 | 0.094 | 1.0217 | 1.0435 | 91316.9748 | -1 | -1
|  | 3 | 5 | 33 | 9 | 4 | 0 | 0 | 0 | 6.6644 | 0 | BB | 330.3549 | 102.1735 | 0.051722 | 1.0188 | 0 |  | -1 | -1 | 5 | -1 | 985 | 1025 | 6.575 | 6.7636 | 0.0066667 | 51 | -1 | 6.6097 | 0.106 | 28.4252 | 6.6103 | 0.10467 | 29.0181 | 6.6204 | 0.086552 | 146.2548 | 23.8626 | 152.6813 | 24.314 | 6.6449 | 91.8623 | 6.6918 | 70.107 | 6.637 | 0.054 | 73.4796 | 0.021164 | -0.014527 | -0.058726 | 330.3033 | 6.6637 | 0.00044791 | -1.3772e-07 | 5.901e-07 | 1.0195 | 94782.7291 | 98740.2162 | 84311.7378 | 99137.0983 | 5.6014 | 5.675 | 5.3561 | 5.3789 | -1 | -1 | -1 | -1 | 5.82 | 1.0882 | -1 | -1 | -1 | 6.6617 | 6.6163 | 0.093333 | 1.0294 | 1.0588 | 92010.5354 | -1 | -1
|  | 5 | 7 | 34 | 9 | 4 | 0 | 0 | 0 | 6.6644 | 0 | BB | 335.1969 | 103.5278 | 0.051774 | 1.0138 | 0 |  | -1 | -1 | 7 | -1 | 985 | 1025 | 6.5683 | 6.8017 | 0.0066667 | 51 | -1 | 6.609 | 0.10667 | 9.2714 | 6.6103 | 0.10467 | 9.872 | 6.6204 | 0.086591 | 128.5969 | 4.8689 | 135.2174 | 4.8649 | 6.6449 | 73.5777 | 6.6918 | 51.4936 | 6.637 | 0.054 | 54.9171 | 0.021311 | 0.032096 | 0.10216 | 335.1969 | 6.6638 | 0.00045414 | 3.1063e-07 | 6.3981e-07 | 1.0195 | 94696.7935 | 97509.8206 | 84311.7378 | 97780.856 | 6.0822 | 5.8353 | 5.7511 | 5.7756 | -1 | -1 | -1 | -1 | 5.9543 | 1.0879 | -1 | -1 | -1 | 6.6617 | 6.6157 | 0.094 | 1.0217 | 1.0435 | 91316.9748 | -1 | -1
|  | 4 | 6 | 35 | 9 | 4 | 0 | 0 | 0 | 6.6644 | 0 | BB | 430.9467 | 133.1506 | 0.05176 | 1.0147 | 0 |  | -1 | -1 | 6 | -1 | 985 | 1025 | 6.5683 | 6.7975 | 0.0066667 | 51 | -1 | 6.609 | 0.10667 | 19.6134 | 6.6103 | 0.10467 | 20.3858 | 6.6204 | 0.086565 | 173.0902 | 13.9261 | 181.6094 | 13.9737 | 6.6449 | 102.3 | 6.6918 | 73.8908 | 6.637 | 0.054 | 78.3193 | 0.021294 | 0.026944 | 0.092786 | 430.9385 | 6.6638 | 0.00045343 | 2.6015e-07 | 6.3587e-07 | 1.0195 | 94755.3685 | 97509.8206 | 84311.7378 | 97934.6393 | 5.695 | 5.7646 | 5.4222 | 5.4453 | -1 | -1 | -1 | -1 | 5.8279 | 1.0881 | -1 | -1 | -1 | 6.6617 | 6.6157 | 0.094 | 1.0217 | 1.0435 | 91316.9748 | -1 | -1
|  | 39 | 3 | 36 | 9 | 4 | 0 | 0 | 0 | 6.6644 | 0 | BB | 522.5388 | 161.8619 | 0.051663 | 1.0257 | 0 |  | -1 | -1 | 3 | -1 | 985 | 1025 | 6.5817 | 6.7472 | 0.0066667 | 51 | -1 | 6.6103 | 0.10667 | 100.1668 | 6.6117 | 0.104 | 101.1062 | 6.6203 | 0.086548 | 287.1203 | 92.1105 | 296.7759 | 94.5545 | 6.6449 | 200.5346 | 6.6918 | 166.5236 | 6.637 | 0.054 | 171.5614 | 0.021049 | -0.038906 | -0.13807 | 522.7222 | 6.6636 | 0.00044307 | -3.6284e-07 | 5.6183e-07 | 1.04 | 94792.1857 | 97509.8206 | 84311.7378 | 100217.807 | 6.3949 | 6.2558 | 5.9921 | 6.0176 | -1 | -1 | -1 | -1 | 6.3019 | 1.0877 | -1 | -1 | -1 | 6.6617 | 6.6163 | 0.094 | 1.0368 | 1.0735 | 90135.9352 | -1 | -1
|  | 1 | 4 | 29 | 9 | 4 | 0 | 0 | 0 | 6.6645 | 0 | BB | 329.2177 | 101.9826 | 0.051662 | 1.0265 | 0 |  | -1 | -1 | 4 | -1 | 985 | 1025 | 6.5817 | 6.7471 | 0.0066667 | 51 | -1 | 6.6103 | 0.10667 | 60.1916 | 6.6117 | 0.104 | 60.7834 | 6.6204 | 0.08652 | 177.9929 | 55.1015 | 184.0895 | 56.6732 | 6.6449 | 123.3505 | 6.6918 | 102.0568 | 6.637 | 0.054 | 105.1675 | 0.021057 | -0.041238 | -0.13398 | 329.3423 | 6.6636 | 0.00044342 | -3.8505e-07 | 5.6351e-07 | 1.04 | 94853.354 | 97509.8206 | 84311.7378 | 100139.6028 | 6.3459 | 6.1246 | 5.9563 | 5.9816 | -1 | -1 | -1 | -1 | 6.2208 | 1.0877 | -1 | -1 | -1 | 6.6617 | 6.6163 | 0.094 | 1.0368 | 1.0735 | 90135.9352 | -1 | -1
|  | 8 | 1 | 38 | 10 | 3 | 0 | 0 | 0 | 7.0763 | 0 | BB | 63.9534 | 15.8497 | 0.059075 | 1.6186 | 0 |  | -1 | -1 | 1 | -1 | 1041 | 1090 | 6.935 | 7.1583 | 0.0066667 | 60 | -1 | 6.9817 | 0.17667 | 41.9386 | 6.9817 | 0.17667 | 42.0311 | 7.0329 | 0.083558 | 60.4531 | 40.816 | 60.5622 | 41.6987 | 7.0576 | 52.0009 | 7.0978 | 50.4679 | 7.0492 | 0.053333 | 48.9658 | 0.034364 | -0.58601 | -0.20328 | 63.7175 | 7.0616 | 0.0011809 | -2.378e-05 | 3.8999e-06 | 0.94643 | 114708.0331 | 40094.4097 | 97491.1509 | 42227.6383 | 4.8405 | 3.6434 | 4.5132 | 4.5324 | -1 | -1 | -1 | -1 | 3.6075 | 1.0618 | -1 | -1 | -1 | 7.075 | 6.9875 | 0.14 | 0.8 | 0.6 | 36512.8786 | -1 | -1
|  | 7 | 2 | 39 | 10 | 4 | 0 | 0 | 0 | 7.077 | 0 | BB | 46.2886 | 11.5063 | 0.058934 | 1.7564 | 0 |  | -1 | -1 | 2 | -1 | 1032 | 1090 | 6.875 | 7.139 | 0.0066667 | 69 | -1 | 6.9988 | 0.14021 | 114.1918 | 6.9988 | 0.14021 | 114.2591 | 7.0326 | 0.083458 | 127.9499 | 112.4374 | 127.506 | 114.918 | 7.057 | 120.967 | 7.0975 | 120.8892 | 7.0512 | 0.052381 | 119.304 | 0.037469 | -0.95024 | 0.85796 | 46.9327 | 7.0589 | 0.0014039 | -4.9985e-05 | 7.6039e-06 | 0.92013 | 114982.9815 | 63655.3825 | 101068.5121 | 35492.6 | 4.8521 | 4.1902 | 4.558 | 4.5774 | -1 | -1 | -1 | -1 | 3.3714 | 1.0619 | -1 | -1 | -1 | 7.075 | 7.0055 | 0.13354 | 0.96041 | 0.92083 | 50104.3973 | -1 | -1
|  | 2 | 3 | 37 | 10 | 4 | 0 | 0 | 0 | 7.0779 | 0 | BB | 26.8147 | 5.0843 | 0.073531 | 2.9659 | 0 |  | -1 | -1 | 3 | -1 | 1024 | 1097 | 6.8217 | 7.1278 | 0.0066667 | 84 | -1 | 7.0028 | 0.12503 | 106.4482 | 7.0028 | 0.12503 | 106.4783 | 7.0233 | 0.092036 | 112.5679 | 104.4627 | 112.1955 | 107.6024 | 7.0563 | 109.3664 | 7.0966 | 109.8953 | 7.0506 | 0.058889 | 108.7325 | 0.045572 | -0.9216 | 0.87845 | 27.0052 | 7.0433 | 0.0020768 | -8.7226e-05 | 1.6729e-05 | 0.86561 | 94548.6932 | 80046.5028 | 79964.2619 | 23886.2221 | 4.6303 | 4.4611 | 4.3034 | 4.3217 | -1 | -1 | -1 | -1 | 2.8496 | 1.062 | -1 | -1 | -1 | 7.075 | 7.0072 | 0.12059 | 0.88959 | 0.77918 | 56659.2826 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 06:25:27
ResNewDateTime | 03 September 2019 06:25:27
ResModBy | SYSTEM
ResModTime | 09/03/19 06:25:28
ResModDateTime | 03 September 2019 06:25:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9318.4996

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9318.4996

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5330.2497

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2126.7179

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 811.9408

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 492.4741

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 503.9636

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 401.3277

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.0928

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 9318.4996

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5330.2497

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2126.7179

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 811.9408

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 492.4741

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 503.9636

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 401.3277

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 139.0928

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.34567 | 1525.1398 | 171.6277 | 0.12167 | 1.5897 | -13.7551 | 0.0016667 | 0 | 45.5041 | 0.52167 | -7.1054e-15 | -44.0741 | 1 | -172.2657 | 45.7912 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4655 | 1172.9448 | 51.3543 | 0.27847 | 4.0749 | 7.363 | 0.815 | 0 | -45.1345 | 1.6083 | 0 | 18.8913 | 1 | 80.7049 | -110.909 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1032 | 836.7376 | 147.2862 | 0.086279 | 0.7653 | 41.1078 | 1.795 | 0 | 44.1713 | 2.2817 | 0 | 39.3343 | 1 | -9.9391 | 62.012 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 2.5723 | 514.5833 | 33.9343 | 0.24291 | 1.3294 | 57.9432 | 2.3017 | 0 | 39.9156 | 2.7958 | 1.4211e-14 | 72.8282 | 1 | 66.6102 | -113.3988 | 0 | 0 | 0
DateTime |  | 0 | 8 | 3.4563 | 1058.4099 | 53.3448 | 0.28148 | 1.7255 | 65.673 | 3.0217 | 0 | 73.7286 | 3.7617 | 1.4211e-14 | 60.0147 | 1 | -18.5322 | 129.7267 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 4.1788 | 290.3389 | 22.3952 | 0.19525 | 1.3641 | 66.7096 | 3.8017 | 0 | 60.0381 | 4.4053 | 0 | 70.7154 | 1 | 17.689 | -7.2097 | 0 | 0 | 0
IntegEnd | 0 | 2 | 31 | 5.5518 | 106.253 | 6.1374 | 0.21398 | 0.084888 | 66.5312 | 5.5017 | 8.8255e-08 | 67.6541 | 6.0742 | 0.074899 | 78.2348 | 2 | -22.3981 | 190.881 | 173.132 | -96.056 | 6.095
Errors | 0 | 32 | 20 | 6.1273 | 2076.9011 | 638.6804 | 0.049938 | 1.1105 | 53.6408 | 5.5017 | 0 | 67.6541 | 6.5817 | 0 | 43.4642 | 1 | -22.3981 | 190.881 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.6642 | 1673.2378 | 516.5546 | 0.051791 | 1.0135 | 41.9623 | 6.5851 | -7.1054e-15 | 43.4535 | 6.7817 | -1.4211e-14 | 39.7487 | 1 | -18.8523 | 167.5986 | 0 | 0 | 0
|  | 0 | 8 | 7.0763 | 63.9534 | 15.8497 | 0.059075 | 1.6186 | 41.2742 | 6.935 | 0 | 39.7816 | 7.1583 | 0 | 42.141 | 1 | 10.5644 | -33.4828 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.33834 | 1545.6873 | 147.5122 | 0.13625 | 2.0427 | 43.3711 | 0.0016667 | 0 | 124.5699 | 0.50833 | 0 | 2.3727 | 1 | -241.1786 | 124.9719 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4654 | 728.3541 | 35.0292 | 0.25458 | 3.6254 | 16.8876 | 0.84833 | 0 | -12.8069 | 1.6083 | 7.1054e-15 | 23.7637 | 1 | 48.1191 | -53.628 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1032 | 568.8873 | 99.4719 | 0.084723 | 0.75216 | 38.9733 | 1.795 | 0 | 41.1439 | 2.2817 | 0 | 37.7169 | 1 | -7.0418 | 53.784 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 3.4648 | 747.026 | 37.9822 | 0.27946 | 1.6785 | 66.4423 | 3.015 | 0 | 65.2213 | 3.7771 | 0 | 67.2899 | 1 | 2.7144 | 57.0374 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.1271 | 622.1526 | 195.3648 | 0.049153 | 0.98629 | 103.1559 | 5.875 | 0 | 101.5377 | 6.2411 | 0 | 103.8874 | 1 | 6.4185 | 63.8291 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.6643 | 1071.8539 | 331.3774 | 0.051736 | 1.0173 | 104.1997 | 6.5817 | 0 | 103.1742 | 6.7647 | 0 | 105.4448 | 1 | 12.4059 | 21.5228 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 7.077 | 46.2886 | 11.5063 | 0.058934 | 1.7564 | 113.7579 | 6.875 | 0 | 107.7542 | 7.139 | 0 | 115.6013 | 1 | 29.7217 | -96.5821 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32364 | 785.3046 | 84.8938 | 0.12192 | 1.7218 | 61.6084 | 0.081667 | 0 | 118.4611 | 0.48833 | 1.4211e-14 | 22.9135 | 1 | -234.9533 | 137.649 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4654 | 81.9316 | 10.6779 | 0.10152 | 0.58727 | 19.5156 | 1.315 | 0 | 21.1411 | 1.6139 | 3.5527e-15 | 17.9104 | 1 | -10.809 | 35.3549 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1033 | 288.8575 | 52.3834 | 0.082333 | 0.70194 | 24.5629 | 1.8283 | 0 | 25.5313 | 2.2817 | 0 | 23.9348 | 1 | -3.5216 | 31.9699 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.1273 | 421.2707 | 134.3007 | 0.048596 | 0.97187 | 82.9864 | 6.035 | 0 | 81.2831 | 6.22 | 0 | 84.6978 | 1 | 18.4603 | -30.1251 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.6644 | 522.5388 | 161.8619 | 0.051663 | 1.0257 | 93.3561 | 6.5817 | 0 | 91.0187 | 6.7472 | 0 | 95.6932 | 1 | 28.2396 | -94.8452 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 7.0779 | 26.8147 | 5.0843 | 0.073531 | 2.9659 | 106.3265 | 6.8217 | 0 | 97.5857 | 7.1278 | 0 | 108.0294 | 1 | 34.1138 | -135.1273 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32076 | 176.877 | 33.7654 | 0.075115 | 1.2991 | 50.9745 | 0.195 | 0 | 71.4655 | 0.44167 | 0 | 31.2729 | 1 | -162.943 | 103.2394 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1034 | 143.988 | 27.9163 | 0.078175 | 0.62173 | 23.2175 | 1.8617 | 0 | 23.4623 | 2.2883 | 0 | 23.0303 | 1 | -1.0125 | 25.3473 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1271 | 161.858 | 50.4415 | 0.049436 | 1.0185 | 48.819 | 6.0283 | 0 | 47.6937 | 6.2139 | 7.1054e-15 | 49.8073 | 1 | 11.3893 | -20.965 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.6645 | 329.2177 | 101.9826 | 0.051662 | 1.0265 | 55.9027 | 6.5817 | 0 | 54.3985 | 6.7471 | 7.1054e-15 | 57.4043 | 1 | 18.1664 | -65.1665 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.3239 | 60.4459 | 17.547 | 0.052189 | 1.2192 | 23.8771 | 0.215 | 0 | 29.5525 | 0.415 | 0 | 19.1293 | 1 | -52.1159 | 40.7574 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1035 | 68.7384 | 13.6692 | 0.076668 | 0.57814 | 16.678 | 1.8617 | 0 | 16.7236 | 2.3217 | 0 | 16.6368 | 1 | -0.18866 | 17.0749 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1245 | 32.9349 | 8.3688 | 0.059913 | 1.3417 | 22.2298 | 6.0283 | 0 | 21.9536 | 6.2062 | 0 | 22.4644 | 1 | 2.8725 | 4.6373 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.6644 | 330.3549 | 102.1735 | 0.051722 | 1.0188 | 24.0923 | 6.575 | 0 | 23.6259 | 6.7636 | 0 | 24.6097 | 1 | 5.2159 | -10.6686 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32754 | 41.6531 | 13.9361 | 0.04687 | 1.1828 | 14.2882 | 0.195 | -1.7764e-15 | 15.7099 | 0.415 | -1.7764e-15 | 13.35 | 1 | -10.7267 | 17.8016 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1247 | 31.3638 | 8.1252 | 0.059034 | 1.3077 | 14.0165 | 6.035 | 0 | 13.9995 | 6.2083 | 0 | 14.0324 | 1 | 0.18982 | 12.8539 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.6644 | 430.9467 | 133.1506 | 0.05176 | 1.0147 | 13.9503 | 6.5683 | 0 | 13.8974 | 6.7975 | 0 | 14.0235 | 1 | 0.5501 | 10.2842 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32821 | 36.5648 | 12.6406 | 0.045747 | 1.1456 | 5.3005 | 0.195 | 0 | 6.1283 | 0.42167 | 0 | 4.7197 | 1 | -6.2143 | 7.3401 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.126 | 29.566 | 8.421 | 0.052962 | 1.1633 | 5.1673 | 6.035 | 0 | 5.1808 | 6.215 | 0 | 5.1541 | 1 | -0.14835 | 6.0761 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.6644 | 335.1969 | 103.5278 | 0.051774 | 1.0138 | 4.8669 | 6.5683 | 0 | 4.8714 | 6.8017 | 0 | 4.8604 | 1 | -0.047003 | 5.1801 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32867 | 36.2961 | 12.5155 | 0.045834 | 1.1558 | 8.2176 | 0.195 | 0 | 8.9808 | 0.42167 | 0 | 7.6866 | 1 | -5.7094 | 10.0941 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.6644 | 102.7967 | 31.7492 | 0.051774 | 1.0143 | 7.7235 | 6.5817 | 8.8818e-16 | 7.7329 | 6.7883 | 8.8818e-16 | 7.7095 | 1 | -0.11306 | 8.477 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2