## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567457032
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 73
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 73
Vial | 73
SampleLocation | 73
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 21:43:52
SampleName | CS-135_0073
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.987
StopPressure | 62.562
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 11.6089
DAD1UVBurnTime | 158.2756
DAD1VisOnTime | 11.6083
DAD1VisBurnTime | 143.7867
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 7033.4652 | 1492.6542 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 4398.9133 | 786.7765 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 2135.5998 | 434.7511 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 793.1902 | 208.155 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 487.4327 | 137.6854 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 510.5678 | 151.6459 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 396.0667 | 120.8095 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0073.D | 141.0604 | 43.5808 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32183 | 0 | BB | 175.7774 | 33.5966 | 0.07504 | 1.2807 | 0 |  | -1 | -1 | 4 | -1 | 26 | 84 | 0.19667 | 0.44333 | 0.0066667 | 69 | -1 | 0.19667 | 0.17333 | 49.7087 | 0.19667 | 0.17238 | 49.9063 | 0.27058 | 0.10209 | 84.6257 | 56.7778 | 95.1592 | 40.293 | 0.30744 | 76.8072 | 0.35177 | 62.8462 | 0.19667 | 0.15429 | 64.7283 | 0.041349 | -0.24263 | -0.16598 | 175.7774 | 0.31216 | 0.0017097 | -1.7153e-05 | 8.2844e-06 | 0.68045 | 160.4787 | 86.9915 | 24.331 | 56.9929 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32333 | 0.19667 | 0.16952 | 0.66917 | 0.33835 | 36.0705 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32477 | 0 | BB | 875.4924 | 87.392 | 0.13088 | 1.8919 | 0 |  | -1 | -1 | 3 | -1 | 8 | 109 | 0.05 | 0.49 | 0.0066667 | 112 | -1 | 0.05 | 0.35833 | 60.5154 | 0.05 | 0.35667 | 61.0321 | 0.23438 | 0.17187 | 148.1682 | 75.9415 | 163.3404 | 38.8136 | 0.30916 | 135.6967 | 0.35372 | 119.0881 | 0.05 | 0.32 | 99.7863 | 0.081218 | -0.47224 | -0.36165 | 875.4924 | 0.28399 | 0.0065963 | -0.00025299 | 0.0001148 | 0.65244 | 56.6293 | 20.3548 | 5.656 | 12.2267 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32333 | 0.05 | 0.35167 | 0.64329 | 0.28659 | 7.438 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32508 | 0 | BB | 60.1567 | 17.5079 | 0.052086 | 1.2126 | 0 |  | -1 | -1 | 5 | -1 | 33 | 74 | 0.21667 | 0.41667 | 0.0066667 | 52 | -1 | 0.21667 | 0.148 | 22.3944 | 0.21667 | 0.14733 | 22.4973 | 0.29019 | 0.073261 | 42.1783 | 23.6929 | 48.5541 | 19.915 | 0.31307 | 35.8166 | 0.35342 | 27.4058 | 0.298 | 0.051333 | 30.2122 | 0.029224 | -0.80183 | 0.54894 | 60.1567 | 0.31727 | 0.00085403 | -2.0012e-05 | 2.5885e-06 | 0.65 | 324.6407 | 124.2924 | 228.949 | 117.8614 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.21667 | 0.14533 | 0.64118 | 0.28235 | 44.8691 | -1 | -1
Modified | 1 | 18 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32836 | 0 | BB | 40.9276 | 13.8658 | 0.046436 | 1.1274 | 0 |  | -1 | -1 | 6 | -1 | 31 | 72 | 0.20333 | 0.41667 | 0.0066667 | 52 | -1 | 0.20333 | 0.164 | 13.0274 | 0.20333 | 0.164 | 13.1104 | 0.29687 | 0.065919 | 30.4233 | 12.7851 | 33.7697 | 12.0556 | 0.31311 | 21.8837 | 0.35338 | 17.9879 | 0.30667 | 0.044667 | 19.3383 | 0.026105 | -1.386 | 2.5722 | 40.9276 | 0.32243 | 0.00068147 | -2.4657e-05 | 2.5878e-06 | 0.64737 | 400.9822 | 101.2232 | 302.3922 | 152.5492 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.20333 | 0.16133 | 0.63684 | 0.27368 | 35.5778 | -1 | -1
NextPeakSignal_ | Peak | 20 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32911 | 0 | BB | 36.1334 | 12.5965 | 0.045466 | 1.1062 | 0 |  | -1 | -1 | 7 | -1 | 31 | 71 | 0.20333 | 0.42333 | 0.0066667 | 51 | -1 | 0.20333 | 0.16467 | 3.9391 | 0.20333 | 0.16467 | 4.0145 | 0.29759 | 0.065101 | 20.114 | 3.5944 | 22.4203 | 3.1755 | 0.31318 | 11.7625 | 0.35331 | 8.551 | 0.308 | 0.043333 | 9.673 | 0.024701 | -1.4126 | 3.0996 | 36.1334 | 0.32411 | 0.00061015 | -2.1289e-05 | 2.2708e-06 | 0.65 | 411.1236 | 100.4053 | 321.2872 | 172.1628 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.26667 | 0.098667 | 0.77895 | 0.55789 | 153.3201 | -1 | -1
Signal_ | Signal | 27 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32963 | 0 | BB | 36.3199 | 12.4983 | 0.045903 | 1.1366 | 0 |  | -1 | -1 | 8 | -1 | 30 | 72 | 0.19667 | 0.43 | 0.0066667 | 53 | -1 | 0.19667 | 0.17259 | 7.1428 | 0.19667 | 0.17185 | 7.2175 | 0.29765 | 0.065439 | 23.3108 | 6.7763 | 25.2613 | 6.4083 | 0.31318 | 14.8037 | 0.35323 | 11.9625 | 0.30778 | 0.044444 | 12.8259 | 0.025814 | -1.4521 | 3.2852 | 36.3199 | 0.32399 | 0.00066636 | -2.4977e-05 | 2.7908e-06 | 0.64444 | 406.8922 | 91.3952 | 305.4237 | 157.5258 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.26852 | 0.097037 | 0.78916 | 0.57831 | 161.8803 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33923 | 0 | BB | 1533.9062 | 146.3858 | 0.13625 | 2.0074 | 0 |  | -1 | -1 | 2 | -1 | 1 | 114 | 0.0033333 | 0.51 | 0.0066667 | 119 | -1 | 0.03 | 0.40167 | 47.8774 | 0.03 | 0.40167 | 48.7463 | 0.24709 | 0.18923 | 202.1256 | 63.1185 | 205.6144 | 17.4601 | 0.31373 | 163.6577 | 0.38014 | 126.3405 | 0.03 | 0.35667 | 113.9128 | 0.093897 | -0.63679 | -0.2009 | 1533.9063 | 0.28821 | 0.0088167 | -0.00052718 | 0.00021759 | 0.65489 | 50.6429 | 17.5634 | 4.9361 | 9.4216 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33667 | 0.03 | 0.395 | 0.64402 | 0.28804 | 6.4157 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.3467 | 0 | BB | 1513.9172 | 170.551 | 0.12156 | 1.5657 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0033333 | 0.52333 | 0.0066667 | 113 | -1 | 0.03 | 0.41833 | -9.2592 | 0.03 | 0.41667 | -8.2484 | 0.27338 | 0.16779 | 176.0931 | -3.401 | 174.7065 | -32.4602 | 0.31905 | 108.3982 | 0.38223 | 96.7992 | 0.295 | 0.1 | 67.559 | 0.091086 | -0.85748 | 0.31917 | 1513.9173 | 0.30917 | 0.0082967 | -0.00064801 | 0.00022848 | 0.65104 | 69.6216 | 17.4997 | 67.865 | 11.521 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.35 | 0.03 | 0.41 | 0.64062 | 0.28125 | 6.3235 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4641 | 0 | BB | 86.2024 | 10.9001 | 0.10426 | 0.66076 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2967 | 1.61 | 0.0066667 | 90 | -1 | 1.2967 | 0.29867 | 18.3403 | 1.2967 | 0.29867 | 18.4046 | 1.4067 | 0.19625 | 30.5345 | 18.347 | 44.1958 | 16.6904 | 1.4411 | 25.6495 | 1.5873 | 19.7905 | 1.426 | 0.13333 | 23.2277 | 0.062034 | -0.27083 | -0.39888 | 86.2024 | 1.4796 | 0.0038482 | -6.4652e-05 | 3.8518e-05 | 0.896 | 889.5852 | 600.1405 | 667.2965 | 568.9151 | 6.19 | 4.3353 | 2.953 | 2.9656 | -1 | -1 | -1 | -1 | 4.1732 | 4.5081 | -1 | -1 | -1 | 1.4633 | 1.2967 | 0.296 | 0.888 | 0.776 | 401.4528 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4641 | 0 | BB | 730.6767 | 34.8276 | 0.25676 | 3.8133 | 0 |  | -1 | -1 | 2 | -1 | 127 | 243 | 0.84333 | 1.6074 | 0.0066667 | 127 | -1 | 1.1367 | 0.47071 | 17.3237 | 1.14 | 0.46738 | 17.5305 | 1.3743 | 0.22535 | 54.6819 | 11.3289 | 83.0838 | 22.6589 | 1.441 | 43.5315 | 1.5832 | 29.995 | 1.3733 | 0.20333 | 33.0403 | 0.16941 | -0.29883 | -0.9246 | 734.9773 | 1.3041 | 0.028699 | -0.0014529 | 0.0017094 | 0.72275 | 674.6688 | 241.6128 | 286.9321 | 59.2581 | 5.4266 | 3.2236 | 2.3603 | 2.3703 | -1 | -1 | -1 | -1 | 1.9291 | 4.316 | -1 | -1 | -1 | 1.4633 | 1.16 | 0.44738 | 0.73743 | 0.47487 | 132.9455 | -1 | -1
|  | 15 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4642 | 0 | BB | 1172.4912 | 50.9567 | 0.28044 | 4.2794 | 0 |  | -1 | -1 | 1 | -1 | 123 | 242 | 0.81667 | 1.6064 | 0.0066667 | 130 | -1 | 1.135 | 0.47136 | 9.0137 | 1.1367 | 0.46969 | 9.3165 | 1.3683 | 0.23045 | 63.4089 | -1.1629 | 104.3639 | 18.1312 | 1.4411 | 47.8424 | 1.5823 | 28.6967 | 1.3633 | 0.21333 | 32.0259 | 0.1748 | -0.25459 | -0.94199 | 1167.4493 | 1.2878 | 0.030557 | -0.0013599 | 0.0019216 | 0.71892 | 645.1311 | 240.9481 | 260.6627 | 54.2772 | 5.6121 | 3.1401 | 4.1905 | 4.2084 | -1 | -1 | -1 | -1 | 1.8404 | 4.2231 | -1 | -1 | -1 | 1.4633 | 1.155 | 0.45136 | 0.73193 | 0.46387 | 128.6946 | -1 | -1
|  | 19 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0744 | 0 | BB | 58.7967 | 12.5086 | 0.072839 | 0.58552 | 0 |  | -1 | -1 | 5 | -1 | 290 | 345 | 2.0033 | 2.2313 | 0.0066667 | 66 | -1 | 2.0205 | 0.16286 | 15.4691 | 2.0214 | 0.15905 | 15.5434 | 2.0266 | 0.1289 | 30.9622 | 14.8642 | 28.8694 | 15.0186 | 2.0465 | 21.5745 | 2.107 | 23.307 | 2.0443 | 0.07619 | 21.1164 | 0.032375 | 0.56709 | 0.11917 | 58.7877 | 2.0881 | 0.0010482 | 1.9244e-05 | 3.4268e-06 | 1.4397 | 4152.8495 | 4064.9946 | 4115.6835 | 4159.7009 | 17.3061 | 14.0685 | 16.1181 | 16.1867 | -1 | -1 | -1 | -1 | 14.3736 | 6.3812 | -1 | -1 | -1 | 2.0767 | 2.0262 | 0.13905 | 1.3774 | 1.7547 | 3095.5581 | -1 | -1
|  | 24 | 4 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0745 | 0 | BB | 119.4069 | 25.1991 | 0.073283 | 0.57973 | 0 |  | -1 | -1 | 4 | -1 | 290 | 346 | 2.0033 | 2.241 | 0.0066667 | 67 | -1 | 2.0214 | 0.17048 | 22.6725 | 2.0214 | 0.16571 | 22.8222 | 2.0266 | 0.12943 | 53.9371 | 21.3672 | 49.6154 | 21.9034 | 2.0466 | 34.9285 | 2.107 | 38.5591 | 2.0443 | 0.077143 | 34.051 | 0.033199 | 0.64199 | 0.35002 | 119.4784 | 2.0888 | 0.0011022 | 2.3492e-05 | 4.0698e-06 | 1.5 | 4118.9703 | 3709.7627 | 4014.689 | 3958.3456 | 15.1403 | 12.7444 | 8.8986 | 8.9364 | -1 | -1 | -1 | -1 | 11.9157 | 6.4458 | -1 | -1 | -1 | 2.0767 | 2.0262 | 0.1419 | 1.4057 | 1.8113 | 2917.2044 | -1 | -1
|  | 23 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0747 | 0 | BB | 217.3689 | 45.443 | 0.073805 | 0.57376 | 0 |  | -1 | -1 | 3 | -1 | 290 | 346 | 2.0033 | 2.2424 | 0.0066667 | 67 | -1 | 2.0224 | 0.21997 | 27.0022 | 2.0224 | 0.21997 | 27.2722 | 2.0267 | 0.13003 | 83.591 | 24.3144 | 75.4335 | 26.1538 | 2.0466 | 48.8752 | 2.107 | 55.9925 | 2.0452 | 0.077143 | 47.5258 | 0.034032 | 0.70223 | 0.50125 | 217.4713 | 2.0895 | 0.0011582 | 2.7679e-05 | 4.6965e-06 | 2.0261 | 4080.9251 | 2228.1209 | 4014.689 | 3769.8003 | 3.7427 | 2.9432 | 3.4087 | 3.4232 | -1 | -1 | -1 | -1 | 3.1744 | 1.417 | -1 | -1 | -1 | 2.0767 | 2.0271 | 0.14762 | 1.4904 | 1.9808 | 2554.3412 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0747 | 0 | BB | 608.8276 | 126.173 | 0.074296 | 0.56667 | 0 |  | -1 | -1 | 1 | -1 | 289 | 346 | 2.0033 | 2.2506 | 0.0066667 | 68 | -1 | 2.0224 | 0.22821 | 51.9595 | 2.0224 | 0.22821 | 52.7093 | 2.0266 | 0.13057 | 209.2157 | 44.3253 | 186.26 | 49.8922 | 2.0466 | 112.8171 | 2.1071 | 132.6887 | 2.0452 | 0.077143 | 108.9475 | 0.034854 | 0.76605 | 0.69511 | 608.6481 | 2.0901 | 0.0012148 | 3.2435e-05 | 5.4531e-06 | 2.1019 | 4047.291 | 2070.2119 | 4014.689 | 3596.1396 | 3.3821 | 2.1817 | 2.4695 | 2.4801 | -1 | -1 | -1 | -1 | 1.9133 | 1.417 | -1 | -1 | -1 | 2.0767 | 2.0271 | 0.15048 | 1.5192 | 2.0385 | 2415.1344 | -1 | -1
|  | 21 | 2 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0747 | 0 | BB | 407.8326 | 84.6927 | 0.07418 | 0.56898 | 0 |  | -1 | -1 | 2 | -1 | 289 | 346 | 2.0033 | 2.2461 | 0.0066667 | 68 | -1 | 2.0224 | 0.22368 | 45.8948 | 2.0233 | 0.22273 | 46.3981 | 2.0266 | 0.13047 | 151.5205 | 40.6469 | 136.0215 | 44.7058 | 2.0466 | 86.6253 | 2.1071 | 100.1507 | 2.0452 | 0.077143 | 84.1486 | 0.034444 | 0.72612 | 0.55332 | 407.219 | 2.0899 | 0.0011864 | 2.9673e-05 | 5.0015e-06 | 2.0881 | 4053.4514 | 2154.8677 | 4014.689 | 3681.3909 | 3.4321 | 2.1984 | 2.558 | 2.5689 | -1 | -1 | -1 | -1 | 1.9274 | 1.417 | -1 | -1 | -1 | 2.0767 | 2.0271 | 0.15143 | 1.5288 | 2.0577 | 2370.9854 | -1 | -1
|  | 22 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.8824 | 0 | BB | 19.1227 | 5.4105 | 0.053234 | 0.57748 | 0 |  | -1 | -1 | 1 | -1 | 717 | 786 | 4.8367 | 5.23 | 0.0066667 | 80 | -1 | 4.8367 | 0.09 | 64.7708 | 4.8367 | 0.09 | 64.8024 | 4.8469 | 0.075049 | 71.3819 | 65.0904 | 71.3175 | 63.9562 | 4.8608 | 67.5612 | 4.9013 | 67.7934 | 4.8578 | 0.047778 | 67.1687 | 0.065691 | 2.3489 | 5.3881 | 19.1227 | 4.9117 | 0.0043153 | 0.00066585 | 0.0001562 | 0.96428 | 67742.9904 | 73601.5452 | 57874.9478 | 5590.5185 | 27.3103 | 22.0592 | 26.4097 | 26.5221 | -1 | -1 | -1 | -1 | 14.0314 | 2.3533 | -1 | -1 | -1 | 4.8833 | 4.8367 | 0.085556 | 0.91667 | 0.83333 | 55450.4485 | -1 | -1
|  | 30 | 6 | 19 | 5 | 4 | 0 | 0 | 0 | 5.5046 | 0 | BB | 32.2952 | 7.6827 | 0.061043 | 1.6777 | 0 |  | -1 | -1 | 6 | -1 | 803 | 855 | 5.35 | 5.5924 | 0.0066667 | 63 | -1 | 5.4092 | 0.15167 | 12.5308 | 5.41 | 0.14917 | 12.5755 | 5.4598 | 0.086468 | 21.2941 | 12.188 | 21.5696 | 12.2176 | 5.4864 | 17.5866 | 5.5263 | 16.6957 | 5.475 | 0.055833 | 15.9291 | 0.032808 | -0.3742 | -0.53681 | 32.2942 | 5.4903 | 0.0010764 | -1.3215e-05 | 2.8539e-06 | 0.79911 | 64812.7193 | 32916.3265 | 53823.7916 | 28004.2876 | 67.9356 | 40.9946 | 60.5184 | 60.7759 | -1 | -1 | -1 | -1 | 43.8601 | 16.7638 | -1 | -1 | -1 | 5.5033 | 5.415 | 0.1375 | 0.7783 | 0.5566 | 21926.3028 | -1 | -1
|  | 29 | 5 | 20 | 5 | 4 | 0 | 0 | 0 | 5.5047 | 0 | BB | 34.0419 | 7.8851 | 0.062368 | 1.7646 | 0 |  | -1 | -1 | 5 | -1 | 804 | 855 | 5.3567 | 5.5869 | 0.0066667 | 62 | -1 | 5.4108 | 0.15417 | 20.5458 | 5.4117 | 0.15083 | 20.5917 | 5.4592 | 0.087048 | 29.5314 | 20.1097 | 29.8006 | 20.3061 | 5.4864 | 25.743 | 5.5263 | 24.8636 | 5.475 | 0.055833 | 24.0333 | 0.033313 | -0.33759 | -0.60713 | 34.0912 | 5.4892 | 0.0011097 | -1.248e-05 | 2.9468e-06 | 0.82273 | 63951.9499 | 31857.4259 | 53823.7916 | 27151.5716 | 31.7697 | 27.0509 | 30.5294 | 30.6594 | -1 | -1 | -1 | -1 | 25.8883 | 2.6536 | -1 | -1 | -1 | 5.5033 | 5.4158 | 0.1375 | 0.78571 | 0.57143 | 22266.9657 | -1 | -1
|  | 32 | 7 | 21 | 5 | 4 | 0 | 0 | 0 | 5.5048 | 0 | BB | 19.1904 | 6.9408 | 0.044257 | 0.83924 | 0 |  | -1 | -1 | 7 | -1 | 813 | 847 | 5.4567 | 5.57 | 0.0066667 | 45 | -1 | 5.4567 | 0.087879 | 4.8232 | 5.4567 | 0.087879 | 4.8633 | 5.4699 | 0.074101 | 13.0989 | 5.0652 | 13.2416 | 3.8771 | 5.487 | 9.0073 | 5.5271 | 7.903 | 5.4809 | 0.047273 | 7.8687 | 0.017495 | 0.16156 | -0.31489 | 19.1904 | 5.5071 | 0.00030609 | 8.6516e-07 | 2.5157e-07 | 0.94156 | 88251.2873 | 98044.1265 | 75082.7351 | 99082.2047 | 74.3615 | 51.2347 | 67.1189 | 67.4045 | -1 | -1 | -1 | -1 | 61.4148 | 16.726 | -1 | -1 | -1 | 5.5033 | 5.4567 | 0.085455 | 0.91558 | 0.83117 | 70500.9183 | -1 | -1
|  | 26 | 2 | 23 | 5 | 4 | 0 | 0 | 0 | 5.5049 | 0 | BB | 627.3315 | 192.5046 | 0.050019 | 1.0145 | 0 |  | -1 | -1 | 2 | -1 | 802 | 850 | 5.3433 | 5.6162 | 0.0066667 | 59 | -1 | 5.4292 | 0.1325 | 108.0097 | 5.4325 | 0.1275 | 109.1307 | 5.4645 | 0.081915 | 336.6789 | 99.5507 | 333.6155 | 100.0519 | 5.4859 | 225.3359 | 5.5264 | 212.5292 | 5.4792 | 0.051667 | 193.2106 | 0.024772 | -0.43367 | 1.1563 | 627.3615 | 5.5035 | 0.00061364 | -6.5923e-06 | 1.5651e-06 | 0.9 | 72217.7842 | 43128.0566 | 62855.099 | 49358.0177 | 32.3016 | 24.0763 | 31.2903 | 31.4234 | -1 | -1 | -1 | -1 | 28.8233 | 2.6533 | -1 | -1 | -1 | 5.5033 | 5.4575 | 0.095 | 1.0364 | 1.0727 | 60247.9483 | -1 | -1
|  | 25 | 1 | 18 | 5 | 3 | 0 | 0 | 0 | 5.505 | 0 | BB | 2002.1042 | 628.1754 | 0.051184 | 0.94108 | 0 |  | -1 | -1 | 1 | -1 | 810 | 932 | 5.3942 | 6.2033 | 0.0066667 | 133 | -1 | 5.4517 | 0.11 | 82.6148 | 5.4533 | 0.10667 | 86.2727 | 5.4648 | 0.082252 | 830.9156 | 56.3103 | 811.9927 | 55.1998 | 5.483 | 408.1888 | 5.5258 | 436.7992 | 5.48 | 0.051667 | 360.6168 | 0.038268 | 8.5252 | 120.4276 | 2001.6569 | 5.505 | 0.0014645 | 0.00047778 | 0.00026471 | 1.0667 | 71626.6707 | 62575.7805 | 62855.099 | 20693.6492 | 7.9149 | 7.7814 | 7.3554 | 7.3867 | -1 | -1 | -1 | -1 | 2.8538 | 1.1275 | -1 | -1 | -1 | 5.5033 | 5.46 | 0.093333 | 1.0769 | 1.1538 | 60312.5193 | -1 | -1
|  | 28 | 3 | 24 | 5 | 4 | 0 | 0 | 0 | 5.505 | 0 | BB | 426.0931 | 132.7307 | 0.049452 | 0.99121 | 0 |  | -1 | -1 | 3 | -1 | 804 | 850 | 5.3567 | 5.6028 | 0.0066667 | 57 | -1 | 5.4456 | 0.11704 | 85.3799 | 5.45 | 0.11111 | 86.1527 | 5.4648 | 0.081539 | 243.6804 | 79.1724 | 240.8393 | 80.3154 | 5.4863 | 166.9864 | 5.5264 | 157.7578 | 5.4796 | 0.051111 | 144.1134 | 0.023921 | -0.38481 | 1.1503 | 426.1635 | 5.5042 | 0.00057221 | -5.2673e-06 | 1.3589e-06 | 1.0417 | 72884.7791 | 55277.0692 | 64228.9404 | 52945.433 | 32.4274 | 25.4469 | 31.4271 | 31.5608 | -1 | -1 | -1 | -1 | 29.4605 | 2.6534 | -1 | -1 | -1 | 5.5033 | 5.4596 | 0.093333 | 1.0678 | 1.1356 | 60773.9896 | -1 | -1
|  | 31 | 4 | 22 | 5 | 4 | 0 | 0 | 0 | 5.505 | 0 | BB | 164.0624 | 49.6495 | 0.050551 | 1.0618 | 0 |  | -1 | -1 | 4 | -1 | 805 | 850 | 5.3633 | 5.5962 | 0.0066667 | 56 | -1 | 5.4278 | 0.13556 | 48.0057 | 5.43 | 0.13185 | 48.2947 | 5.4645 | 0.081873 | 107.053 | 45.5584 | 106.1699 | 46.2484 | 5.4864 | 78.75 | 5.5265 | 75.0294 | 5.4796 | 0.051852 | 69.9721 | 0.025569 | -0.53855 | 0.99747 | 164.0976 | 5.5024 | 0.00065377 | -9.0026e-06 | 1.7086e-06 | 0.89899 | 72292.6546 | 41205.6722 | 62406.9358 | 46311.1087 | 32.4705 | 28.0244 | 31.2485 | 31.3814 | -1 | -1 | -1 | -1 | 29.0436 | 2.6537 | -1 | -1 | -1 | 5.5033 | 5.4559 | 0.097037 | 1.0234 | 1.0469 | 58394.9481 | -1 | -1
|  | 33 | 1 | 26 | 6 | 3 | 0 | 0 | 0 | 6.298 | 0 | BB | 1700.2466 | 505.2348 | 0.053261 | 0.84791 | 0 |  | -1 | -1 | 1 | -1 | 935 | 975 | 6.2273 | 6.49 | 0.0066667 | 51 | -1 | 6.248 | 0.112 | 66.7134 | 6.2487 | 0.11 | 69.6681 | 6.2555 | 0.090243 | 671.9133 | 45.6578 | 642.6168 | 44.3171 | 6.2734 | 309.7755 | 6.32 | 366.8921 | 6.2713 | 0.055333 | 291.2701 | 0.022807 | 0.51287 | 1.1409 | 1700.095 | 6.2985 | 0.00052017 | 6.0844e-06 | 1.1204e-06 | 1.1458 | 77896.5157 | 79017.8793 | 71739.3611 | 76267.4103 | 9.1947 | 8.9304 | 8.7084 | 8.7455 | -1 | -1 | -1 | -1 | 6.4962 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.2533 | 0.098 | 1.1308 | 1.2615 | 68543.3737 | -1 | -1
|  | 34 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.298 | 0 | BB | 1087.036 | 323.9338 | 0.05315 | 0.85296 | 0 |  | -1 | -1 | 2 | -1 | 929 | 970 | 6.21 | 6.4119 | 0.0066667 | 52 | -1 | 6.2487 | 0.112 | 117.9271 | 6.2493 | 0.11 | 119.8213 | 6.2555 | 0.090133 | 506.2038 | 103.7746 | 487.078 | 104.3469 | 6.2735 | 273.8007 | 6.32 | 310.5846 | 6.2713 | 0.055333 | 261.8898 | 0.022324 | 0.32928 | 0.099571 | 1086.994 | 6.3011 | 0.00049835 | 3.6632e-06 | 7.6979e-07 | 1.162 | 78086.2646 | 79017.8793 | 71739.3611 | 79670.3897 | 9.2193 | 8.1093 | 8.7091 | 8.7462 | -1 | -1 | -1 | -1 | 8.468 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.2533 | 0.098 | 1.1308 | 1.2615 | 68543.3737 | -1 | -1
|  | 6 | 8 | 28 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 104.7405 | 31.0824 | 0.053314 | 0.84657 | 0 |  | -1 | -1 | 8 | -1 | 928 | 985 | 6.1833 | 6.5567 | 0.0066667 | 68 | -1 | 6.2481 | 0.11238 | 7.7421 | 6.249 | 0.11048 | 7.9238 | 6.2555 | 0.090376 | 44.9174 | 6.4173 | 43.1582 | 6.4 | 6.2737 | 22.8799 | 6.3203 | 26.0834 | 6.2719 | 0.055238 | 21.5535 | 0.023681 | 0.95595 | 4.8217 | 104.7405 | 6.3016 | 0.0005608 | 1.2696e-05 | 2.4599e-06 | 1.16 | 77667.3371 | 78483.0728 | 71986.9514 | 70808.6529 | 76.6096 | 52.3596 | 70.3525 | 70.6518 | -1 | -1 | -1 | -1 | 60.3855 | 19.1063 | -1 | -1 | -1 | 6.2967 | 6.2538 | 0.098095 | 1.1444 | 1.2889 | 67673.3873 | -1 | -1
|  | 2 | 3 | 29 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 530.4431 | 158.2851 | 0.053097 | 0.85661 | 0 |  | -1 | -1 | 3 | -1 | 929 | 970 | 6.23 | 6.4012 | 0.0066667 | 52 | -1 | 6.2493 | 0.11267 | 97.5402 | 6.25 | 0.11 | 98.4657 | 6.2556 | 0.090068 | 287.4755 | 90.0988 | 277.809 | 91.5322 | 6.2735 | 173.2574 | 6.32 | 192.005 | 6.272 | 0.055333 | 167.8791 | 0.022257 | 0.31828 | 0.061117 | 530.6372 | 6.3011 | 0.00049537 | 3.5092e-06 | 7.5118e-07 | 1.1786 | 78199.173 | 78085.5231 | 71739.3611 | 80148.7387 | 9.2428 | 8.6314 | 8.7543 | 8.7916 | -1 | -1 | -1 | -1 | 8.6286 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.254 | 0.098 | 1.1484 | 1.2969 | 67592.3708 | -1 | -1
|  | 3 | 5 | 30 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 334.4374 | 99.7838 | 0.053102 | 0.8546 | 0 |  | -1 | -1 | 5 | -1 | 929 | 970 | 6.2167 | 6.4102 | 0.0066667 | 52 | -1 | 6.2487 | 0.112 | 26.4015 | 6.2493 | 0.11 | 26.9849 | 6.2556 | 0.090033 | 146.0149 | 21.987 | 140.1316 | 22.2859 | 6.2735 | 74.1838 | 6.32 | 85.8554 | 6.272 | 0.055333 | 70.7383 | 0.022286 | 0.32667 | 0.096788 | 334.4353 | 6.3011 | 0.00049668 | 3.6159e-06 | 7.6395e-07 | 1.162 | 78258.9947 | 79017.8793 | 71739.3611 | 79938.6945 | 8.9606 | 7.4519 | 8.3857 | 8.4214 | -1 | -1 | -1 | -1 | 7.3019 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.254 | 0.097333 | 1.1406 | 1.2812 | 68944.4367 | -1 | -1
|  | 4 | 6 | 31 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 437.3451 | 130.0974 | 0.05322 | 0.84942 | 0 |  | -1 | -1 | 6 | -1 | 929 | 976 | 6.1967 | 6.5 | 0.0066667 | 58 | -1 | 6.2485 | 0.11185 | 17.8965 | 6.2493 | 0.10963 | 18.6571 | 6.2556 | 0.090167 | 173.7384 | 12.3091 | 166.3142 | 12.3311 | 6.2736 | 80.5826 | 6.3202 | 94.9188 | 6.2715 | 0.055556 | 75.6986 | 0.022935 | 0.57181 | 1.5311 | 437.3525 | 6.3014 | 0.00052602 | 6.8986e-06 | 1.2538e-06 | 1.1562 | 78027.2075 | 79227.3368 | 71166.594 | 75486.1605 | 8.9844 | 7.5277 | 8.3701 | 8.4057 | -1 | -1 | -1 | -1 | 7.275 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.2537 | 0.097778 | 1.1379 | 1.2759 | 68464.8254 | -1 | -1
|  | 1 | 4 | 32 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 333.9434 | 99.7099 | 0.053073 | 0.85724 | 0 |  | -1 | -1 | 4 | -1 | 929 | 970 | 6.23 | 6.4007 | 0.0066667 | 52 | -1 | 6.2493 | 0.11267 | 57.0771 | 6.25 | 0.11 | 57.66 | 6.2556 | 0.090017 | 176.7289 | 52.37 | 170.6432 | 53.3162 | 6.2735 | 104.6995 | 6.32 | 116.5965 | 6.272 | 0.055333 | 101.3832 | 0.022242 | 0.31762 | 0.060583 | 334.0925 | 6.3011 | 0.00049472 | 3.495e-06 | 7.4908e-07 | 1.1786 | 78287.085 | 78085.5231 | 71739.3611 | 80254.3599 | 9.2275 | 7.9873 | 8.6937 | 8.7307 | -1 | -1 | -1 | -1 | 8.352 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.254 | 0.098 | 1.1484 | 1.2969 | 67592.3708 | -1 | -1
|  | 5 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.2981 | 0 | BB | 340.743 | 101.2723 | 0.053254 | 0.84813 | 0 |  | -1 | -1 | 7 | -1 | 929 | 985 | 6.19 | 6.5541 | 0.0066667 | 67 | -1 | 6.2481 | 0.11238 | 7.5614 | 6.249 | 0.11048 | 8.1534 | 6.2555 | 0.090297 | 128.6998 | 3.2252 | 122.947 | 3.2133 | 6.2738 | 56.9325 | 6.3204 | 67.1231 | 6.2719 | 0.055238 | 52.5565 | 0.023255 | 0.73625 | 2.8465 | 340.7433 | 6.3015 | 0.00054078 | 9.2588e-06 | 1.7097e-06 | 1.16 | 77803.0019 | 78483.0728 | 71986.9514 | 73428.8517 | 9.6515 | 9.9039 | 9.0934 | 9.1321 | -1 | -1 | -1 | -1 | 9.7472 | 1.1441 | -1 | -1 | -1 | 6.2967 | 6.2538 | 0.097143 | 1.1333 | 1.2667 | 69616.1528 | -1 | -1
|  | 8 | 1 | 34 | 7 | 3 | 0 | 0 | 0 | 6.6893 | 0 | BB | 16.7557 | 6.1527 | 0.045772 | 0.77263 | 0 |  | -1 | -1 | 1 | -1 | 990 | 1025 | 6.65 | 6.75 | 0.0066667 | 46 | -1 | 6.65 | 0.075151 | 40.6468 | 6.65 | 0.075151 | 40.6826 | 6.6555 | 0.073645 | 47.8775 | 41.478 | 48.4501 | 39.1407 | 6.6664 | 43.5474 | 6.7139 | 42.712 | 6.6645 | 0.047273 | 43.3737 | 0.016872 | 0.17741 | -0.40782 | 16.7557 | 6.6927 | 0.00028467 | 8.5208e-07 | 2.1006e-07 | 0.93939 | 132033.0968 | 198115.2307 | 110953.4174 | 157350.8085 | 4.7753 | 5.2272 | 4.4811 | 4.5002 | -1 | -1 | -1 | -1 | 4.9671 | 1.0621 | -1 | -1 | -1 | 6.69 | 6.65 | 0.073333 | 0.91667 | 0.83334 | 141651.439 | -1 | -1
|  | 7 | 2 | 33 | 7 | 4 | 0 | 0 | 0 | 6.6907 | 0 | BB | 12.1303 | 4.432 | 0.045931 | 0.92988 | 0 |  | -1 | -1 | 2 | -1 | 990 | 1026 | 6.6433 | 6.75 | 0.0066667 | 47 | -1 | 6.6464 | 0.087879 | 107.2577 | 6.647 | 0.086667 | 107.2835 | 6.6546 | 0.074256 | 112.6918 | 107.1526 | 112.5845 | 106.977 | 6.6665 | 108.9877 | 6.7135 | 109.2245 | 6.6676 | 0.046667 | 109.2159 | 0.017067 | 0.11952 | -0.40569 | 12.1303 | 6.6919 | 0.00029127 | 5.9415e-07 | 2.201e-07 | 1.007 | 129869.2262 | 144885.2345 | 113854.0381 | 153745.9528 | 4.7776 | 4.9116 | 4.5236 | 4.5429 | -1 | -1 | -1 | -1 | 4.9608 | 1.0624 | -1 | -1 | -1 | 6.69 | 6.6518 | 0.078182 | 1.0238 | 1.0476 | 132891.9687 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 21:52:28
ResNewDateTime | 02 September 2019 21:52:28
ResModBy | SYSTEM
ResModTime | 09/02/19 21:52:28
ResModDateTime | 02 September 2019 21:52:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7033.4652

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7033.4652

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4398.9133

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2135.5998

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 793.1902

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 487.4327

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 510.5678

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 396.0667

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.0604

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7033.4652

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4398.9133

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2135.5998

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 793.1902

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 487.4327

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 510.5678

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 396.0667

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.0604

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.3467 | 1513.9172 | 170.551 | 0.12156 | 1.5657 | -16.1004 | 0.0033333 | 0 | 43.3683 | 0.52333 | -7.1054e-15 | -46.6914 | 1 | -173.1918 | 43.9456 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4642 | 1172.4912 | 50.9567 | 0.28044 | 4.2794 | 6.8637 | 0.81667 | 0 | -47.3475 | 1.6064 | -7.1054e-15 | 18.7678 | 1 | 83.7229 | -115.7213 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0747 | 608.8276 | 126.173 | 0.074296 | 0.56667 | 46.3759 | 2.0033 | 0 | 43.334 | 2.2506 | 0 | 53.8759 | 1 | 42.6355 | -42.0792 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.8824 | 19.1227 | 5.4105 | 0.053234 | 0.57748 | 64.5529 | 4.8367 | 1.4211e-14 | 65.2447 | 5.23 | 1.4211e-14 | 59.3004 | 1 | -15.1125 | 138.3388 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.505 | 2002.1042 | 628.1754 | 0.051184 | 0.94108 | 55.7681 | 5.3942 | 0 | 57.2634 | 6.2033 | 0 | 46.3395 | 1 | -13.5008 | 130.0895 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.298 | 1700.2466 | 505.2348 | 0.053261 | 0.84791 | 45.0262 | 6.2273 | 7.1054e-15 | 46.0766 | 6.49 | 0 | 42.1734 | 1 | -14.8565 | 138.5921 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.6893 | 16.7557 | 6.1527 | 0.045772 | 0.77263 | 40.4063 | 6.65 | 0 | 41.6532 | 6.75 | 0 | 38.4793 | 1 | -31.7383 | 252.7127 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.33923 | 1533.9062 | 146.3858 | 0.13625 | 2.0074 | 40.8874 | 0.0033333 | 0 | 121.932 | 0.51 | -1.4211e-14 | -0.31614 | 1 | -241.2793 | 122.7363 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4641 | 730.6767 | 34.8276 | 0.25676 | 3.8133 | 15.8468 | 0.84333 | 0 | -15.3646 | 1.6074 | 7.1054e-15 | 23.0493 | 1 | 50.2772 | -57.7651 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0747 | 407.8326 | 84.6927 | 0.07418 | 0.56898 | 42.1433 | 2.0033 | 0 | 39.9222 | 2.2461 | -7.1054e-15 | 47.4735 | 1 | 31.1102 | -22.4019 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5049 | 627.3315 | 192.5046 | 0.050019 | 1.0145 | 99.7983 | 5.3433 | 0 | 98.8097 | 5.6162 | 0 | 100.4788 | 1 | 6.1175 | 66.1218 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.298 | 1087.036 | 323.9338 | 0.05315 | 0.85296 | 104.0445 | 6.21 | 0 | 103.4856 | 6.4119 | -1.4211e-14 | 104.7675 | 1 | 6.3502 | 64.0512 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.6907 | 12.1303 | 4.432 | 0.045931 | 0.92988 | 107.0671 | 6.6433 | 0 | 107.1792 | 6.75 | 0 | 106.9269 | 1 | -2.3648 | 122.8894 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32477 | 875.4924 | 87.392 | 0.13088 | 1.8919 | 56.4164 | 0.05 | 0 | 115.7737 | 0.49 | 0 | 20.7214 | 1 | -216.0278 | 126.5751 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4641 | 86.2024 | 10.9001 | 0.10426 | 0.66076 | 17.8624 | 1.2967 | 0 | 19.2757 | 1.61 | 0 | 16.6306 | 1 | -8.4415 | 30.2215 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0747 | 217.3689 | 45.443 | 0.073805 | 0.57376 | 24.9937 | 2.0033 | 0 | 23.9844 | 2.2424 | 0 | 27.3656 | 1 | 14.1461 | -4.3549 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.505 | 426.0931 | 132.7307 | 0.049452 | 0.99121 | 79.7362 | 5.3567 | 0 | 77.6567 | 5.6028 | 0 | 81.1063 | 1 | 14.0171 | 2.5719 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.2981 | 530.4431 | 158.2851 | 0.053097 | 0.85661 | 90.7756 | 6.23 | 0 | 89.6921 | 6.4012 | 0 | 92.417 | 1 | 15.9151 | -9.4589 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32183 | 175.7774 | 33.5966 | 0.07504 | 1.2807 | 48.5014 | 0.19667 | 0 | 68.7118 | 0.44333 | 0 | 28.8835 | 1 | -161.4661 | 100.4668 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0745 | 119.4069 | 25.1991 | 0.073283 | 0.57973 | 21.5656 | 2.0033 | 0 | 21.2708 | 2.241 | 0 | 22.2551 | 1 | 4.1426 | 12.9717 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.505 | 164.0624 | 49.6495 | 0.050551 | 1.0618 | 45.9005 | 5.3633 | 0 | 44.7063 | 5.5962 | 0 | 46.6686 | 1 | 8.4269 | -0.48968 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2981 | 333.9434 | 99.7099 | 0.053073 | 0.85724 | 52.8169 | 6.23 | 0 | 52.1011 | 6.4007 | 0 | 53.8959 | 1 | 10.5116 | -13.3863 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32508 | 60.1567 | 17.5079 | 0.052086 | 1.2126 | 21.8937 | 0.21667 | 0 | 27.4844 | 0.41667 | 0 | 17.1709 | 1 | -51.5676 | 38.6574 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0744 | 58.7967 | 12.5086 | 0.072839 | 0.58552 | 14.9214 | 2.0033 | 0 | 14.8363 | 2.2313 | 0 | 15.1093 | 1 | 1.1975 | 12.4373 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5047 | 34.0419 | 7.8851 | 0.062368 | 1.7646 | 20.2124 | 5.3567 | 0 | 19.8784 | 5.5869 | 0 | 20.3979 | 1 | 2.2561 | 7.7934 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2981 | 334.4374 | 99.7838 | 0.053102 | 0.8546 | 22.1281 | 6.2167 | 0 | 21.8577 | 6.4102 | 0 | 22.5004 | 1 | 3.3203 | 1.2164 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32836 | 40.9276 | 13.8658 | 0.046436 | 1.1274 | 12.4366 | 0.20333 | 0 | 13.8202 | 0.41667 | 0 | 11.4594 | 1 | -11.0663 | 16.0703 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5046 | 32.2952 | 7.6827 | 0.061043 | 1.6777 | 12.2033 | 5.35 | 0 | 12.1503 | 5.5924 | 0 | 12.2335 | 1 | 0.34315 | 10.3144 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2981 | 437.3451 | 130.0974 | 0.05322 | 0.84942 | 12.3195 | 6.1967 | 0 | 12.2948 | 6.5 | 0 | 12.3687 | 1 | 0.24366 | 10.7849 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32911 | 36.1334 | 12.5965 | 0.045466 | 1.1062 | 3.3915 | 0.20333 | 0 | 4.2009 | 0.42333 | 0 | 2.7852 | 1 | -6.4351 | 5.5094 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5048 | 19.1904 | 6.9408 | 0.044257 | 0.83924 | 4.5066 | 5.4567 | 0 | 5.2776 | 5.57 | 0 | 3.4604 | 1 | -16.0344 | 92.7717 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2981 | 340.743 | 101.2723 | 0.053254 | 0.84813 | 3.2196 | 6.19 | -4.4409e-16 | 3.2339 | 6.5541 | -4.4409e-16 | 3.1856 | 1 | -0.13257 | 4.0545 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32963 | 36.3199 | 12.4983 | 0.045903 | 1.1366 | 6.5964 | 0.19667 | -8.8818e-16 | 7.3442 | 0.43 | -8.8818e-16 | 6.032 | 1 | -5.624 | 8.4503 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2981 | 104.7405 | 31.0824 | 0.053314 | 0.84657 | 6.4091 | 6.1833 | 0 | 6.4311 | 6.5567 | 0 | 6.3596 | 1 | -0.19159 | 7.6157 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2