## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567450552
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 61
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 61
Vial | 61
SampleLocation | 61
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 19:55:52
SampleName | CS-135_0061
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 9.8089
DAD1UVBurnTime | 156.4756
DAD1VisOnTime | 9.8083
DAD1VisBurnTime | 141.9867
StartPressure | 25.954
StopPressure | 62.201
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.997
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 7193.5992 | 1569.4101 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 4535.2517 | 841.5449 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 2100.9315 | 459.1385 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 817.6787 | 224.9291 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 500.5715 | 152.6753 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 512.6426 | 167.5692 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 408.0914 | 133.6855 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0061.D | 141.186 | 46.6796 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32018 | 0 | BB | 176.9354 | 33.7982 | 0.075076 | 1.2846 | 0 |  | -1 | -1 | 4 | -1 | 26 | 84 | 0.195 | 0.44167 | 0.0066667 | 69 | -1 | 0.195 | 0.17333 | 49.3947 | 0.195 | 0.17238 | 49.5935 | 0.26902 | 0.10201 | 84.5102 | 56.5595 | 95.1328 | 39.8522 | 0.3058 | 76.6518 | 0.35012 | 62.5864 | 0.195 | 0.15333 | 64.5003 | 0.041337 | -0.24688 | -0.17489 | 176.9354 | 0.31041 | 0.0017087 | -1.7438e-05 | 8.2485e-06 | 0.68045 | 159.1053 | 86.097 | 24.3808 | 56.3883 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32167 | 0.195 | 0.16952 | 0.66917 | 0.33835 | 35.6996 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32317 | 0 | BB | 787.371 | 85.1239 | 0.12191 | 1.7112 | 0 |  | -1 | -1 | 3 | -1 | 13 | 105 | 0.081667 | 0.48833 | 0.0066667 | 103 | -1 | 0.081667 | 0.32133 | 63.1147 | 0.081667 | 0.32 | 63.6174 | 0.23733 | 0.16629 | 148.6023 | 79.3326 | 163.9622 | 40.0893 | 0.30754 | 135.9888 | 0.35204 | 119.4999 | 0.081667 | 0.28533 | 101.3197 | 0.073254 | -0.42809 | -0.35535 | 787.3711 | 0.29145 | 0.0053662 | -0.00016828 | 7.6154e-05 | 0.66667 | 59.8722 | 25.0519 | 7.0407 | 15.8297 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32167 | 0.081667 | 0.316 | 0.65833 | 0.31667 | 9.8026 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32341 | 0 | BB | 60.3457 | 17.568 | 0.052075 | 1.216 | 0 |  | -1 | -1 | 5 | -1 | 33 | 74 | 0.215 | 0.415 | 0.0066667 | 52 | -1 | 0.215 | 0.14733 | 21.9802 | 0.215 | 0.14733 | 22.0834 | 0.28864 | 0.07312 | 41.8326 | 23.3044 | 48.2721 | 19.471 | 0.31141 | 35.4375 | 0.35175 | 26.9879 | 0.29633 | 0.051333 | 29.8238 | 0.029255 | -0.80757 | 0.53499 | 60.3457 | 0.3155 | 0.00085584 | -2.0219e-05 | 2.5892e-06 | 0.65 | 322.6098 | 124.1561 | 226.6422 | 116.3095 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.215 | 0.14533 | 0.64118 | 0.28235 | 44.417 | -1 | -1
Modified | 1 | 23 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32671 | 0 | BB | 40.9557 | 13.8928 | 0.046393 | 1.1297 | 0 |  | -1 | -1 | 6 | -1 | 31 | 72 | 0.20167 | 0.40833 | 0.0066667 | 52 | -1 | 0.20167 | 0.164 | 12.581 | 0.20167 | 0.16333 | 12.6642 | 0.29532 | 0.06578 | 30.0205 | 12.3445 | 33.4018 | 11.6001 | 0.31145 | 21.4289 | 0.35171 | 17.5486 | 0.305 | 0.044667 | 18.904 | 0.026144 | -1.3986 | 2.5604 | 40.9557 | 0.32068 | 0.00068349 | -2.4992e-05 | 2.5976e-06 | 0.64474 | 398.619 | 100.2034 | 299.3454 | 150.4611 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.20167 | 0.16133 | 0.63684 | 0.27368 | 35.2193 | -1 | -1
NextPeakSignal_ | Peak | 22 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32745 | 0 | BB | 36.0756 | 12.6084 | 0.045381 | 1.1073 | 0 |  | -1 | -1 | 7 | -1 | 31 | 71 | 0.20167 | 0.415 | 0.0066667 | 51 | -1 | 0.20167 | 0.16467 | 3.506 | 0.20167 | 0.164 | 3.5815 | 0.29603 | 0.064956 | 19.7036 | 3.1653 | 22.046 | 2.7367 | 0.31151 | 11.3124 | 0.35164 | 8.1176 | 0.30633 | 0.043333 | 9.245 | 0.02465 | -1.4375 | 3.1087 | 36.0756 | 0.32239 | 0.00060764 | -2.1532e-05 | 2.2555e-06 | 0.64737 | 408.8014 | 99.3936 | 318.0501 | 171.0469 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.26367 | 0.1 | 0.7732 | 0.54639 | 145.9448 | -1 | -1
Signal_ | Signal | 27 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32797 | 0 | BB | 36.1965 | 12.4941 | 0.045799 | 1.1407 | 0 |  | -1 | -1 | 8 | -1 | 30 | 72 | 0.195 | 0.42167 | 0.0066667 | 53 | -1 | 0.195 | 0.17185 | 6.79 | 0.195 | 0.17185 | 6.8647 | 0.29611 | 0.065264 | 22.9621 | 6.4269 | 24.9444 | 6.0521 | 0.31151 | 14.422 | 0.35157 | 11.5976 | 0.30611 | 0.044444 | 12.4708 | 0.025767 | -1.4855 | 3.291 | 36.1965 | 0.3222 | 0.00066394 | -2.5414e-05 | 2.7732e-06 | 0.64444 | 404.9453 | 91.256 | 302.3464 | 156.3622 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32833 | 0.26537 | 0.098519 | 0.78235 | 0.56471 | 153.3217 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33781 | 0 | BB | 1550.9558 | 147.9733 | 0.13628 | 2.0292 | 0 |  | -1 | -1 | 2 | -1 | 1 | 114 | 0.0016667 | 0.50833 | 0.0066667 | 119 | -1 | 0.028333 | 0.40167 | 47.356 | 0.028333 | 0.4 | 48.2337 | 0.24574 | 0.18843 | 203.3349 | 62.5634 | 207.2529 | 16.875 | 0.3122 | 164.1897 | 0.37888 | 126.1059 | 0.028333 | 0.35833 | 114.0623 | 0.093823 | -0.63495 | -0.20755 | 1550.9558 | 0.2863 | 0.0088028 | -0.00052441 | 0.00021639 | 0.65217 | 50.5724 | 17.3899 | 4.842 | 9.3116 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.335 | 0.028333 | 0.395 | 0.64402 | 0.28804 | 6.3523 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.3452 | 0 | BB | 1532.0815 | 172.7457 | 0.12147 | 1.5819 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0016667 | 0.52167 | 0.0066667 | 113 | -1 | 0.028333 | 0.41833 | -9.9212 | 0.028333 | 0.41667 | -8.8972 | 0.27203 | 0.16685 | 177.8637 | -4.1937 | 176.8276 | -33.1371 | 0.3175 | 108.9519 | 0.38083 | 96.9799 | 0.29333 | 0.1 | 67.9003 | 0.091047 | -0.85389 | 0.30578 | 1532.0815 | 0.3072 | 0.0082896 | -0.00064447 | 0.00022716 | 0.65104 | 69.7356 | 17.3335 | 67.2202 | 11.3846 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34833 | 0.028333 | 0.40833 | 0.63802 | 0.27604 | 6.2278 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4643 | 0 | BB | 89.7354 | 11.0131 | 0.10906 | 0.70594 | 0 |  | -1 | -1 | 3 | -1 | 188 | 270 | 1.2817 | 1.6083 | 0.0066667 | 93 | -1 | 1.2817 | 0.31467 | 17.795 | 1.2817 | 0.31467 | 17.8596 | 1.406 | 0.19703 | 30.0787 | 17.7198 | 44.0609 | 16.3079 | 1.4413 | 25.1964 | 1.5874 | 19.4235 | 1.4257 | 0.13733 | 22.7106 | 0.065249 | -0.35507 | -0.31398 | 89.7354 | 1.4761 | 0.0042575 | -9.8636e-05 | 4.8687e-05 | 0.87407 | 880.5696 | 539.43 | 627.559 | 511.7874 | 6.282 | 4.4857 | 3.1724 | 3.1859 | -1 | -1 | -1 | -1 | 4.2767 | 4.5312 | -1 | -1 | -1 | 1.4617 | 1.2817 | 0.312 | 0.86667 | 0.73333 | 350.1695 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4644 | 0 | BB | 743.527 | 34.9504 | 0.26219 | 3.8424 | 0 |  | -1 | -1 | 2 | -1 | 127 | 243 | 0.84167 | 1.6077 | 0.0066667 | 127 | -1 | 1.1333 | 0.4744 | 16.687 | 1.135 | 0.47273 | 16.8946 | 1.3743 | 0.22593 | 54.2552 | 10.7553 | 83.2476 | 22.1529 | 1.4412 | 43.0725 | 1.5834 | 29.6888 | 1.37 | 0.20667 | 32.462 | 0.17019 | -0.29272 | -0.92566 | 745.4004 | 1.3026 | 0.028965 | -0.0014429 | 0.0017403 | 0.72357 | 669.6993 | 237.331 | 277.1185 | 58.5761 | 5.4377 | 3.2149 | 2.3429 | 2.3529 | -1 | -1 | -1 | -1 | 1.9246 | 4.335 | -1 | -1 | -1 | 1.4617 | 1.155 | 0.45273 | 0.73815 | 0.47629 | 129.7682 | -1 | -1
|  | 15 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4644 | 0 | BB | 1190.9176 | 51.0632 | 0.28609 | 4.3181 | 0 |  | -1 | -1 | 1 | -1 | 122 | 243 | 0.80833 | 1.6068 | 0.0066667 | 132 | -1 | 1.13 | 0.47678 | 8.4142 | 1.1333 | 0.47345 | 8.7178 | 1.3684 | 0.23078 | 63.0651 | -1.651 | 104.9105 | 17.7498 | 1.4413 | 47.4819 | 1.5825 | 28.5539 | 1.36 | 0.21833 | 31.4878 | 0.17588 | -0.25179 | -0.93853 | 1196.9565 | 1.2868 | 0.030934 | -0.0013699 | 0.0019726 | 0.72098 | 641.8086 | 234.9642 | 248.2941 | 53.5273 | 5.6294 | 3.1259 | 4.1312 | 4.1488 | -1 | -1 | -1 | -1 | 1.8349 | 4.2422 | -1 | -1 | -1 | 1.4617 | 1.1517 | 0.45511 | 0.73405 | 0.46811 | 127.0203 | -1 | -1
|  | 24 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0686 | 0 | BB | 69.5771 | 14.1563 | 0.077341 | 0.54566 | 0 |  | -1 | -1 | 5 | -1 | 288 | 357 | 1.995 | 2.3667 | 0.0066667 | 80 | -1 | 2.0139 | 0.17 | 15.0437 | 2.015 | 0.16556 | 15.1278 | 2.0205 | 0.13253 | 32.5278 | 14.4039 | 30.0909 | 14.4689 | 2.0399 | 21.7174 | 2.1025 | 23.8292 | 2.0383 | 0.077778 | 21.4311 | 0.040312 | 1.5846 | 5.0369 | 69.5875 | 2.0867 | 0.0016251 | 0.00010381 | 2.1224e-05 | 1.5521 | 3897.1943 | 3700.6944 | 3917.7775 | 2679.4775 | 16.973 | 13.7492 | 15.8828 | 15.9504 | -1 | -1 | -1 | -1 | 12.7302 | 6.3963 | -1 | -1 | -1 | 2.0683 | 2.0194 | 0.14333 | 1.4659 | 1.9318 | 2729.024 | -1 | -1
|  | 21 | 4 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0688 | 0 | BB | 142.8422 | 28.7022 | 0.078062 | 0.53836 | 0 |  | -1 | -1 | 4 | -1 | 288 | 350 | 1.9883 | 2.3202 | 0.0066667 | 73 | -1 | 2.015 | 0.18095 | 22.3134 | 2.015 | 0.17524 | 22.4838 | 2.0204 | 0.13372 | 57.8185 | 20.9684 | 52.7731 | 21.2345 | 2.0396 | 35.5765 | 2.1037 | 39.8846 | 2.0388 | 0.078095 | 35.2648 | 0.039308 | 1.2201 | 2.6648 | 142.8755 | 2.0871 | 0.0015452 | 7.4104e-05 | 1.3525e-05 | 1.6429 | 3827.924 | 3266.2729 | 3885.9904 | 2819.046 | 14.8357 | 12.3388 | 8.8778 | 8.9156 | -1 | -1 | -1 | -1 | 11.0153 | 6.4612 | -1 | -1 | -1 | 2.0683 | 2.0198 | 0.14762 | 1.5196 | 2.0392 | 2488.8571 | -1 | -1
|  | 19 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.069 | 0 | BB | 269.6658 | 52.3165 | 0.080136 | 0.51256 | 0 |  | -1 | -1 | 3 | -1 | 287 | 349 | 1.9817 | 2.3122 | 0.0066667 | 73 | -1 | 2.015 | 0.23429 | 26.969 | 2.015 | 0.2181 | 27.2797 | 2.0204 | 0.13592 | 91.8391 | 24.3815 | 82.3101 | 25.2586 | 2.0395 | 50.8967 | 2.1036 | 59.6972 | 2.0388 | 0.08 | 50.5777 | 0.042741 | 1.2609 | 2.3417 | 269.8539 | 2.0901 | 0.0018268 | 9.8447e-05 | 1.7826e-05 | 2.0446 | 3704.8727 | 1948.4508 | 3703.1462 | 2391.3355 | 3.6319 | 2.7536 | 3.2689 | 3.2828 | -1 | -1 | -1 | -1 | 2.8427 | 1.4129 | -1 | -1 | -1 | 2.0683 | 2.0198 | 0.15714 | 1.6176 | 2.2353 | 2072.757 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.069 | 0 | BB | 760.5677 | 145.5932 | 0.080946 | 0.50367 | 0 |  | -1 | -1 | 1 | -1 | 287 | 349 | 1.9817 | 2.3124 | 0.0066667 | 73 | -1 | 2.015 | 0.2419 | 52.6357 | 2.015 | 0.22857 | 53.5003 | 2.0203 | 0.13687 | 233.2588 | 45.4229 | 206.4807 | 47.9064 | 2.0394 | 119.3667 | 2.1036 | 144.2238 | 2.0388 | 0.08 | 118.3467 | 0.043838 | 1.2561 | 2.2004 | 761.0718 | 2.0911 | 0.0019218 | 0.00010582 | 1.9206e-05 | 2.1429 | 3653.788 | 1827.6467 | 3703.1462 | 2275.3207 | 3.2886 | 2.1029 | 2.381 | 2.3911 | -1 | -1 | -1 | -1 | 1.8303 | 1.4128 | -1 | -1 | -1 | 2.0683 | 2.0198 | 0.16095 | 1.6569 | 2.3137 | 1932.3156 | -1 | -1
|  | 20 | 2 | 15 | 3 | 4 | 0 | 0 | 0 | 2.069 | 0 | BB | 512.9057 | 97.8862 | 0.081131 | 0.50152 | 0 |  | -1 | -1 | 2 | -1 | 287 | 349 | 1.9817 | 2.3116 | 0.0066667 | 73 | -1 | 2.015 | 0.25143 | 46.2232 | 2.015 | 0.23714 | 46.8044 | 2.0203 | 0.13706 | 167.7048 | 41.3029 | 149.6246 | 43.1786 | 2.0394 | 91.007 | 2.1036 | 107.9359 | 2.0388 | 0.08 | 90.4003 | 0.043844 | 1.2388 | 2.0974 | 512.4659 | 2.0912 | 0.0019223 | 0.00010441 | 1.8836e-05 | 2.2232 | 3643.8696 | 1691.8109 | 3703.1462 | 2274.9663 | 3.3314 | 2.0826 | 2.4783 | 2.4888 | -1 | -1 | -1 | -1 | 1.8424 | 1.4129 | -1 | -1 | -1 | 2.0683 | 2.0198 | 0.16381 | 1.6863 | 2.3725 | 1835.2049 | -1 | -1
|  | 18 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.9271 | 0 | BB | 14.7461 | 5.024 | 0.048243 | 0.62878 | 0 |  | -1 | -1 | 1 | -1 | 725 | 763 | 4.8883 | 5.0483 | 0.0066667 | 49 | -1 | 4.8883 | 0.072667 | 59.9413 | 4.8883 | 0.072 | 59.9709 | 4.8943 | 0.073848 | 65.7599 | 61.2298 | 66.6164 | 57.9585 | 4.9048 | 62.6718 | 4.9516 | 61.443 | 4.899 | 0.049333 | 62.1896 | 0.022804 | 1.2662 | 2.7267 | 14.7461 | 4.9354 | 0.00052002 | 1.5015e-05 | 1.5486e-06 | 0.9 | 71259.0919 | 114992.503 | 55287.7596 | 46841.1454 | 27.1271 | 22.7142 | 25.9659 | 26.0764 | -1 | -1 | -1 | -1 | 21.3404 | 2.3814 | -1 | -1 | -1 | 4.9283 | 4.8883 | 0.070667 | 0.88333 | 0.76667 | 79401.1384 | -1 | -1
|  | 25 | 1 | 19 | 5 | 3 | 0 | 0 | 0 | 5.6723 | 0 | BB | 1979.5437 | 634.9763 | 0.048371 | 0.88839 | 0 |  | -1 | -1 | 1 | -1 | 837 | 881 | 5.6017 | 5.8617 | 0.0066667 | 55 | -1 | 5.6246 | 0.10444 | 84.3408 | 5.6254 | 0.10222 | 88.0242 | 5.6325 | 0.081965 | 853.121 | 58.4479 | 826.7233 | 56.2884 | 5.6514 | 434.9466 | 5.692 | 468.0723 | 5.6469 | 0.051852 | 364.2794 | 0.02121 | 0.46318 | 1.0663 | 1979.5437 | 5.6746 | 0.00044985 | 4.4193e-06 | 8.2289e-07 | 1.0299 | 76700.7893 | 73807.5946 | 66361.0048 | 71580.5313 | 9.5665 | 10.5201 | 8.6546 | 8.6914 | -1 | -1 | -1 | -1 | 8.3971 | 1.1513 | -1 | -1 | -1 | 5.675 | 5.6298 | 0.09037 | 1 | 1 | 73085.8234 | -1 | -1
|  | 28 | 3 | 20 | 5 | 4 | 0 | 0 | 0 | 5.6727 | 0 | BB | 422.7153 | 136.5953 | 0.048104 | 0.90315 | 0 |  | -1 | -1 | 3 | -1 | 837 | 874 | 5.6017 | 5.7674 | 0.0066667 | 48 | -1 | 5.6259 | 0.10485 | 85.215 | 5.6265 | 0.10303 | 86.0085 | 5.6331 | 0.081397 | 250.7608 | 78.622 | 244.305 | 80.1249 | 5.6519 | 160.1049 | 5.6913 | 171.1685 | 5.6477 | 0.051515 | 145.5206 | 0.020614 | 0.28018 | 0.12494 | 422.8186 | 5.6746 | 0.00042495 | 2.4544e-06 | 5.6431e-07 | 1.0625 | 77774.9658 | 73239.846 | 67231.3038 | 75776.0313 | 33.1657 | 26.5661 | 32.1974 | 32.3344 | -1 | -1 | -1 | -1 | 28.2889 | 2.7418 | -1 | -1 | -1 | 5.675 | 5.6308 | 0.090303 | 1.0205 | 1.0411 | 71881.9536 | -1 | -1
|  | 26 | 2 | 21 | 5 | 4 | 0 | 0 | 0 | 5.6728 | 0 | BB | 623.5785 | 200.1161 | 0.048354 | 0.89344 | 0 |  | -1 | -1 | 2 | -1 | 837 | 877 | 5.6017 | 5.8383 | 0.0066667 | 51 | -1 | 5.625 | 0.10533 | 108.7916 | 5.6257 | 0.10267 | 109.9552 | 5.6331 | 0.081768 | 350.9302 | 100.1427 | 341.8278 | 100.3688 | 5.6517 | 217.8059 | 5.6916 | 234.0859 | 5.6477 | 0.051333 | 197.2246 | 0.021162 | 0.44352 | 0.92216 | 623.513 | 5.675 | 0.00044783 | 4.2032e-06 | 7.866e-07 | 1.0405 | 77069.5528 | 72567.153 | 67708.402 | 71914.2696 | 32.938 | 25.2536 | 32.2423 | 32.3795 | -1 | -1 | -1 | -1 | 27.5648 | 2.7418 | -1 | -1 | -1 | 5.675 | 5.6303 | 0.090667 | 1.0149 | 1.0299 | 71658.2292 | -1 | -1
|  | 30 | 4 | 22 | 5 | 4 | 0 | 0 | 0 | 5.6733 | 0 | BB | 162.9698 | 52.6662 | 0.048101 | 0.91384 | 0 |  | -1 | -1 | 4 | -1 | 837 | 874 | 5.6017 | 5.7606 | 0.0066667 | 48 | -1 | 5.6265 | 0.10545 | 47.4474 | 5.6271 | 0.10364 | 47.754 | 5.6334 | 0.08174 | 111.2231 | 44.7101 | 108.5734 | 45.6703 | 5.6518 | 75.4429 | 5.6913 | 81.4619 | 5.6483 | 0.051515 | 70.7511 | 0.02049 | 0.24229 | 0.034275 | 163.0399 | 5.6749 | 0.00041984 | 2.0843e-06 | 5.3484e-07 | 1.0823 | 77123.668 | 72400.4278 | 67231.3038 | 76706.9641 | 33.4586 | 31.4631 | 32.6771 | 32.8161 | -1 | -1 | -1 | -1 | 29.9995 | 2.7424 | -1 | -1 | -1 | 5.675 | 5.6314 | 0.090303 | 1.0347 | 1.0694 | 71003.403 | -1 | -1
|  | 32 | 7 | 23 | 5 | 4 | 0 | 0 | 0 | 5.6747 | 0 | BB | 30.0763 | 9.6353 | 0.050417 | 0.90981 | 0 |  | -1 | -1 | 7 | -1 | 837 | 876 | 5.6017 | 5.7617 | 0.0066667 | 50 | -1 | 5.6257 | 0.104 | 3.2127 | 5.627 | 0.102 | 3.269 | 5.6343 | 0.083056 | 14.7932 | 2.8069 | 14.5257 | 2.7918 | 5.6515 | 7.9145 | 5.6985 | 7.9703 | 5.6497 | 0.051333 | 7.4943 | 0.020553 | 0.18569 | -0.037913 | 30.0763 | 5.6762 | 0.00042242 | 1.6122e-06 | 5.2856e-07 | 1.0625 | 74698.8234 | 74439.7767 | 67708.402 | 76273.3118 | 72.2547 | 49.7574 | 66.3701 | 66.6525 | -1 | -1 | -1 | -1 | 59.2196 | 17.3301 | -1 | -1 | -1 | 5.675 | 5.6317 | 0.090667 | 1.0462 | 1.0923 | 69747.4836 | -1 | -1
|  | 31 | 6 | 24 | 5 | 4 | 0 | 0 | 0 | 5.6763 | 0 | BB | 32.4434 | 10.4421 | 0.050248 | 0.93361 | 0 |  | -1 | -1 | 6 | -1 | 837 | 876 | 5.6017 | 5.7614 | 0.0066667 | 50 | -1 | 5.627 | 0.10333 | 12.0992 | 5.6283 | 0.10133 | 12.1602 | 5.6358 | 0.082322 | 24.4387 | 11.6449 | 24.5135 | 11.6601 | 5.6586 | 18.8397 | 5.6983 | 17.7613 | 5.651 | 0.051333 | 16.7326 | 0.020368 | 0.1414 | -0.067298 | 32.4452 | 5.6775 | 0.00041485 | 1.1948e-06 | 5.0472e-07 | 1.0857 | 76036.411 | 75403.3884 | 67708.402 | 77698.9513 | 72.2419 | 50.0274 | 65.4768 | 65.7554 | -1 | -1 | -1 | -1 | 57.5854 | 17.3742 | -1 | -1 | -1 | 5.675 | 5.633 | 0.09 | 1.0714 | 1.1429 | 69289.2717 | -1 | -1
|  | 29 | 5 | 18 | 5 | 4 | 0 | 0 | 0 | 5.6767 | 0 | BB | 34.1503 | 11.0304 | 0.04812 | 0.93589 | 0 |  | -1 | -1 | 5 | -1 | 838 | 875 | 5.6083 | 5.7559 | 0.0066667 | 48 | -1 | 5.6289 | 0.10485 | 20.0759 | 5.6295 | 0.10242 | 20.1402 | 5.6363 | 0.081901 | 33.1955 | 19.4896 | 33.1948 | 19.7319 | 5.6586 | 27.0473 | 5.6981 | 26.2643 | 5.6514 | 0.051515 | 24.9656 | 0.020227 | 0.12821 | -0.1022 | 34.1441 | 5.6777 | 0.00040912 | 1.0609e-06 | 4.8504e-07 | 1.1267 | 76819.2164 | 73239.846 | 67231.3038 | 78792.8301 | 33.653 | 32.8188 | 32.7898 | 32.9293 | -1 | -1 | -1 | -1 | 29.6585 | 2.7442 | -1 | -1 | -1 | 5.675 | 5.6338 | 0.090303 | 1.0956 | 1.1912 | 67462.738 | -1 | -1
|  | 33 | 1 | 26 | 6 | 3 | 0 | 0 | 0 | 6.364 | 0 | BB | 1699.7086 | 553.9244 | 0.047799 | 0.93251 | 0 |  | -1 | -1 | 1 | -1 | 941 | 982 | 6.2922 | 6.535 | 0.0066667 | 52 | -1 | 6.315 | 0.10067 | 67.2135 | 6.3157 | 0.099333 | 70.4212 | 6.3243 | 0.080935 | 723.6645 | 44.3154 | 733.5994 | 42.9627 | 6.345 | 397.2895 | 6.385 | 382.7254 | 6.339 | 0.051333 | 310.9947 | 0.020593 | 0.3454 | 1.0126 | 1699.5656 | 6.3625 | 0.00042406 | 3.0162e-06 | 7.2156e-07 | 1.0797 | 98853.6675 | 99841.3515 | 85084.9311 | 95461.061 | 8.4924 | 8.4309 | 7.8767 | 7.9102 | -1 | -1 | -1 | -1 | 8.2278 | 1.1219 | -1 | -1 | -1 | 6.3617 | 6.3203 | 0.088667 | 1.0726 | 1.1452 | 89623.592 | -1 | -1
|  | 34 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.3641 | 0 | BB | 1092.5015 | 356.1781 | 0.047785 | 0.93531 | 0 |  | -1 | -1 | 2 | -1 | 928 | 979 | 6.1817 | 6.5138 | 0.0066667 | 62 | -1 | 6.315 | 0.10167 | 118.4422 | 6.3158 | 0.099167 | 120.5042 | 6.3243 | 0.081032 | 540.3434 | 103.1027 | 547.4186 | 103.5761 | 6.3446 | 326.3245 | 6.3855 | 317.5115 | 6.3392 | 0.050833 | 275.1548 | 0.020701 | 0.24065 | 1.4391 | 1092.5832 | 6.3652 | 0.00042855 | 2.1349e-06 | 8.1526e-07 | 1.0818 | 98617.2309 | 97886.9188 | 86766.9649 | 94542.6241 | 8.4923 | 8.3487 | 7.9502 | 7.9841 | -1 | -1 | -1 | -1 | 8.2438 | 1.1219 | -1 | -1 | -1 | 6.3617 | 6.3208 | 0.088333 | 1.0816 | 1.1633 | 89623.8438 | -1 | -1
|  | 6 | 8 | 28 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 104.9894 | 34.1854 | 0.04783 | 0.93047 | 0 |  | -1 | -1 | 8 | -1 | 941 | 990 | 6.2883 | 6.5883 | 0.0066667 | 60 | -1 | 6.315 | 0.10083 | 7.4569 | 6.3158 | 0.099167 | 7.6547 | 6.3244 | 0.081022 | 47.959 | 6.0184 | 48.6287 | 5.9921 | 6.3446 | 27.3259 | 6.3856 | 26.5164 | 6.3392 | 0.050833 | 22.4904 | 0.021257 | 0.72456 | 3.7286 | 104.9894 | 6.3656 | 0.00045187 | 6.9599e-06 | 1.3739e-06 | 1.0818 | 98641.4404 | 99511.5702 | 86766.9649 | 89671.8474 | 82.526 | 55.3404 | 74.4407 | 74.7575 | -1 | -1 | -1 | -1 | 64.2576 | 19.4048 | -1 | -1 | -1 | 6.3617 | 6.3208 | 0.088333 | 1.0816 | 1.1633 | 89623.8438 | -1 | -1
|  | 2 | 3 | 29 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 531.4439 | 174.0897 | 0.047615 | 0.94443 | 0 |  | -1 | -1 | 3 | -1 | 941 | 978 | 6.2883 | 6.4535 | 0.0066667 | 48 | -1 | 6.3156 | 0.10121 | 98.2743 | 6.3162 | 0.099394 | 99.2819 | 6.3245 | 0.080664 | 304.4985 | 90.1967 | 307.5574 | 91.6928 | 6.3452 | 201.8635 | 6.3847 | 199.7635 | 6.3392 | 0.050909 | 174.8506 | 0.020013 | 0.12773 | -0.0087919 | 531.6019 | 6.365 | 0.00040053 | 1.0239e-06 | 4.7987e-07 | 1.0933 | 99517.7245 | 98768.117 | 86508.922 | 101149.2302 | 8.5331 | 8.3888 | 7.9321 | 7.9659 | -1 | -1 | -1 | -1 | 8.4972 | 1.1219 | -1 | -1 | -1 | 6.3617 | 6.3211 | 0.088485 | 1.0896 | 1.1791 | 88734.7758 | -1 | -1
|  | 3 | 5 | 30 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 336.4984 | 109.9207 | 0.047715 | 0.93748 | 0 |  | -1 | -1 | 5 | -1 | 941 | 978 | 6.275 | 6.5009 | 0.0066667 | 48 | -1 | 6.315 | 0.10121 | 26.3529 | 6.3162 | 0.099394 | 26.9889 | 6.3246 | 0.080684 | 156.4326 | 21.5711 | 158.5472 | 21.8272 | 6.3452 | 91.7449 | 6.3847 | 90.4019 | 6.3392 | 0.050909 | 74.6892 | 0.020403 | 0.26272 | 0.58996 | 336.5169 | 6.3653 | 0.0004163 | 2.2315e-06 | 6.2217e-07 | 1.0933 | 99468.7459 | 98768.117 | 86508.922 | 97324.789 | 8.4568 | 8.3407 | 7.8867 | 7.9202 | -1 | -1 | -1 | -1 | 8.4615 | 1.1211 | -1 | -1 | -1 | 6.3617 | 6.3211 | 0.088485 | 1.0896 | 1.1791 | 88734.7758 | -1 | -1
|  | 1 | 4 | 31 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 334.9313 | 109.7625 | 0.0476 | 0.94495 | 0 |  | -1 | -1 | 4 | -1 | 941 | 978 | 6.2883 | 6.4533 | 0.0066667 | 48 | -1 | 6.3156 | 0.10121 | 57.334 | 6.3162 | 0.099394 | 57.9692 | 6.3246 | 0.080627 | 187.3759 | 52.2278 | 189.2918 | 53.2023 | 6.3452 | 122.5392 | 6.3847 | 121.3774 | 6.3392 | 0.050909 | 105.6067 | 0.020008 | 0.12717 | -0.0067762 | 335.0464 | 6.3651 | 0.0004003 | 1.0185e-06 | 4.7964e-07 | 1.0933 | 99610.7216 | 98768.117 | 86508.922 | 101208.2044 | 8.5109 | 8.3582 | 7.9264 | 7.9602 | -1 | -1 | -1 | -1 | 8.5208 | 1.1218 | -1 | -1 | -1 | 6.3617 | 6.3211 | 0.088485 | 1.0896 | 1.1791 | 88734.7758 | -1 | -1
|  | 4 | 6 | 32 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 439.2435 | 143.2343 | 0.047777 | 0.93368 | 0 |  | -1 | -1 | 6 | -1 | 940 | 994 | 6.2617 | 6.6117 | 0.0066667 | 65 | -1 | 6.315 | 0.10167 | 17.896 | 6.3158 | 0.099167 | 18.7246 | 6.3244 | 0.081 | 187.4083 | 11.8155 | 190.3646 | 11.824 | 6.3445 | 100.5942 | 6.3856 | 97.8259 | 6.3392 | 0.050833 | 80.8721 | 0.020887 | 0.52736 | 2.4966 | 439.2471 | 6.3654 | 0.00043627 | 4.8056e-06 | 1.0462e-06 | 1.0818 | 98694.38 | 97886.9188 | 86766.9649 | 92874.917 | 8.4239 | 8.3891 | 7.9115 | 7.9451 | -1 | -1 | -1 | -1 | 8.3381 | 1.1212 | -1 | -1 | -1 | 6.3617 | 6.3208 | 0.088333 | 1.0816 | 1.1633 | 89623.8438 | -1 | -1
|  | 5 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.3642 | 0 | BB | 341.9395 | 111.4418 | 0.047797 | 0.93265 | 0 |  | -1 | -1 | 7 | -1 | 940 | 995 | 6.2617 | 6.6217 | 0.0066667 | 66 | -1 | 6.315 | 0.10095 | 7.4585 | 6.316 | 0.099048 | 8.1032 | 6.3244 | 0.081054 | 139.2743 | 2.7403 | 141.5374 | 2.7193 | 6.3445 | 71.5595 | 6.3857 | 69.1351 | 6.3388 | 0.051429 | 56.456 | 0.021033 | 0.60155 | 2.9761 | 341.9395 | 6.3655 | 0.0004424 | 5.5975e-06 | 1.1696e-06 | 1.0833 | 98562.9224 | 99277.0115 | 84770.0935 | 91589.5963 | 8.4029 | 8.4104 | 7.8838 | 7.9174 | -1 | -1 | -1 | -1 | 8.2871 | 1.1215 | -1 | -1 | -1 | 6.3617 | 6.3207 | 0.088571 | 1.0814 | 1.1628 | 89160.1777 | -1 | -1
|  | 8 | 1 | 34 | 7 | 3 | 0 | 0 | 0 | 6.7802 | 0 | BB | 16.0339 | 6.0834 | 0.04275 | 0.80747 | 0 |  | -1 | -1 | 1 | -1 | 1005 | 1038 | 6.7417 | 6.8417 | 0.0066667 | 44 | -1 | 6.7417 | 0.074444 | 39.1366 | 6.7417 | 0.074444 | 39.172 | 6.7471 | 0.071062 | 46.4807 | 39.748 | 46.7189 | 37.9565 | 6.7577 | 41.8985 | 6.7978 | 42.6489 | 6.7567 | 0.045556 | 41.8258 | 0.016296 | 0.16948 | -0.42775 | 16.0339 | 6.783 | 0.00026556 | 7.3344e-07 | 1.814e-07 | 0.93056 | 145721.0586 | 207467.3619 | 122772.1748 | 173255.0305 | 5.4753 | 5.9407 | 5.0463 | 5.0678 | -1 | -1 | -1 | -1 | 5.7003 | 1.0654 | -1 | -1 | -1 | 6.7817 | 6.7417 | 0.072778 | 0.90972 | 0.81945 | 146574.0205 | -1 | -1
|  | 7 | 2 | 33 | 7 | 4 | 0 | 0 | 0 | 6.7817 | 0 | BB | 11.7832 | 4.4408 | 0.042957 | 0.98123 | 0 |  | -1 | -1 | 2 | -1 | 1005 | 1038 | 6.735 | 6.835 | 0.0066667 | 44 | -1 | 6.7439 | 0.091111 | 107.8171 | 6.7439 | 0.091111 | 107.8429 | 6.7462 | 0.071606 | 113.4381 | 107.4589 | 113.0348 | 107.8011 | 6.7577 | 109.3861 | 6.7978 | 110.7014 | 6.7594 | 0.046111 | 109.7755 | 0.016472 | 0.12 | -0.43128 | 11.7832 | 6.7823 | 0.00027132 | 5.3631e-07 | 1.8909e-07 | 1.2059 | 143514.2918 | 138506.3989 | 119831.6306 | 169539.6238 | 5.4719 | 5.4156 | 5.0615 | 5.0831 | -1 | -1 | -1 | -1 | 5.6097 | 1.0656 | -1 | -1 | -1 | 6.7817 | 6.7467 | 0.077778 | 1.1111 | 1.2222 | 128236.1193 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 20:04:28
ResNewDateTime | 02 September 2019 20:04:28
ResModBy | SYSTEM
ResModTime | 09/02/19 20:04:28
ResModDateTime | 02 September 2019 20:04:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7193.5992

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7193.5992

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4535.2517

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2100.9315

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 817.6787

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.5715

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.6426

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 408.0914

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.186

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7193.5992

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4535.2517

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2100.9315

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 817.6787

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.5715

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 512.6426

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 408.0914

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.186

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.3452 | 1532.0815 | 172.7457 | 0.12147 | 1.5819 | -16.8873 | 0.0016667 | 0 | 42.7055 | 0.52167 | 7.1054e-15 | -47.4982 | 1 | -173.4688 | 42.9947 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4644 | 1190.9176 | 51.0632 | 0.28609 | 4.3181 | 6.4204 | 0.80833 | 0 | -48.7347 | 1.6068 | 1.4211e-14 | 18.3867 | 1 | 84.065 | -116.6872 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.069 | 760.5677 | 145.5932 | 0.080946 | 0.50367 | 46.3066 | 1.9817 | 0 | 44.7226 | 2.3124 | 0 | 50.7231 | 1 | 18.1454 | 8.7644 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9271 | 14.7461 | 5.024 | 0.048243 | 0.62878 | 59.7809 | 4.8883 | 2.8422e-14 | 61.4963 | 5.0483 | 2.8422e-14 | 54.4086 | 1 | -44.2982 | 278.0405 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.6723 | 1979.5437 | 634.9763 | 0.048371 | 0.88839 | 57.3992 | 5.6017 | 0 | 59.2613 | 5.8617 | 0 | 52.4111 | 1 | -26.3471 | 206.8489 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.364 | 1699.7086 | 553.9244 | 0.047799 | 0.93251 | 43.651 | 6.2922 | -1.4211e-14 | 44.8515 | 6.535 | -1.4211e-14 | 40.7939 | 1 | -16.7128 | 150.012 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7802 | 16.0339 | 6.0834 | 0.04275 | 0.80747 | 38.915 | 6.7417 | 0 | 39.8855 | 6.8417 | 0 | 37.3645 | 1 | -25.2104 | 209.8455 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.33781 | 1550.9558 | 147.9733 | 0.13628 | 2.0292 | 40.2391 | 0.0016667 | 0 | 121.7427 | 0.50833 | 1.4211e-14 | -1.1086 | 1 | -242.4698 | 122.1468 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4644 | 743.527 | 34.9504 | 0.26219 | 3.8424 | 15.3021 | 0.84167 | 0 | -16.1128 | 1.6077 | -3.5527e-15 | 22.5334 | 1 | 50.4479 | -58.5731 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.069 | 512.9057 | 97.8862 | 0.081131 | 0.50152 | 41.9698 | 1.9817 | 0 | 40.7743 | 2.3116 | 0 | 45.2897 | 1 | 13.6859 | 13.6534 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.6728 | 623.5785 | 200.1161 | 0.048354 | 0.89344 | 100.2526 | 5.6017 | 0 | 100.0557 | 5.8383 | 0 | 100.7104 | 1 | 2.7663 | 84.5597 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3641 | 1092.5015 | 356.1781 | 0.047785 | 0.93531 | 103.3351 | 6.1817 | 0 | 102.2692 | 6.5138 | 0 | 104.2094 | 1 | 5.8425 | 66.1527 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.7817 | 11.7832 | 4.4408 | 0.042957 | 0.98123 | 107.6284 | 6.735 | 0 | 107.4052 | 6.835 | 0 | 107.883 | 1 | 4.7779 | 75.226 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32317 | 787.371 | 85.1239 | 0.12191 | 1.7112 | 59.0739 | 0.081667 | -1.4211e-14 | 116.0684 | 0.48833 | 0 | 20.0949 | 1 | -236.0004 | 135.3417 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4643 | 89.7354 | 11.0131 | 0.10906 | 0.70594 | 17.3016 | 1.2817 | 0 | 18.6105 | 1.6083 | 0 | 16.2697 | 1 | -7.1657 | 27.7945 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.069 | 269.6658 | 52.3165 | 0.080136 | 0.51256 | 24.695 | 1.9817 | 0 | 24.1318 | 2.3122 | 0 | 26.2643 | 1 | 6.4527 | 11.3446 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.6727 | 422.7153 | 136.5953 | 0.048104 | 0.90315 | 79.3543 | 5.6017 | 0 | 78.042 | 5.7674 | 0 | 81.1015 | 1 | 18.4638 | -25.3858 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3642 | 531.4439 | 174.0897 | 0.047615 | 0.94443 | 90.932 | 6.2883 | 0 | 89.5252 | 6.4535 | 0 | 92.5883 | 1 | 18.5477 | -27.1086 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32018 | 176.9354 | 33.7982 | 0.075076 | 1.2846 | 48.1808 | 0.195 | 0 | 68.6836 | 0.44167 | 0 | 28.2826 | 1 | -163.7878 | 100.6222 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0688 | 142.8422 | 28.7022 | 0.078062 | 0.53836 | 21.0646 | 1.9883 | 0 | 20.9045 | 2.3202 | 0 | 21.5648 | 1 | 1.9898 | 16.9481 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.6733 | 162.9698 | 52.6662 | 0.048101 | 0.91384 | 45.1783 | 5.6017 | 0 | 44.3373 | 5.7606 | 0 | 46.2046 | 1 | 11.7475 | -21.4685 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3642 | 334.9313 | 109.7625 | 0.0476 | 0.94495 | 52.7068 | 6.2883 | 0 | 51.7898 | 6.4533 | 7.1054e-15 | 53.7834 | 1 | 12.0872 | -24.2186 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32341 | 60.3457 | 17.568 | 0.052075 | 1.216 | 21.4814 | 0.215 | 0 | 27.1649 | 0.415 | 3.5527e-15 | 16.6798 | 1 | -52.4259 | 38.4365 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0686 | 69.5771 | 14.1563 | 0.077341 | 0.54566 | 14.4275 | 1.995 | 0 | 14.3914 | 2.3667 | 0 | 14.5737 | 1 | 0.49042 | 13.413 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.6767 | 34.1503 | 11.0304 | 0.04812 | 0.93589 | 19.6091 | 5.6083 | 0 | 19.4068 | 5.7559 | 0 | 19.8434 | 1 | 2.9588 | 2.8126 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3642 | 336.4984 | 109.9207 | 0.047715 | 0.93748 | 21.6969 | 6.275 | 0 | 21.4138 | 6.5009 | 0 | 22.1308 | 1 | 3.1738 | 1.498 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32671 | 40.9557 | 13.8928 | 0.046393 | 1.1297 | 11.9893 | 0.20167 | 0 | 13.4044 | 0.40833 | 0 | 11.0655 | 1 | -11.3172 | 15.6867 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.6763 | 32.4434 | 10.4421 | 0.050248 | 0.93361 | 11.6524 | 5.6017 | 0 | 11.6386 | 5.7614 | 0 | 11.6681 | 1 | 0.18417 | 10.607 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3642 | 439.2435 | 143.2343 | 0.047777 | 0.93368 | 11.8196 | 6.2617 | 0 | 11.8089 | 6.6117 | 0 | 11.8456 | 1 | 0.1049 | 11.152 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32745 | 36.0756 | 12.6084 | 0.045381 | 1.1073 | 2.9581 | 0.20167 | 0 | 3.788 | 0.415 | 4.4409e-16 | 2.3804 | 1 | -6.5982 | 5.1186 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.6747 | 30.0763 | 9.6353 | 0.050417 | 0.90981 | 2.7996 | 5.6017 | 0 | 2.8129 | 5.7617 | 0 | 2.7838 | 1 | -0.18179 | 3.8312 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3642 | 341.9395 | 111.4418 | 0.047797 | 0.93265 | 2.73 | 6.2617 | 4.4409e-16 | 2.7566 | 6.6217 | 4.4409e-16 | 2.6631 | 1 | -0.25961 | 4.3822 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32797 | 36.1965 | 12.4941 | 0.045799 | 1.1407 | 6.2439 | 0.195 | 0 | 7.0076 | 0.42167 | 0 | 5.7058 | 1 | -5.7431 | 8.1275 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3642 | 104.9894 | 34.1854 | 0.04783 | 0.93047 | 6.0055 | 6.2883 | 8.8818e-16 | 6.0301 | 6.5883 | 8.8818e-16 | 5.9328 | 1 | -0.32425 | 8.0691 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2