## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567419232
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 3
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 3
Vial | 3
SampleLocation | 3
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 11:13:52
SampleName | CS-135_0003
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.782
StopPressure | 61.668
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 1.1092
DAD1UVBurnTime | 147.7758
DAD1VisOnTime | 1.1086
DAD1VisBurnTime | 133.2869
StartLeftTemp | 39.999
StopLeftTemp | 40.001
StartRightTemp | 40.002
StopRightTemp | 40.001
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 34 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 6752.3868 | 1472.6226 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 4227.4104 | 780.0746 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 1926.8152 | 427.3117 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 744.5499 | 205.6266 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 445.9698 | 133.5053 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 453.0322 | 140.0055 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 360.8248 | 112.3886 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0003.D | 129.0726 | 40.5893 | 0 | 0 | 0 | 0 | 0.0033333 | 8.4967 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 41 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32182 | 0 | BB | 166.2253 | 32.1004 | 0.074413 | 1.3081 | 0 |  | -1 | -1 | 4 | -1 | 26 | 83 | 0.19667 | 0.44333 | 0.0066667 | 68 | -1 | 0.19667 | 0.17238 | 44.8806 | 0.19667 | 0.17143 | 45.0694 | 0.27029 | 0.10161 | 78.2102 | 51.7 | 88.4156 | 35.9838 | 0.3073 | 70.7396 | 0.35222 | 56.5923 | 0.19667 | 0.15333 | 59.23 | 0.041052 | -0.24809 | -0.14478 | 166.2252 | 0.31159 | 0.0016853 | -1.7164e-05 | 8.1093e-06 | 0.67669 | 161.9979 | 87.9554 | 24.6342 | 57.6109 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32333 | 0.19667 | 0.16952 | 0.66917 | 0.33835 | 36.0705 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32416 | 0 | BB | 727.264 | 80.1076 | 0.11992 | 1.665 | 0 |  | -1 | -1 | 3 | -1 | 13 | 104 | 0.09 | 0.49 | 0.0066667 | 102 | -1 | 0.09 | 0.31333 | 56.1139 | 0.09 | 0.312 | 56.588 | 0.23801 | 0.16352 | 136.4341 | 72.2801 | 151.7989 | 34.6376 | 0.30898 | 125.1273 | 0.35321 | 107.8064 | 0.09 | 0.276 | 92.1442 | 0.07195 | -0.38791 | -0.34755 | 727.264 | 0.2945 | 0.0051768 | -0.00014449 | 7.1085e-05 | 0.66857 | 62.5607 | 26.6212 | 7.6031 | 16.7532 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32333 | 0.09 | 0.308 | 0.66 | 0.32 | 10.5041 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32514 | 0 | BB | 58.4773 | 17.0039 | 0.052122 | 1.2258 | 0 |  | -1 | -1 | 5 | -1 | 33 | 74 | 0.21667 | 0.41667 | 0.0066667 | 52 | -1 | 0.21667 | 0.148 | 17.1351 | 0.21667 | 0.14733 | 17.2349 | 0.28973 | 0.073848 | 36.3058 | 18.3874 | 42.3463 | 14.749 | 0.31307 | 30.2005 | 0.35342 | 22.0429 | 0.29733 | 0.052 | 24.721 | 0.029054 | -0.81203 | 0.54536 | 58.4773 | 0.3172 | 0.00084415 | -1.9916e-05 | 2.5264e-06 | 0.65 | 319.4977 | 124.2924 | 223.1161 | 119.1932 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.21667 | 0.14533 | 0.64118 | 0.28235 | 44.8691 | -1 | -1
Modified | 1 | 30 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32825 | 0 | BB | 40.895 | 13.648 | 0.046958 | 1.1446 | 0 |  | -1 | -1 | 6 | -1 | 31 | 72 | 0.20333 | 0.41667 | 0.0066667 | 52 | -1 | 0.20333 | 0.164 | 8.7978 | 0.20333 | 0.164 | 8.8793 | 0.29616 | 0.066879 | 25.7335 | 8.568 | 29.0026 | 7.8404 | 0.31311 | 17.6365 | 0.35338 | 13.7137 | 0.30667 | 0.044667 | 14.9948 | 0.026383 | -1.3336 | 2.3769 | 40.895 | 0.32207 | 0.00069606 | -2.449e-05 | 2.6051e-06 | 0.64737 | 389.5577 | 101.2232 | 302.3922 | 149.021 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.20333 | 0.16133 | 0.63684 | 0.27368 | 35.5778 | -1 | -1
NextPeakSignal_ | Peak | 29 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32891 | 0 | BB | 36.5242 | 12.4971 | 0.046097 | 1.1224 | 0 |  | -1 | -1 | 7 | -1 | 31 | 72 | 0.20333 | 0.42333 | 0.0066667 | 52 | -1 | 0.20333 | 0.16533 | 1.7123 | 0.20333 | 0.16467 | 1.787 | 0.29683 | 0.066292 | 17.5297 | 1.383 | 20.0031 | 0.9466 | 0.31312 | 9.5804 | 0.35338 | 6.3742 | 0.30733 | 0.044 | 7.3879 | 0.025184 | -1.3464 | 2.8023 | 36.5242 | 0.32361 | 0.00063422 | -2.1505e-05 | 2.3339e-06 | 0.65 | 396.4869 | 99.5972 | 311.625 | 165.1169 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.26067 | 0.10467 | 0.75481 | 0.50962 | 129.0434 | -1 | -1
Signal_ | Signal | 36 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.3294 | 0 | BB | 36.9513 | 12.4668 | 0.04658 | 1.1522 | 0 |  | -1 | -1 | 8 | -1 | 30 | 72 | 0.19667 | 0.43 | 0.0066667 | 53 | -1 | 0.19667 | 0.17259 | 3.5249 | 0.19667 | 0.17185 | 3.5993 | 0.2969 | 0.066461 | 19.4112 | 3.1685 | 21.4682 | 2.7881 | 0.31318 | 11.305 | 0.35323 | 8.3561 | 0.30704 | 0.045185 | 9.1821 | 0.026392 | -1.3856 | 2.98 | 36.9513 | 0.32342 | 0.00069654 | -2.5472e-05 | 2.9013e-06 | 0.64444 | 394.4695 | 91.3952 | 295.4919 | 150.1725 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33 | 0.26259 | 0.1037 | 0.76923 | 0.53846 | 135.8983 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33705 | 0 | BB | 1480.802 | 138.1918 | 0.13901 | 1.9476 | 0 |  | -1 | -1 | 2 | -1 | 1 | 115 | 0.0033333 | 0.51667 | 0.0066667 | 120 | -1 | 0.03 | 0.40167 | 41.8491 | 0.03 | 0.40167 | 42.6736 | 0.24381 | 0.19371 | 186.8051 | 57.7531 | 188.7826 | 11.9634 | 0.31313 | 153.7022 | 0.36255 | 143.8904 | 0.03 | 0.35667 | 104.5121 | 0.094351 | -0.60226 | -0.2295 | 1480.802 | 0.28724 | 0.008902 | -0.00050584 | 0.00021955 | 0.65489 | 48.3321 | 17.5634 | 4.9361 | 9.2684 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33667 | 0.03 | 0.395 | 0.64402 | 0.28804 | 6.4157 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34531 | 0 | BB | 1464.1649 | 159.0413 | 0.12541 | 1.5467 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.0033333 | 0.52333 | 0.0066667 | 115 | -1 | 0.03 | 0.41833 | -14.6268 | 0.03 | 0.41833 | -13.6878 | 0.26994 | 0.17505 | 157.0894 | -8.9202 | 153.483 | -38.9577 | 0.318 | 96.9276 | 0.38139 | 83.8417 | 0.28833 | 0.10667 | 56.7407 | 0.091964 | -0.80832 | 0.23208 | 1464.1649 | 0.30793 | 0.0084574 | -0.0006287 | 0.00023118 | 0.66755 | 61.5488 | 16.8394 | 57.3963 | 11.2118 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34333 | 0.03 | 0.41 | 0.65426 | 0.30851 | 6.5106 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4622 | 0 | BB | 80.7039 | 10.4696 | 0.10193 | 0.62437 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.3033 | 1.61 | 0.0066667 | 89 | -1 | 1.3033 | 0.28933 | 10.5162 | 1.3033 | 0.28933 | 10.578 | 1.4064 | 0.19528 | 22.2492 | 10.6548 | 35.3933 | 8.6246 | 1.4393 | 17.4988 | 1.5857 | 11.6847 | 1.4247 | 0.097333 | 15.2127 | 0.060758 | -0.2259 | -0.43842 | 80.7174 | 1.4797 | 0.0036916 | -5.0667e-05 | 3.4908e-05 | 0.90417 | 898.4275 | 639.4837 | 1252.1983 | 593.1057 | 6.3436 | 4.7208 | 3.5818 | 3.597 | -1 | -1 | -1 | -1 | 4.4654 | 4.5107 | -1 | -1 | -1 | 1.4633 | 1.3033 | 0.28667 | 0.89583 | 0.79167 | 432.3627 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4623 | 0 | BB | 702.9377 | 34.1365 | 0.25224 | 3.7007 | 0 |  | -1 | -1 | 2 | -1 | 128 | 242 | 0.85 | 1.606 | 0.0066667 | 125 | -1 | 1.1333 | 0.4727 | 9.7338 | 1.1367 | 0.46937 | 9.9359 | 1.3735 | 0.2248 | 46.2159 | 4.0523 | 73.5568 | 14.5615 | 1.4394 | 35.3567 | 1.5819 | 21.6605 | 1.3667 | 0.20667 | 25.0882 | 0.16659 | -0.3107 | -0.89715 | 701.2272 | 1.3062 | 0.027753 | -0.0014365 | 0.0016197 | 0.71842 | 677.9751 | 239.5832 | 277.7509 | 61.477 | 5.3773 | 3.2172 | 2.347 | 2.3569 | -1 | -1 | -1 | -1 | 1.9525 | 4.3384 | -1 | -1 | -1 | 1.4633 | 1.155 | 0.45103 | 0.7314 | 0.46281 | 128.6947 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4623 | 0 | BB | 1136.7443 | 50.2156 | 0.2761 | 4.1621 | 0 |  | -1 | -1 | 1 | -1 | 123 | 242 | 0.81667 | 1.605 | 0.0066667 | 130 | -1 | 1.1333 | 0.4717 | -0.067778 | 1.135 | 0.47004 | 0.22956 | 1.3679 | 0.22962 | 53.3766 | -9.8145 | 92.8668 | 8.392 | 1.4393 | 37.9539 | 1.581 | 18.7241 | 1.3567 | 0.21667 | 22.5302 | 0.17281 | -0.26896 | -0.91436 | 1136.3937 | 1.29 | 0.029864 | -0.0013881 | 0.0018601 | 0.71579 | 649.8268 | 240.5949 | 252.704 | 55.7251 | 5.5206 | 3.1375 | 4.0592 | 4.0765 | -1 | -1 | -1 | -1 | 1.8546 | 4.2347 | -1 | -1 | -1 | 1.4633 | 1.155 | 0.45004 | 0.72979 | 0.45958 | 128.6919 | -1 | -1
|  | 19 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0807 | 0 | BB | 43.8704 | 9.5038 | 0.071854 | 0.60686 | 0 |  | -1 | -1 | 5 | -1 | 291 | 347 | 1.95 | 2.3017 | 0.0066667 | 67 | -1 | 2.0262 | 0.16095 | 10.3445 | 2.0271 | 0.15714 | 10.4009 | 2.0328 | 0.12362 | 22.0727 | 9.8981 | 20.6554 | 9.9784 | 2.0531 | 15.0729 | 2.1131 | 16.0915 | 2.051 | 0.073333 | 14.6302 | 0.034458 | 0.99713 | 2.1307 | 43.8831 | 2.0941 | 0.0011873 | 4.0796e-05 | 7.2332e-06 | 1.3983 | 4544.3016 | 4188.5405 | 4471.2035 | 3693.3915 | 17.7808 | 14.2057 | 16.4584 | 16.5284 | -1 | -1 | -1 | -1 | 13.9888 | 6.3994 | -1 | -1 | -1 | 2.0833 | 2.0319 | 0.13524 | 1.3148 | 1.6296 | 3436.5198 | -1 | -1
|  | 21 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0808 | 0 | BB | 90.737 | 19.3512 | 0.072704 | 0.60895 | 0 |  | -1 | -1 | 4 | -1 | 290 | 346 | 1.93 | 2.28 | 0.0066667 | 67 | -1 | 2.0252 | 0.17048 | 18.1679 | 2.0262 | 0.16381 | 18.2827 | 2.0324 | 0.12496 | 42.0347 | 17.2296 | 39.1204 | 17.4652 | 2.0531 | 27.8428 | 2.1131 | 29.9815 | 2.051 | 0.074286 | 26.8972 | 0.034667 | 0.78153 | 1.3374 | 90.671 | 2.0941 | 0.0012018 | 3.2562e-05 | 6.2649e-06 | 1.4333 | 4447.4524 | 3733.6196 | 4357.2922 | 3648.777 | 15.5268 | 12.8258 | 9.08 | 9.1187 | -1 | -1 | -1 | -1 | 11.7704 | 6.4656 | -1 | -1 | -1 | 2.0833 | 2.031 | 0.13905 | 1.3273 | 1.6545 | 3222.9108 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.081 | 0 | BB | 494.7357 | 100.0831 | 0.075671 | 0.60917 | 0 |  | -1 | -1 | 1 | -1 | 264 | 348 | 1.7567 | 2.2742 | 0.0066667 | 95 | -1 | 2.0247 | 0.20533 | 43.0303 | 2.0247 | 0.19467 | 43.6248 | 2.0315 | 0.12872 | 165.5832 | 37.8118 | 150.7131 | 39.9443 | 2.0526 | 92.3535 | 2.113 | 105.9503 | 2.05 | 0.077333 | 88.212 | 0.043005 | -0.69743 | 7.5816 | 495.4292 | 2.0941 | 0.0018494 | -5.5469e-05 | 3.6193e-05 | 1.6591 | 4191.5917 | 2573.5856 | 4020.6274 | 2371.1962 | 3.4529 | 2.2844 | 2.4725 | 2.483 | -1 | -1 | -1 | -1 | 1.8629 | 1.4231 | -1 | -1 | -1 | 2.0833 | 2.03 | 0.15067 | 1.4125 | 1.825 | 2592.8303 | -1 | -1
|  | 20 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.081 | 0 | BB | 173.4173 | 35.6966 | 0.074678 | 0.60222 | 0 |  | -1 | -1 | 3 | -1 | 289 | 347 | 1.9233 | 2.2735 | 0.0066667 | 69 | -1 | 2.0243 | 0.2019 | 18.9804 | 2.0252 | 0.19048 | 19.1924 | 2.0319 | 0.1275 | 62.98 | 17.115 | 57.4746 | 17.8849 | 2.053 | 36.8699 | 2.1132 | 41.2146 | 2.051 | 0.075238 | 35.0933 | 0.037352 | 0.75309 | 1.377 | 173.6208 | 2.0954 | 0.0013952 | 3.9247e-05 | 8.5202e-06 | 1.6393 | 4271.7941 | 2661.7325 | 4247.6792 | 3146.8645 | 3.8341 | 3.1491 | 4.2132 | 4.2311 | -1 | -1 | -1 | -1 | 3.1376 | 1.4232 | -1 | -1 | -1 | 2.0833 | 2.031 | 0.14667 | 1.4 | 1.8 | 2758.6138 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.081 | 0 | BB | 330.9286 | 67.0958 | 0.075542 | 0.59715 | 0 |  | -1 | -1 | 2 | -1 | 290 | 348 | 1.9367 | 2.2737 | 0.0066667 | 69 | -1 | 2.0243 | 0.21524 | 38.1912 | 2.0252 | 0.2019 | 38.5898 | 2.0316 | 0.12867 | 120.8807 | 34.6166 | 110.4453 | 36.2376 | 2.053 | 71.9079 | 2.1132 | 80.3193 | 2.05 | 0.077143 | 68.4851 | 0.038281 | 0.76242 | 1.3117 | 331.3202 | 2.096 | 0.0014655 | 4.2772e-05 | 9.2598e-06 | 1.7377 | 4194.259 | 2342.1745 | 4040.5069 | 2997.7363 | 3.5011 | 2.2487 | 2.5618 | 2.5727 | -1 | -1 | -1 | -1 | 1.9275 | 1.4232 | -1 | -1 | -1 | 2.0833 | 2.03 | 0.15238 | 1.4286 | 1.8571 | 2508.5975 | -1 | -1
|  | 22 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 4.9444 | 0 | BB | 204.2309 | 67.2603 | 0.049425 | 0.84477 | 0 |  | -1 | -1 | 1 | -1 | 727 | 765 | 4.89 | 5.07 | 0.0066667 | 49 | -1 | 4.898 | 0.1 | 61.8858 | 4.8987 | 0.098667 | 62.2758 | 4.9055 | 0.081039 | 143.2887 | 59.9322 | 138.0686 | 57.9889 | 4.9198 | 90.5814 | 4.9599 | 108.5871 | 4.92 | 0.05 | 91.526 | 0.020695 | 0.50475 | 0.59668 | 204.2309 | 4.9475 | 0.0004283 | 4.474e-06 | 6.5977e-07 | 1.1045 | 59535.5153 | 61091.3611 | 54151.3825 | 57150.6233 | 27.303 | 23.4453 | 26.4232 | 26.5356 | -1 | -1 | -1 | -1 | 22.3967 | 2.376 | -1 | -1 | -1 | 4.9433 | 4.9027 | 0.088667 | 1.0902 | 1.1803 | 53332.2881 | -1 | -1
|  | 24 | 2 | 19 | 4 | 4 | 0 | 0 | 0 | 4.9446 | 0 | BB | 137.0419 | 44.1053 | 0.05025 | 0.84697 | 0 |  | -1 | -1 | 2 | -1 | 723 | 770 | 4.8167 | 5.1235 | 0.0066667 | 58 | -1 | 4.8989 | 0.10593 | 93.2326 | 4.8996 | 0.1037 | 93.4884 | 4.9053 | 0.081679 | 146.6084 | 91.3061 | 143.1512 | 91.4149 | 4.9204 | 112.4555 | 4.9604 | 123.9073 | 4.9196 | 0.051111 | 112.674 | 0.023389 | 0.89308 | 3.7842 | 137.041 | 4.948 | 0.00054705 | 1.1427e-05 | 2.0302e-06 | 1.1864 | 58605.5814 | 54447.164 | 51822.5659 | 44754.2603 | 27.2263 | 22.2905 | 26.2346 | 26.3462 | -1 | -1 | -1 | -1 | 23.1231 | 2.376 | -1 | -1 | -1 | 4.9433 | 4.9033 | 0.091111 | 1.1389 | 1.2778 | 48561.7434 | -1 | -1
|  | 23 | 5 | 20 | 4 | 4 | 0 | 0 | 0 | 4.9448 | 0 | BB | 16.0337 | 5.2755 | 0.049458 | 0.87655 | 0 |  | -1 | -1 | 5 | -1 | 726 | 765 | 4.8367 | 5.0324 | 0.0066667 | 50 | -1 | 4.9007 | 0.11467 | 14.3197 | 4.9013 | 0.10867 | 14.3503 | 4.9055 | 0.081135 | 20.7635 | 14.0094 | 20.2505 | 14.1941 | 4.9198 | 16.4665 | 4.9597 | 18.0896 | 4.9207 | 0.050667 | 16.6444 | 0.020428 | 0.28469 | 0.24903 | 16.003 | 4.9471 | 0.0004173 | 2.4269e-06 | 5.6579e-07 | 1.2937 | 59393.8459 | 46462.8051 | 52735.7213 | 58647.7751 | 27.9761 | 25.9789 | 27.1398 | 27.2552 | -1 | -1 | -1 | -1 | 25.9901 | 2.3765 | -1 | -1 | -1 | 4.9433 | 4.9047 | 0.091333 | 1.181 | 1.3621 | 46766.2549 | -1 | -1
|  | 26 | 3 | 21 | 4 | 4 | 0 | 0 | 0 | 4.9449 | 0 | BB | 60.2173 | 19.7799 | 0.049518 | 0.89726 | 0 |  | -1 | -1 | 3 | -1 | 724 | 766 | 4.8233 | 5.0256 | 0.0066667 | 53 | -1 | 4.9019 | 0.12379 | 66.0214 | 4.9019 | 0.12379 | 66.1361 | 4.9054 | 0.081371 | 90.1828 | 64.6298 | 88.2837 | 65.8117 | 4.9202 | 74.1847 | 4.9604 | 79.9727 | 4.9204 | 0.051111 | 74.7401 | 0.020474 | 0.15583 | 0.36969 | 60.0281 | 4.9467 | 0.00041919 | 1.3374e-06 | 5.9213e-07 | 1.4921 | 59050.1187 | 39867.1235 | 51822.5659 | 58373.4514 | 27.4226 | 21.9831 | 26.6333 | 26.7466 | -1 | -1 | -1 | -1 | 24.6542 | 2.3762 | -1 | -1 | -1 | 4.9433 | 4.9056 | 0.093333 | 1.2353 | 1.4706 | 42997.1311 | -1 | -1
|  | 25 | 4 | 17 | 4 | 4 | 0 | 0 | 0 | 4.945 | 0 | BB | 31.982 | 10.557 | 0.049344 | 0.89699 | 0 |  | -1 | -1 | 4 | -1 | 725 | 765 | 4.83 | 5.0233 | 0.0066667 | 51 | -1 | 4.902 | 0.12127 | 37.5237 | 4.9027 | 0.1206 | 37.5849 | 4.9055 | 0.081268 | 50.4788 | 36.7358 | 49.398 | 37.4639 | 4.9199 | 41.767 | 4.9601 | 45.0765 | 4.9207 | 0.050667 | 42.1764 | 0.020303 | 0.20575 | 0.24792 | 31.986 | 4.9468 | 0.0004122 | 1.7218e-06 | 5.5184e-07 | 1.4828 | 59199.6735 | 41542.1711 | 52735.7213 | 59367.9951 | 27.7771 | 24.5436 | 26.9335 | 27.0481 | -1 | -1 | -1 | -1 | 25.9484 | 2.3765 | -1 | -1 | -1 | 4.9433 | 4.906 | 0.094 | 1.2589 | 1.5179 | 41665.4877 | -1 | -1
|  | 27 | 1 | 23 | 5 | 3 | 0 | 0 | 0 | 5.4729 | 0 | BV E | 45.9723 | 17.895 | 0.041972 | 1.0851 | 0 |  | -1 | -1 | 1 | -1 | 809 | 828 | 5.4213 | 5.51 | 0.0066667 | 30 | -1 | 5.4288 | 0.081177 | 50.2912 | 5.4296 | 0.080392 | 50.3965 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.45 | 0.043922 | 58.296 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.99515 | -1 | 113514.6416 | 85926.8187 | -1 | -1 | 7.2927 | 6.6118 | 6.64 | -1 | -1 | -1 | -1 | -1 | 1.1069 | -1 | -1 | -1 | 5.47 | 5.4343 | 0.075687 | 1.0604 | 1.1209 | 91867.7832 | -1 | -1
|  | 32 | 5 | 24 | 5 | 4 | 0 | 0 | 0 | 5.473 | 0 | BB | 7.3273 | 2.9673 | 0.040809 | 1.1885 | 0 |  | -1 | -1 | 5 | -1 | 809 | 828 | 5.4233 | 5.51 | 0.0066667 | 30 | -1 | 5.4386 | 0.071373 | 15.5559 | 5.4386 | 0.071373 | 15.5735 | 5.4377 | 0.066587 | 19.425 | 15.1708 | 19.195 | 15.6984 | 5.4551 | 17.2686 | 5.4951 | 16.7232 | 5.4516 | 0.042353 | 16.8939 | 0.014794 | -0.048345 | -0.5875 | 7.3273 | 5.4711 | 0.00021887 | -1.5654e-07 | 1.1556e-07 | 1.1375 | 107973.5012 | 146841.7193 | 92409.6376 | 136765.0618 | 7.1517 | 7.0984 | 6.6725 | 6.7009 | -1 | -1 | -1 | -1 | 7.4388 | 1.1068 | -1 | -1 | -1 | 5.47 | 5.4406 | 0.069412 | 1.18 | 1.36 | 99220.1478 | -1 | -1
|  | 28 | 2 | 25 | 5 | 4 | 0 | 0 | 0 | 5.4734 | 0 | BV E | 30.5658 | 11.7915 | 0.042242 | 1.1242 | 0 |  | -1 | -1 | 2 | -1 | 809 | 829 | 5.4167 | 5.5167 | 0.0066667 | 31 | -1 | 5.4339 | 0.082745 | 93.6101 | 5.4343 | 0.082353 | 93.6794 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4508 | 0.044706 | 98.8784 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.1538 | -1 | 109251.5924 | 82938.2897 | -1 | -1 | 7.007 | 6.4847 | 6.5123 | -1 | -1 | -1 | -1 | -1 | 1.1069 | -1 | -1 | -1 | 5.47 | 5.4371 | 0.079608 | 1.2083 | 1.4167 | 73828.9569 | -1 | -1
|  | 33 | 4 | 26 | 5 | 4 | 0 | 0 | 0 | 5.4736 | 0 | BV E | 10.2154 | 3.9806 | 0.04194 | 1.1732 | 0 |  | -1 | -1 | 4 | -1 | 809 | 829 | 5.4233 | 5.5167 | 0.0066667 | 31 | -1 | 5.4371 | 0.079608 | 41.2119 | 5.4375 | 0.079216 | 41.2354 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4516 | 0.043922 | 42.9979 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.2169 | -1 | 118032.2045 | 85926.8187 | -1 | -1 | 6.5787 | 6.5664 | 6.5944 | -1 | -1 | -1 | -1 | -1 | 1.1069 | -1 | -1 | -1 | 5.47 | 5.4394 | 0.077255 | 1.2628 | 1.5256 | 75316.7685 | -1 | -1
|  | 31 | 3 | 22 | 5 | 4 | 0 | 0 | 0 | 5.4738 | 0 | BV E | 16.2773 | 6.375 | 0.041789 | 1.2106 | 0 |  | -1 | -1 | 3 | -1 | 809 | 828 | 5.4233 | 5.51 | 0.0066667 | 30 | -1 | 5.4371 | 0.072941 | 71.891 | 5.4375 | 0.072549 | 71.9285 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4516 | 0.044314 | 74.7463 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.1145 | -1 | 140593.8774 | 84412.7194 | -1 | -1 | 6.7217 | 6.5131 | 6.5409 | -1 | -1 | -1 | -1 | -1 | 1.107 | -1 | -1 | -1 | 5.47 | 5.4394 | 0.070588 | 1.1538 | 1.3077 | 97902.4757 | -1 | -1
|  | 34 | 1 | 28 | 6 | 3 | 0 | 0 | 0 | 5.5611 | 0 | VB R | 1891.9585 | 617.5046 | 0.047745 | 1.0071 | 0 |  | -1 | -1 | 1 | -1 | 814 | 905 | 5.4213 | 6.0233 | 0.0066667 | 102 | -1 | 5.514 | 0.10267 | 74.5154 | 5.514 | 0.10133 | 78.0997 | 5.5217 | 0.080802 | 816.4033 | 48.7852 | 790.8346 | 47.7083 | 5.539 | 386.1877 | 5.5816 | 422.8404 | 5.5353 | 0.052 | 346.9198 | 0.027988 | 1.8617 | 32.3545 | 1937.7591 | 5.5594 | 0.0007833 | 4.0814e-05 | 2.1692e-05 | 1.027 | 75847.8819 | 73409.3281 | 63412.2614 | 39456.9105 | -1 | 1.1994 | 1.0804 | 1.085 | -1 | -1 | -1 | -1 | -1 | 1.0161 | 50.9159 | -1 | 50.9159 | 5.5633 | 5.5193 | 0.089333 | 1.0152 | 1.0303 | 70922.9148 | -1 | -1
|  | 35 | 2 | 29 | 6 | 4 | 0 | 0 | 0 | 5.5611 | 0 | VB R | 577.1552 | 189.4576 | 0.047541 | 1.1725 | 0 |  | -1 | -1 | 2 | -1 | 813 | 857 | 5.4167 | 5.67 | 0.0066667 | 55 | -1 | 5.5137 | 0.10296 | 101.7063 | 5.5144 | 0.10148 | 102.8057 | 5.5222 | 0.079686 | 333.0305 | 93.3913 | 324.2942 | 93.8798 | 5.5398 | 201.7621 | 5.5803 | 216.1131 | 5.5367 | 0.05037 | 185.2661 | 0.028425 | -1.2128 | 3.1454 | 607.721 | 5.5582 | 0.00080795 | -2.7853e-05 | 4.0116e-06 | 1.0379 | 77987.4092 | 72987.4363 | 67581.7822 | 38237.2929 | -1 | 1.181 | 1.0842 | 1.0888 | -1 | -1 | -1 | -1 | -1 | 1.016 | 18.2985 | -1 | 18.2985 | 5.5633 | 5.5189 | 0.088889 | 1 | 1 | 72598.6836 | -1 | -1
|  | 40 | 7 | 30 | 6 | 4 | 0 | 0 | 0 | 5.5611 | 0 | BB | 22.7498 | 7.7518 | 0.046239 | 0.88622 | 0 |  | -1 | -1 | 7 | -1 | 821 | 856 | 5.51 | 5.6433 | 0.0066667 | 46 | -1 | 5.5155 | 0.095758 | 1.5127 | 5.5161 | 0.094545 | 1.5576 | 5.5235 | 0.077698 | 11.0071 | 1.2884 | 10.6609 | 1.0825 | 5.5404 | 5.6471 | 5.5796 | 6.2528 | 5.5367 | 0.049697 | 4.9308 | 0.019031 | 0.26087 | -0.11768 | 22.7498 | 5.5631 | 0.00036219 | 1.7982e-06 | 3.7811e-07 | 1 | 82030.1516 | 84384.7343 | 69425.6752 | 85448.4248 | 72.6751 | 50.0996 | 65.6143 | 65.8935 | -1 | -1 | -1 | -1 | 59.2505 | 16.9077 | -1 | -1 | -1 | 5.5633 | 5.5203 | 0.084848 | 0.98592 | 0.97183 | 78664.0809 | -1 | -1
|  | 39 | 6 | 31 | 6 | 4 | 0 | 0 | 0 | 5.5611 | 0 | BB | 21.1721 | 7.2898 | 0.045884 | 0.88107 | 0 |  | -1 | -1 | 6 | -1 | 821 | 856 | 5.51 | 5.6367 | 0.0066667 | 46 | -1 | 5.5161 | 0.093939 | 8.6819 | 5.5167 | 0.092727 | 8.7242 | 5.5239 | 0.077063 | 17.6318 | 8.4993 | 17.3023 | 8.2498 | 5.5404 | 12.5365 | 5.5796 | 13.1148 | 5.5373 | 0.049091 | 11.8958 | 0.018729 | 0.25552 | -0.15966 | 21.1721 | 5.5632 | 0.00035076 | 1.6786e-06 | 3.4946e-07 | 0.99351 | 83387.7998 | 87682.8515 | 71150.471 | 88233.4843 | 72.7087 | 50.7182 | 65.5803 | 65.8593 | -1 | -1 | -1 | -1 | 58.0906 | 16.9418 | -1 | -1 | -1 | 5.5633 | 5.5209 | 0.083636 | 0.98571 | 0.97143 | 80945.5818 | -1 | -1
|  | 38 | 3 | 32 | 6 | 4 | 0 | 0 | 0 | 5.5612 | 0 | VB R | 397.4743 | 130.8671 | 0.047434 | 1.1094 | 0 |  | -1 | -1 | 3 | -1 | 814 | 857 | 5.4233 | 5.6573 | 0.0066667 | 54 | -1 | 5.5144 | 0.1037 | 78.4903 | 5.5152 | 0.10148 | 79.2498 | 5.5223 | 0.07955 | 238.4855 | 72.3392 | 232.148 | 73.4657 | 5.5398 | 147.3351 | 5.5803 | 157.6915 | 5.5367 | 0.05037 | 136.2132 | 0.02689 | -1.1653 | 3.4241 | 413.7051 | 5.5592 | 0.00072308 | -2.2658e-05 | 3.3588e-06 | 1.0538 | 78255.1304 | 71948.4825 | 67581.7822 | 42740.8372 | -1 | 1.2363 | 1.0841 | 1.0887 | -1 | -1 | -1 | -1 | -1 | 1.016 | 48.4093 | -1 | 48.4093 | 5.5633 | 5.5196 | 0.088889 | 1.0169 | 1.0339 | 71521.1521 | -1 | -1
|  | 37 | 5 | 33 | 6 | 4 | 0 | 0 | 0 | 5.5612 | 0 | BB | 21.0806 | 7.3273 | 0.045565 | 0.87627 | 0 |  | -1 | -1 | 5 | -1 | 828 | 856 | 5.5167 | 5.6367 | 0.0066667 | 39 | -1 | 5.5187 | 0.091795 | 16.0323 | 5.5192 | 0.090256 | 16.0748 | 5.5243 | 0.076608 | 25.0699 | 15.8105 | 24.6776 | 15.6339 | 5.541 | 20.0038 | 5.5792 | 20.5956 | 5.5377 | 0.048205 | 19.2624 | 0.018447 | 0.27421 | -0.19197 | 21.0806 | 5.5634 | 0.00034029 | 1.7213e-06 | 3.2517e-07 | 1.0233 | 84380.8932 | 91827.6211 | 73789.3091 | 90954.65 | 1.2318 | 1.3513 | 1.1444 | 1.1492 | -1 | -1 | -1 | -1 | 1.3877 | 1.0161 | -1 | -1 | -1 | 5.5633 | 5.5223 | 0.082564 | 1.0062 | 1.0125 | 83682.5878 | -1 | -1
|  | 41 | 4 | 27 | 6 | 4 | 0 | 0 | 0 | 5.5612 | 0 | VB R | 147.4588 | 48.572 | 0.047419 | 1.2769 | 0 |  | -1 | -1 | 4 | -1 | 814 | 857 | 5.4233 | 5.651 | 0.0066667 | 54 | -1 | 5.5152 | 0.1037 | 43.8875 | 5.5159 | 0.10074 | 44.1694 | 5.5223 | 0.079549 | 103.3077 | 41.4739 | 100.8656 | 42.145 | 5.5398 | 69.3379 | 5.5803 | 73.358 | 5.5367 | 0.05037 | 65.3135 | 0.030061 | -1.2994 | 2.7855 | 157.6333 | 5.5569 | 0.00090369 | -3.5299e-05 | 4.7247e-06 | 1.0625 | 78256.2508 | 71948.4825 | 67581.7822 | 34169.6337 | -1 | 1.1957 | 1.0925 | 1.0972 | -1 | -1 | -1 | -1 | -1 | 1.016 | 18.8963 | -1 | 18.8963 | 5.5633 | 5.5196 | 0.088889 | 1.0169 | 1.0339 | 71521.1521 | -1 | -1
|  | 8 | 1 | 35 | 7 | 3 | 0 | 0 | 0 | 6.302 | 0 | BB | 1514.5802 | 460.6228 | 0.052361 | 0.85008 | 0 |  | -1 | -1 | 1 | -1 | 930 | 989 | 6.2331 | 6.5833 | 0.0066667 | 70 | -1 | 6.2529 | 0.10952 | 58.1819 | 6.2538 | 0.10762 | 60.8733 | 6.2602 | 0.0883 | 609.5196 | 39.0333 | 580.6293 | 37.8309 | 6.2793 | 299.6883 | 6.3253 | 308.2172 | 6.2757 | 0.054286 | 262.7226 | 0.022742 | 0.75559 | 3.2666 | 1515.0333 | 6.3082 | 0.00051721 | 8.8877e-06 | 1.6763e-06 | 1.0865 | 81533.4104 | 82806.3181 | 74692.8791 | 76938.847 | 8.7627 | 8.7291 | 8.1907 | 8.2255 | -1 | -1 | -1 | -1 | 7.3806 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2576 | 0.09619 | 1.0521 | 1.1042 | 76063.3148 | -1 | -1
|  | 7 | 2 | 36 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 967.9791 | 295.2961 | 0.052243 | 0.85652 | 0 |  | -1 | -1 | 2 | -1 | 930 | 970 | 6.2167 | 6.4176 | 0.0066667 | 51 | -1 | 6.2533 | 0.11 | 110.2901 | 6.254 | 0.108 | 112.0154 | 6.2603 | 0.088176 | 464.9557 | 97.3303 | 445.7921 | 97.9602 | 6.2799 | 269.5516 | 6.3268 | 260.5304 | 6.276 | 0.054 | 241.4138 | 0.02191 | 0.34674 | 0.18152 | 967.9562 | 6.3049 | 0.00048007 | 3.6472e-06 | 7.3323e-07 | 1.0946 | 81764.2079 | 82090.932 | 75485.3709 | 82803.3508 | 8.8278 | 8.6978 | 8.3413 | 8.3768 | -1 | -1 | -1 | -1 | 7.4166 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.258 | 0.096 | 1.0588 | 1.1176 | 75930.6598 | -1 | -1
|  | 6 | 8 | 37 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 92.1213 | 28.1225 | 0.052217 | 0.85828 | 0 |  | -1 | -1 | 8 | -1 | 930 | 970 | 6.2233 | 6.4167 | 0.0066667 | 51 | -1 | 6.2533 | 0.10933 | 4.153 | 6.254 | 0.10733 | 4.3173 | 6.2603 | 0.088137 | 37.9178 | 2.9476 | 36.1335 | 2.9483 | 6.2799 | 19.2879 | 6.3268 | 18.4818 | 6.276 | 0.054 | 16.6422 | 0.021858 | 0.33313 | 0.15015 | 92.1213 | 6.3049 | 0.00047776 | 3.4787e-06 | 7.1903e-07 | 1.0878 | 81836.4649 | 83095.0931 | 75485.3709 | 83203.6194 | 77.2677 | 52.9635 | 70.7559 | 71.057 | -1 | -1 | -1 | -1 | 61.9841 | 19.1321 | -1 | -1 | -1 | 6.3033 | 6.258 | 0.096 | 1.0588 | 1.1176 | 75930.6598 | -1 | -1
|  | 3 | 5 | 38 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 299.1805 | 91.4274 | 0.052177 | 0.8589 | 0 |  | -1 | -1 | 5 | -1 | 930 | 970 | 6.2233 | 6.4142 | 0.0066667 | 51 | -1 | 6.2533 | 0.11 | 21.0634 | 6.254 | 0.108 | 21.5976 | 6.2604 | 0.08805 | 130.896 | 17.0159 | 124.9864 | 17.2822 | 6.2799 | 70.1629 | 6.3268 | 67.6441 | 6.276 | 0.054 | 61.663 | 0.021846 | 0.33876 | 0.16354 | 299.2279 | 6.3049 | 0.00047725 | 3.5319e-06 | 7.2054e-07 | 1.0946 | 81997.6491 | 82090.932 | 75485.3709 | 83293.1876 | 8.999 | 9.1786 | 8.5175 | 8.5537 | -1 | -1 | -1 | -1 | 9.2013 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2587 | 0.095333 | 1.0672 | 1.1343 | 76457.6565 | -1 | -1
|  | 2 | 3 | 39 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 471.461 | 144.016 | 0.052193 | 0.8606 | 0 |  | -1 | -1 | 3 | -1 | 930 | 970 | 6.2233 | 6.4047 | 0.0066667 | 51 | -1 | 6.254 | 0.11067 | 89.3245 | 6.2547 | 0.108 | 90.166 | 6.2603 | 0.088117 | 262.4705 | 82.4789 | 252.8161 | 83.862 | 6.2799 | 166.5779 | 6.3268 | 162.9056 | 6.276 | 0.054 | 153.2747 | 0.02179 | 0.32045 | 0.08954 | 471.3678 | 6.3048 | 0.00047479 | 3.3152e-06 | 6.9647e-07 | 1.1096 | 81872.6648 | 81104.8637 | 75485.3709 | 83722.2951 | 8.8381 | 8.6407 | 8.3414 | 8.3768 | -1 | -1 | -1 | -1 | 7.6581 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2587 | 0.096 | 1.0746 | 1.1493 | 74930.384 | -1 | -1
|  | 4 | 6 | 40 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 390.9651 | 119.0677 | 0.052308 | 0.85266 | 0 |  | -1 | -1 | 6 | -1 | 925 | 989 | 6.1633 | 6.5822 | 0.0066667 | 75 | -1 | 6.2533 | 0.11 | 13.3071 | 6.2533 | 0.10889 | 14.0029 | 6.2603 | 0.08819 | 155.6909 | 8.2003 | 148.3218 | 8.2096 | 6.2794 | 75.5996 | 6.3246 | 80.3656 | 6.2756 | 0.054444 | 66.185 | 0.022833 | 0.80116 | 3.589 | 390.9685 | 6.3052 | 0.00052133 | 9.5364e-06 | 1.7908e-06 | 1.0889 | 81738.13 | 82090.932 | 74257.9869 | 76258.8929 | 8.968 | 9.0835 | 8.4094 | 8.4452 | -1 | -1 | -1 | -1 | 8.9268 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2578 | 0.096667 | 1.061 | 1.122 | 74751.0614 | -1 | -1
|  | 5 | 7 | 41 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 301.5508 | 92.1397 | 0.052182 | 0.85835 | 0 |  | -1 | -1 | 7 | -1 | 930 | 970 | 6.2167 | 6.4196 | 0.0066667 | 51 | -1 | 6.2533 | 0.10933 | 4.8663 | 6.254 | 0.10733 | 5.4048 | 6.2604 | 0.088054 | 115.5204 | 0.9012 | 109.6543 | 0.93573 | 6.2799 | 54.342 | 6.3268 | 51.824 | 6.2761 | 0.053897 | 45.7852 | 0.021836 | 0.33508 | 0.15456 | 301.5463 | 6.3049 | 0.00047683 | 3.489e-06 | 7.1725e-07 | 1.0878 | 81989.7832 | 83095.0931 | 75775.0059 | 83365.9304 | 8.9411 | 9.0326 | 8.4047 | 8.4405 | -1 | -1 | -1 | -1 | 9.075 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2587 | 0.095333 | 1.0672 | 1.1343 | 76457.6565 | -1 | -1
|  | 1 | 4 | 34 | 7 | 4 | 0 | 0 | 0 | 6.3021 | 0 | BB | 297.9315 | 91.0652 | 0.052169 | 0.86128 | 0 |  | -1 | -1 | 4 | -1 | 930 | 970 | 6.2233 | 6.4045 | 0.0066667 | 51 | -1 | 6.254 | 0.11067 | 52.0708 | 6.2547 | 0.108 | 52.6029 | 6.2604 | 0.088067 | 161.5584 | 47.7415 | 155.4659 | 48.6174 | 6.2799 | 100.8642 | 6.3268 | 98.5933 | 6.276 | 0.054 | 92.508 | 0.021771 | 0.31853 | 0.087095 | 297.8809 | 6.3048 | 0.00047397 | 3.2869e-06 | 6.9351e-07 | 1.1096 | 81966.3578 | 81104.8637 | 75485.3709 | 83867.1176 | 8.8404 | 8.6404 | 8.341 | 8.3765 | -1 | -1 | -1 | -1 | 7.2152 | 1.1332 | -1 | -1 | -1 | 6.3033 | 6.2587 | 0.096 | 1.0746 | 1.1493 | 74930.384 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 11:22:28
ResNewDateTime | 02 September 2019 11:22:28
ResModBy | SYSTEM
ResModTime | 09/02/19 11:22:29
ResModDateTime | 02 September 2019 11:22:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6752.3868

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6752.3868

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4227.4104

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1926.8152

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 744.5499

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 445.9698

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 453.0322

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 360.8248

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 129.0726

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6752.3868

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4227.4104

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1926.8152

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 744.5499

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 445.9698

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 453.0322

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 360.8248

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 129.0726

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.34531 | 1464.1649 | 159.0413 | 0.12541 | 1.5467 | -21.8529 | 0.0033333 | 0 | 36.828 | 0.52333 | 7.1054e-15 | -52.3996 | 1 | -171.5917 | 37.4 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4623 | 1136.7443 | 50.2156 | 0.2761 | 4.1621 | -2.3289 | 0.81667 | 0 | -53.5231 | 1.605 | 3.5527e-15 | 8.9876 | 1 | 79.2909 | -118.2773 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.081 | 494.7357 | 100.0831 | 0.075671 | 0.60917 | 38.6314 | 1.7567 | 0 | 33.2584 | 2.2742 | -7.1054e-15 | 41.8322 | 1 | 16.568 | 4.154 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9444 | 204.2309 | 67.2603 | 0.049425 | 0.84477 | 58.9998 | 4.89 | 1.4211e-14 | 60.3046 | 5.07 | 1.4211e-14 | 55.9883 | 1 | -23.9796 | 177.5649 | 0 | 0 | 0
DateTime |  | 2 | 31 | 5.4729 | 45.9723 | 17.895 | 0.041972 | 1.0851 | 49.4825 | 5.4213 | 1.3635e-07 | 50.1236 | 5.51 | 5.193e-08 | 61.0695 | 2 | -13.3269 | 122.3725 | 32.9377 | -149.8661 | 5.5167
IntegStart | 0 | 32 | 20 | 5.5611 | 1891.9585 | 617.5046 | 0.047745 | 1.0071 | 48.2603 | 5.4213 | 0 | 50.1237 | 6.0233 | 0 | 42.1004 | 1 | -13.3269 | 122.3725 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.302 | 1514.5802 | 460.6228 | 0.052361 | 0.85008 | 38.4635 | 6.2331 | 0 | 39.4024 | 6.5833 | 0 | 34.6327 | 1 | -13.6174 | 124.2809 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.33705 | 1480.802 | 138.1918 | 0.13901 | 1.9476 | 35.713 | 0.0033333 | 0 | 114.5988 | 0.51667 | 0 | -6.7472 | 1 | -236.3883 | 115.3867 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4623 | 702.9377 | 34.1365 | 0.25224 | 3.7007 | 8.2018 | 0.85 | 0 | -20.4206 | 1.606 | 0 | 14.9233 | 1 | 46.7491 | -60.1573 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.081 | 330.9286 | 67.0958 | 0.075542 | 0.59715 | 35.2392 | 1.9367 | 0 | 33.4206 | 2.2737 | 0 | 37.666 | 1 | 12.5972 | 9.0239 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9446 | 137.0419 | 44.1053 | 0.05025 | 0.84697 | 91.3584 | 4.8167 | 0 | 91.188 | 5.1235 | 0 | 91.5967 | 1 | 1.3322 | 84.771 | 0 | 0 | 0
DateTime |  | 2 | 31 | 5.4734 | 30.5658 | 11.7915 | 0.042242 | 1.1242 | 93.1246 | 5.4167 | 2.4711e-07 | 92.7444 | 5.5167 | 5.0435e-08 | 103.7111 | 2 | 6.1305 | 59.5375 | 25.1806 | -133.3093 | 5.5233
IntegStart | 0 | 32 | 20 | 5.5611 | 577.1552 | 189.4576 | 0.047541 | 1.1725 | 93.63 | 5.4167 | 0 | 92.7444 | 5.67 | 0 | 94.2974 | 1 | 6.1305 | 59.5375 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.3021 | 967.9791 | 295.2961 | 0.052243 | 0.85652 | 97.6287 | 6.2167 | 0 | 97.0187 | 6.4176 | 0 | 98.4537 | 1 | 7.1431 | 52.6124 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.32416 | 727.264 | 80.1076 | 0.11992 | 1.665 | 52.4464 | 0.09 | 0 | 106.3523 | 0.49 | -1.4211e-14 | 14.2694 | 1 | -230.2074 | 127.071 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4622 | 80.7039 | 10.4696 | 0.10193 | 0.62437 | 10.0748 | 1.3033 | 0 | 11.7264 | 1.61 | 0 | 8.5387 | 1 | -10.396 | 25.2758 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.081 | 173.4173 | 35.6966 | 0.074678 | 0.60222 | 17.4115 | 1.9233 | 0 | 16.4595 | 2.2735 | 0 | 18.574 | 1 | 6.0387 | 4.8451 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9449 | 60.2173 | 19.7799 | 0.049518 | 0.89726 | 65.2027 | 4.8233 | 0 | 63.437 | 5.0256 | 0 | 66.3757 | 1 | 14.5258 | -6.6256 | 0 | 0 | 0
DateTime |  | 2 | 31 | 5.4738 | 16.2773 | 6.375 | 0.041789 | 1.2106 | 71.6712 | 5.4233 | -2.3984e-07 | 70.9381 | 5.51 | 5.2624e-08 | 74.8687 | 2 | 14.1602 | -5.8574 | 6.8175 | -138.7504 | 5.5167
IntegStart | 0 | 32 | 20 | 5.5612 | 397.4743 | 130.8671 | 0.047434 | 1.1094 | 72.8903 | 5.4233 | 0 | 70.9381 | 5.6573 | 0 | 74.2507 | 1 | 14.1602 | -5.8574 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.3021 | 471.461 | 144.016 | 0.052193 | 0.8606 | 83.1349 | 6.2233 | 0 | 81.8982 | 6.4047 | 0 | 84.7452 | 1 | 15.6961 | -15.7841 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32182 | 166.2253 | 32.1004 | 0.074413 | 1.3081 | 43.7295 | 0.19667 | 0 | 63.087 | 0.44333 | 0 | 24.9362 | 1 | -154.6654 | 93.5045 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0808 | 90.737 | 19.3512 | 0.072704 | 0.60895 | 17.3208 | 1.93 | 0 | 17.0364 | 2.28 | 0 | 17.6964 | 1 | 1.8856 | 13.3973 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 4.945 | 31.982 | 10.557 | 0.049344 | 0.89699 | 37.0894 | 4.83 | 0 | 36.0594 | 5.0233 | 0 | 37.7909 | 1 | 8.9591 | -7.2132 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.4736 | 10.2154 | 3.9806 | 0.04194 | 1.1732 | 41.0703 | 5.4233 | 2.8958e-08 | 40.6389 | 5.5167 | 5.277e-08 | 43.9968 | 2 | 8.4367 | -5.1163 | 6.3389 | -135.3937 | 5.5233
DateTime |  | 32 | 20 | 5.5612 | 147.4588 | 48.572 | 0.047419 | 1.2769 | 41.8024 | 5.4233 | 0 | 40.6389 | 5.651 | 0 | 42.5593 | 1 | 8.4367 | -5.1163 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.3021 | 297.9315 | 91.0652 | 0.052169 | 0.86128 | 48.1571 | 6.2233 | 0 | 47.3733 | 6.4045 | 0 | 49.1755 | 1 | 9.946 | -14.5242 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32514 | 58.4773 | 17.0039 | 0.052122 | 1.2258 | 16.6425 | 0.21667 | 0 | 21.987 | 0.41667 | 0 | 12.1331 | 1 | -49.2692 | 32.662 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0807 | 43.8704 | 9.5038 | 0.071854 | 0.60686 | 9.9292 | 1.95 | 0 | 9.8443 | 2.3017 | 0 | 10.0728 | 1 | 0.64983 | 8.5771 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 4.9448 | 16.0337 | 5.2755 | 0.049458 | 0.87655 | 14.0988 | 4.8367 | 0 | 13.8526 | 5.0324 | 0 | 14.2983 | 1 | 2.2766 | 2.8412 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.473 | 7.3273 | 2.9673 | 0.040809 | 1.1885 | 15.4509 | 5.4233 | 0 | 15.0571 | 5.51 | 0 | 15.7437 | 1 | 7.9228 | -27.9111 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.5612 | 21.0806 | 7.3273 | 0.045565 | 0.87627 | 15.7254 | 5.5167 | 1.7764e-15 | 15.8281 | 5.6367 | 1.7764e-15 | 15.5516 | 1 | -2.3047 | 28.5425 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.3021 | 299.1805 | 91.4274 | 0.052177 | 0.8589 | 17.1422 | 6.2233 | 0 | 16.9039 | 6.4142 | 0 | 17.4811 | 1 | 3.0247 | -1.9198 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32825 | 40.895 | 13.648 | 0.046958 | 1.1446 | 8.2188 | 0.20333 | 0 | 9.5778 | 0.41667 | 0 | 7.257 | 1 | -10.8786 | 11.7897 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5611 | 21.1721 | 7.2898 | 0.045884 | 0.88107 | 8.3789 | 5.51 | 0 | 8.5444 | 5.6367 | 0 | 8.1344 | 1 | -3.2375 | 26.3829 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3021 | 390.9651 | 119.0677 | 0.052308 | 0.85266 | 8.2047 | 6.1633 | 0 | 8.1902 | 6.5822 | 0 | 8.2342 | 1 | 0.10511 | 7.5423 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32891 | 36.5242 | 12.4971 | 0.046097 | 1.1224 | 1.1718 | 0.20333 | 2.2204e-16 | 1.9984 | 0.42333 | 4.4409e-16 | 0.55027 | 1 | -6.5825 | 3.3369 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5611 | 22.7498 | 7.7518 | 0.046239 | 0.88622 | 1.1887 | 5.51 | 0 | 1.3242 | 5.6433 | 0 | 0.97084 | 1 | -2.65 | 15.9258 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3021 | 301.5508 | 92.1397 | 0.052182 | 0.85835 | 0.91757 | 6.2167 | 0 | 0.88406 | 6.4196 | -2.2204e-16 | 0.96363 | 1 | 0.39211 | -1.5536 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.3294 | 36.9513 | 12.4668 | 0.04658 | 1.1522 | 2.9824 | 0.19667 | 0 | 3.7422 | 0.43 | 0 | 2.4066 | 1 | -5.7241 | 4.868 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3021 | 92.1213 | 28.1225 | 0.052217 | 0.85828 | 2.9479 | 6.2233 | 0 | 2.9473 | 6.4167 | 0 | 2.9488 | 1 | 0.0073992 | 2.9013 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2