## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567501312
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 155
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 155
Vial | 155
SampleLocation | 155
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 10:01:52
SampleName | CS-135_0155
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 23.9086
DAD1UVBurnTime | 170.5753
DAD1VisOnTime | 23.9081
DAD1VisBurnTime | 156.0864
StartPressure | 25.952
StopPressure | 61.543
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40.002
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 9 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 13 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 28 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 29 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 37 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 10014.659 | 1671.4903 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 6395.3588 | 908.5529 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 2042.8646 | 450.6421 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 789.0651 | 216.9308 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 487.209 | 145.8949 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 498.9946 | 159.7933 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 397.5165 | 127.6816 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0155.D | 137.7868 | 44.8021 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 39 | 15 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31819 | 0 | BB | 174.2645 | 33.2938 | 0.073065 | 1.3208 | 0 |  | -1 | -1 | 4 | -1 | 26 | 82 | 0.19333 | 0.44 | 0.0066667 | 67 | -1 | 0.19333 | 0.17238 | 53.0907 | 0.19333 | 0.17238 | 53.2869 | 0.26714 | 0.10183 | 87.7582 | 60.2584 | 98.2374 | 43.68 | 0.30399 | 80.1105 | 0.34473 | 69.7217 | 0.19333 | 0.15333 | 67.9993 | 0.041285 | -0.24434 | -0.17803 | 174.2645 | 0.30832 | 0.0017044 | -1.7194e-05 | 8.1982e-06 | 0.68045 | 158.0145 | 86.1512 | 24.1288 | 55.7737 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32 | 0.19333 | 0.16952 | 0.66917 | 0.33835 | 35.3306 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32111 | 0 | BB | 778.7994 | 84.0124 | 0.12215 | 1.7129 | 0 |  | -1 | -1 | 3 | -1 | 12 | 104 | 0.08 | 0.48667 | 0.0066667 | 103 | -1 | 0.08 | 0.32 | 66.3389 | 0.08 | 0.32 | 66.8361 | 0.2347 | 0.16653 | 150.7374 | 82.7464 | 166.1067 | 43.5965 | 0.30558 | 138.517 | 0.35 | 121.9433 | 0.08 | 0.284 | 104.1204 | 0.073235 | -0.41978 | -0.35992 | 778.7994 | 0.28934 | 0.0053633 | -0.00016488 | 7.5942e-05 | 0.66667 | 59.0792 | 25 | 7.0335 | 15.6091 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32 | 0.08 | 0.31467 | 0.65556 | 0.31111 | 9.6601 | -1 | -1
NumberOfHead | 9 | 16 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32151 | 0 | BB | 59.6872 | 17.3683 | 0.054093 | 1.2707 | 0 |  | -1 | -1 | 5 | -1 | 32 | 74 | 0.21333 | 0.40667 | 0.0066667 | 53 | -1 | 0.21333 | 0.14741 | 25.1038 | 0.21333 | 0.14741 | 25.2057 | 0.28648 | 0.07324 | 44.7321 | 26.4519 | 50.8046 | 22.633 | 0.30335 | 35.2551 | 0.34986 | 29.9051 | 0.29407 | 0.051852 | 32.85 | 0.029211 | -0.80622 | 0.52766 | 59.6872 | 0.31356 | 0.00085328 | -2.0095e-05 | 2.5684e-06 | 0.65033 | 318.2977 | 122.7753 | 219.8826 | 115.2247 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.21333 | 0.14519 | 0.64052 | 0.28105 | 43.906 | -1 | -1
Modified | 1 | 23 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32459 | 0 | BB | 40.7566 | 13.7698 | 0.046532 | 1.1179 | 0 |  | -1 | -1 | 6 | -1 | 30 | 71 | 0.2 | 0.40667 | 0.0066667 | 52 | -1 | 0.2 | 0.164 | 15.6597 | 0.2 | 0.16333 | 15.7422 | 0.29316 | 0.066095 | 32.7973 | 15.4337 | 36.3104 | 14.6863 | 0.30977 | 24.6084 | 0.35005 | 20.4254 | 0.30333 | 0.044 | 21.9289 | 0.026232 | -1.3838 | 2.5063 | 40.7566 | 0.31866 | 0.00068812 | -2.4979e-05 | 2.6073e-06 | 0.64474 | 390.8285 | 99.1886 | 305.3613 | 147.5704 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.2 | 0.16067 | 0.63421 | 0.26842 | 34.6464 | -1 | -1
NextPeakSignal_ | Peak | 24 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32536 | 0 | BB | 36.0097 | 12.5183 | 0.04556 | 1.0991 | 0 |  | -1 | -1 | 7 | -1 | 30 | 70 | 0.2 | 0.41333 | 0.0066667 | 51 | -1 | 0.2 | 0.16467 | 6.7275 | 0.2 | 0.164 | 6.8026 | 0.29389 | 0.065258 | 22.6867 | 6.3943 | 25.1279 | 5.9624 | 0.30984 | 14.6511 | 0.34998 | 11.1608 | 0.304 | 0.044 | 12.4292 | 0.024844 | -1.4162 | 3.0221 | 36.0097 | 0.32033 | 0.00061722 | -2.1716e-05 | 2.2942e-06 | 0.64737 | 400.9196 | 98.3871 | 305.3613 | 166.245 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.25933 | 0.102 | 0.75743 | 0.51485 | 133.9802 | -1 | -1
Signal_ | Signal | 31 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32589 | 0 | BB | 36.1742 | 12.4178 | 0.045986 | 1.1338 | 0 |  | -1 | -1 | 8 | -1 | 29 | 71 | 0.19333 | 0.41333 | 0.0066667 | 53 | -1 | 0.19333 | 0.17185 | 9.5499 | 0.19333 | 0.17185 | 9.6243 | 0.29395 | 0.065572 | 25.5131 | 9.1941 | 27.586 | 8.8142 | 0.30984 | 17.3102 | 0.3499 | 14.1869 | 0.30444 | 0.043704 | 15.2012 | 0.025938 | -1.4686 | 3.2035 | 36.1742 | 0.32013 | 0.00067279 | -2.5629e-05 | 2.808e-06 | 0.64444 | 397.0929 | 90.3319 | 309.5159 | 152.3293 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.26148 | 0.10074 | 0.77273 | 0.54545 | 142.205 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33538 | 0 | BB | 1512.2783 | 145.1615 | 0.13554 | 1.9847 | 0 |  | -1 | -1 | 2 | -1 | 1 | 112 | 0.0066667 | 0.50667 | 0.0066667 | 117 | -1 | 0.033333 | 0.39333 | 51.9139 | 0.033333 | 0.39333 | 52.7764 | 0.24344 | 0.18916 | 204.7322 | 67.6462 | 208.7372 | 21.2302 | 0.31021 | 167.1981 | 0.37651 | 129.421 | 0.033333 | 0.35 | 117.4653 | 0.09226 | -0.62132 | -0.2122 | 1512.2784 | 0.2859 | 0.0085119 | -0.00048793 | 0.00020198 | 0.65556 | 49.6825 | 17.9546 | 5.0249 | 9.603 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.033333 | 0.38667 | 0.64444 | 0.28889 | 6.5774 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.343 | 0 | BB | 1499.4343 | 169.3662 | 0.12129 | 1.5583 | 0 |  | -1 | -1 | 1 | -1 | 1 | 107 | 0.0066667 | 0.52 | 0.0066667 | 112 | -1 | 0.033333 | 0.41 | -4.3628 | 0.033333 | 0.40833 | -3.3668 | 0.26957 | 0.16797 | 178.4224 | 0.72369 | 177.2761 | -28.826 | 0.31537 | 111.5673 | 0.37866 | 99.5262 | 0.29167 | 0.1 | 71.331 | 0.089602 | -0.83545 | 0.28748 | 1499.4343 | 0.30642 | 0.0080286 | -0.00060101 | 0.00021191 | 0.66576 | 65.554 | 17.1921 | 64.0424 | 11.6952 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34 | 0.033333 | 0.40167 | 0.65489 | 0.30978 | 6.6722 | -1 | -1
RTRatioRefComp_ | Compound | 14 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.464 | 0 | BB | 79.6661 | 10.4438 | 0.10099 | 0.57927 | 0 |  | -1 | -1 | 3 | -1 | 189 | 266 | 1.3133 | 1.6118 | 0.0066667 | 88 | -1 | 1.3133 | 0.28111 | 21.2111 | 1.3133 | 0.28111 | 21.2726 | 1.4089 | 0.1943 | 32.9895 | 21.3499 | 46.7301 | 19.3675 | 1.4408 | 28.0927 | 1.5874 | 22.468 | 1.4278 | 0.12333 | 25.8854 | 0.05906 | -0.19389 | -0.48022 | 79.8737 | 1.484 | 0.0034881 | -3.9942e-05 | 3.0657e-05 | 0.91667 | 911.7128 | 680.5296 | 783.4507 | 631.4068 | 6.3349 | 4.7533 | 3.2968 | 3.3109 | -1 | -1 | -1 | -1 | 4.5153 | 4.5592 | -1 | -1 | -1 | 1.4667 | 1.3133 | 0.27778 | 0.9058 | 0.81159 | 468.3574 | -1 | -1
|  | 12 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4641 | 0 | BB | 741.4257 | 34.4872 | 0.26282 | 3.7921 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.84 | 1.6067 | 0.0066667 | 127 | -1 | 1.13 | 0.47667 | 20.4043 | 1.1317 | 0.475 | 20.6074 | 1.3748 | 0.22556 | 57.2434 | 14.403 | 85.8772 | 25.4794 | 1.4409 | 46.1493 | 1.5837 | 32.8503 | 1.3717 | 0.205 | 35.845 | 0.17237 | -0.28413 | -0.9427 | 741.4257 | 1.2986 | 0.02971 | -0.0014551 | 0.001816 | 0.70896 | 676.4917 | 236.6864 | 283.573 | 56.7617 | 5.4431 | 3.2433 | 2.3895 | 2.3997 | -1 | -1 | -1 | -1 | 1.9135 | 4.3654 | -1 | -1 | -1 | 1.4667 | 1.1533 | 0.45333 | 0.7234 | 0.44681 | 125.134 | -1 | -1
|  | 13 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4641 | 0 | BB | 1195.6393 | 50.5946 | 0.2877 | 4.2625 | 0 |  | -1 | -1 | 1 | -1 | 121 | 242 | 0.80667 | 1.6067 | 0.0066667 | 132 | -1 | 1.1267 | 0.48 | 11.8778 | 1.1283 | 0.47833 | 12.176 | 1.3688 | 0.23089 | 65.6348 | 1.6485 | 107.047 | 20.6253 | 1.441 | 50.1095 | 1.5828 | 31.4017 | 1.36 | 0.21833 | 34.5391 | 0.17795 | -0.24129 | -0.95421 | 1195.6392 | 1.2827 | 0.031667 | -0.0013597 | 0.0020515 | 0.7069 | 645.6177 | 233.4105 | 249.9957 | 51.9553 | 5.6216 | 3.1492 | 4.1382 | 4.1558 | -1 | -1 | -1 | -1 | 1.8244 | 4.2686 | -1 | -1 | -1 | 1.4667 | 1.15 | 0.45667 | 0.72105 | 0.44211 | 122.4778 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0805 | 0 | BB | 439.9998 | 93.2106 | 0.075072 | 0.57196 | 0 |  | -1 | -1 | 2 | -1 | 290 | 336 | 2.0133 | 2.2333 | 0.0066667 | 57 | -1 | 2.0133 | 0.15037 | 44.7071 | 2.0133 | 0.14963 | 45.259 | 2.0328 | 0.12969 | 156.5946 | 45.6103 | 145.7352 | 32.005 | 2.056 | 99.653 | 2.1164 | 95.9745 | 2.0496 | 0.074074 | 86.6492 | 0.032446 | 0.53245 | 0.042089 | 439.9998 | 2.0947 | 0.0010528 | 1.8188e-05 | 3.3715e-06 | 1.1222 | 4115.4675 | 4783.4591 | 4368.2147 | 4167.941 | 3.4704 | 2.4577 | 2.5954 | 2.6064 | -1 | -1 | -1 | -1 | 1.9435 | 1.421 | -1 | -1 | -1 | 2.08 | 2.0252 | 0.13111 | 1.1959 | 1.3919 | 3972.5437 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0805 | 0 | BB | 651.2877 | 138.2897 | 0.074945 | 0.574 | 0 |  | -1 | -1 | 1 | -1 | 290 | 335 | 2.0133 | 2.2267 | 0.0066667 | 56 | -1 | 2.0133 | 0.15037 | 48.9411 | 2.0133 | 0.14963 | 49.7599 | 2.0328 | 0.12944 | 215.1816 | 49.8278 | 198.7121 | 30.9111 | 2.0563 | 131.3223 | 2.1164 | 125.1538 | 2.0504 | 0.073333 | 111.1668 | 0.032356 | 0.53128 | 0.039531 | 651.2877 | 2.0946 | 0.0010469 | 1.7996e-05 | 3.3313e-06 | 1.1222 | 4131.7361 | 4783.4591 | 4456.9071 | 4190.9057 | 3.4213 | 2.4445 | 2.4832 | 2.4937 | -1 | -1 | -1 | -1 | 1.9303 | 1.421 | -1 | -1 | -1 | 2.08 | 2.0259 | 0.13111 | 1.2123 | 1.4247 | 3923.8785 | -1 | -1
|  | 27 | 3 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0807 | 0 | BB | 233.9962 | 49.7214 | 0.072905 | 0.56998 | 0 |  | -1 | -1 | 3 | -1 | 290 | 346 | 2.0133 | 2.2333 | 0.0066667 | 67 | -1 | 2.0133 | 0.15238 | 27.8288 | 2.0133 | 0.15143 | 28.1231 | 2.033 | 0.12927 | 87.7377 | 27.8582 | 81.5739 | 21.8403 | 2.0554 | 56.0116 | 2.1159 | 55.8189 | 2.0505 | 0.073333 | 50.1943 | 0.032433 | 0.54521 | 0.076872 | 233.9962 | 2.0948 | 0.0010519 | 1.8601e-05 | 3.4047e-06 | 1.1357 | 4142.2827 | 4658.0617 | 4456.9071 | 4171.4763 | 3.8116 | 3.5563 | 3.6842 | 3.6999 | -1 | -1 | -1 | -1 | 3.3375 | 1.4212 | -1 | -1 | -1 | 2.08 | 2.0267 | 0.13143 | 1.2321 | 1.4643 | 3847.9338 | -1 | -1
|  | 25 | 4 | 16 | 3 | 4 | 0 | 0 | 0 | 2.081 | 0 | BB | 127.0414 | 27.1431 | 0.072605 | 0.57996 | 0 |  | -1 | -1 | 4 | -1 | 290 | 346 | 2.0067 | 2.24 | 0.0066667 | 67 | -1 | 2.0219 | 0.15048 | 25.402 | 2.0238 | 0.14762 | 25.5626 | 2.0333 | 0.12833 | 58.3845 | 24.799 | 54.585 | 23.2213 | 2.0555 | 40.4116 | 2.1157 | 41.0944 | 2.0505 | 0.075238 | 37.6062 | 0.032502 | 0.57277 | 0.18418 | 127.0414 | 2.0947 | 0.0010564 | 1.9665e-05 | 3.5533e-06 | 1.3136 | 4203.4188 | 4776.7345 | 4234.0975 | 4153.7505 | 15.3184 | 13.65 | 9.0619 | 9.1005 | -1 | -1 | -1 | -1 | 12.1052 | 6.5401 | -1 | -1 | -1 | 2.08 | 2.0305 | 0.13238 | 1.3365 | 1.6731 | 3521.8551 | -1 | -1
|  | 22 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0812 | 0 | BB | 67.2794 | 13.6095 | 0.075675 | 0.6408 | 0 |  | -1 | -1 | 5 | -1 | 276 | 347 | 1.84 | 2.2867 | 0.0066667 | 82 | -1 | 2.0222 | 0.16333 | 17.8175 | 2.0233 | 0.16 | 17.898 | 2.0326 | 0.1297 | 34.3718 | 17.2941 | 32.3689 | 17.1105 | 2.0541 | 24.8454 | 2.1141 | 26.1707 | 2.0511 | 0.075556 | 23.9375 | 0.042476 | -0.69995 | 4.1083 | 67.2794 | 2.0913 | 0.0018042 | -5.3641e-05 | 2.3139e-05 | 1.4118 | 4114.9896 | 4054.3107 | 4198.5916 | 2424.0588 | 17.3419 | 14.1571 | 16.2284 | 16.2975 | -1 | -1 | -1 | -1 | 12.3993 | 6.4731 | -1 | -1 | -1 | 2.08 | 2.03 | 0.14 | 1.4 | 1.8 | 3017.9137 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 2.6122 | 0 | BB | 2539.0894 | 99.7227 | 0.35705 | 0.51843 | 0 |  | -1 | -1 | 1 | -1 | 343 | 554 | 2.2867 | 3.2032 | 0.0066667 | 222 | -1 | 2.38 | 0.82322 | 37.6821 | 2.3833 | 0.81988 | 38.2801 | 2.3712 | 0.65364 | 157.575 | 22.1693 | 137.6773 | 52.2051 | 2.4891 | 88.4403 | 2.6888 | 121.8232 | 2.4767 | 0.51333 | 83.1283 | 0.17383 | 0.35975 | -0.57165 | 2535.0395 | 2.7004 | 0.030216 | 0.0018896 | 0.0022171 | 1.7824 | 255.7573 | 251.9432 | 143.5821 | 241.3402 | 1.358 | 1.3653 | 1.0649 | 1.0695 | -1 | -1 | -1 | -1 | 1.4691 | 1.2556 | -1 | -1 | -1 | 2.6133 | 2.3967 | 0.80655 | 1.8613 | 2.7225 | 110.2039 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 2.6155 | 0 | BB | 1768.119 | 69.0392 | 0.35879 | 0.51713 | 0 |  | -1 | -1 | 2 | -1 | 344 | 555 | 2.2933 | 3.2005 | 0.0066667 | 222 | -1 | 2.3933 | 0.80714 | 39.0015 | 2.3933 | 0.80714 | 39.4161 | 2.3746 | 0.6562 | 123.0969 | 26.3488 | 107.9881 | 52.7708 | 2.4907 | 72.9846 | 2.6896 | 98.1433 | 2.4833 | 0.54667 | 70.517 | 0.17437 | 0.35544 | -0.59187 | 1767.6278 | 2.7046 | 0.030405 | 0.0018844 | 0.0022262 | 1.8344 | 253.769 | 262.077 | 126.606 | 240.587 | 1.3616 | 1.3969 | 1.0128 | 1.0171 | -1 | -1 | -1 | -1 | 1.4745 | 1.2572 | -1 | -1 | -1 | 2.6133 | 2.4067 | 0.79381 | 1.9205 | 2.841 | 110.4745 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 4.225 | 0 | BB | 235.7488 | 20.5297 | 0.17997 | 0.79726 | 0 |  | -1 | -1 | 1 | -1 | 580 | 716 | 4.0333 | 4.46 | 0.0066667 | 147 | -1 | 4.0333 | 0.34222 | 75.7027 | 4.0333 | 0.34 | 75.826 | 4.0831 | 0.3146 | 98.6398 | 78.4301 | 100.17 | 70.4691 | 4.1568 | 88.9198 | 4.3108 | 85.419 | 4.1267 | 0.18667 | 85.0779 | 0.073252 | 0.07233 | -0.39775 | 235.7488 | 4.2379 | 0.0053658 | 2.843e-05 | 7.4924e-05 | 0.87931 | 2888.0623 | 3813.4628 | 2840.3523 | 3347.0391 | 3.3314 | 3.4597 | 2.7072 | 2.7188 | -1 | -1 | -1 | -1 | 3.1112 | 1.6174 | -1 | -1 | -1 | 4.2267 | 4.0333 | 0.33333 | 0.86207 | 0.72414 | 2548.364 | -1 | -1
|  | 26 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 4.2374 | 0 | BB | 217.6828 | 16.6523 | 0.19851 | 1.0998 | 0 |  | -1 | -1 | 2 | -1 | 568 | 726 | 3.7867 | 4.4728 | 0.0066667 | 169 | -1 | 4.0467 | 0.42613 | 83.3158 | 4.0511 | 0.42168 | 83.4156 | 4.0774 | 0.33568 | 102.7365 | 81.8215 | 101.9175 | 83.3965 | 4.1608 | 92.7309 | 4.3187 | 93.3487 | 4.1467 | 0.19778 | 90.8972 | 0.10345 | -0.89157 | 1.4211 | 217.7597 | 4.2232 | 0.010701 | -0.00098699 | 0.00050629 | 1.1162 | 2552.7566 | 2475.117 | 2546.1647 | 1666.6732 | 3.2703 | 3.2877 | 2.5599 | 2.5708 | -1 | -1 | -1 | -1 | 2.7331 | 1.6201 | -1 | -1 | -1 | 4.24 | 4.0733 | 0.36667 | 1.1 | 1.2 | 2275.9296 | -1 | -1
|  | 28 | 1 | 21 | 6 | 3 | 0 | 0 | 0 | 5.4975 | 0 | BV E | 76.2497 | 5.9672 | 0.16108 | 0.11739 | 0 |  | -1 | -1 | 1 | -1 | 776 | 910 | 5.4467 | 6.06 | 0.0066667 | 145 | -1 | 5.4467 | 0.10222 | 68.2242 | 5.4467 | 0.1 | 68.2586 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4711 | 0.051111 | 70.8359 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.9375 | -1 | 72372.7681 | 64151.1578 | -1 | -1 | 7.1574 | 6.2879 | 6.3146 | -1 | -1 | -1 | -1 | -1 | 1.3012 | -1 | -1 | -1 | 5.5 | 5.4467 | 0.093333 | 0.875 | 0.75 | 56054.195 | -1 | -1
|  | 32 | 5 | 23 | 7 | 4 | 0 | 0 | 0 | 6.1068 | 0 | BB | 33.5332 | 10.6243 | 0.050823 | 0.88199 | 0 |  | -1 | -1 | 5 | -1 | 901 | 940 | 6.04 | 6.1929 | 0.0066667 | 50 | -1 | 6.06 | 0.10867 | 23.3697 | 6.0607 | 0.106 | 23.4317 | 6.066 | 0.08478 | 36.0623 | 22.7995 | 35.6469 | 23.0396 | 6.0832 | 28.3955 | 6.1302 | 28.9358 | 6.0813 | 0.052667 | 28.0833 | 0.020836 | 0.26321 | -0.034201 | 33.5409 | 6.109 | 0.00043415 | 2.381e-06 | 5.59e-07 | 1.1522 | 83011.6734 | 78950.6568 | 74481.1767 | 85960.2015 | 37.538 | 36.9997 | 36.8894 | 37.0464 | -1 | -1 | -1 | -1 | 31.7289 | 2.9343 | -1 | -1 | -1 | 6.1067 | 6.0647 | 0.092667 | 1.1032 | 1.2063 | 73723.7289 | -1 | -1
|  | 33 | 6 | 24 | 7 | 4 | 0 | 0 | 0 | 6.1071 | 0 | BB | 31.8934 | 10.0945 | 0.05086 | 0.87981 | 0 |  | -1 | -1 | 6 | -1 | 901 | 940 | 6.04 | 6.1986 | 0.0066667 | 50 | -1 | 6.0593 | 0.10533 | 15.2631 | 6.06 | 0.104 | 15.3221 | 6.0663 | 0.084691 | 27.2799 | 14.8215 | 27.0052 | 14.8413 | 6.0831 | 19.9688 | 6.1301 | 20.6166 | 6.082 | 0.052 | 19.7423 | 0.020874 | 0.26189 | -0.01332 | 31.8993 | 6.1093 | 0.00043572 | 2.3819e-06 | 5.6703e-07 | 1.1143 | 83185.7971 | 84026.5983 | 76403.1926 | 85659.7623 | 76.6974 | 53.674 | 70.7751 | 71.0763 | -1 | -1 | -1 | -1 | 61.4641 | 18.8147 | -1 | -1 | -1 | 6.1067 | 6.064 | 0.092667 | 1.0859 | 1.1719 | 74773.1502 | -1 | -1
|  | 34 | 7 | 25 | 7 | 4 | 0 | 0 | 0 | 6.109 | 0 | BB | 29.8366 | 9.4726 | 0.048748 | 0.88736 | 0 |  | -1 | -1 | 7 | -1 | 902 | 939 | 6.0267 | 6.2 | 0.0066667 | 48 | -1 | 6.0606 | 0.10545 | 6.4971 | 6.0612 | 0.10364 | 6.5521 | 6.0687 | 0.083328 | 17.7708 | 6.0968 | 17.6064 | 6.0893 | 6.0903 | 12.3486 | 6.1297 | 12.0542 | 6.0836 | 0.052121 | 10.6807 | 0.020849 | 0.24391 | 0.016741 | 29.8366 | 6.111 | 0.00043467 | 2.2104e-06 | 5.6999e-07 | 1.14 | 85930.1932 | 83833.5447 | 76048.2422 | 85913.7913 | 77.8486 | 53.528 | 70.6998 | 71.0007 | -1 | -1 | -1 | -1 | 63.3656 | 18.776 | -1 | -1 | -1 | 6.1067 | 6.0661 | 0.091515 | 1.1269 | 1.2537 | 74160.176 | -1 | -1
|  | 36 | 4 | 26 | 7 | 4 | 0 | 0 | 0 | 6.1109 | 0 | BB | 162.5092 | 52.4271 | 0.048163 | 0.90496 | 0 |  | -1 | -1 | 4 | -1 | 902 | 939 | 6.04 | 6.2001 | 0.0066667 | 48 | -1 | 6.0642 | 0.10606 | 51.5472 | 6.0648 | 0.10364 | 51.8517 | 6.0713 | 0.08142 | 115.158 | 48.8367 | 112.7511 | 49.7593 | 6.0902 | 80.4891 | 6.1297 | 84.4727 | 6.0861 | 0.051515 | 74.6964 | 0.020569 | 0.26111 | 0.064311 | 162.5057 | 6.1127 | 0.0004231 | 2.2724e-06 | 5.4854e-07 | 1.0687 | 90202.3545 | 83059.24 | 78018.2052 | 88313.8686 | 38.4263 | 39.2723 | 37.3573 | 37.5162 | -1 | -1 | -1 | -1 | 37.8547 | 2.9365 | -1 | -1 | -1 | 6.1133 | 6.0691 | 0.090909 | 1.0274 | 1.0548 | 81817.3419 | -1 | -1
|  | 30 | 2 | 27 | 7 | 4 | 0 | 0 | 0 | 6.1112 | 0 | BB | 625.6014 | 200.4185 | 0.048417 | 0.90751 | 0 |  | -1 | -1 | 2 | -1 | 875 | 939 | 5.8333 | 6.2233 | 0.0066667 | 75 | -1 | 6.0633 | 0.10556 | 112.397 | 6.0644 | 0.10333 | 113.5629 | 6.0714 | 0.081839 | 354.883 | 103.4482 | 346.2479 | 104.2266 | 6.0895 | 218.3048 | 6.1311 | 231.3354 | 6.0856 | 0.052222 | 201.0013 | 0.022666 | -0.77001 | 7.9971 | 625.9724 | 6.1126 | 0.00051373 | -8.966e-06 | 2.9024e-06 | 1.0568 | 89280.4892 | 83855.9668 | 75919.829 | 72730.8832 | 8.9759 | 8.8107 | 8.8068 | 8.8443 | -1 | -1 | -1 | -1 | 7.4909 | 1.4422 | -1 | -1 | -1 | 6.1133 | 6.0689 | 0.091111 | 1.025 | 1.05 | 81624.7166 | -1 | -1
|  | 35 | 3 | 28 | 7 | 4 | 0 | 0 | 0 | 6.1114 | 0 | BB | 422.3721 | 136.7942 | 0.048023 | 0.90452 | 0 |  | -1 | -1 | 3 | -1 | 900 | 939 | 6 | 6.2062 | 0.0066667 | 50 | -1 | 6.0647 | 0.10533 | 88.8293 | 6.0653 | 0.10267 | 89.6253 | 6.0719 | 0.080957 | 255.217 | 82.2054 | 248.4289 | 83.7428 | 6.0901 | 161.9503 | 6.1298 | 175.4286 | 6.0867 | 0.050667 | 149.331 | 0.020608 | 0.27823 | 0.16335 | 422.4384 | 6.1132 | 0.00042468 | 2.435e-06 | 5.7052e-07 | 1.0694 | 91235.4725 | 84210.1626 | 80653.1347 | 87999.7931 | 38.3461 | 39.1008 | 38.1944 | 38.3569 | -1 | -1 | -1 | -1 | 37.8807 | 2.9372 | -1 | -1 | -1 | 6.1133 | 6.0693 | 0.090667 | 1.0303 | 1.0606 | 82048.5672 | -1 | -1
|  | 29 | 1 | 22 | 7 | 3 | 0 | 0 | 0 | 6.1116 | 0 | VB R | 2081.3352 | 641.7733 | 0.049836 | 0.98346 | 0 |  | -1 | -1 | 1 | -1 | 817 | 1000 | 5.4467 | 6.66 | 0.0066667 | 194 | -1 | 6.0622 | 0.10889 | 83.7152 | 6.0622 | 0.10667 | 87.4541 | 6.0714 | 0.08287 | 848.6932 | 57.0895 | 821.5695 | 55.5207 | 6.0892 | 407.5635 | 6.1333 | 432.926 | 6.0867 | 0.051111 | 367.8713 | 0.089532 | -2.638 | 24.8678 | 2157.5849 | 6.11 | 0.008016 | -0.0018932 | 0.0017907 | 1.0435 | 87072.1206 | 78800.5102 | 79256.57 | 4657.1698 | -1 | 7.2729 | 7.0594 | 7.0895 | -1 | -1 | -1 | -1 | -1 | 1.1117 | 44.3004 | -1 | 44.3004 | 6.1133 | 6.0689 | 0.091111 | 1.025 | 1.05 | 81624.7166 | -1 | -1
|  | 37 | 1 | 30 | 8 | 3 | 0 | 0 | 0 | 6.7382 | 0 | BB | 1649.6024 | 526.0051 | 0.050588 | 0.99564 | 0 |  | -1 | -1 | 1 | -1 | 999 | 1028 | 6.6629 | 6.8467 | 0.0066667 | 40 | -1 | 6.6856 | 0.10256 | 67.483 | 6.6862 | 0.10154 | 70.5547 | 6.696 | 0.083618 | 680.2569 | 45.5254 | 709.4414 | 44.4458 | 6.7158 | 342.7634 | 6.7642 | 291.3656 | 6.7118 | 0.052308 | 300.9272 | 0.020517 | 0.038823 | -0.0060824 | 1649.837 | 6.7409 | 0.00042093 | 3.3528e-07 | 5.3047e-07 | 0.94286 | 103954.7175 | 107961.5306 | 91981.0657 | 107949.6798 | 7.5264 | 7.4074 | 7.1183 | 7.1486 | -1 | -1 | -1 | -1 | 2.8664 | 1.1025 | -1 | -1 | -1 | 6.74 | 6.6918 | 0.090769 | 0.94149 | 0.88298 | 96502.8497 | -1 | -1
|  | 38 | 2 | 31 | 8 | 4 | 0 | 0 | 0 | 6.7382 | 0 | BB | 1057.4854 | 337.735 | 0.05053 | 0.99862 | 0 |  | -1 | -1 | 2 | -1 | 996 | 1034 | 6.66 | 6.8346 | 0.0066667 | 49 | -1 | 6.686 | 0.10267 | 120.7977 | 6.6867 | 0.10133 | 122.7701 | 6.6962 | 0.083394 | 514.8659 | 105.6641 | 532.032 | 106.9372 | 6.7165 | 303.7053 | 6.7633 | 274.2568 | 6.712 | 0.052 | 270.7003 | 0.020438 | 0.026032 | -0.054431 | 1057.4063 | 6.738 | 0.0004177 | 2.2223e-07 | 5.1391e-07 | 0.95 | 104513.7416 | 107745.931 | 93072.8195 | 108693.3547 | 7.5904 | 7.5291 | 7.0698 | 7.0999 | -1 | -1 | -1 | -1 | 7.2546 | 1.1026 | -1 | -1 | -1 | 6.74 | 6.692 | 0.090667 | 0.94444 | 0.88889 | 97027.9678 | -1 | -1
|  | 6 | 8 | 32 | 8 | 4 | 0 | 0 | 0 | 6.7383 | 0 | BB | 101.6126 | 32.3843 | 0.050607 | 0.99708 | 0 |  | -1 | -1 | 8 | -1 | 996 | 1035 | 6.66 | 6.8458 | 0.0066667 | 50 | -1 | 6.686 | 0.10267 | 10.0361 | 6.6867 | 0.10133 | 10.2252 | 6.6962 | 0.083547 | 47.8007 | 8.6272 | 49.5793 | 8.6684 | 6.7165 | 27.5235 | 6.7635 | 24.7122 | 6.712 | 0.052667 | 24.4132 | 0.020585 | 0.051402 | 0.042929 | 101.6159 | 6.7381 | 0.00042373 | 4.4834e-07 | 5.4634e-07 | 0.95 | 104130.7553 | 107745.931 | 90731.4587 | 107150.3227 | 86.0042 | 58.3971 | 78.1838 | 78.5165 | -1 | -1 | -1 | -1 | 68.977 | 20.6764 | -1 | -1 | -1 | 6.74 | 6.692 | 0.090667 | 0.94444 | 0.88889 | 97027.9678 | -1 | -1
|  | 3 | 5 | 33 | 8 | 4 | 0 | 0 | 0 | 6.7383 | 0 | BB | 326.7091 | 104.2928 | 0.050547 | 0.99844 | 0 |  | -1 | -1 | 5 | -1 | 996 | 1034 | 6.66 | 6.8386 | 0.0066667 | 49 | -1 | 6.686 | 0.10333 | 29.46 | 6.6873 | 0.10067 | 30.0692 | 6.6963 | 0.083379 | 151.1259 | 24.7682 | 156.4487 | 25.1956 | 6.7165 | 85.6059 | 6.7633 | 77.1402 | 6.712 | 0.052667 | 75.7598 | 0.020516 | 0.042318 | 0.0078759 | 326.7523 | 6.7381 | 0.0004209 | 3.6542e-07 | 5.3286e-07 | 0.9557 | 104551.4844 | 106360.1457 | 90731.4587 | 107870.379 | 7.5117 | 7.4479 | 7.0453 | 7.0753 | -1 | -1 | -1 | -1 | 7.6077 | 1.1034 | -1 | -1 | -1 | 6.74 | 6.6927 | 0.09 | 0.9507 | 0.90141 | 99122.8672 | -1 | -1
|  | 4 | 6 | 34 | 8 | 4 | 0 | 0 | 0 | 6.7383 | 0 | BB | 426.3445 | 135.9289 | 0.050593 | 0.99574 | 0 |  | -1 | -1 | 6 | -1 | 996 | 1035 | 6.6533 | 6.8633 | 0.0066667 | 50 | -1 | 6.686 | 0.10267 | 20.7117 | 6.6867 | 0.10133 | 21.5058 | 6.6963 | 0.083482 | 179.2275 | 14.842 | 186.7425 | 14.9309 | 6.7165 | 93.9494 | 6.7635 | 82.3525 | 6.712 | 0.052667 | 81.0605 | 0.020618 | 0.069121 | 0.11639 | 426.3222 | 6.7382 | 0.00042508 | 6.058e-07 | 5.6312e-07 | 0.95 | 104293.8915 | 107745.931 | 90731.4587 | 106810.1358 | 7.5075 | 7.5874 | 7.0868 | 7.1169 | -1 | -1 | -1 | -1 | 7.5785 | 1.1034 | -1 | -1 | -1 | 6.74 | 6.692 | 0.090667 | 0.94444 | 0.88889 | 97027.9678 | -1 | -1
|  | 5 | 7 | 35 | 8 | 4 | 0 | 0 | 0 | 6.7383 | 0 | BB | 331.6702 | 105.6907 | 0.050611 | 0.99518 | 0 |  | -1 | -1 | 7 | -1 | 996 | 1035 | 6.6533 | 6.8647 | 0.0066667 | 50 | -1 | 6.686 | 0.10267 | 10.4204 | 6.6867 | 0.10133 | 11.0378 | 6.6962 | 0.083508 | 133.6656 | 5.8669 | 139.5009 | 5.916 | 6.7165 | 67.3872 | 6.7635 | 58.3647 | 6.712 | 0.052667 | 57.3446 | 0.020654 | 0.077375 | 0.14448 | 331.6786 | 6.7382 | 0.00042659 | 6.8172e-07 | 5.7222e-07 | 0.95 | 104228.3232 | 107745.931 | 90731.4587 | 106434.7618 | 7.5447 | 7.5601 | 7.0571 | 7.0872 | -1 | -1 | -1 | -1 | 7.5562 | 1.103 | -1 | -1 | -1 | 6.74 | 6.692 | 0.090667 | 0.94444 | 0.88889 | 97027.9678 | -1 | -1
|  | 39 | 3 | 36 | 8 | 4 | 0 | 0 | 0 | 6.7383 | 0 | BB | 515.8371 | 165.051 | 0.050462 | 1.0053 | 0 |  | -1 | -1 | 3 | -1 | 996 | 1034 | 6.6667 | 6.8212 | 0.0066667 | 49 | -1 | 6.6873 | 0.10267 | 101.5352 | 6.688 | 0.10067 | 102.4991 | 6.6962 | 0.083323 | 294.3571 | 93.2572 | 302.2514 | 95.5579 | 6.7165 | 190.1487 | 6.7633 | 177.1223 | 6.712 | 0.052667 | 174.7986 | 0.02031 | -0.0020957 | -0.13546 | 515.7059 | 6.738 | 0.0004125 | -1.7558e-08 | 4.8741e-07 | 0.96795 | 104691.053 | 107745.931 | 90731.4587 | 110063.1715 | 7.6327 | 7.5355 | 7.1291 | 7.1594 | -1 | -1 | -1 | -1 | 7.6343 | 1.1026 | -1 | -1 | -1 | 6.74 | 6.6927 | 0.090667 | 0.95775 | 0.91549 | 98382.217 | -1 | -1
|  | 1 | 4 | 29 | 8 | 4 | 0 | 0 | 0 | 6.7384 | 0 | BB | 325.2499 | 104.0669 | 0.050463 | 1.0049 | 0 |  | -1 | -1 | 4 | -1 | 996 | 1034 | 6.6667 | 6.8219 | 0.0066667 | 49 | -1 | 6.6873 | 0.10267 | 61.3993 | 6.688 | 0.10067 | 62.0071 | 6.6963 | 0.083308 | 182.9706 | 56.1948 | 187.9624 | 57.6175 | 6.7165 | 117.1689 | 6.7633 | 109.133 | 6.7127 | 0.052 | 107.5958 | 0.020314 | -0.001594 | -0.13285 | 325.1137 | 6.738 | 0.00041265 | -1.3362e-08 | 4.8823e-07 | 0.96795 | 104729.2573 | 107745.931 | 93072.8195 | 110022.1556 | 7.6182 | 7.5153 | 7.1223 | 7.1526 | -1 | -1 | -1 | -1 | 7.6476 | 1.1027 | -1 | -1 | -1 | 6.74 | 6.6927 | 0.090667 | 0.95775 | 0.91549 | 98382.217 | -1 | -1
|  | 8 | 1 | 38 | 9 | 3 | 0 | 0 | 0 | 7.1483 | 0 | BB | 86.2722 | 19.2419 | 0.064308 | 1.6094 | 0 |  | -1 | -1 | 1 | -1 | 1032 | 1102 | 6.88 | 7.3267 | 0.0066667 | 81 | -1 | 6.9689 | 0.24444 | 43.9497 | 6.9933 | 0.21667 | 44.0618 | 7.1057 | 0.08448 | 66.3657 | 43.1746 | 66.475 | 43.0771 | 7.1283 | 55.4707 | 7.1692 | 54.7788 | 7.1211 | 0.053333 | 52.4721 | 0.052235 | -0.98269 | 2.0607 | 86.2722 | 7.1275 | 0.0027284 | -0.00014005 | 3.7674e-05 | 0.70652 | 114504.7786 | 21369.124 | 99476.24 | 18619.2627 | 4.88 | 2.955 | 4.562 | 4.5814 | -1 | -1 | -1 | -1 | 2.6575 | 1.0609 | -1 | -1 | -1 | 7.1467 | 7.0389 | 0.15889 | 0.73711 | 0.47423 | 25118.0199 | -1 | -1
|  | 7 | 2 | 39 | 9 | 4 | 0 | 0 | 0 | 7.1488 | 0 | BB | 32.7663 | 11.8485 | 0.044263 | 0.91934 | 0 |  | -1 | -1 | 2 | -1 | 1059 | 1093 | 7.1 | 7.2133 | 0.0066667 | 45 | -1 | 7.1042 | 0.089697 | 115.8361 | 7.1055 | 0.087879 | 115.9046 | 7.1129 | 0.074033 | 130.2936 | 115.5183 | 130.0409 | 115.114 | 7.1304 | 122.7092 | 7.1705 | 121.5505 | 7.1255 | 0.047273 | 121.0414 | 0.017501 | 0.17637 | -0.2977 | 32.7663 | 7.1503 | 0.00030629 | 9.4542e-07 | 2.5352e-07 | 1.0662 | 149100.3403 | 158705.3324 | 126618.0149 | 166920.5125 | 5.2157 | 5.3355 | 4.8592 | 4.8799 | -1 | -1 | -1 | -1 | 5.4332 | 1.0609 | -1 | -1 | -1 | 7.1467 | 7.1097 | 0.079394 | 1.0738 | 1.1475 | 140929.6473 | -1 | -1
|  | 2 | 3 | 37 | 9 | 4 | 0 | 0 | 0 | 7.1493 | 0 | BB | 12.1937 | 4.6193 | 0.042797 | 0.97542 | 0 |  | -1 | -1 | 3 | -1 | 1060 | 1093 | 7.1067 | 7.2034 | 0.0066667 | 44 | -1 | 7.1111 | 0.09232 | 106.1841 | 7.1117 | 0.091765 | 106.2108 | 7.1143 | 0.071253 | 111.9854 | 105.8404 | 111.6845 | 106.1672 | 7.1305 | 108.675 | 7.1706 | 108.4443 | 7.1272 | 0.046111 | 108.2075 | 0.016437 | 0.1451 | -0.41917 | 12.2381 | 7.1501 | 0.00027018 | 6.444e-07 | 1.8839e-07 | 1.3109 | 160963.1894 | 149813.4519 | 133077.8092 | 189221.8043 | 5.3177 | 5.2695 | 4.8889 | 4.9097 | -1 | -1 | -1 | -1 | 5.6072 | 1.061 | -1 | -1 | -1 | 7.1467 | 7.1139 | 0.078333 | 1.1949 | 1.3898 | 131484.2849 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 10:10:27
ResNewDateTime | 03 September 2019 10:10:27
ResModBy | SYSTEM
ResModTime | 09/03/19 10:10:28
ResModDateTime | 03 September 2019 10:10:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10014.659

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10014.659

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6395.3588

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2042.8646

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 789.0651

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 487.209

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 498.9946

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 397.5165

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 137.7868

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10014.659

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6395.3588

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2042.8646

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 789.0651

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 487.209

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 498.9946

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 397.5165

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 137.7868

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 9 | 0 | 8 | 0.343 | 1499.4343 | 169.3662 | 0.12129 | 1.5583 | -12.1944 | 0.0066667 | 0 | 46.9732 | 0.52 | -7.1054e-15 | -43.3321 | 1 | -175.9195 | 48.146 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4641 | 1195.6393 | 50.5946 | 0.2877 | 4.2625 | 9.4821 | 0.80667 | 0 | -44.5542 | 1.6067 | 1.4211e-14 | 21.1978 | 1 | 82.19 | -110.8542 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0805 | 651.2877 | 138.2897 | 0.074945 | 0.574 | 42.8626 | 2.0133 | 0 | 52.68 | 2.2267 | 0 | 21.502 | 1 | -146.1469 | 346.9224 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 2.6122 | 2539.0894 | 99.7227 | 0.35705 | 0.51843 | 33.2458 | 2.2867 | 0 | 18.2862 | 3.2032 | -7.1054e-15 | 60.4029 | 1 | 45.9513 | -86.7891 | 0 | 0 | 0
DateTime |  | 0 | 8 | 4.225 | 235.7488 | 20.5297 | 0.17997 | 0.79726 | 74.8392 | 4.0333 | 1.4211e-14 | 79.6905 | 4.46 | 1.4211e-14 | 68.8934 | 1 | -25.3055 | 181.7561 | 0 | 0 | 0
IntegStart | 0 | 2 | 31 | 5.4975 | 76.2497 | 5.9672 | 0.16108 | 0.11739 | 67.955 | 5.4467 | 7.1319e-08 | 68.9168 | 6.06 | 8.6661e-08 | 71.7931 | 2 | -18.9303 | 172.0238 | 38.094 | -145.022 | 6.0667
IntegEnd | 0 | 32 | 20 | 6.1116 | 2081.3352 | 641.7733 | 0.049836 | 0.98346 | 56.3289 | 5.4467 | 0 | 68.9168 | 6.66 | 0 | 45.948 | 1 | -18.9303 | 172.0238 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.7382 | 1649.6024 | 526.0051 | 0.050588 | 0.99564 | 44.9815 | 6.6629 | 7.1054e-15 | 45.9534 | 6.8467 | 1.4211e-14 | 43.5805 | 1 | -12.911 | 131.9776 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 7.1483 | 86.2722 | 19.2419 | 0.064308 | 1.6094 | 43.1255 | 6.88 | 0 | 43.4351 | 7.3267 | 0 | 42.9196 | 1 | -1.154 | 51.3747 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 8 | 0 | 8 | 0.33538 | 1512.2783 | 145.1615 | 0.13554 | 1.9847 | 45.0863 | 0.0066667 | 0 | 125.7448 | 0.50667 | -1.4211e-14 | 3.057 | 1 | -245.3756 | 127.3807 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4641 | 741.4257 | 34.4872 | 0.26282 | 3.7921 | 18.7865 | 0.84 | 0 | -11.8589 | 1.6067 | -7.1054e-15 | 25.7893 | 1 | 49.1063 | -53.1083 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0805 | 439.9998 | 93.2106 | 0.075072 | 0.57196 | 40.6085 | 2.0133 | 0 | 47.6537 | 2.2333 | 0 | 24.5748 | 1 | -104.9042 | 258.8607 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 2.6155 | 1768.119 | 69.0392 | 0.35879 | 0.51713 | 36.0484 | 2.2933 | 0 | 23.0756 | 3.2005 | -7.1054e-15 | 59.602 | 1 | 40.2653 | -69.2662 | 0 | 0 | 0
DateTime |  | 0 | 8 | 4.2374 | 217.6828 | 16.6523 | 0.19851 | 1.0998 | 82.5719 | 3.7867 | 0 | 80.4572 | 4.4728 | 0 | 83.6766 | 1 | 4.6921 | 62.6898 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.1112 | 625.6014 | 200.4185 | 0.048417 | 0.90751 | 103.8267 | 5.8333 | 0 | 101.1844 | 6.2233 | 0 | 104.8937 | 1 | 9.5111 | 45.7031 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7382 | 1057.4854 | 337.735 | 0.05053 | 0.99862 | 106.3065 | 6.66 | 0 | 105.1121 | 6.8346 | 0 | 107.7783 | 1 | 15.2662 | 3.439 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 7.1488 | 32.7663 | 11.8485 | 0.044263 | 0.91934 | 115.3223 | 7.1 | 0 | 115.5887 | 7.2133 | 0 | 114.9697 | 1 | -5.4612 | 154.3631 | 0 | 0 | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32111 | 778.7994 | 84.0124 | 0.12215 | 1.7129 | 62.4315 | 0.08 | 0 | 119.1154 | 0.48667 | 1.4211e-14 | 23.5114 | 1 | -235.0917 | 137.9227 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.464 | 79.6661 | 10.4438 | 0.10099 | 0.57927 | 20.7871 | 1.3133 | 0 | 22.3246 | 1.6118 | -3.5527e-15 | 19.2792 | 1 | -10.2034 | 35.725 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0807 | 233.9962 | 49.7214 | 0.072905 | 0.56998 | 25.64 | 2.0133 | 0 | 28.7743 | 2.2333 | 0 | 18.5328 | 1 | -46.5523 | 122.4996 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.1114 | 422.3721 | 136.7942 | 0.048023 | 0.90452 | 82.9545 | 6 | 0 | 80.8392 | 6.2062 | 0 | 84.755 | 1 | 18.99 | -33.1011 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.7383 | 515.8371 | 165.051 | 0.050462 | 1.0053 | 94.4202 | 6.6667 | 0 | 92.4411 | 6.8212 | -1.4211e-14 | 96.7091 | 1 | 27.6109 | -91.6314 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 7.1493 | 12.1937 | 4.6193 | 0.042797 | 0.97542 | 106.0012 | 7.1067 | 0 | 105.8054 | 7.2034 | -1.4211e-14 | 106.2493 | 1 | 4.5876 | 73.2026 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31819 | 174.2645 | 33.2938 | 0.073065 | 1.3208 | 51.9467 | 0.19333 | 0 | 72.2747 | 0.44 | -1.4211e-14 | 32.115 | 1 | -162.8096 | 103.7512 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.081 | 127.0414 | 27.1431 | 0.072605 | 0.57996 | 24.2121 | 2.0067 | 3.5527e-15 | 25.126 | 2.24 | 3.5527e-15 | 22.2573 | 1 | -12.2942 | 49.7964 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1109 | 162.5092 | 52.4271 | 0.048163 | 0.90496 | 49.286 | 6.04 | 0 | 48.4824 | 6.2001 | 7.1054e-15 | 50.2967 | 1 | 11.3322 | -19.9642 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.7384 | 325.2499 | 104.0669 | 0.050463 | 1.0049 | 56.914 | 6.6667 | 0 | 55.6893 | 6.8219 | 0 | 58.3411 | 1 | 17.078 | -58.164 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32151 | 59.6872 | 17.3683 | 0.054093 | 1.2707 | 24.625 | 0.21333 | 0 | 30.2658 | 0.40667 | 0 | 20.185 | 1 | -52.1421 | 41.3895 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0812 | 67.2794 | 13.6095 | 0.075675 | 0.6408 | 17.2253 | 1.84 | 0 | 17.5667 | 2.2867 | 0 | 16.9344 | 1 | -1.4156 | 20.1713 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1068 | 33.5332 | 10.6243 | 0.050823 | 0.88199 | 22.9151 | 6.04 | 0 | 22.7261 | 6.1929 | 0 | 23.1591 | 1 | 2.8315 | 5.6237 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.7383 | 326.7091 | 104.2928 | 0.050547 | 0.99844 | 24.9839 | 6.66 | 0 | 24.5824 | 6.8386 | 0 | 25.4979 | 1 | 5.1258 | -9.5552 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32459 | 40.7566 | 13.7698 | 0.046532 | 1.1179 | 15.0783 | 0.2 | 0 | 16.4871 | 0.40667 | 0 | 14.1501 | 1 | -11.308 | 18.7487 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1071 | 31.8934 | 10.0945 | 0.05086 | 0.87981 | 14.831 | 6.04 | 0 | 14.8153 | 6.1986 | 0 | 14.8525 | 1 | 0.23417 | 13.401 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.7383 | 426.3445 | 135.9289 | 0.050593 | 0.99574 | 14.8868 | 6.6533 | 0 | 14.7963 | 6.8633 | 0 | 15.0199 | 1 | 1.0649 | 7.7109 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32536 | 36.0097 | 12.5183 | 0.04556 | 1.0991 | 6.186 | 0.2 | 0 | 7.0157 | 0.41333 | 0 | 5.6038 | 1 | -6.6184 | 8.3394 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.109 | 29.8366 | 9.4726 | 0.048748 | 0.88736 | 6.0932 | 6.0267 | 0 | 6.1007 | 6.2 | 0 | 6.0849 | 1 | -0.090782 | 6.6478 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.7383 | 331.6702 | 105.6907 | 0.050611 | 0.99518 | 5.8917 | 6.6533 | 0 | 5.8417 | 6.8647 | 0 | 5.9659 | 1 | 0.58732 | 1.9341 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32589 | 36.1742 | 12.4178 | 0.045986 | 1.1338 | 9.0091 | 0.19333 | 0 | 9.7771 | 0.41333 | 0 | 8.5025 | 1 | -5.7936 | 10.8972 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.7383 | 101.6126 | 32.3843 | 0.050607 | 0.99708 | 8.648 | 6.66 | 0 | 8.6093 | 6.8458 | 0 | 8.701 | 1 | 0.49362 | 5.3218 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2