## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567447852
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 56
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 56
Vial | 56
SampleLocation | 56
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 19:10:52
SampleName | CS-135_0056
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 9.0589
DAD1UVBurnTime | 155.7256
DAD1VisOnTime | 9.0583
DAD1VisBurnTime | 141.2367
StartPressure | 25.838
StopPressure | 62.341
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.997
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 10 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 16 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 28 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 31 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 39 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 10147.7887 | 1681.2618 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 6440.579 | 902.5632 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 3 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 2534.6554 | 458.6661 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 792.354 | 207.1525 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 2 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 440.3528 | 128.9515 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 511.159 | 155.4038 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 406.8401 | 124.812 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0056.D | 140.1858 | 44.4206 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 40 | 14 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32273 | 0 | BB | 170.1187 | 33.8569 | 0.070621 | 1.1983 | 0 |  | -1 | -1 | 4 | -1 | 27 | 81 | 0.20667 | 0.44 | 0.0066667 | 65 | -1 | 0.20667 | 0.16417 | 49.8702 | 0.20667 | 0.16333 | 50.0713 | 0.27395 | 0.099289 | 85.5687 | 57.5636 | 97.3307 | 40.2954 | 0.30991 | 78.2098 | 0.35049 | 65.9879 | 0.20667 | 0.145 | 65.1515 | 0.039044 | -0.22332 | -0.15339 | 170.1187 | 0.3157 | 0.0015245 | -1.3292e-05 | 6.6155e-06 | 0.68056 | 173.1902 | 98.9873 | 28.1179 | 65.3789 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.20667 | 0.16083 | 0.67014 | 0.34028 | 41.0683 | -1 | -1
NumberOfCol | 81 | 26 | 5 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32646 | 0 | BB | 70.339 | 18.4323 | 0.056521 | 1.4869 | 0 |  | -1 | -1 | 5 | -1 | 29 | 75 | 0.19333 | 0.42 | 0.0066667 | 57 | -1 | 0.19333 | 0.17333 | 21.526 | 0.19333 | 0.17259 | 21.6336 | 0.29076 | 0.073927 | 42.5593 | 22.4204 | 48.4594 | 18.9545 | 0.31025 | 33.4117 | 0.35029 | 30.0648 | 0.29852 | 0.052593 | 29.7032 | 0.035534 | -0.84612 | 0.43859 | 70.339 | 0.31308 | 0.0012626 | -3.7962e-05 | 5.482e-06 | 0.64722 | 312.4124 | 88.7944 | 213.7323 | 77.6281 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.19333 | 0.17037 | 0.63889 | 0.27778 | 31.6094 | -1 | -1
NumberOfHead | 9 | 9 | 3 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32665 | 0 | BB | 876.8299 | 89.8664 | 0.12783 | 1.8528 | 0 |  | -1 | -1 | 3 | -1 | 9 | 108 | 0.06 | 0.48667 | 0.0066667 | 110 | -1 | 0.06 | 0.34833 | 60.582 | 0.06 | 0.34833 | 61.1178 | 0.2379 | 0.17021 | 151.5759 | 76.6245 | 166.7413 | 38.3295 | 0.31054 | 137.9659 | 0.35517 | 121.779 | 0.06 | 0.31167 | 101.3037 | 0.078805 | -0.47926 | -0.35769 | 876.8299 | 0.28759 | 0.0062102 | -0.00023455 | 0.00010191 | 0.65312 | 58.9351 | 21.9867 | 6.0861 | 13.3179 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.06 | 0.34333 | 0.64375 | 0.2875 | 7.9838 | -1 | -1
Modified | 1 | 24 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32925 | 0 | BB | 40.2132 | 14.1121 | 0.045245 | 1.1251 | 0 |  | -1 | -1 | 6 | -1 | 32 | 71 | 0.21333 | 0.40667 | 0.0066667 | 50 | -1 | 0.21333 | 0.15467 | 12.4323 | 0.21333 | 0.15467 | 12.5157 | 0.29808 | 0.065393 | 30.0138 | 12.2477 | 33.1673 | 11.4557 | 0.30978 | 18.9173 | 0.34977 | 20.147 | 0.308 | 0.044 | 18.7712 | 0.024246 | -1.3377 | 2.4866 | 40.2132 | 0.32465 | 0.00058788 | -1.9067e-05 | 1.8962e-06 | 0.64444 | 415.736 | 116.1192 | 317.9522 | 179.2875 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.21333 | 0.152 | 0.63333 | 0.26667 | 40.1085 | -1 | -1
NextPeakSignal_ | Peak | 25 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32963 | 0 | BB | 35.442 | 12.7751 | 0.044367 | 1.0768 | 0 |  | -1 | -1 | 7 | -1 | 32 | 70 | 0.21333 | 0.41333 | 0.0066667 | 49 | -1 | 0.21333 | 0.15533 | 3.3575 | 0.21333 | 0.15533 | 3.4331 | 0.29871 | 0.065095 | 19.3931 | 3.045 | 22.1294 | 2.589 | 0.30987 | 8.944 | 0.35002 | 10.472 | 0.30933 | 0.043333 | 9.1092 | 0.022948 | -1.356 | 2.9557 | 35.442 | 0.32616 | 0.00052662 | -1.6387e-05 | 1.6517e-06 | 0.64722 | 419.5441 | 115.1246 | 327.8107 | 202.0013 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.284 | 0.082 | 0.83108 | 0.66216 | 249.646 | -1 | -1
Signal_ | Signal | 33 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32993 | 0 | BB | 35.0706 | 12.5983 | 0.044477 | 1.0722 | 0 |  | -1 | -1 | 8 | -1 | 32 | 71 | 0.21333 | 0.41333 | 0.0066667 | 50 | -1 | 0.21333 | 0.156 | 6.6939 | 0.21333 | 0.156 | 6.7686 | 0.29877 | 0.065254 | 22.4775 | 6.3687 | 24.9645 | 5.9477 | 0.30977 | 12.0546 | 0.34976 | 13.9034 | 0.30933 | 0.044 | 12.3751 | 0.022928 | -1.3326 | 2.9608 | 35.0706 | 0.32661 | 0.00052569 | -1.6061e-05 | 1.6473e-06 | 0.65 | 417.503 | 114.1427 | 317.9522 | 202.9211 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.286 | 0.080667 | 0.85211 | 0.70423 | 266.6822 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.34107 | 0 | BB | 1569.1564 | 153.2968 | 0.13942 | 1.9842 | 0 |  | -1 | -1 | 2 | -1 | 1 | 115 | 0.0066667 | 0.51333 | 0.0066667 | 120 | -1 | 0.033333 | 0.39833 | 46.9935 | 0.033333 | 0.39833 | 47.9045 | 0.25093 | 0.18358 | 208.6874 | 62.1264 | 214.83 | 17.164 | 0.31546 | 167.0346 | 0.3817 | 128.8933 | 0.033333 | 0.355 | 116.2355 | 0.09287 | -0.65363 | -0.18445 | 1569.1564 | 0.29007 | 0.0086249 | -0.00052355 | 0.00020945 | 0.64946 | 54.8814 | 18.214 | 5.0817 | 9.7558 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34 | 0.033333 | 0.39167 | 0.63859 | 0.27717 | 6.4687 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34841 | 0 | BB | 1550.7325 | 179.8707 | 0.11858 | 1.5624 | 0 |  | -1 | -1 | 1 | -1 | 1 | 107 | 0.0066667 | 0.52667 | 0.0066667 | 112 | -1 | 0.033333 | 0.41333 | -9.182 | 0.033333 | 0.41333 | -8.1204 | 0.2762 | 0.1626 | 185.4858 | -4.7234 | 185.3187 | -32.9722 | 0.3207 | 112.483 | 0.38332 | 101.0161 | 0.3 | 0.095 | 71.4955 | 0.089856 | -0.8784 | 0.35993 | 1550.7325 | 0.31095 | 0.0080741 | -0.00063729 | 0.00021904 | 0.65957 | 72.7325 | 17.5858 | 73.7712 | 11.975 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34667 | 0.033333 | 0.405 | 0.64628 | 0.29255 | 6.5449 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4619 | 0 | BB | 88.1481 | 10.9018 | 0.10833 | 0.68413 | 0 |  | -1 | -1 | 3 | -1 | 187 | 269 | 1.2867 | 1.6067 | 0.0066667 | 93 | -1 | 1.2867 | 0.30533 | 17.6718 | 1.2867 | 0.30533 | 17.736 | 1.4039 | 0.19661 | 29.7988 | 17.7474 | 43.6478 | 15.8349 | 1.439 | 25.0478 | 1.5848 | 18.9858 | 1.4227 | 0.132 | 22.5472 | 0.063968 | -0.32072 | -0.36245 | 88.1481 | 1.4751 | 0.004092 | -8.395e-05 | 4.4164e-05 | 0.88077 | 882.3238 | 571.6065 | 677.747 | 531.7659 | 6.19 | 4.342 | 3.0067 | 3.0195 | -1 | -1 | -1 | -1 | 4.1588 | 4.4755 | -1 | -1 | -1 | 1.46 | 1.2867 | 0.30267 | 0.87308 | 0.74615 | 374.6089 | -1 | -1
|  | 13 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.462 | 0 | BV | 1139.3282 | 48.484 | 0.28816 | 3.0741 | 0 |  | -1 | -1 | 2 | -1 | 123 | 242 | 0.82 | 1.6052 | 0.0066667 | 130 | -1 | 1.0133 | 0.59191 | 3.4157 | 1.0167 | 0.58858 | 3.7043 | 1.3439 | 0.28737 | 53.705 | -1.9911 | 82.3501 | 6.1502 | 1.439 | 42.8733 | 1.5807 | 28.9053 | 1.235 | 0.355 | 25.3497 | 0.16828 | -0.27992 | -0.93157 | 758.4182 | 1.3008 | 0.028317 | -0.0013338 | 0.0016586 | 0.66381 | 413.0063 | 152.0997 | 93.7041 | 59.7564 | 4.7602 | 2.8299 | 1.855 | 1.8629 | -1 | -1 | -1 | -1 | 1.9352 | 4.2864 | -1 | 2.9676 | 2.9676 | 1.46 | 1.0333 | 0.57191 | 0.67021 | 0.34042 | 64.8969 | -1 | -1
|  | 12 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.462 | 0 | BV | 1822.1377 | 72.0708 | 0.30896 | 3.3684 | 0 |  | -1 | -1 | 1 | -1 | 118 | 242 | 0.78667 | 1.6042 | 0.0066667 | 135 | -1 | 1.0133 | 0.5909 | -12.1506 | 1.015 | 0.58924 | -11.7213 | 1.3345 | 0.29744 | 62.2887 | -21.7704 | 103.7544 | -6.4272 | 1.4391 | 47.1863 | 1.5798 | 27.4398 | 1.225 | 0.36667 | 20.4796 | 0.17386 | -0.24149 | -0.94234 | 1213.6915 | 1.2854 | 0.030227 | -0.0012691 | 0.0018801 | 0.66206 | 385.4939 | 152.6206 | 87.836 | 54.6626 | 4.8414 | 2.7723 | 2.8343 | 2.8464 | -1 | -1 | -1 | -1 | 1.8476 | 4.1963 | -1 | 2.8689 | 2.8689 | 1.46 | 1.0317 | 0.57257 | 0.66837 | 0.33674 | 64.2551 | -1 | -1
|  | 16 | 1 | 13 | 3 | 3 | 0 | 0 | 0 | 1.6737 | 0 | VB | 428.4457 | 39.3374 | 0.18107 | 0.46825 | 0 |  | -1 | -1 | 1 | -1 | 241 | 288 | 1.6042 | 1.9118 | 0.0066667 | 58 | -1 | 1.6042 | 0.30759 | -2.5618 | 1.6042 | 0.30759 | -2.3255 | 1.5556 | 0.32601 | 48.2955 | -10.3673 | 43.6284 | 6.4495 | 1.6236 | 23.4231 | 1.8034 | 20.4306 | 1.6042 | 0.22762 | 15.3965 | 0.058053 | 0.35183 | -0.66652 | 196.6624 | 1.7175 | 0.0033702 | 6.8835e-05 | 2.6504e-05 | 2.2258 | 421.5251 | 739.8614 | 299.4136 | 875.314 | 0.67903 | 0.58896 | 0.41851 | 0.42029 | -1 | -1 | -1 | -1 | 0.93164 | 1.1448 | 1.5659 | -1 | 1.5659 | 1.6733 | 1.6042 | 0.30759 | 2.2258 | 3.4516 | 262.4811 | -1 | -1
|  | 17 | 2 | 12 | 3 | 4 | 0 | 0 | 0 | 1.674 | 0 | VB | 288.4981 | 26.6036 | 0.18052 | 0.45696 | 0 |  | -1 | -1 | 2 | -1 | 241 | 288 | 1.6052 | 1.9131 | 0.0066667 | 58 | -1 | 1.6052 | 0.30781 | 8.5152 | 1.6052 | 0.30781 | 8.675 | 1.5605 | 0.32088 | 42.9143 | 4.146 | 40.1415 | 13.2369 | 1.6237 | 25.7315 | 1.8035 | 23.3406 | 1.6052 | 0.2192 | 20.6623 | 0.057915 | 0.3447 | -0.6737 | 138.1637 | 1.7193 | 0.0033542 | 6.6962e-05 | 2.6172e-05 | 2.2604 | 435.0983 | 738.8228 | 322.8533 | 881.2612 | 0.69707 | 0.58906 | 0.43382 | 0.43566 | -1 | -1 | -1 | -1 | 0.92502 | 1.145 | 1.6283 | -1 | 1.6283 | 1.6733 | 1.6052 | 0.30781 | 2.2604 | 3.5209 | 258.307 | -1 | -1
|  | 30 | 4 | 15 | 4 | 4 | 0 | 0 | 0 | 2.1024 | 0 | BB | 123.4148 | 19.8316 | 0.096603 | 0.47353 | 0 |  | -1 | -1 | 4 | -1 | 286 | 360 | 1.9733 | 2.277 | 0.0066667 | 85 | -1 | 2.0456 | 0.23149 | 19.816 | 2.0456 | 0.23149 | 19.934 | 2.0487 | 0.17453 | 45.3433 | 18.3598 | 40.4584 | 20.1364 | 2.0702 | 29.1525 | 2.1471 | 32.9379 | 2.0689 | 0.10444 | 28.7886 | 0.042895 | 0.52199 | -0.16063 | 123.6963 | 2.1266 | 0.00184 | 4.1198e-05 | 9.6125e-06 | 1.894 | 2331.136 | 2070.4244 | 2253.8797 | 2457.8824 | 12.9988 | 11.2449 | 8.383 | 8.4187 | -1 | -1 | -1 | -1 | 11.0502 | 6.5144 | -1 | -1 | -1 | 2.1067 | 2.05 | 0.20556 | 1.8137 | 2.6275 | 1129.5955 | -1 | -1
|  | 20 | 3 | 17 | 4 | 4 | 0 | 0 | 0 | 2.1027 | 0 | BB | 222.6565 | 35.9201 | 0.096318 | 0.51698 | 0 |  | -1 | -1 | 3 | -1 | 287 | 340 | 1.96 | 2.2621 | 0.0066667 | 64 | -1 | 2.0458 | 0.21623 | 19.5975 | 2.0467 | 0.2154 | 19.8112 | 2.0478 | 0.17308 | 66.2088 | 15.9571 | 56.8875 | 22.0515 | 2.0699 | 36.2236 | 2.1493 | 43.1429 | 2.0692 | 0.10583 | 35.8392 | 0.042288 | 0.35756 | -0.15382 | 222.0589 | 2.1236 | 0.0017882 | 2.7039e-05 | 9.1016e-06 | 1.795 | 2370.313 | 2372.9498 | 2195.1109 | 2521.8419 | 3.4664 | 3.0713 | 3.1656 | 3.179 | -1 | -1 | -1 | -1 | 3.0515 | 1.4383 | -1 | -1 | -1 | 2.1067 | 2.05 | 0.21207 | 1.8712 | 2.7423 | 1030.7592 | -1 | -1
|  | 18 | 1 | 14 | 4 | 3 | 0 | 0 | 0 | 2.1028 | 0 | BV | 817.5513 | 110.9522 | 0.10997 | 0.48526 | 0 |  | -1 | -1 | 1 | -1 | 290 | 340 | 1.9333 | 2.2588 | 0.0066667 | 61 | -1 | 2.0308 | 0.22794 | 22.5361 | 2.0325 | 0.22627 | 23.1981 | 2.0446 | 0.19623 | 163.4369 | 14.4392 | 137.0303 | 24.687 | 2.0699 | 79.2835 | 2.1496 | 98.959 | 2.0667 | 0.1175 | 72.8494 | 0.042293 | 0.35777 | -0.1829 | 623.6292 | 2.1232 | 0.0017887 | 2.7066e-05 | 9.0134e-06 | 1.5254 | 1844.0504 | 2135.4916 | 1780.8432 | 2520.2227 | 1.6432 | 2.003 | 1.4608 | 1.4671 | -1 | -1 | -1 | -1 | 2.0213 | 1.2564 | -1 | 5.5097 | 5.5097 | 2.1067 | 2.0425 | 0.21627 | 1.6852 | 2.3705 | 1092.8618 | -1 | -1
|  | 19 | 2 | 16 | 4 | 4 | 0 | 0 | 0 | 2.1028 | 0 | BV | 538.2955 | 73.9811 | 0.10889 | 0.48895 | 0 |  | -1 | -1 | 2 | -1 | 290 | 340 | 1.9333 | 2.2578 | 0.0066667 | 61 | -1 | 2.0333 | 0.22445 | 24.7032 | 2.035 | 0.22278 | 25.1446 | 2.0448 | 0.19434 | 118.829 | 18.9894 | 101.0655 | 26.7676 | 2.0699 | 62.2336 | 2.1496 | 75.5887 | 2.0667 | 0.11667 | 58.2459 | 0.042223 | 0.35976 | -0.1883 | 418.2186 | 2.1232 | 0.0017828 | 2.7081e-05 | 8.9365e-06 | 1.5543 | 1880.1059 | 2202.4449 | 1806.3747 | 2528.5128 | 1.6647 | 2.0143 | 1.5003 | 1.5067 | -1 | -1 | -1 | -1 | 2.0166 | 1.2562 | -1 | 5.8655 | 5.8655 | 2.1067 | 2.0433 | 0.21445 | 1.693 | 2.386 | 1106.7889 | -1 | -1
|  | 21 | 1 | 19 | 5 | 3 | 0 | 0 | 0 | 2.5422 | 0 | VB | 1575.9279 | 83.5143 | 0.29415 | 1.249 | 0 |  | -1 | -1 | 1 | -1 | 339 | 426 | 2.2588 | 2.8363 | 0.0066667 | 98 | -1 | 2.26 | 0.57627 | 43.9903 | 2.26 | 0.57627 | 44.4919 | 2.2591 | 0.5184 | 142.5852 | 25.642 | 139.3149 | 52.7147 | 2.4152 | 90.1106 | 2.6646 | 94.2792 | 2.3947 | 0.304 | 82.1173 | 0.10343 | 0.033261 | -0.52933 | 1226.9258 | 2.5397 | 0.010698 | 3.6801e-05 | 0.00028274 | 1.0291 | 384.1043 | 485.6853 | 386.7497 | 602.9562 | 1.2298 | 1.3661 | 1.225 | 1.2302 | -1 | -1 | -1 | -1 | 1.4292 | 1.209 | 4.1472 | -1 | 4.1472 | 2.54 | 2.288 | 0.54827 | 1.0878 | 1.1757 | 368.9616 | -1 | -1
|  | 23 | 2 | 20 | 5 | 4 | 0 | 0 | 0 | 2.5453 | 0 | VB | 1083.4248 | 57.8874 | 0.29235 | 1.2546 | 0 |  | -1 | -1 | 2 | -1 | 339 | 514 | 2.2578 | 2.8355 | 0.0066667 | 186 | -1 | 2.2822 | 0.55324 | 41.6215 | 2.2844 | 0.55102 | 41.9684 | 2.2671 | 0.51168 | 110.5198 | 27.8872 | 107.3391 | 48.3666 | 2.4167 | 72.3145 | 2.6665 | 76.7399 | 2.4 | 0.30222 | 67.991 | 0.1036 | 0.030509 | -0.52925 | 865.1833 | 2.5403 | 0.010732 | 3.392e-05 | 0.00028458 | 1.0507 | 396.3344 | 529.7306 | 393.37 | 601.2887 | 1.2536 | 1.4225 | 1.2413 | 1.2466 | -1 | -1 | -1 | -1 | 1.4303 | 1.2104 | 4.5896 | -1 | 4.5896 | 2.5467 | 2.3044 | 0.53102 | 1.0961 | 1.1923 | 392.7032 | -1 | -1
|  | 29 | 3 | 18 | 5 | 4 | 0 | 0 | 0 | 2.5499 | 0 | BB | 378.8871 | 22.5949 | 0.26963 | 1.0484 | 0 |  | -1 | -1 | 3 | -1 | 340 | 505 | 2.2667 | 2.8364 | 0.0066667 | 176 | -1 | 2.3289 | 0.50756 | 27.3564 | 2.3311 | 0.50534 | 27.4921 | 2.3158 | 0.46236 | 55.1609 | 24.0164 | 53.4036 | 28.7128 | 2.4201 | 37.8964 | 2.6708 | 40.3323 | 2.4178 | 0.28 | 37.67 | 0.10331 | 0.030254 | -0.53446 | 378.3579 | 2.5462 | 0.010673 | 3.3358e-05 | 0.00028085 | 1.1722 | 485.408 | 629.3796 | 458.2874 | 607.4264 | 1.4076 | 1.5447 | 1.362 | 1.3678 | -1 | -1 | -1 | -1 | 1.4512 | 1.2127 | -1 | -1 | -1 | 2.5467 | 2.3422 | 0.49422 | 1.2087 | 1.4174 | 415.0902 | -1 | -1
|  | 22 | 1 | 21 | 6 | 3 | 0 | 0 | 0 | 3.0501 | 0 | BB | 212.5319 | 19.8333 | 0.17502 | 1.432 | 0 |  | -1 | -1 | 1 | -1 | 429 | 537 | 2.86 | 3.2028 | 0.0066667 | 119 | -1 | 2.935 | 0.26777 | 69.5933 | 2.935 | 0.26777 | 69.711 | 2.891 | 0.28465 | 97.9766 | 58.5641 | 90.6334 | 76.3875 | 2.9463 | 72.2674 | 3.1092 | 83.9259 | 2.9717 | 0.205 | 78.5333 | 0.063303 | 0.028767 | -0.56166 | 210.7634 | 3.0327 | 0.0040073 | 7.2974e-06 | 3.9156e-05 | 1.1314 | 1841.0283 | 3250.5619 | 1228.996 | 2295.152 | 1.2648 | 1.5042 | 1.1723 | 1.1773 | -1 | -1 | -1 | -1 | 1.4784 | 1.1998 | -1 | -1 | -1 | 3.0533 | 2.9383 | 0.26444 | 1.1497 | 1.2995 | 2180.6487 | -1 | -1
|  | 28 | 1 | 23 | 7 | 3 | 0 | 0 | 0 | 5.5641 | 0 | BB | 15.8188 | 5.5934 | 0.044995 | 0.83998 | 0 |  | -1 | -1 | 1 | -1 | 821 | 856 | 5.52 | 5.6733 | 0.0066667 | 46 | -1 | 5.52 | 0.084242 | 63.6702 | 5.52 | 0.084242 | 63.7025 | 5.529 | 0.072358 | 70.6088 | 63.9092 | 70.5567 | 62.9949 | 5.5437 | 66.7217 | 5.583 | 66.7247 | 5.54 | 0.046667 | 66.1291 | 0.020864 | 1.0354 | 2.3121 | 15.8188 | 5.5681 | 0.0004353 | 9.403e-06 | 1.0066e-06 | 0.9026 | 94696.4413 | 109161.2582 | 78829.1122 | 71223.6822 | 14.0841 | 17.8546 | 11.7377 | 11.7876 | -1 | -1 | -1 | -1 | 15.0614 | 1.8243 | -1 | -1 | -1 | 5.5667 | 5.52 | 0.081212 | 0.87013 | 0.74026 | 75329.4223 | -1 | -1
|  | 27 | 2 | 22 | 7 | 4 | 0 | 0 | 0 | 5.5655 | 0 | BB | 10.4633 | 3.636 | 0.045573 | 1.1801 | 0 |  | -1 | -1 | 2 | -1 | 816 | 844 | 5.44 | 5.6202 | 0.0066667 | 39 | -1 | 5.5272 | 0.093021 | 95.1989 | 5.5272 | 0.093021 | 95.2199 | 5.5283 | 0.072247 | 99.8612 | 94.7665 | 99.4736 | 95.2908 | 5.5442 | 96.9483 | 5.5823 | 97.4616 | 5.5426 | 0.046667 | 96.7948 | 0.02453 | -1.4745 | 3.864 | 10.4591 | 5.5609 | 0.00060173 | -2.1764e-05 | 2.4854e-06 | 1.1779 | 94987.6534 | 89530.6041 | 78829.1122 | 51391.2768 | 10.3442 | 11.6831 | 10.1713 | 10.2146 | -1 | -1 | -1 | -1 | 11.7878 | 2.1865 | -1 | -1 | -1 | 5.5667 | 5.5297 | 0.090457 | 1.2249 | 1.4499 | 58493.0373 | -1 | -1
|  | 35 | 6 | 25 | 8 | 4 | 0 | 0 | 0 | 6.1416 | 0 | BB | 31.152 | 7.8391 | 0.058362 | 1.6321 | 0 |  | -1 | -1 | 6 | -1 | 904 | 949 | 6.04 | 6.2167 | 0.0066667 | 56 | -1 | 6.0526 | 0.14148 | 11.7356 | 6.0533 | 0.14 | 11.7812 | 6.0966 | 0.085057 | 20.6562 | 11.3916 | 21.0375 | 11.4116 | 6.1233 | 16.8886 | 6.1631 | 15.8796 | 6.1111 | 0.056296 | 15.1957 | 0.030011 | -0.37754 | -0.49808 | 31.1562 | 6.1293 | 0.00090065 | -1.0205e-05 | 2.0295e-06 | 0.80769 | 83376.1088 | 47084.4556 | 65900.2192 | 41712.4101 | 77.2671 | 49.0666 | 68.0939 | 68.3836 | -1 | -1 | -1 | -1 | 53.4919 | 18.6536 | -1 | -1 | -1 | 6.14 | 6.0585 | 0.12889 | 0.79091 | 0.58182 | 31876.3224 | -1 | -1
|  | 34 | 7 | 26 | 8 | 4 | 0 | 0 | 0 | 6.1418 | 0 | BB | 29.2337 | 8.2798 | 0.053192 | 1.315 | 0 |  | -1 | -1 | 7 | -1 | 905 | 946 | 6.04 | 6.22 | 0.0066667 | 52 | -1 | 6.056 | 0.138 | 2.8496 | 6.0573 | 0.13533 | 2.8977 | 6.1 | 0.081754 | 12.5352 | 2.5098 | 12.6591 | 2.4833 | 6.1233 | 8.0895 | 6.1632 | 7.2033 | 6.1153 | 0.052 | 6.5057 | 0.027452 | -0.52807 | 0.0769 | 29.2337 | 6.1345 | 0.0007536 | -1.0925e-05 | 1.7474e-06 | 0.81855 | 90248.1852 | 49490.1281 | 77239.5651 | 49936.8563 | 79.1585 | 49.5357 | 71.6363 | 71.9411 | -1 | -1 | -1 | -1 | 57.6227 | 18.6322 | -1 | -1 | -1 | 6.14 | 6.0647 | 0.122 | 0.80973 | 0.61947 | 36875.405 | -1 | -1
|  | 36 | 5 | 27 | 8 | 4 | 0 | 0 | 0 | 6.1418 | 0 | BB | 32.9773 | 8.0829 | 0.059599 | 1.7161 | 0 |  | -1 | -1 | 5 | -1 | 903 | 949 | 6.04 | 6.214 | 0.0066667 | 57 | -1 | 6.0563 | 0.14667 | 20.1872 | 6.057 | 0.1437 | 20.2341 | 6.096 | 0.085833 | 29.3645 | 19.6645 | 29.7218 | 20.0124 | 6.1234 | 25.467 | 6.163 | 24.5784 | 6.1111 | 0.056296 | 23.7542 | 0.03046 | -0.3399 | -0.57836 | 32.9722 | 6.1283 | 0.00092778 | -9.6055e-06 | 2.0845e-06 | 0.86607 | 81875.0819 | 43814.1012 | 65900.2192 | 40479.5597 | 72.8017 | 45.4326 | 62.7526 | 63.0197 | -1 | -1 | -1 | -1 | 44.0594 | 18.8132 | -1 | -1 | -1 | 6.14 | 6.0607 | 0.12889 | 0.81308 | 0.62617 | 33239.3172 | -1 | -1
|  | 32 | 2 | 29 | 8 | 4 | 0 | 0 | 0 | 6.1421 | 0 | BB | 690.5928 | 200.5145 | 0.052181 | 1.1642 | 0 |  | -1 | -1 | 2 | -1 | 855 | 946 | 5.7 | 6.2899 | 0.0066667 | 102 | -1 | 6.0653 | 0.13333 | 107.4847 | 6.0693 | 0.128 | 108.6501 | 6.102 | 0.080718 | 346.5037 | 98.6749 | 341.1502 | 99.2347 | 6.1206 | 213.6828 | 6.162 | 222.4144 | 6.116 | 0.052 | 196.0583 | 0.056286 | -3.2321 | 13.1797 | 690.1986 | 6.1289 | 0.0031681 | -0.00057635 | 0.0001624 | 0.90566 | 92579.2767 | 53015.0625 | 77239.5651 | 11856.7297 | 7.5388 | 6.3682 | 6.8664 | 6.8956 | -1 | -1 | -1 | -1 | 3.5141 | 1.1036 | -1 | -1 | -1 | 6.14 | 6.0947 | 0.094667 | 1.0441 | 1.0882 | 75022.307 | -1 | -1
|  | 31 | 1 | 24 | 8 | 3 | 0 | 0 | 0 | 6.1421 | 0 | BB | 1977.2466 | 644.2878 | 0.047804 | 0.93954 | 0 |  | -1 | -1 | 1 | -1 | 906 | 944 | 6.04 | 6.28 | 0.0066667 | 49 | -1 | 6.092 | 0.104 | 81.0556 | 6.0927 | 0.102 | 84.7969 | 6.1032 | 0.079044 | 855.1878 | 55.3793 | 839.2193 | 51.5943 | 6.1235 | 472.1077 | 6.1633 | 424.3242 | 6.1173 | 0.05 | 365.3948 | 0.021797 | -0.042439 | 1.0126 | 1977.2466 | 6.1427 | 0.0004751 | -4.3948e-07 | 9.0573e-07 | 1.0775 | 96541.4356 | 87138.4985 | 83542.3136 | 79421.8264 | 7.6357 | 7.6767 | 7.0261 | 7.056 | -1 | -1 | -1 | -1 | 6.7355 | 1.1039 | -1 | -1 | -1 | 6.14 | 6.0993 | 0.088667 | 1.0902 | 1.1803 | 82278.6517 | -1 | -1
|  | 37 | 3 | 30 | 8 | 4 | 0 | 0 | 0 | 6.1422 | 0 | BB | 434.8799 | 137.0589 | 0.049018 | 1.0322 | 0 |  | -1 | -1 | 3 | -1 | 872 | 944 | 5.8133 | 6.235 | 0.0066667 | 83 | -1 | 6.0878 | 0.11222 | 87.6895 | 6.09 | 0.10778 | 88.4857 | 6.1028 | 0.079591 | 252.6224 | 80.9778 | 247.7855 | 82.8458 | 6.1208 | 159.4559 | 6.1621 | 165.9373 | 6.1167 | 0.051111 | 148.1963 | 0.031435 | -3.0897 | 19.9722 | 434.4282 | 6.1389 | 0.00098815 | -9.5973e-05 | 2.2431e-05 | 1.0778 | 95220.8682 | 74837.4571 | 79949.5203 | 38138.0668 | 13.2569 | 14.4901 | 12.7478 | 12.802 | -1 | -1 | -1 | -1 | 13.3316 | 2.4088 | -1 | -1 | -1 | 6.14 | 6.0978 | 0.091111 | 1.0789 | 1.1579 | 78648.8929 | -1 | -1
|  | 38 | 4 | 28 | 8 | 4 | 0 | 0 | 0 | 6.1422 | 0 | BB | 162.9332 | 51.1688 | 0.049149 | 1.0608 | 0 |  | -1 | -1 | 4 | -1 | 904 | 944 | 6.0267 | 6.2242 | 0.0066667 | 51 | -1 | 6.0753 | 0.12533 | 49.0427 | 6.0787 | 0.12 | 49.3399 | 6.1027 | 0.07925 | 110.4625 | 46.2964 | 109.2359 | 47.5016 | 6.1233 | 79.7947 | 6.1632 | 76.6568 | 6.1173 | 0.05 | 71.6246 | 0.023892 | -0.44603 | 0.83087 | 163.172 | 6.1401 | 0.00057081 | -6.0828e-06 | 1.2482e-06 | 0.97826 | 96040.4754 | 59998.939 | 83542.3136 | 66047.623 | 31.8373 | 28.3041 | 30.7349 | 30.8656 | -1 | -1 | -1 | -1 | 30.0472 | 2.9216 | -1 | -1 | -1 | 6.14 | 6.096 | 0.093333 | 1.0606 | 1.1212 | 76107.7421 | -1 | -1
|  | 39 | 1 | 32 | 9 | 3 | 0 | 0 | 0 | 6.5655 | 0 | BB | 1710.0012 | 517.6656 | 0.052538 | 1.048 | 0 |  | -1 | -1 | 1 | -1 | 969 | 1011 | 6.4835 | 6.7333 | 0.0066667 | 53 | -1 | 6.5081 | 0.10889 | 62.2196 | 6.5096 | 0.10667 | 65.2507 | 6.5197 | 0.088465 | 652.2583 | 40.7608 | 694.8789 | 39.3122 | 6.5434 | 357.9799 | 6.5901 | 316.8257 | 6.5378 | 0.054074 | 292.5872 | 0.021855 | 0.063789 | 0.28317 | 1709.6966 | 6.5614 | 0.00047764 | 6.6589e-07 | 7.4903e-07 | 0.93506 | 88158.2913 | 90920.7101 | 81699.8999 | 90134.1661 | 5.0551 | 4.9719 | 4.7801 | 4.8004 | -1 | -1 | -1 | -1 | 4.7954 | 1.0689 | -1 | -1 | -1 | 6.5667 | 6.5156 | 0.095556 | 0.93478 | 0.86957 | 82054.5886 | -1 | -1
|  | 40 | 2 | 33 | 9 | 4 | 0 | 0 | 0 | 6.5656 | 0 | BB | 1094.7229 | 332.2492 | 0.05244 | 1.0544 | 0 |  | -1 | -1 | 2 | -1 | 969 | 1009 | 6.48 | 6.6733 | 0.0066667 | 51 | -1 | 6.5093 | 0.108 | 116.3069 | 6.51 | 0.106 | 118.2524 | 6.5198 | 0.088345 | 495.1995 | 101.4536 | 522.1127 | 102.5584 | 6.5435 | 305.0745 | 6.5901 | 280.2435 | 6.538 | 0.054 | 264.1625 | 0.021638 | -0.010978 | -0.010352 | 1094.7229 | 6.5645 | 0.00046822 | -1.1122e-07 | 6.5542e-07 | 0.93529 | 88399.0436 | 92423.5063 | 81924.196 | 92033.7426 | 5.0104 | 4.3874 | 4.6948 | 4.7148 | -1 | -1 | -1 | -1 | 2.7946 | 1.069 | -1 | -1 | -1 | 6.5667 | 6.516 | 0.095333 | 0.94079 | 0.88158 | 82979.4166 | -1 | -1
|  | 6 | 8 | 34 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 105.1152 | 31.8224 | 0.052537 | 1.049 | 0 |  | -1 | -1 | 8 | -1 | 969 | 1011 | 6.48 | 6.7333 | 0.0066667 | 53 | -1 | 6.5089 | 0.10815 | 7.0506 | 6.5096 | 0.10667 | 7.237 | 6.5198 | 0.088436 | 43.3172 | 5.6922 | 45.922 | 5.6767 | 6.5435 | 25.1001 | 6.5901 | 22.827 | 6.5378 | 0.054815 | 21.2137 | 0.021917 | 0.082303 | 0.3935 | 105.1152 | 6.5647 | 0.00048036 | 8.6649e-07 | 7.8303e-07 | 0.93506 | 88217.2085 | 92170.4647 | 79506.7141 | 89714.0783 | 81.1468 | 59.0174 | 74.1487 | 74.4642 | -1 | -1 | -1 | -1 | 69.5513 | 19.9004 | -1 | -1 | -1 | 6.5667 | 6.5156 | 0.095556 | 0.93478 | 0.86957 | 82054.5886 | -1 | -1
|  | 5 | 7 | 35 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 342.1644 | 103.7571 | 0.052474 | 1.0515 | 0 |  | -1 | -1 | 7 | -1 | 969 | 1011 | 6.4667 | 6.7333 | 0.0066667 | 53 | -1 | 6.5089 | 0.10815 | 6.8568 | 6.5096 | 0.10667 | 7.4644 | 6.5199 | 0.088325 | 125.1005 | 2.4085 | 133.6479 | 2.3943 | 6.5435 | 65.5555 | 6.5901 | 58.3121 | 6.5378 | 0.054815 | 53.0351 | 0.021829 | 0.056452 | 0.31234 | 342.1644 | 6.5646 | 0.00047652 | 5.8721e-07 | 7.5213e-07 | 0.93506 | 88438.7002 | 92170.4647 | 79506.7141 | 90435.8893 | 4.9843 | 4.305 | 4.6626 | 4.6825 | -1 | -1 | -1 | -1 | 4.3639 | 1.069 | -1 | -1 | -1 | 6.5667 | 6.5156 | 0.095556 | 0.93478 | 0.86957 | 82054.5886 | -1 | -1
|  | 4 | 6 | 36 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 439.7938 | 133.4526 | 0.052448 | 1.0527 | 0 |  | -1 | -1 | 6 | -1 | 969 | 1010 | 6.4667 | 6.725 | 0.0066667 | 52 | -1 | 6.5087 | 0.10867 | 17.2355 | 6.51 | 0.106 | 18.017 | 6.5199 | 0.088218 | 169.318 | 11.4879 | 180.0692 | 11.5193 | 6.5435 | 92.7716 | 6.59 | 83.5095 | 6.538 | 0.054 | 76.6295 | 0.021784 | 0.042832 | 0.25875 | 439.7993 | 6.5646 | 0.00047456 | 4.428e-07 | 7.339e-07 | 0.93529 | 88653.2226 | 91292.9542 | 81924.196 | 90808.3332 | 4.8946 | 4.238 | 4.5175 | 4.5367 | -1 | -1 | -1 | -1 | 4.2024 | 1.069 | -1 | -1 | -1 | 6.5667 | 6.516 | 0.095333 | 0.94079 | 0.88158 | 82979.4166 | -1 | -1
|  | 2 | 5 | 37 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 337.0365 | 102.4363 | 0.052386 | 1.0574 | 0 |  | -1 | -1 | 5 | -1 | 969 | 1009 | 6.46 | 6.6674 | 0.0066667 | 51 | -1 | 6.5093 | 0.108 | 26.0028 | 6.51 | 0.106 | 26.6027 | 6.5199 | 0.088251 | 142.7988 | 21.3826 | 151.1309 | 21.8003 | 6.5435 | 83.9001 | 6.5901 | 76.7461 | 6.538 | 0.054 | 71.5908 | 0.021573 | -0.03257 | -0.050151 | 337.0173 | 6.5645 | 0.00046538 | -3.2698e-07 | 6.3886e-07 | 0.93529 | 88587.538 | 92423.5063 | 81924.196 | 92597.168 | 4.8696 | 4.1609 | 4.5154 | 4.5346 | -1 | -1 | -1 | -1 | 4.1913 | 1.069 | -1 | -1 | -1 | 6.5667 | 6.516 | 0.095333 | 0.94079 | 0.88158 | 82979.4166 | -1 | -1
|  | 3 | 3 | 38 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 533.2539 | 162.324 | 0.052326 | 1.0631 | 0 |  | -1 | -1 | 3 | -1 | 969 | 1009 | 6.48 | 6.6499 | 0.0066667 | 51 | -1 | 6.51 | 0.108 | 98.2451 | 6.5113 | 0.106 | 99.1956 | 6.5199 | 0.088223 | 283.5925 | 90.0439 | 296.2602 | 92.3643 | 6.5435 | 189.7047 | 6.5901 | 178.8805 | 6.538 | 0.054667 | 170.482 | 0.021397 | -0.065481 | -0.16325 | 532.8211 | 6.5644 | 0.00045782 | -6.4143e-07 | 5.9457e-07 | 0.95783 | 88643.3292 | 92423.5063 | 79938.2287 | 94123.1699 | 5.0474 | 4.8078 | 4.7045 | 4.7245 | -1 | -1 | -1 | -1 | 4.0268 | 1.069 | -1 | -1 | -1 | 6.5667 | 6.5167 | 0.094667 | 0.94667 | 0.89333 | 84682.3489 | -1 | -1
|  | 1 | 4 | 31 | 9 | 4 | 0 | 0 | 0 | 6.5657 | 0 | BB | 335.8874 | 102.2952 | 0.052308 | 1.0642 | 0 |  | -1 | -1 | 4 | -1 | 969 | 1009 | 6.46 | 6.6495 | 0.0066667 | 51 | -1 | 6.51 | 0.108 | 57.4666 | 6.5113 | 0.10533 | 58.0656 | 6.5199 | 0.088174 | 174.2599 | 52.2989 | 182.2744 | 53.7606 | 6.5435 | 115.0039 | 6.5901 | 108.3258 | 6.538 | 0.054667 | 102.9901 | 0.021394 | -0.070337 | -0.15693 | 335.6391 | 6.5644 | 0.00045769 | -6.8872e-07 | 5.9557e-07 | 0.95181 | 88741.1467 | 92423.5063 | 79938.2287 | 94149.121 | 5.0589 | 4.5374 | 4.7542 | 4.7744 | -1 | -1 | -1 | -1 | 4.6849 | 1.0689 | -1 | -1 | -1 | 6.5667 | 6.5167 | 0.094667 | 0.94667 | 0.89333 | 84682.3489 | -1 | -1
|  | 8 | 1 | 40 | 10 | 3 | 0 | 0 | 0 | 7.0103 | 0 | BB | 37.3952 | 8.1363 | 0.065621 | 2.0796 | 0 |  | -1 | -1 | 1 | -1 | 1032 | 1082 | 6.8867 | 7.0764 | 0.0066667 | 61 | -1 | 6.9192 | 0.15719 | 38.6471 | 6.92 | 0.15636 | 38.6938 | 6.9622 | 0.087434 | 47.9201 | 37.6778 | 48.2092 | 38.7486 | 6.9903 | 43.6625 | 7.0301 | 43.4362 | 6.98 | 0.056667 | 42.1986 | 0.034616 | -0.33848 | -0.79705 | 37.1919 | 6.9893 | 0.0011983 | -1.404e-05 | 3.1632e-06 | 0.83762 | 102945.5377 | 49766.8961 | 84860.0714 | 40767.0714 | 5.0574 | 4.1792 | 4.7194 | 4.7395 | -1 | -1 | -1 | -1 | 3.7887 | 1.0677 | -1 | -1 | -1 | 7.0133 | 6.9225 | 0.14583 | 0.80275 | 0.6055 | 33238.8943 | -1 | -1
|  | 7 | 2 | 39 | 10 | 4 | 0 | 0 | 0 | 7.0118 | 0 | BB | 26.0969 | 5.9106 | 0.063512 | 2.3031 | 0 |  | -1 | -1 | 2 | -1 | 1031 | 1081 | 6.8733 | 7.063 | 0.0066667 | 61 | -1 | 6.9408 | 0.12213 | 111.3873 | 6.9408 | 0.12213 | 111.4214 | 6.963 | 0.085652 | 118.4495 | 109.5861 | 118.0842 | 112.2248 | 6.9902 | 114.5189 | 7.0302 | 115.1649 | 6.9858 | 0.054167 | 113.9772 | 0.034451 | -0.50584 | -0.61533 | 25.595 | 6.9889 | 0.0011868 | -2.0683e-05 | 3.359e-06 | 0.8423 | 107273.3083 | 82436.4789 | 92874.0758 | 41155.5653 | 5.129 | 4.8473 | 4.8471 | 4.8678 | -1 | -1 | -1 | -1 | 3.784 | 1.068 | -1 | -1 | -1 | 7.0133 | 6.9458 | 0.11713 | 0.86766 | 0.73531 | 57277.9579 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 19:19:27
ResNewDateTime | 02 September 2019 19:19:27
ResModBy | SYSTEM
ResModTime | 09/02/19 19:19:28
ResModDateTime | 02 September 2019 19:19:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10147.7887

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10147.7887

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6440.579

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2534.6554

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 792.354

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 440.3528

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 511.159

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.8401

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.1858

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10147.7887

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6440.579

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2534.6554

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 792.354

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 440.3528

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 511.159

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.8401

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.1858

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.34841 | 1550.7325 | 179.8707 | 0.11858 | 1.5624 | -17.2698 | 0.0066667 | 0 | 42.1038 | 0.52667 | -7.1054e-15 | -48.2392 | 1 | -173.7365 | 43.262 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 1.462 | 1822.1377 | 72.0708 | 0.30896 | 3.3684 | -15.1941 | 0.78667 | -7.1054e-15 | -50.0321 | 1.6042 | 25.1218 | -7.8589 | 1 | 51.5837 | -90.6113 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 1.6737 | 428.4457 | 39.3374 | 0.18107 | 0.46825 | -4.2753 | 1.6042 | 25.1218 | -7.8589 | 1.9118 | -5.3291e-15 | 8.0079 | 1 | 51.5837 | -90.6113 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.1028 | 817.5513 | 110.9522 | 0.10997 | 0.48526 | 17.4783 | 1.9333 | 0 | 8.6293 | 2.2588 | 20.1377 | 25.6247 | 1 | 52.2231 | -92.3354 | 0 | 0 | 0
DateTime |  | 32 | 8 | 2.5422 | 1575.9279 | 83.5143 | 0.29415 | 1.249 | 40.4272 | 2.2588 | 20.1377 | 25.6247 | 2.8363 | -7.1054e-15 | 55.7835 | 1 | 52.2231 | -92.3354 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 3.0501 | 212.5319 | 19.8333 | 0.17502 | 1.432 | 68.526 | 2.86 | 0 | 56.6249 | 3.2028 | 0 | 78.088 | 1 | 62.6162 | -122.4574 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 5.5641 | 15.8188 | 5.5934 | 0.044995 | 0.83998 | 63.4654 | 5.52 | -1.4211e-14 | 64.0225 | 5.6733 | -1.4211e-14 | 62.0852 | 1 | -12.6351 | 133.7686 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.1421 | 1977.2466 | 644.2878 | 0.047804 | 0.93954 | 53.5174 | 6.04 | 0 | 58.4078 | 6.28 | 0 | 46.9155 | 1 | -47.8844 | 347.6295 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.5655 | 1710.0012 | 517.6656 | 0.052538 | 1.048 | 40.01 | 6.4835 | -7.1054e-15 | 41.3523 | 6.7333 | -1.4211e-14 | 37.262 | 1 | -16.375 | 147.5202 | 0 | 0 | 0
|  | 0 | 8 | 7.0103 | 37.3952 | 8.1363 | 0.065621 | 2.0796 | 38.2674 | 6.8867 | 0 | 36.7532 | 7.0764 | 0 | 39.0762 | 1 | 12.2464 | -47.5837 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 9 | 0 | 8 | 0.34107 | 1569.1564 | 153.2968 | 0.13942 | 1.9842 | 40.0494 | 0.0066667 | 0 | 121.9521 | 0.51333 | -1.4211e-14 | -2.1405 | 1 | -244.9196 | 123.5849 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 1.462 | 1139.3282 | 48.484 | 0.28816 | 3.0741 | 1.3553 | 0.82 | 0 | -16.8324 | 1.6052 | 16.338 | 5.4142 | 1 | 28.3306 | -40.0634 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 1.674 | 288.4981 | 26.6036 | 0.18052 | 0.45696 | 7.3613 | 1.6052 | 16.338 | 5.4142 | 1.9131 | -3.5527e-15 | 14.1346 | 1 | 28.3306 | -40.0634 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.1028 | 538.2955 | 73.9811 | 0.10889 | 0.48895 | 21.3129 | 1.9333 | 0 | 14.5292 | 2.2578 | 12.6128 | 27.5148 | 1 | 40.0236 | -62.8498 | 0 | 0 | 0
DateTime |  | 32 | 8 | 2.5453 | 1083.4248 | 57.8874 | 0.29235 | 1.2546 | 39.0241 | 2.2578 | 12.6128 | 27.5148 | 2.8355 | 7.1054e-15 | 50.6357 | 1 | 40.0236 | -62.8498 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 5.5655 | 10.4633 | 3.636 | 0.045573 | 1.1801 | 95.0363 | 5.44 | 0 | 94.1257 | 5.6202 | 0 | 95.4334 | 1 | 7.2568 | 54.6485 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.1421 | 690.5928 | 200.5145 | 0.052181 | 1.1642 | 98.9524 | 5.7 | 0 | 95.8867 | 6.2899 | 0 | 99.9777 | 1 | 6.935 | 56.3574 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.5656 | 1094.7229 | 332.2492 | 0.05244 | 1.0544 | 102.0268 | 6.48 | 0 | 100.9564 | 6.6733 | 0 | 103.374 | 1 | 12.5046 | 19.9264 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 7.0118 | 26.0969 | 5.9106 | 0.063512 | 2.3031 | 111.0905 | 6.8733 | 0 | 106.8244 | 7.063 | 0 | 112.6665 | 1 | 30.807 | -104.9227 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32665 | 876.8299 | 89.8664 | 0.12783 | 1.8528 | 56.6561 | 0.06 | 0 | 116.6501 | 0.48667 | 1.4211e-14 | 20.6542 | 1 | -224.9904 | 130.1495 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4619 | 88.1481 | 10.9018 | 0.10833 | 0.68413 | 17.1826 | 1.2867 | 0 | 18.8875 | 1.6067 | 1.7764e-15 | 15.7747 | 1 | -9.7275 | 31.4035 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1027 | 222.6565 | 35.9201 | 0.096318 | 0.51698 | 17.8901 | 1.96 | 0 | 12.866 | 2.2621 | -3.5527e-15 | 23.502 | 1 | 35.2108 | -56.1471 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 2.5499 | 378.8871 | 22.5949 | 0.26963 | 1.0484 | 26.3942 | 2.2667 | 0 | 23.5171 | 2.8364 | 0 | 29.3047 | 1 | 10.1575 | 0.49338 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.1422 | 434.8799 | 137.0589 | 0.049018 | 1.0322 | 81.9027 | 5.8133 | 0 | 74.1844 | 6.235 | 0 | 84.0814 | 1 | 23.4696 | -62.2522 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.5657 | 533.2539 | 162.324 | 0.052326 | 1.0631 | 91.2497 | 6.48 | 0 | 88.9955 | 6.6499 | 1.4211e-14 | 93.4646 | 1 | 26.3012 | -81.4363 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32273 | 170.1187 | 33.8569 | 0.070621 | 1.1983 | 49.0802 | 0.20667 | 0 | 69.2658 | 0.44 | 0 | 28.6851 | 1 | -173.9175 | 105.2088 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.1024 | 123.4148 | 19.8316 | 0.096603 | 0.47353 | 18.9067 | 1.9733 | 0 | 17.5929 | 2.277 | 0 | 20.6846 | 1 | 10.1796 | -2.4949 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.1422 | 162.9332 | 51.1688 | 0.049149 | 1.0608 | 46.8979 | 6.0267 | 0 | 45.1403 | 6.2242 | 0 | 48.1436 | 1 | 15.2076 | -46.5107 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.5657 | 335.8874 | 102.2952 | 0.052308 | 1.0642 | 53.0586 | 6.46 | 0 | 51.3058 | 6.6495 | 0 | 54.4464 | 1 | 16.5771 | -55.782 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32646 | 70.339 | 18.4323 | 0.056521 | 1.4869 | 20.7465 | 0.19333 | 0 | 26.988 | 0.42 | 3.5527e-15 | 16.3612 | 1 | -46.8829 | 36.0521 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1418 | 32.9773 | 8.0829 | 0.059599 | 1.7161 | 19.8505 | 6.04 | 0 | 19.4378 | 6.214 | 0 | 20.1427 | 1 | 4.0522 | -5.0373 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5657 | 337.0365 | 102.4363 | 0.052386 | 1.0574 | 21.5994 | 6.46 | 0 | 21.0991 | 6.6674 | 0 | 22.081 | 1 | 4.7334 | -9.4788 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32925 | 40.2132 | 14.1121 | 0.045245 | 1.1251 | 11.8702 | 0.21333 | 0 | 13.2742 | 0.40667 | 0 | 10.9324 | 1 | -12.1125 | 15.8582 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1416 | 31.152 | 7.8391 | 0.058362 | 1.6321 | 11.4022 | 6.04 | 0 | 11.3783 | 6.2167 | 0 | 11.4198 | 1 | 0.23482 | 9.96 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5657 | 439.7938 | 133.4526 | 0.052448 | 1.0527 | 11.5042 | 6.4667 | 0 | 11.4689 | 6.725 | 0 | 11.561 | 1 | 0.3567 | 9.1622 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32963 | 35.442 | 12.7751 | 0.044367 | 1.0768 | 2.8284 | 0.21333 | 0 | 3.643 | 0.41333 | 0 | 2.2421 | 1 | -7.0047 | 5.1374 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.1418 | 29.2337 | 8.2798 | 0.053192 | 1.315 | 2.4962 | 6.04 | 0 | 2.5291 | 6.22 | 0 | 2.471 | 1 | -0.32319 | 4.4812 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5657 | 342.1644 | 103.7571 | 0.052474 | 1.0515 | 2.4012 | 6.4667 | 0 | 2.4171 | 6.7333 | 0 | 2.3742 | 1 | -0.16093 | 3.4578 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32993 | 35.0706 | 12.5983 | 0.044477 | 1.0722 | 6.1676 | 0.21333 | 0 | 6.9199 | 0.41333 | 0 | 5.6295 | 1 | -6.4516 | 8.2962 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.5657 | 105.1152 | 31.8224 | 0.052537 | 1.049 | 5.6842 | 6.48 | 0 | 5.6992 | 6.7333 | 0 | 5.6548 | 1 | -0.17505 | 6.8335 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2