## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567467832
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 93
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 93
Vial | 93
SampleLocation | 93
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 00:43:52
SampleName | CS-135_0093
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 26.411
StopPressure | 62.048
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 14.6089
DAD1UVBurnTime | 161.2756
DAD1VisOnTime | 14.6083
DAD1VisBurnTime | 146.7867
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 10 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 23 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 31 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 36 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 44 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 7847.9919 | 1665.2428 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 4869.1794 | 890.8853 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 2193.0713 | 467.0393 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 768.2064 | 223.2062 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 492.0535 | 151.2965 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 507.802 | 166.6696 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 398.9548 | 130.8563 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0093.D | 140.7503 | 46.2576 | 0 | 0 | 0 | 0 | 0.00125 | 8.4946 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 45 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.3213 | 0 | BB | 145.1409 | 31.6462 | 0.065508 | 1.0599 | 0 |  | -1 | -1 | 4 | -1 | 29 | 79 | 0.22125 | 0.43458 | 0.0066667 | 61 | -1 | 0.22125 | 0.14417 | 53.5365 | 0.22125 | 0.14333 | 53.7202 | 0.27436 | 0.096071 | 86.0676 | 60.9199 | 97.6824 | 43.0331 | 0.31066 | 80.37 | 0.35082 | 64.8448 | 0.22125 | 0.1275 | 67.5003 | 0.034909 | -0.14251 | -0.087356 | 145.1409 | 0.31784 | 0.0012186 | -6.0627e-06 | 4.3256e-06 | 0.71667 | 178.905 | 124.1357 | 35.1703 | 82.8952 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32125 | 0.22125 | 0.14167 | 0.70833 | 0.41667 | 58.7481 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.3243 | 0 | BB | 915.5469 | 89.6571 | 0.13114 | 1.9235 | 0 |  | -1 | -1 | 3 | -1 | 7 | 109 | 0.04125 | 0.49458 | 0.0066667 | 113 | -1 | 0.04125 | 0.36833 | 59.8301 | 0.04125 | 0.36667 | 60.3685 | 0.2328 | 0.17381 | 150.493 | 76.2553 | 166.546 | 39.0267 | 0.30886 | 137.9655 | 0.35352 | 121.2797 | 0.04125 | 0.32833 | 100.7483 | 0.083016 | -0.48759 | -0.36648 | 915.5469 | 0.28098 | 0.0068917 | -0.00027896 | 0.00012508 | 0.63953 | 56.9514 | 19.8146 | 5.5259 | 11.4558 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32792 | 0.04125 | 0.36167 | 0.63081 | 0.26163 | 6.7585 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32433 | 0 | BB | 63.7901 | 17.8647 | 0.053659 | 1.2775 | 0 |  | -1 | -1 | 5 | -1 | 32 | 75 | 0.20792 | 0.41458 | 0.0066667 | 54 | -1 | 0.20792 | 0.1563 | 23.1173 | 0.20792 | 0.1563 | 23.2226 | 0.28987 | 0.072883 | 43.2979 | 24.2582 | 50.0188 | 20.5939 | 0.31107 | 35.9756 | 0.3512 | 29.4404 | 0.29755 | 0.051111 | 31.1196 | 0.031416 | -0.82034 | 0.50462 | 63.7901 | 0.31498 | 0.00098697 | -2.5436e-05 | 3.4139e-06 | 0.65123 | 323.8911 | 110.0448 | 228.0374 | 100.5234 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32792 | 0.20792 | 0.15407 | 0.64198 | 0.28395 | 39.5847 | -1 | -1
Modified | 1 | 24 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32833 | 0 | BB | 41.824 | 14.035 | 0.046766 | 1.211 | 0 |  | -1 | -1 | 6 | -1 | 30 | 72 | 0.19458 | 0.41458 | 0.0066667 | 53 | -1 | 0.19458 | 0.17259 | 13.7337 | 0.19458 | 0.17185 | 13.8169 | 0.29654 | 0.065521 | 31.6294 | 13.4598 | 34.3125 | 12.7579 | 0.31115 | 21.8118 | 0.35116 | 19.7194 | 0.30644 | 0.044444 | 20.056 | 0.027717 | -1.4577 | 2.6865 | 41.824 | 0.32097 | 0.00076825 | -3.104e-05 | 3.3562e-06 | 0.64444 | 400.7671 | 90.2449 | 301.5795 | 134.0962 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32792 | 0.19458 | 0.16963 | 0.63611 | 0.27222 | 31.6511 | -1 | -1
NextPeakSignal_ | Peak | 30 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32889 | 0 | BB | 37.0842 | 12.7395 | 0.045961 | 1.1842 | 0 |  | -1 | -1 | 7 | -1 | 29 | 72 | 0.18792 | 0.42792 | 0.0066667 | 54 | -1 | 0.18792 | 0.18 | 4.6069 | 0.18792 | 0.17926 | 4.6823 | 0.29719 | 0.064971 | 21.12 | 4.2336 | 23.1117 | 3.8536 | 0.31118 | 11.6828 | 0.35119 | 10.2061 | 0.30718 | 0.044444 | 10.3381 | 0.027224 | -1.5694 | 3.4717 | 37.0842 | 0.32224 | 0.00074115 | -3.1665e-05 | 3.5549e-06 | 0.64021 | 407.5728 | 82.9702 | 301.5795 | 140.1055 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32792 | 0.26125 | 0.1037 | 0.77778 | 0.55556 | 136.7019 | -1 | -1
Signal_ | Signal | 39 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32928 | 0 | BB | 36.6699 | 12.5828 | 0.046 | 1.1845 | 0 |  | -1 | -1 | 8 | -1 | 29 | 72 | 0.18792 | 0.42792 | 0.0066667 | 54 | -1 | 0.18792 | 0.18074 | 7.7114 | 0.18792 | 0.18 | 7.7857 | 0.29729 | 0.065382 | 24.0506 | 7.3314 | 25.9062 | 6.9791 | 0.3112 | 14.6031 | 0.35132 | 13.4137 | 0.30718 | 0.044444 | 13.3595 | 0.027084 | -1.5541 | 3.5271 | 36.6699 | 0.3228 | 0.00073353 | -3.0874e-05 | 3.512e-06 | 0.64286 | 402.4711 | 82.2915 | 301.5795 | 142.0528 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32792 | 0.26569 | 0.1 | 0.80357 | 0.60714 | 154.7767 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.3392 | 0 | BB | 1564.4803 | 150.1538 | 0.14156 | 2.0306 | 0 |  | -1 | -1 | 2 | -1 | 1 | 116 | 0.00125 | 0.50792 | 0.0066667 | 121 | -1 | 0.027917 | 0.40333 | 49.0242 | 0.027917 | 0.40167 | 49.9079 | 0.24726 | 0.18735 | 206.5194 | 63.6632 | 210.8597 | 18.3502 | 0.3136 | 166.7371 | 0.38006 | 128.4185 | 0.027917 | 0.35833 | 116.1887 | 0.093955 | -0.64463 | -0.19459 | 1564.4803 | 0.28732 | 0.0088276 | -0.00053465 | 0.00021861 | 0.65489 | 51.0286 | 17.2036 | 4.83 | 9.3514 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33458 | 0.027917 | 0.395 | 0.64402 | 0.28804 | 6.3365 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34659 | 0 | BB | 1542.6987 | 175.1469 | 0.12276 | 1.595 | 0 |  | -1 | -1 | 1 | -1 | 1 | 109 | 0.00125 | 0.52125 | 0.0066667 | 114 | -1 | 0.027917 | 0.42 | -8.3789 | 0.027917 | 0.41833 | -7.3403 | 0.27343 | 0.16576 | 181.9719 | -3.1462 | 180.5315 | -31.74 | 0.31879 | 111.6255 | 0.38186 | 99.6748 | 0.29625 | 0.098333 | 70.5569 | 0.091034 | -0.86609 | 0.33257 | 1542.6988 | 0.30833 | 0.0082873 | -0.0006534 | 0.00022888 | 0.65365 | 70.4911 | 17.155 | 69.352 | 11.4717 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34792 | 0.027917 | 0.41 | 0.64062 | 0.28125 | 6.2485 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4613 | 0 | BB | 83.2433 | 10.5871 | 0.10373 | 0.64982 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2946 | 1.6076 | 0.0066667 | 90 | -1 | 1.2946 | 0.29733 | 19.2812 | 1.2946 | 0.296 | 19.3437 | 1.4045 | 0.19478 | 31.1493 | 19.3384 | 44.6774 | 17.5693 | 1.4383 | 26.3708 | 1.5834 | 20.6906 | 1.4239 | 0.13067 | 24.0315 | 0.061726 | -0.2811 | -0.38717 | 83.3405 | 1.4771 | 0.0038101 | -6.611e-05 | 3.793e-05 | 0.888 | 900.4484 | 603.8121 | 692.834 | 572.6099 | 6.1692 | 4.27 | 2.9105 | 2.9229 | -1 | -1 | -1 | -1 | 4.1317 | 4.5059 | -1 | -1 | -1 | 1.4612 | 1.2946 | 0.29333 | 0.88 | 0.76 | 403.312 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4613 | 0 | BB | 722.9992 | 34.0869 | 0.25946 | 3.857 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.83458 | 1.6037 | 0.0066667 | 127 | -1 | 1.1313 | 0.47249 | 18.6178 | 1.1329 | 0.47082 | 18.8201 | 1.3717 | 0.22435 | 55.1613 | 12.7603 | 83.2174 | 23.7147 | 1.4382 | 44.2392 | 1.5795 | 30.9905 | 1.3679 | 0.205 | 33.9861 | 0.16976 | -0.29559 | -0.91942 | 721.6522 | 1.2989 | 0.028819 | -0.0014462 | 0.001728 | 0.71699 | 678.7849 | 239.1125 | 281.4823 | 58.547 | 5.4511 | 3.203 | 2.3405 | 2.3504 | -1 | -1 | -1 | -1 | 1.918 | 4.308 | -1 | -1 | -1 | 1.4612 | 1.1529 | 0.45082 | 0.73107 | 0.46213 | 128.3282 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4614 | 0 | BB | 1169.5142 | 50.0044 | 0.28486 | 4.3494 | 0 |  | -1 | -1 | 1 | -1 | 121 | 242 | 0.80125 | 1.6028 | 0.0066667 | 132 | -1 | 1.1279 | 0.47485 | 10.2031 | 1.1296 | 0.47318 | 10.4999 | 1.3655 | 0.22976 | 63.5454 | 0.17069 | 104.0437 | 19.0187 | 1.4383 | 48.3134 | 1.5787 | 29.5401 | 1.3562 | 0.21833 | 32.7624 | 0.17588 | -0.2537 | -0.9315 | 1169.4203 | 1.2824 | 0.030935 | -0.0013804 | 0.0019796 | 0.71334 | 647.1862 | 236.7412 | 248.1525 | 53.1598 | 5.6371 | 3.1144 | 4.1364 | 4.154 | -1 | -1 | -1 | -1 | 1.8246 | 4.2164 | -1 | -1 | -1 | 1.4612 | 1.1479 | 0.45485 | 0.72583 | 0.45165 | 124.2388 | -1 | -1
|  | 26 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0559 | 0 | BB | 61.7929 | 12.8604 | 0.074057 | 0.56182 | 0 |  | -1 | -1 | 5 | -1 | 287 | 351 | 1.9146 | 2.3286 | 0.0066667 | 75 | -1 | 2.0013 | 0.16667 | 16.2002 | 2.0024 | 0.16222 | 16.2763 | 2.0079 | 0.1294 | 32.0003 | 15.6235 | 29.9472 | 15.6749 | 2.0289 | 22.7826 | 2.0899 | 23.9876 | 2.0257 | 0.076667 | 21.9851 | 0.03785 | 1.3097 | 3.705 | 61.7908 | 2.0722 | 0.0014326 | 7.1017e-05 | 1.3762e-05 | 1.5532 | 4033.7342 | 3799.1814 | 3978.7268 | 2997.2937 | 17.1207 | 13.404 | 15.9232 | 15.9909 | -1 | -1 | -1 | -1 | 12.6845 | 6.339 | -1 | -1 | -1 | 2.0546 | 2.0068 | 0.14111 | 1.4767 | 1.9535 | 2759.5483 | -1 | -1
|  | 27 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.056 | 0 | BB | 127.3614 | 26.234 | 0.07464 | 0.56213 | 0 |  | -1 | -1 | 4 | -1 | 287 | 344 | 1.9079 | 2.2801 | 0.0066667 | 68 | -1 | 2.0013 | 0.17333 | 23.581 | 2.0022 | 0.16857 | 23.7363 | 2.0077 | 0.13059 | 55.8257 | 22.3753 | 51.5914 | 22.5616 | 2.0301 | 37.9015 | 2.0905 | 39.4251 | 2.026 | 0.077143 | 35.3827 | 0.036785 | 0.93806 | 1.7128 | 127.3818 | 2.072 | 0.0013532 | 4.6694e-05 | 8.6294e-06 | 1.6091 | 3960.1783 | 3512.5568 | 3929.7584 | 3172.6105 | 15.3061 | 13.659 | 9.9601 | 10.0025 | -1 | -1 | -1 | -1 | 12.2334 | 6.399 | -1 | -1 | -1 | 2.0546 | 2.007 | 0.14381 | 1.51 | 2.02 | 2602.9182 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0561 | 0 | BB | 689.3117 | 134.6991 | 0.079703 | 0.55803 | 0 |  | -1 | -1 | 1 | -1 | 263 | 346 | 1.7479 | 2.2745 | 0.0066667 | 94 | -1 | 1.9999 | 0.20667 | 52.7907 | 1.9999 | 0.19733 | 53.5882 | 2.007 | 0.13416 | 218.2331 | 46.3585 | 195.9668 | 48.005 | 2.0277 | 118.5625 | 2.0891 | 138.6288 | 2.0253 | 0.08 | 113.4051 | 0.043449 | 0.029949 | 5.2207 | 689.3358 | 2.0732 | 0.0018878 | 2.4564e-06 | 2.9296e-05 | 1.8049 | 3752.2472 | 2470.8516 | 3654.0738 | 2276.8604 | 3.2686 | 2.1817 | 2.3425 | 2.3524 | -1 | -1 | -1 | -1 | 1.8028 | 1.407 | -1 | -1 | -1 | 2.0546 | 2.0053 | 0.156 | 1.5811 | 2.1622 | 2119.848 | -1 | -1
|  | 28 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0561 | 0 | BB | 242.7978 | 48.277 | 0.078675 | 0.55349 | 0 |  | -1 | -1 | 3 | -1 | 286 | 346 | 1.9013 | 2.2747 | 0.0066667 | 71 | -1 | 2.0003 | 0.19905 | 27.8828 | 2.0013 | 0.18952 | 28.1686 | 2.0073 | 0.13311 | 87.1871 | 25.5812 | 79.281 | 26.1605 | 2.0298 | 53.9553 | 2.0904 | 57.671 | 2.026 | 0.078095 | 49.6026 | 0.039592 | 0.93914 | 1.6502 | 242.7933 | 2.0738 | 0.0015676 | 5.8286e-05 | 1.1427e-05 | 1.7768 | 3811.8564 | 2663.6279 | 3834.495 | 2743.413 | 3.6284 | 2.996 | 3.3481 | 3.3624 | -1 | -1 | -1 | -1 | 2.9447 | 1.4071 | -1 | -1 | -1 | 2.0546 | 2.006 | 0.15143 | 1.5588 | 2.1176 | 2279.5092 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0562 | 0 | BB | 463.1078 | 90.6368 | 0.079611 | 0.54815 | 0 |  | -1 | -1 | 2 | -1 | 285 | 346 | 1.9013 | 2.2741 | 0.0066667 | 72 | -1 | 2.0003 | 0.20952 | 46.9287 | 2.0003 | 0.2 | 47.4653 | 2.007 | 0.13433 | 158.1761 | 42.5594 | 143.3054 | 43.7854 | 2.0263 | 87.8825 | 2.0903 | 103.4623 | 2.026 | 0.079048 | 87.7119 | 0.040776 | 0.92593 | 1.5912 | 463.18 | 2.0745 | 0.0016626 | 6.2774e-05 | 1.2692e-05 | 1.8421 | 3742.9353 | 2403.9242 | 3742.6542 | 2588.3172 | 3.3169 | 2.1805 | 2.4607 | 2.4711 | -1 | -1 | -1 | -1 | 1.8418 | 1.4071 | -1 | -1 | -1 | 2.0546 | 2.006 | 0.15524 | 1.598 | 2.1961 | 2119.6385 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 3.1853 | 0 | BV | 409.6783 | 37.2504 | 0.17031 | 0.87097 | 0 |  | -1 | -1 | 1 | -1 | 428 | 501 | 2.9946 | 3.3284 | 0.0066667 | 84 | -1 | 2.9946 | 0.33383 | 72.1466 | 2.9946 | 0.33383 | 72.3702 | 3.0454 | 0.30584 | 115.8436 | 73.5575 | 114.8237 | 67.0096 | 3.1117 | 93.6097 | 3.2513 | 95.7965 | 3.0957 | 0.18 | 89.1452 | 0.055758 | -0.07692 | -0.51899 | 262.2625 | 3.178 | 0.0031089 | -1.3334e-05 | 2.398e-05 | 0.86334 | 1738.3292 | 2279.8811 | 1737.7155 | 3248.7064 | 5.1326 | 5.223 | 5.1031 | 5.1248 | -1 | -1 | -1 | -1 | 5.5683 | 1.5492 | -1 | 2.5288 | 2.5288 | 3.1879 | 2.9946 | 0.33383 | 0.86334 | 0.72669 | 1448.0926 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 3.1895 | 0 | BB | 180.2265 | 19.8786 | 0.14777 | 1.2784 | 0 |  | -1 | -1 | 2 | -1 | 435 | 500 | 3.0079 | 3.3239 | 0.0066667 | 76 | -1 | 3.0746 | 0.24932 | 72.8926 | 3.0746 | 0.24932 | 73.0121 | 3.0552 | 0.24531 | 98.3233 | 67.7699 | 96.1556 | 75.6162 | 3.1119 | 80.6626 | 3.2517 | 84.6491 | 3.1168 | 0.15 | 81.9757 | 0.055146 | -0.090721 | -0.52327 | 179.4826 | 3.1785 | 0.0030411 | -1.5214e-05 | 2.2905e-05 | 1.1 | 2702.015 | 4087.2208 | 2502.3103 | 3322.0852 | 5.9706 | 6.175 | 5.814 | 5.8388 | -1 | -1 | -1 | -1 | 5.7547 | 1.5512 | -1 | -1 | -1 | 3.1879 | 3.0801 | 0.24377 | 1.1309 | 1.2618 | 2839.349 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 3.4413 | 0 | VB | 299.8481 | 28.6534 | 0.16409 | 0.95432 | 0 |  | -1 | -1 | 1 | -1 | 500 | 592 | 3.3284 | 3.6279 | 0.0066667 | 103 | -1 | 3.3284 | 0.24617 | 66.343 | 3.3284 | 0.24484 | 66.5148 | 3.2638 | 0.31907 | 96.7982 | 68.8816 | 102.8769 | 62.0505 | 3.386 | 88.0998 | 3.5248 | 78.8095 | 3.3284 | 0.19551 | 79.405 | 0.050629 | 0.0298 | -0.61693 | 168.7052 | 3.4576 | 0.0025633 | 3.8675e-06 | 1.5659e-05 | 1.0849 | 1861.1829 | 4885.2875 | 1716.4007 | 4663.7911 | 0.81935 | 1.1035 | 0.80109 | 0.8045 | -1 | -1 | -1 | -1 | 1.3138 | 1.0804 | 1.9451 | -1 | 1.9451 | 3.4413 | 3.3284 | 0.23817 | 1.0554 | 1.1107 | 3687.5515 | -1 | -1
|  | 22 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 3.4472 | 0 | BB | 127.356 | 14.5391 | 0.14419 | 0.71201 | 0 |  | -1 | -1 | 2 | -1 | 500 | 584 | 3.3279 | 3.6146 | 0.0066667 | 95 | -1 | 3.3279 | 0.224 | 72.6068 | 3.3279 | 0.22267 | 72.6942 | 3.3423 | 0.23582 | 89.2855 | 75.8469 | 92.2636 | 67.182 | 3.3869 | 81.5632 | 3.5269 | 76.991 | 3.3679 | 0.148 | 79.2464 | 0.052256 | 0.062598 | -0.58055 | 127.356 | 3.46 | 0.0027307 | 8.9324e-06 | 1.8041e-05 | 0.92778 | 3420.4769 | 5923.2126 | 3006.7676 | 4384.1401 | 1.0711 | 1.361 | 1.016 | 1.0203 | -1 | -1 | -1 | -1 | 1.3107 | 1.0808 | -1 | -1 | -1 | 3.4479 | 3.3279 | 0.21867 | 0.91111 | 0.82222 | 4203.9061 | -1 | -1
|  | 23 | 1 | 22 | 6 | 4 | 0 | 0 | 0 | 5.4431 | 0 | BB | 30.9496 | 7.2959 | 0.061491 | 0.41517 | 0 |  | -1 | -1 | 1 | -1 | 799 | 848 | 5.4012 | 5.6413 | 0.0066667 | 60 | -1 | 5.4012 | 0.085 | 71.3493 | 5.4012 | 0.085 | 71.3915 | 5.4081 | 0.083585 | 79.8901 | 72.7603 | 80.1313 | 68.4169 | 5.4239 | 75.9703 | 5.4642 | 75.0423 | 5.4154 | 0.0525 | 74.558 | 0.043367 | 1.1445 | 0.76852 | 30.9496 | 5.471 | 0.0018807 | 9.3343e-05 | 1.3329e-05 | 1.0625 | 67805.0536 | 102446.7884 | 59509.8038 | 15915.4539 | 9.9431 | 15.1115 | 9.4841 | 9.5245 | -1 | -1 | -1 | -1 | 10.7101 | 1.5817 | -1 | -1 | -1 | 5.4413 | 5.4012 | 0.081667 | 1.0208 | 1.0417 | 80777.7321 | -1 | -1
|  | 25 | 2 | 21 | 6 | 3 | 0 | 0 | 0 | 5.4465 | 0 | BV | 89.8494 | 9.079 | 0.12746 | 0.60658 | 0 |  | -1 | -1 | 2 | -1 | 780 | 858 | 5.2879 | 5.7079 | 0.0066667 | 89 | -1 | 5.3079 | 0.39999 | 101.3868 | 5.3092 | 0.39865 | 101.4403 | 5.3815 | 0.14345 | 111.6155 | 100.7826 | 110.7826 | 101.2399 | 5.4221 | 107.5529 | 5.4635 | 108.7136 | 5.4039 | 0.13733 | 105.4541 | 0.080118 | 0.32481 | -0.31038 | 81.2979 | 5.4729 | 0.0064189 | 0.00016704 | 0.00011082 | 1.4375 | 23075.4311 | 4637.7872 | 8718.0379 | 4666.4239 | 10.543 | 8.0103 | 8.2332 | 8.2682 | -1 | -1 | -1 | -1 | 7.6032 | 1.58 | -1 | 13.3732 | 13.3732 | 5.4479 | 5.3186 | 0.38932 | 1.5051 | 2.0102 | 2504.6085 | -1 | -1
|  | 31 | 1 | 24 | 7 | 3 | 0 | 0 | 0 | 5.7587 | 0 | BB | 59.0957 | 22.0581 | 0.043256 | 0.91254 | 0 |  | -1 | -1 | 1 | -1 | 852 | 877 | 5.712 | 5.8346 | 0.0066667 | 36 | -1 | 5.712 | 0.08691 | 56.8818 | 5.712 | 0.086433 | 57.0117 | 5.7239 | 0.069916 | 85.0562 | 57.091 | 84.1631 | 54.9144 | 5.739 | 69.23 | 5.7792 | 67.1038 | 5.7355 | 0.044762 | 66.7511 | 0.017036 | 0.26501 | -0.14107 | 58.9368 | 5.7574 | 0.00029022 | 1.3103e-06 | 2.4081e-07 | 0.87677 | 108642.2392 | 109859.3673 | 91775.3584 | 114213.2001 | 4.1116 | 4.5891 | 3.8123 | 3.8285 | -1 | -1 | -1 | -1 | 2.3707 | 1.058 | -1 | -1 | -1 | 5.7613 | 5.7189 | 0.07619 | 0.89888 | 0.79775 | 95239.446 | -1 | -1
|  | 32 | 6 | 25 | 7 | 4 | 0 | 0 | 0 | 5.759 | 0 | BB | 9.9077 | 3.7079 | 0.043174 | 0.99586 | 0 |  | -1 | -1 | 6 | -1 | 852 | 879 | 5.7013 | 5.8446 | 0.0066667 | 38 | -1 | 5.7179 | 0.087143 | 13.0015 | 5.7184 | 0.085714 | 13.0228 | 5.7238 | 0.069356 | 17.8184 | 12.8314 | 17.5323 | 12.8571 | 5.7388 | 14.9621 | 5.7789 | 14.8072 | 5.736 | 0.045238 | 14.6203 | 0.017267 | 0.31962 | 0.15667 | 9.913 | 5.7597 | 0.00029813 | 1.6453e-06 | 2.8057e-07 | 1 | 110403.5361 | 109272.2438 | 89853.4146 | 111271.4583 | 80.5277 | 52.271 | 71.1512 | 71.454 | -1 | -1 | -1 | -1 | 60.4515 | 17.5404 | -1 | -1 | -1 | 5.7613 | 5.7213 | 0.077619 | 0.97024 | 0.94048 | 99312.1956 | -1 | -1
|  | 29 | 2 | 26 | 7 | 4 | 0 | 0 | 0 | 5.7591 | 0 | VB | 41.6154 | 14.9943 | 0.04438 | 1.0214 | 0 |  | -1 | -1 | 2 | -1 | 857 | 878 | 5.7079 | 5.838 | 0.0066667 | 32 | -1 | 5.7158 | 0.093333 | 102.6399 | 5.7167 | 0.09125 | 102.7281 | 5.7228 | 0.071294 | 121.857 | 101.8706 | 120.7917 | 102.0979 | 5.7394 | 110.9785 | 5.7796 | 109.8723 | 5.7363 | 0.045 | 109.3431 | 0.016977 | 0.22998 | -0.17664 | 38.9494 | 5.7598 | 0.00028822 | 1.1253e-06 | 2.3455e-07 | 1.0234 | 104483.3711 | 95257.6575 | 90806.7598 | 115100.9653 | 2.9112 | 1.5841 | 2.0144 | 2.023 | -1 | -1 | -1 | -1 | 1.477 | 1.0574 | 22.0863 | -1 | 22.0863 | 5.7613 | 5.7213 | 0.07875 | 0.98437 | 0.96875 | 97792.0661 | -1 | -1
|  | 35 | 5 | 27 | 7 | 4 | 0 | 0 | 0 | 5.7591 | 0 | BB | 11.0126 | 4.1676 | 0.042828 | 1.0343 | 0 |  | -1 | -1 | 5 | -1 | 852 | 875 | 5.7013 | 5.8212 | 0.0066667 | 34 | -1 | 5.7213 | 0.1 | 21.4004 | 5.7217 | 0.091556 | 21.4249 | 5.7239 | 0.06895 | 26.8516 | 21.0978 | 26.4621 | 21.3249 | 5.7392 | 23.6051 | 5.7792 | 23.3964 | 5.7368 | 0.044 | 23.2606 | 0.016683 | 0.19425 | -0.21206 | 11.0126 | 5.7592 | 0.00027833 | 9.0199e-07 | 2.1597e-07 | 1.1573 | 111706.9789 | 82980.0672 | 94981.2441 | 119170.4455 | 37.3403 | 34.7176 | 36.0603 | 36.2137 | -1 | -1 | -1 | -1 | 33.805 | 2.8012 | -1 | -1 | -1 | 5.7613 | 5.7244 | 0.075111 | 1.0181 | 1.0361 | 107314.2592 | -1 | -1
|  | 34 | 4 | 28 | 7 | 4 | 0 | 0 | 0 | 5.7596 | 0 | BB | 13.256 | 5.0719 | 0.042492 | 1.0976 | 0 |  | -1 | -1 | 4 | -1 | 852 | 874 | 5.7079 | 5.8124 | 0.0066667 | 33 | -1 | 5.7244 | 0.088069 | 48.2421 | 5.7244 | 0.088069 | 48.2719 | 5.724 | 0.06855 | 54.9719 | 47.6112 | 54.3181 | 48.3692 | 5.7393 | 50.7733 | 5.7794 | 50.7368 | 5.7377 | 0.043556 | 50.5065 | 0.016381 | 0.14857 | -0.31841 | 13.3389 | 5.759 | 0.00026835 | 6.531e-07 | 1.931e-07 | 1.1937 | 113016.0852 | 106985.4336 | 96929.5266 | 123593.0079 | 37.1951 | 35.4205 | 36.0547 | 36.2081 | -1 | -1 | -1 | -1 | 34.674 | 2.8014 | -1 | -1 | -1 | 5.7613 | 5.7261 | 0.086291 | 1.2288 | 1.4577 | 68649.5893 | -1 | -1
|  | 33 | 3 | 23 | 7 | 4 | 0 | 0 | 0 | 5.7597 | 0 | BB | 21.0832 | 8.0005 | 0.042745 | 1.0731 | 0 |  | -1 | -1 | 3 | -1 | 852 | 874 | 5.7079 | 5.8147 | 0.0066667 | 33 | -1 | 5.7235 | 0.091189 | 83.2001 | 5.7239 | 0.090744 | 83.2472 | 5.724 | 0.069066 | 93.7622 | 82.3059 | 92.7738 | 83.3234 | 5.7393 | 87.2166 | 5.7794 | 87.1816 | 5.7377 | 0.044 | 86.7756 | 0.016479 | 0.1552 | -0.32452 | 21.0811 | 5.7592 | 0.00027155 | 6.9448e-07 | 1.9729e-07 | 1.2153 | 111334.8159 | 99790.7792 | 94981.2441 | 122147.1982 | 36.6365 | 31.901 | 35.6414 | 35.7931 | -1 | -1 | -1 | -1 | 32.8643 | 2.8012 | -1 | -1 | -1 | 5.7613 | 5.7261 | 0.084444 | 1.2025 | 1.4051 | 73105.9043 | -1 | -1
|  | 37 | 2 | 30 | 8 | 4 | 0 | 0 | 0 | 5.9126 | 0 | BB | 589.946 | 201.6572 | 0.046131 | 0.9081 | 0 |  | -1 | -1 | 2 | -1 | 878 | 909 | 5.8479 | 6.0156 | 0.0066667 | 42 | -1 | 5.8679 | 0.097778 | 111.1868 | 5.8685 | 0.096111 | 112.3553 | 5.875 | 0.076483 | 360.0873 | 102.4059 | 349.4277 | 102.8142 | 5.8919 | 218.7362 | 5.9304 | 236.4543 | 5.8885 | 0.048889 | 199.996 | 0.019373 | 0.31367 | 0.17536 | 589.9246 | 5.9143 | 0.00037533 | 2.2808e-06 | 4.4731e-07 | 1.0422 | 95682.9203 | 91476.1743 | 81084.4809 | 93195.3508 | 2.0772 | 2.0078 | 1.9208 | 1.929 | -1 | -1 | -1 | -1 | 2.1251 | 1.0267 | -1 | -1 | -1 | 5.9146 | 5.8724 | 0.085 | 1.0066 | 1.0132 | 89213.7221 | -1 | -1
|  | 43 | 7 | 32 | 8 | 4 | 0 | 0 | 0 | 5.9126 | 0 | BB | 24.3963 | 8.4074 | 0.045854 | 0.9213 | 0 |  | -1 | -1 | 7 | -1 | 874 | 909 | 5.8479 | 5.9879 | 0.0066667 | 46 | -1 | 5.8679 | 0.09697 | 4.3079 | 5.8685 | 0.095152 | 4.3566 | 5.875 | 0.076202 | 14.6985 | 3.9294 | 14.2531 | 3.9704 | 5.8916 | 8.6875 | 5.9308 | 9.3964 | 5.8885 | 0.049091 | 8.0101 | 0.018887 | 0.21852 | -0.094415 | 24.3963 | 5.9139 | 0.00035673 | 1.4723e-06 | 3.6974e-07 | 1.0329 | 96391.6041 | 93007.1298 | 80418.4921 | 98043.7696 | 79.1044 | 50.3999 | 70.143 | 70.4415 | -1 | -1 | -1 | -1 | 60.6327 | 17.9772 | -1 | -1 | -1 | 5.9146 | 5.8728 | 0.084242 | 1.0072 | 1.0145 | 90771.961 | -1 | -1
|  | 36 | 1 | 29 | 8 | 3 | 0 | 0 | 0 | 5.9126 | 0 | BB | 1928.5741 | 655.4432 | 0.046328 | 0.90278 | 0 |  | -1 | -1 | 1 | -1 | 878 | 910 | 5.8457 | 6.0546 | 0.0066667 | 43 | -1 | 5.8674 | 0.098333 | 80.0544 | 5.8679 | 0.096667 | 83.8533 | 5.8748 | 0.076958 | 886.6573 | 52.8859 | 852.8497 | 51.5498 | 5.8917 | 425.5331 | 5.9307 | 482.971 | 5.8885 | 0.048889 | 368.776 | 0.019651 | 0.37619 | 0.45999 | 1928.5494 | 5.9122 | 0.00038615 | 2.8545e-06 | 5.1592e-07 | 1.0357 | 94506.0118 | 90445.4651 | 81084.4809 | 90520.2307 | 2.0959 | 2.0772 | 1.9311 | 1.9393 | -1 | -1 | -1 | -1 | 2.1098 | 1.0267 | -1 | -1 | -1 | 5.9146 | 5.8724 | 0.085556 | 1.0132 | 1.0263 | 87549.8534 | -1 | -1
|  | 42 | 6 | 33 | 8 | 4 | 0 | 0 | 0 | 5.9126 | 0 | BB | 22.9634 | 7.933 | 0.045771 | 0.92578 | 0 |  | -1 | -1 | 6 | -1 | 878 | 909 | 5.8479 | 5.9871 | 0.0066667 | 42 | -1 | 5.8685 | 0.096111 | 13.2758 | 5.869 | 0.094444 | 13.3217 | 5.875 | 0.076129 | 23.0819 | 12.9016 | 22.6564 | 12.9732 | 5.8919 | 17.4829 | 5.9304 | 18.1916 | 5.8885 | 0.048889 | 16.7686 | 0.018796 | 0.20728 | -0.1199 | 22.9719 | 5.9139 | 0.00035327 | 1.3763e-06 | 3.5944e-07 | 1.0366 | 96575.7567 | 94676.2664 | 81084.4809 | 98999.6251 | 2.1118 | 2.0957 | 1.9177 | 1.9258 | -1 | -1 | -1 | -1 | 2.1382 | 1.0267 | -1 | -1 | -1 | 5.9146 | 5.8729 | 0.084444 | 1.0133 | 1.0267 | 89855.1039 | -1 | -1
|  | 38 | 3 | 34 | 8 | 4 | 0 | 0 | 0 | 5.9127 | 0 | BB | 406.3881 | 139.119 | 0.04608 | 0.91231 | 0 |  | -1 | -1 | 3 | -1 | 874 | 909 | 5.8479 | 6.0023 | 0.0066667 | 46 | -1 | 5.8685 | 0.098182 | 91.109 | 5.8691 | 0.096364 | 91.9152 | 5.875 | 0.07637 | 263.1287 | 84.524 | 255.3475 | 85.8226 | 5.8916 | 163.3385 | 5.9308 | 175.738 | 5.8885 | 0.049091 | 152.3826 | 0.019283 | 0.29256 | 0.10103 | 406.3234 | 5.9142 | 0.00037183 | 2.0976e-06 | 4.2873e-07 | 1.06 | 95967.9176 | 90724.8332 | 80418.4921 | 94071.8243 | 2.104 | 2.0198 | 1.9312 | 1.9394 | -1 | -1 | -1 | -1 | 2.1672 | 1.0266 | -1 | -1 | -1 | 5.9146 | 5.8728 | 0.085455 | 1.0217 | 1.0435 | 87100.2498 | -1 | -1
|  | 41 | 4 | 35 | 8 | 4 | 0 | 0 | 0 | 5.9127 | 0 | BB | 152.2748 | 52.2057 | 0.04603 | 0.9175 | 0 |  | -1 | -1 | 4 | -1 | 874 | 909 | 5.8479 | 5.9955 | 0.0066667 | 46 | -1 | 5.8691 | 0.098788 | 51.8441 | 5.8691 | 0.09697 | 52.1467 | 5.875 | 0.076356 | 116.4537 | 49.1808 | 113.4056 | 50.0393 | 5.8916 | 78.8087 | 5.9308 | 83.6975 | 5.8885 | 0.049091 | 74.8389 | 0.019163 | 0.26617 | 0.021794 | 152.2435 | 5.9142 | 0.00036723 | 1.8731e-06 | 4.0751e-07 | 1.0667 | 96001.2771 | 89615.0597 | 80418.4921 | 95247.0082 | 2.1133 | 2.0485 | 1.9419 | 1.9501 | -1 | -1 | -1 | -1 | 2.1832 | 1.0266 | -1 | -1 | -1 | 5.9146 | 5.8728 | 0.085455 | 1.0217 | 1.0435 | 87100.2498 | -1 | -1
|  | 40 | 5 | 31 | 8 | 4 | 0 | 0 | 0 | 5.9127 | 0 | BB | 23.7352 | 8.1926 | 0.0458 | 0.93275 | 0 |  | -1 | -1 | 5 | -1 | 878 | 909 | 5.8479 | 5.9846 | 0.0066667 | 42 | -1 | 5.8696 | 0.099444 | 22.0461 | 5.8701 | 0.097222 | 22.0936 | 5.875 | 0.076214 | 32.2012 | 21.5633 | 31.6925 | 21.8228 | 5.8919 | 26.3381 | 5.9304 | 27.1665 | 5.889 | 0.048333 | 25.6533 | 0.018862 | 0.21744 | -0.10578 | 23.7818 | 5.9139 | 0.00035576 | 1.4591e-06 | 3.663e-07 | 1.0937 | 96360.4733 | 88435.6286 | 82959.2047 | 98310.4667 | 2.1162 | 1.9253 | 1.9546 | 1.9629 | -1 | -1 | -1 | -1 | 2.1769 | 1.0267 | -1 | -1 | -1 | 5.9146 | 5.8735 | 0.085 | 1.0338 | 1.0676 | 87119.2462 | -1 | -1
|  | 44 | 1 | 37 | 9 | 3 | 0 | 0 | 0 | 6.3566 | 0 | BB | 1680.4524 | 545.9097 | 0.047913 | 0.92173 | 0 |  | -1 | -1 | 1 | -1 | 940 | 1003 | 6.2879 | 6.6746 | 0.0066667 | 74 | -1 | 6.307 | 0.1019 | 68.2027 | 6.3079 | 0.1 | 71.3721 | 6.3167 | 0.081385 | 713.0283 | 45.5517 | 721.8573 | 44.2827 | 6.337 | 386.1051 | 6.3787 | 359.4827 | 6.3317 | 0.051429 | 309.0766 | 0.021763 | 1.2354 | 10.1503 | 1680.4523 | 6.3581 | 0.00047361 | 1.2733e-05 | 2.9497e-06 | 1.0714 | 97546.0232 | 97213.1935 | 84581.4258 | 85356.6619 | 5.6075 | 5.5429 | 5.2 | 5.2221 | -1 | -1 | -1 | -1 | 5.3839 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.3127 | 0.089524 | 1.0682 | 1.1364 | 88043.3344 | -1 | -1
|  | 45 | 2 | 38 | 9 | 4 | 0 | 0 | 0 | 6.3566 | 0 | BB | 1076.3914 | 350.6983 | 0.047808 | 0.92819 | 0 |  | -1 | -1 | 2 | -1 | 940 | 978 | 6.2746 | 6.5052 | 0.0066667 | 49 | -1 | 6.3079 | 0.10133 | 119.7282 | 6.3086 | 0.099333 | 121.7639 | 6.317 | 0.080805 | 534.6805 | 104.5685 | 541.1396 | 105.0658 | 6.3382 | 334.5167 | 6.3779 | 315.5027 | 6.3312 | 0.051333 | 274.4388 | 0.02061 | 0.34046 | 0.91124 | 1076.5116 | 6.3579 | 0.00042479 | 2.9808e-06 | 7.0577e-07 | 1.0797 | 98951.3445 | 98312.6742 | 84895.5627 | 95158.627 | 5.6459 | 5.575 | 5.2056 | 5.2278 | -1 | -1 | -1 | -1 | 5.5471 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.3133 | 0.088667 | 1.0726 | 1.1452 | 89424.1222 | -1 | -1
|  | 2 | 3 | 39 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 524.012 | 171.3985 | 0.047668 | 0.93808 | 0 |  | -1 | -1 | 3 | -1 | 940 | 977 | 6.2812 | 6.4472 | 0.0066667 | 48 | -1 | 6.3085 | 0.10121 | 99.4198 | 6.3091 | 0.099394 | 100.4145 | 6.317 | 0.080722 | 302.4549 | 91.4301 | 305.33 | 92.923 | 6.3381 | 203.8386 | 6.3776 | 197.037 | 6.3316 | 0.050909 | 175.0193 | 0.020077 | 0.1441 | 0.010099 | 524.0889 | 6.3576 | 0.00040311 | 1.1663e-06 | 4.8912e-07 | 1.0933 | 99153.2443 | 98548.2947 | 86316.3843 | 100270.0887 | 5.6529 | 5.5671 | 5.2172 | 5.2394 | -1 | -1 | -1 | -1 | 5.6324 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.314 | 0.088485 | 1.0896 | 1.1791 | 88537.2842 | -1 | -1
|  | 6 | 8 | 40 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 104.0804 | 33.6748 | 0.048059 | 0.91442 | 0 |  | -1 | -1 | 8 | -1 | 939 | 1007 | 6.2546 | 6.7013 | 0.0066667 | 79 | -1 | 6.3079 | 0.10111 | 8.387 | 6.3079 | 0.1 | 8.5824 | 6.3167 | 0.081467 | 48.0724 | 6.9677 | 48.6388 | 6.9386 | 6.3366 | 27.4328 | 6.3787 | 26.5617 | 6.3312 | 0.052222 | 23.2362 | 0.024037 | 2.2945 | 18.3742 | 104.0804 | 6.3588 | 0.00057778 | 3.1866e-05 | 7.1352e-06 | 1.0714 | 97349.9267 | 98745.2927 | 82030.0973 | 69983.2881 | 82.0902 | 53.4625 | 73.2641 | 73.5759 | -1 | -1 | -1 | -1 | 59.0369 | 19.3048 | -1 | -1 | -1 | 6.3546 | 6.3135 | 0.088889 | 1.0811 | 1.1622 | 88350.4484 | -1 | -1
|  | 3 | 5 | 41 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 331.7227 | 108.2113 | 0.047764 | 0.9301 | 0 |  | -1 | -1 | 5 | -1 | 940 | 977 | 6.2746 | 6.4985 | 0.0066667 | 48 | -1 | 6.3079 | 0.10121 | 27.5326 | 6.3085 | 0.099394 | 28.1604 | 6.3171 | 0.080713 | 155.613 | 22.8121 | 157.5976 | 23.0624 | 6.3381 | 93.4211 | 6.3776 | 89.1234 | 6.3316 | 0.050909 | 75.2484 | 0.020554 | 0.32145 | 0.81522 | 331.782 | 6.3579 | 0.00042246 | 2.7912e-06 | 6.8092e-07 | 1.0789 | 99176.3838 | 98548.2947 | 86316.3843 | 95684.0525 | 5.6581 | 5.5313 | 5.2563 | 5.2786 | -1 | -1 | -1 | -1 | 5.6318 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.3134 | 0.089091 | 1.0809 | 1.1618 | 87964.7145 | -1 | -1
|  | 1 | 4 | 42 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 330.1732 | 108.0483 | 0.047651 | 0.93887 | 0 |  | -1 | -1 | 4 | -1 | 940 | 977 | 6.2812 | 6.447 | 0.0066667 | 48 | -1 | 6.3085 | 0.10121 | 58.6932 | 6.3091 | 0.099394 | 59.3202 | 6.317 | 0.080682 | 186.7036 | 53.6426 | 188.5116 | 54.6151 | 6.3381 | 124.4319 | 6.3776 | 120.2668 | 6.3316 | 0.050909 | 106.3449 | 0.020068 | 0.14277 | 0.010886 | 330.2355 | 6.3576 | 0.00040271 | 1.1538e-06 | 4.8828e-07 | 1.0933 | 99252.1363 | 98548.2947 | 86316.3843 | 100369.757 | 5.6544 | 5.5498 | 5.2168 | 5.239 | -1 | -1 | -1 | -1 | 5.6518 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.314 | 0.088485 | 1.0896 | 1.1791 | 88537.2842 | -1 | -1
|  | 4 | 6 | 43 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 433.1069 | 140.9936 | 0.047838 | 0.92508 | 0 |  | -1 | -1 | 6 | -1 | 939 | 1000 | 6.2546 | 6.6579 | 0.0066667 | 72 | -1 | 6.3079 | 0.10095 | 19.0119 | 6.3079 | 0.1 | 19.8298 | 6.3169 | 0.081136 | 185.7042 | 13.0126 | 188.2099 | 13.0154 | 6.3372 | 101.0826 | 6.3785 | 95.8377 | 6.3317 | 0.051429 | 81.1729 | 0.021457 | 0.93998 | 6.4915 | 433.1056 | 6.3582 | 0.00046042 | 9.2866e-06 | 2.0121e-06 | 1.0714 | 98144.1823 | 99056.0566 | 84581.4258 | 87802.2921 | 5.6478 | 5.634 | 5.2016 | 5.2238 | -1 | -1 | -1 | -1 | 5.5188 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.3136 | 0.088571 | 1.0814 | 1.1628 | 88961.7392 | -1 | -1
|  | 5 | 7 | 36 | 9 | 4 | 0 | 0 | 0 | 6.3567 | 0 | BB | 337.4742 | 109.7094 | 0.047888 | 0.92265 | 0 |  | -1 | -1 | 7 | -1 | 939 | 1003 | 6.2546 | 6.6746 | 0.0066667 | 75 | -1 | 6.3079 | 0.10111 | 8.5562 | 6.3079 | 0.1 | 9.1926 | 6.3169 | 0.081196 | 138.2179 | 3.9015 | 140.0908 | 3.8747 | 6.3371 | 71.9539 | 6.3787 | 67.6997 | 6.3312 | 0.052222 | 56.9246 | 0.02211 | 1.3797 | 10.9109 | 337.4743 | 6.3583 | 0.00048885 | 1.4912e-05 | 3.3244e-06 | 1.0714 | 97999.4732 | 98745.2927 | 82030.0973 | 82700.5655 | 5.6432 | 5.6052 | 5.1507 | 5.1726 | -1 | -1 | -1 | -1 | 5.4197 | 1.0751 | -1 | -1 | -1 | 6.3546 | 6.3135 | 0.088889 | 1.0811 | 1.1622 | 88350.4484 | -1 | -1
|  | 8 | 1 | 45 | 10 | 3 | 0 | 0 | 0 | 6.8278 | 0 | BB | 37.869 | 8.7816 | 0.062311 | 1.8619 | 0 |  | -1 | -1 | 1 | -1 | 1006 | 1054 | 6.7129 | 6.9012 | 0.0066667 | 59 | -1 | 6.7129 | 0.16084 | 39.2868 | 6.7129 | 0.16084 | 39.338 | 6.7844 | 0.08311 | 49.2482 | 39.1475 | 49.8259 | 38.6975 | 6.8107 | 45.2708 | 6.8506 | 43.4271 | 6.7988 | 0.054167 | 43.1741 | 0.034626 | -0.41638 | -0.76715 | 37.8604 | 6.8071 | 0.001199 | -1.7286e-05 | 3.2097e-06 | 0.69926 | 107991.9068 | 45053.5742 | 88028.2296 | 38646.9873 | 5.7297 | 4.484 | 5.2438 | 5.2661 | -1 | -1 | -1 | -1 | 3.9808 | 1.0741 | -1 | -1 | -1 | 6.8279 | 6.7229 | 0.14667 | 0.69841 | 0.39683 | 23972.2217 | -1 | -1
|  | 7 | 2 | 44 | 10 | 4 | 0 | 0 | 0 | 6.8292 | 0 | BB | 13.2074 | 5.1612 | 0.041855 | 0.94293 | 0 |  | -1 | -1 | 2 | -1 | 1013 | 1045 | 6.7879 | 6.8812 | 0.0066667 | 43 | -1 | 6.7879 | 0.082778 | 110.6186 | 6.789 | 0.081111 | 110.6484 | 6.7955 | 0.069451 | 116.9733 | 110.4427 | 116.8182 | 110.3519 | 6.812 | 113.6271 | 6.8517 | 112.7486 | 6.8074 | 0.044444 | 112.8807 | 0.015802 | 0.11381 | -0.46035 | 13.2074 | 6.8302 | 0.0002497 | 4.4905e-07 | 1.5835e-07 | 1.0429 | 154646.768 | 170093.9654 | 130752.8684 | 186831.6641 | 6.2912 | 6.4179 | 5.7983 | 5.823 | -1 | -1 | -1 | -1 | 6.486 | 1.0744 | -1 | -1 | -1 | 6.8279 | 6.7929 | 0.073889 | 1.0556 | 1.1111 | 150812.6539 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 00:52:27
ResNewDateTime | 03 September 2019 00:52:27
ResModBy | SYSTEM
ResModTime | 09/03/19 00:52:28
ResModDateTime | 03 September 2019 00:52:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7847.9919

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7847.9919

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4869.1794

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2193.0713

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 768.2064

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 492.0535

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 507.802

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 398.9548

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.7503

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7847.9919

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4869.1794

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2193.0713

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 768.2064

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 492.0535

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 507.802

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 398.9548

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.7503

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.34659 | 1542.6987 | 175.1469 | 0.12276 | 1.595 | -15.7668 | 0.00125 | 0 | 43.8066 | 0.52125 | -7.1054e-15 | -45.8965 | 1 | -172.5059 | 44.0222 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4614 | 1169.5142 | 50.0044 | 0.28486 | 4.3494 | 8.035 | 0.80125 | 0 | -46.1164 | 1.6028 | 1.7764e-14 | 19.6357 | 1 | 82.0344 | -111.8464 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0561 | 689.3117 | 134.6991 | 0.079703 | 0.55803 | 46.9606 | 1.7479 | 0 | 43.1786 | 2.2745 | 0 | 49.6406 | 1 | 12.2718 | 21.7285 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 3.1853 | 409.6783 | 37.2504 | 0.17031 | 0.87097 | 70.5624 | 2.9946 | 1.4211e-14 | 74.6455 | 3.3284 | 14.7307 | 67.4985 | 1 | -21.4095 | 138.758 | 0 | 0 | 0
DateTime |  | 32 | 8 | 3.4413 | 299.8481 | 28.6534 | 0.16409 | 0.95432 | 65.0813 | 3.3284 | 14.7307 | 67.4985 | 3.6279 | 1.4211e-14 | 61.0862 | 1 | -21.4095 | 138.758 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 5.4431 | 30.9496 | 7.2959 | 0.061491 | 0.41517 | 70.9426 | 5.4012 | 0 | 73.1182 | 5.6413 | 0 | 60.647 | 1 | -51.9633 | 353.7852 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 5.7587 | 59.0957 | 22.0581 | 0.043256 | 0.91254 | 56.0093 | 5.712 | 7.1054e-15 | 57.464 | 5.8346 | 0 | 53.6466 | 1 | -31.131 | 235.2833 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.9126 | 1928.5741 | 655.4432 | 0.046328 | 0.90278 | 52.2297 | 5.8457 | -7.1054e-15 | 53.3914 | 6.0546 | 0 | 49.7646 | 1 | -17.3616 | 154.882 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.3566 | 1680.4524 | 545.9097 | 0.047913 | 0.92173 | 44.9297 | 6.2879 | 0 | 46 | 6.6746 | 0 | 39.9709 | 1 | -15.5926 | 144.0448 | 0 | 0 | 0
|  | 0 | 8 | 6.8278 | 37.869 | 8.7816 | 0.062311 | 1.8619 | 38.9123 | 6.7129 | -7.1054e-15 | 39.5345 | 6.9012 | -7.1054e-15 | 38.5146 | 1 | -5.415 | 75.885 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.3392 | 1564.4803 | 150.1538 | 0.14156 | 2.0306 | 41.4257 | 0.00125 | 0 | 123.1637 | 0.50792 | -1.4211e-14 | 0.62084 | 1 | -241.8609 | 123.466 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4613 | 722.9992 | 34.0869 | 0.25946 | 3.857 | 17.1378 | 0.83458 | 0 | -13.464 | 1.6037 | 1.0658e-14 | 24.0925 | 1 | 48.8281 | -54.2151 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0562 | 463.1078 | 90.6368 | 0.079611 | 0.54815 | 43.0078 | 1.9013 | 0 | 41.594 | 2.2741 | 0 | 44.9965 | 1 | 9.1266 | 24.2421 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 3.1895 | 180.2265 | 19.8786 | 0.14777 | 1.2784 | 72.0672 | 3.0079 | 0 | 66.2589 | 3.3239 | 0 | 76.3657 | 1 | 31.9846 | -29.9482 | 0 | 0 | 0
DateTime |  | 0 | 8 | 3.4472 | 127.356 | 14.5391 | 0.14419 | 0.71201 | 71.9929 | 3.3279 | -1.4211e-14 | 76.3755 | 3.6146 | -2.8422e-14 | 65.8422 | 1 | -36.7442 | 198.6571 | 0 | 0 | 0
IntegStart | 0 | 2 | 8 | 5.4465 | 89.8494 | 9.079 | 0.12746 | 0.60658 | 100.9899 | 5.2879 | 0 | 100.4844 | 5.7079 | 0.6789 | 101.8231 | 1 | 3.1875 | 83.629 | 0 | 0 | 0
IntegEnd | 0 | 32 | 8 | 5.7591 | 41.6154 | 14.9943 | 0.04438 | 1.0214 | 101.9863 | 5.7079 | 0.6789 | 101.8231 | 5.838 | 0 | 102.2379 | 1 | 3.1875 | 83.629 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.9126 | 589.946 | 201.6572 | 0.046131 | 0.9081 | 102.6068 | 5.8479 | 0 | 102.2615 | 6.0156 | 0 | 103.1568 | 1 | 5.3389 | 71.0402 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.3566 | 1076.3914 | 350.6983 | 0.047808 | 0.92819 | 104.8124 | 6.2746 | 0 | 104.3076 | 6.5052 | -1.4211e-14 | 105.7268 | 1 | 6.1541 | 65.6932 | 0 | 0 | 0
|  | 0 | 8 | 6.8292 | 13.2074 | 5.1612 | 0.041855 | 0.94293 | 110.3986 | 6.7879 | 0 | 110.4527 | 6.8812 | 0 | 110.3306 | 1 | -1.3079 | 119.3305 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.3243 | 915.5469 | 89.6571 | 0.13114 | 1.9235 | 56.656 | 0.04125 | 0 | 117.2838 | 0.49458 | 1.4211e-14 | 20.1831 | 1 | -214.1928 | 126.1193 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4613 | 83.2433 | 10.5871 | 0.10373 | 0.64982 | 18.8228 | 1.2946 | 0 | 20.3366 | 1.6076 | 0 | 17.4935 | 1 | -9.0827 | 32.0949 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0561 | 242.7978 | 48.277 | 0.078675 | 0.55349 | 25.7938 | 1.9013 | 0 | 25.1198 | 2.2747 | 0 | 26.7451 | 1 | 4.3518 | 16.846 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.7597 | 21.0832 | 8.0005 | 0.042745 | 1.0731 | 82.8317 | 5.7079 | 0 | 82.0694 | 5.8147 | 0 | 83.642 | 1 | 14.7324 | -2.0219 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.9127 | 406.3881 | 139.119 | 0.04608 | 0.91231 | 85.1638 | 5.8479 | 0 | 84.063 | 6.0023 | 0 | 86.6887 | 1 | 17.0036 | -15.3727 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.3567 | 524.012 | 171.3985 | 0.047668 | 0.93808 | 92.1637 | 6.2812 | 0 | 90.7688 | 6.4472 | 0 | 93.8384 | 1 | 18.4948 | -25.4016 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.3213 | 145.1409 | 31.6462 | 0.065508 | 1.0599 | 52.1804 | 0.22125 | 0 | 70.8075 | 0.43458 | 1.4211e-14 | 31.0884 | 1 | -186.1833 | 112.0005 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.056 | 127.3614 | 26.234 | 0.07464 | 0.56213 | 22.4442 | 1.9079 | 0 | 22.233 | 2.2801 | 0 | 22.764 | 1 | 1.4265 | 19.5115 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.7596 | 13.256 | 5.0719 | 0.042492 | 1.0976 | 48.0053 | 5.7079 | 0 | 47.4339 | 5.8124 | 0 | 48.5895 | 1 | 11.057 | -15.6786 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.9127 | 152.2748 | 52.2057 | 0.04603 | 0.9175 | 49.6043 | 5.8479 | 0 | 48.8758 | 5.9955 | 0 | 50.5351 | 1 | 11.2431 | -16.8728 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3567 | 330.1732 | 108.0483 | 0.047651 | 0.93887 | 54.1206 | 6.2812 | 0 | 53.2112 | 6.447 | 0 | 55.2096 | 1 | 12.0542 | -22.5043 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32433 | 63.7901 | 17.8647 | 0.053659 | 1.2775 | 22.5256 | 0.20792 | 0 | 28.3785 | 0.41458 | 3.5527e-15 | 17.9877 | 1 | -50.2779 | 38.8321 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0559 | 61.7929 | 12.8604 | 0.074057 | 0.56182 | 15.6426 | 1.9146 | 0 | 15.5864 | 2.3286 | 0 | 15.751 | 1 | 0.39759 | 14.8251 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.7591 | 11.0126 | 4.1676 | 0.042828 | 1.0343 | 21.2139 | 5.7013 | 0 | 21.0233 | 5.8212 | 0 | 21.4186 | 1 | 3.2942 | 2.2425 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.9127 | 23.7352 | 8.1926 | 0.0458 | 0.93275 | 21.6917 | 5.8479 | 0 | 21.471 | 5.9846 | 0 | 21.9364 | 1 | 3.4053 | 1.557 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3567 | 331.7227 | 108.2113 | 0.047764 | 0.9301 | 22.9349 | 6.2746 | 0 | 22.6803 | 6.4985 | 0 | 23.3748 | 1 | 3.1019 | 3.2174 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32833 | 41.824 | 14.035 | 0.046766 | 1.211 | 13.1192 | 0.19458 | 0 | 14.5521 | 0.41458 | 0 | 12.1951 | 1 | -10.7137 | 16.6368 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.759 | 9.9077 | 3.7079 | 0.043174 | 0.99586 | 12.8444 | 5.7013 | 0 | 12.8231 | 5.8446 | 0 | 12.876 | 1 | 0.36927 | 10.7178 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.9126 | 22.9634 | 7.933 | 0.045771 | 0.92578 | 12.9369 | 5.8479 | 0 | 12.876 | 5.9871 | 0 | 13.007 | 1 | 0.94097 | 7.3733 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3567 | 433.1069 | 140.9936 | 0.047838 | 0.92508 | 13.014 | 6.2546 | 0 | 13.0105 | 6.6579 | 0 | 13.0243 | 1 | 0.034285 | 12.7961 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32889 | 37.0842 | 12.7395 | 0.045961 | 1.1842 | 4.0482 | 0.18792 | 0 | 4.8728 | 0.42792 | -4.4409e-16 | 3.469 | 1 | -5.8492 | 5.972 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.9126 | 24.3963 | 8.4074 | 0.045854 | 0.9213 | 3.9496 | 5.8479 | 0 | 3.9148 | 5.9879 | 0 | 3.9902 | 1 | 0.53814 | 0.76781 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3567 | 337.4742 | 109.7094 | 0.047888 | 0.92265 | 3.8884 | 6.2546 | 0 | 3.922 | 6.6746 | 0 | 3.7837 | 1 | -0.32924 | 5.9813 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32928 | 36.6699 | 12.5828 | 0.046 | 1.1845 | 7.159 | 0.18792 | 8.8818e-16 | 7.9207 | 0.42792 | 8.8818e-16 | 6.6276 | 1 | -5.3883 | 8.9333 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3567 | 104.0804 | 33.6748 | 0.048059 | 0.91442 | 6.9534 | 6.2546 | 0 | 6.99 | 6.7013 | 0 | 6.8302 | 1 | -0.35763 | 9.2268 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2