## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567456492
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 72
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 72
Vial | 72
SampleLocation | 72
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 21:34:52
SampleName | CS-135_0072
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 26.208
StopPressure | 62.389
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 11.4589
DAD1UVBurnTime | 158.1256
DAD1VisOnTime | 11.4583
DAD1VisBurnTime | 143.6367
StartLeftTemp | 39.997
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 8 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 7111.1418 | 1487.8821 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 4394.5583 | 782.6988 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 2048.9794 | 430.5598 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 808.6157 | 208.2388 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 493.7255 | 137.1726 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 511.2375 | 150.4183 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 407.4627 | 121.0692 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0072.D | 141.4729 | 43.3045 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31597 | 0 | BB | 178.5185 | 33.0742 | 0.076971 | 1.3644 | 0 |  | -1 | -1 | 4 | -1 | 25 | 84 | 0.18292 | 0.44292 | 0.0066667 | 70 | -1 | 0.18292 | 0.18095 | 48.8724 | 0.18292 | 0.18095 | 49.0655 | 0.26217 | 0.10436 | 82.6536 | 55.6642 | 93.5807 | 39.8255 | 0.30118 | 75.2363 | 0.3454 | 62.2906 | 0.18292 | 0.1619 | 63.5458 | 0.043296 | -0.26097 | -0.16287 | 178.5185 | 0.30421 | 0.0018746 | -2.118e-05 | 9.9695e-06 | 0.67857 | 146.9269 | 76.3612 | 21.1374 | 49.3693 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31625 | 0.18292 | 0.1781 | 0.66786 | 0.33571 | 31.0945 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.31835 | 0 | BB | 757.9031 | 81.4455 | 0.12057 | 1.6648 | 0 |  | -1 | -1 | 3 | -1 | 12 | 104 | 0.07625 | 0.48292 | 0.0066667 | 103 | -1 | 0.07625 | 0.324 | 61.7637 | 0.07625 | 0.32267 | 62.2526 | 0.23149 | 0.16583 | 144.4569 | 79.1411 | 159.9369 | 41.1188 | 0.30307 | 132.9702 | 0.3476 | 115.9267 | 0.07625 | 0.28533 | 98.9223 | 0.073996 | -0.40596 | -0.35497 | 757.9031 | 0.287 | 0.0054754 | -0.00016448 | 7.9298e-05 | 0.65405 | 60.6721 | 24.8331 | 7.0955 | 15.0434 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.07625 | 0.31867 | 0.64595 | 0.29189 | 9.1575 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.31915 | 0 | BB | 61.4199 | 17.2784 | 0.053472 | 1.2791 | 0 |  | -1 | -1 | 5 | -1 | 31 | 73 | 0.20292 | 0.40958 | 0.0066667 | 53 | -1 | 0.20292 | 0.1563 | 22.1173 | 0.20292 | 0.15556 | 22.219 | 0.2842 | 0.073366 | 41.614 | 23.2217 | 47.9087 | 19.7146 | 0.30602 | 34.703 | 0.34609 | 28.139 | 0.29181 | 0.051852 | 29.8517 | 0.031087 | -0.8306 | 0.53999 | 61.4199 | 0.30987 | 0.00096638 | -2.4952e-05 | 3.306e-06 | 0.64815 | 309.9599 | 106.7145 | 214.8633 | 99.36 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.20292 | 0.15333 | 0.63889 | 0.27778 | 38.1331 | -1 | -1
Modified | 1 | 18 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32295 | 0 | BB | 41.4658 | 13.7622 | 0.047152 | 1.2118 | 0 |  | -1 | -1 | 6 | -1 | 29 | 71 | 0.18958 | 0.40958 | 0.0066667 | 53 | -1 | 0.18958 | 0.17259 | 12.9441 | 0.18958 | 0.17185 | 13.0257 | 0.2907 | 0.066287 | 30.3487 | 12.6792 | 32.9966 | 11.9916 | 0.30613 | 21.1334 | 0.34616 | 18.6754 | 0.30069 | 0.045185 | 19.1522 | 0.027711 | -1.4133 | 2.5881 | 41.4658 | 0.31561 | 0.00076792 | -3.0076e-05 | 3.2953e-06 | 0.64444 | 379.7086 | 87.5138 | 282.9427 | 129.7171 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.18958 | 0.16963 | 0.63611 | 0.27222 | 30.6932 | -1 | -1
NextPeakSignal_ | Peak | 20 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32353 | 0 | BB | 36.7495 | 12.559 | 0.046138 | 1.1697 | 0 |  | -1 | -1 | 7 | -1 | 29 | 71 | 0.18958 | 0.42292 | 0.0066667 | 53 | -1 | 0.18958 | 0.17333 | 3.8772 | 0.18958 | 0.17259 | 3.9517 | 0.2914 | 0.065696 | 20.0284 | 3.5224 | 22.0122 | 3.1237 | 0.30614 | 11.0934 | 0.34616 | 9.2781 | 0.30144 | 0.044444 | 9.5366 | 0.026234 | -1.435 | 3.1344 | 36.7495 | 0.31748 | 0.00068825 | -2.5911e-05 | 2.9058e-06 | 0.64722 | 386.561 | 86.7674 | 292.4528 | 146.4452 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.25625 | 0.1037 | 0.77778 | 0.55556 | 132.5649 | -1 | -1
Signal_ | Signal | 27 | 8 | 7 | 1 | 4 | 0 | 0 | 0 | 0.32392 | 0 | BB | 37.008 | 12.493 | 0.04656 | 1.1934 | 0 |  | -1 | -1 | 8 | -1 | 28 | 71 | 0.18292 | 0.42292 | 0.0066667 | 54 | -1 | 0.18292 | 0.18074 | 7.094 | 0.18292 | 0.18 | 7.168 | 0.29142 | 0.066107 | 23.1836 | 6.7196 | 24.9524 | 6.3674 | 0.30615 | 14.1836 | 0.34618 | 12.64 | 0.30144 | 0.045185 | 12.7135 | 0.027358 | -1.483 | 3.2984 | 37.008 | 0.31727 | 0.00074848 | -3.0368e-05 | 3.5285e-06 | 0.64286 | 381.7773 | 79.8011 | 282.9427 | 134.4852 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32292 | 0.25773 | 0.10296 | 0.78977 | 0.57955 | 137.8467 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 8 | 1 | 4 | 0 | 0 | 0 | 0.33218 | 0 | BB | 1401.3553 | 137.3081 | 0.13307 | 1.8459 | 0 |  | -1 | -1 | 2 | -1 | 4 | 111 | 0.022917 | 0.50292 | 0.0066667 | 116 | -1 | 0.029583 | 0.395 | 50.3044 | 0.029583 | 0.395 | 51.12 | 0.24077 | 0.19245 | 194.7854 | 66.7245 | 196.0786 | 18.1793 | 0.30749 | 160.1976 | 0.37373 | 122.913 | 0.029583 | 0.35167 | 112.2966 | 0.088405 | -0.58471 | -0.21756 | 1401.3554 | 0.28895 | 0.0078155 | -0.000404 | 0.00016996 | 0.65833 | 46.9257 | 17.4051 | 4.8661 | 10.6831 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32958 | 0.029583 | 0.38833 | 0.64722 | 0.29444 | 6.4648 | -1 | -1
Compound_ | Compound | 11 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 0.34012 | 0 | BB | 1407.2233 | 159.4241 | 0.12098 | 1.4687 | 0 |  | -1 | -1 | 1 | -1 | 4 | 107 | 0.022917 | 0.51625 | 0.0066667 | 112 | -1 | 0.029583 | 0.41333 | -7.3482 | 0.029583 | 0.41167 | -6.4028 | 0.26624 | 0.17273 | 166.1424 | -0.24899 | 163.04 | -31.8602 | 0.31257 | 104.0938 | 0.37643 | 91.4451 | 0.28458 | 0.105 | 64.5025 | 0.086056 | -0.78502 | 0.2516 | 1407.2233 | 0.3087 | 0.0074057 | -0.0005003 | 0.00017833 | 0.65691 | 63.0632 | 17.2074 | 59.0892 | 12.8682 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34292 | 0.029583 | 0.40333 | 0.64362 | 0.28723 | 6.3707 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4601 | 0 | BB | 78.8389 | 10.3408 | 0.10095 | 0.59689 | 0 |  | -1 | -1 | 3 | -1 | 189 | 242 | 1.3096 | 1.6029 | 0.0066667 | 64 | -1 | 1.3096 | 0.27833 | 19.1187 | 1.3096 | 0.2775 | 19.1796 | 1.4046 | 0.1926 | 30.7701 | 19.3561 | 44.2667 | 17.0968 | 1.4388 | 26.3893 | 1.5803 | 20.4387 | 1.4229 | 0.1025 | 23.7482 | 0.058797 | -0.20258 | -0.47698 | 78.8389 | 1.4787 | 0.0034571 | -4.1178e-05 | 3.0154e-05 | 0.90489 | 923.0631 | 690.6351 | 1128.4991 | 632.4486 | 6.3707 | 4.7388 | 3.459 | 3.4738 | -1 | -1 | -1 | -1 | 4.4869 | 4.5864 | -1 | -1 | -1 | 1.4629 | 1.3096 | 0.275 | 0.89674 | 0.79348 | 470.0982 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4601 | 0 | BB | 775.058 | 34.7918 | 0.2719 | 4.0378 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.83625 | 1.6021 | 0.0066667 | 127 | -1 | 1.1179 | 0.48419 | 18.0516 | 1.1196 | 0.48252 | 18.2565 | 1.3666 | 0.22793 | 55.0048 | 11.6352 | 82.5743 | 23.2672 | 1.4371 | 44.3421 | 1.5779 | 30.6287 | 1.3529 | 0.21833 | 33.6224 | 0.17035 | -0.2546 | -0.94397 | 777.4374 | 1.2914 | 0.029019 | -0.0012586 | 0.0017314 | 0.7027 | 659.081 | 228.2185 | 248.7189 | 57.4696 | 5.3662 | 3.2073 | 2.3251 | 2.335 | -1 | -1 | -1 | -1 | 1.9371 | 4.3956 | -1 | -1 | -1 | 1.4629 | 1.1379 | 0.46419 | 0.71414 | 0.42827 | 115.5319 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4602 | 0 | BB | 1236.2626 | 50.8224 | 0.29579 | 4.5145 | 0 |  | -1 | -1 | 1 | -1 | 122 | 242 | 0.80958 | 1.6011 | 0.0066667 | 131 | -1 | 1.1162 | 0.48489 | 9.9332 | 1.1179 | 0.48322 | 10.2325 | 1.3606 | 0.23302 | 63.6567 | -0.944 | 103.3785 | 18.8232 | 1.4372 | 48.7336 | 1.577 | 29.3324 | 1.3413 | 0.23 | 32.6842 | 0.17545 | -0.21859 | -0.94926 | 1242.6725 | 1.2767 | 0.030782 | -0.0011805 | 0.0019431 | 0.70032 | 630.637 | 227.5608 | 224.1265 | 52.9509 | 5.5209 | 3.1174 | 3.9285 | 3.9452 | -1 | -1 | -1 | -1 | 1.8508 | 4.2931 | -1 | -1 | -1 | 1.4629 | 1.1362 | 0.46489 | 0.71156 | 0.42312 | 114.2792 | -1 | -1
|  | 19 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0407 | 0 | BB | 63.5015 | 13.0869 | 0.07461 | 0.56113 | 0 |  | -1 | -1 | 5 | -1 | 273 | 352 | 1.8162 | 2.3329 | 0.0066667 | 90 | -1 | 1.9856 | 0.16933 | 15.4253 | 1.9869 | 0.164 | 15.5031 | 1.9927 | 0.12899 | 31.4881 | 14.8344 | 29.4498 | 14.8877 | 2.0126 | 21.745 | 2.0738 | 23.4997 | 2.0109 | 0.076 | 21.3343 | 0.041573 | 1.4892 | 5.4056 | 63.5229 | 2.0581 | 0.0017283 | 0.000107 | 2.5108e-05 | 1.4643 | 4013.6659 | 3638.785 | 4002.9843 | 2450.913 | 17.0158 | 13.2174 | 15.8219 | 15.8893 | -1 | -1 | -1 | -1 | 12.0305 | 6.3943 | -1 | -1 | -1 | 2.0429 | 1.9909 | 0.14133 | 1.359 | 1.7179 | 2935.5654 | -1 | -1
|  | 24 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0408 | 0 | BB | 131.4953 | 26.7744 | 0.075298 | 0.55632 | 0 |  | -1 | -1 | 4 | -1 | 268 | 345 | 1.7829 | 2.2905 | 0.0066667 | 88 | -1 | 1.9863 | 0.18 | 22.7755 | 1.9863 | 0.17333 | 22.9346 | 1.9925 | 0.13031 | 55.6589 | 21.5359 | 51.4145 | 21.7241 | 2.0128 | 35.8558 | 2.0737 | 39.5106 | 2.0107 | 0.076667 | 34.8686 | 0.039629 | 1.1429 | 2.9448 | 131.4795 | 2.0582 | 0.0015704 | 7.113e-05 | 1.4661e-05 | 1.5294 | 3932.37 | 3220.2998 | 3933.6698 | 2697.4255 | 14.7003 | 11.9467 | 8.4953 | 8.5314 | -1 | -1 | -1 | -1 | 10.5757 | 6.459 | -1 | -1 | -1 | 2.0429 | 1.9918 | 0.14444 | 1.413 | 1.8261 | 2711.6714 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.041 | 0 | BB | 728.1042 | 137.9903 | 0.079559 | 0.54183 | 0 |  | -1 | -1 | 1 | -1 | 263 | 344 | 1.7496 | 2.2811 | 0.0066667 | 92 | -1 | 1.9843 | 0.23333 | 52.3508 | 1.9856 | 0.22267 | 53.1715 | 1.9918 | 0.13451 | 221.6343 | 45.6734 | 199.1525 | 47.4081 | 2.0128 | 120.6071 | 2.0742 | 140.2387 | 2.0109 | 0.078667 | 114.723 | 0.047934 | 0.38533 | 3.8635 | 728.5599 | 2.0605 | 0.0022977 | 4.244e-05 | 3.6235e-05 | 1.9419 | 3690.4753 | 1916.407 | 3736.1953 | 1847.7159 | 3.161 | 2.022 | 2.2113 | 2.2207 | -1 | -1 | -1 | -1 | 1.7543 | 1.3978 | -1 | -1 | -1 | 2.0429 | 1.9909 | 0.16133 | 1.5513 | 2.1026 | 1994.399 | -1 | -1
|  | 23 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0411 | 0 | BB | 254.9366 | 49.4065 | 0.0782 | 0.53978 | 0 |  | -1 | -1 | 3 | -1 | 263 | 344 | 1.7496 | 2.2817 | 0.0066667 | 92 | -1 | 1.9856 | 0.22533 | 27.3759 | 1.9856 | 0.21333 | 27.6697 | 1.9921 | 0.13326 | 88.0351 | 24.9904 | 79.9996 | 25.5964 | 2.0128 | 51.7111 | 2.0741 | 58.6597 | 2.0109 | 0.078667 | 49.7042 | 0.045088 | 0.70307 | 3.5881 | 255.0494 | 2.0604 | 0.0020329 | 6.4443e-05 | 2.7227e-05 | 1.8605 | 3760.0143 | 2054.8988 | 3736.1953 | 2088.3405 | 3.5657 | 2.8837 | 3.7681 | 3.7841 | -1 | -1 | -1 | -1 | 2.8001 | 1.3979 | -1 | -1 | -1 | 2.0429 | 1.9909 | 0.156 | 1.5 | 2 | 2200.416 | -1 | -1
|  | 21 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0411 | 0 | BB | 490.227 | 92.8204 | 0.079617 | 0.53503 | 0 |  | -1 | -1 | 2 | -1 | 263 | 344 | 1.7496 | 2.2806 | 0.0066667 | 92 | -1 | 1.9843 | 0.23867 | 46.4805 | 1.9856 | 0.22667 | 47.0326 | 1.9919 | 0.13471 | 160.4188 | 41.9417 | 145.1842 | 43.2348 | 2.0128 | 92.3476 | 2.0742 | 105.6926 | 2.0109 | 0.078667 | 88.4394 | 0.047466 | 0.54063 | 3.5676 | 490.6261 | 2.0612 | 0.002253 | 5.7817e-05 | 3.3338e-05 | 1.9767 | 3679.6193 | 1831.7145 | 3736.1953 | 1885.7272 | 3.2042 | 2.0094 | 2.2986 | 2.3083 | -1 | -1 | -1 | -1 | 1.7671 | 1.3979 | -1 | -1 | -1 | 2.0429 | 1.9909 | 0.164 | 1.5769 | 2.1538 | 1900.9896 | -1 | -1
|  | 22 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.8799 | 0 | BB | 16.0044 | 5.5058 | 0.045913 | 0.77648 | 0 |  | -1 | -1 | 1 | -1 | 719 | 754 | 4.8362 | 4.9963 | 0.0066667 | 46 | -1 | 4.8362 | 0.08303 | 64.4617 | 4.8362 | 0.082424 | 64.493 | 4.8452 | 0.072179 | 71.1913 | 64.7186 | 71.1971 | 63.5854 | 4.86 | 67.4714 | 4.8996 | 67.1935 | 4.8556 | 0.046667 | 66.8435 | 0.022933 | 1.1238 | 1.9318 | 16.0044 | 4.8859 | 0.00052593 | 1.3555e-05 | 1.3642e-06 | 1.0303 | 73024.5711 | 86225.7327 | 60487.8474 | 45390.0552 | 27.4691 | 22.4334 | 26.6142 | 26.7274 | -1 | -1 | -1 | -1 | 19.9348 | 2.3909 | -1 | -1 | -1 | 4.8762 | 4.8362 | 0.08 | 1 | 1 | 68856.1597 | -1 | -1
|  | 31 | 6 | 19 | 5 | 4 | 0 | 0 | 0 | 5.5089 | 0 | BB | 33.5576 | 7.7234 | 0.062691 | 1.7145 | 0 |  | -1 | -1 | 6 | -1 | 808 | 856 | 5.3962 | 5.5963 | 0.0066667 | 59 | -1 | 5.4162 | 0.14917 | 12.4741 | 5.4171 | 0.1475 | 12.5191 | 5.4594 | 0.091777 | 21.0077 | 12.1285 | 21.5063 | 12.1572 | 5.4924 | 18.0531 | 5.5322 | 16.3607 | 5.4721 | 0.063333 | 15.893 | 0.031946 | -0.26619 | -0.5939 | 33.5576 | 5.4946 | 0.0010206 | -8.6786e-06 | 2.506e-06 | 0.7973 | 57661.9951 | 34106.2484 | 41925.9184 | 29583.0495 | 65.6185 | 40.2937 | 56.1516 | 56.3905 | -1 | -1 | -1 | -1 | 43.4064 | 17.0581 | -1 | -1 | -1 | 5.5096 | 5.4221 | 0.135 | 0.77143 | 0.54286 | 22462.1726 | -1 | -1
|  | 29 | 5 | 20 | 5 | 4 | 0 | 0 | 0 | 5.509 | 0 | BB | 35.4623 | 7.9259 | 0.0642 | 1.809 | 0 |  | -1 | -1 | 5 | -1 | 806 | 857 | 5.3696 | 5.5927 | 0.0066667 | 62 | -1 | 5.4188 | 0.15083 | 20.4666 | 5.4188 | 0.14917 | 20.5127 | 5.4582 | 0.093025 | 29.1854 | 20.013 | 29.711 | 20.2215 | 5.4924 | 26.1849 | 5.5321 | 24.5063 | 5.4512 | 0.084167 | 23.974 | 0.032275 | -0.23923 | -0.66907 | 35.4164 | 5.4934 | 0.0010417 | -8.0427e-06 | 2.5292e-06 | 0.8211 | 56125.5943 | 33356.6834 | 23739.2515 | 28970.5445 | 31.2439 | 27.0814 | 25.4433 | 25.5516 | -1 | -1 | -1 | -1 | 23.2591 | 2.6995 | -1 | -1 | -1 | 5.5096 | 5.4229 | 0.135 | 0.77885 | 0.55769 | 22823.8715 | -1 | -1
|  | 32 | 7 | 21 | 5 | 4 | 0 | 0 | 0 | 5.5092 | 0 | BB | 30.9378 | 8.148 | 0.058298 | 1.3999 | 0 |  | -1 | -1 | 7 | -1 | 807 | 854 | 5.3762 | 5.6013 | 0.0066667 | 58 | -1 | 5.42 | 0.14519 | 3.6152 | 5.4207 | 0.14296 | 3.6627 | 5.464 | 0.087274 | 12.8575 | 3.2634 | 13.1202 | 3.2696 | 5.4869 | 8.1363 | 5.5322 | 7.734 | 5.4807 | 0.054815 | 7.2271 | 0.029561 | -0.44511 | -0.065557 | 30.9423 | 5.5005 | 0.00087383 | -1.1498e-05 | 2.2407e-06 | 0.80417 | 63765.7928 | 36002.5213 | 55969.4932 | 34623.8064 | 67.7993 | 40.7012 | 61.386 | 61.6472 | -1 | -1 | -1 | -1 | 46.4468 | 17.0283 | -1 | -1 | -1 | 5.5096 | 5.4281 | 0.12889 | 0.79091 | 0.58182 | 25666.6377 | -1 | -1
|  | 26 | 2 | 23 | 5 | 4 | 0 | 0 | 0 | 5.5095 | 0 | BB | 631.5646 | 192.2278 | 0.052331 | 1.0347 | 0 |  | -1 | -1 | 2 | -1 | 804 | 852 | 5.3562 | 5.6202 | 0.0066667 | 59 | -1 | 5.4363 | 0.13 | 107.916 | 5.4387 | 0.12583 | 109.0382 | 5.4687 | 0.082683 | 336.8311 | 99.4276 | 331.3544 | 99.9509 | 5.4867 | 204.3654 | 5.5323 | 205.1475 | 5.4837 | 0.051667 | 193.2048 | 0.024669 | -0.35762 | 0.94338 | 631.7078 | 5.5079 | 0.00060855 | -5.3686e-06 | 1.4604e-06 | 0.88824 | 71043.9201 | 44904.5984 | 62997.9461 | 49852.0233 | 31.9085 | 23.5198 | 31.2687 | 31.4017 | -1 | -1 | -1 | -1 | 23.8908 | 2.6993 | -1 | -1 | -1 | 5.5096 | 5.4604 | 0.096667 | 0.98305 | 0.9661 | 59281.2298 | -1 | -1
|  | 25 | 1 | 18 | 5 | 3 | 0 | 0 | 0 | 5.5095 | 0 | BB | 2008.953 | 627.0267 | 0.051379 | 0.93832 | 0 |  | -1 | -1 | 1 | -1 | 811 | 933 | 5.4014 | 6.2096 | 0.0066667 | 133 | -1 | 5.4546 | 0.11167 | 82.7047 | 5.4562 | 0.10833 | 86.3658 | 5.469 | 0.082715 | 828.4958 | 56.4036 | 808.9854 | 55.287 | 5.4877 | 411.4359 | 5.5305 | 434.5702 | 5.4846 | 0.051667 | 360.9525 | 0.038484 | 8.4851 | 118.3458 | 2008.7547 | 5.5105 | 0.001481 | 0.00048361 | 0.00026616 | 1.0156 | 70989.1689 | 60859.7854 | 62997.9461 | 20503.2894 | 8.1302 | 8.0851 | 7.5238 | 7.5559 | -1 | -1 | -1 | -1 | 5.0848 | 1.129 | -1 | -1 | -1 | 5.5096 | 5.4646 | 0.093333 | 1.037 | 1.0741 | 62524.4742 | -1 | -1
|  | 28 | 3 | 24 | 5 | 4 | 0 | 0 | 0 | 5.5096 | 0 | BB | 428.3031 | 132.4854 | 0.051716 | 1.0086 | 0 |  | -1 | -1 | 3 | -1 | 806 | 851 | 5.3696 | 5.607 | 0.0066667 | 56 | -1 | 5.4466 | 0.12074 | 85.2044 | 5.4511 | 0.11481 | 85.9778 | 5.4692 | 0.082142 | 243.8838 | 78.9594 | 239.1313 | 80.1247 | 5.4864 | 149.4519 | 5.5325 | 151.6413 | 5.4844 | 0.051111 | 143.9847 | 0.02387 | -0.31649 | 0.94249 | 428.5779 | 5.5086 | 0.00056976 | -4.3042e-06 | 1.2798e-06 | 0.98101 | 71981.9594 | 52055.8868 | 64374.9097 | 53259.7859 | 32.2044 | 25.0563 | 31.4039 | 31.5375 | -1 | -1 | -1 | -1 | 25.0025 | 2.6994 | -1 | -1 | -1 | 5.5096 | 5.4629 | 0.094815 | 1.0159 | 1.0317 | 61709.7605 | -1 | -1
|  | 30 | 4 | 22 | 5 | 4 | 0 | 0 | 0 | 5.5096 | 0 | BB | 165.614 | 49.5714 | 0.052977 | 1.0902 | 0 |  | -1 | -1 | 4 | -1 | 806 | 852 | 5.3696 | 5.6011 | 0.0066667 | 57 | -1 | 5.434 | 0.13407 | 47.8634 | 5.4363 | 0.13037 | 48.1527 | 5.4684 | 0.08296 | 106.6535 | 45.3932 | 105.4373 | 46.0948 | 5.4866 | 72.451 | 5.5323 | 73.0869 | 5.4837 | 0.051852 | 69.8518 | 0.025466 | -0.45197 | 0.76927 | 165.7356 | 5.5068 | 0.0006485 | -7.4641e-06 | 1.5852e-06 | 0.88889 | 70570.0918 | 42217.0525 | 62548.7643 | 46761.7475 | 32.5288 | 27.6108 | 31.7135 | 31.8484 | -1 | -1 | -1 | -1 | 26.4896 | 2.6997 | -1 | -1 | -1 | 5.5096 | 5.4562 | 0.10148 | 0.95139 | 0.90278 | 52133.0152 | -1 | -1
|  | 33 | 1 | 26 | 6 | 3 | 0 | 0 | 0 | 6.313 | 0 | BB | 1697.5015 | 500.8395 | 0.053542 | 0.84738 | 0 |  | -1 | -1 | 1 | -1 | 937 | 986 | 6.2413 | 6.5629 | 0.0066667 | 60 | -1 | 6.2629 | 0.11333 | 66.3257 | 6.2637 | 0.11083 | 69.2404 | 6.2702 | 0.091168 | 663.5036 | 45.6329 | 635.4644 | 44.2834 | 6.2871 | 289.8635 | 6.3337 | 382.1899 | 6.2862 | 0.055833 | 287.8439 | 0.023298 | 0.68648 | 2.3987 | 1697.4139 | 6.315 | 0.00054281 | 8.6816e-06 | 1.5907e-06 | 1.0556 | 76797.8433 | 77650.3301 | 70899.1901 | 73467.1525 | 9.2418 | 8.9277 | 8.7824 | 8.8198 | -1 | -1 | -1 | -1 | 6.5104 | 1.1458 | -1 | -1 | -1 | 6.3163 | 6.2679 | 0.099167 | 1.0259 | 1.0517 | 73497.0613 | -1 | -1
|  | 34 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.3131 | 0 | BB | 1084.0857 | 321.0574 | 0.053394 | 0.85423 | 0 |  | -1 | -1 | 2 | -1 | 932 | 973 | 6.2162 | 6.4286 | 0.0066667 | 52 | -1 | 6.2636 | 0.11267 | 117.7605 | 6.2642 | 0.11067 | 119.6288 | 6.2703 | 0.091014 | 500.9451 | 103.7455 | 482.5537 | 104.3661 | 6.2863 | 252.2807 | 6.3331 | 325.6491 | 6.2862 | 0.056 | 259.7565 | 0.022488 | 0.34237 | 0.12641 | 1084.1471 | 6.3163 | 0.00050572 | 3.8937e-06 | 7.9958e-07 | 1.0641 | 77058.1432 | 78571.9877 | 70477.7991 | 78888.9811 | 9.2528 | 8.2787 | 8.7698 | 8.8072 | -1 | -1 | -1 | -1 | 8.5709 | 1.1459 | -1 | -1 | -1 | 6.3163 | 6.2689 | 0.098 | 1.0352 | 1.0704 | 74650.9694 | -1 | -1
|  | 6 | 8 | 28 | 6 | 4 | 0 | 0 | 0 | 6.3131 | 0 | BB | 104.4649 | 30.8116 | 0.053555 | 0.84647 | 0 |  | -1 | -1 | 8 | -1 | 931 | 987 | 6.2429 | 6.5692 | 0.0066667 | 67 | -1 | 6.2629 | 0.11333 | 7.6948 | 6.2639 | 0.11143 | 7.8742 | 6.2703 | 0.091133 | 44.4134 | 6.3924 | 42.6763 | 6.3667 | 6.2876 | 21.7758 | 6.3341 | 26.8893 | 6.2867 | 0.05619 | 21.3267 | 0.023803 | 0.90261 | 3.7688 | 104.4649 | 6.3168 | 0.0005666 | 1.2173e-05 | 2.173e-06 | 1.0636 | 76858.3324 | 77650.3301 | 70000.7933 | 70424.5385 | 76.1796 | 50.9159 | 69.4183 | 69.7137 | -1 | -1 | -1 | -1 | 58.6333 | 19.49 | -1 | -1 | -1 | 6.3163 | 6.2686 | 0.098095 | 1.03 | 1.06 | 74842.2519 | -1 | -1
|  | 2 | 3 | 29 | 6 | 4 | 0 | 0 | 0 | 6.3131 | 0 | BB | 528.9977 | 156.8817 | 0.053339 | 0.85809 | 0 |  | -1 | -1 | 3 | -1 | 932 | 973 | 6.2429 | 6.4179 | 0.0066667 | 52 | -1 | 6.2642 | 0.11333 | 97.4751 | 6.2649 | 0.11133 | 98.3881 | 6.2703 | 0.090954 | 284.8543 | 90.05 | 275.5351 | 91.494 | 6.2863 | 162.6701 | 6.3331 | 199.2968 | 6.2869 | 0.055333 | 166.8651 | 0.022373 | 0.32152 | 0.052054 | 528.89 | 6.3163 | 0.00050054 | 3.6006e-06 | 7.6467e-07 | 1.0844 | 77161.1765 | 77650.3301 | 72186.2898 | 79703.8533 | 9.2846 | 8.5823 | 8.8702 | 8.908 | -1 | -1 | -1 | -1 | 8.7323 | 1.1458 | -1 | -1 | -1 | 6.3163 | 6.2689 | 0.098667 | 1.0423 | 1.0845 | 73201.2634 | -1 | -1
|  | 3 | 5 | 30 | 6 | 4 | 0 | 0 | 0 | 6.3131 | 0 | BB | 333.3419 | 98.8814 | 0.05333 | 0.85643 | 0 |  | -1 | -1 | 5 | -1 | 932 | 973 | 6.2429 | 6.426 | 0.0066667 | 52 | -1 | 6.2636 | 0.11267 | 26.3154 | 6.2642 | 0.11067 | 26.891 | 6.2703 | 0.090912 | 144.3035 | 21.9449 | 138.6513 | 22.2417 | 6.2863 | 67.4884 | 6.3331 | 90.4267 | 6.2869 | 0.055333 | 70.0567 | 0.022407 | 0.33229 | 0.093619 | 333.2882 | 6.3163 | 0.0005021 | 3.7385e-06 | 7.799e-07 | 1.0641 | 77231.9955 | 78571.9877 | 72186.2898 | 79458.2838 | 8.7441 | 7.6298 | 6.7736 | 6.8024 | -1 | -1 | -1 | -1 | 7.5244 | 1.146 | -1 | -1 | -1 | 6.3163 | 6.2689 | 0.098 | 1.0352 | 1.0704 | 74650.9694 | -1 | -1
|  | 1 | 4 | 31 | 6 | 4 | 0 | 0 | 0 | 6.3132 | 0 | BB | 332.9879 | 98.8189 | 0.053313 | 0.85876 | 0 |  | -1 | -1 | 4 | -1 | 932 | 973 | 6.2429 | 6.4175 | 0.0066667 | 52 | -1 | 6.2642 | 0.11333 | 57.0039 | 6.2649 | 0.11133 | 57.5791 | 6.2703 | 0.090902 | 175.0238 | 52.3115 | 169.163 | 53.2514 | 6.2863 | 97.9911 | 6.3331 | 121.1452 | 6.2869 | 0.055333 | 100.713 | 0.022355 | 0.32056 | 0.050469 | 332.9366 | 6.3163 | 0.00049973 | 3.5811e-06 | 7.618e-07 | 1.0844 | 77249.4398 | 77650.3301 | 72186.2898 | 79832.987 | 9.2439 | 8.12 | 8.8091 | 8.8466 | -1 | -1 | -1 | -1 | 8.4631 | 1.1459 | -1 | -1 | -1 | 6.3163 | 6.2689 | 0.098667 | 1.0423 | 1.0845 | 73201.2634 | -1 | -1
|  | 4 | 6 | 32 | 6 | 4 | 0 | 0 | 0 | 6.3132 | 0 | BB | 436.2141 | 128.9327 | 0.053471 | 0.85053 | 0 |  | -1 | -1 | 6 | -1 | 930 | 987 | 6.1962 | 6.5668 | 0.0066667 | 68 | -1 | 6.2629 | 0.11333 | 17.7733 | 6.2639 | 0.11143 | 18.5239 | 6.2703 | 0.091017 | 171.464 | 12.263 | 164.2101 | 12.2748 | 6.2875 | 76.0825 | 6.3339 | 98.7784 | 6.2867 | 0.05619 | 74.8184 | 0.023288 | 0.68605 | 2.3814 | 436.2205 | 6.3166 | 0.00054232 | 8.6646e-06 | 1.5828e-06 | 1.0636 | 77054.4551 | 77650.3301 | 70000.7933 | 73572.2618 | 8.7998 | 7.6597 | 7.9065 | 7.9402 | -1 | -1 | -1 | -1 | 7.4411 | 1.146 | -1 | -1 | -1 | 6.3163 | 6.2686 | 0.098095 | 1.03 | 1.06 | 74842.2519 | -1 | -1
|  | 5 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.3132 | 0 | BB | 339.7755 | 100.3623 | 0.053497 | 0.84957 | 0 |  | -1 | -1 | 7 | -1 | 930 | 986 | 6.1962 | 6.5629 | 0.0066667 | 67 | -1 | 6.2629 | 0.11333 | 7.4578 | 6.2639 | 0.11143 | 8.042 | 6.2703 | 0.091068 | 127.0593 | 3.1817 | 121.3978 | 3.1644 | 6.2876 | 53.2346 | 6.3341 | 70.0144 | 6.2867 | 0.05619 | 51.8636 | 0.023457 | 0.75346 | 2.8123 | 339.7755 | 6.3167 | 0.00055024 | 9.7249e-06 | 1.7597e-06 | 1.0636 | 76968.0644 | 77650.3301 | 70000.7933 | 72515.8416 | 9.0163 | 7.775 | 8.5103 | 8.5466 | -1 | -1 | -1 | -1 | 7.6976 | 1.1459 | -1 | -1 | -1 | 6.3163 | 6.2686 | 0.098095 | 1.03 | 1.06 | 74842.2519 | -1 | -1
|  | 8 | 1 | 34 | 7 | 3 | 0 | 0 | 0 | 6.7031 | 0 | BB | 17.0929 | 6.2734 | 0.043788 | 0.78284 | 0 |  | -1 | -1 | 1 | -1 | 993 | 1027 | 6.6629 | 6.7629 | 0.0066667 | 45 | -1 | 6.6629 | 0.076364 | 40.3097 | 6.6629 | 0.075758 | 40.3462 | 6.6694 | 0.073216 | 47.6241 | 41.0731 | 48.2553 | 38.8195 | 6.6866 | 44.4187 | 6.7267 | 42.616 | 6.6787 | 0.046667 | 43.08 | 0.01689 | 0.16464 | -0.41004 | 17.0929 | 6.7063 | 0.00028526 | 7.9323e-07 | 2.1075e-07 | 0.94697 | 134100.8121 | 192616.8937 | 114294.1081 | 157662.5138 | 4.7454 | 5.1402 | 4.4711 | 4.4901 | -1 | -1 | -1 | -1 | 4.8692 | 1.0618 | -1 | -1 | -1 | 6.7029 | 6.6629 | 0.073939 | 0.92424 | 0.84848 | 141111.0205 | -1 | -1
|  | 7 | 2 | 33 | 7 | 4 | 0 | 0 | 0 | 6.7046 | 0 | BB | 12.2676 | 4.4932 | 0.043853 | 0.94113 | 0 |  | -1 | -1 | 2 | -1 | 993 | 1027 | 6.6562 | 6.7629 | 0.0066667 | 45 | -1 | 6.6617 | 0.086667 | 106.944 | 6.6623 | 0.086061 | 106.97 | 6.6685 | 0.073719 | 112.4139 | 106.7989 | 112.3605 | 106.7004 | 6.6866 | 109.6165 | 6.7267 | 109.0327 | 6.6817 | 0.046667 | 108.9237 | 0.01701 | 0.11464 | -0.40924 | 12.2676 | 6.7056 | 0.00028934 | 5.6419e-07 | 2.1689e-07 | 1.0597 | 132279.94 | 149542.0956 | 114294.1081 | 155406.9777 | 4.753 | 4.9099 | 4.4805 | 4.4995 | -1 | -1 | -1 | -1 | 4.9282 | 1.062 | -1 | -1 | -1 | 6.7029 | 6.6666 | 0.077576 | 1.0667 | 1.1333 | 130625.1666 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 21:43:28
ResNewDateTime | 02 September 2019 21:43:28
ResModBy | SYSTEM
ResModTime | 09/02/19 21:43:29
ResModDateTime | 02 September 2019 21:43:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7111.1418

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7111.1418

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4394.5583

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2048.9794

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 808.6157

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 493.7255

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 511.2375

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 407.4627

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.4729

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7111.1418

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4394.5583

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2048.9794

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 808.6157

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 493.7255

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 511.2375

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 407.4627

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.4729

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.34012 | 1407.2233 | 159.4241 | 0.12098 | 1.4687 | -13.7689 | 0.022917 | 0 | 44.2829 | 0.51625 | 0 | -46.0033 | 1 | -183.0127 | 48.477 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4602 | 1236.2626 | 50.8224 | 0.29579 | 4.5145 | 7.5038 | 0.80958 | 0 | -47.6851 | 1.6011 | 0 | 19.4633 | 1 | 84.8312 | -116.3631 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.041 | 728.1042 | 137.9903 | 0.079559 | 0.54183 | 46.3083 | 1.7496 | 0 | 42.5496 | 2.2811 | 0 | 49.404 | 1 | 12.896 | 19.987 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.8799 | 16.0044 | 5.5058 | 0.045913 | 0.77648 | 64.1748 | 4.8362 | 0 | 64.8599 | 4.9963 | 0 | 62.3479 | 1 | -15.6999 | 140.7883 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.5095 | 2008.953 | 627.0267 | 0.051379 | 0.93832 | 55.8568 | 5.4014 | 0 | 57.3171 | 6.2096 | 0 | 46.4063 | 1 | -13.4999 | 130.2352 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.313 | 1697.5015 | 500.8395 | 0.053542 | 0.84738 | 44.9987 | 6.2413 | 0 | 46.0608 | 6.5629 | 0 | 41.2998 | 1 | -14.8028 | 138.4492 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7031 | 17.0929 | 6.2734 | 0.043788 | 0.78284 | 40.0377 | 6.6629 | 0 | 41.2736 | 6.7629 | 0 | 38.1956 | 1 | -30.7798 | 246.3571 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.33218 | 1401.3553 | 137.3081 | 0.13307 | 1.8459 | 43.6689 | 0.022917 | 0 | 121.6784 | 0.50292 | 0 | 0.59986 | 1 | -252.2469 | 127.459 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4601 | 775.058 | 34.7918 | 0.2719 | 4.0378 | 16.4058 | 0.83625 | 0 | -15.4309 | 1.6021 | 0 | 23.6522 | 1 | 51.0321 | -58.1065 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0411 | 490.227 | 92.8204 | 0.079617 | 0.53503 | 42.4145 | 1.7496 | 0 | 39.6161 | 2.2806 | 0 | 44.7137 | 1 | 9.5992 | 22.8215 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5095 | 631.5646 | 192.2278 | 0.052331 | 1.0347 | 99.6857 | 5.3562 | 0 | 98.7158 | 5.6202 | 0 | 100.3863 | 1 | 6.3298 | 64.8115 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3131 | 1084.0857 | 321.0574 | 0.053394 | 0.85423 | 104.0375 | 6.2162 | 0 | 103.3773 | 6.4286 | 0 | 104.8251 | 1 | 6.8177 | 60.9967 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.7046 | 12.2676 | 4.4932 | 0.043853 | 0.94113 | 106.7508 | 6.6562 | 0 | 106.8153 | 6.7629 | 0 | 106.6728 | 1 | -1.3366 | 115.7123 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.31835 | 757.9031 | 81.4455 | 0.12057 | 1.6648 | 59.2259 | 0.07625 | 0 | 114.7361 | 0.48292 | 0 | 21.492 | 1 | -229.2887 | 132.2193 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4601 | 78.8389 | 10.3408 | 0.10095 | 0.59689 | 18.7053 | 1.3096 | 0 | 20.4706 | 1.6029 | 0 | 17.0298 | 1 | -11.7302 | 35.8323 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0411 | 254.9366 | 49.4065 | 0.0782 | 0.53978 | 25.213 | 1.7496 | 0 | 23.8876 | 2.2817 | -3.5527e-15 | 26.3071 | 1 | 4.5471 | 15.9321 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5096 | 428.3031 | 132.4854 | 0.051716 | 1.0086 | 79.5326 | 5.3696 | 0 | 77.5466 | 5.607 | 0 | 80.9143 | 1 | 14.1857 | 1.3752 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3131 | 528.9977 | 156.8817 | 0.053339 | 0.85809 | 90.7303 | 6.2429 | 0 | 89.6153 | 6.4179 | 0 | 92.393 | 1 | 15.8759 | -9.4965 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31597 | 178.5185 | 33.0742 | 0.076971 | 1.3644 | 47.499 | 0.18292 | 0 | 67.6923 | 0.44292 | 0 | 28.2326 | 1 | -151.7681 | 95.4532 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0408 | 131.4953 | 26.7744 | 0.075298 | 0.55632 | 21.6057 | 1.7829 | 0 | 21.2331 | 2.2905 | 0 | 21.9663 | 1 | 1.4445 | 18.6577 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5096 | 165.614 | 49.5714 | 0.052977 | 1.0902 | 45.7417 | 5.3696 | 0 | 44.5576 | 5.6011 | 0 | 46.5154 | 1 | 8.4579 | -0.85767 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3132 | 332.9879 | 98.8189 | 0.053313 | 0.85876 | 52.7545 | 6.2429 | 0 | 52.0282 | 6.4175 | 0 | 53.8333 | 1 | 10.3395 | -12.5202 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31915 | 61.4199 | 17.2784 | 0.053472 | 1.2791 | 21.551 | 0.20292 | 0 | 27.1072 | 0.40958 | 0 | 17.2281 | 1 | -47.8022 | 36.8071 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0407 | 63.5015 | 13.0869 | 0.07461 | 0.56113 | 14.8543 | 1.8162 | 0 | 14.7614 | 2.3329 | 0 | 14.9751 | 1 | 0.41346 | 14.0105 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.509 | 35.4623 | 7.9259 | 0.0642 | 1.809 | 20.1267 | 5.3696 | 0 | 19.8145 | 5.5927 | 0 | 20.3144 | 1 | 2.2403 | 7.7848 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3131 | 333.3419 | 98.8814 | 0.05333 | 0.85643 | 22.0847 | 6.2429 | 0 | 21.8554 | 6.426 | 0 | 22.4533 | 1 | 3.2651 | 1.4719 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32295 | 41.4658 | 13.7622 | 0.047152 | 1.2118 | 12.3447 | 0.18958 | 0 | 13.7281 | 0.40958 | 0 | 11.446 | 1 | -10.3734 | 15.6948 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5089 | 33.5576 | 7.7234 | 0.062691 | 1.7145 | 12.144 | 5.3962 | 0 | 12.1088 | 5.5963 | 0 | 12.1713 | 1 | 0.31233 | 10.4234 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3132 | 436.2141 | 128.9327 | 0.053471 | 0.85053 | 12.2685 | 6.1962 | 0 | 12.2533 | 6.5668 | 0 | 12.3016 | 1 | 0.13053 | 11.4445 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32353 | 36.7495 | 12.559 | 0.046138 | 1.1697 | 3.3274 | 0.18958 | 0 | 4.1404 | 0.42292 | 0 | 2.7242 | 1 | -6.0695 | 5.291 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5092 | 30.9378 | 8.148 | 0.058298 | 1.3999 | 3.2666 | 5.3762 | 0 | 3.2573 | 5.6013 | 0 | 3.2731 | 1 | 0.070299 | 2.8793 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3132 | 339.7755 | 100.3623 | 0.053497 | 0.84957 | 3.1736 | 6.1962 | 0 | 3.1958 | 6.5629 | 0 | 3.1261 | 1 | -0.18987 | 4.3722 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32392 | 37.008 | 12.493 | 0.04656 | 1.1934 | 6.5465 | 0.18292 | -8.8818e-16 | 7.2975 | 0.42292 | -8.8818e-16 | 6.0191 | 1 | -5.3267 | 8.2719 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3131 | 104.4649 | 30.8116 | 0.053555 | 0.84647 | 6.3803 | 6.2429 | 8.8818e-16 | 6.4001 | 6.5692 | 8.8818e-16 | 6.3082 | 1 | -0.28172 | 8.1589 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2