## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567437592
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 37
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 37
Vial | 37
SampleLocation | 37
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 16:19:52
SampleName | CS-135_0037
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 6.2089
DAD1UVBurnTime | 152.8758
DAD1VisOnTime | 6.2086
DAD1VisBurnTime | 138.3869
StartPressure | 25.684
StopPressure | 61.263
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.999
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 7277.8123 | 1547.0845 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 4552.8734 | 822.4484 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 2342.0047 | 456.7797 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 792.2614 | 216.0867 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 509.3042 | 145.8688 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 516.0966 | 159.3023 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 400.4046 | 126.9169 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0037.D | 143.3948 | 45.429 | 0 | 0 | 0 | 0 | 0.00375 | 8.4971 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31789 | 0 | BB | 141.88 | 30.4448 | 0.066369 | 1.1198 | 0 |  | -1 | -1 | 4 | -1 | 28 | 79 | 0.21708 | 0.43042 | 0.0066667 | 62 | -1 | 0.21708 | 0.14417 | 51.1297 | 0.21708 | 0.14333 | 51.3051 | 0.27064 | 0.096105 | 82.2326 | 58.3874 | 93.8729 | 40.7075 | 0.30664 | 76.5555 | 0.34702 | 62.1657 | 0.21708 | 0.12833 | 64.4611 | 0.035334 | -0.14267 | -0.13024 | 141.88 | 0.3132 | 0.0012485 | -6.2936e-06 | 4.4732e-06 | 0.71667 | 174.1697 | 120.9364 | 33.8203 | 78.5689 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31708 | 0.21708 | 0.14167 | 0.70833 | 0.41667 | 57.2341 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.3202 | 0 | BB | 1009.6052 | 89.6986 | 0.14331 | 2.1309 | 0 |  | -1 | -1 | 3 | -1 | 1 | 114 | 0.00375 | 0.49708 | 0.0066667 | 119 | -1 | 0.030417 | 0.37833 | 55.2693 | 0.030417 | 0.37833 | 55.8067 | 0.21669 | 0.18665 | 144.8646 | 72.3572 | 161.8514 | 35.6936 | 0.30583 | 134.8021 | 0.35012 | 116.4512 | 0.030417 | 0.33667 | 96.1122 | 0.091176 | -0.49468 | -0.37358 | 1009.6052 | 0.26736 | 0.0083131 | -0.00037494 | 0.0001815 | 0.64489 | 48.1359 | 18.3067 | 5.1231 | 8.5987 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.030417 | 0.37167 | 0.63352 | 0.26705 | 6.3349 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32171 | 0 | BB | 66.3599 | 17.5199 | 0.05619 | 1.4462 | 0 |  | -1 | -1 | 5 | -1 | 30 | 75 | 0.19708 | 0.41708 | 0.0066667 | 56 | -1 | 0.19708 | 0.16444 | 20.7773 | 0.19708 | 0.1637 | 20.8807 | 0.28592 | 0.07415 | 40.7615 | 21.8255 | 46.8573 | 18.2832 | 0.30708 | 33.0192 | 0.3472 | 27.8683 | 0.29338 | 0.052593 | 28.6413 | 0.033945 | -0.80865 | 0.31461 | 66.3599 | 0.30911 | 0.0011523 | -3.163e-05 | 4.401e-06 | 0.6462 | 305.009 | 96.8994 | 209.9327 | 82.9194 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.19708 | 0.16222 | 0.64035 | 0.2807 | 34.5115 | -1 | -1
Modified | 1 | 18 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32515 | 0 | BB | 43.4935 | 13.9327 | 0.04842 | 1.3223 | 0 |  | -1 | -1 | 6 | -1 | 28 | 72 | 0.18375 | 0.41708 | 0.0066667 | 55 | -1 | 0.18375 | 0.18074 | 11.6299 | 0.18375 | 0.18 | 11.7114 | 0.29297 | 0.06648 | 29.0057 | 11.3468 | 32.0031 | 10.6679 | 0.30729 | 19.2044 | 0.34731 | 18.2197 | 0.30301 | 0.045185 | 17.8215 | 0.030798 | -1.4023 | 2.1243 | 43.4935 | 0.31534 | 0.00094854 | -4.0965e-05 | 4.6105e-06 | 0.64286 | 379.4558 | 80.2135 | 284.405 | 104.8315 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32375 | 0.18375 | 0.17778 | 0.63492 | 0.26984 | 27.9049 | -1 | -1
NextPeakSignal_ | Peak | 19 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.3256 | 0 | BB | 38.2739 | 12.6771 | 0.047223 | 1.2612 | 0 |  | -1 | -1 | 7 | -1 | 28 | 72 | 0.18375 | 0.42375 | 0.0066667 | 55 | -1 | 0.18375 | 0.18148 | 2.6189 | 0.18375 | 0.18148 | 2.6931 | 0.2937 | 0.065846 | 18.6759 | 2.2919 | 21.0977 | 1.9016 | 0.30731 | 9.2817 | 0.34732 | 8.8136 | 0.30375 | 0.045185 | 8.2631 | 0.029316 | -1.4766 | 2.6819 | 38.2739 | 0.31732 | 0.00085945 | -3.7204e-05 | 4.197e-06 | 0.61869 | 402.8842 | 82.8704 | 296.2385 | 117.1567 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.23042 | 0.13185 | 0.65926 | 0.31852 | 59.658 | -1 | -1
Signal_ | Signal | 27 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32592 | 0 | BB | 38.023 | 12.5601 | 0.047318 | 1.2577 | 0 |  | -1 | -1 | 8 | -1 | 28 | 72 | 0.18375 | 0.42375 | 0.0066667 | 55 | -1 | 0.18375 | 0.18222 | 6.0582 | 0.18375 | 0.18148 | 6.132 | 0.29375 | 0.066197 | 21.9545 | 5.7181 | 24.23 | 5.3557 | 0.30734 | 12.5763 | 0.34735 | 12.3451 | 0.30375 | 0.045185 | 11.6634 | 0.029248 | -1.4618 | 2.7015 | 38.023 | 0.31782 | 0.00085546 | -3.6575e-05 | 4.1724e-06 | 0.61869 | 398.6279 | 82.198 | 296.2385 | 118.0741 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.2356 | 0.12741 | 0.67188 | 0.34375 | 67.433 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33484 | 0 | BB | 1538.7667 | 143.4185 | 0.14717 | 1.9878 | 0 |  | -1 | -1 | 2 | -1 | 1 | 118 | 0.00375 | 0.51042 | 0.0066667 | 123 | -1 | 0.030417 | 0.39833 | 47.1861 | 0.030417 | 0.39667 | 48.0324 | 0.23676 | 0.19807 | 196.3431 | 63.6682 | 200.8954 | 15.6855 | 0.31016 | 162.9538 | 0.37757 | 121.7416 | 0.030417 | 0.35333 | 111.5087 | 0.092735 | -0.60443 | -0.20587 | 1538.7668 | 0.28497 | 0.0085998 | -0.00048204 | 0.00020665 | 0.66111 | 44.5257 | 17.2017 | 4.8447 | 9.443 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33042 | 0.030417 | 0.39 | 0.65 | 0.3 | 6.5305 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34296 | 0 | BB | 1525.2698 | 166.0739 | 0.12715 | 1.6096 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.00375 | 0.52375 | 0.0066667 | 115 | -1 | 0.030417 | 0.415 | -10.2638 | 0.030417 | 0.41333 | -9.2788 | 0.26548 | 0.17456 | 168.7616 | -3.9271 | 168.3968 | -34.1683 | 0.3153 | 107.0988 | 0.37986 | 91.4111 | 0.27708 | 0.115 | 64.5997 | 0.090167 | -0.8063 | 0.26183 | 1525.2698 | 0.30543 | 0.0081302 | -0.00059108 | 0.00021561 | 0.65957 | 62.0472 | 17.1526 | 49.4994 | 11.4739 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34375 | 0.030417 | 0.405 | 0.64628 | 0.29255 | 6.4352 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4629 | 0 | BB | 83.827 | 10.6513 | 0.10382 | 0.63038 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2971 | 1.6092 | 0.0066667 | 90 | -1 | 1.2971 | 0.29733 | 17.2539 | 1.2971 | 0.29733 | 17.3168 | 1.4061 | 0.19462 | 29.232 | 17.2111 | 43.2004 | 15.7984 | 1.4395 | 24.2756 | 1.5848 | 18.9623 | 1.4264 | 0.136 | 22.0336 | 0.061221 | -0.27895 | -0.38848 | 84.0868 | 1.4797 | 0.003748 | -6.4007e-05 | 3.6686e-05 | 0.892 | 905.0518 | 605.8802 | 641.7498 | 584.1489 | 5.9943 | 4.2282 | 2.8407 | 2.8528 | -1 | -1 | -1 | -1 | 3.9774 | 4.5688 | -1 | -1 | -1 | 1.4638 | 1.2971 | 0.29467 | 0.884 | 0.768 | 403.1932 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.463 | 0 | BB | 720.3375 | 34.1088 | 0.25839 | 3.7611 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.83708 | 1.6037 | 0.0066667 | 127 | -1 | 1.1421 | 0.46167 | 16.8418 | 1.1454 | 0.45833 | 17.0438 | 1.3743 | 0.22338 | 53.4331 | 10.8041 | 82.4696 | 22.1811 | 1.4397 | 42.2331 | 1.5811 | 29.6063 | 1.3804 | 0.195 | 32.1958 | 0.17183 | -0.2992 | -0.93771 | 720.3375 | 1.2998 | 0.029524 | -0.0015179 | 0.0017977 | 0.7199 | 687.0086 | 251.3141 | 312.1579 | 57.2273 | 5.3537 | 3.2795 | 2.4175 | 2.4278 | -1 | -1 | -1 | -1 | 1.918 | 4.3692 | -1 | -1 | -1 | 1.4638 | 1.1654 | 0.43833 | 0.73464 | 0.46927 | 137.5377 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4631 | 0 | BB | 1167.0422 | 50.0939 | 0.2838 | 4.2462 | 0 |  | -1 | -1 | 1 | -1 | 121 | 242 | 0.80375 | 1.6037 | 0.0066667 | 132 | -1 | 1.1387 | 0.465 | 8.8658 | 1.1404 | 0.46333 | 9.1626 | 1.3683 | 0.22875 | 62.3349 | -1.3991 | 104.3125 | 17.9776 | 1.4397 | 46.6267 | 1.5801 | 28.8632 | 1.3687 | 0.20833 | 31.4282 | 0.17768 | -0.25307 | -0.95233 | 1167.0423 | 1.2832 | 0.031571 | -0.0014197 | 0.002041 | 0.71649 | 655.1219 | 247.7239 | 273.4803 | 52.1586 | 5.5545 | 3.1821 | 4.0704 | 4.0878 | -1 | -1 | -1 | -1 | 1.8253 | 4.2659 | -1 | -1 | -1 | 1.4638 | 1.1604 | 0.44333 | 0.73077 | 0.46154 | 133.0474 | -1 | -1
|  | 20 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0439 | 0 | BB | 72.5011 | 14.8869 | 0.074818 | 0.56803 | 0 |  | -1 | -1 | 5 | -1 | 272 | 351 | 1.8104 | 2.3293 | 0.0066667 | 90 | -1 | 1.9891 | 0.168 | 14.1297 | 1.9904 | 0.16267 | 14.218 | 1.9958 | 0.13069 | 32.4363 | 13.4655 | 29.9877 | 13.5096 | 2.0161 | 21.4693 | 2.077 | 23.368 | 2.0131 | 0.077333 | 20.8452 | 0.040136 | 1.1246 | 4.6748 | 72.5081 | 2.0604 | 0.0016109 | 7.2711e-05 | 1.9916e-05 | 1.525 | 3912.7255 | 3699.7892 | 3869.295 | 2635.2313 | 16.8145 | 12.9507 | 15.5745 | 15.6408 | -1 | -1 | -1 | -1 | 11.8198 | 6.3531 | -1 | -1 | -1 | 2.0438 | 1.9944 | 0.14133 | 1.4324 | 1.8649 | 2799.3885 | -1 | -1
|  | 24 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0439 | 0 | BB | 150.8016 | 30.4706 | 0.075739 | 0.5725 | 0 |  | -1 | -1 | 4 | -1 | 267 | 345 | 1.7771 | 2.2881 | 0.0066667 | 89 | -1 | 1.9891 | 0.17467 | 21.3552 | 1.9891 | 0.17067 | 21.5361 | 1.9955 | 0.13199 | 58.7961 | 19.97 | 53.7659 | 20.1308 | 2.0159 | 36.3297 | 2.0771 | 40.412 | 2.0131 | 0.078667 | 35.1025 | 0.040537 | 0.47276 | 3.8443 | 150.8497 | 2.0598 | 0.0016432 | 3.1491e-05 | 1.8481e-05 | 1.561 | 3836.3526 | 3422.7524 | 3739.244 | 2582.0685 | 15.1347 | 13.5341 | 9.7976 | 9.8393 | -1 | -1 | -1 | -1 | 11.5106 | 6.4298 | -1 | -1 | -1 | 2.0438 | 1.9944 | 0.14533 | 1.473 | 1.9459 | 2580.2495 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.044 | 0 | BB | 833.2727 | 157.0073 | 0.081918 | 0.57878 | 0 |  | -1 | -1 | 1 | -1 | 262 | 345 | 1.7437 | 2.2799 | 0.0066667 | 94 | -1 | 1.9864 | 0.21333 | 51.7337 | 1.9877 | 0.20133 | 52.6661 | 1.9947 | 0.1358 | 244.2358 | 44.3833 | 218.0899 | 45.8018 | 2.016 | 130.7701 | 2.0775 | 151.3262 | 2.0131 | 0.08 | 122.599 | 0.050012 | -0.38496 | 4.9247 | 832.8455 | 2.0596 | 0.0025012 | -4.8156e-05 | 4.9579e-05 | 1.7976 | 3623.6636 | 2294.4474 | 3615.6412 | 1695.9716 | 3.1873 | 2.1412 | 2.3675 | 2.3776 | -1 | -1 | -1 | -1 | 1.7048 | 1.3971 | -1 | -1 | -1 | 2.0438 | 1.9931 | 0.15733 | 1.5526 | 2.1053 | 2097.1211 | -1 | -1
|  | 23 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0441 | 0 | BB | 290.3053 | 56.183 | 0.080283 | 0.56199 | 0 |  | -1 | -1 | 3 | -1 | 267 | 344 | 1.7771 | 2.2804 | 0.0066667 | 88 | -1 | 1.9871 | 0.20333 | 26.2719 | 1.9882 | 0.19222 | 26.6055 | 1.995 | 0.13461 | 95.2569 | 23.6517 | 85.8657 | 24.1321 | 2.0161 | 54.3454 | 2.0772 | 61.9539 | 2.0137 | 0.078889 | 51.625 | 0.044958 | 0.30603 | 3.6145 | 290.4849 | 2.0611 | 0.0020213 | 2.781e-05 | 2.7024e-05 | 1.73 | 3688.4085 | 2525.6804 | 3718.2075 | 2101.8214 | 3.5302 | 2.9017 | 3.1775 | 3.1911 | -1 | -1 | -1 | -1 | 2.7382 | 1.3972 | -1 | -1 | -1 | 2.0438 | 1.9937 | 0.15333 | 1.5333 | 2.0667 | 2233.6577 | -1 | -1
|  | 21 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0441 | 0 | BB | 561.7692 | 105.6441 | 0.082038 | 0.57386 | 0 |  | -1 | -1 | 2 | -1 | 262 | 345 | 1.7437 | 2.2795 | 0.0066667 | 94 | -1 | 1.9864 | 0.21733 | 45.4621 | 1.9877 | 0.20667 | 46.0895 | 1.9947 | 0.13604 | 175.0174 | 40.4711 | 157.366 | 41.5532 | 2.016 | 98.6293 | 2.0776 | 112.5797 | 2.0131 | 0.08 | 93.1437 | 0.049797 | -0.30442 | 4.8061 | 561.4975 | 2.0602 | 0.0024797 | -3.7591e-05 | 4.8001e-05 | 1.8452 | 3611.012 | 2210.7665 | 3615.6412 | 1711.5968 | 3.2334 | 2.1395 | 2.4828 | 2.4933 | -1 | -1 | -1 | -1 | 1.7154 | 1.3972 | -1 | -1 | -1 | 2.0438 | 1.9931 | 0.15867 | 1.5658 | 2.1316 | 2045.9766 | -1 | -1
|  | 22 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.9536 | 0 | BV E | 20.1311 | 5.4945 | 0.054745 | 0.54076 | 0 |  | -1 | -1 | 1 | -1 | 727 | 819 | 4.9104 | 5.4527 | 0.0066667 | 103 | -1 | 4.9104 | 0.085333 | 63.0592 | 4.9104 | 0.085333 | 63.0907 | 4.9182 | 0.07417 | 69.7235 | 63.3045 | 69.6149 | 62.2642 | 4.932 | 65.8079 | 4.9729 | 65.9506 | 4.9291 | 0.048 | 65.4553 | 0.02664 | 1.6576 | 5.0885 | 16.5395 | 4.9617 | 0.00070967 | 3.1337e-05 | 4.0736e-06 | 1.0667 | 71276.1363 | 84136.6951 | 58926.5206 | 34690.59 | 27.7134 | 24.3546 | 26.7088 | 26.8225 | -1 | -1 | -1 | -1 | 18.9304 | 2.4234 | -1 | -1 | -1 | 4.9504 | 4.9104 | 0.081333 | 1.0167 | 1.0333 | 67657 | -1 | -1
|  | 30 | 6 | 19 | 5 | 4 | 0 | 0 | 0 | 5.5717 | 0 | BB | 32.7104 | 7.6786 | 0.061699 | 1.7485 | 0 |  | -1 | -1 | 6 | -1 | 817 | 865 | 5.4437 | 5.6571 | 0.0066667 | 59 | -1 | 5.4688 | 0.15833 | 11.1574 | 5.4696 | 0.15667 | 11.2021 | 5.5295 | 0.083409 | 20.1079 | 10.8181 | 20.1773 | 10.8414 | 5.5532 | 16.0365 | 5.5934 | 15.2611 | 5.5454 | 0.0525 | 14.5551 | 0.035522 | -0.43 | -0.65672 | 32.7104 | 5.5546 | 0.0012618 | -1.9273e-05 | 3.7307e-06 | 0.77686 | 71362.9181 | 30943.5874 | 62368.6755 | 24452.7487 | 70.0059 | 38.6828 | 63.1077 | 63.3762 | -1 | -1 | -1 | -1 | 39.5002 | 17.136 | -1 | -1 | -1 | 5.5704 | 5.4746 | 0.14417 | 0.75217 | 0.50435 | 19257.8778 | -1 | -1
|  | 32 | 7 | 20 | 5 | 4 | 0 | 0 | 0 | 5.5717 | 0 | BB | 19.5183 | 7.0992 | 0.044076 | 0.82584 | 0 |  | -1 | -1 | 7 | -1 | 823 | 857 | 5.5304 | 5.6371 | 0.0066667 | 45 | -1 | 5.5304 | 0.082424 | 3.3886 | 5.5304 | 0.081818 | 3.4297 | 5.537 | 0.074034 | 11.9258 | 3.5477 | 11.953 | 2.5284 | 5.5541 | 7.675 | 5.5942 | 6.5588 | 5.5486 | 0.046667 | 6.5091 | 0.017316 | 0.22316 | -0.32799 | 19.5183 | 5.5743 | 0.00029984 | 1.1587e-06 | 2.4023e-07 | 1.0227 | 90580.4606 | 114183.5569 | 78935.3549 | 103632.4746 | 75.009 | 49.697 | 67.1104 | 67.3959 | -1 | -1 | -1 | -1 | 56.3668 | 17.112 | -1 | -1 | -1 | 5.5704 | 5.5304 | 0.079394 | 0.99242 | 0.98484 | 90613.3016 | -1 | -1
|  | 29 | 5 | 21 | 5 | 4 | 0 | 0 | 0 | 5.5718 | 0 | BB | 34.4386 | 7.87 | 0.063053 | 1.8417 | 0 |  | -1 | -1 | 5 | -1 | 816 | 866 | 5.4371 | 5.6533 | 0.0066667 | 61 | -1 | 5.4713 | 0.16 | 19.1258 | 5.4713 | 0.15833 | 19.1716 | 5.5294 | 0.083666 | 28.3139 | 18.6948 | 28.3366 | 18.8884 | 5.5533 | 24.122 | 5.5933 | 23.4095 | 5.5454 | 0.0525 | 22.6076 | 0.03598 | -0.3898 | -0.75586 | 34.3994 | 5.5533 | 0.0012945 | -1.8156e-05 | 3.7608e-06 | 0.79832 | 70924.7306 | 30302.287 | 62368.6755 | 23822.4376 | 32.9163 | 26.8897 | 31.928 | 32.0639 | -1 | -1 | -1 | -1 | 22.9449 | 2.7261 | -1 | -1 | -1 | 5.5704 | 5.4754 | 0.145 | 0.76316 | 0.52632 | 19537.3142 | -1 | -1
|  | 26 | 2 | 23 | 5 | 4 | 0 | 0 | 0 | 5.5718 | 0 | BB | 626.9411 | 192.6227 | 0.051972 | 1.0444 | 0 |  | -1 | -1 | 2 | -1 | 815 | 861 | 5.4304 | 5.6808 | 0.0066667 | 57 | -1 | 5.4882 | 0.14 | 106.6442 | 5.4912 | 0.13556 | 107.7664 | 5.5319 | 0.081157 | 336.9873 | 98.1688 | 332.3337 | 98.6869 | 5.5475 | 191.499 | 5.5935 | 209.8212 | 5.5467 | 0.051111 | 191.933 | 0.025764 | -0.62409 | 1.4707 | 627.0864 | 5.5698 | 0.00066378 | -1.0673e-05 | 1.9698e-06 | 0.85514 | 75378.5954 | 39578.4972 | 65804.3318 | 46735.5241 | 32.4842 | 24.6811 | 31.6153 | 31.7498 | -1 | -1 | -1 | -1 | 23.2235 | 2.7258 | -1 | -1 | -1 | 5.5704 | 5.5267 | 0.092593 | 1.0593 | 1.1186 | 63717.5582 | -1 | -1
|  | 25 | 1 | 18 | 5 | 3 | 0 | 0 | 0 | 5.5718 | 0 | VB R | 2010.9357 | 629.1632 | 0.051289 | 0.98729 | 0 |  | -1 | -1 | 1 | -1 | 737 | 936 | 4.9104 | 6.2304 | 0.0066667 | 210 | -1 | 5.5204 | 0.11 | 80.6227 | 5.5204 | 0.10667 | 84.2881 | 5.5318 | 0.081998 | 829.4544 | 54.3079 | 809.9125 | 53.1064 | 5.5497 | 399.7752 | 5.5932 | 425.4288 | 5.5471 | 0.053333 | 359.1974 | 0.069417 | -4.3595 | 56.7728 | 2031.0668 | 5.5691 | 0.0048187 | -0.0014582 | 0.0013879 | 1.0667 | 73839.163 | 64110.6236 | 60434.8811 | 6436.3957 | 7.9178 | 7.9128 | 7.1689 | 7.1994 | -1 | -1 | -1 | -1 | 3.1616 | 1.1248 | 1847.7602 | -1 | 1847.7602 | 5.5704 | 5.5271 | 0.093333 | 1.0769 | 1.1538 | 61791.8497 | -1 | -1
|  | 28 | 3 | 24 | 5 | 4 | 0 | 0 | 0 | 5.5719 | 0 | BB | 425.6111 | 132.8606 | 0.051373 | 1.0165 | 0 |  | -1 | -1 | 3 | -1 | 817 | 860 | 5.4437 | 5.6677 | 0.0066667 | 54 | -1 | 5.5163 | 0.11259 | 84.2158 | 5.52 | 0.10741 | 84.9897 | 5.5322 | 0.080834 | 243.6075 | 77.9723 | 239.9088 | 79.1725 | 5.5474 | 141.5597 | 5.5937 | 154.8162 | 5.5467 | 0.051111 | 143.0346 | 0.024751 | -0.5744 | 1.5338 | 425.8887 | 5.5706 | 0.00061259 | -8.7091e-06 | 1.7014e-06 | 1.0662 | 75981.1277 | 61192.1529 | 65804.3318 | 50655.9657 | 32.75 | 27.9168 | 31.8864 | 32.0221 | -1 | -1 | -1 | -1 | 25.172 | 2.7259 | -1 | -1 | -1 | 5.5704 | 5.5282 | 0.091111 | 1.0789 | 1.1579 | 64733.8198 | -1 | -1
|  | 31 | 4 | 22 | 5 | 4 | 0 | 0 | 0 | 5.5719 | 0 | BB | 164.0635 | 49.6738 | 0.052533 | 1.099 | 0 |  | -1 | -1 | 4 | -1 | 816 | 861 | 5.4371 | 5.6617 | 0.0066667 | 56 | -1 | 5.4875 | 0.14296 | 46.5259 | 5.4889 | 0.13926 | 46.8152 | 5.5319 | 0.081112 | 105.8852 | 44.0616 | 104.6876 | 44.7835 | 5.5477 | 68.4126 | 5.5935 | 73.2813 | 5.5467 | 0.051111 | 68.5137 | 0.026841 | -0.72646 | 1.2818 | 164.1998 | 5.5686 | 0.00072046 | -1.4048e-05 | 2.2225e-06 | 0.85455 | 75460.7237 | 37954.9384 | 65804.3318 | 43040.6378 | 33.1116 | 27.7683 | 31.9424 | 32.0783 | -1 | -1 | -1 | -1 | 26.0377 | 2.7261 | -1 | -1 | -1 | 5.5704 | 5.526 | 0.094074 | 1.0583 | 1.1167 | 61778.0818 | -1 | -1
|  | 33 | 1 | 26 | 6 | 3 | 0 | 0 | 0 | 6.3104 | 0 | BB | 1706.0176 | 533.6204 | 0.051299 | 0.89058 | 0 |  | -1 | -1 | 1 | -1 | 936 | 975 | 6.2402 | 6.4904 | 0.0066667 | 50 | -1 | 6.2611 | 0.106 | 65.8241 | 6.2618 | 0.10467 | 68.9446 | 6.2691 | 0.085333 | 703.3223 | 43.5549 | 687.255 | 42.2867 | 6.2869 | 328.358 | 6.3339 | 343.177 | 6.2844 | 0.053333 | 302.9758 | 0.021663 | 0.47448 | 1.2263 | 1706.3738 | 6.3157 | 0.0004693 | 4.8238e-06 | 9.3081e-07 | 1.0753 | 87497.7668 | 88602.1683 | 77558.3178 | 84993.9244 | 8.8278 | 8.5484 | 8.1359 | 8.1706 | -1 | -1 | -1 | -1 | 4.0982 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2664 | 0.092667 | 1.053 | 1.1061 | 82076.4543 | -1 | -1
|  | 34 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 1094.2952 | 342.6215 | 0.051262 | 0.893 | 0 |  | -1 | -1 | 2 | -1 | 932 | 972 | 6.2238 | 6.4695 | 0.0066667 | 51 | -1 | 6.2618 | 0.106 | 116.7764 | 6.2624 | 0.104 | 118.7799 | 6.2692 | 0.085134 | 525.5243 | 101.8296 | 514.939 | 102.3565 | 6.2872 | 286.511 | 6.3337 | 296.2748 | 6.2844 | 0.053333 | 269.0378 | 0.021551 | 0.42813 | 0.94954 | 1094.3426 | 6.3125 | 0.00046446 | 4.2854e-06 | 8.5201e-07 | 1.0833 | 87908.219 | 88602.1683 | 77558.3178 | 85794.8446 | 8.8836 | 7.5064 | 8.3096 | 8.345 | -1 | -1 | -1 | -1 | 7.8493 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2671 | 0.092 | 1.0615 | 1.1231 | 82673.1825 | -1 | -1
|  | 6 | 8 | 28 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 105.3718 | 32.8689 | 0.051401 | 0.88617 | 0 |  | -1 | -1 | 8 | -1 | 932 | 989 | 6.2238 | 6.5837 | 0.0066667 | 68 | -1 | 6.2609 | 0.10667 | 6.7275 | 6.2618 | 0.10476 | 6.9197 | 6.2692 | 0.085285 | 45.8519 | 5.3301 | 44.8964 | 5.3052 | 6.2874 | 23.2193 | 6.3334 | 24.3125 | 6.2847 | 0.053333 | 21.3342 | 0.023299 | 1.362 | 8.4444 | 105.3718 | 6.3131 | 0.00054283 | 1.7225e-05 | 3.3723e-06 | 1.0784 | 87596.3487 | 87498.1022 | 77558.3178 | 73420.7365 | 79.0138 | 51.7898 | 71.3765 | 71.6802 | -1 | -1 | -1 | -1 | 57.0468 | 19.3623 | -1 | -1 | -1 | 6.3104 | 6.2666 | 0.093333 | 1.0652 | 1.1304 | 80079.6721 | -1 | -1
|  | 2 | 3 | 29 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 532.6561 | 167.3862 | 0.051126 | 0.90158 | 0 |  | -1 | -1 | 3 | -1 | 932 | 971 | 6.2371 | 6.4064 | 0.0066667 | 50 | -1 | 6.2624 | 0.106 | 96.5419 | 6.2631 | 0.104 | 97.5206 | 6.2692 | 0.085166 | 296.8412 | 88.6342 | 291.3024 | 90.1439 | 6.2869 | 177.9634 | 6.3339 | 184.0603 | 6.2851 | 0.052667 | 170.9246 | 0.020996 | 0.23674 | 0.015667 | 532.4406 | 6.3123 | 0.00044085 | 2.1914e-06 | 5.861e-07 | 1.0986 | 87843.0356 | 88602.1683 | 79534.2467 | 90382.4022 | 8.8991 | 8.4475 | 8.3629 | 8.3985 | -1 | -1 | -1 | -1 | 8.1069 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2671 | 0.092667 | 1.0692 | 1.1385 | 80963.0373 | -1 | -1
|  | 3 | 5 | 30 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 336.0046 | 105.592 | 0.051125 | 0.89933 | 0 |  | -1 | -1 | 5 | -1 | 932 | 971 | 6.2238 | 6.416 | 0.0066667 | 50 | -1 | 6.2618 | 0.106 | 25.2326 | 6.2624 | 0.104 | 25.85 | 6.2693 | 0.085124 | 151.4677 | 20.553 | 148.2144 | 20.8677 | 6.2869 | 76.6299 | 6.3339 | 80.3337 | 6.2851 | 0.052667 | 72.1532 | 0.021073 | 0.25741 | 0.091201 | 336.0315 | 6.3124 | 0.00044409 | 2.409e-06 | 6.0963e-07 | 1.0833 | 87928.3717 | 88602.1683 | 79534.2467 | 89726.1356 | 8.7532 | 6.943 | 8.2537 | 8.2888 | -1 | -1 | -1 | -1 | 6.6525 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2671 | 0.092 | 1.0615 | 1.1231 | 82673.1825 | -1 | -1
|  | 4 | 6 | 31 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 439.8928 | 137.691 | 0.051272 | 0.89157 | 0 |  | -1 | -1 | 6 | -1 | 932 | 989 | 6.2104 | 6.5804 | 0.0066667 | 68 | -1 | 6.2618 | 0.10571 | 16.832 | 6.2618 | 0.10476 | 17.6371 | 6.2693 | 0.085191 | 180.7607 | 10.9231 | 176.7262 | 10.9338 | 6.2875 | 85.7779 | 6.3334 | 90.5117 | 6.2847 | 0.053333 | 78.0166 | 0.022045 | 0.72241 | 3.3786 | 439.8974 | 6.3128 | 0.00048596 | 7.739e-06 | 1.5064e-06 | 1.0784 | 87791.1776 | 89081.7461 | 77558.3178 | 82004.0828 | 8.7647 | 6.9955 | 8.2031 | 8.238 | -1 | -1 | -1 | -1 | 6.5848 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2666 | 0.093333 | 1.0652 | 1.1304 | 80079.6721 | -1 | -1
|  | 1 | 4 | 32 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 335.5164 | 105.4975 | 0.051104 | 0.90217 | 0 |  | -1 | -1 | 4 | -1 | 932 | 971 | 6.2304 | 6.4061 | 0.0066667 | 50 | -1 | 6.2624 | 0.106 | 55.7866 | 6.2631 | 0.104 | 56.4034 | 6.2692 | 0.085119 | 182.0295 | 50.7928 | 178.5549 | 51.7651 | 6.2869 | 107.0169 | 6.3339 | 110.9583 | 6.2851 | 0.052667 | 102.6656 | 0.020982 | 0.23578 | 0.014799 | 335.3951 | 6.3123 | 0.00044025 | 2.178e-06 | 5.8432e-07 | 1.0986 | 87939.1023 | 88602.1683 | 79534.2467 | 90507.1525 | 8.8864 | 7.4167 | 8.3626 | 8.3982 | -1 | -1 | -1 | -1 | 7.776 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2671 | 0.092667 | 1.0692 | 1.1385 | 80963.0373 | -1 | -1
|  | 5 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.3105 | 0 | BB | 342.6124 | 107.1406 | 0.051307 | 0.88997 | 0 |  | -1 | -1 | 7 | -1 | 932 | 988 | 6.2171 | 6.5771 | 0.0066667 | 67 | -1 | 6.2609 | 0.10667 | 6.5156 | 6.2618 | 0.10476 | 7.1421 | 6.2692 | 0.085226 | 134.0416 | 1.9312 | 130.9178 | 1.9116 | 6.2875 | 60.4662 | 6.3333 | 63.9858 | 6.2847 | 0.053244 | 54.1253 | 0.022375 | 0.89927 | 4.7603 | 342.6124 | 6.3129 | 0.00050062 | 1.0073e-05 | 1.9449e-06 | 1.0784 | 87718.4413 | 87498.1022 | 77819.7308 | 79605.4716 | 9.278 | 9.7679 | 8.6888 | 8.7257 | -1 | -1 | -1 | -1 | 9.3034 | 1.1326 | -1 | -1 | -1 | 6.3104 | 6.2666 | 0.093333 | 1.0652 | 1.1304 | 80079.6721 | -1 | -1
|  | 8 | 1 | 34 | 7 | 3 | 0 | 0 | 0 | 6.7126 | 0 | BB | 15.1432 | 5.6313 | 0.043373 | 0.77187 | 0 |  | -1 | -1 | 1 | -1 | 994 | 1028 | 6.6704 | 6.7704 | 0.0066667 | 45 | -1 | 6.6704 | 0.076363 | 38.164 | 6.6704 | 0.076363 | 38.1961 | 6.6798 | 0.071668 | 44.7073 | 38.9219 | 45.3294 | 36.5926 | 6.694 | 41.4185 | 6.7332 | 40.7025 | 6.688 | 0.046061 | 40.6057 | 0.016589 | 0.13059 | -0.42342 | 15.1432 | 6.7159 | 0.00027518 | 5.9614e-07 | 1.9511e-07 | 0.95455 | 140270.914 | 193049.047 | 117584.3285 | 163904.8131 | 5.1234 | 5.5136 | 4.7546 | 4.7748 | -1 | -1 | -1 | -1 | 5.2317 | 1.0637 | -1 | -1 | -1 | 6.7104 | 6.6704 | 0.074545 | 0.93182 | 0.86364 | 140332.4111 | -1 | -1
|  | 7 | 2 | 33 | 7 | 4 | 0 | 0 | 0 | 6.7143 | 0 | BB | 10.7637 | 4.0329 | 0.043138 | 0.93847 | 0 |  | -1 | -1 | 2 | -1 | 995 | 1028 | 6.6704 | 6.7704 | 0.0066667 | 44 | -1 | 6.6704 | 0.086111 | 105.6999 | 6.671 | 0.085 | 105.7231 | 6.6793 | 0.071709 | 110.7089 | 105.6127 | 110.5913 | 105.4547 | 6.6942 | 107.7744 | 6.7333 | 107.9351 | 6.6915 | 0.046111 | 107.4654 | 0.01651 | 0.10977 | -0.44824 | 10.7637 | 6.7153 | 0.00027259 | 4.9406e-07 | 1.8961e-07 | 0.92169 | 140388.6825 | 152119.4556 | 117560.1314 | 165432.0657 | 5.1494 | 5.2551 | 4.7714 | 4.7917 | -1 | -1 | -1 | -1 | 5.2913 | 1.064 | -1 | -1 | -1 | 6.7171 | 6.676 | 0.076667 | 0.93243 | 0.86486 | 133028.1704 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 16:28:28
ResNewDateTime | 02 September 2019 16:28:28
ResModBy | SYSTEM
ResModTime | 09/02/19 16:28:29
ResModDateTime | 02 September 2019 16:28:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7277.8123

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7277.8123

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4552.8734

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2342.0047

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 792.2614

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 509.3042

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 516.0966

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 400.4046

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 143.3948

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7277.8123

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4552.8734

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2342.0047

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 792.2614

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 509.3042

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 516.0966

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 400.4046

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 143.3948

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.34296 | 1525.2698 | 166.0739 | 0.12715 | 1.6096 | -17.3514 | 0.00375 | 0 | 41.4152 | 0.52375 | 7.1054e-15 | -48.6712 | 1 | -173.2432 | 42.0649 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4631 | 1167.0422 | 50.0939 | 0.2838 | 4.2462 | 6.6298 | 0.80375 | 0 | -49.2172 | 1.6037 | 1.4211e-14 | 18.5475 | 1 | 84.7059 | -117.2996 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.044 | 833.2727 | 157.0073 | 0.081918 | 0.57878 | 44.8987 | 1.7437 | 0 | 41.7624 | 2.2799 | 0 | 47.3621 | 1 | 10.4448 | 23.5493 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 4.9536 | 20.1311 | 5.4945 | 0.054745 | 0.54076 | 62.7815 | 4.9104 | 8.3318e-08 | 63.4141 | 5.4527 | 4.1129e-07 | 55.808 | 2 | -14.6537 | 135.3699 | 10.7735 | -111.2971 | 5.4837
DateTime |  | 32 | 20 | 5.5718 | 2010.9357 | 629.1632 | 0.051289 | 0.98729 | 53.7218 | 4.9104 | 1.4211e-14 | 63.4141 | 6.2304 | 1.4211e-14 | 44.0712 | 1 | -14.6537 | 135.3699 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.3104 | 1706.0176 | 533.6204 | 0.051299 | 0.89058 | 42.941 | 6.2402 | 0 | 43.985 | 6.4904 | 0 | 40.266 | 1 | -14.8614 | 136.7224 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.7126 | 15.1432 | 5.6313 | 0.043373 | 0.77187 | 37.857 | 6.6704 | 2.8422e-14 | 39.2284 | 6.7704 | 2.8422e-14 | 35.9783 | 1 | -32.5012 | 256.0251 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.33484 | 1538.7667 | 143.4185 | 0.14717 | 1.9878 | 39.9073 | 0.00375 | 0 | 120.1153 | 0.51042 | 1.4211e-14 | -2.6259 | 1 | -242.2524 | 121.0237 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.463 | 720.3375 | 34.1088 | 0.25839 | 3.7611 | 15.3219 | 0.83708 | 0 | -16.5563 | 1.6037 | 0 | 22.4905 | 1 | 50.9306 | -59.1894 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0441 | 561.7692 | 105.6441 | 0.082038 | 0.57386 | 40.8639 | 1.7437 | 0 | 38.475 | 2.2795 | 0 | 42.7368 | 1 | 7.9541 | 24.605 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5718 | 626.9411 | 192.6227 | 0.051972 | 1.0444 | 98.4236 | 5.4304 | 0 | 97.5208 | 5.6808 | 0 | 99.1191 | 1 | 6.3838 | 62.8543 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3105 | 1094.2952 | 342.6215 | 0.051262 | 0.893 | 102.0849 | 6.2238 | 0 | 101.5482 | 6.4695 | 0 | 103.0694 | 1 | 6.1889 | 63.03 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.7143 | 10.7637 | 4.0329 | 0.043138 | 0.93847 | 105.5357 | 6.6704 | 0 | 105.6323 | 6.7704 | 0 | 105.412 | 1 | -2.203 | 120.3271 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.3202 | 1009.6052 | 89.6986 | 0.14331 | 2.1309 | 52.0261 | 0.00375 | 0 | 114.1849 | 0.49708 | 1.4211e-14 | 17.2811 | 1 | -196.4266 | 114.9215 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4629 | 83.827 | 10.6513 | 0.10382 | 0.63038 | 16.7986 | 1.2971 | 0 | 18.0025 | 1.6092 | 0 | 15.7368 | 1 | -7.2588 | 27.4178 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0441 | 290.3053 | 56.183 | 0.080283 | 0.56199 | 23.8266 | 1.7771 | 0 | 22.8739 | 2.2804 | 0 | 24.6701 | 1 | 3.5687 | 16.532 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5719 | 425.6111 | 132.8606 | 0.051373 | 1.0165 | 78.5625 | 5.4437 | 0 | 76.6597 | 5.6677 | 0 | 79.9854 | 1 | 14.8471 | -4.1642 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3105 | 532.6561 | 167.3862 | 0.051126 | 0.90158 | 89.3667 | 6.2371 | 0 | 88.0647 | 6.4064 | 0 | 91.0661 | 1 | 17.727 | -22.5001 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31789 | 141.88 | 30.4448 | 0.066369 | 1.1198 | 49.6955 | 0.21708 | 0 | 68.2397 | 0.43042 | 1.4211e-14 | 28.9941 | 1 | -183.9638 | 108.1752 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0439 | 150.8016 | 30.4706 | 0.075739 | 0.5725 | 20.029 | 1.7771 | 0 | 19.7039 | 2.2881 | 0 | 20.3265 | 1 | 1.2183 | 17.5388 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5719 | 164.0635 | 49.6738 | 0.052533 | 1.099 | 44.4179 | 5.4371 | 0 | 43.2177 | 5.6617 | 0 | 45.2166 | 1 | 8.8995 | -5.1699 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3105 | 335.5164 | 105.4975 | 0.051104 | 0.90217 | 51.2646 | 6.2304 | 0 | 50.3492 | 6.4061 | -7.1054e-15 | 52.3561 | 1 | 11.4238 | -20.8256 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32171 | 66.3599 | 17.5199 | 0.05619 | 1.4462 | 20.1159 | 0.19708 | 0 | 26.0696 | 0.41708 | 0 | 15.5597 | 1 | -47.7726 | 35.4848 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0439 | 72.5011 | 14.8869 | 0.074818 | 0.56803 | 13.4817 | 1.8104 | 0 | 13.4029 | 2.3293 | 0 | 13.578 | 1 | 0.33741 | 12.7921 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5718 | 34.4386 | 7.87 | 0.063053 | 1.8417 | 18.793 | 5.4371 | 0 | 18.4813 | 5.6533 | 0 | 18.9816 | 1 | 2.3141 | 5.8991 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.3105 | 336.0046 | 105.592 | 0.051125 | 0.89933 | 20.7056 | 6.2238 | 0 | 20.3848 | 6.416 | 0 | 21.0956 | 1 | 3.6966 | -2.6221 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32515 | 43.4935 | 13.9327 | 0.04842 | 1.3223 | 11.0182 | 0.18375 | 0 | 12.4621 | 0.41708 | 0 | 10.0794 | 1 | -10.2118 | 14.3386 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5717 | 32.7104 | 7.6786 | 0.061699 | 1.7485 | 10.8299 | 5.4437 | 0 | 10.7942 | 5.6571 | 0 | 10.8538 | 1 | 0.2794 | 9.2732 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3105 | 439.8928 | 137.691 | 0.051272 | 0.89157 | 10.9283 | 6.2104 | 0 | 10.9158 | 6.5804 | 0 | 10.962 | 1 | 0.12501 | 10.1394 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.3256 | 38.2739 | 12.6771 | 0.047223 | 1.2612 | 2.1028 | 0.18375 | 4.4409e-16 | 2.9435 | 0.42375 | 4.4409e-16 | 1.5211 | 1 | -5.9267 | 4.0325 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5717 | 19.5183 | 7.0992 | 0.044076 | 0.82584 | 3.0693 | 5.5304 | 0 | 3.6383 | 5.6371 | 0 | 2.1696 | 1 | -13.7687 | 79.7848 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3105 | 342.6124 | 107.1406 | 0.051307 | 0.88997 | 1.9217 | 6.2171 | -2.2204e-16 | 1.9431 | 6.5771 | -2.2204e-16 | 1.8606 | 1 | -0.22915 | 3.3677 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32592 | 38.023 | 12.5601 | 0.047318 | 1.2577 | 5.542 | 0.18375 | 0 | 6.3205 | 0.42375 | 0 | 5.0063 | 1 | -5.4757 | 7.3266 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.3105 | 105.3718 | 32.8689 | 0.051401 | 0.88617 | 5.318 | 6.2238 | 0 | 5.3434 | 6.5837 | 0 | 5.2381 | 1 | -0.29273 | 7.1653 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2