## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567428952
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 21
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 21
Vial | 21
SampleLocation | 21
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 13:55:52
SampleName | CS-135_0021
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.793
StopPressure | 61.425
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 3.8092
DAD1UVBurnTime | 150.4758
DAD1VisOnTime | 3.8086
DAD1VisBurnTime | 135.9869
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 39.999
StopRightTemp | 40.001
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 9 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 35 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 10805.1674 | 1674.1038 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 4672.3288 | 847.1834 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 2156.2325 | 462.4147 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 851.5219 | 225.5506 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 516.7719 | 149.0898 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 510.2084 | 158.7757 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 406.3274 | 126.781 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0021.D | 140.8587 | 44.4331 | 0 | 0 | 0 | 0 | 0.0066667 | 8.5 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 36 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31906 | 0 | BB | 175.5281 | 33.4638 | 0.075195 | 1.2966 | 0 |  | -1 | -1 | 4 | -1 | 25 | 83 | 0.19333 | 0.44 | 0.0066667 | 69 | -1 | 0.19333 | 0.17333 | 46.8388 | 0.19333 | 0.17333 | 47.035 | 0.26738 | 0.10237 | 81.4045 | 53.859 | 92.1552 | 37.4043 | 0.30437 | 73.5717 | 0.34877 | 60.0691 | 0.19333 | 0.15429 | 61.7447 | 0.041508 | -0.24435 | -0.17158 | 175.5281 | 0.30914 | 0.0017229 | -1.7474e-05 | 8.3959e-06 | 0.68421 | 156.3413 | 85.2071 | 23.8319 | 55.4671 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32 | 0.19333 | 0.17048 | 0.67293 | 0.34586 | 35.479 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32185 | 0 | BB | 781.0206 | 84.1385 | 0.1223 | 1.7085 | 0 |  | -1 | -1 | 3 | -1 | 12 | 104 | 0.08 | 0.48667 | 0.0066667 | 103 | -1 | 0.08 | 0.32267 | 58.8083 | 0.08 | 0.32267 | 59.3139 | 0.23571 | 0.16652 | 144.586 | 76.299 | 159.898 | 37.487 | 0.3063 | 132.2588 | 0.35089 | 115.6804 | 0.08 | 0.28533 | 97.2365 | 0.073507 | -0.42033 | -0.35471 | 781.0205 | 0.29028 | 0.0054033 | -0.00016694 | 7.723e-05 | 0.65405 | 61.5707 | 25.6237 | 7.2613 | 15.5949 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.08 | 0.31733 | 0.64324 | 0.28649 | 9.3215 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32222 | 0 | BB | 60.0775 | 17.4349 | 0.052201 | 1.2193 | 0 |  | -1 | -1 | 5 | -1 | 32 | 73 | 0.21333 | 0.41333 | 0.0066667 | 52 | -1 | 0.21333 | 0.148 | 19.9107 | 0.21333 | 0.148 | 20.0133 | 0.28767 | 0.072922 | 39.6262 | 21.1569 | 46.1201 | 17.42 | 0.30977 | 32.9695 | 0.35007 | 25.2868 | 0.29533 | 0.051333 | 27.7074 | 0.029382 | -0.8056 | 0.53814 | 60.0775 | 0.31433 | 0.00086333 | -2.0435e-05 | 2.6371e-06 | 0.65294 | 321.0837 | 121.7941 | 224.3471 | 114.4415 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.21333 | 0.146 | 0.64412 | 0.28824 | 44.2338 | -1 | -1
Modified | 1 | 21 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32581 | 0 | BB | 40.8937 | 13.8327 | 0.04649 | 1.158 | 0 |  | -1 | -1 | 6 | -1 | 30 | 71 | 0.2 | 0.40667 | 0.0066667 | 52 | -1 | 0.2 | 0.16467 | 10.7523 | 0.2 | 0.164 | 10.8349 | 0.29414 | 0.06583 | 28.2549 | 10.5052 | 31.3007 | 9.7791 | 0.30982 | 19.2905 | 0.35004 | 16.0399 | 0.304 | 0.044667 | 17.0305 | 0.026287 | -1.3896 | 2.5376 | 40.8937 | 0.31949 | 0.00069101 | -2.5242e-05 | 2.6442e-06 | 0.64737 | 393.9909 | 98.3871 | 296.3141 | 147.7202 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.2 | 0.162 | 0.63947 | 0.27895 | 35.0693 | -1 | -1
NextPeakSignal_ | Peak | 22 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32648 | 0 | BB | 36.5691 | 12.6056 | 0.045845 | 1.149 | 0 |  | -1 | -1 | 7 | -1 | 29 | 71 | 0.19333 | 0.42 | 0.0066667 | 53 | -1 | 0.19333 | 0.17185 | 1.8414 | 0.19333 | 0.17185 | 1.9167 | 0.29477 | 0.065141 | 18.1132 | 1.4843 | 20.2455 | 1.0867 | 0.30986 | 9.3973 | 0.3499 | 6.8222 | 0.30519 | 0.043704 | 7.5601 | 0.02601 | -1.4914 | 3.2403 | 36.5691 | 0.32052 | 0.00067653 | -2.6243e-05 | 2.8561e-06 | 0.64444 | 402.3604 | 90.3319 | 309.5159 | 151.8562 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.26 | 0.10222 | 0.76667 | 0.53333 | 136.2715 | -1 | -1
Signal_ | Signal | 29 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32693 | 0 | BB | 36.2775 | 12.4762 | 0.045924 | 1.159 | 0 |  | -1 | -1 | 8 | -1 | 29 | 71 | 0.19333 | 0.42 | 0.0066667 | 53 | -1 | 0.19333 | 0.17259 | 5.3128 | 0.19333 | 0.17259 | 5.3872 | 0.29489 | 0.06539 | 21.5021 | 4.9458 | 23.3417 | 4.5789 | 0.30986 | 12.6823 | 0.34991 | 10.4174 | 0.30519 | 0.044444 | 10.9645 | 0.025972 | -1.4709 | 3.2426 | 36.2775 | 0.32098 | 0.00067454 | -2.5769e-05 | 2.8404e-06 | 0.64722 | 399.3071 | 89.5582 | 299.2847 | 152.7415 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32667 | 0.2637 | 0.099259 | 0.78824 | 0.57647 | 151.3226 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33642 | 0 | BB | 1512.265 | 145.0643 | 0.13562 | 1.9873 | 0 |  | -1 | -1 | 2 | -1 | 1 | 112 | 0.0066667 | 0.50667 | 0.0066667 | 117 | -1 | 0.033333 | 0.395 | 44.9503 | 0.033333 | 0.395 | 45.8105 | 0.24411 | 0.18982 | 197.7813 | 60.4248 | 200.9625 | 14.0848 | 0.3109 | 159.8152 | 0.37767 | 121.9034 | 0.033333 | 0.35167 | 110.3211 | 0.092442 | -0.62407 | -0.20622 | 1512.265 | 0.28694 | 0.0085455 | -0.00049299 | 0.00020402 | 0.65833 | 49.3384 | 17.8034 | 4.9774 | 9.635 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33333 | 0.033333 | 0.38833 | 0.64722 | 0.29444 | 6.6128 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34391 | 0 | BB | 1478.9301 | 168.5494 | 0.12037 | 1.5345 | 0 |  | -1 | -1 | 1 | -1 | 2 | 107 | 0.013333 | 0.52 | 0.0066667 | 112 | -1 | 0.033333 | 0.41167 | -11.8995 | 0.033333 | 0.41 | -10.9 | 0.27067 | 0.16804 | 171.447 | -5.7219 | 169.9647 | -35.5894 | 0.31614 | 104.2742 | 0.37972 | 92.3195 | 0.29167 | 0.1 | 64.0652 | 0.088095 | -0.83293 | 0.30337 | 1478.9301 | 0.30909 | 0.0077608 | -0.00056946 | 0.00019896 | 0.65426 | 68.0915 | 17.7285 | 66.5785 | 12.3099 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34667 | 0.033333 | 0.40333 | 0.64362 | 0.28723 | 6.5108 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4641 | 0 | BB | 78.0476 | 10.2727 | 0.10064 | 0.56881 | 0 |  | -1 | -1 | 3 | -1 | 189 | 266 | 1.3133 | 1.6118 | 0.0066667 | 88 | -1 | 1.3133 | 0.28111 | 15.5077 | 1.3133 | 0.28 | 15.5682 | 1.4095 | 0.19366 | 27.1009 | 15.6824 | 40.943 | 13.5869 | 1.441 | 22.2581 | 1.5875 | 16.6721 | 1.4278 | 0.11 | 20.1059 | 0.058826 | -0.19615 | -0.4756 | 78.2501 | 1.4848 | 0.0034605 | -3.993e-05 | 3.0229e-05 | 0.91304 | 917.7245 | 680.5296 | 984.8889 | 637.0995 | 6.3426 | 4.7296 | 3.395 | 3.4094 | -1 | -1 | -1 | -1 | 4.5134 | 4.549 | -1 | -1 | -1 | 1.4667 | 1.3133 | 0.27778 | 0.9058 | 0.81159 | 468.3574 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4642 | 0 | BB | 738.7424 | 34.2028 | 0.26399 | 3.8151 | 0 |  | -1 | -1 | 2 | -1 | 125 | 242 | 0.83333 | 1.6067 | 0.0066667 | 128 | -1 | 1.1283 | 0.47833 | 13.6899 | 1.13 | 0.47667 | 13.8914 | 1.3752 | 0.22515 | 50.2379 | 7.7821 | 79.0269 | 18.6867 | 1.4411 | 39.2292 | 1.5838 | 26.0068 | 1.37 | 0.20667 | 29.0086 | 0.17166 | -0.28369 | -0.92825 | 738.7424 | 1.299 | 0.029468 | -0.0014351 | 0.0017991 | 0.70792 | 678.9602 | 235.0399 | 279.0177 | 57.2635 | 5.4354 | 3.2283 | 2.3733 | 2.3834 | -1 | -1 | -1 | -1 | 1.9161 | 4.3523 | -1 | -1 | -1 | 1.4667 | 1.15 | 0.45667 | 0.72105 | 0.44211 | 122.4778 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4642 | 0 | BB | 1193.6011 | 50.2164 | 0.28931 | 4.2931 | 0 |  | -1 | -1 | 1 | -1 | 120 | 242 | 0.8 | 1.6067 | 0.0066667 | 133 | -1 | 1.125 | 0.48167 | 5.128 | 1.1283 | 0.47833 | 5.4241 | 1.3691 | 0.23063 | 58.4814 | -4.9851 | 100.0416 | 13.7879 | 1.4412 | 43.0845 | 1.5829 | 24.4961 | 1.3567 | 0.22167 | 27.6283 | 0.17755 | -0.24254 | -0.93947 | 1193.601 | 1.2827 | 0.031524 | -0.0013575 | 0.0020477 | 0.7069 | 647.0728 | 231.798 | 242.5336 | 52.1954 | 5.6203 | 3.1353 | 4.0924 | 4.1098 | -1 | -1 | -1 | -1 | 1.8326 | 4.2576 | -1 | -1 | -1 | 1.4667 | 1.1467 | 0.46 | 0.71875 | 0.4375 | 119.8964 | -1 | -1
|  | 20 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0661 | 0 | BB | 87.877 | 17.2433 | 0.079457 | 0.5368 | 0 |  | -1 | -1 | 5 | -1 | 275 | 352 | 1.8333 | 2.3433 | 0.0066667 | 88 | -1 | 2.0111 | 0.17444 | 13.2956 | 2.0122 | 0.17 | 13.3983 | 2.0173 | 0.13894 | 34.6327 | 12.5168 | 31.5447 | 12.5908 | 2.0377 | 21.7766 | 2.1014 | 24.1215 | 2.0356 | 0.081111 | 21.0946 | 0.039103 | 0.86892 | 2.9553 | 87.8498 | 2.0839 | 0.0015291 | 5.1954e-05 | 1.3924e-05 | 1.5612 | 3540.0924 | 3508.8645 | 3596.5817 | 2840.0925 | 16.4626 | 13.5209 | 15.4712 | 15.537 | -1 | -1 | -1 | -1 | 12.9194 | 6.4121 | -1 | -1 | -1 | 2.0667 | 2.0167 | 0.14889 | 1.4889 | 1.9778 | 2489.1365 | -1 | -1
|  | 23 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0662 | 0 | BB | 180.1384 | 35.0068 | 0.080034 | 0.54207 | 0 |  | -1 | -1 | 4 | -1 | 270 | 347 | 1.8 | 2.2906 | 0.0066667 | 88 | -1 | 2.0111 | 0.17889 | 20.6192 | 2.0111 | 0.17556 | 20.8276 | 2.0171 | 0.14005 | 63.9279 | 18.9967 | 57.632 | 19.264 | 2.0375 | 37.6628 | 2.1019 | 42.5881 | 2.0356 | 0.082222 | 36.4546 | 0.039269 | 0.38818 | 2.6528 | 180.2194 | 2.0834 | 0.0015421 | 2.3507e-05 | 1.3442e-05 | 1.58 | 3484.0661 | 3336.6768 | 3500.0336 | 2814.7731 | 14.4139 | 12.4007 | 8.6799 | 8.7168 | -1 | -1 | -1 | -1 | 10.9825 | 6.4758 | -1 | -1 | -1 | 2.0667 | 2.0167 | 0.15111 | 1.5111 | 2.0222 | 2383.6437 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0663 | 0 | BB | 972.1552 | 179.0327 | 0.08335 | 0.56181 | 0 |  | -1 | -1 | 1 | -1 | 265 | 344 | 1.7667 | 2.2856 | 0.0066667 | 90 | -1 | 2.0093 | 0.204 | 53.6238 | 2.0093 | 0.196 | 54.6898 | 2.0164 | 0.14332 | 274.845 | 44.9406 | 242.3842 | 47.4121 | 2.0376 | 142.7054 | 2.1021 | 167.6449 | 2.0347 | 0.084 | 134.6372 | 0.047904 | -0.60811 | 5.1413 | 972.519 | 2.0822 | 0.0022948 | -6.685e-05 | 4.2873e-05 | 1.7093 | 3327.0718 | 2565.7867 | 3353.4518 | 1889.2262 | 3.2199 | 2.1951 | 2.3142 | 2.3241 | -1 | -1 | -1 | -1 | 1.7729 | 1.4112 | -1 | -1 | -1 | 2.0667 | 2.0147 | 0.16 | 1.5385 | 2.0769 | 2091.1934 | -1 | -1
|  | 25 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0663 | 0 | BB | 342.3297 | 64.1805 | 0.082228 | 0.5507 | 0 |  | -1 | -1 | 3 | -1 | 265 | 348 | 1.7667 | 2.2849 | 0.0066667 | 94 | -1 | 2.0093 | 0.19867 | 25.9311 | 2.0107 | 0.19067 | 26.3132 | 2.0167 | 0.14242 | 105.2382 | 22.8195 | 93.6318 | 23.702 | 2.0377 | 57.7383 | 2.1021 | 66.6701 | 2.0347 | 0.084 | 54.9691 | 0.044848 | -0.33958 | 4.98 | 342.5258 | 2.0831 | 0.0020113 | -3.0631e-05 | 3.2282e-05 | 1.7024 | 3369.0004 | 2705.3962 | 3353.4518 | 2157.3828 | 3.5837 | 3.1379 | 3.6474 | 3.6629 | -1 | -1 | -1 | -1 | 2.8853 | 1.4113 | -1 | -1 | -1 | 2.0667 | 2.016 | 0.15733 | 1.5526 | 2.1053 | 2144.4151 | -1 | -1
|  | 24 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0663 | 0 | BB | 652.8761 | 120.336 | 0.083297 | 0.55598 | 0 |  | -1 | -1 | 2 | -1 | 265 | 348 | 1.7667 | 2.2846 | 0.0066667 | 94 | -1 | 2.0093 | 0.208 | 46.2732 | 2.0093 | 0.19867 | 46.9897 | 2.0164 | 0.14354 | 194.9129 | 40.3653 | 173.1089 | 42.233 | 2.0376 | 106.0841 | 2.1023 | 122.8952 | 2.0347 | 0.084 | 100.726 | 0.04718 | -0.49762 | 5.0435 | 653.3434 | 2.0828 | 0.002226 | -5.226e-05 | 3.9855e-05 | 1.7326 | 3316.8032 | 2468.0514 | 3353.4518 | 1948.85 | 3.2664 | 2.1933 | 2.4341 | 2.4445 | -1 | -1 | -1 | -1 | 1.7907 | 1.4113 | -1 | -1 | -1 | 2.0667 | 2.0147 | 0.16133 | 1.5513 | 2.1026 | 2041.0405 | -1 | -1
|  | 18 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 2.6394 | 0 | BV | 818.4161 | 33.4281 | 0.40163 | 0.93497 | 0 |  | -1 | -1 | 1 | -1 | 343 | 444 | 2.2867 | 2.9515 | 0.0066667 | 112 | -1 | 2.3217 | 0.62984 | 50.7503 | 2.3233 | 0.62817 | 50.9509 | 2.3336 | 0.66612 | 98.788 | 49.5377 | 90.3064 | 48.9763 | 2.4198 | 63.4182 | 2.808 | 70.9647 | 2.435 | 0.41833 | 65.9937 | 0.12719 | 0.034201 | -0.71019 | 624.2938 | 2.6235 | 0.016177 | 7.0371e-05 | 0.00059926 | 0.99185 | 251.3179 | 439.2244 | 220.6341 | 425.4561 | 1.4162 | 1.7184 | 1.3406 | 1.3464 | -1 | -1 | -1 | -1 | 1.5459 | 1.2774 | -1 | 3.423 | 3.423 | 2.64 | 2.3433 | 0.60817 | 1.025 | 1.05 | 341.6298 | -1 | -1
|  | 19 | 1 | 18 | 5 | 3 | 0 | 0 | 0 | 3.564 | 0 | VB | 2441.1101 | 54.1536 | 0.5839 | 1.1246 | 0 |  | -1 | -1 | 1 | -1 | 443 | 798 | 2.9515 | 4.3133 | 0.0066667 | 366 | -1 | 2.9515 | 1.2785 | 50.8808 | 2.9515 | 1.2752 | 51.2057 | 2.9625 | 1.2789 | 209.8481 | 49.0077 | 131.2286 | 47.9299 | 3.0641 | 76.1795 | 4.1538 | 58.7015 | 3.06 | 0.88 | 75.5705 | 0.29682 | 0.05793 | -0.87438 | 2041.8414 | 3.5709 | 0.0881 | 0.0015148 | 0.016498 | 1.0364 | 124.4431 | 194.5667 | 91.0059 | 144.7389 | 0.95072 | 1.2112 | 0.83675 | 0.84031 | -1 | -1 | -1 | -1 | 1.1172 | 1.3503 | 5.5452 | -1 | 5.5452 | 3.5667 | 2.9515 | 1.2452 | 1.0121 | 1.0241 | 150.4516 | -1 | -1
|  | 26 | 1 | 19 | 6 | 3 | 0 | 0 | 0 | 5.4963 | 0 | BV E | 153.4191 | 7.0408 | 0.26622 | 0.077046 | 0 |  | -1 | -1 | 1 | -1 | 745 | 904 | 5.4267 | 6.02 | 0.0066667 | 170 | -1 | 5.4267 | 0.20444 | 61.5294 | 5.4267 | 0.20222 | 61.5701 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4667 | 0.06 | 64.623 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.5167 | -1 | 18049.3507 | 46438.6054 | -1 | 13.8563 | 3.2575 | 2.4153 | 2.4256 | -1 | -1 | -1 | -1 | -1 | 1.5422 | -1 | -1 | -1 | 5.4933 | 5.4267 | 0.18889 | 1.4167 | 1.8333 | 11438.6484 | -1 | -1
|  | 30 | 5 | 21 | 7 | 4 | 0 | 0 | 0 | 6.0618 | 0 | BB | 33.4773 | 11.477 | 0.048031 | 0.91116 | 0 |  | -1 | -1 | 5 | -1 | 895 | 932 | 5.9933 | 6.139 | 0.0066667 | 48 | -1 | 6.0188 | 0.10121 | 18.3707 | 6.0188 | 0.099394 | 18.4372 | 6.0235 | 0.078009 | 32.4852 | 17.7304 | 31.6681 | 18.0552 | 6.0366 | 22.771 | 6.0835 | 24.2233 | 6.0382 | 0.048485 | 23.4306 | 0.01913 | 0.26735 | -0.050434 | 33.5017 | 6.0634 | 0.00036596 | 1.8716e-06 | 3.9503e-07 | 1.2059 | 96554.4944 | 89623.1498 | 86545.1884 | 100460.8352 | 36.8354 | 36.2379 | 36.2274 | 36.3816 | -1 | -1 | -1 | -1 | 34.1684 | 2.9339 | -1 | -1 | -1 | 6.06 | 6.0224 | 0.086667 | 1.1532 | 1.3065 | 79751.6248 | -1 | -1
|  | 31 | 6 | 22 | 7 | 4 | 0 | 0 | 0 | 6.0619 | 0 | BB | 31.637 | 10.8338 | 0.048069 | 0.90354 | 0 |  | -1 | -1 | 6 | -1 | 895 | 932 | 6 | 6.1432 | 0.0066667 | 48 | -1 | 6.0176 | 0.09697 | 10.2685 | 6.0182 | 0.095758 | 10.3313 | 6.0236 | 0.07812 | 23.4973 | 9.7982 | 22.8901 | 9.8191 | 6.0366 | 14.4374 | 6.0835 | 15.8002 | 6.0376 | 0.049091 | 15.0421 | 0.019093 | 0.256 | -0.077511 | 31.6343 | 6.0636 | 0.00036453 | 1.7817e-06 | 3.8834e-07 | 1.1449 | 96280.0112 | 97636.7197 | 84421.461 | 100861.6243 | 79.6952 | 54.8095 | 71.8862 | 72.1921 | -1 | -1 | -1 | -1 | 63.2891 | 18.6054 | -1 | -1 | -1 | 6.06 | 6.0218 | 0.085455 | 1.119 | 1.2381 | 84283.7725 | -1 | -1
|  | 32 | 7 | 23 | 7 | 4 | 0 | 0 | 0 | 6.0629 | 0 | BB | 29.3247 | 9.9406 | 0.046416 | 0.89749 | 0 |  | -1 | -1 | 7 | -1 | 896 | 931 | 6 | 6.1467 | 0.0066667 | 46 | -1 | 6.0176 | 0.098182 | 1.5156 | 6.0182 | 0.096364 | 1.573 | 6.0246 | 0.078335 | 13.5418 | 1.1054 | 13.1747 | 1.0815 | 6.0438 | 7.3384 | 6.0834 | 6.9712 | 6.0388 | 0.049091 | 5.8785 | 0.019313 | 0.24902 | -0.059379 | 29.3247 | 6.0646 | 0.000373 | 1.7939e-06 | 4.0913e-07 | 1.1522 | 95753.4314 | 95240.8179 | 84421.461 | 98603.4726 | 79.9631 | 53.1083 | 72.6365 | 72.9456 | -1 | -1 | -1 | -1 | 63.3675 | 18.5707 | -1 | -1 | -1 | 6.06 | 6.0224 | 0.086061 | 1.1452 | 1.2903 | 81392.3587 | -1 | -1
|  | 34 | 4 | 24 | 7 | 4 | 0 | 0 | 0 | 6.064 | 0 | BB | 161.7524 | 54.2969 | 0.046755 | 0.90823 | 0 |  | -1 | -1 | 4 | -1 | 895 | 932 | 5.9667 | 6.1488 | 0.0066667 | 48 | -1 | 6.02 | 0.10303 | 46.4611 | 6.02 | 0.10061 | 46.7746 | 6.0256 | 0.078247 | 112.8944 | 43.51 | 109.9532 | 44.7532 | 6.0435 | 75.8833 | 6.0831 | 78.8002 | 6.04 | 0.049697 | 70.2854 | 0.019687 | 0.26453 | 0.055269 | 161.5873 | 6.0657 | 0.00038758 | 2.0184e-06 | 4.5895e-07 | 1.0779 | 96179.6974 | 86678.2872 | 82556.2989 | 94928.8442 | 36.6273 | 35.452 | 35.6087 | 35.7602 | -1 | -1 | -1 | -1 | 33.7728 | 2.9349 | -1 | -1 | -1 | 6.0667 | 6.0236 | 0.087879 | 1.0211 | 1.0423 | 86697.2969 | -1 | -1
|  | 28 | 2 | 25 | 7 | 4 | 0 | 0 | 0 | 6.0641 | 0 | BB | 653.9803 | 208.0469 | 0.048673 | 0.93581 | 0 |  | -1 | -1 | 2 | -1 | 872 | 936 | 5.8133 | 6.2358 | 0.0066667 | 75 | -1 | 6.0167 | 0.10556 | 105.8327 | 6.0178 | 0.10222 | 107.0362 | 6.0252 | 0.079593 | 358.4884 | 96.8054 | 348.8466 | 97.1918 | 6.0425 | 213.635 | 6.0837 | 227.3635 | 6.0389 | 0.051111 | 197.2997 | 0.030229 | -1.7768 | 11.8024 | 653.8486 | 6.0637 | 0.00091378 | -4.9079e-05 | 1.236e-05 | 1.0455 | 92955.1292 | 82580.6094 | 78051.1645 | 40238.0466 | 35.8333 | 31.8745 | 34.7668 | 34.9148 | -1 | -1 | -1 | -1 | 25.7137 | 2.9347 | -1 | -1 | -1 | 6.0667 | 6.0222 | 0.09 | 1.0125 | 1.025 | 83285.5967 | -1 | -1
|  | 33 | 3 | 26 | 7 | 4 | 0 | 0 | 0 | 6.0643 | 0 | BB | 424.5204 | 140.7837 | 0.04718 | 0.91532 | 0 |  | -1 | -1 | 3 | -1 | 876 | 932 | 5.84 | 6.1594 | 0.0066667 | 67 | -1 | 6.019 | 0.10286 | 84.8686 | 6.019 | 0.10095 | 85.6833 | 6.0257 | 0.078761 | 257.0783 | 77.8865 | 249.7835 | 79.8213 | 6.0428 | 157.5941 | 6.0837 | 167.5905 | 6.04 | 0.049524 | 146.7895 | 0.021538 | -0.4647 | 4.535 | 424.6869 | 6.0655 | 0.00046389 | -4.643e-06 | 1.6215e-06 | 1.06 | 94929.1098 | 86970.3789 | 83134.625 | 79309.0008 | 36.1508 | 33.1481 | 35.182 | 35.3317 | -1 | -1 | -1 | -1 | 29.9949 | 2.9348 | -1 | -1 | -1 | 6.0667 | 6.0238 | 0.087619 | 1.0222 | 1.0444 | 87128.7971 | -1 | -1
|  | 27 | 1 | 20 | 7 | 3 | 0 | 0 | 0 | 6.0644 | 0 | VB R | 2010.0874 | 653.6692 | 0.047876 | 1.2685 | 0 |  | -1 | -1 | 1 | -1 | 814 | 964 | 5.4267 | 6.42 | 0.0066667 | 161 | -1 | 6.0156 | 0.10667 | 76.03 | 6.0178 | 0.10222 | 79.8194 | 6.0252 | 0.08027 | 862.4341 | 49.1804 | 832.8918 | 47.3619 | 6.0423 | 403.3917 | 6.0849 | 440.9033 | 6.04 | 0.051111 | 364.0201 | 0.094027 | -4.063 | 18.2779 | 2163.5065 | 6.0456 | 0.008841 | -0.0033775 | 0.0016632 | 1.0455 | 91393.7042 | 80869.1406 | 78051.1645 | 4134.0409 | -1 | 4.5653 | 6.0079 | 6.0335 | -1 | -1 | -1 | -1 | -1 | 1.1034 | 19.0382 | -1 | 19.0382 | 6.0667 | 6.0222 | 0.091111 | 1.025 | 1.05 | 80383.2941 | -1 | -1
|  | 35 | 1 | 28 | 8 | 3 | 0 | 0 | 0 | 6.5431 | 0 | BB | 1700.975 | 520.0785 | 0.052157 | 1.026 | 0 |  | -1 | -1 | 1 | -1 | 966 | 1008 | 6.4614 | 6.7133 | 0.0066667 | 53 | -1 | 6.4867 | 0.10741 | 60.2911 | 6.4874 | 0.10593 | 63.3074 | 6.4982 | 0.087419 | 656.1193 | 38.9186 | 694.6166 | 37.5713 | 6.5231 | 382.0894 | 6.57 | 278.5955 | 6.5156 | 0.054074 | 289.5337 | 0.021699 | 0.099073 | 0.45159 | 1701.1978 | 6.5437 | 0.00047086 | 1.0123e-06 | 7.6524e-07 | 0.89375 | 89733.0716 | 92877.8169 | 81202.9934 | 90939.6189 | 5.7089 | 5.5899 | 5.347 | 5.3698 | -1 | -1 | -1 | -1 | 2.152 | 1.0789 | -1 | -1 | -1 | 6.5467 | 6.4933 | 0.094815 | 0.88889 | 0.77778 | 78401.3955 | -1 | -1
|  | 36 | 2 | 29 | 8 | 4 | 0 | 0 | 0 | 6.5431 | 0 | BB | 1088.9535 | 333.7857 | 0.052062 | 1.032 | 0 |  | -1 | -1 | 2 | -1 | 966 | 1006 | 6.46 | 6.6536 | 0.0066667 | 51 | -1 | 6.4873 | 0.10733 | 114.2186 | 6.4887 | 0.10533 | 116.1549 | 6.4983 | 0.087375 | 496.91 | 99.42 | 522.0929 | 100.5016 | 6.5232 | 320.1189 | 6.5701 | 254.8903 | 6.5153 | 0.054667 | 261.3788 | 0.021436 | 0.0049541 | 0.023433 | 1088.9395 | 6.5422 | 0.0004595 | 4.8796e-08 | 6.3836e-07 | 0.90805 | 89823.4675 | 93006.0569 | 79452.0369 | 93147.6957 | 5.7382 | 5.6255 | 5.3213 | 5.344 | -1 | -1 | -1 | -1 | 4.631 | 1.079 | -1 | -1 | -1 | 6.5467 | 6.494 | 0.094667 | 0.89873 | 0.79747 | 79644.0843 | -1 | -1
|  | 6 | 8 | 30 | 8 | 4 | 0 | 0 | 0 | 6.5432 | 0 | BB | 104.5813 | 31.9569 | 0.05218 | 1.0256 | 0 |  | -1 | -1 | 8 | -1 | 966 | 1007 | 6.4533 | 6.7067 | 0.0066667 | 52 | -1 | 6.4873 | 0.10733 | 5.7772 | 6.488 | 0.106 | 5.9627 | 6.4983 | 0.087352 | 42.4033 | 4.4273 | 44.7443 | 4.4086 | 6.5232 | 25.4478 | 6.5699 | 19.4219 | 6.5153 | 0.054667 | 19.8747 | 0.021834 | 0.14127 | 0.62543 | 104.5813 | 6.5425 | 0.0004767 | 1.4703e-06 | 8.2387e-07 | 0.90341 | 89869.6976 | 93006.0569 | 79452.0369 | 89792.2398 | 81.3957 | 55.5172 | 73.6964 | 74.01 | -1 | -1 | -1 | -1 | 65.0714 | 20.0139 | -1 | -1 | -1 | 6.5467 | 6.494 | 0.094667 | 0.89873 | 0.79747 | 79644.0843 | -1 | -1
|  | 3 | 5 | 31 | 8 | 4 | 0 | 0 | 0 | 6.5432 | 0 | BB | 335.3401 | 102.9346 | 0.052008 | 1.0345 | 0 |  | -1 | -1 | 5 | -1 | 964 | 1006 | 6.4267 | 6.6487 | 0.0066667 | 53 | -1 | 6.4874 | 0.10741 | 24.236 | 6.4881 | 0.10593 | 24.8334 | 6.4984 | 0.087171 | 142.2785 | 19.638 | 149.7275 | 20.0301 | 6.5232 | 87.4125 | 6.5698 | 68.451 | 6.5156 | 0.054074 | 69.639 | 0.021361 | -0.015012 | -0.024847 | 335.284 | 6.5423 | 0.0004563 | -1.4633e-07 | 6.1947e-07 | 0.90506 | 90242.8519 | 92877.8169 | 81202.9934 | 93800.2162 | 5.8293 | 5.7694 | 5.5158 | 5.5393 | -1 | -1 | -1 | -1 | 5.9135 | 1.0794 | -1 | -1 | -1 | 6.5467 | 6.4941 | 0.094815 | 0.90141 | 0.80282 | 79661.1718 | -1 | -1
|  | 4 | 6 | 32 | 8 | 4 | 0 | 0 | 0 | 6.5432 | 0 | BB | 437.6776 | 134.1091 | 0.052075 | 1.0304 | 0 |  | -1 | -1 | 6 | -1 | 966 | 1007 | 6.44 | 6.7033 | 0.0066667 | 52 | -1 | 6.4873 | 0.10733 | 15.6408 | 6.488 | 0.10533 | 16.4193 | 6.4984 | 0.087203 | 169.372 | 9.9163 | 179.2537 | 9.9447 | 6.5232 | 97.9931 | 6.5699 | 72.8516 | 6.5153 | 0.054667 | 74.8052 | 0.021611 | 0.069825 | 0.35691 | 437.6862 | 6.5424 | 0.00046705 | 7.0478e-07 | 7.3226e-07 | 0.89773 | 90178.1535 | 93006.0569 | 79452.0369 | 91645.7621 | 5.8233 | 5.8903 | 5.4512 | 5.4744 | -1 | -1 | -1 | -1 | 5.8819 | 1.0794 | -1 | -1 | -1 | 6.5467 | 6.494 | 0.094667 | 0.89873 | 0.79747 | 79644.0843 | -1 | -1
|  | 5 | 7 | 33 | 8 | 4 | 0 | 0 | 0 | 6.5432 | 0 | BB | 340.4336 | 104.2348 | 0.052104 | 1.029 | 0 |  | -1 | -1 | 7 | -1 | 966 | 1007 | 6.44 | 6.7067 | 0.0066667 | 52 | -1 | 6.4873 | 0.10733 | 5.4318 | 6.488 | 0.10533 | 6.0368 | 6.4984 | 0.087237 | 124.9128 | 1.0023 | 132.5826 | 0.98815 | 6.5232 | 69.4582 | 6.5699 | 49.9269 | 6.5155 | 0.054415 | 51.418 | 0.021672 | 0.088112 | 0.42365 | 340.4336 | 6.5424 | 0.00046967 | 8.9688e-07 | 7.5524e-07 | 0.89773 | 90106.674 | 93006.0569 | 80188.8306 | 91134.4294 | 5.8024 | 5.8434 | 5.453 | 5.4762 | -1 | -1 | -1 | -1 | 5.8294 | 1.0792 | -1 | -1 | -1 | 6.5467 | 6.494 | 0.094667 | 0.89873 | 0.79747 | 79644.0843 | -1 | -1
|  | 2 | 3 | 34 | 8 | 4 | 0 | 0 | 0 | 6.5432 | 0 | BB | 530.3142 | 163.0393 | 0.051948 | 1.0405 | 0 |  | -1 | -1 | 3 | -1 | 966 | 1006 | 6.46 | 6.6283 | 0.0066667 | 51 | -1 | 6.4887 | 0.10667 | 96.1282 | 6.4893 | 0.10467 | 97.0743 | 6.4984 | 0.087255 | 283.2846 | 87.9551 | 295.1051 | 90.1883 | 6.5232 | 195.9737 | 6.5701 | 165.3487 | 6.516 | 0.054 | 168.0249 | 0.021193 | -0.050839 | -0.14848 | 530.1281 | 6.5422 | 0.00044915 | -4.8394e-07 | 5.7526e-07 | 0.91279 | 90069.4607 | 94172.2656 | 81425.9253 | 95290.4708 | 5.77 | 5.7149 | 5.4362 | 5.4594 | -1 | -1 | -1 | -1 | 5.5769 | 1.079 | -1 | -1 | -1 | 6.5467 | 6.4947 | 0.094 | 0.90385 | 0.80769 | 81293.1225 | -1 | -1
|  | 1 | 4 | 27 | 8 | 4 | 0 | 0 | 0 | 6.5433 | 0 | BB | 334.1028 | 102.7831 | 0.051923 | 1.0409 | 0 |  | -1 | -1 | 4 | -1 | 966 | 1006 | 6.46 | 6.6282 | 0.0066667 | 51 | -1 | 6.4887 | 0.10667 | 55.4118 | 6.4893 | 0.10467 | 56.0083 | 6.4984 | 0.087196 | 173.4062 | 50.2672 | 180.8734 | 51.6605 | 6.5232 | 118.2661 | 6.5701 | 99.0685 | 6.516 | 0.054 | 100.7415 | 0.021178 | -0.052244 | -0.14944 | 333.9996 | 6.5422 | 0.00044851 | -4.9624e-07 | 5.7342e-07 | 0.91279 | 90191.823 | 94172.2656 | 81425.9253 | 95427.7862 | 5.7934 | 5.7135 | 5.4303 | 5.4534 | -1 | -1 | -1 | -1 | 5.8305 | 1.079 | -1 | -1 | -1 | 6.5467 | 6.4947 | 0.094 | 0.90385 | 0.80769 | 81293.1225 | -1 | -1
|  | 8 | 1 | 36 | 9 | 3 | 0 | 0 | 0 | 6.9881 | 0 | BB | 36.4734 | 7.9351 | 0.065625 | 1.9599 | 0 |  | -1 | -1 | 1 | -1 | 1029 | 1079 | 6.86 | 7.063 | 0.0066667 | 61 | -1 | 6.8917 | 0.1713 | 36.3091 | 6.8925 | 0.17047 | 36.3555 | 6.9401 | 0.08838 | 45.3602 | 35.5941 | 45.6926 | 36.3053 | 6.9697 | 41.613 | 7.0097 | 40.6735 | 6.9583 | 0.056667 | 39.8328 | 0.035655 | -0.37123 | -0.69934 | 36.3317 | 6.9679 | 0.0012712 | -1.6826e-05 | 3.718e-06 | 0.90515 | 99988.7105 | 41586.2756 | 84215.9745 | 38192.4405 | 5.0634 | 3.9922 | 4.7223 | 4.7424 | -1 | -1 | -1 | -1 | 3.6987 | 1.068 | -1 | -1 | -1 | 6.9867 | 6.8958 | 0.14667 | 0.80734 | 0.61468 | 32892.257 | -1 | -1
|  | 7 | 2 | 35 | 9 | 4 | 0 | 0 | 0 | 6.9898 | 0 | BB | 25.5115 | 5.7478 | 0.063782 | 2.235 | 0 |  | -1 | -1 | 2 | -1 | 1027 | 1078 | 6.8467 | 7.043 | 0.0066667 | 62 | -1 | 6.915 | 0.12795 | 108.437 | 6.9158 | 0.12712 | 108.4708 | 6.9405 | 0.086827 | 115.3784 | 106.9282 | 115.0736 | 109.3022 | 6.9694 | 111.8818 | 7.0097 | 112.0146 | 6.9633 | 0.055 | 111.0038 | 0.035581 | -0.55354 | -0.53369 | 25.0525 | 6.9668 | 0.001266 | -2.4935e-05 | 3.953e-06 | 0.89731 | 103597.8821 | 74539.8859 | 89397.3063 | 38337.7331 | 5.1275 | 4.7454 | 4.7851 | 4.8054 | -1 | -1 | -1 | -1 | 3.723 | 1.0683 | -1 | -1 | -1 | 6.9867 | 6.92 | 0.12295 | 0.92214 | 0.84427 | 55310.4254 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 14:04:27
ResNewDateTime | 02 September 2019 14:04:27
ResModBy | SYSTEM
ResModTime | 09/02/19 14:04:28
ResModDateTime | 02 September 2019 14:04:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10805.1674

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10805.1674

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4672.3288

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2156.2325

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 851.5219

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 516.7719

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 510.2084

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.3274

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.8587

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10805.1674

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 4672.3288

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2156.2325

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 851.5219

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 516.7719

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 510.2084

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 406.3274

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 140.8587

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 9 | 0 | 8 | 0.34391 | 1478.9301 | 168.5494 | 0.12037 | 1.5345 | -18.7392 | 0.013333 | 0 | 40.0157 | 0.52 | -7.1054e-15 | -50.0369 | 1 | -177.7354 | 42.3855 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4642 | 1193.6011 | 50.2164 | 0.28931 | 4.2931 | 2.7595 | 0.8 | 0 | -51.3091 | 1.6067 | 1.4211e-14 | 14.3528 | 1 | 81.3991 | -116.4284 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0663 | 972.1552 | 179.0327 | 0.08335 | 0.56181 | 45.7999 | 1.7667 | 0 | 40.6332 | 2.2856 | 0 | 49.5814 | 1 | 17.245 | 10.167 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.6394 | 818.4161 | 33.4281 | 0.40163 | 0.93497 | 49.2799 | 2.2867 | 0 | 49.5772 | 2.9515 | 9.7658 | 49.0169 | 1 | -0.84278 | 51.5044 | 0 | 0 | 0
DateTime |  | 32 | 8 | 3.564 | 2441.1101 | 54.1536 | 0.5839 | 1.1246 | 48.5007 | 2.9515 | 9.7658 | 49.0169 | 4.3133 | 0 | 47.8692 | 1 | -0.84278 | 51.5044 | 0 | 0 | 0
IntegStart | 0 | 2 | 31 | 5.4963 | 153.4191 | 7.0408 | 0.26622 | 0.077046 | 61.1643 | 5.4267 | 7.3613e-08 | 62.7413 | 6.02 | 8.0126e-08 | 83.6334 | 2 | -22.6558 | 185.687 | 85.2717 | -136.4532 | 6.0267
IntegEnd | 0 | 32 | 20 | 6.0644 | 2010.0874 | 653.6692 | 0.047876 | 1.2685 | 48.2929 | 5.4267 | 0 | 62.7413 | 6.42 | 0 | 40.2365 | 1 | -22.6558 | 185.687 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.5431 | 1700.975 | 520.0785 | 0.052157 | 1.026 | 38.2267 | 6.4614 | 0 | 39.4859 | 6.7133 | 0 | 35.6026 | 1 | -15.4115 | 139.0654 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.9881 | 36.4734 | 7.9351 | 0.065625 | 1.9599 | 35.9809 | 6.86 | 0 | 34.9498 | 7.063 | 0 | 36.5831 | 1 | 8.0472 | -20.2537 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.33642 | 1512.265 | 145.0643 | 0.13562 | 1.9873 | 37.8895 | 0.0066667 | 0 | 118.3896 | 0.50667 | -1.4211e-14 | -3.6721 | 1 | -244.1235 | 120.0171 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4642 | 738.7424 | 34.2028 | 0.26399 | 3.8151 | 12.0912 | 0.83333 | 0 | -18.4627 | 1.6067 | 0 | 18.9924 | 1 | 48.4333 | -58.8237 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0663 | 652.8761 | 120.336 | 0.083297 | 0.55598 | 41.0145 | 1.7667 | 0 | 37.1156 | 2.2846 | 0 | 43.8545 | 1 | 13.0113 | 14.1289 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.0641 | 653.9803 | 208.0469 | 0.048673 | 0.93581 | 96.9945 | 5.8133 | 0 | 95.777 | 6.2358 | 0 | 97.8283 | 1 | 4.8549 | 67.5539 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.5431 | 1088.9535 | 333.7857 | 0.052062 | 1.032 | 99.9753 | 6.46 | 0 | 98.9461 | 6.6536 | 0 | 101.3421 | 1 | 12.3787 | 18.9798 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.9898 | 25.5115 | 5.7478 | 0.063782 | 2.235 | 108.2736 | 6.8467 | 0 | 104.3615 | 7.043 | 1.4211e-14 | 109.7282 | 1 | 27.3413 | -82.8353 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32185 | 781.0206 | 84.1385 | 0.1223 | 1.7085 | 56.2234 | 0.08 | 0 | 112.5913 | 0.48667 | 0 | 17.8089 | 1 | -233.0714 | 131.237 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4641 | 78.0476 | 10.2727 | 0.10064 | 0.56881 | 15.0918 | 1.3133 | 0 | 16.7232 | 1.6118 | 1.7764e-15 | 13.4935 | 1 | -10.8203 | 30.9339 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0663 | 342.3297 | 64.1805 | 0.082228 | 0.5507 | 23.127 | 1.7667 | 0 | 21.2703 | 2.2849 | 0 | 24.4813 | 1 | 6.1965 | 10.3231 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.0643 | 424.5204 | 140.7837 | 0.04718 | 0.91532 | 78.8353 | 5.84 | 0 | 73.3256 | 6.1594 | 0 | 81.1711 | 1 | 24.5652 | -70.1354 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.5432 | 530.3142 | 163.0393 | 0.051948 | 1.0405 | 89.1034 | 6.46 | 0 | 86.9727 | 6.6283 | 1.4211e-14 | 91.2808 | 1 | 25.5939 | -78.3637 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31906 | 175.5281 | 33.4638 | 0.075195 | 1.2966 | 45.5509 | 0.19333 | 0 | 65.7606 | 0.44 | 0 | 26.1121 | 1 | -160.7373 | 96.8365 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0662 | 180.1384 | 35.0068 | 0.080034 | 0.54207 | 19.0904 | 1.8 | 0 | 18.5823 | 2.2906 | 0 | 19.5186 | 1 | 1.9085 | 15.147 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.064 | 161.7524 | 54.2969 | 0.046755 | 0.90823 | 44.1204 | 5.9667 | 0 | 42.5735 | 6.1488 | -7.1054e-15 | 45.4674 | 1 | 15.8883 | -52.2268 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.5433 | 334.1028 | 102.7831 | 0.051923 | 1.0409 | 50.9837 | 6.46 | 0 | 49.6531 | 6.6282 | -7.1054e-15 | 52.3401 | 1 | 15.9791 | -53.5719 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32222 | 60.0775 | 17.4349 | 0.052201 | 1.2193 | 19.3863 | 0.21333 | 0 | 24.9662 | 0.41333 | 0 | 14.7171 | 1 | -51.2457 | 35.8987 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0661 | 87.877 | 17.2433 | 0.079457 | 0.5368 | 12.5428 | 1.8333 | 0 | 12.4187 | 2.3433 | 0 | 12.6905 | 1 | 0.53294 | 11.4417 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.0618 | 33.4773 | 11.477 | 0.048031 | 0.91116 | 17.8899 | 5.9933 | 0 | 17.6048 | 6.139 | 0 | 18.2113 | 1 | 4.1638 | -7.3505 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.5432 | 335.3401 | 102.9346 | 0.052008 | 1.0345 | 19.8396 | 6.4267 | 0 | 19.3152 | 6.6487 | 0 | 20.3138 | 1 | 4.4982 | -9.593 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32581 | 40.8937 | 13.8327 | 0.04649 | 1.158 | 10.1559 | 0.2 | 0 | 11.5438 | 0.40667 | 0 | 9.264 | 1 | -11.0311 | 13.75 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.0619 | 31.637 | 10.8338 | 0.048069 | 0.90354 | 9.8084 | 6 | 0 | 9.7919 | 6.1432 | 0 | 9.8302 | 1 | 0.26797 | 8.184 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5432 | 437.6776 | 134.1091 | 0.052075 | 1.0304 | 9.9309 | 6.44 | 0 | 9.8972 | 6.7033 | 0 | 9.9831 | 1 | 0.32594 | 7.7982 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32648 | 36.5691 | 12.6056 | 0.045845 | 1.149 | 1.2908 | 0.19333 | 0 | 2.1033 | 0.42 | 4.4409e-16 | 0.72002 | 1 | -6.1028 | 3.2832 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.0629 | 29.3247 | 9.9406 | 0.046416 | 0.89749 | 1.0937 | 6 | 2.2204e-16 | 1.1129 | 6.1467 | 2.2204e-16 | 1.0681 | 1 | -0.30561 | 2.9466 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.5432 | 340.4336 | 104.2348 | 0.052104 | 1.029 | 0.99505 | 6.44 | 0 | 1.0118 | 6.7067 | 0 | 0.96846 | 1 | -0.16272 | 2.0598 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32693 | 36.2775 | 12.4762 | 0.045924 | 1.159 | 4.766 | 0.19333 | 0 | 5.5156 | 0.42 | 0 | 4.2439 | 1 | -5.6105 | 6.6003 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.5432 | 104.5813 | 31.9569 | 0.05218 | 1.0256 | 4.4177 | 6.4533 | 0 | 4.437 | 6.7067 | 0 | 4.3826 | 1 | -0.21458 | 5.8217 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2