## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567444072
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 49
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 49
Vial | 49
SampleLocation | 49
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 18:07:52
SampleName | CS-135_0049
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 8.0089
DAD1UVBurnTime | 154.6756
DAD1VisOnTime | 8.0083
DAD1VisBurnTime | 140.1869
StartPressure | 25.833
StopPressure | 61.722
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 14 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 19 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 23 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 28 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup | 30 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ControlLimits_ | ControlLimits | 35 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 42 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 50 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 10055.6933 | 1752.6112 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 6083.5331 | 943.059 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 2118.4139 | 447.072 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 780.6002 | 213.1458 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 500.727 | 142.3304 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 505.4867 | 151.807 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 404.9045 | 122.1629 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0049.D | 141.666 | 43.6144 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 51 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.3191 | 0 | BB | 143.4792 | 31.2186 | 0.065619 | 1.0655 | 0 |  | -1 | -1 | 4 | -1 | 28 | 79 | 0.21875 | 0.43208 | 0.0066667 | 62 | -1 | 0.21875 | 0.14417 | 51.3658 | 0.21875 | 0.14333 | 51.5465 | 0.27232 | 0.095833 | 83.4298 | 58.5735 | 94.9838 | 40.9619 | 0.30809 | 77.5799 | 0.3485 | 62.6029 | 0.21875 | 0.1275 | 65.1038 | 0.035028 | -0.13924 | -0.081509 | 143.4793 | 0.31557 | 0.001227 | -5.9843e-06 | 4.3936e-06 | 0.71667 | 177.0058 | 122.2111 | 34.625 | 81.1634 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.21875 | 0.14167 | 0.70833 | 0.41667 | 57.8373 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32198 | 0 | BB | 812.4855 | 85.6515 | 0.12267 | 1.7264 | 0 |  | -1 | -1 | 3 | -1 | 11 | 105 | 0.072083 | 0.48542 | 0.0066667 | 105 | -1 | 0.072083 | 0.332 | 60.3931 | 0.072083 | 0.33067 | 60.9077 | 0.23409 | 0.16911 | 147.07 | 77.6851 | 163.1871 | 38.6795 | 0.30658 | 134.9105 | 0.35135 | 118.1566 | 0.072083 | 0.29467 | 99.4994 | 0.075372 | -0.43677 | -0.35577 | 812.4855 | 0.28829 | 0.0056809 | -0.00018702 | 8.5337e-05 | 0.65263 | 59.2494 | 24.0184 | 6.7566 | 14.6297 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.072083 | 0.32667 | 0.64474 | 0.28947 | 8.7961 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32224 | 0 | BB | 63.3535 | 17.5685 | 0.054071 | 1.2851 | 0 |  | -1 | -1 | 5 | -1 | 31 | 74 | 0.20542 | 0.41208 | 0.0066667 | 54 | -1 | 0.20542 | 0.1563 | 21.3843 | 0.20542 | 0.1563 | 21.4887 | 0.2877 | 0.072914 | 41.4145 | 22.4869 | 47.9956 | 18.8762 | 0.3086 | 33.9416 | 0.3487 | 27.9174 | 0.29505 | 0.051852 | 29.3137 | 0.031497 | -0.82206 | 0.50441 | 63.3535 | 0.31277 | 0.00099203 | -2.5686e-05 | 3.4488e-06 | 0.65123 | 318.6975 | 108.3733 | 218.203 | 98.6088 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.20542 | 0.15407 | 0.64198 | 0.28395 | 38.9834 | -1 | -1
Modified | 1 | 37 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32617 | 0 | BB | 41.7742 | 13.97 | 0.046887 | 1.2228 | 0 |  | -1 | -1 | 6 | -1 | 29 | 71 | 0.19208 | 0.41208 | 0.0066667 | 53 | -1 | 0.19208 | 0.17259 | 12.1217 | 0.19208 | 0.17259 | 12.2042 | 0.29439 | 0.065687 | 29.8019 | 11.8457 | 32.6387 | 11.1492 | 0.30879 | 19.9855 | 0.34878 | 18.3092 | 0.30394 | 0.045185 | 18.3923 | 0.02789 | -1.4494 | 2.641 | 41.7742 | 0.31867 | 0.00077783 | -3.1442e-05 | 3.4129e-06 | 0.64722 | 392.6797 | 88.8741 | 287.3407 | 130.56 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.19208 | 0.17037 | 0.63889 | 0.27778 | 31.3679 | -1 | -1
NextPeakSignal_ | Peak | 38 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32671 | 0 | BB | 37.1569 | 12.7064 | 0.046116 | 1.1939 | 0 |  | -1 | -1 | 7 | -1 | 28 | 71 | 0.18542 | 0.42542 | 0.0066667 | 54 | -1 | 0.18542 | 0.18 | 3.0653 | 0.18542 | 0.18 | 3.1402 | 0.29504 | 0.065137 | 19.3987 | 2.6932 | 21.57 | 2.3129 | 0.30882 | 9.9621 | 0.34885 | 8.8329 | 0.30468 | 0.044444 | 8.7594 | 0.027455 | -1.5509 | 3.386 | 37.1569 | 0.31992 | 0.00075378 | -3.2096e-05 | 3.6285e-06 | 0.64286 | 399.3376 | 81.7099 | 296.9986 | 135.7833 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.25727 | 0.10519 | 0.77174 | 0.54348 | 129.1659 | -1 | -1
Signal_ | Signal | 44 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32706 | 0 | BB | 36.7716 | 12.5603 | 0.046155 | 1.194 | 0 |  | -1 | -1 | 8 | -1 | 28 | 71 | 0.18542 | 0.42542 | 0.0066667 | 54 | -1 | 0.18542 | 0.18074 | 6.4403 | 0.18542 | 0.18074 | 6.5142 | 0.29514 | 0.065422 | 22.6108 | 6.0609 | 24.5874 | 5.7097 | 0.30883 | 13.1609 | 0.34888 | 12.2948 | 0.30542 | 0.044444 | 12.056 | 0.027303 | -1.542 | 3.4316 | 36.7716 | 0.32044 | 0.00074546 | -3.1385e-05 | 3.5741e-06 | 0.6455 | 395.8667 | 81.0415 | 296.9986 | 137.7401 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.26097 | 0.10222 | 0.7931 | 0.58621 | 142.9677 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.3368 | 0 | BB | 1533.2699 | 147.3747 | 0.14138 | 1.9908 | 0 |  | -1 | -1 | 2 | -1 | 1 | 115 | 0.0054167 | 0.50542 | 0.0066667 | 120 | -1 | 0.032083 | 0.39667 | 47.0609 | 0.032083 | 0.395 | 47.928 | 0.24433 | 0.18928 | 201.3367 | 62.2497 | 205.5038 | 15.7751 | 0.31134 | 163.0429 | 0.37789 | 124.9757 | 0.032083 | 0.35333 | 112.9578 | 0.092718 | -0.62997 | -0.20335 | 1533.2699 | 0.28679 | 0.0085967 | -0.00050213 | 0.00020668 | 0.65833 | 49.2498 | 17.522 | 4.8937 | 9.5673 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33208 | 0.032083 | 0.39 | 0.65 | 0.3 | 6.5966 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34434 | 0 | BB | 1518.9097 | 171.8252 | 0.12313 | 1.5762 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0054167 | 0.51875 | 0.0066667 | 113 | -1 | 0.032083 | 0.41333 | -10.3594 | 0.032083 | 0.41167 | -9.3404 | 0.27066 | 0.16771 | 176.1103 | -4.6304 | 174.7149 | -34.2467 | 0.31654 | 107.9113 | 0.38 | 95.4809 | 0.29208 | 0.1 | 67.0833 | 0.089944 | -0.84743 | 0.3064 | 1518.9096 | 0.30738 | 0.00809 | -0.00061663 | 0.0002164 | 0.65691 | 67.868 | 17.4593 | 66.0992 | 11.6788 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34542 | 0.032083 | 0.40333 | 0.64362 | 0.28723 | 6.4639 | -1 | -1
RTRatioRefComp_ | Compound | 15 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4662 | 0 | BB | 88.4262 | 11.069 | 0.1052 | 0.66404 | 0 |  | -1 | -1 | 3 | -1 | 189 | 268 | 1.2988 | 1.6121 | 0.0066667 | 90 | -1 | 1.2988 | 0.29867 | 17.1601 | 1.2988 | 0.29867 | 17.2254 | 1.4086 | 0.19776 | 29.5056 | 17.2493 | 43.6475 | 15.2703 | 1.4433 | 24.6358 | 1.5908 | 18.4376 | 1.4281 | 0.12 | 22.1227 | 0.062719 | -0.26801 | -0.41364 | 88.4262 | 1.4818 | 0.0039337 | -6.6123e-05 | 4.0021e-05 | 0.896 | 878.5681 | 601.8508 | 826.1702 | 558.1778 | 6.238 | 4.5359 | 3.2423 | 3.2561 | -1 | -1 | -1 | -1 | 4.3214 | 4.5538 | -1 | -1 | -1 | 1.4654 | 1.2988 | 0.296 | 0.888 | 0.776 | 402.597 | -1 | -1
|  | 16 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.4663 | 0 | BB | 774.7512 | 35.9901 | 0.26315 | 3.8678 | 0 |  | -1 | -1 | 2 | -1 | 126 | 243 | 0.83875 | 1.6113 | 0.0066667 | 128 | -1 | 1.1304 | 0.48085 | 15.094 | 1.1321 | 0.47919 | 15.3078 | 1.3742 | 0.22945 | 53.5438 | 8.9599 | 82.9822 | 20.4421 | 1.4433 | 42.4428 | 1.5868 | 28.1147 | 1.3638 | 0.21667 | 31.339 | 0.17173 | -0.30275 | -0.9118 | 777.1627 | 1.3032 | 0.029492 | -0.0015333 | 0.0018162 | 0.71878 | 652.6295 | 232.1866 | 253.424 | 57.5833 | 5.3948 | 3.2178 | 2.3283 | 2.3382 | -1 | -1 | -1 | -1 | 1.9217 | 4.3535 | -1 | -1 | -1 | 1.4654 | 1.1521 | 0.45919 | 0.73274 | 0.46549 | 124.9744 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4663 | 0 | BB | 1238.0955 | 52.5548 | 0.28685 | 4.3351 | 0 |  | -1 | -1 | 1 | -1 | 121 | 243 | 0.80542 | 1.6103 | 0.0066667 | 133 | -1 | 1.1271 | 0.48323 | 6.5846 | 1.1304 | 0.4799 | 6.897 | 1.3683 | 0.23435 | 62.4898 | -3.8144 | 104.9709 | 15.7512 | 1.4434 | 46.9627 | 1.5858 | 26.7538 | 1.3538 | 0.22667 | 30.3231 | 0.17743 | -0.26073 | -0.93018 | 1244.5881 | 1.2875 | 0.031482 | -0.0014564 | 0.0020514 | 0.71626 | 625.6228 | 229.9095 | 231.5564 | 52.6502 | 5.5811 | 3.1286 | 4.0357 | 4.0529 | -1 | -1 | -1 | -1 | 1.8328 | 4.2584 | -1 | -1 | -1 | 1.4654 | 1.1487 | 0.46156 | 0.72878 | 0.45756 | 122.3517 | -1 | -1
|  | 31 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0997 | 0 | BB | 67.5077 | 13.6592 | 0.07766 | 0.55663 | 0 |  | -1 | -1 | 5 | -1 | 292 | 351 | 1.9521 | 2.3171 | 0.0066667 | 70 | -1 | 2.0454 | 0.17143 | 14.6477 | 2.0454 | 0.16762 | 14.7287 | 2.0511 | 0.13486 | 31.5635 | 14.0168 | 29.2048 | 14.1202 | 2.0697 | 20.74 | 2.1352 | 23.0043 | 2.0692 | 0.079048 | 20.8072 | 0.035931 | 0.82269 | 1.1482 | 67.523 | 2.116 | 0.001291 | 3.8162e-05 | 6.9138e-06 | 1.5714 | 3875.0316 | 3747.0977 | 3905.2928 | 3468.1967 | 17.1098 | 13.5592 | 15.9553 | 16.0232 | -1 | -1 | -1 | -1 | 13.3717 | 6.5161 | -1 | -1 | -1 | 2.0987 | 2.0502 | 0.14571 | 1.5 | 2 | 2661.7658 | -1 | -1
|  | 33 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0998 | 0 | BB | 137.969 | 27.6369 | 0.078242 | 0.56329 | 0 |  | -1 | -1 | 4 | -1 | 291 | 351 | 1.9388 | 2.2893 | 0.0066667 | 71 | -1 | 2.0445 | 0.17714 | 21.9399 | 2.0454 | 0.17238 | 22.1039 | 2.0508 | 0.13608 | 56.1356 | 20.609 | 51.3687 | 20.9729 | 2.07 | 34.5152 | 2.1352 | 38.9993 | 2.0692 | 0.08 | 34.4037 | 0.035945 | 0.63913 | 0.68808 | 138.0505 | 2.1157 | 0.0012921 | 2.9683e-05 | 6.1569e-06 | 1.6161 | 3805.9582 | 3509.2486 | 3812.8631 | 3464.3651 | 15.3567 | 13.855 | 10.0835 | 10.1264 | -1 | -1 | -1 | -1 | 12.6817 | 6.5803 | -1 | -1 | -1 | 2.0987 | 2.0502 | 0.14857 | 1.5294 | 2.0588 | 2514.8568 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0999 | 0 | BB | 732.8958 | 141.639 | 0.080368 | 0.56502 | 0 |  | -1 | -1 | 1 | -1 | 289 | 344 | 1.9254 | 2.284 | 0.0066667 | 66 | -1 | 2.0435 | 0.2 | 54.1423 | 2.0435 | 0.19238 | 54.9831 | 2.0501 | 0.13934 | 229.3488 | 46.7987 | 204.6034 | 50.1701 | 2.0698 | 119.0403 | 2.1356 | 143.1321 | 2.0692 | 0.081905 | 118.0424 | 0.038208 | 0.53919 | 0.77243 | 733.3193 | 2.1163 | 0.0014598 | 3.0075e-05 | 8.0397e-06 | 1.7414 | 3629.6508 | 2752.9697 | 3637.5827 | 3067.9663 | 3.3911 | 2.3184 | 2.4127 | 2.423 | -1 | -1 | -1 | -1 | 1.9219 | 1.4321 | -1 | -1 | -1 | 2.0987 | 2.0492 | 0.15714 | 1.5865 | 2.1731 | 2172.959 | -1 | -1
|  | 34 | 3 | 16 | 3 | 4 | 0 | 0 | 0 | 2.1 | 0 | BB | 259.7961 | 50.7029 | 0.079779 | 0.56475 | 0 |  | -1 | -1 | 3 | -1 | 290 | 352 | 1.9321 | 2.2835 | 0.0066667 | 73 | -1 | 2.0435 | 0.19619 | 27.0178 | 2.0445 | 0.18762 | 27.3187 | 2.0503 | 0.13848 | 89.7516 | 24.3954 | 80.8931 | 25.5839 | 2.0699 | 50.161 | 2.1356 | 58.699 | 2.0692 | 0.080952 | 49.8875 | 0.037598 | 0.56162 | 0.75253 | 259.9831 | 2.1162 | 0.0014136 | 2.9848e-05 | 7.4983e-06 | 1.7281 | 3674.991 | 2860.9191 | 3723.6764 | 3168.0399 | 3.7695 | 3.2016 | 3.7055 | 3.7213 | -1 | -1 | -1 | -1 | 3.162 | 1.4322 | -1 | -1 | -1 | 2.0987 | 2.0492 | 0.15524 | 1.5673 | 2.1346 | 2251.9126 | -1 | -1
|  | 18 | 2 | 14 | 3 | 4 | 0 | 0 | 0 | 2.1 | 0 | BB | 494.2544 | 95.302 | 0.080506 | 0.56552 | 0 |  | -1 | -1 | 2 | -1 | 290 | 344 | 1.9321 | 2.2828 | 0.0066667 | 65 | -1 | 2.0429 | 0.20583 | 47.0015 | 2.0438 | 0.19583 | 47.5672 | 2.0501 | 0.13956 | 164.9376 | 41.9639 | 148.2208 | 44.5127 | 2.0696 | 90.1896 | 2.1356 | 107.0304 | 2.0688 | 0.0825 | 89.9946 | 0.038378 | 0.53334 | 0.77889 | 494.775 | 2.1164 | 0.0014729 | 3.0148e-05 | 8.1977e-06 | 1.7803 | 3618.2312 | 2599.142 | 3585.2817 | 3041.0979 | 3.4346 | 2.3071 | 2.489 | 2.4996 | -1 | -1 | -1 | -1 | 1.9353 | 1.4322 | -1 | -1 | -1 | 2.0987 | 2.0488 | 0.15833 | 1.5833 | 2.1667 | 2144.4215 | -1 | -1
|  | 19 | 1 | 18 | 4 | 3 | 0 | 0 | 0 | 2.5156 | 0 | BV | 284.5974 | 22.8081 | 0.20158 | 1.1965 | 0 |  | -1 | -1 | 1 | -1 | 343 | 402 | 2.2854 | 2.6743 | 0.0066667 | 70 | -1 | 2.3378 | 0.33648 | 55.2885 | 2.3388 | 0.33553 | 55.4252 | 2.3323 | 0.33568 | 84.0413 | 52.8217 | 83.1629 | 55.4587 | 2.4072 | 65.5782 | 2.5969 | 68.3786 | 2.4073 | 0.20476 | 65.6733 | 0.069829 | -0.12066 | -0.6094 | 242.8299 | 2.4978 | 0.004876 | -4.1083e-05 | 5.6839e-05 | 0.93202 | 900.835 | 1400.8407 | 838.2655 | 1279.5594 | 1.7503 | 1.9372 | 1.7039 | 1.7112 | -1 | -1 | -1 | -1 | 1.7657 | 1.198 | -1 | 6.4125 | 6.4125 | 2.5187 | 2.3483 | 0.326 | 0.95616 | 0.91232 | 1060.9868 | -1 | -1
|  | 20 | 2 | 17 | 4 | 4 | 0 | 0 | 0 | 2.5187 | 0 | BB | 170.4941 | 14.5353 | 0.19485 | 1.4499 | 0 |  | -1 | -1 | 2 | -1 | 344 | 402 | 2.2921 | 2.6734 | 0.0066667 | 69 | -1 | 2.3616 | 0.31175 | 50.4246 | 2.3626 | 0.3108 | 50.5118 | 2.3362 | 0.31429 | 69.4615 | 46.9493 | 68.3328 | 51.8313 | 2.4077 | 55.7723 | 2.6008 | 58.0566 | 2.4178 | 0.19143 | 57.0527 | 0.069687 | -0.12535 | -0.60406 | 170.3623 | 2.4985 | 0.0048562 | -4.2419e-05 | 5.6503e-05 | 0.99494 | 1027.6118 | 1631.8827 | 959.1055 | 1285.4953 | 1.845 | 2.0222 | 1.7959 | 1.8035 | -1 | -1 | -1 | -1 | 1.7681 | 1.1994 | -1 | -1 | -1 | 2.5187 | 2.3692 | 0.30413 | 1.017 | 1.034 | 1252.2101 | -1 | -1
|  | 21 | 1 | 20 | 5 | 3 | 0 | 0 | 0 | 2.9046 | 0 | VV | 804.4884 | 55.7938 | 0.23222 | 1.0184 | 0 |  | -1 | -1 | 1 | -1 | 401 | 468 | 2.6743 | 3.1095 | 0.0066667 | 78 | -1 | 2.691 | 0.41852 | 59.7783 | 2.6943 | 0.41518 | 60.1129 | 2.7088 | 0.38983 | 128.4293 | 55.7796 | 126.0726 | 58.8419 | 2.7937 | 87.2965 | 3.0101 | 89.5323 | 2.7876 | 0.23556 | 85.2138 | 0.078502 | -0.021794 | -0.59627 | 645.5822 | 2.9006 | 0.0061626 | -1.0544e-05 | 9.1289e-05 | 0.98333 | 888.7833 | 1204.8436 | 842.8299 | 1365.2847 | 1.0721 | 1.2878 | 1.0378 | 1.0423 | -1 | -1 | -1 | -1 | 1.3578 | 1.1546 | 15.6865 | 6.4528 | 6.4528 | 2.9054 | 2.7143 | 0.39518 | 1.0339 | 1.0678 | 972.4673 | -1 | -1
|  | 22 | 2 | 19 | 5 | 4 | 0 | 0 | 0 | 2.909 | 0 | BV | 503.6824 | 36.8409 | 0.2255 | 1.0376 | 0 |  | -1 | -1 | 2 | -1 | 402 | 467 | 2.6788 | 3.1074 | 0.0066667 | 76 | -1 | 2.7287 | 0.37864 | 57.3683 | 2.7299 | 0.37753 | 57.5889 | 2.7206 | 0.37141 | 104.0077 | 52.8542 | 101.0182 | 58.4707 | 2.7956 | 73.2107 | 3.0138 | 76.6586 | 2.7988 | 0.22667 | 74.1364 | 0.078123 | -0.029647 | -0.59903 | 448.8225 | 2.8997 | 0.0061032 | -1.4136e-05 | 8.9434e-05 | 1.0359 | 983.6128 | 1478.7129 | 914.4123 | 1377.7121 | 1.1386 | 1.4136 | 1.0971 | 1.1018 | -1 | -1 | -1 | -1 | 1.3572 | 1.155 | -1 | 8.7152 | 8.7152 | 2.9121 | 2.7399 | 0.36753 | 1.067 | 1.1341 | 1098.0733 | -1 | -1
|  | 23 | 1 | 22 | 6 | 3 | 0 | 0 | 0 | 3.2588 | 0 | VV | 345.6508 | 31.5768 | 0.16971 | 1.0677 | 0 |  | -1 | -1 | 1 | -1 | 467 | 512 | 3.1095 | 3.406 | 0.0066667 | 56 | -1 | 3.1099 | 0.29611 | 61.4887 | 3.1099 | 0.29611 | 61.6782 | 3.1021 | 0.30052 | 98.0447 | 58.869 | 98.3138 | 61.2297 | 3.1885 | 80.4585 | 3.3289 | 80.2251 | 3.1691 | 0.17704 | 75.8853 | 0.053132 | -0.0096878 | -0.57762 | 210.3647 | 3.2552 | 0.002823 | -1.4531e-06 | 1.9305e-05 | 0.9944 | 1881.4122 | 3027.8623 | 1877.0835 | 3753.5332 | 1.0262 | 1.2392 | 1.0088 | 1.0131 | -1 | -1 | -1 | -1 | 1.3467 | 1.122 | 3.652 | 4.7966 | 3.652 | 3.2588 | 3.1099 | 0.29611 | 0.9944 | 0.9888 | 2233.41 | -1 | -1
|  | 24 | 2 | 21 | 6 | 4 | 0 | 0 | 0 | 3.263 | 0 | VV | 217.1032 | 20.7157 | 0.16427 | 1.1291 | 0 |  | -1 | -1 | 2 | -1 | 466 | 512 | 3.1074 | 3.403 | 0.0066667 | 57 | -1 | 3.1076 | 0.2954 | 62.0027 | 3.1076 | 0.2954 | 62.1267 | 3.1142 | 0.28391 | 86.8295 | 58.8067 | 85.8721 | 63.1001 | 3.1885 | 72.8001 | 3.3292 | 74.7215 | 3.181 | 0.16889 | 71.4255 | 0.052978 | -0.0074474 | -0.58094 | 147.1177 | 3.2609 | 0.0028067 | -1.1074e-06 | 1.9056e-05 | 0.93614 | 2116.5398 | 3054.8336 | 2071.0225 | 3788.5505 | 1.0803 | 1.3129 | 1.0515 | 1.056 | -1 | -1 | -1 | -1 | 1.3774 | 1.1217 | 4.9006 | 5.615 | 4.9006 | 3.2654 | 3.118 | 0.28503 | 0.96682 | 0.93364 | 2357.9488 | -1 | -1
|  | 25 | 1 | 24 | 7 | 3 | 0 | 0 | 0 | 3.5416 | 0 | VB | 225.0365 | 22.3992 | 0.15721 | 1.0933 | 0 |  | -1 | -1 | 1 | -1 | 511 | 561 | 3.406 | 3.7329 | 0.0066667 | 61 | -1 | 3.406 | 0.32611 | 63.2846 | 3.406 | 0.32611 | 63.419 | 3.3958 | 0.27534 | 89.4613 | 61.1761 | 89.878 | 63.3391 | 3.4749 | 76.5279 | 3.6094 | 75.9854 | 3.4588 | 0.16333 | 73.4974 | 0.052923 | 0.071155 | -0.53708 | 160.8828 | 3.5472 | 0.0028008 | 1.0547e-05 | 1.932e-05 | 1.228 | 2642.981 | 2943.7807 | 2600.5181 | 4492.4995 | 0.98227 | 1.1363 | 0.97633 | 0.98049 | -1 | -1 | -1 | -1 | 1.3767 | 1.0868 | 3.4025 | -1 | 3.4025 | 3.5387 | 3.406 | 0.28528 | 1.0743 | 1.1485 | 2675.174 | -1 | -1
|  | 26 | 2 | 23 | 7 | 4 | 0 | 0 | 0 | 3.547 | 0 | VB | 151.7733 | 15.3322 | 0.15749 | 1.1821 | 0 |  | -1 | -1 | 2 | -1 | 511 | 559 | 3.403 | 3.7172 | 0.0066667 | 59 | -1 | 3.4038 | 0.31343 | 66.003 | 3.4038 | 0.31343 | 66.0951 | 3.4048 | 0.26748 | 84.6495 | 63.201 | 83.7774 | 67.2459 | 3.4752 | 73.8273 | 3.6149 | 74.8187 | 3.4696 | 0.16 | 73.0015 | 0.053999 | 0.10122 | -0.4958 | 117.2174 | 3.5467 | 0.0029159 | 1.5938e-05 | 2.1291e-05 | 1.1062 | 2811.1583 | 3198.8952 | 2720.2221 | 4314.0535 | 1.0301 | 1.1661 | 1.0146 | 1.0189 | -1 | -1 | -1 | -1 | 1.3359 | 1.087 | 4.1558 | -1 | 4.1558 | 3.5454 | 3.4054 | 0.31176 | 1.1134 | 1.2269 | 2177.3337 | -1 | -1
|  | 27 | 1 | 26 | 8 | 3 | 0 | 0 | 0 | 4.1496 | 0 | BB | 713.1114 | 51.8268 | 0.20653 | 1.1364 | 0 |  | -1 | -1 | 1 | -1 | 561 | 661 | 3.7387 | 4.3968 | 0.0066667 | 111 | -1 | 3.7837 | 0.56833 | 64.0703 | 3.8021 | 0.54667 | 64.3811 | 3.9784 | 0.35235 | 121.8175 | 62.6476 | 122.5975 | 60.9098 | 4.0787 | 97.3035 | 4.2363 | 93.066 | 4.0488 | 0.205 | 87.6926 | 0.10294 | -0.56784 | 0.35962 | 713.1363 | 4.1342 | 0.010596 | -0.00061935 | 0.0003772 | 0.78095 | 2221.7374 | 1334.3381 | 2272.6584 | 1613.0324 | 1.9372 | 1.6993 | 1.9395 | 1.9477 | -1 | -1 | -1 | -1 | 1.8832 | 1.1717 | -1 | -1 | -1 | 4.1521 | 3.8554 | 0.475 | 0.80056 | 0.60112 | 1093.5994 | -1 | -1
|  | 29 | 2 | 25 | 8 | 4 | 0 | 0 | 0 | 4.1606 | 0 | BB | 500.4626 | 37.9635 | 0.2038 | 1.0716 | 0 |  | -1 | -1 | 2 | -1 | 563 | 717 | 3.7921 | 4.3935 | 0.0066667 | 165 | -1 | 3.9787 | 0.41475 | 76.9848 | 3.981 | 0.41253 | 77.2127 | 3.9942 | 0.34741 | 121.2203 | 72.3199 | 119.1905 | 78.641 | 4.0845 | 98.8604 | 4.2465 | 99.9503 | 4.0676 | 0.20667 | 94.3039 | 0.094266 | -0.48245 | 0.41742 | 500.1513 | 4.152 | 0.008886 | -0.00040412 | 0.00026984 | 1.1602 | 2292.8249 | 2513.5941 | 2243.337 | 1940.0208 | 1.9959 | 2.1067 | 1.9664 | 1.9747 | -1 | -1 | -1 | -1 | 2.0412 | 1.173 | -1 | -1 | -1 | 4.1588 | 3.9987 | 0.39475 | 1.2336 | 1.4672 | 1703.3399 | -1 | -1
|  | 28 | 1 | 27 | 9 | 3 | 0 | 0 | 0 | 4.7109 | 0 | BV E | 350.9506 | 22.482 | 0.23212 | 0.49195 | 0 |  | -1 | -1 | 1 | -1 | 680 | 753 | 4.5321 | 5.0108 | 0.0066667 | 84 | -1 | 4.5343 | 0.47647 | 63.7467 | 4.5343 | 0.47647 | 63.8817 | 4.5696 | 0.40518 | 92.4321 | 64.3765 | 88.0302 | 59.77 | 4.6212 | 74.6125 | 4.7916 | 79.3966 | 4.6176 | 0.22778 | 74.0019 | 0.087129 | 0.42349 | -0.33268 | 268.4387 | 4.7432 | 0.0075915 | 0.00028011 | 0.00015372 | 1.3401 | 2163.9228 | 2445.0505 | 2370.8986 | 2963.5484 | 1.4821 | 1.3432 | 1.5241 | 1.5306 | -1 | -1 | -1 | -1 | 1.602 | 1.1353 | -1 | 3.8979 | 3.8979 | 4.7121 | 4.5476 | 0.46314 | 1.4082 | 1.8164 | 1407.6944 | -1 | -1
|  | 30 | 1 | 29 | 10 | 3 | 0 | 0 | 0 | 5.051 | 0 | VV E | 94.4426 | 10.1739 | 0.1203 | 0.21989 | 0 |  | -1 | -1 | 1 | -1 | 752 | 819 | 5.0108 | 5.4536 | 0.0066667 | 78 | -1 | 5.0108 | 0.22797 | 59.3327 | 5.0108 | 0.22464 | 59.3929 | 4.9863 | 0.12485 | 70.3217 | 59.6394 | 70.6969 | 58.2199 | 5.0302 | 66.8879 | 5.07 | 66.7488 | 5.0108 | 0.077971 | 63.9029 | 0.014918 | 0.029348 | -0.57596 | 11.8735 | 5.051 | 0.00022255 | 9.7438e-08 | 1.2006e-07 | 2.7193 | 26197.6155 | 12277.8765 | 23258.8806 | 114637.2235 | 1.2832 | 1.2069 | 1.3069 | 1.3124 | -1 | -1 | -1 | -1 | 1.5084 | 1.0722 | 1.7639 | 6.3129 | 1.7639 | 5.0521 | 5.0108 | 0.20019 | 2.4234 | 3.8468 | 5210.5149 | -1 | -1
|  | 32 | 2 | 28 | 10 | 4 | 0 | 0 | 0 | 5.0528 | 0 | BB | 9.5228 | 3.3942 | 0.044732 | 0.84387 | 0 |  | -1 | -1 | 2 | -1 | 745 | 779 | 5.0054 | 5.1454 | 0.0066667 | 45 | -1 | 5.0054 | 0.093333 | 98.201 | 5.0054 | 0.092121 | 98.2207 | 5.0179 | 0.070886 | 102.4997 | 98.1966 | 102.2819 | 97.9054 | 5.0282 | 99.4633 | 5.0684 | 100.3901 | 5.0297 | 0.046061 | 99.7002 | 0.019801 | 0.68214 | 0.71587 | 9.5228 | 5.0565 | 0.00039208 | 5.2958e-06 | 5.7123e-07 | 0.98702 | 81272.0905 | 73250.2919 | 66648.6688 | 65212.4183 | 4.2657 | 4.3898 | 4.1478 | 4.1655 | -1 | -1 | -1 | -1 | 3.9649 | 1.2144 | -1 | -1 | -1 | 5.0521 | 5.0127 | 0.08 | 1.0154 | 1.0308 | 72914.8097 | -1 | -1
|  | 35 | 1 | 31 | 11 | 3 | 0 | 0 | 0 | 5.5048 | 0 | VV E | 61.7244 | 19.9748 | 0.048051 | 0.89006 | 0 |  | -1 | -1 | 1 | -1 | 818 | 838 | 5.4536 | 5.5788 | 0.0066667 | 31 | -1 | 5.4536 | 0.10831 | 54.6258 | 5.4536 | 0.10713 | 54.7443 | 5.4667 | 0.074568 | 79.2906 | 54.414 | 78.1655 | 54.9068 | 5.4805 | 63.4479 | 5.5205 | 68.1591 | 5.4807 | 0.047843 | 63.6285 | 0.016862 | 0.108 | -0.39748 | 48.8555 | 5.5068 | 0.00028432 | 5.1778e-07 | 2.1039e-07 | 1.0333 | 87216.4595 | 64592.9913 | 73358.569 | 106657.7014 | 4.5509 | 3.3734 | 4.2378 | 4.2559 | -1 | -1 | -1 | -1 | 7.1715 | 1.0898 | 12.3945 | -1 | 12.3945 | 5.5054 | 5.4536 | 0.098114 | 0.94633 | 0.89266 | 55394.0146 | -1 | -1
|  | 41 | 5 | 32 | 11 | 4 | 0 | 0 | 0 | 5.5049 | 0 | BB | 9.0917 | 3.3569 | 0.043598 | 1.0007 | 0 |  | -1 | -1 | 5 | -1 | 808 | 837 | 5.3854 | 5.5697 | 0.0066667 | 40 | -1 | 5.4649 | 0.094872 | 19.4113 | 5.4654 | 0.091282 | 19.4308 | 5.4689 | 0.070932 | 23.7288 | 19.187 | 23.4289 | 19.3454 | 5.4812 | 20.7337 | 5.5212 | 21.5277 | 5.4823 | 0.045641 | 20.8912 | 0.01763 | 0.06253 | 0.48516 | 9.1264 | 5.5053 | 0.0003108 | 3.4262e-07 | 3.3666e-07 | 1.141 | 96387.4862 | 84187.2185 | 80608.2255 | 97516.5722 | 33.0935 | 31.9675 | 32.0887 | 32.2252 | -1 | -1 | -1 | -1 | 31.6403 | 2.6217 | -1 | -1 | -1 | 5.5054 | 5.468 | 0.079487 | 1.0616 | 1.1233 | 84289.1908 | -1 | -1
|  | 36 | 2 | 33 | 11 | 4 | 0 | 0 | 0 | 5.5052 | 0 | BB | 33.4609 | 12.111 | 0.044233 | 0.97222 | 0 |  | -1 | -1 | 2 | -1 | 813 | 837 | 5.4521 | 5.5698 | 0.0066667 | 35 | -1 | 5.4654 | 0.094286 | 99.4881 | 5.4659 | 0.091905 | 99.5599 | 5.4688 | 0.07248 | 114.9563 | 98.7407 | 113.8234 | 99.1774 | 5.4807 | 104.0298 | 5.5207 | 107.5456 | 5.4826 | 0.045238 | 104.9472 | 0.017814 | 0.24085 | -0.16414 | 33.5625 | 5.5062 | 0.00031734 | 1.3615e-06 | 2.8558e-07 | 1.1627 | 92314.05 | 85237.088 | 82050.5564 | 95540.5281 | 6.3119 | 6.0289 | 5.823 | 5.8478 | -1 | -1 | -1 | -1 | 5.9777 | 1.0895 | -1 | -1 | -1 | 5.5054 | 5.4688 | 0.08 | 1.0909 | 1.1818 | 81209.2251 | -1 | -1
|  | 40 | 4 | 34 | 11 | 4 | 0 | 0 | 0 | 5.5055 | 0 | BB | 11.008 | 4.094 | 0.043369 | 1.0546 | 0 |  | -1 | -1 | 4 | -1 | 813 | 835 | 5.4521 | 5.5618 | 0.0066667 | 33 | -1 | 5.469 | 0.09285 | 44.9643 | 5.4694 | 0.092405 | 44.9886 | 5.469 | 0.070747 | 50.3174 | 44.4759 | 49.7904 | 45.079 | 5.4806 | 46.3397 | 5.5206 | 47.7167 | 5.4836 | 0.044444 | 46.81 | 0.016774 | 0.12778 | -0.35264 | 10.9247 | 5.5051 | 0.00028135 | 6.0301e-07 | 2.0956e-07 | 1.2834 | 96890.5318 | 87894.0026 | 85007.0974 | 107715.1105 | 32.9327 | 31.5347 | 32.1561 | 32.2929 | -1 | -1 | -1 | -1 | 32.1461 | 2.6219 | -1 | -1 | -1 | 5.5054 | 5.4716 | 0.090183 | 1.3349 | 1.6699 | 53223.0423 | -1 | -1
|  | 39 | 3 | 30 | 11 | 4 | 0 | 0 | 0 | 5.5057 | 0 | BB | 17.8352 | 6.5518 | 0.043759 | 1.045 | 0 |  | -1 | -1 | 3 | -1 | 813 | 836 | 5.4521 | 5.5633 | 0.0066667 | 34 | -1 | 5.4694 | 0.093875 | 79.0504 | 5.4694 | 0.093875 | 79.0893 | 5.4689 | 0.071569 | 87.6098 | 78.2508 | 86.7226 | 79.2603 | 5.4806 | 81.2178 | 5.5206 | 83.5299 | 5.4836 | 0.044889 | 82.0058 | 0.017389 | 0.19677 | -0.24587 | 17.9489 | 5.5058 | 0.00030239 | 1.0347e-06 | 2.5183e-07 | 1.3038 | 94678.3099 | 85984.7787 | 83332.1218 | 100248.4988 | 32.4279 | 29.3533 | 31.8001 | 31.9354 | -1 | -1 | -1 | -1 | 30.8219 | 2.6218 | -1 | -1 | -1 | 5.5054 | 5.4716 | 0.091653 | 1.3567 | 1.7134 | 50773.3528 | -1 | -1
|  | 42 | 1 | 36 | 12 | 3 | 0 | 0 | 0 | 5.6387 | 0 | VB R | 1957.2418 | 638.5165 | 0.049762 | 2.7148 | 0 |  | -1 | -1 | 1 | -1 | 680 | 917 | 4.5321 | 6.1054 | 0.0066667 | 248 | -1 | 5.5921 | 0.10333 | 79.5428 | 5.5921 | 0.10333 | 83.2683 | 5.5988 | 0.08169 | 835.2994 | 52.6761 | 811.7456 | 51.7474 | 5.616 | 389.6294 | 5.6605 | 415.8876 | 5.6121 | 0.053333 | 362.6853 | 0.31529 | -1.8276 | 1.6623 | 2464.3595 | 5.4963 | 0.099406 | -0.057278 | 0.046071 | 1.1071 | 76232.944 | 74443.1618 | 61926.7073 | 303.9017 | 1.7141 | 1.5819 | 1.5552 | 1.5619 | -1 | -1 | -1 | -1 | -0.015813 | 1.0243 | 283.7597 | -1 | 283.7597 | 5.6387 | 5.5954 | 0.09 | 1.0385 | 1.0769 | 70345.2358 | -1 | -1
|  | 43 | 2 | 37 | 12 | 4 | 0 | 0 | 0 | 5.6387 | 0 | BB | 588.2484 | 195.3262 | 0.049136 | 0.8908 | 0 |  | -1 | -1 | 2 | -1 | 836 | 869 | 5.5721 | 5.7473 | 0.0066667 | 44 | -1 | 5.5926 | 0.10111 | 108.0822 | 5.5932 | 0.099444 | 109.2218 | 5.6 | 0.079469 | 347.0436 | 99.4978 | 334.4774 | 99.9637 | 5.6149 | 194.8096 | 5.655 | 240.7693 | 5.6143 | 0.05 | 194.6921 | 0.020101 | 0.32296 | 0.23633 | 588.2008 | 5.6406 | 0.00040407 | 2.6232e-06 | 5.284e-07 | 1.0915 | 80554.727 | 77751.3473 | 70458.8315 | 78740.3492 | 1.7569 | 1.7078 | 1.6468 | 1.6538 | -1 | -1 | -1 | -1 | 1.7722 | 1.0242 | -1 | -1 | -1 | 5.6387 | 5.5976 | 0.087778 | 1.0676 | 1.1351 | 72147.2167 | -1 | -1
|  | 48 | 6 | 38 | 12 | 4 | 0 | 0 | 0 | 5.6387 | 0 | BB | 23.0793 | 7.7262 | 0.04885 | 0.90019 | 0 |  | -1 | -1 | 6 | -1 | 831 | 869 | 5.5721 | 5.7218 | 0.0066667 | 49 | -1 | 5.5927 | 0.1 | 11.6855 | 5.5934 | 0.098 | 11.7305 | 5.6001 | 0.079158 | 21.15 | 11.3417 | 20.6495 | 11.3689 | 5.6153 | 15.191 | 5.6554 | 16.8407 | 5.6141 | 0.05 | 15.1109 | 0.019613 | 0.23851 | -0.03903 | 23.0765 | 5.6404 | 0.00038469 | 1.7996e-06 | 4.3818e-07 | 1.0809 | 81188.3377 | 79488.7539 | 70458.8315 | 82699.6687 | 73.3546 | 48.7224 | 65.5799 | 65.859 | -1 | -1 | -1 | -1 | 56.0142 | 17.2876 | -1 | -1 | -1 | 5.6387 | 5.5974 | 0.087333 | 1.0565 | 1.1129 | 73569.148 | -1 | -1
|  | 49 | 7 | 39 | 12 | 4 | 0 | 0 | 0 | 5.6387 | 0 | BB | 24.5071 | 8.1877 | 0.04892 | 0.89752 | 0 |  | -1 | -1 | 7 | -1 | 831 | 869 | 5.5721 | 5.725 | 0.0066667 | 49 | -1 | 5.5927 | 0.1 | 2.8433 | 5.5934 | 0.098 | 2.891 | 5.6001 | 0.079267 | 12.867 | 2.4899 | 12.3406 | 2.4962 | 5.6153 | 6.5633 | 5.6554 | 8.3112 | 5.6141 | 0.05 | 6.4735 | 0.019711 | 0.2507 | -0.0022588 | 24.5087 | 5.6404 | 0.00038852 | 1.9199e-06 | 4.5251e-07 | 1.0809 | 80966.0954 | 79488.7539 | 70458.8315 | 81885.4494 | 73.5715 | 47.4287 | 66.0877 | 66.3689 | -1 | -1 | -1 | -1 | 56.4018 | 17.2594 | -1 | -1 | -1 | 5.6387 | 5.5974 | 0.087333 | 1.0565 | 1.1129 | 73569.148 | -1 | -1
|  | 45 | 3 | 40 | 12 | 4 | 0 | 0 | 0 | 5.6388 | 0 | BB | 405.2394 | 134.7979 | 0.049073 | 0.895 | 0 |  | -1 | -1 | 3 | -1 | 836 | 869 | 5.5721 | 5.7339 | 0.0066667 | 44 | -1 | 5.5932 | 0.10167 | 86.3708 | 5.5938 | 0.099444 | 87.1572 | 5.6 | 0.079374 | 251.46 | 80.0415 | 242.5166 | 81.1939 | 5.6149 | 145.7867 | 5.655 | 178.131 | 5.6143 | 0.05 | 146.1403 | 0.019984 | 0.29523 | 0.14129 | 405.1323 | 5.6406 | 0.00039938 | 2.3563e-06 | 5.0104e-07 | 1.1049 | 80748.4305 | 76903.9275 | 70458.8315 | 79664.0142 | 1.763 | 1.7011 | 1.6476 | 1.6546 | -1 | -1 | -1 | -1 | 1.8031 | 1.0242 | -1 | -1 | -1 | 5.6387 | 5.5976 | 0.087778 | 1.0676 | 1.1351 | 72147.2167 | -1 | -1
|  | 47 | 4 | 41 | 12 | 4 | 0 | 0 | 0 | 5.6388 | 0 | BB | 151.523 | 50.4635 | 0.049031 | 0.89905 | 0 |  | -1 | -1 | 4 | -1 | 836 | 869 | 5.5721 | 5.7271 | 0.0066667 | 44 | -1 | 5.5938 | 0.10222 | 48.0611 | 5.5943 | 0.1 | 48.3555 | 5.6001 | 0.07937 | 109.9086 | 45.5554 | 106.4655 | 46.2666 | 5.6149 | 70.191 | 5.655 | 82.4877 | 5.6143 | 0.05 | 70.4363 | 0.019877 | 0.27159 | 0.06763 | 151.4658 | 5.6405 | 0.00039508 | 2.1328e-06 | 4.7883e-07 | 1.125 | 80756.2654 | 76070.2867 | 70458.8315 | 80528.4276 | 1.7766 | 1.709 | 1.659 | 1.6661 | -1 | -1 | -1 | -1 | 1.8476 | 1.0242 | -1 | -1 | -1 | 5.6387 | 5.5982 | 0.087778 | 1.0822 | 1.1644 | 71273.2079 | -1 | -1
|  | 46 | 5 | 35 | 12 | 4 | 0 | 0 | 0 | 5.6388 | 0 | BB | 23.7407 | 7.9446 | 0.048863 | 0.90759 | 0 |  | -1 | -1 | 5 | -1 | 836 | 869 | 5.5721 | 5.7179 | 0.0066667 | 44 | -1 | 5.5943 | 0.10278 | 19.9101 | 5.5949 | 0.1 | 19.9564 | 5.6001 | 0.07924 | 29.6622 | 19.4779 | 29.0981 | 19.667 | 5.6149 | 23.3758 | 5.655 | 25.3305 | 5.6143 | 0.05 | 23.4323 | 0.01963 | 0.23795 | -0.040901 | 23.7534 | 5.6404 | 0.00038534 | 1.7999e-06 | 4.3938e-07 | 1.1392 | 81021.5087 | 75250.1279 | 70458.8315 | 82560.9438 | 1.7835 | 1.6938 | 1.6452 | 1.6522 | -1 | -1 | -1 | -1 | 1.8121 | 1.0243 | -1 | -1 | -1 | 5.6387 | 5.5982 | 0.087778 | 1.0822 | 1.1644 | 71273.2079 | -1 | -1
|  | 50 | 1 | 43 | 13 | 3 | 0 | 0 | 0 | 6.3049 | 0 | BB | 1712.6 | 505.1027 | 0.053557 | 0.83969 | 0 |  | -1 | -1 | 1 | -1 | 930 | 976 | 6.2356 | 6.4988 | 0.0066667 | 57 | -1 | 6.255 | 0.11259 | 66.221 | 6.2558 | 0.11037 | 69.1825 | 6.2622 | 0.090973 | 672.9837 | 45.1697 | 640.0934 | 43.7688 | 6.2818 | 334.098 | 6.3285 | 348.5948 | 6.278 | 0.056296 | 291.2927 | 0.023075 | 0.54937 | 1.3104 | 1712.3314 | 6.3051 | 0.00053247 | 6.7501e-06 | 1.2221e-06 | 1.1119 | 76863.3758 | 78405.7567 | 69498.8627 | 74660.7395 | 7.7165 | 7.713 | 7.14 | 7.1704 | -1 | -1 | -1 | -1 | 1.1952 | 1.1181 | -1 | -1 | -1 | 6.3054 | 6.2602 | 0.098519 | 1.0902 | 1.1803 | 70285.0606 | -1 | -1
|  | 51 | 2 | 44 | 13 | 4 | 0 | 0 | 0 | 6.3049 | 0 | BB | 1095.1282 | 323.9215 | 0.053443 | 0.84544 | 0 |  | -1 | -1 | 2 | -1 | 930 | 971 | 6.2321 | 6.421 | 0.0066667 | 52 | -1 | 6.2554 | 0.11267 | 117.179 | 6.2561 | 0.11067 | 119.0781 | 6.2622 | 0.090841 | 506.6276 | 102.9787 | 485.2003 | 103.5541 | 6.2819 | 289.4015 | 6.3286 | 297.0823 | 6.2781 | 0.056 | 261.5091 | 0.022533 | 0.33984 | 0.12055 | 1095.0724 | 6.3081 | 0.00050772 | 3.8879e-06 | 8.0441e-07 | 1.1216 | 77087.9708 | 78302.6929 | 70236.246 | 78373.6133 | 7.8235 | 7.7909 | 7.3848 | 7.4163 | -1 | -1 | -1 | -1 | 7.8278 | 1.1181 | -1 | -1 | -1 | 6.3054 | 6.2601 | 0.098667 | 1.0882 | 1.1765 | 70185.5474 | -1 | -1
|  | 6 | 8 | 45 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 104.8944 | 31.0541 | 0.053408 | 0.84674 | 0 |  | -1 | -1 | 8 | -1 | 930 | 971 | 6.2321 | 6.4187 | 0.0066667 | 52 | -1 | 6.2554 | 0.112 | 7.1119 | 6.2561 | 0.11 | 7.2939 | 6.2623 | 0.090802 | 44.4353 | 5.7824 | 42.4213 | 5.7703 | 6.2819 | 23.5871 | 6.3286 | 24.3827 | 6.2787 | 0.055333 | 20.9493 | 0.022468 | 0.32858 | 0.090387 | 104.8944 | 6.3081 | 0.00050483 | 3.727e-06 | 7.8758e-07 | 1.1149 | 77154.2118 | 79237.6422 | 71938.8811 | 78823.145 | 76.5299 | 51.0512 | 70.3968 | 70.6964 | -1 | -1 | -1 | -1 | 60.1513 | 19.2776 | -1 | -1 | -1 | 6.3054 | 6.2601 | 0.098667 | 1.0882 | 1.1765 | 70185.5474 | -1 | -1
|  | 2 | 3 | 46 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 534.6315 | 158.2988 | 0.053402 | 0.8488 | 0 |  | -1 | -1 | 3 | -1 | 930 | 971 | 6.2321 | 6.4104 | 0.0066667 | 52 | -1 | 6.2554 | 0.114 | 96.7045 | 6.2561 | 0.112 | 97.6326 | 6.2622 | 0.090788 | 287.2065 | 89.2408 | 276.4229 | 90.6242 | 6.2819 | 180.4572 | 6.3286 | 184.9292 | 6.2787 | 0.055333 | 167.2368 | 0.022479 | 0.32929 | 0.08441 | 534.7919 | 6.3081 | 0.00050531 | 3.7405e-06 | 7.8758e-07 | 1.1351 | 77176.8587 | 76481.7624 | 71938.8811 | 78746.4041 | 7.8303 | 7.7227 | 7.4316 | 7.4633 | -1 | -1 | -1 | -1 | 7.8596 | 1.1181 | -1 | -1 | -1 | 6.3054 | 6.2607 | 0.098667 | 1.1045 | 1.209 | 69258.3439 | -1 | -1
|  | 3 | 5 | 47 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 337.0334 | 99.8012 | 0.053399 | 0.84724 | 0 |  | -1 | -1 | 5 | -1 | 930 | 971 | 6.2121 | 6.4189 | 0.0066667 | 52 | -1 | 6.2554 | 0.11267 | 25.4942 | 6.2561 | 0.11067 | 26.0793 | 6.2623 | 0.090735 | 145.4984 | 21.0735 | 138.9046 | 21.3471 | 6.2819 | 78.3416 | 6.3286 | 81.005 | 6.2787 | 0.055333 | 69.9612 | 0.022504 | 0.33482 | 0.11993 | 337.0323 | 6.3081 | 0.00050645 | 3.8161e-06 | 8.0024e-07 | 1.1216 | 77268.0383 | 78302.6929 | 71938.8811 | 78570.2747 | 7.8384 | 7.7301 | 7.4311 | 7.4627 | -1 | -1 | -1 | -1 | 7.9239 | 1.1181 | -1 | -1 | -1 | 6.3054 | 6.2607 | 0.098 | 1.097 | 1.194 | 70632.5651 | -1 | -1
|  | 1 | 4 | 48 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 336.6208 | 99.7329 | 0.053378 | 0.84962 | 0 |  | -1 | -1 | 4 | -1 | 930 | 971 | 6.2254 | 6.4097 | 0.0066667 | 52 | -1 | 6.2554 | 0.114 | 56.0479 | 6.2561 | 0.112 | 56.6326 | 6.2623 | 0.090736 | 176.0725 | 51.3319 | 169.285 | 52.2325 | 6.2819 | 108.7534 | 6.3286 | 111.6293 | 6.2787 | 0.055333 | 100.4841 | 0.022463 | 0.32712 | 0.081829 | 336.7611 | 6.3081 | 0.00050458 | 3.7077e-06 | 7.8464e-07 | 1.1351 | 77266.3241 | 76481.7624 | 71938.8811 | 78860.6043 | 7.8326 | 7.7025 | 7.4313 | 7.4629 | -1 | -1 | -1 | -1 | 7.8831 | 1.1181 | -1 | -1 | -1 | 6.3054 | 6.2607 | 0.098667 | 1.1045 | 1.209 | 69258.3439 | -1 | -1
|  | 4 | 6 | 49 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 440.6332 | 130.1108 | 0.05351 | 0.84189 | 0 |  | -1 | -1 | 6 | -1 | 930 | 981 | 6.2054 | 6.5354 | 0.0066667 | 62 | -1 | 6.2554 | 0.1125 | 17.0494 | 6.2554 | 0.11167 | 17.8122 | 6.2623 | 0.090824 | 173.3056 | 11.452 | 164.8618 | 11.4594 | 6.2817 | 85.1347 | 6.3284 | 90.2011 | 6.2787 | 0.055 | 75.0225 | 0.023218 | 0.62048 | 1.8609 | 440.6305 | 6.3084 | 0.00053906 | 7.7658e-06 | 1.4125e-06 | 1.1167 | 77115.9158 | 78534.8728 | 72813.5099 | 73824.1858 | 7.8394 | 7.8386 | 7.456 | 7.4877 | -1 | -1 | -1 | -1 | 7.7984 | 1.1182 | -1 | -1 | -1 | 6.3054 | 6.2604 | 0.098333 | 1.0926 | 1.1852 | 70409.3152 | -1 | -1
|  | 5 | 7 | 42 | 13 | 4 | 0 | 0 | 0 | 6.305 | 0 | BB | 343.2405 | 101.2687 | 0.053543 | 0.84071 | 0 |  | -1 | -1 | 7 | -1 | 929 | 990 | 6.1921 | 6.5921 | 0.0066667 | 72 | -1 | 6.2549 | 0.11333 | 6.7658 | 6.2559 | 0.11048 | 7.3596 | 6.2622 | 0.090978 | 128.1269 | 2.4233 | 121.6717 | 2.3992 | 6.2816 | 59.2395 | 6.3282 | 64.2444 | 6.2787 | 0.055238 | 51.8885 | 0.023547 | 0.79763 | 3.4032 | 343.2405 | 6.3085 | 0.00055446 | 1.0414e-05 | 1.9685e-06 | 1.1154 | 76854.9263 | 77384.1942 | 72187.1601 | 71776.2655 | 7.8272 | 7.8079 | 7.439 | 7.4707 | -1 | -1 | -1 | -1 | 7.7217 | 1.1182 | -1 | -1 | -1 | 6.3054 | 6.2607 | 0.098095 | 1.0957 | 1.1915 | 70568.835 | -1 | -1
|  | 8 | 1 | 51 | 14 | 3 | 0 | 0 | 0 | 6.7278 | 0 | BB | 15.9485 | 5.9376 | 0.043337 | 0.79739 | 0 |  | -1 | -1 | 1 | -1 | 996 | 1030 | 6.6854 | 6.7854 | 0.0066667 | 45 | -1 | 6.6854 | 0.077576 | 40.2064 | 6.6854 | 0.077576 | 40.2403 | 6.6947 | 0.07178 | 47.1953 | 40.801 | 47.6422 | 38.8329 | 6.709 | 43.5691 | 6.7482 | 42.986 | 6.7042 | 0.045455 | 42.781 | 0.016637 | 0.14189 | -0.41643 | 15.9485 | 6.7308 | 0.00027678 | 6.5334e-07 | 1.9792e-07 | 0.9697 | 140459.9657 | 187899.9677 | 121281.2091 | 163680.182 | 5.197 | 5.5597 | 4.8837 | 4.9045 | -1 | -1 | -1 | -1 | 5.359 | 1.0671 | -1 | -1 | -1 | 6.7254 | 6.6854 | 0.075758 | 0.94697 | 0.89394 | 138746.8179 | -1 | -1
|  | 7 | 2 | 50 | 14 | 4 | 0 | 0 | 0 | 6.7293 | 0 | BB | 11.3817 | 4.2517 | 0.043232 | 0.95011 | 0 |  | -1 | -1 | 2 | -1 | 997 | 1030 | 6.6854 | 6.7854 | 0.0066667 | 44 | -1 | 6.6882 | 0.085556 | 106.9826 | 6.6887 | 0.084444 | 107.007 | 6.6941 | 0.071951 | 112.2856 | 106.7964 | 112.0838 | 106.8094 | 6.7092 | 109.149 | 6.7483 | 109.3542 | 6.7065 | 0.046111 | 108.8406 | 0.016596 | 0.12344 | -0.43669 | 11.3817 | 6.7302 | 0.00027544 | 5.6427e-07 | 1.9447e-07 | 0.97436 | 140068.6598 | 154789.8729 | 118085.7675 | 164448.3419 | 5.2135 | 5.352 | 4.8831 | 4.9039 | -1 | -1 | -1 | -1 | 5.3943 | 1.0673 | -1 | -1 | -1 | 6.7321 | 6.6926 | 0.076667 | 0.97183 | 0.94366 | 139208.5801 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 18:16:27
ResNewDateTime | 02 September 2019 18:16:27
ResModBy | SYSTEM
ResModTime | 09/02/19 18:16:28
ResModDateTime | 02 September 2019 18:16:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10055.6933

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10055.6933

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6083.5331

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2118.4139

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 780.6002

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.727

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 505.4867

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 404.9045

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.666

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 10055.6933

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6083.5331

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2118.4139

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 780.6002

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 500.727

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 505.4867

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 404.9045

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 141.666

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 14 | 0 | 8 | 0.34434 | 1518.9097 | 171.8252 | 0.12313 | 1.5762 | -17.6419 | 0.0054167 | 0 | 42.2077 | 0.51875 | 0 | -48.4405 | 1 | -176.5874 | 43.1642 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4663 | 1238.0955 | 52.5548 | 0.28685 | 4.3351 | 4.3702 | 0.80542 | 0 | -50.8084 | 1.6103 | -3.5527e-15 | 16.3912 | 1 | 83.4886 | -118.0515 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0999 | 732.8958 | 141.639 | 0.080368 | 0.56502 | 48.0053 | 1.9254 | 0 | 43.7827 | 2.284 | 0 | 52.4586 | 1 | 24.1949 | -2.8026 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 2.5156 | 284.5974 | 22.8081 | 0.20158 | 1.1965 | 54.2621 | 2.2854 | 0 | 52.4535 | 2.6743 | 3.5568 | 55.5082 | 1 | 7.8555 | 34.5003 | 0 | 0 | 0
DateTime |  | 34 | 8 | 2.9046 | 804.4884 | 55.7938 | 0.23222 | 1.0184 | 57.3173 | 2.6743 | 3.5568 | 55.5082 | 3.1095 | 8.6464 | 58.9271 | 1 | 7.8555 | 34.5003 | 0 | 0 | 0
IntegStart | 0 | 34 | 8 | 3.2588 | 345.6508 | 31.5768 | 0.16971 | 1.0677 | 60.0999 | 3.1095 | 8.6464 | 58.9271 | 3.406 | 6.5832 | 61.2561 | 1 | 7.8555 | 34.5003 | 0 | 0 | 0
IntegEnd | 0 | 32 | 8 | 3.5416 | 225.0365 | 22.3992 | 0.15721 | 1.0933 | 62.3216 | 3.406 | 6.5832 | 61.2561 | 3.7329 | 0 | 63.8244 | 1 | 7.8555 | 34.5003 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 4.1496 | 713.1114 | 51.8268 | 0.20653 | 1.1364 | 61.8032 | 3.7387 | 0 | 63.8294 | 4.3968 | 0 | 60.584 | 1 | -4.9319 | 82.2686 | 0 | 0 | 0
IntegMode | 2 | 2 | 31 | 4.7109 | 350.9506 | 22.482 | 0.23212 | 0.49195 | 62.7701 | 4.5321 | 7.9103e-08 | 64.8036 | 5.0108 | 5.7677 | 59.3613 | 2 | -11.3689 | 116.3285 | 6.5055 | -159.2435 | 5.5854
|  | 34 | 31 | 5.051 | 94.4426 | 10.1739 | 0.1203 | 0.21989 | 58.9039 | 5.0108 | 5.7677 | 59.3613 | 5.4536 | 1.6116 | 54.3272 | 2 | -11.3689 | 116.3285 | 6.5055 | -159.2435 | 5.5854
|  | 34 | 31 | 5.5048 | 61.7244 | 19.9748 | 0.048051 | 0.89006 | 53.7451 | 5.4536 | 1.6116 | 54.3272 | 5.5788 | 9.6914e-08 | 55.1543 | 2 | -11.3689 | 116.3285 | 6.5055 | -159.2435 | 5.5854
|  | 32 | 20 | 5.6387 | 1957.2418 | 638.5165 | 0.049762 | 2.7148 | 52.2225 | 4.5321 | 0 | 64.8036 | 6.1054 | 0 | 46.9165 | 1 | -11.3689 | 116.3285 | 0 | 0 | 0
|  | 0 | 8 | 6.3049 | 1712.6 | 505.1027 | 0.053557 | 0.83969 | 44.5118 | 6.2356 | 7.1054e-15 | 45.5789 | 6.4988 | 1.4211e-14 | 41.5263 | 1 | -15.3994 | 141.6031 | 0 | 0 | 0
|  | 0 | 8 | 6.7278 | 15.9485 | 5.9376 | 0.043337 | 0.79739 | 39.8929 | 6.6854 | 0 | 41.0547 | 6.7854 | 0 | 38.3129 | 1 | -27.4181 | 224.3564 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 13 | 0 | 8 | 0.3368 | 1533.2699 | 147.3747 | 0.14138 | 1.9908 | 39.5438 | 0.0054167 | 0 | 120.9102 | 0.50542 | -1.4211e-14 | -1.8568 | 1 | -245.534 | 122.2401 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4663 | 774.7512 | 35.9901 | 0.26315 | 3.8678 | 13.5697 | 0.83875 | 0 | -17.8332 | 1.6113 | 0 | 20.8253 | 1 | 50.0421 | -59.8061 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1 | 494.2544 | 95.302 | 0.080506 | 0.56552 | 42.8758 | 1.9321 | 0 | 39.8092 | 2.2828 | 0 | 46.2152 | 1 | 18.263 | 4.5236 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 2.5187 | 170.4941 | 14.5353 | 0.19485 | 1.4499 | 49.7838 | 2.2921 | 0 | 46.2642 | 2.6734 | 0 | 52.1867 | 1 | 15.5334 | 10.6603 | 0 | 0 | 0
DateTime |  | 2 | 8 | 2.909 | 503.6824 | 36.8409 | 0.2255 | 1.0376 | 55.7044 | 2.6788 | 0 | 52.2218 | 3.1074 | 4.2272 | 58.7038 | 1 | 15.1222 | 11.7131 | 0 | 0 | 0
IntegStart | 0 | 34 | 8 | 3.263 | 217.1032 | 20.7157 | 0.16427 | 1.1291 | 61.0574 | 3.1074 | 4.2272 | 58.7038 | 3.403 | 3.6893 | 63.1747 | 1 | 15.1222 | 11.7131 | 0 | 0 | 0
IntegEnd | 0 | 32 | 8 | 3.547 | 151.7733 | 15.3322 | 0.15749 | 1.1821 | 65.3518 | 3.403 | 3.6893 | 63.1747 | 3.7172 | 0 | 67.9251 | 1 | 15.1222 | 11.7131 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 4.1606 | 500.4626 | 37.9635 | 0.2038 | 1.0716 | 75.3479 | 3.7921 | 0 | 68.6421 | 4.3935 | 0 | 79.585 | 1 | 18.1952 | -0.35546 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 5.0528 | 9.5228 | 3.3942 | 0.044732 | 0.84387 | 98.0535 | 5.0054 | 0 | 98.248 | 5.1454 | 0 | 97.6729 | 1 | -4.1076 | 118.8083 | 0 | 0 | 0
|  | 0 | 8 | 5.5052 | 33.4609 | 12.111 | 0.044233 | 0.97222 | 98.9602 | 5.4521 | 0 | 98.64 | 5.5698 | 0 | 99.3494 | 1 | 6.0252 | 65.7903 | 0 | 0 | 0
|  | 0 | 8 | 5.6387 | 588.2484 | 195.3262 | 0.049136 | 0.8908 | 99.7248 | 5.5721 | 0 | 99.3342 | 5.7473 | 0 | 100.3612 | 1 | 5.8623 | 66.6691 | 0 | 0 | 0
|  | 0 | 8 | 6.3049 | 1095.1282 | 323.9215 | 0.053443 | 0.84544 | 103.2492 | 6.2321 | 0 | 102.788 | 6.421 | 0 | 103.9844 | 1 | 6.3335 | 63.3172 | 0 | 0 | 0
|  | 0 | 8 | 6.7293 | 11.3817 | 4.2517 | 0.043232 | 0.95011 | 106.8028 | 6.6854 | 0 | 106.7948 | 6.7854 | 0 | 106.813 | 1 | 0.1812 | 105.5835 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.32198 | 812.4855 | 85.6515 | 0.12267 | 1.7264 | 57.4127 | 0.072083 | -1.4211e-14 | 115.0532 | 0.48542 | -1.4211e-14 | 19.7144 | 1 | -230.6584 | 131.6798 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4662 | 88.4262 | 11.069 | 0.1052 | 0.66404 | 16.6732 | 1.2988 | 3.5527e-15 | 18.3492 | 1.6121 | 3.5527e-15 | 15.2135 | 1 | -10.0075 | 31.3464 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1 | 259.7961 | 50.7029 | 0.079779 | 0.56475 | 24.8214 | 1.9321 | 0 | 23.3808 | 2.2835 | 0 | 26.3969 | 1 | 8.582 | 6.7996 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5057 | 17.8352 | 6.5518 | 0.043759 | 1.045 | 78.7693 | 5.4521 | 0 | 78.0129 | 5.5633 | 0 | 79.5816 | 1 | 14.1052 | 1.1105 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.6388 | 405.2394 | 134.7979 | 0.049073 | 0.895 | 80.6038 | 5.5721 | 0 | 79.6356 | 5.7339 | 0 | 81.9845 | 1 | 14.5189 | -1.2649 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.305 | 534.6315 | 158.2988 | 0.053402 | 0.8488 | 89.892 | 6.2321 | 0 | 88.7814 | 6.4104 | 0 | 91.4983 | 1 | 15.2373 | -6.1787 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.3191 | 143.4792 | 31.2186 | 0.065619 | 1.0655 | 49.9752 | 0.21875 | 0 | 68.4175 | 0.43208 | 0 | 29.2125 | 1 | -183.7738 | 108.6181 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0998 | 137.969 | 27.6369 | 0.078242 | 0.56329 | 20.7401 | 1.9388 | 0 | 20.3094 | 2.2893 | 0 | 21.2466 | 1 | 2.6738 | 15.1257 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5055 | 11.008 | 4.094 | 0.043369 | 1.0546 | 44.7866 | 5.4521 | 0 | 44.3316 | 5.5618 | 0 | 45.267 | 1 | 8.5246 | -2.1454 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.6388 | 151.523 | 50.4635 | 0.049031 | 0.89905 | 45.9026 | 5.5721 | 0 | 45.3048 | 5.7271 | 0 | 46.694 | 1 | 8.96 | -4.621 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.305 | 336.6208 | 99.7329 | 0.053378 | 0.84962 | 51.756 | 6.2254 | 0 | 50.9663 | 6.4097 | 0 | 52.7957 | 1 | 9.9247 | -10.8191 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32224 | 63.3535 | 17.5685 | 0.054071 | 1.2851 | 20.7766 | 0.20542 | 0 | 26.5617 | 0.41208 | 0 | 16.3274 | 1 | -49.5211 | 36.7342 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0997 | 67.5077 | 13.6592 | 0.07766 | 0.55663 | 14.0541 | 1.9521 | 0 | 13.9408 | 2.3171 | 0 | 14.2208 | 1 | 0.76719 | 12.4432 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5049 | 9.0917 | 3.3569 | 0.043598 | 1.0007 | 19.2673 | 5.3854 | 0 | 19.0005 | 5.5697 | 0 | 19.4121 | 1 | 2.233 | 6.9747 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.6388 | 23.7407 | 7.9446 | 0.048863 | 0.90759 | 19.5703 | 5.5721 | 0 | 19.4111 | 5.7179 | 0 | 19.7591 | 1 | 2.3865 | 6.1133 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.305 | 337.0334 | 99.8012 | 0.053399 | 0.84724 | 21.2022 | 6.2121 | 0 | 20.9222 | 6.4189 | 0 | 21.5456 | 1 | 3.0148 | 2.1942 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32617 | 41.7742 | 13.97 | 0.046887 | 1.2228 | 11.5087 | 0.19208 | 0 | 12.9304 | 0.41208 | 0 | 10.5977 | 1 | -10.6031 | 14.9671 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.6387 | 23.0793 | 7.7262 | 0.04885 | 0.90019 | 11.3549 | 5.5721 | 0 | 11.332 | 5.7218 | 0 | 11.3835 | 1 | 0.34373 | 9.4168 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.305 | 440.6332 | 130.1108 | 0.05351 | 0.84189 | 11.4555 | 6.2054 | 0 | 11.4474 | 6.5354 | 0 | 11.4741 | 1 | 0.080918 | 10.9453 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32671 | 37.1569 | 12.7064 | 0.046116 | 1.1939 | 2.5084 | 0.18542 | 0 | 3.3331 | 0.42542 | 0 | 1.9321 | 1 | -5.8373 | 4.4154 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.6387 | 24.5071 | 8.1877 | 0.04892 | 0.89752 | 2.493 | 5.5721 | 0 | 2.4877 | 5.725 | 0 | 2.4999 | 1 | 0.080006 | 2.0419 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.305 | 343.2405 | 101.2687 | 0.053543 | 0.84071 | 2.412 | 6.1921 | 0 | 2.4419 | 6.5921 | 0 | 2.336 | 1 | -0.26464 | 4.0806 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32706 | 36.7716 | 12.5603 | 0.046155 | 1.194 | 5.8896 | 0.18542 | 0 | 6.65 | 0.42542 | 0 | 5.3616 | 1 | -5.3684 | 7.6454 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.305 | 104.8944 | 31.0541 | 0.053408 | 0.84674 | 5.7767 | 6.2321 | 0 | 5.7864 | 6.4187 | 0 | 5.7616 | 1 | -0.13283 | 6.6142 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2