## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567507252
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 166
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 166
Vial | 166
SampleLocation | 166
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 03-Sep-19, 11:40:52
SampleName | CS-135_0166
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 27.218
StopPressure | 60.567
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 25.5586
DAD1UVBurnTime | 172.2253
DAD1VisOnTime | 25.5581
DAD1VisBurnTime | 157.7364
StartLeftTemp | 39.999
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 6 | 3 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 6 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 9 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 23 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 3 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 5610.5474 | 1345.9362 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 2 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 2932.0574 | 655.7376 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 1 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 1279.4617 | 356.5066 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
Modified | 1 | 5 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 620.0164 | 176.5073 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 4 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 390.236 | 112.2754 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 21 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 426.9698 | 128.2544 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 10 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 353.0024 | 107.1373 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0
|  | 17 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0166.D | 102.2356 | 30.6365 | 0 | 0 | 0 | 0 | 0.0029167 | 8.4962 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 25 | 8 | 3 | 2 | 1 | 4 | 0 | 0 | 0 | 1.4631 | 0 | BB | 81.2178 | 10.3859 | 0.10323 | 0.59793 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.2962 | 1.6096 | 0.0066667 | 89 | -1 | 1.2962 | 0.3 | 22.9043 | 1.2962 | 0.3 | 22.9656 | 1.4077 | 0.19422 | 34.659 | 22.8234 | 49.0081 | 21.5267 | 1.4396 | 29.638 | 1.5863 | 24.6269 | 1.4269 | 0.14 | 27.5611 | 0.060826 | -0.28579 | -0.35978 | 81.2178 | 1.4822 | 0.0036999 | -6.4316e-05 | 3.6142e-05 | 0.9 | 907.7465 | 594.4792 | 604.9129 | 593.7792 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4629 | 1.2962 | 0.29733 | 0.892 | 0.784 | 399.7043 | -1 | -1
NumberOfCol | 81 | 7 | 2 | 3 | 1 | 4 | 0 | 0 | 0 | 1.4632 | 0 | BB | 753.0079 | 33.5853 | 0.27358 | 4.0512 | 0 |  | -1 | -1 | 2 | -1 | 124 | 243 | 0.82292 | 1.6063 | 0.0066667 | 130 | -1 | 1.1362 | 0.47003 | 24.0771 | 1.1379 | 0.46836 | 24.2763 | 1.3762 | 0.22246 | 60.3446 | 18.0014 | 90.2264 | 29.8402 | 1.4398 | 48.9785 | 1.5823 | 37.1494 | 1.3862 | 0.19167 | 39.2184 | 0.17822 | -0.2523 | -0.97942 | 757.205 | 1.2872 | 0.031763 | -0.0014282 | 0.0020386 | 0.72055 | 691.9446 | 242.178 | 322.7422 | 52.1598 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4629 | 1.1596 | 0.44669 | 0.73631 | 0.47261 | 132.8792 | -1 | -1
NumberOfHead | 9 | 6 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 1.4632 | 0 | BB | 1206.4028 | 49.1782 | 0.2982 | 4.5263 | 0 |  | -1 | -1 | 1 | -1 | 120 | 242 | 0.79625 | 1.6053 | 0.0066667 | 133 | -1 | 1.1313 | 0.47406 | 16.9336 | 1.1329 | 0.4724 | 17.2255 | 1.3705 | 0.22729 | 69.7347 | 6.7846 | 113.0284 | 26.4841 | 1.4398 | 53.8289 | 1.5815 | 36.9954 | 1.3729 | 0.205 | 39.1189 | 0.1828 | -0.20881 | -0.98843 | 1203.7796 | 1.2716 | 0.033416 | -0.0012755 | 0.0022461 | 0.71575 | 662.8053 | 238.072 | 282.1248 | 48.3929 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4629 | 1.1529 | 0.4524 | 0.72967 | 0.45934 | 127.239 | -1 | -1
Modified | 1 | 19 | 5 | 5 | 2 | 4 | 0 | 0 | 0 | 2.0511 | 0 | BB | 63.7665 | 13.9011 | 0.069517 | 0.58684 | 0 |  | -1 | -1 | 5 | -1 | 287 | 349 | 1.9763 | 2.3174 | 0.0066667 | 73 | -1 | 1.9982 | 0.15619 | 18.9617 | 1.9982 | 0.15429 | 19.0438 | 2.004 | 0.12536 | 35.9827 | 18.3488 | 33.8 | 18.3793 | 2.0249 | 26.1658 | 2.0811 | 27.8801 | 2.022 | 0.073333 | 25.1992 | 0.033307 | 0.91166 | 1.9334 | 63.7646 | 2.0649 | 0.0011094 | 3.3686e-05 | 6.0717e-06 | 1.5 | 4277.0033 | 4304.8901 | 4327.5099 | 3843.4682 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0496 | 2.0029 | 0.13524 | 1.449 | 1.898 | 3042.5662 | -1 | -1
NextPeakSignal_ | Peak | 14 | 4 | 7 | 2 | 4 | 0 | 0 | 0 | 2.0511 | 0 | BB | 130.5247 | 28.2649 | 0.069876 | 0.58351 | 0 |  | -1 | -1 | 4 | -1 | 287 | 341 | 1.9429 | 2.2596 | 0.0066667 | 65 | -1 | 1.9979 | 0.15917 | 26.9768 | 1.9988 | 0.15583 | 27.1437 | 2.0039 | 0.12591 | 61.5971 | 25.7218 | 57.1282 | 25.8078 | 2.0251 | 41.8525 | 2.0805 | 45.4297 | 2.0221 | 0.073333 | 39.6602 | 0.033305 | 0.78399 | 1.0042 | 130.5031 | 2.0651 | 0.0011092 | 2.8963e-05 | 4.9268e-06 | 1.5328 | 4239.9022 | 4145.4046 | 4327.5099 | 3844.7707 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0496 | 2.0029 | 0.13583 | 1.4554 | 1.9107 | 3003.7879 | -1 | -1
Signal_ | Signal | 9 | 1 | 4 | 2 | 3 | 0 | 0 | 0 | 2.0511 | 0 | BB | 675.6132 | 143.0241 | 0.071111 | 0.57016 | 0 |  | -1 | -1 | 1 | -1 | 287 | 341 | 1.9296 | 2.2591 | 0.0066667 | 65 | -1 | 1.9971 | 0.16833 | 57.398 | 1.9979 | 0.16333 | 58.2427 | 2.0036 | 0.12738 | 232.5314 | 50.9692 | 209.7008 | 51.6191 | 2.0251 | 132.9955 | 2.0805 | 151.5496 | 2.0213 | 0.075 | 121.5938 | 0.035345 | 0.89153 | 1.3469 | 675.4818 | 2.0664 | 0.0012493 | 3.9365e-05 | 6.7838e-06 | 1.5806 | 4142.0532 | 3706.2177 | 4137.3132 | 3418.1924 | 3.3153 | 2.288 | 2.4672 | 2.4777 | -1 | -1 | -1 | -1 | 1.8217 | 1.4018 | -1 | -1 | -1 | 2.0496 | 2.0029 | 0.14 | 1.5 | 2 | 2749.9689 | -1 | -1
NextPeakComp_ | Peak | 11 | 2 | 8 | 2 | 4 | 0 | 0 | 0 | 2.0512 | 0 | BB | 455.0189 | 96.1904 | 0.071188 | 0.56933 | 0 |  | -1 | -1 | 2 | -1 | 287 | 341 | 1.9296 | 2.2587 | 0.0066667 | 65 | -1 | 1.9971 | 0.17 | 51.1444 | 1.9979 | 0.16417 | 51.7125 | 2.0036 | 0.12749 | 168.9473 | 46.7943 | 153.5614 | 47.3062 | 2.0251 | 101.9476 | 2.0805 | 114.5453 | 2.0213 | 0.075 | 94.3158 | 0.035468 | 0.89694 | 1.3606 | 454.9397 | 2.0666 | 0.001258 | 4.0019e-05 | 6.9006e-06 | 1.5887 | 4135.4395 | 3633.903 | 4137.3132 | 3394.8843 | 3.3606 | 2.2968 | 2.5909 | 2.6019 | -1 | -1 | -1 | -1 | 1.8237 | 1.4019 | -1 | -1 | -1 | 2.0496 | 2.0029 | 0.14 | 1.5 | 2 | 2749.9689 | -1 | -1
Compound_ | Compound | 13 | 3 | 6 | 2 | 4 | 0 | 0 | 0 | 2.0512 | 0 | BB | 241.7371 | 51.5048 | 0.070757 | 0.57348 | 0 |  | -1 | -1 | 3 | -1 | 287 | 341 | 1.9296 | 2.2584 | 0.0066667 | 65 | -1 | 1.9971 | 0.16667 | 31.0961 | 1.9979 | 0.16167 | 31.4002 | 2.0038 | 0.12695 | 94.1813 | 28.7757 | 85.9661 | 29.0255 | 2.0251 | 58.2416 | 2.0805 | 64.9542 | 2.0221 | 0.074167 | 54.2087 | 0.034806 | 0.87206 | 1.2898 | 241.7044 | 2.0661 | 0.0012114 | 3.677e-05 | 6.2955e-06 | 1.5645 | 4170.4722 | 3780.7127 | 4230.8089 | 3523.8981 | 3.662 | 3.1503 | 3.2263 | 3.2401 | -1 | -1 | -1 | -1 | 3.0531 | 1.4019 | -1 | -1 | -1 | 2.0496 | 2.0029 | 0.13917 | 1.4911 | 1.9821 | 2798.377 | -1 | -1
RTRatioRefComp_ | Compound | 12 | 1 | 9 | 3 | 3 | 0 | 0 | 0 | 4.9356 | 0 | BV | 25.7864 | 5.5948 | 0.065771 | 0.39426 | 0 |  | -1 | -1 | 1 | -1 | 721 | 816 | 4.8896 | 5.4271 | 0.0066667 | 106 | -1 | 4.8896 | 0.10533 | 68.7562 | 4.8896 | 0.10133 | 68.7888 | 4.8997 | 0.07606 | 75.5686 | 69.0371 | 75.4207 | 67.9556 | 4.914 | 71.6472 | 4.9549 | 71.8312 | 4.9109 | 0.049333 | 71.2353 | 0.068355 | 1.68 | 2.2604 | 22.3961 | 4.9744 | 0.0046724 | 0.00053656 | 0.00011484 | 1.0857 | 67390.5227 | 54903.5987 | 55465.5261 | 5295.8956 | 28.3563 | 26.3502 | 27.2594 | 27.3754 | -1 | -1 | -1 | -1 | 14.0211 | 2.4063 | -1 | 24.2717 | 24.2717 | 4.9363 | 4.8896 | 0.089334 | 0.95714 | 0.91428 | 54323.639 | -1 | -1
|  | 22 | 7 | 11 | 4 | 4 | 0 | 0 | 0 | 5.5463 | 0 | BB | 20.3562 | 7.318 | 0.044453 | 0.84927 | 0 |  | -1 | -1 | 7 | -1 | 819 | 854 | 5.5029 | 5.6163 | 0.0066667 | 46 | -1 | 5.5029 | 0.08606 | 7.9736 | 5.5029 | 0.085454 | 8.0154 | 5.5111 | 0.074283 | 16.8934 | 8.0095 | 16.7328 | 7.2109 | 5.5267 | 11.9382 | 5.5659 | 11.9612 | 5.5229 | 0.047273 | 11.1493 | 0.017607 | 0.22543 | -0.29448 | 20.3562 | 5.5487 | 0.00031001 | 1.2305e-06 | 2.6002e-07 | 1.0682 | 89088.3309 | 103707.3132 | 76166.7012 | 99311.8527 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.5429 | 5.5047 | 0.080606 | 1.0556 | 1.1111 | 83514.3173 | -1 | -1
|  | 16 | 2 | 13 | 4 | 4 | 0 | 0 | 0 | 5.5463 | 0 | BB | 625.838 | 193.5899 | 0.049716 | 1.0327 | 0 |  | -1 | -1 | 2 | -1 | 795 | 856 | 5.2962 | 5.6562 | 0.0066667 | 72 | -1 | 5.461 | 0.14095 | 112.7715 | 5.4639 | 0.13714 | 113.888 | 5.5068 | 0.080444 | 346.2187 | 104.3292 | 339.8656 | 104.808 | 5.5253 | 217.3193 | 5.5665 | 224.3013 | 5.521 | 0.051429 | 197.6279 | 0.026193 | -0.83506 | 2.6545 | 625.838 | 5.5441 | 0.00068605 | -1.5005e-05 | 2.6613e-06 | 0.8 | 76147.2126 | 38753.9461 | 64509.1913 | 44803.2889 | 33.6185 | 28.1004 | 32.4832 | 32.6214 | -1 | -1 | -1 | -1 | 28.1993 | 2.704 | -1 | -1 | -1 | 5.5496 | 5.502 | 0.091429 | 0.96 | 0.92 | 65741.9087 | -1 | -1
|  | 15 | 1 | 10 | 4 | 3 | 0 | 0 | 0 | 5.5463 | 0 | VB | 1990.5079 | 631.7615 | 0.048758 | 0.94879 | 0 |  | -1 | -1 | 1 | -1 | 815 | 893 | 5.4271 | 5.9429 | 0.0066667 | 89 | -1 | 5.4962 | 0.10667 | 86.5285 | 5.4976 | 0.104 | 90.1739 | 5.5068 | 0.081042 | 845.122 | 60.4048 | 820.4694 | 59.2525 | 5.5244 | 410.5746 | 5.5668 | 444.2947 | 5.5216 | 0.050667 | 363.5729 | 0.025574 | 1.6917 | 24.6367 | 1986.6616 | 5.5444 | 0.00065404 | 2.8296e-05 | 1.1822e-05 | 1 | 75027.4897 | 67671.1124 | 66463.9048 | 47000.889 | 7.7747 | 7.2018 | 7.1759 | 7.2064 | -1 | -1 | -1 | -1 | 3.0342 | 1.1237 | 2740.7261 | -1 | 2740.7261 | 5.5496 | 5.5029 | 0.090667 | 0.97143 | 0.94286 | 67613.8402 | -1 | -1
|  | 18 | 3 | 14 | 4 | 4 | 0 | 0 | 0 | 5.5464 | 0 | BB | 424.8722 | 133.526 | 0.049123 | 1.0056 | 0 |  | -1 | -1 | 3 | -1 | 798 | 856 | 5.3162 | 5.6429 | 0.0066667 | 69 | -1 | 5.4943 | 0.10857 | 89.6509 | 5.4962 | 0.10571 | 90.4211 | 5.5071 | 0.080115 | 251.4378 | 83.3806 | 246.3123 | 84.5528 | 5.5256 | 162.6499 | 5.5665 | 166.7807 | 5.521 | 0.051429 | 148.1902 | 0.024811 | -0.66559 | 1.9578 | 424.8838 | 5.545 | 0.0006156 | -1.0166e-05 | 1.8788e-06 | 0.99107 | 76773.0565 | 65317.5157 | 64509.1913 | 49947.0137 | 33.7596 | 31.7473 | 32.6994 | 32.8385 | -1 | -1 | -1 | -1 | 29.177 | 2.704 | -1 | -1 | -1 | 5.5496 | 5.5029 | 0.091429 | 0.97959 | 0.95918 | 67015.2313 | -1 | -1
|  | 20 | 4 | 12 | 4 | 4 | 0 | 0 | 0 | 5.5464 | 0 | BB | 163.4606 | 49.9424 | 0.050185 | 1.0779 | 0 |  | -1 | -1 | 4 | -1 | 813 | 856 | 5.4163 | 5.6362 | 0.0066667 | 54 | -1 | 5.4607 | 0.1437 | 52.4814 | 5.4629 | 0.13926 | 52.7695 | 5.5071 | 0.080077 | 113.0827 | 49.9849 | 111.2076 | 50.7073 | 5.526 | 80.3999 | 5.5663 | 81.6835 | 5.5214 | 0.051111 | 74.3779 | 0.026868 | -0.7936 | 1.484 | 163.4672 | 5.5431 | 0.00072188 | -1.5392e-05 | 2.3366e-06 | 0.80342 | 76847.2159 | 37284.201 | 65313.0364 | 42564.23 | 33.938 | 28.8517 | 33.0028 | 33.1432 | -1 | -1 | -1 | -1 | 28.8999 | 2.7041 | -1 | -1 | -1 | 5.5496 | 5.5022 | 0.091852 | 0.96875 | 0.9375 | 65707.8756 | -1 | -1
|  | 23 | 1 | 16 | 5 | 3 | 0 | 0 | 0 | 6.2936 | 0 | BB | 1660.3333 | 498.1448 | 0.050885 | 0.85555 | 0 |  | -1 | -1 | 1 | -1 | 929 | 977 | 6.222 | 6.5029 | 0.0066667 | 59 | -1 | 6.2438 | 0.11167 | 70.701 | 6.2446 | 0.10917 | 73.6035 | 6.2512 | 0.089486 | 665.4176 | 50.0571 | 638.3193 | 48.7821 | 6.2725 | 358.3557 | 6.3133 | 391.1997 | 6.2671 | 0.055 | 291.2963 | 0.022687 | 0.55094 | 1.412 | 1660.3015 | 6.2958 | 0.0005147 | 6.4333e-06 | 1.1688e-06 | 1.0565 | 79208.2205 | 79479.8121 | 72601.9547 | 77010.9153 | 8.7643 | 8.5567 | 8.3097 | 8.3451 | -1 | -1 | -1 | -1 | 7.785 | 1.1347 | -1 | -1 | -1 | 6.2962 | 6.2488 | 0.0975 | 1.0263 | 1.0526 | 75520.7501 | -1 | -1
|  | 24 | 2 | 17 | 5 | 4 | 0 | 0 | 0 | 6.2936 | 0 | BB | 1061.2202 | 319.369 | 0.050767 | 0.86122 | 0 |  | -1 | -1 | 2 | -1 | 929 | 968 | 6.2096 | 6.4079 | 0.0066667 | 50 | -1 | 6.2443 | 0.11133 | 122.1038 | 6.2449 | 0.10933 | 123.9647 | 6.2514 | 0.089167 | 502.8934 | 108.1529 | 485.1432 | 108.7584 | 6.2732 | 311.5088 | 6.3127 | 332.3671 | 6.2676 | 0.054667 | 263.5278 | 0.022137 | 0.33291 | 0.13749 | 1061.3054 | 6.2965 | 0.00049006 | 3.6116e-06 | 7.5349e-07 | 1.0649 | 79776.0178 | 79956.4516 | 73490.0437 | 80901.5021 | 8.8122 | 7.4055 | 8.2766 | 8.3118 | -1 | -1 | -1 | -1 | 7.7842 | 1.1347 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.096667 | 1.0357 | 1.0714 | 76206.3518 | -1 | -1
|  | 17 | 8 | 18 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 102.2356 | 30.6365 | 0.050932 | 0.85453 | 0 |  | -1 | -1 | 8 | -1 | 929 | 986 | 6.2029 | 6.5629 | 0.0066667 | 68 | -1 | 6.2439 | 0.11143 | 10.687 | 6.2448 | 0.10952 | 10.8656 | 6.2513 | 0.089515 | 47.2424 | 9.3892 | 45.5441 | 9.366 | 6.2716 | 27.5605 | 6.3143 | 29.6927 | 6.2667 | 0.055238 | 24.2579 | 0.023515 | 0.9854 | 4.9732 | 102.2356 | 6.297 | 0.00055297 | 1.2813e-05 | 2.438e-06 | 1.0648 | 79157.9901 | 79819.8323 | 71977.4246 | 71708.3042 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.097143 | 1.0408 | 1.0816 | 75130.8165 | -1 | -1
|  | 25 | 3 | 19 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 517.845 | 156.0447 | 0.050717 | 0.86496 | 0 |  | -1 | -1 | 3 | -1 | 929 | 968 | 6.2096 | 6.3965 | 0.0066667 | 50 | -1 | 6.2449 | 0.112 | 101.1093 | 6.2456 | 0.10933 | 102.0186 | 6.2514 | 0.089106 | 287.3596 | 93.7327 | 278.3048 | 95.141 | 6.2731 | 193.2149 | 6.3127 | 204.0922 | 6.2676 | 0.054667 | 170.214 | 0.022033 | 0.3124 | 0.06535 | 517.83 | 6.2965 | 0.00048546 | 3.3416e-06 | 7.2243e-07 | 1.0789 | 79886.2291 | 79007.422 | 73490.0437 | 81666.0049 | 8.8324 | 8.4702 | 8.2765 | 8.3117 | -1 | -1 | -1 | -1 | 8.0209 | 1.1347 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.097333 | 1.0429 | 1.0857 | 74706.2733 | -1 | -1
|  | 4 | 5 | 20 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 326.4695 | 98.3742 | 0.050718 | 0.86299 | 0 |  | -1 | -1 | 5 | -1 | 929 | 968 | 6.2096 | 6.4055 | 0.0066667 | 50 | -1 | 6.2443 | 0.11133 | 29.7835 | 6.2449 | 0.10933 | 30.3568 | 6.2515 | 0.089065 | 147.1397 | 25.4346 | 141.5893 | 25.7227 | 6.2731 | 87.8913 | 6.3127 | 94.6542 | 6.2676 | 0.054667 | 73.3534 | 0.022073 | 0.32335 | 0.10813 | 326.4263 | 6.2965 | 0.00048722 | 3.4775e-06 | 7.3783e-07 | 1.0649 | 79959.953 | 79956.4516 | 73490.0437 | 81372.1738 | 39.5723 | 39.6471 | 38.9459 | 39.1117 | -1 | -1 | -1 | -1 | 38.205 | 3.0685 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.096667 | 1.0357 | 1.0714 | 76206.3518 | -1 | -1
|  | 5 | 4 | 21 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 326.0311 | 98.3 | 0.050695 | 0.86555 | 0 |  | -1 | -1 | 4 | -1 | 929 | 968 | 6.2162 | 6.3962 | 0.0066667 | 50 | -1 | 6.2449 | 0.112 | 61.1518 | 6.2456 | 0.10933 | 61.7246 | 6.2514 | 0.089053 | 178.4975 | 56.4908 | 172.7769 | 57.4061 | 6.2731 | 119.1064 | 6.3127 | 126.0344 | 6.2676 | 0.054667 | 104.6847 | 0.02202 | 0.31167 | 0.064974 | 326.0311 | 6.2965 | 0.00048486 | 3.3275e-06 | 7.2056e-07 | 1.0789 | 79980.4334 | 79007.422 | 73490.0437 | 81766.9672 | 8.8368 | 7.3062 | 8.301 | 8.3363 | -1 | -1 | -1 | -1 | 7.7054 | 1.1347 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.097333 | 1.0429 | 1.0857 | 74706.2733 | -1 | -1
|  | 21 | 6 | 22 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 426.9698 | 128.2544 | 0.050839 | 0.85748 | 0 |  | -1 | -1 | 6 | -1 | 929 | 977 | 6.1962 | 6.504 | 0.0066667 | 59 | -1 | 6.2446 | 0.11083 | 21.1649 | 6.2446 | 0.10917 | 21.9124 | 6.2514 | 0.089318 | 174.4348 | 15.6767 | 167.2354 | 15.6893 | 6.2725 | 94.7196 | 6.3134 | 103.9278 | 6.2671 | 0.055 | 77.9773 | 0.022786 | 0.60068 | 1.7526 | 426.9691 | 6.2968 | 0.00051918 | 7.106e-06 | 1.2811e-06 | 1.0565 | 79507.5726 | 80679.4904 | 72601.9547 | 76370.4071 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.096667 | 1.0357 | 1.0714 | 76206.3518 | -1 | -1
|  | 10 | 7 | 15 | 5 | 4 | 0 | 0 | 0 | 6.2937 | 0 | BB | 332.6463 | 99.8193 | 0.050879 | 0.85596 | 0 |  | -1 | -1 | 7 | -1 | 929 | 985 | 6.1962 | 6.5563 | 0.0066667 | 67 | -1 | 6.2439 | 0.11143 | 10.9833 | 6.2448 | 0.10952 | 11.5651 | 6.2514 | 0.089413 | 130.1753 | 6.7261 | 124.5661 | 6.7073 | 6.2719 | 66.6196 | 6.3142 | 73.2799 | 6.2677 | 0.054286 | 55.2015 | 0.023149 | 0.7914 | 3.2978 | 332.6463 | 6.297 | 0.00053587 | 9.817e-06 | 1.8084e-06 | 1.0648 | 79339.0294 | 79819.8323 | 74525.102 | 73995.3888 | 9.132 | 9.4617 | 8.6476 | 8.6844 | -1 | -1 | -1 | -1 | 9.1802 | 1.1348 | -1 | -1 | -1 | 6.2962 | 6.2496 | 0.097143 | 1.0408 | 1.0816 | 75130.8165 | -1 | -1
|  | 3 | 1 | 24 | 6 | 3 | 0 | 0 | 0 | 6.6993 | 0 | BB | 51.9037 | 18.2327 | 0.045212 | 0.85619 | 0 |  | -1 | -1 | 1 | -1 | 992 | 1027 | 6.6496 | 6.7696 | 0.0066667 | 46 | -1 | 6.6496 | 0.091515 | 45.8118 | 6.6496 | 0.091515 | 45.9163 | 6.6632 | 0.075627 | 67.7225 | 46.158 | 67.8114 | 43.6103 | 6.68 | 56.1918 | 6.7192 | 55.6236 | 6.675 | 0.047879 | 53.7591 | 0.018148 | 0.20131 | -0.24446 | 51.9037 | 6.7015 | 0.00032935 | 1.2032e-06 | 2.9889e-07 | 0.98052 | 125438.3786 | 133849.6937 | 108364.4396 | 136362.8596 | 4.9139 | 4.9915 | 4.6333 | 4.653 | -1 | -1 | -1 | -1 | 4.9678 | 1.0645 | -1 | -1 | -1 | 6.6963 | 6.6538 | 0.084242 | 0.99286 | 0.98571 | 116350.0908 | -1 | -1
|  | 2 | 2 | 25 | 6 | 4 | 0 | 0 | 0 | 6.6999 | 0 | BB | 36.9724 | 13.0029 | 0.045173 | 0.92867 | 0 |  | -1 | -1 | 2 | -1 | 992 | 1027 | 6.6496 | 6.7696 | 0.0066667 | 46 | -1 | 6.6556 | 0.092121 | 112.3571 | 6.6562 | 0.090303 | 112.4321 | 6.663 | 0.075684 | 128.3287 | 111.9338 | 127.8598 | 111.6944 | 6.68 | 119.5031 | 6.7192 | 119.798 | 6.6762 | 0.048485 | 118.0535 | 0.018095 | 0.18108 | -0.2668 | 36.9724 | 6.7013 | 0.00032743 | 1.0729e-06 | 2.9303e-07 | 0.96753 | 125498.1512 | 132357.4408 | 105882.7761 | 137150.0614 | 4.9282 | 4.9914 | 4.6271 | 4.6468 | -1 | -1 | -1 | -1 | 5.0302 | 1.0645 | -1 | -1 | -1 | 6.7029 | 6.6599 | 0.082424 | 0.95775 | 0.91549 | 117736.1478 | -1 | -1
|  | 1 | 3 | 23 | 6 | 4 | 0 | 0 | 0 | 6.7008 | 0 | BB | 13.7896 | 5.0452 | 0.043888 | 1.0341 | 0 |  | -1 | -1 | 3 | -1 | 993 | 1026 | 6.6496 | 6.7539 | 0.0066667 | 44 | -1 | 6.664 | 0.089891 | 102.3024 | 6.6646 | 0.089335 | 102.3314 | 6.6639 | 0.073384 | 108.7074 | 101.6354 | 108.1731 | 102.4896 | 6.68 | 104.7209 | 6.7191 | 105.3197 | 6.6785 | 0.047222 | 104.5097 | 0.017096 | 0.13004 | -0.41004 | 13.8882 | 6.7009 | 0.00029228 | 6.4979e-07 | 2.2125e-07 | 1.1652 | 133490.5308 | 139006.9395 | 111620.6542 | 153629.8553 | 5.0108 | 5.0411 | 4.6947 | 4.7147 | -1 | -1 | -1 | -1 | 5.1678 | 1.0647 | -1 | -1 | -1 | 6.7029 | 6.6662 | 0.087669 | 1.1955 | 1.391 | 92302.3467 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/03/19 11:49:27
ResNewDateTime | 03 September 2019 11:49:27
ResModBy | SYSTEM
ResModTime | 09/03/19 11:49:28
ResModDateTime | 03 September 2019 11:49:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5610.5474

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5610.5474

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2932.0574

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1279.4617

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 620.0164

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 390.236

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 426.9698

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 353.0024

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 102.2356

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5610.5474

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2932.0574

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1279.4617

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 620.0164

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 390.236

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 426.9698

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 353.0024

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 102.2356

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 1.4632 | 1206.4028 | 49.1782 | 0.2982 | 4.5263 | 14.818 | 0.79625 | 0 | -42.9869 | 1.6053 | 7.1054e-15 | 27.1343 | 1 | 86.6697 | -111.9976 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0511 | 675.6132 | 143.0241 | 0.071111 | 0.57016 | 51.2116 | 1.9296 | 0 | 50.5915 | 2.2591 | 0 | 52.2728 | 1 | 5.1019 | 40.747 | 0 | 0 | 0
NumberOfHead | 9 | 2 | 8 | 4.9356 | 25.7864 | 5.5948 | 0.065771 | 0.39426 | 68.526 | 4.8896 | 0 | 69.1805 | 5.4271 | 0.23051 | 61.5373 | 1 | -14.2186 | 138.7038 | 0 | 0 | 0
Modified | 1 | 32 | 8 | 5.5463 | 1990.5079 | 631.7615 | 0.048758 | 0.94879 | 59.8425 | 5.4271 | 0.23051 | 61.5373 | 5.9429 | 0 | 54.2035 | 1 | -14.2186 | 138.7038 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.2936 | 1660.3333 | 498.1448 | 0.050885 | 0.85555 | 49.4531 | 6.222 | 0 | 50.4733 | 6.5029 | 0 | 46.4706 | 1 | -14.2491 | 139.1313 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.6993 | 51.9037 | 18.2327 | 0.045212 | 0.85619 | 44.9427 | 6.6496 | -2.8422e-14 | 46.617 | 6.7696 | -2.8422e-14 | 42.5744 | 1 | -33.6885 | 270.6318 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 1.4632 | 753.0079 | 33.5853 | 0.27358 | 4.0512 | 22.629 | 0.82292 | 0 | -11.4441 | 1.6063 | -3.5527e-15 | 30.2455 | 1 | 53.219 | -55.2389 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0512 | 455.0189 | 96.1904 | 0.071188 | 0.56933 | 46.9851 | 1.9296 | 0 | 46.4969 | 2.2587 | 0 | 47.8185 | 1 | 4.0159 | 38.7479 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5463 | 625.838 | 193.5899 | 0.049716 | 1.0327 | 104.5642 | 5.2962 | 0 | 103.076 | 5.6562 | 0 | 105.2184 | 1 | 5.9512 | 71.557 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2936 | 1061.2202 | 319.369 | 0.050767 | 0.86122 | 108.44 | 6.2096 | 0 | 107.8691 | 6.4079 | 0 | 109.2158 | 1 | 6.7903 | 65.7045 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.6999 | 36.9724 | 13.0029 | 0.045173 | 0.92867 | 111.8171 | 6.6496 | 0 | 111.9762 | 6.7696 | 0 | 111.5966 | 1 | -3.163 | 133.0089 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 1.4631 | 81.2178 | 10.3859 | 0.10323 | 0.59793 | 22.4537 | 1.2962 | 0 | 23.5677 | 1.6096 | 0 | 21.4758 | 1 | -6.6762 | 32.2217 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0512 | 241.7371 | 51.5048 | 0.070757 | 0.57348 | 28.869 | 1.9296 | 0 | 28.6298 | 2.2584 | 0 | 29.2768 | 1 | 1.9677 | 24.8329 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5464 | 424.8722 | 133.526 | 0.049123 | 1.0056 | 83.9557 | 5.3162 | 0 | 80.5883 | 5.6429 | 0 | 85.367 | 1 | 14.6314 | 2.8044 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2937 | 517.845 | 156.0447 | 0.050717 | 0.86496 | 94.4012 | 6.2096 | 0 | 93.0715 | 6.3965 | 0 | 96.0259 | 1 | 15.8056 | -5.0748 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.7008 | 13.7896 | 5.0452 | 0.043888 | 1.0341 | 102.065 | 6.6496 | 0 | 101.4686 | 6.7539 | 0 | 102.6831 | 1 | 11.6408 | 24.0619 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 2.0511 | 130.5247 | 28.2649 | 0.069876 | 0.58351 | 25.754 | 1.9429 | 0 | 25.6801 | 2.2596 | 0 | 25.8965 | 1 | 0.68363 | 24.3518 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5464 | 163.4606 | 49.9424 | 0.050185 | 1.0779 | 50.3402 | 5.4163 | 0 | 49.1657 | 5.6362 | 0 | 51.1496 | 1 | 9.0211 | 0.3051 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2937 | 326.0311 | 98.3 | 0.050695 | 0.86555 | 56.9254 | 6.2162 | 0 | 56.129 | 6.3962 | 0 | 57.9791 | 1 | 10.2785 | -7.7647 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 2.0511 | 63.7665 | 13.9011 | 0.069517 | 0.58684 | 18.3602 | 1.9763 | 0 | 18.342 | 2.3174 | 0 | 18.4251 | 1 | 0.24347 | 17.8609 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2937 | 326.4695 | 98.3742 | 0.050718 | 0.86299 | 25.5712 | 6.2096 | 0 | 25.2991 | 6.4055 | 0 | 25.933 | 1 | 3.2349 | 5.2117 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.2937 | 426.9698 | 128.2544 | 0.050839 | 0.85748 | 15.6826 | 6.1962 | 0 | 15.6689 | 6.504 | 0 | 15.7123 | 1 | 0.14124 | 14.7937 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 5.5463 | 20.3562 | 7.318 | 0.044453 | 0.84927 | 7.6308 | 5.5029 | -7.1054e-15 | 8.0972 | 5.6163 | -7.1054e-15 | 6.8789 | 1 | -10.7499 | 67.2528 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2937 | 332.6463 | 99.8193 | 0.050879 | 0.85596 | 6.7172 | 6.1962 | 8.8818e-16 | 6.7377 | 6.5563 | 8.8818e-16 | 6.6619 | 1 | -0.2106 | 8.0427 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.2937 | 102.2356 | 30.6365 | 0.050932 | 0.85453 | 9.3782 | 6.2029 | 0 | 9.4018 | 6.5629 | 0 | 9.3083 | 1 | -0.25961 | 11.0121 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2