## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567442452
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 46
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 46
Vial | 46
SampleLocation | 46
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 17:40:52
SampleName | CS-135_0046
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.801
StopPressure | 68.291
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 7.5589
DAD1UVBurnTime | 154.2256
DAD1VisOnTime | 7.5583
DAD1VisBurnTime | 139.7367
StartLeftTemp | 39.998
StopLeftTemp | 39.999
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 9 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 34 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 36 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 7782.0338 | 1546.6604 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 5387.9776 | 850.9549 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 2297.907 | 442.1284 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 766.7512 | 206.8209 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 481.0995 | 137.5405 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 499.3575 | 150.3602 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 400.853 | 121.1048 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0046.D | 142.5598 | 43.4787 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 37 | 13 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.31751 | 0 | BB | 130.5501 | 29.4864 | 0.065654 | 1.0536 | 0 |  | -1 | -1 | 4 | -1 | 28 | 78 | 0.22542 | 0.42542 | 0.0066667 | 61 | -1 | 0.22542 | 0.13417 | 52.18 | 0.22542 | 0.13417 | 52.3527 | 0.27174 | 0.094325 | 82.7891 | 60.0114 | 93.7903 | 41.7543 | 0.30279 | 75.4648 | 0.34792 | 61.2032 | 0.22542 | 0.11833 | 65.3088 | 0.033082 | -0.092064 | -0.091214 | 130.5501 | 0.31496 | 0.0010944 | -3.3334e-06 | 3.4842e-06 | 0.71875 | 182.7116 | 141.1078 | 40.1972 | 90.6419 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.22542 | 0.13167 | 0.70536 | 0.41071 | 66.3243 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.31986 | 0 | BB | 1010.4611 | 90.0643 | 0.14489 | 2.1285 | 0 |  | -1 | -1 | 3 | -1 | 1 | 114 | 0.0054167 | 0.49208 | 0.0066667 | 119 | -1 | 0.032083 | 0.375 | 56.324 | 0.032083 | 0.375 | 56.8571 | 0.21598 | 0.18804 | 145.6552 | 72.7165 | 161.762 | 35.5672 | 0.30514 | 135.3205 | 0.34956 | 117.2234 | 0.032083 | 0.33333 | 96.8456 | 0.090671 | -0.4941 | -0.36834 | 1010.461 | 0.26792 | 0.0082213 | -0.00036832 | 0.00017787 | 0.65407 | 45.9731 | 18.0625 | 5.0659 | 8.7314 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.31875 | 0.032083 | 0.37 | 0.64535 | 0.2907 | 6.5987 | -1 | -1
NumberOfHead | 9 | 12 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32091 | 0 | BB | 60.5704 | 17.2332 | 0.053005 | 1.2666 | 0 |  | -1 | -1 | 5 | -1 | 32 | 73 | 0.21208 | 0.41208 | 0.0066667 | 52 | -1 | 0.21208 | 0.148 | 21.4437 | 0.21208 | 0.148 | 21.5451 | 0.28604 | 0.073319 | 40.8615 | 22.7601 | 47.4254 | 18.925 | 0.30852 | 34.429 | 0.34882 | 26.7374 | 0.29275 | 0.052667 | 29.1475 | 0.029962 | -0.78442 | 0.38127 | 60.5704 | 0.31207 | 0.00089769 | -2.1098e-05 | 2.7248e-06 | 0.65294 | 315.1885 | 120.8638 | 211.5036 | 108.4843 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.21208 | 0.146 | 0.64412 | 0.28824 | 43.8959 | -1 | -1
Modified | 1 | 19 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32455 | 0 | BB | 41.7158 | 13.7445 | 0.047409 | 1.2141 | 0 |  | -1 | -1 | 6 | -1 | 30 | 71 | 0.19875 | 0.40542 | 0.0066667 | 52 | -1 | 0.19875 | 0.16467 | 12.0574 | 0.19875 | 0.164 | 12.1394 | 0.29262 | 0.066208 | 29.3571 | 11.827 | 32.4874 | 11.0775 | 0.30858 | 20.5861 | 0.34878 | 17.3526 | 0.30275 | 0.044667 | 18.2923 | 0.027611 | -1.3355 | 2.0712 | 41.7158 | 0.31694 | 0.00076234 | -2.8111e-05 | 2.9472e-06 | 0.64737 | 386.5273 | 97.6356 | 294.0507 | 131.7644 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.19875 | 0.162 | 0.63947 | 0.27895 | 34.8015 | -1 | -1
NextPeakSignal_ | Peak | 20 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32522 | 0 | BB | 37.5288 | 12.5545 | 0.046875 | 1.2113 | 0 |  | -1 | -1 | 7 | -1 | 29 | 71 | 0.19208 | 0.41208 | 0.0066667 | 53 | -1 | 0.19208 | 0.17259 | 2.9943 | 0.19208 | 0.17185 | 3.0692 | 0.29324 | 0.065566 | 19.1078 | 2.6462 | 21.3264 | 2.2362 | 0.30861 | 10.5588 | 0.34865 | 8.006 | 0.30319 | 0.044444 | 8.6867 | 0.02766 | -1.4258 | 2.5976 | 37.5288 | 0.31778 | 0.00076508 | -3.0172e-05 | 3.2766e-06 | 0.64444 | 394.1374 | 88.8741 | 296.9986 | 131.9925 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.23875 | 0.12296 | 0.7094 | 0.4188 | 80.2848 | -1 | -1
Signal_ | Signal | 28 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32568 | 0 | BB | 37.2614 | 12.4335 | 0.046963 | 1.2207 | 0 |  | -1 | -1 | 8 | -1 | 29 | 71 | 0.19208 | 0.41875 | 0.0066667 | 53 | -1 | 0.19208 | 0.17259 | 6.3862 | 0.19208 | 0.17259 | 6.4603 | 0.29335 | 0.065826 | 22.4257 | 6.0283 | 24.3589 | 5.648 | 0.30862 | 13.7728 | 0.34866 | 11.5238 | 0.30394 | 0.044444 | 12.0159 | 0.02765 | -1.4075 | 2.6127 | 37.2614 | 0.31825 | 0.00076453 | -2.9753e-05 | 3.2806e-06 | 0.64722 | 391.03 | 88.8741 | 296.9986 | 132.477 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32542 | 0.24319 | 0.11852 | 0.72072 | 0.44144 | 89.4293 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33457 | 0 | BB | 1542.7249 | 144.131 | 0.13888 | 1.9884 | 0 |  | -1 | -1 | 2 | -1 | 1 | 114 | 0.0054167 | 0.50542 | 0.0066667 | 119 | -1 | 0.032083 | 0.39667 | 46.6922 | 0.032083 | 0.395 | 47.549 | 0.23593 | 0.19849 | 197.1964 | 63.8918 | 202.6161 | 15.4186 | 0.30972 | 163.6112 | 0.3775 | 122.1357 | 0.032083 | 0.35167 | 111.804 | 0.092146 | -0.6057 | -0.198 | 1542.7248 | 0.28551 | 0.0084909 | -0.0004739 | 0.00020201 | 0.65833 | 44.7847 | 17.522 | 4.9402 | 9.6002 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33208 | 0.032083 | 0.38833 | 0.64722 | 0.29444 | 6.5633 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34258 | 0 | BB | 1532.7104 | 167.5349 | 0.12673 | 1.579 | 0 |  | -1 | -1 | 1 | -1 | 1 | 110 | 0.0054167 | 0.51875 | 0.0066667 | 115 | -1 | 0.032083 | 0.41333 | -10.7915 | 0.032083 | 0.41167 | -9.7975 | 0.2652 | 0.17436 | 169.7049 | -4.0099 | 170.5113 | -34.5953 | 0.31494 | 107.6558 | 0.37975 | 91.9031 | 0.27542 | 0.11667 | 64.7493 | 0.089488 | -0.8072 | 0.27446 | 1532.7105 | 0.30584 | 0.0080081 | -0.00057846 | 0.00020999 | 0.65691 | 62.7908 | 17.4593 | 48.5627 | 11.6806 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34542 | 0.032083 | 0.40333 | 0.64362 | 0.28723 | 6.4639 | -1 | -1
RTRatioRefComp_ | Compound | 16 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4609 | 0 | BB | 76.5921 | 10.1673 | 0.10189 | 0.5822 | 0 |  | -1 | -1 | 3 | -1 | 189 | 266 | 1.3188 | 1.6054 | 0.0066667 | 88 | -1 | 1.3188 | 0.26667 | 18.5163 | 1.3188 | 0.26667 | 18.5759 | 1.4063 | 0.19275 | 29.8207 | 18.9292 | 43.2084 | 15.8019 | 1.4386 | 25.3563 | 1.5836 | 18.8805 | 1.4232 | 0.086667 | 23.0481 | 0.057942 | -0.16197 | -0.52682 | 76.5921 | 1.4814 | 0.0033573 | -3.1507e-05 | 2.7876e-05 | 0.95238 | 916.4113 | 748.1081 | 1569.5217 | 653.6333 | 5.9932 | 4.4458 | 3.1923 | 3.2059 | -1 | -1 | -1 | -1 | 4.0825 | 4.5675 | -1 | -1 | -1 | 1.4587 | 1.3188 | 0.26444 | 0.94444 | 0.88889 | 534.2757 | -1 | -1
|  | 15 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.461 | 0 | BB | 817.0425 | 35.9673 | 0.27902 | 4.2253 | 0 |  | -1 | -1 | 2 | -1 | 126 | 242 | 0.83875 | 1.604 | 0.0066667 | 127 | -1 | 1.1138 | 0.49027 | 15.9557 | 1.1154 | 0.4886 | 16.1695 | 1.3624 | 0.23396 | 54.1039 | 9.395 | 81.8279 | 21.5129 | 1.4384 | 43.8855 | 1.5796 | 28.9551 | 1.3104 | 0.26167 | 32.2069 | 0.16694 | -0.26135 | -0.89366 | 820.5805 | 1.2951 | 0.027871 | -0.001216 | 0.0016361 | 0.71155 | 622.0208 | 221.329 | 172.1768 | 60.1766 | 5.2094 | 3.175 | 2.1579 | 2.1671 | -1 | -1 | -1 | -1 | 1.9482 | 4.3667 | -1 | -1 | -1 | 1.4587 | 1.1321 | 0.47193 | 0.72235 | 0.44469 | 113.8741 | -1 | -1
|  | 14 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.461 | 0 | BB | 1294.6082 | 52.4538 | 0.30194 | 4.6823 | 0 |  | -1 | -1 | 1 | -1 | 122 | 242 | 0.81208 | 1.603 | 0.0066667 | 131 | -1 | 1.1121 | 0.49094 | 7.5104 | 1.1138 | 0.48928 | 7.8225 | 1.3561 | 0.23929 | 62.954 | -3.5561 | 102.9384 | 16.9017 | 1.4385 | 48.673 | 1.5787 | 27.5567 | 1.2971 | 0.27667 | 31.2329 | 0.17238 | -0.23287 | -0.89959 | 1301.7298 | 1.2808 | 0.029714 | -0.0011928 | 0.0018545 | 0.7091 | 594.613 | 220.7191 | 154.0132 | 55.2084 | 5.4076 | 3.0921 | 3.3411 | 3.3553 | -1 | -1 | -1 | -1 | 1.8616 | 4.2647 | -1 | -1 | -1 | 1.4587 | 1.1287 | 0.47428 | 0.7186 | 0.4372 | 111.5233 | -1 | -1
|  | 23 | 5 | 13 | 3 | 4 | 0 | 0 | 0 | 2.0465 | 0 | BB | 65.9914 | 13.8364 | 0.075643 | 0.57437 | 0 |  | -1 | -1 | 5 | -1 | 284 | 342 | 1.9388 | 2.2687 | 0.0066667 | 69 | -1 | 1.9921 | 0.16286 | 14.4564 | 1.993 | 0.15905 | 14.5384 | 1.9984 | 0.13071 | 31.4822 | 13.8429 | 29.2146 | 13.8771 | 2.017 | 20.6728 | 2.081 | 22.8131 | 2.0168 | 0.07619 | 20.6866 | 0.033903 | 0.73783 | 0.84548 | 65.9828 | 2.0612 | 0.0011494 | 2.8751e-05 | 5.0802e-06 | 1.5182 | 3917.8207 | 3943.5737 | 3992.7486 | 3696.3768 | 16.9146 | 13.8774 | 15.7347 | 15.8017 | -1 | -1 | -1 | -1 | 13.6942 | 6.377 | -1 | -1 | -1 | 2.0454 | 1.9978 | 0.14 | 1.47 | 1.94 | 2790.3127 | -1 | -1
|  | 25 | 4 | 15 | 3 | 4 | 0 | 0 | 0 | 2.0465 | 0 | BB | 136.0845 | 28.0859 | 0.076528 | 0.58326 | 0 |  | -1 | -1 | 4 | -1 | 266 | 343 | 1.7721 | 2.2654 | 0.0066667 | 88 | -1 | 1.9921 | 0.16556 | 21.4569 | 1.9921 | 0.16222 | 21.6233 | 1.9983 | 0.13134 | 56.0109 | 20.1998 | 51.3865 | 20.302 | 2.0186 | 35.3014 | 2.0798 | 38.9407 | 2.0165 | 0.076667 | 34.1041 | 0.037877 | -0.1817 | 4.8443 | 136.0845 | 2.0605 | 0.0014347 | -9.8743e-06 | 1.6146e-05 | 1.5208 | 3880.5115 | 3816.0677 | 3943.3033 | 2959.2002 | 15.3234 | 14.4215 | 10.4182 | 10.4626 | -1 | -1 | -1 | -1 | 12.2993 | 6.4455 | -1 | -1 | -1 | 2.0454 | 1.9976 | 0.14111 | 1.4767 | 1.9535 | 2734.9794 | -1 | -1
|  | 17 | 1 | 12 | 3 | 3 | 0 | 0 | 0 | 2.0465 | 0 | BB | 714.3145 | 141.8903 | 0.078733 | 0.60539 | 0 |  | -1 | -1 | 1 | -1 | 261 | 344 | 1.7387 | 2.2644 | 0.0066667 | 94 | -1 | 1.9908 | 0.17733 | 49.2148 | 1.9921 | 0.17067 | 50.0557 | 1.9979 | 0.13278 | 223.7092 | 42.6462 | 200.1331 | 43.7693 | 2.0185 | 119.2533 | 2.0796 | 138.6875 | 2.0161 | 0.078667 | 113.1268 | 0.047488 | -1.2942 | 7.9949 | 714.4903 | 2.0584 | 0.0022551 | -0.00013859 | 5.5913e-05 | 1.6 | 3797.0841 | 3326.0045 | 3745.3452 | 1878.8494 | 3.1471 | 2.1902 | 1.936 | 1.9442 | -1 | -1 | -1 | -1 | 1.7683 | 1.4007 | -1 | -1 | -1 | 2.0454 | 1.9961 | 0.14667 | 1.4865 | 1.973 | 2516.4026 | -1 | -1
|  | 18 | 2 | 16 | 3 | 4 | 0 | 0 | 0 | 2.0465 | 0 | BB | 472.8105 | 95.1661 | 0.077963 | 0.58235 | 0 |  | -1 | -1 | 2 | -1 | 266 | 343 | 1.7721 | 2.2642 | 0.0066667 | 88 | -1 | 1.991 | 0.17556 | 43.8567 | 1.9921 | 0.17 | 44.4206 | 1.9981 | 0.13262 | 160.9639 | 39.4907 | 145.1091 | 40.1354 | 2.0185 | 90.8445 | 2.0799 | 103.5192 | 2.0165 | 0.077778 | 86.7186 | 0.041951 | -0.44859 | 5.6829 | 472.9204 | 2.0607 | 0.0017599 | -3.3119e-05 | 2.6893e-05 | 1.5937 | 3806.2374 | 3393.7077 | 3831.4423 | 2412.9658 | 3.1946 | 2.1985 | 2.0269 | 2.0355 | -1 | -1 | -1 | -1 | 1.8326 | 1.4008 | -1 | -1 | -1 | 2.0454 | 1.9965 | 0.14556 | 1.4886 | 1.9773 | 2551.5636 | -1 | -1
|  | 24 | 3 | 14 | 3 | 4 | 0 | 0 | 0 | 2.0465 | 0 | BB | 251.1586 | 51.0046 | 0.077449 | 0.58165 | 0 |  | -1 | -1 | 3 | -1 | 266 | 343 | 1.7721 | 2.2646 | 0.0066667 | 88 | -1 | 1.9921 | 0.17111 | 25.6319 | 1.9921 | 0.16778 | 25.9341 | 1.9982 | 0.13216 | 88.3862 | 23.3113 | 79.9275 | 23.603 | 2.0186 | 50.8026 | 2.0798 | 57.5434 | 2.0165 | 0.077778 | 48.6008 | 0.040483 | -0.34274 | 5.4746 | 251.1959 | 2.0607 | 0.0016389 | -2.2739e-05 | 2.2761e-05 | 1.5729 | 3832.5554 | 3572.2938 | 3831.4423 | 2591.2429 | 3.6046 | 3.344 | 4.1841 | 4.2019 | -1 | -1 | -1 | -1 | 2.9433 | 1.4008 | -1 | -1 | -1 | 2.0454 | 1.9965 | 0.14444 | 1.4773 | 1.9545 | 2609.3451 | -1 | -1
|  | 21 | 1 | 17 | 4 | 3 | 0 | 0 | 0 | 4.8636 | 0 | BV | 23.0976 | 5.6295 | 0.059868 | 0.46121 | 0 |  | -1 | -1 | 1 | -1 | 712 | 806 | 4.8187 | 5.3673 | 0.0066667 | 105 | -1 | 4.8187 | 0.090667 | 63.1098 | 4.8187 | 0.089333 | 63.1425 | 4.828 | 0.074864 | 69.9896 | 63.3712 | 69.8342 | 62.3683 | 4.842 | 65.9703 | 4.8829 | 66.1712 | 4.8388 | 0.048 | 65.5957 | 0.08517 | 1.7364 | 2.0559 | 21.627 | 4.9097 | 0.0072539 | 0.0010728 | 0.00026604 | 0.95714 | 67578.7324 | 71991.9394 | 56920.3245 | 3323.0737 | 27.1346 | 26.2789 | 26.1323 | 26.2435 | -1 | -1 | -1 | -1 | 10.747 | 2.3766 | -1 | 42.8971 | 42.8971 | 4.8654 | 4.8187 | 0.085333 | 0.91428 | 0.82857 | 55176.028 | -1 | -1
|  | 22 | 2 | 18 | 5 | 3 | 0 | 0 | 0 | 5.4205 | 0 | BV E | 28.9963 | 12.6371 | 0.03677 | 1.7808 | 0 |  | -1 | -1 | 2 | -1 | 802 | 818 | 5.3513 | 5.4454 | 0.0066667 | 27 | -1 | 5.3858 | 0.059629 | 100.3431 | 5.3862 | 0.059259 | 100.4186 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.3991 | 0.046296 | 106.0826 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.90909 | -1 | 206451.082 | 75896.1162 | -1 | -1 | 35.8657 | 31.9526 | 32.0885 | -1 | -1 | -1 | -1 | -1 | 2.6487 | -1 | -1 | -1 | 5.4188 | 5.388 | 0.057407 | 0.93373 | 0.86746 | 154627.3779 | -1 | -1
|  | 32 | 6 | 20 | 6 | 4 | 0 | 0 | 0 | 5.4922 | 0 | BB | 18.2446 | 6.6695 | 0.043915 | 0.8142 | 0 |  | -1 | -1 | 6 | -1 | 811 | 845 | 5.4521 | 5.5588 | 0.0066667 | 45 | -1 | 5.4521 | 0.081212 | 12.5057 | 5.4521 | 0.081212 | 12.5444 | 5.4576 | 0.074166 | 20.6622 | 12.6695 | 20.5037 | 11.7064 | 5.4682 | 15.1128 | 5.5159 | 15.2304 | 5.4691 | 0.046667 | 15.4495 | 0.017211 | 0.23834 | -0.32947 | 18.2446 | 5.495 | 0.00029622 | 1.2151e-06 | 2.3433e-07 | 1.0151 | 87736.323 | 114332.6203 | 76730.926 | 101934.0813 | 73.6272 | 52.543 | 66.4821 | 66.765 | -1 | -1 | -1 | -1 | 57.7628 | 16.9227 | -1 | -1 | -1 | 5.4921 | 5.4521 | 0.078182 | 0.97727 | 0.95454 | 89560.6347 | -1 | -1
|  | 33 | 7 | 22 | 6 | 4 | 0 | 0 | 0 | 5.4923 | 0 | BB | 20.9732 | 7.4074 | 0.047033 | 0.8514 | 0 |  | -1 | -1 | 7 | -1 | 810 | 846 | 5.4454 | 5.5654 | 0.0066667 | 47 | -1 | 5.4454 | 0.090909 | 3.4305 | 5.4454 | 0.090909 | 3.4736 | 5.4561 | 0.076353 | 12.4803 | 3.4331 | 12.23 | 2.7577 | 5.4686 | 6.5793 | 5.5156 | 6.7126 | 5.4684 | 0.047879 | 6.7067 | 0.018034 | 0.22798 | -0.25905 | 20.9732 | 5.4946 | 0.00032524 | 1.3372e-06 | 2.8993e-07 | 0.97402 | 82783.8078 | 91242.5786 | 72894.9944 | 92826.573 | 72.817 | 49.0227 | 65.7609 | 66.0408 | -1 | -1 | -1 | -1 | 56.6461 | 16.8876 | -1 | -1 | -1 | 5.4921 | 5.4509 | 0.081818 | 0.99265 | 0.98529 | 82957.7083 | -1 | -1
|  | 26 | 1 | 19 | 6 | 3 | 0 | 0 | 0 | 5.4923 | 0 | VB | 2006.528 | 628.772 | 0.05123 | 0.9412 | 0 |  | -1 | -1 | 1 | -1 | 805 | 927 | 5.3673 | 6.1721 | 0.0066667 | 133 | -1 | 5.4421 | 0.10667 | 81.3943 | 5.4437 | 0.10333 | 85.0652 | 5.4524 | 0.081883 | 834.5544 | 55.0059 | 809.1451 | 53.9089 | 5.4702 | 402.5226 | 5.5131 | 434.6305 | 5.4671 | 0.051667 | 360.3797 | 0.037638 | 7.6063 | 108.2742 | 2004.0985 | 5.4959 | 0.0014166 | 0.00040557 | 0.00022332 | 1.069 | 71978.4566 | 66276.0777 | 62598.3829 | 21321.5041 | 8.0217 | 7.9648 | 7.4118 | 7.4433 | -1 | -1 | -1 | -1 | 2.3867 | 1.1293 | 4791.3101 | -1 | 4791.3101 | 5.4921 | 5.4488 | 0.091667 | 1.0577 | 1.1154 | 63282.794 | -1 | -1
|  | 27 | 2 | 23 | 6 | 4 | 0 | 0 | 0 | 5.4923 | 0 | VB R | 599.6569 | 192.5104 | 0.050341 | 1.1804 | 0 |  | -1 | -1 | 2 | -1 | 802 | 848 | 5.3454 | 5.6015 | 0.0066667 | 57 | -1 | 5.401 | 0.14741 | 107.0763 | 5.4373 | 0.11037 | 108.2001 | 5.4528 | 0.081075 | 339.843 | 98.6016 | 331.0361 | 99.0828 | 5.4691 | 198.3463 | 5.515 | 204.0317 | 5.4676 | 0.05037 | 192.4875 | 0.026962 | -0.82485 | 1.8749 | 628.5382 | 5.4897 | 0.00072694 | -1.6167e-05 | 2.5761e-06 | 1.0068 | 73421.3119 | 34703.6879 | 65861.8178 | 41456.9007 | -1 | 0.86629 | 0.87203 | 0.87574 | -1 | -1 | -1 | -1 | -1 | 1.0132 | 15.3623 | -1 | 15.3623 | 5.4921 | 5.4484 | 0.091111 | 1.0424 | 1.0847 | 64897.5064 | -1 | -1
|  | 30 | 5 | 24 | 6 | 4 | 0 | 0 | 0 | 5.4923 | 0 | BB | 18.5725 | 6.8071 | 0.045831 | 0.82595 | 0 |  | -1 | -1 | 5 | -1 | 810 | 846 | 5.4521 | 5.5588 | 0.0066667 | 47 | -1 | 5.4521 | 0.081818 | 20.554 | 5.4521 | 0.081212 | 20.5935 | 5.4577 | 0.074011 | 28.8969 | 20.6741 | 28.6957 | 19.7911 | 5.4686 | 23.2621 | 5.5156 | 23.4297 | 5.4697 | 0.046061 | 23.5574 | 0.017159 | 0.23578 | -0.33434 | 18.5725 | 5.495 | 0.00029442 | 1.1911e-06 | 2.3107e-07 | 1.0151 | 88104.3549 | 112645.0817 | 78763.4454 | 102557.7695 | 33.6635 | 35.2086 | 33.1195 | 33.2605 | -1 | -1 | -1 | -1 | 33.6244 | 2.6838 | -1 | -1 | -1 | 5.4921 | 5.4521 | 0.078788 | 0.98485 | 0.96969 | 88820.8752 | -1 | -1
|  | 29 | 3 | 25 | 6 | 4 | 0 | 0 | 0 | 5.4924 | 0 | BB | 426.8047 | 132.8152 | 0.051491 | 1.012 | 0 |  | -1 | -1 | 3 | -1 | 803 | 848 | 5.3521 | 5.5889 | 0.0066667 | 56 | -1 | 5.4417 | 0.10815 | 84.6317 | 5.4432 | 0.10519 | 85.407 | 5.453 | 0.080835 | 245.6759 | 78.3983 | 239.0817 | 79.5301 | 5.4689 | 146.2505 | 5.5151 | 151.6518 | 5.4676 | 0.05037 | 143.5557 | 0.025812 | -0.77026 | 2.02 | 427.1234 | 5.4906 | 0.00066629 | -1.3247e-05 | 2.2286e-06 | 1.0758 | 73856.9752 | 64472.7316 | 65861.8178 | 45246.0763 | 32.356 | 30.8479 | 31.595 | 31.7295 | -1 | -1 | -1 | -1 | 25.8681 | 2.6837 | -1 | -1 | -1 | 5.4921 | 5.4491 | 0.091111 | 1.0603 | 1.1207 | 63913.5442 | -1 | -1
|  | 31 | 4 | 21 | 6 | 4 | 0 | 0 | 0 | 5.4924 | 0 | BB | 164.5863 | 49.6568 | 0.052669 | 1.0945 | 0 |  | -1 | -1 | 4 | -1 | 803 | 849 | 5.3521 | 5.5827 | 0.0066667 | 57 | -1 | 5.4002 | 0.15037 | 46.9936 | 5.4025 | 0.14667 | 47.2834 | 5.4529 | 0.080945 | 107.1331 | 44.5374 | 104.6964 | 45.22 | 5.469 | 70.1311 | 5.5149 | 72.4181 | 5.4676 | 0.05037 | 69.0223 | 0.028322 | -0.90761 | 1.6264 | 164.7505 | 5.4884 | 0.00080212 | -2.0618e-05 | 2.9766e-06 | 0.81818 | 73657.7251 | 33349.5291 | 65861.8178 | 37553.303 | 32.465 | 27.2683 | 31.8721 | 32.0078 | -1 | -1 | -1 | -1 | 25.8908 | 2.6838 | -1 | -1 | -1 | 5.4921 | 5.4484 | 0.091852 | 1.0508 | 1.1017 | 63394.7769 | -1 | -1
|  | 34 | 1 | 27 | 7 | 3 | 0 | 0 | 0 | 6.2697 | 0 | BB | 1708.1119 | 504.5381 | 0.053497 | 0.83869 | 0 |  | -1 | -1 | 1 | -1 | 930 | 971 | 6.1976 | 6.4654 | 0.0066667 | 52 | -1 | 6.2194 | 0.11267 | 65.6592 | 6.2201 | 0.11067 | 68.6057 | 6.2269 | 0.091046 | 666.9974 | 44.6823 | 636.1894 | 43.4102 | 6.2488 | 362.4046 | 6.2887 | 402.1709 | 6.2428 | 0.056 | 289.5974 | 0.022984 | 0.5349 | 1.2744 | 1708.068 | 6.2718 | 0.00052828 | 6.4947e-06 | 1.1929e-06 | 1.0641 | 75931.3619 | 77476.9931 | 69495.6067 | 74461.1583 | 8.9911 | 8.8611 | 8.4842 | 8.5203 | -1 | -1 | -1 | -1 | 6.3996 | 1.1415 | -1 | -1 | -1 | 6.2721 | 6.2248 | 0.098667 | 1.0423 | 1.0845 | 72181.1162 | -1 | -1
|  | 35 | 2 | 28 | 7 | 4 | 0 | 0 | 0 | 6.2697 | 0 | BB | 1092.1045 | 323.5127 | 0.053384 | 0.84403 | 0 |  | -1 | -1 | 2 | -1 | 925 | 966 | 6.1721 | 6.3843 | 0.0066667 | 52 | -1 | 6.2201 | 0.11267 | 116.8067 | 6.2207 | 0.11067 | 118.6959 | 6.2269 | 0.091133 | 503.375 | 102.6425 | 483.1475 | 103.2661 | 6.2485 | 305.0341 | 6.2889 | 332.1711 | 6.2434 | 0.055333 | 260.3914 | 0.022471 | 0.33469 | 0.11663 | 1092.1753 | 6.2728 | 0.00050494 | 3.7975e-06 | 7.9463e-07 | 1.0779 | 75786.1173 | 77476.9931 | 71180.2875 | 77926.9305 | 9.0292 | 7.4734 | 8.6421 | 8.6789 | -1 | -1 | -1 | -1 | 7.9215 | 1.1416 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098 | 1.05 | 1.1 | 72684.1442 | -1 | -1
|  | 6 | 8 | 29 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 105.2984 | 31.0452 | 0.053571 | 0.83688 | 0 |  | -1 | -1 | 8 | -1 | 925 | 981 | 6.1654 | 6.5321 | 0.0066667 | 67 | -1 | 6.2197 | 0.11333 | 6.9961 | 6.2207 | 0.11048 | 7.1774 | 6.2269 | 0.091255 | 44.0738 | 5.6751 | 42.1205 | 5.657 | 6.2477 | 24.3029 | 6.2942 | 23.7055 | 6.2435 | 0.055238 | 20.7787 | 0.024068 | 1.0561 | 5.4435 | 105.2984 | 6.2734 | 0.00057926 | 1.4723e-05 | 2.8331e-06 | 1.0741 | 75584.8112 | 76568.1799 | 71425.9484 | 67941.0073 | 75.6825 | 51.9725 | 70.0657 | 70.3639 | -1 | -1 | -1 | -1 | 57.5732 | 19.2514 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098095 | 1.051 | 1.102 | 72480.1343 | -1 | -1
|  | 2 | 3 | 30 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 532.8906 | 158.0771 | 0.053329 | 0.84763 | 0 |  | -1 | -1 | 3 | -1 | 925 | 966 | 6.1988 | 6.3739 | 0.0066667 | 52 | -1 | 6.2207 | 0.11333 | 96.4976 | 6.2214 | 0.11067 | 97.4208 | 6.2269 | 0.091064 | 285.5888 | 89.0096 | 275.3198 | 90.4568 | 6.2485 | 188.0258 | 6.2889 | 201.9768 | 6.2434 | 0.055333 | 166.6603 | 0.022353 | 0.3142 | 0.042073 | 532.7682 | 6.2728 | 0.00049966 | 3.5093e-06 | 7.5949e-07 | 1.0921 | 75901.1024 | 76568.1799 | 71180.2875 | 78749.3232 | 9.0454 | 8.7756 | 8.6421 | 8.6789 | -1 | -1 | -1 | -1 | 8.1198 | 1.1416 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098667 | 1.0571 | 1.1143 | 71271.98 | -1 | -1
|  | 3 | 5 | 31 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 335.9651 | 99.6637 | 0.053328 | 0.84589 | 0 |  | -1 | -1 | 5 | -1 | 925 | 966 | 6.1788 | 6.3819 | 0.0066667 | 52 | -1 | 6.2201 | 0.11267 | 25.3722 | 6.2207 | 0.11067 | 25.9543 | 6.227 | 0.091023 | 144.5191 | 20.9554 | 138.2096 | 21.2541 | 6.2485 | 83.1282 | 6.2889 | 91.8158 | 6.2434 | 0.055333 | 69.6117 | 0.0224 | 0.3252 | 0.087404 | 335.905 | 6.2728 | 0.00050175 | 3.6549e-06 | 7.7727e-07 | 1.0779 | 75970.461 | 77476.9931 | 71180.2875 | 78422.2922 | 9.4218 | 9.9938 | 9.0096 | 9.0479 | -1 | -1 | -1 | -1 | 9.8315 | 1.1416 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098 | 1.05 | 1.1 | 72684.1442 | -1 | -1
|  | 1 | 4 | 32 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 335.5303 | 99.5918 | 0.053306 | 0.84818 | 0 |  | -1 | -1 | 4 | -1 | 925 | 966 | 6.1988 | 6.3735 | 0.0066667 | 52 | -1 | 6.2207 | 0.11333 | 55.8974 | 6.2214 | 0.11067 | 56.479 | 6.2269 | 0.09101 | 175.0454 | 51.165 | 168.5599 | 52.1067 | 6.2485 | 113.4935 | 6.2889 | 122.3618 | 6.2434 | 0.055333 | 100.1017 | 0.022339 | 0.31358 | 0.041404 | 335.4711 | 6.2728 | 0.00049901 | 3.4956e-06 | 7.5734e-07 | 1.0921 | 75992.0018 | 76568.1799 | 71180.2875 | 78852.3374 | 9.0422 | 7.3702 | 8.6418 | 8.6786 | -1 | -1 | -1 | -1 | 7.7421 | 1.1415 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098667 | 1.0571 | 1.1143 | 71271.98 | -1 | -1
|  | 4 | 6 | 33 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 439.397 | 129.9462 | 0.053449 | 0.8405 | 0 |  | -1 | -1 | 6 | -1 | 925 | 972 | 6.1654 | 6.4721 | 0.0066667 | 58 | -1 | 6.2202 | 0.11259 | 16.9175 | 6.221 | 0.11037 | 17.6766 | 6.227 | 0.091051 | 172.2495 | 11.3408 | 164.1154 | 11.3614 | 6.2483 | 91.2879 | 6.2891 | 102.9339 | 6.2432 | 0.055556 | 74.6069 | 0.023094 | 0.58553 | 1.6145 | 439.397 | 6.2731 | 0.00053334 | 7.212e-06 | 1.3126e-06 | 1.0797 | 75923.384 | 77578.9701 | 70611.9841 | 73784.4897 | 9.4128 | 10.0305 | 8.938 | 8.976 | -1 | -1 | -1 | -1 | 9.6534 | 1.1416 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.097778 | 1.0476 | 1.0952 | 73163.1557 | -1 | -1
|  | 5 | 7 | 26 | 7 | 4 | 0 | 0 | 0 | 6.2698 | 0 | BB | 342.351 | 101.1429 | 0.05349 | 0.83889 | 0 |  | -1 | -1 | 7 | -1 | 925 | 981 | 6.1654 | 6.5321 | 0.0066667 | 67 | -1 | 6.2197 | 0.11333 | 6.6473 | 6.2207 | 0.11048 | 7.2381 | 6.227 | 0.091159 | 127.4796 | 2.3212 | 121.0781 | 2.3077 | 6.2477 | 62.945 | 6.2942 | 61.0901 | 6.2435 | 0.055238 | 51.5508 | 0.023503 | 0.8055 | 3.4474 | 342.351 | 6.2733 | 0.00055238 | 1.0457e-05 | 1.9672e-06 | 1.0741 | 75742.934 | 76568.1799 | 71425.9484 | 71244.6066 | 9.2837 | 9.5176 | 8.8602 | 8.8979 | -1 | -1 | -1 | -1 | 9.3731 | 1.1416 | -1 | -1 | -1 | 6.2721 | 6.2254 | 0.098095 | 1.051 | 1.102 | 72480.1343 | -1 | -1
|  | 37 | 1 | 35 | 8 | 3 | 0 | 0 | 0 | 6.6667 | 0 | BB | 16.9327 | 6.1389 | 0.04418 | 0.76744 | 0 |  | -1 | -1 | 1 | -1 | 987 | 1021 | 6.6254 | 6.7321 | 0.0066667 | 45 | -1 | 6.6254 | 0.07697 | 39.5723 | 6.6254 | 0.076364 | 39.6077 | 6.6331 | 0.073529 | 46.7102 | 40.3807 | 47.3412 | 37.9503 | 6.6491 | 43.3933 | 6.6882 | 42.2685 | 6.6418 | 0.047273 | 42.2647 | 0.017157 | 0.17261 | -0.37804 | 16.9327 | 6.6702 | 0.00029437 | 8.7174e-07 | 2.272e-07 | 0.95455 | 131479.7144 | 187480.4839 | 110139.4882 | 151143.0756 | 4.824 | 5.2331 | 4.5164 | 4.5356 | -1 | -1 | -1 | -1 | 4.9619 | 1.0633 | -1 | -1 | -1 | 6.6654 | 6.6254 | 0.075151 | 0.93939 | 0.87879 | 137370.9459 | -1 | -1
|  | 36 | 2 | 34 | 8 | 4 | 0 | 0 | 0 | 6.6681 | 0 | BB | 12.0198 | 4.3788 | 0.044025 | 0.91627 | 0 |  | -1 | -1 | 2 | -1 | 987 | 1021 | 6.6188 | 6.7254 | 0.0066667 | 45 | -1 | 6.6188 | 0.091515 | 106.0695 | 6.6188 | 0.090909 | 106.0947 | 6.6324 | 0.073695 | 111.4099 | 106.0204 | 111.3653 | 105.717 | 6.6491 | 108.5368 | 6.6883 | 108.3716 | 6.6448 | 0.046667 | 107.986 | 0.017103 | 0.12431 | -0.41004 | 12.0198 | 6.6695 | 0.0002925 | 6.2185e-07 | 2.2159e-07 | 0.97403 | 130887.7488 | 132620.1497 | 113018.8305 | 152076.013 | 4.8337 | 4.8776 | 4.589 | 4.6086 | -1 | -1 | -1 | -1 | 5.0117 | 1.0635 | -1 | -1 | -1 | 6.6654 | 6.6284 | 0.078182 | 1.0574 | 1.1148 | 128171.9944 | -1 | -1
|  | 7 | 2 | 37 | 9 | 3 | 0 | 0 | 0 | 8.2604 | 0 | BBA | 822.6221 | 42.6514 | 0.25502 | 2.4409 | 0 |  | -1 | -1 | 2 | -1 | 1103 | 1275 | 7.3521 | 8.4987 | 0.0066667 | 178 | -1 | 7.3521 | 1.0889 | 110.2538 | 7.3521 | 1.0867 | 110.5094 | 8.0086 | 0.40186 | 153.1802 | 110.9464 | 158.3676 | 106.8225 | 8.2186 | 146.1668 | 8.3221 | 137.1699 | 8.101 | 0.24444 | 129.6789 | 0.22282 | -1.1692 | 0.73979 | 822.6221 | 8.1196 | 0.049649 | -0.012934 | 0.0092186 | 0.59926 | 6757.7921 | 1438.1408 | 6323.7991 | 1327.8898 | 6.6967 | 3.3724 | 6.427 | 6.4544 | -1 | -1 | -1 | -1 | 3.0221 | 1.2388 | -1 | -1 | -1 | 8.2587 | 7.3521 | 1.0689 | 0.58946 | 0.17892 | 364.0024 | -1 | -1
|  | 8 | 1 | 36 | 9 | 4 | 0 | 0 | 0 | 8.2758 | 0 | BBA | 485.7306 | 39.703 | 0.17273 | 1.2059 | 0 |  | -1 | -1 | 1 | -1 | 1190 | 1275 | 7.9654 | 8.4987 | 0.0066667 | 91 | -1 | 8.0854 | 0.38667 | 50.6655 | 8.0868 | 0.38533 | 50.9029 | 8.107 | 0.31814 | 93.2432 | 45.5049 | 93.3939 | 51.8377 | 8.2268 | 79.4001 | 8.3309 | 78.0382 | 8.1828 | 0.18533 | 68.7084 | 0.085734 | -0.13461 | -0.22548 | 485.7306 | 8.2626 | 0.0073504 | -8.4828e-05 | 0.0001499 | 1.0035 | 10834.7119 | 11460.3024 | 11054.325 | 9288.0937 | 8.2168 | 8.6766 | 8.1284 | 8.163 | -1 | -1 | -1 | -1 | 7.7384 | 1.2414 | -1 | -1 | -1 | 8.2787 | 8.0988 | 0.37333 | 1.037 | 1.0741 | 8823.118 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 17:49:28
ResNewDateTime | 02 September 2019 17:49:28
ResModBy | SYSTEM
ResModTime | 09/02/19 17:49:29
ResModDateTime | 02 September 2019 17:49:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7782.0338

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7782.0338

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5387.9776

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2297.907

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 766.7512

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 481.0995

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 499.3575

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 400.853

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 142.5598

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 7782.0338

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5387.9776

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2297.907

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 766.7512

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 481.0995

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 499.3575

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 400.853

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 142.5598

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 8 | 0 | 8 | 0.34258 | 1532.7104 | 167.5349 | 0.12673 | 1.579 | -17.583 | 0.0054167 | 0 | 41.5597 | 0.51875 | 0 | -48.4853 | 1 | -175.4123 | 42.5098 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.461 | 1294.6082 | 52.4538 | 0.30194 | 4.6823 | 5.4154 | 0.81208 | 0 | -50.0646 | 1.603 | 1.4211e-14 | 17.5561 | 1 | 85.4938 | -119.4926 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0465 | 714.3145 | 141.8903 | 0.078733 | 0.60539 | 43.0569 | 1.7387 | 0 | 40.4539 | 2.2644 | 0 | 44.8998 | 1 | 8.4585 | 25.7467 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 4.8636 | 23.0976 | 5.6295 | 0.059868 | 0.46121 | 62.8944 | 4.8187 | -1.4211e-14 | 63.4952 | 5.3673 | 0.13123 | 56.1469 | 1 | -13.3968 | 128.0509 | 0 | 0 | 0
DateTime |  | 32 | 8 | 5.4923 | 2006.528 | 628.772 | 0.05123 | 0.9412 | 54.472 | 5.3673 | 0.13123 | 56.1469 | 6.1721 | -1.4211e-14 | 45.3649 | 1 | -13.3968 | 128.0509 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.2697 | 1708.1119 | 504.5381 | 0.053497 | 0.83869 | 44.0845 | 6.1976 | -1.4211e-14 | 45.0923 | 6.4654 | -1.4211e-14 | 41.3499 | 1 | -13.9717 | 131.6827 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.6667 | 16.9327 | 6.1389 | 0.04418 | 0.76744 | 39.2717 | 6.6254 | 0 | 40.6346 | 6.7321 | 0 | 37.1089 | 1 | -33.0538 | 259.6295 | 0 | 0 | 0
Errors | 0 | 512 | 8 | 8.2758 | 485.7306 | 39.703 | 0.17273 | 1.2059 | 48.8651 | 7.9654 | 0 | 42.6874 | 8.4987 | 0 | 53.3037 | 1 | 19.9056 | -115.8687 | 0 | 0 | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 8 | 0 | 8 | 0.33457 | 1542.7249 | 144.131 | 0.13888 | 1.9884 | 39.8023 | 0.0054167 | 0 | 120.1839 | 0.50542 | 0 | -1.9197 | 1 | -244.2074 | 121.5067 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.461 | 817.0425 | 35.9673 | 0.27902 | 4.2253 | 14.503 | 0.83875 | 0 | -17.7255 | 1.604 | 3.5527e-15 | 21.9116 | 1 | 51.7952 | -61.1687 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0465 | 472.8105 | 95.1661 | 0.077963 | 0.58235 | 39.7262 | 1.7721 | 0 | 38.3921 | 2.2642 | 0 | 40.7846 | 1 | 4.8614 | 29.7772 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.4205 | 28.9963 | 12.6371 | 0.03677 | 1.7808 | 99.8368 | 5.3513 | 6.7071e-08 | 98.0025 | 5.4454 | 7.9187e-08 | 111.0892 | 2 | 5.9359 | 66.2345 | 22.4343 | -87.3537 | 5.4521
DateTime |  | 32 | 20 | 5.4923 | 599.6569 | 192.5104 | 0.050341 | 1.1804 | 98.8361 | 5.3454 | 0 | 97.9643 | 5.6015 | 0 | 99.4842 | 1 | 5.9359 | 66.2345 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.2697 | 1092.1045 | 323.5127 | 0.053384 | 0.84403 | 102.9359 | 6.1721 | 0 | 102.2677 | 6.3843 | 0 | 103.7198 | 1 | 6.8426 | 60.0349 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.6681 | 12.0198 | 4.3788 | 0.044025 | 0.91627 | 105.8735 | 6.6188 | 0 | 106.0767 | 6.7254 | 0 | 105.6376 | 1 | -4.1172 | 133.3274 | 0 | 0 | 0
Errors | 0 | 512 | 8 | 8.2604 | 822.6221 | 42.6514 | 0.25502 | 2.4409 | 108.3622 | 7.3521 | 1.4211e-14 | 117.6839 | 8.4987 | 1.4211e-14 | 105.9165 | 1 | -10.2623 | 193.1329 | 0 | 0 | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.31986 | 1010.4611 | 90.0643 | 0.14489 | 2.1285 | 52.1957 | 0.0054167 | 0 | 114.315 | 0.49208 | 0 | 18.1708 | 1 | -197.5566 | 115.3851 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4609 | 76.5921 | 10.1673 | 0.10189 | 0.5822 | 18.0434 | 1.3188 | 3.5527e-15 | 20.3505 | 1.6054 | 3.5527e-15 | 15.6994 | 1 | -16.2247 | 41.7467 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0465 | 251.1586 | 51.0046 | 0.077449 | 0.58165 | 23.418 | 1.7721 | 0 | 22.8124 | 2.2646 | 0 | 23.8992 | 1 | 2.2069 | 18.9015 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.4924 | 426.8047 | 132.8152 | 0.051491 | 1.012 | 78.9497 | 5.3521 | 0 | 76.9858 | 5.5889 | 0 | 80.3017 | 1 | 14.0012 | 2.0501 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.2698 | 532.8906 | 158.0771 | 0.053329 | 0.84763 | 89.6912 | 6.1988 | 0 | 88.562 | 6.3739 | 0 | 91.3456 | 1 | 15.8929 | -9.9541 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.31751 | 130.5501 | 29.4864 | 0.065654 | 1.0536 | 51.1537 | 0.22542 | 0 | 68.9783 | 0.42542 | 0 | 30.2672 | 1 | -193.5554 | 112.6089 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0465 | 136.0845 | 28.0859 | 0.076528 | 0.58326 | 20.2373 | 1.7721 | 0 | 20.0238 | 2.2654 | 0 | 20.4077 | 1 | 0.77808 | 18.645 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.4924 | 164.5863 | 49.6568 | 0.052669 | 1.0945 | 44.8707 | 5.3521 | 0 | 43.6873 | 5.5827 | 0 | 45.6326 | 1 | 8.4334 | -1.449 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2698 | 335.5303 | 99.5918 | 0.053306 | 0.84818 | 51.6086 | 6.1988 | 0 | 50.8733 | 6.3735 | 7.1054e-15 | 52.6816 | 1 | 10.3472 | -13.2667 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32091 | 60.5704 | 17.2332 | 0.053005 | 1.2666 | 20.9359 | 0.21208 | 0 | 26.6285 | 0.41208 | 0 | 16.1672 | 1 | -52.3067 | 37.7219 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0465 | 65.9914 | 13.8364 | 0.075643 | 0.57437 | 13.8555 | 1.9388 | 0 | 13.8273 | 2.2687 | 0 | 13.9136 | 1 | 0.26154 | 13.3203 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.4923 | 18.5725 | 6.8071 | 0.045831 | 0.82595 | 20.2611 | 5.4521 | 0 | 20.7415 | 5.5588 | 0 | 19.4688 | 1 | -11.9314 | 85.7922 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2698 | 335.9651 | 99.6637 | 0.053328 | 0.84589 | 21.096 | 6.1788 | 0 | 20.7973 | 6.3819 | 0 | 21.4638 | 1 | 3.2813 | 0.52262 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32455 | 41.7158 | 13.7445 | 0.047409 | 1.2141 | 11.4656 | 0.19875 | 0 | 12.8899 | 0.40542 | 0 | 10.55 | 1 | -11.3218 | 15.1401 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.4922 | 18.2446 | 6.6695 | 0.043915 | 0.8142 | 12.2197 | 5.4521 | 0 | 12.7411 | 5.5588 | 0 | 11.3559 | 1 | -12.9864 | 83.5438 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2698 | 439.397 | 129.9462 | 0.053449 | 0.8405 | 11.3505 | 6.1654 | 0 | 11.3268 | 6.4721 | 0 | 11.3964 | 1 | 0.22702 | 9.9271 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32522 | 37.5288 | 12.5545 | 0.046875 | 1.2113 | 2.4462 | 0.19208 | 0 | 3.2787 | 0.41208 | 4.4409e-16 | 1.9031 | 1 | -6.2531 | 4.4798 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.4923 | 20.9732 | 7.4074 | 0.047033 | 0.8514 | 3.1129 | 5.4454 | 0 | 3.5272 | 5.5654 | 0 | 2.4657 | 1 | -8.8453 | 51.6937 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2698 | 342.351 | 101.1429 | 0.05349 | 0.83889 | 2.3148 | 6.1654 | 0 | 2.3303 | 6.5321 | 0 | 2.2759 | 1 | -0.14825 | 3.2443 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32568 | 37.2614 | 12.4335 | 0.046963 | 1.2207 | 5.8415 | 0.19208 | 0 | 6.6133 | 0.41875 | 0 | 5.3039 | 1 | -5.7767 | 7.7229 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2698 | 105.2984 | 31.0452 | 0.053571 | 0.83688 | 5.6666 | 6.1654 | 0 | 5.6872 | 6.5321 | 0 | 5.6148 | 1 | -0.19767 | 6.906 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2