## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567462972
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 84
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 84
Vial | 84
SampleLocation | 84
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 23:22:52
SampleName | CS-135_0084
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 13.2589
DAD1UVBurnTime | 159.9256
DAD1VisOnTime | 13.2583
DAD1VisBurnTime | 145.4367
StartPressure | 28.163
StopPressure | 61.796
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 3 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 5 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 9 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 10 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 13 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 16 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 24 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 3 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 8357.557 | 1423.4108 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 2 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 2863.7251 | 650.8556 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 1 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 1254.0848 | 352.6393 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
Modified | 1 | 7 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 616.9287 | 177.5993 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 8 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 393.9582 | 114.5729 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 21 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 434.926 | 132.1527 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 11 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 358.6369 | 110.0081 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0
|  | 18 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0084.D | 104.1777 | 31.5796 | 0 | 0 | 0 | 0 | 0.0054167 | 8.4987 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 25 | 6 | 3 | 2 | 1 | 4 | 0 | 0 | 0 | 1.4637 | 0 | BB | 82.0192 | 10.6011 | 0.10226 | 0.58224 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.3054 | 1.6112 | 0.0066667 | 89 | -1 | 1.3054 | 0.29067 | 19.4446 | 1.3054 | 0.29067 | 19.5072 | 1.4085 | 0.1942 | 31.4337 | 19.4429 | 45.8801 | 17.8836 | 1.4405 | 26.3799 | 1.5868 | 21.0863 | 1.4281 | 0.13733 | 24.196 | 0.059936 | -0.24316 | -0.42246 | 82.2479 | 1.4836 | 0.0035923 | -5.2354e-05 | 3.3262e-05 | 0.90833 | 911.0405 | 635.4361 | 630.7832 | 612.6863 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4654 | 1.3054 | 0.288 | 0.9 | 0.8 | 431.8506 | -1 | -1
NumberOfCol | 81 | 4 | 2 | 3 | 1 | 4 | 0 | 0 | 0 | 1.4638 | 0 | BB | 735.1621 | 34.2411 | 0.26248 | 3.7788 | 0 |  | -1 | -1 | 2 | -1 | 124 | 242 | 0.82542 | 1.6073 | 0.0066667 | 129 | -1 | 1.1404 | 0.46691 | 19.5188 | 1.1438 | 0.46358 | 19.7211 | 1.3773 | 0.22235 | 56.3435 | 13.6026 | 86.3315 | 24.7919 | 1.4404 | 44.7999 | 1.5831 | 32.2963 | 1.3854 | 0.19167 | 34.8931 | 0.1763 | -0.29879 | -0.93895 | 734.9039 | 1.2951 | 0.031082 | -0.0016373 | 0.0019911 | 0.72059 | 694.9871 | 246.2612 | 323.8462 | 53.9631 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4654 | 1.1638 | 0.44358 | 0.73521 | 0.47042 | 134.8184 | -1 | -1
NumberOfHead | 9 | 5 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 1.4638 | 0 | BB | 1183.428 | 50.1738 | 0.28718 | 4.2443 | 0 |  | -1 | -1 | 1 | -1 | 119 | 242 | 0.79208 | 1.6054 | 0.0066667 | 134 | -1 | 1.1354 | 0.47 | 12.0443 | 1.1371 | 0.46833 | 12.3408 | 1.3717 | 0.22725 | 65.6886 | 2.1125 | 109.15 | 20.9227 | 1.4405 | 49.5656 | 1.5824 | 31.7446 | 1.3721 | 0.20667 | 34.5827 | 0.18185 | -0.25285 | -0.95723 | 1183.428 | 1.2791 | 0.033068 | -0.0015204 | 0.0022337 | 0.7132 | 665.3141 | 243.0337 | 278.5423 | 49.4734 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4654 | 1.1571 | 0.44833 | 0.72703 | 0.45405 | 129.0439 | -1 | -1
Modified | 1 | 12 | 2 | 6 | 2 | 4 | 0 | 0 | 0 | 2.0712 | 0 | BB | 411.5636 | 90.0997 | 0.071292 | 0.59504 | 0 |  | -1 | -1 | 2 | -1 | 289 | 344 | 2.0054 | 2.2054 | 0.0066667 | 66 | -1 | 2.0054 | 0.14571 | 39.0962 | 2.0054 | 0.14476 | 39.6311 | 2.0241 | 0.12636 | 147.7653 | 39.9699 | 137.1838 | 27.3436 | 2.0429 | 83.109 | 2.1031 | 92.9672 | 2.0407 | 0.072381 | 79.7426 | 0.030665 | 0.44672 | -0.14802 | 411.5636 | 2.0839 | 0.00094036 | 1.2882e-05 | 2.522e-06 | 1.0857 | 4302.4848 | 5055.3354 | 4540.2066 | 4617.8475 | 3.4838 | 2.4788 | 2.703 | 2.7145 | -1 | -1 | -1 | -1 | 1.9055 | 1.415 | -1 | -1 | -1 | 2.0721 | 2.0168 | 0.12762 | 1.1552 | 1.3103 | 4293.5946 | -1 | -1
NextPeakSignal_ | Peak | 9 | 1 | 4 | 2 | 3 | 0 | 0 | 0 | 2.0712 | 0 | BB | 610.9808 | 133.8323 | 0.071262 | 0.5962 | 0 |  | -1 | -1 | 1 | -1 | 289 | 332 | 2.0054 | 2.2054 | 0.0066667 | 54 | -1 | 2.0054 | 0.14667 | 42.3714 | 2.0054 | 0.14593 | 43.1657 | 2.0241 | 0.12622 | 204.1587 | 43.1793 | 187.9328 | 25.7142 | 2.0423 | 105.2641 | 2.1024 | 124.0308 | 2.041 | 0.072593 | 102.7429 | 0.030667 | 0.4495 | -0.14283 | 610.9808 | 2.0839 | 0.00094044 | 1.2964e-05 | 2.527e-06 | 1.0944 | 4311.8609 | 4989.8948 | 4513.7717 | 4617.4695 | 3.4368 | 2.4625 | 2.5557 | 2.5666 | -1 | -1 | -1 | -1 | 1.8935 | 1.4149 | -1 | -1 | -1 | 2.0721 | 2.0173 | 0.12815 | 1.1689 | 1.3378 | 4212.9738 | -1 | -1
Signal_ | Signal | 14 | 3 | 7 | 2 | 4 | 0 | 0 | 0 | 2.0714 | 0 | BB | 220.8259 | 48.2691 | 0.071374 | 0.59594 | 0 |  | -1 | -1 | 3 | -1 | 289 | 344 | 2.0054 | 2.2054 | 0.0066667 | 66 | -1 | 2.0054 | 0.14857 | 24.2117 | 2.0054 | 0.14762 | 24.4981 | 2.0242 | 0.12643 | 82.611 | 24.2341 | 76.5912 | 18.6257 | 2.043 | 47.4303 | 2.1031 | 53.4233 | 2.0416 | 0.072381 | 45.9814 | 0.030831 | 0.46283 | -0.1151 | 220.8259 | 2.0841 | 0.00095057 | 1.3564e-05 | 2.6067e-06 | 1.1071 | 4297.3474 | 4862.769 | 4540.2066 | 4569.4518 | 3.7905 | 3.4587 | 3.4048 | 3.4193 | -1 | -1 | -1 | -1 | 3.3083 | 1.4152 | -1 | -1 | -1 | 2.0721 | 2.0187 | 0.12762 | 1.1964 | 1.3929 | 4159.5448 | -1 | -1
NextPeakComp_ | Peak | 15 | 4 | 8 | 2 | 4 | 0 | 0 | 0 | 2.0719 | 0 | BB | 122.1006 | 26.5712 | 0.071611 | 0.59776 | 0 |  | -1 | -1 | 4 | -1 | 289 | 344 | 2.0054 | 2.2188 | 0.0066667 | 66 | -1 | 2.014 | 0.14762 | 22.3349 | 2.0149 | 0.14476 | 22.4925 | 2.0245 | 0.12665 | 54.7541 | 21.7493 | 50.9665 | 20.2326 | 2.043 | 34.6653 | 2.1031 | 38.8738 | 2.0416 | 0.074286 | 34.3141 | 0.031282 | 0.50618 | -0.02139 | 122.1006 | 2.0847 | 0.00097857 | 1.5495e-05 | 2.8523e-06 | 1.2667 | 4282.8909 | 4925.7191 | 4310.3605 | 4441.3424 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0721 | 2.0216 | 0.13048 | 1.2925 | 1.5849 | 3709.7901 | -1 | -1
Compound_ | Compound | 20 | 5 | 5 | 2 | 4 | 0 | 0 | 0 | 2.0722 | 0 | BB | 61.3596 | 13.206 | 0.072207 | 0.59489 | 0 |  | -1 | -1 | 5 | -1 | 289 | 345 | 1.9921 | 2.2387 | 0.0066667 | 67 | -1 | 2.0159 | 0.15333 | 15.7171 | 2.0168 | 0.15048 | 15.7955 | 2.0245 | 0.12739 | 31.8953 | 15.2643 | 29.8818 | 14.939 | 2.0431 | 21.7738 | 2.1033 | 24.0508 | 2.0426 | 0.074286 | 21.6701 | 0.032217 | 0.57438 | 0.19593 | 61.3596 | 2.0855 | 0.0010379 | 1.9206e-05 | 3.4429e-06 | 1.3621 | 4233.466 | 4565.4258 | 4310.3605 | 4190.3797 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0721 | 2.0226 | 0.13429 | 1.3558 | 1.7115 | 3352.5363 | -1 | -1
RTRatioRefComp_ | Compound | 10 | 1 | 9 | 3 | 3 | 0 | 0 | 0 | 2.6183 | 0 | BB | 2844.9033 | 85.2289 | 0.46943 | 0.4673 | 0 |  | -1 | -1 | 1 | -1 | 338 | 605 | 2.2521 | 3.4545 | 0.0066667 | 278 | -1 | 2.3621 | 1.0924 | 40.6262 | 2.3621 | 1.0924 | 41.1374 | 2.3288 | 0.78201 | 151.8073 | 21.3185 | 126.37 | 63.2757 | 2.4528 | 77.1951 | 2.7212 | 113.1916 | 2.4554 | 0.99909 | 79.4805 | 0.24021 | 0.49284 | -0.53764 | 2840.2302 | 2.7585 | 0.057701 | 0.0068309 | 0.0081983 | 2.1281 | 179.4246 | 143.6632 | 38.0617 | 131.8753 | 1.2047 | 1.1038 | 0.59982 | 0.60237 | -1 | -1 | -1 | -1 | 1.2453 | 1.2641 | -1 | -1 | -1 | 2.6188 | 2.3754 | 1.0791 | 2.2173 | 3.4346 | 52.4244 | -1 | -1
|  | 13 | 1 | 10 | 4 | 3 | 0 | 0 | 0 | 4.8957 | 0 | BB | 16.8068 | 5.1746 | 0.049892 | 0.65054 | 0 |  | -1 | -1 | 1 | -1 | 720 | 774 | 4.8521 | 5.1521 | 0.0066667 | 65 | -1 | 4.8521 | 0.085 | 65.3418 | 4.8521 | 0.084167 | 65.3713 | 4.8606 | 0.073356 | 71.6649 | 65.5991 | 71.6127 | 64.4955 | 4.875 | 68.0991 | 4.9153 | 67.9591 | 4.8712 | 0.0475 | 67.5838 | 0.046414 | 2.6023 | 7.6993 | 16.8068 | 4.9133 | 0.0021542 | 0.00026019 | 4.9652e-05 | 1.0521 | 71160.3685 | 82811.0994 | 58763.8495 | 11206.2106 | 5.3248 | 4.8354 | 2.5568 | 2.5676 | -1 | -1 | -1 | -1 | 3.759 | 1.8698 | -1 | -1 | -1 | 4.8921 | 4.8521 | 0.081667 | 1.0208 | 1.0417 | 65295.2991 | -1 | -1
|  | 23 | 7 | 12 | 5 | 4 | 0 | 0 | 0 | 5.5177 | 0 | BB | 19.7989 | 7.138 | 0.04436 | 0.85408 | 0 |  | -1 | -1 | 7 | -1 | 815 | 849 | 5.4721 | 5.5854 | 0.0066667 | 45 | -1 | 5.4721 | 0.087272 | 5.0223 | 5.4721 | 0.086666 | 5.0638 | 5.4825 | 0.074475 | 13.7384 | 5.1934 | 13.5595 | 4.2173 | 5.4949 | 8.2005 | 5.535 | 9.4397 | 5.4939 | 0.047273 | 8.1763 | 0.017562 | 0.1988 | -0.30411 | 19.7989 | 5.5201 | 0.00030841 | 1.0767e-06 | 2.5642e-07 | 0.92857 | 87856.8339 | 99969.3103 | 75503.9878 | 98800.8342 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.5187 | 5.4727 | 0.083636 | 0.90789 | 0.81579 | 73334.8693 | -1 | -1
|  | 17 | 2 | 14 | 5 | 4 | 0 | 0 | 0 | 5.5178 | 0 | BB | 623.5034 | 192.8444 | 0.049721 | 1.0299 | 0 |  | -1 | -1 | 2 | -1 | 791 | 851 | 5.2721 | 5.6277 | 0.0066667 | 71 | -1 | 5.4407 | 0.13333 | 108.7563 | 5.4445 | 0.12857 | 109.8807 | 5.478 | 0.081208 | 340.994 | 100.2563 | 333.3959 | 100.7638 | 5.4958 | 207.7806 | 5.5367 | 227.1382 | 5.493 | 0.050476 | 194.2078 | 0.024894 | -0.52269 | 1.4317 | 623.3658 | 5.5163 | 0.00061971 | -8.0635e-06 | 1.702e-06 | 0.86538 | 73893.6284 | 42829.5959 | 66224.4051 | 49102.8379 | 33.2095 | 30.8782 | 32.9631 | 33.1034 | -1 | -1 | -1 | -1 | 30.8899 | 2.6641 | -1 | -1 | -1 | 5.5187 | 5.4721 | 0.093333 | 1 | 1 | 64797.9737 | -1 | -1
|  | 16 | 1 | 11 | 5 | 3 | 0 | 0 | 0 | 5.5178 | 0 | BB | 1992.9991 | 629.4341 | 0.048941 | 0.94709 | 0 |  | -1 | -1 | 1 | -1 | 811 | 929 | 5.4034 | 6.1854 | 0.0066667 | 129 | -1 | 5.4671 | 0.10667 | 83.1645 | 5.4671 | 0.10667 | 86.8351 | 5.4779 | 0.081827 | 836.833 | 56.823 | 811.7912 | 55.6691 | 5.4959 | 408.2887 | 5.5386 | 435.6759 | 5.4921 | 0.051667 | 362.1343 | 0.034447 | 8.0125 | 124.5583 | 1992.695 | 5.5177 | 0.0011866 | 0.00032752 | 0.00017961 | 1.0323 | 72778.6259 | 66921.2437 | 63207.7483 | 25657.2198 | 8.0183 | 8.115 | 7.3717 | 7.4031 | -1 | -1 | -1 | -1 | 3.7372 | 1.1271 | -1 | -1 | -1 | 5.5187 | 5.4737 | 0.091667 | 1.0185 | 1.037 | 66087.8192 | -1 | -1
|  | 19 | 3 | 15 | 5 | 4 | 0 | 0 | 0 | 5.5179 | 0 | BB | 423.7649 | 132.9892 | 0.049175 | 1.0059 | 0 |  | -1 | -1 | 3 | -1 | 807 | 851 | 5.3787 | 5.6146 | 0.0066667 | 55 | -1 | 5.4639 | 0.11111 | 86.1107 | 5.4662 | 0.10741 | 86.8861 | 5.4784 | 0.080736 | 247.2853 | 79.8359 | 241.0921 | 81.0125 | 5.4956 | 152.705 | 5.5358 | 171.5849 | 5.4928 | 0.051111 | 145.0429 | 0.023938 | -0.45967 | 1.3375 | 423.53 | 5.517 | 0.00057302 | -6.3053e-06 | 1.4242e-06 | 1.0211 | 74759.5213 | 61674.6182 | 64589.2977 | 53117.2323 | 33.2716 | 33.1794 | 32.7922 | 32.9318 | -1 | -1 | -1 | -1 | 31.3394 | 2.6638 | -1 | -1 | -1 | 5.5187 | 5.4736 | 0.091852 | 1.0164 | 1.0328 | 65944.153 | -1 | -1
|  | 22 | 4 | 13 | 5 | 4 | 0 | 0 | 0 | 5.5179 | 0 | BB | 162.6983 | 49.7377 | 0.050163 | 1.0747 | 0 |  | -1 | -1 | 4 | -1 | 808 | 851 | 5.3854 | 5.6082 | 0.0066667 | 54 | -1 | 5.4387 | 0.13704 | 48.6563 | 5.4417 | 0.13259 | 48.9463 | 5.4781 | 0.080963 | 108.7551 | 46.1737 | 106.6083 | 46.8837 | 5.4956 | 73.5706 | 5.5355 | 81.1473 | 5.4928 | 0.051111 | 70.6947 | 0.025662 | -0.62873 | 1.2071 | 162.5446 | 5.5153 | 0.00065852 | -1.0625e-05 | 1.8244e-06 | 0.86058 | 74340.1048 | 40545.768 | 64589.2977 | 46192.2026 | 33.1968 | 30.2648 | 32.2901 | 32.4275 | -1 | -1 | -1 | -1 | 30.1224 | 2.6632 | -1 | -1 | -1 | 5.5187 | 5.4721 | 0.094074 | 1.0079 | 1.0159 | 63334.7447 | -1 | -1
|  | 24 | 1 | 17 | 6 | 3 | 0 | 0 | 0 | 6.2804 | 0 | BB | 1690.4264 | 512.9963 | 0.052444 | 0.86597 | 0 |  | -1 | -1 | 1 | -1 | 932 | 972 | 6.2094 | 6.4721 | 0.0066667 | 51 | -1 | 6.2307 | 0.11 | 67.5176 | 6.2314 | 0.108 | 70.5116 | 6.2384 | 0.088125 | 679.9155 | 46.1537 | 656.5788 | 44.862 | 6.2555 | 303.8713 | 6.3021 | 369.2417 | 6.2541 | 0.054667 | 295.0601 | 0.02237 | 0.51474 | 1.2513 | 1690.262 | 6.2806 | 0.00050043 | 5.7623e-06 | 1.0646e-06 | 1.1408 | 81220.3004 | 81451.8627 | 73082.0903 | 78823.6613 | 8.9743 | 8.7993 | 8.4269 | 8.4628 | -1 | -1 | -1 | -1 | 6.7131 | 1.1382 | -1 | -1 | -1 | 6.2787 | 6.2361 | 0.096 | 1.125 | 1.25 | 71350.9833 | -1 | -1
|  | 25 | 2 | 18 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 1080.783 | 328.9911 | 0.052327 | 0.87179 | 0 |  | -1 | -1 | 2 | -1 | 927 | 967 | 6.1921 | 6.3929 | 0.0066667 | 51 | -1 | 6.2314 | 0.10933 | 118.6899 | 6.2321 | 0.10733 | 120.6098 | 6.2384 | 0.088082 | 511.6734 | 104.3256 | 496.8681 | 104.9482 | 6.2555 | 270.2386 | 6.3021 | 312.3955 | 6.2541 | 0.054667 | 264.6014 | 0.021852 | 0.31216 | 0.11833 | 1080.7645 | 6.2831 | 0.0004775 | 3.2572e-06 | 7.1101e-07 | 1.15 | 81300.8045 | 82448.2065 | 73082.0903 | 82673.9236 | 9.0101 | 7.8571 | 8.5229 | 8.5592 | -1 | -1 | -1 | -1 | 8.2016 | 1.1382 | -1 | -1 | -1 | 6.2787 | 6.2361 | 0.096 | 1.125 | 1.25 | 71350.9833 | -1 | -1
|  | 18 | 8 | 19 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 104.1777 | 31.5796 | 0.052487 | 0.866 | 0 |  | -1 | -1 | 8 | -1 | 927 | 982 | 6.1788 | 6.5388 | 0.0066667 | 66 | -1 | 6.2311 | 0.10952 | 8.1191 | 6.2321 | 0.10762 | 8.3034 | 6.2384 | 0.088247 | 45.7666 | 6.7759 | 44.3771 | 6.7584 | 6.2561 | 23.1638 | 6.3024 | 26.5553 | 6.254 | 0.055238 | 22.1223 | 0.022974 | 0.80622 | 3.6264 | 104.1777 | 6.2835 | 0.00052781 | 9.7761e-06 | 1.846e-06 | 1.1531 | 80995.7893 | 82161.6795 | 71577.8679 | 74804.7517 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.2787 | 6.2359 | 0.09619 | 1.1222 | 1.2444 | 71226.9671 | -1 | -1
|  | 1 | 3 | 20 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 527.4748 | 160.7798 | 0.052275 | 0.87563 | 0 |  | -1 | -1 | 3 | -1 | 927 | 967 | 6.1921 | 6.3813 | 0.0066667 | 51 | -1 | 6.2321 | 0.11 | 98.1778 | 6.2328 | 0.108 | 99.116 | 6.2385 | 0.088023 | 290.427 | 90.6409 | 282.8915 | 92.0763 | 6.2555 | 171.7702 | 6.3021 | 193.189 | 6.2547 | 0.054 | 169.4776 | 0.021731 | 0.28834 | 0.036697 | 527.2682 | 6.283 | 0.00047221 | 2.9588e-06 | 6.7714e-07 | 1.1739 | 81408.5377 | 81451.8627 | 74897.7252 | 83598.8751 | 9.0383 | 8.6229 | 8.5254 | 8.5616 | -1 | -1 | -1 | -1 | 8.387 | 1.1382 | -1 | -1 | -1 | 6.2787 | 6.2367 | 0.096 | 1.1429 | 1.2857 | 70346.0399 | -1 | -1
|  | 8 | 5 | 21 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 332.5986 | 101.3668 | 0.05228 | 0.87361 | 0 |  | -1 | -1 | 5 | -1 | 927 | 967 | 6.1921 | 6.3902 | 0.0066667 | 51 | -1 | 6.2314 | 0.11 | 26.9248 | 6.2321 | 0.108 | 27.5162 | 6.2385 | 0.087992 | 147.9986 | 22.4525 | 143.4705 | 22.7484 | 6.2555 | 73.3684 | 6.3021 | 86.7288 | 6.2541 | 0.054667 | 71.8709 | 0.021819 | 0.30802 | 0.11486 | 332.6428 | 6.2831 | 0.00047605 | 3.1993e-06 | 7.059e-07 | 1.1571 | 81466.0545 | 81451.8627 | 73082.0903 | 82927.6472 | 39.0788 | 39.9526 | 38.346 | 38.5092 | -1 | -1 | -1 | -1 | 38.8414 | 3.0309 | -1 | -1 | -1 | 6.2787 | 6.2367 | 0.095333 | 1.1349 | 1.2698 | 71782.6845 | -1 | -1
|  | 21 | 6 | 22 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 434.926 | 132.1527 | 0.052396 | 0.86811 | 0 |  | -1 | -1 | 6 | -1 | 927 | 973 | 6.1788 | 6.4788 | 0.0066667 | 57 | -1 | 6.2313 | 0.10963 | 18.4126 | 6.2321 | 0.10741 | 19.1836 | 6.2385 | 0.088056 | 176.1533 | 12.7503 | 170.3345 | 12.7695 | 6.2557 | 79.7749 | 6.3023 | 95.9321 | 6.2543 | 0.054074 | 77.0044 | 0.022444 | 0.55149 | 1.522 | 434.926 | 6.2834 | 0.00050374 | 6.2353e-06 | 1.1475e-06 | 1.1508 | 81348.7249 | 82003.1428 | 74692.6665 | 78375.151 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.2787 | 6.2365 | 0.095556 | 1.1316 | 1.2632 | 71639.2085 | -1 | -1
|  | 7 | 4 | 23 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 332.1297 | 101.2903 | 0.052255 | 0.8762 | 0 |  | -1 | -1 | 4 | -1 | 927 | 967 | 6.1921 | 6.3811 | 0.0066667 | 51 | -1 | 6.2321 | 0.11 | 57.7 | 6.2328 | 0.108 | 58.291 | 6.2385 | 0.087978 | 178.8135 | 52.9392 | 174.0786 | 53.8719 | 6.2555 | 103.986 | 6.3021 | 117.5699 | 6.2547 | 0.054 | 102.6149 | 0.021718 | 0.28706 | 0.036802 | 332.0061 | 6.283 | 0.00047167 | 2.9406e-06 | 6.7562e-07 | 1.1739 | 81492.9346 | 81451.8627 | 74897.7252 | 83694.6964 | 9.0283 | 7.7177 | 8.5251 | 8.5614 | -1 | -1 | -1 | -1 | 8.102 | 1.1382 | -1 | -1 | -1 | 6.2787 | 6.2367 | 0.096 | 1.1429 | 1.2857 | 70346.0399 | -1 | -1
|  | 11 | 7 | 16 | 6 | 4 | 0 | 0 | 0 | 6.2805 | 0 | BB | 338.838 | 102.8701 | 0.052428 | 0.86689 | 0 |  | -1 | -1 | 7 | -1 | 927 | 982 | 6.1788 | 6.5388 | 0.0066667 | 66 | -1 | 6.2311 | 0.10952 | 8.0544 | 6.2321 | 0.10762 | 8.6545 | 6.2384 | 0.088169 | 130.6953 | 3.6595 | 126.1704 | 3.6464 | 6.2561 | 56.9713 | 6.3024 | 68.122 | 6.254 | 0.055238 | 53.6636 | 0.02272 | 0.69897 | 2.7184 | 338.838 | 6.2835 | 0.00051621 | 8.1978e-06 | 1.5238e-06 | 1.1531 | 81140.5678 | 82161.6795 | 71577.8679 | 76484.4004 | 9.3804 | 9.6907 | 8.7438 | 8.781 | -1 | -1 | -1 | -1 | 9.4758 | 1.1383 | -1 | -1 | -1 | 6.2787 | 6.2359 | 0.09619 | 1.1222 | 1.2444 | 71226.9671 | -1 | -1
|  | 3 | 1 | 25 | 7 | 3 | 0 | 0 | 0 | 6.68 | 0 | BB | 18.0126 | 6.5708 | 0.043982 | 0.76966 | 0 |  | -1 | -1 | 1 | -1 | 989 | 1023 | 6.6388 | 6.7454 | 0.0066667 | 45 | -1 | 6.6388 | 0.076364 | 40.9094 | 6.6388 | 0.076364 | 40.9473 | 6.6466 | 0.073108 | 48.5521 | 41.7817 | 49.2447 | 39.1666 | 6.6624 | 44.9867 | 6.7016 | 43.7645 | 6.6551 | 0.046667 | 43.7903 | 0.017009 | 0.16057 | -0.39506 | 18.0126 | 6.6834 | 0.00028932 | 7.9018e-07 | 2.1805e-07 | 0.95455 | 133531.4333 | 191230.8912 | 113471.4429 | 154389.5888 | 4.9564 | 5.3601 | 4.6332 | 4.6529 | -1 | -1 | -1 | -1 | 5.1153 | 1.0636 | -1 | -1 | -1 | 6.6787 | 6.6388 | 0.074545 | 0.93182 | 0.86364 | 139010.5894 | -1 | -1
|  | 2 | 2 | 24 | 7 | 4 | 0 | 0 | 0 | 6.6814 | 0 | BB | 12.7131 | 4.6793 | 0.043697 | 0.90239 | 0 |  | -1 | -1 | 2 | -1 | 989 | 1023 | 6.6388 | 6.7387 | 0.0066667 | 45 | -1 | 6.6388 | 0.083636 | 107.8368 | 6.6388 | 0.08303 | 107.8637 | 6.6462 | 0.073021 | 113.5385 | 107.833 | 113.5181 | 107.3988 | 6.6624 | 110.4626 | 6.7016 | 110.2499 | 6.6581 | 0.046667 | 109.8826 | 0.016865 | 0.13829 | -0.42916 | 12.7131 | 6.683 | 0.00028441 | 6.6329e-07 | 2.0796e-07 | 1.0379 | 133849.7503 | 159419.2975 | 113471.4429 | 157031.0851 | 4.9772 | 5.1941 | 4.6489 | 4.6686 | -1 | -1 | -1 | -1 | 5.1642 | 1.0638 | -1 | -1 | -1 | 6.6787 | 6.6412 | 0.078182 | 1.0403 | 1.0806 | 130568.5976 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 23:31:27
ResNewDateTime | 02 September 2019 23:31:27
ResModBy | SYSTEM
ResModTime | 09/02/19 23:31:28
ResModDateTime | 02 September 2019 23:31:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 8357.557

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 8357.557

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2863.7251

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1254.0848

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 616.9287

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 393.9582

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 434.926

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 358.6369

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 104.1777

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 8357.557

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2863.7251

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1254.0848

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 616.9287

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 393.9582

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 434.926

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 358.6369

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 104.1777

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 1.4638 | 1183.428 | 50.1738 | 0.28718 | 4.2443 | 9.7377 | 0.79208 | 0 | -45.8641 | 1.6054 | -1.4211e-14 | 21.4577 | 1 | 82.7727 | -111.427 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0712 | 610.9808 | 133.8323 | 0.071262 | 0.5962 | 36.6637 | 2.0054 | 0 | 45.7706 | 2.2054 | 0 | 18.0969 | 1 | -138.3686 | 323.2574 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.6183 | 2844.9033 | 85.2289 | 0.46943 | 0.4673 | 36.8536 | 2.2521 | 0 | 17.2043 | 3.4545 | 0 | 81.718 | 1 | 53.653 | -103.6269 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.8957 | 16.8068 | 5.1746 | 0.049892 | 0.65054 | 65.0717 | 4.8521 | 1.4211e-14 | 65.7272 | 5.1521 | 1.4211e-14 | 61.214 | 1 | -15.0442 | 138.723 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.5178 | 1992.9991 | 629.4341 | 0.048941 | 0.94709 | 56.2596 | 5.4034 | 0 | 57.8729 | 6.1854 | 0 | 46.845 | 1 | -14.102 | 134.072 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.2804 | 1690.4264 | 512.9963 | 0.052444 | 0.86597 | 45.5374 | 6.2094 | 7.1054e-15 | 46.5789 | 6.4721 | 0 | 42.7279 | 1 | -14.6578 | 137.5942 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.68 | 18.0126 | 6.5708 | 0.043982 | 0.76966 | 40.5873 | 6.6388 | -2.8422e-14 | 42.0623 | 6.7454 | -2.8422e-14 | 38.2466 | 1 | -35.7717 | 279.5418 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 1.4638 | 735.1621 | 34.2411 | 0.26248 | 3.7788 | 17.9529 | 0.82542 | 0 | -14.1716 | 1.6073 | -7.1054e-15 | 25.1768 | 1 | 50.3234 | -55.7094 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0712 | 411.5636 | 90.0997 | 0.071292 | 0.59504 | 35.2628 | 2.0054 | 0 | 41.8358 | 2.2054 | 0 | 21.8511 | 1 | -99.9236 | 242.2243 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5178 | 623.5034 | 192.8444 | 0.049721 | 1.0299 | 100.505 | 5.2721 | 0 | 98.9695 | 5.6277 | 0 | 101.1921 | 1 | 6.2494 | 66.0221 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2805 | 1080.783 | 328.9911 | 0.052327 | 0.87179 | 104.6228 | 6.1921 | 0 | 103.9982 | 6.3929 | 0 | 105.4176 | 1 | 7.0681 | 60.2319 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.6814 | 12.7131 | 4.6793 | 0.043697 | 0.90239 | 107.6238 | 6.6388 | 0 | 107.8773 | 6.7387 | 0 | 107.2826 | 1 | -5.9462 | 147.3523 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 1.4637 | 82.0192 | 10.6011 | 0.10226 | 0.58224 | 18.9997 | 1.3054 | 0 | 20.2708 | 1.6112 | -3.5527e-15 | 17.816 | 1 | -8.0291 | 30.7521 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0714 | 220.8259 | 48.2691 | 0.071374 | 0.59594 | 22.1405 | 2.0054 | 0 | 25.0683 | 2.2054 | 0 | 16.1967 | 1 | -44.3578 | 114.0241 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5179 | 423.7649 | 132.9892 | 0.049175 | 1.0059 | 80.4114 | 5.3787 | 0 | 78.3839 | 5.6146 | 0 | 81.8206 | 1 | 14.5735 | -0.003137 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2805 | 527.4748 | 160.7798 | 0.052275 | 0.87563 | 91.3269 | 6.1921 | 0 | 89.8848 | 6.3813 | 0 | 92.9698 | 1 | 16.307 | -11.0893 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 2.0719 | 122.1006 | 26.5712 | 0.071611 | 0.59776 | 21.1813 | 2.0054 | 0 | 21.9774 | 2.2188 | 0 | 19.4225 | 1 | -11.9761 | 45.9944 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5179 | 162.6983 | 49.7377 | 0.050163 | 1.0747 | 46.5224 | 5.3854 | 0 | 45.3606 | 5.6082 | 0 | 47.3143 | 1 | 8.769 | -1.8641 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2805 | 332.1297 | 101.2903 | 0.052255 | 0.8762 | 53.3851 | 6.1921 | 0 | 52.4473 | 6.3811 | 0 | 54.4513 | 1 | 10.6018 | -13.2 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 2.0722 | 61.3596 | 13.206 | 0.072207 | 0.59489 | 15.1425 | 1.9921 | 0 | 15.347 | 2.2387 | 0 | 14.7171 | 1 | -2.5537 | 20.4341 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2805 | 332.5986 | 101.3668 | 0.05228 | 0.87361 | 22.5939 | 6.1921 | 0 | 22.2964 | 6.3902 | 0 | 22.9627 | 1 | 3.3632 | 1.4714 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.2805 | 434.926 | 132.1527 | 0.052396 | 0.86811 | 12.7594 | 6.1788 | 0 | 12.7373 | 6.4788 | 0 | 12.8026 | 1 | 0.21776 | 11.3918 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 5.5177 | 19.7989 | 7.138 | 0.04436 | 0.85408 | 4.7318 | 5.4721 | 0 | 5.3296 | 5.5854 | 0 | 3.8443 | 1 | -13.106 | 77.0468 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2805 | 338.838 | 102.8701 | 0.052428 | 0.86689 | 3.6532 | 6.1788 | 0 | 3.6683 | 6.5388 | 0 | 3.6149 | 1 | -0.14835 | 4.5849 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.2805 | 104.1777 | 31.5796 | 0.052487 | 0.866 | 6.7676 | 6.1788 | 0 | 6.7878 | 6.5388 | 0 | 6.7163 | 1 | -0.19868 | 8.0154 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2