## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567426252
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 16
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 16
Vial | 16
SampleLocation | 16
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 13:10:52
SampleName | CS-135_0016
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | PMP1, Start/Stop Conditions | 0
NumberOfCol | 3 | DAD1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
StartPressure | 25.556
StopPressure | 61.573
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
DAD1UVOnTime | 3.0592
DAD1UVBurnTime | 149.7258
DAD1VisOnTime | 3.0586
DAD1VisBurnTime | 135.2369
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 10 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 11 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 16 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 24 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 41 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 8 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 11673.1244 | 1816.037 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 7 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 5843.9702 | 955.4858 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 2132.7852 | 460.0323 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
Modified | 1 | 1 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 837.4041 | 224.7003 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 3 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 526.9881 | 147.9093 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 4 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 546.2347 | 161.2386 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
|  | 5 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 402.7573 | 122.35 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0
|  | 6 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0016.D | 143.0355 | 43.9375 | 0 | 0 | 0 | 0 | 0.0058333 | 8.4992 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 42 | 20 | 4 | 2 | 1 | 4 | 0 | 0 | 0 | 0.32117 | 0 | BB | 154.2961 | 32.1545 | 0.067983 | 1.1424 | 0 |  | -1 | -1 | 4 | -1 | 28 | 80 | 0.2125 | 0.43917 | 0.0066667 | 63 | -1 | 0.2125 | 0.155 | 47.4772 | 0.2125 | 0.155 | 47.6682 | 0.27373 | 0.097041 | 81.5197 | 55.2005 | 93.1261 | 38.2072 | 0.30887 | 74.6954 | 0.34947 | 61.7905 | 0.2125 | 0.1375 | 61.9958 | 0.03706 | -0.19003 | -0.10736 | 154.2961 | 0.31573 | 0.0013735 | -9.6727e-06 | 5.4567e-06 | 0.68382 | 180.3862 | 110.4759 | 31.1097 | 72.5801 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32583 | 0.2125 | 0.1525 | 0.67279 | 0.34559 | 45.9418 | -1 | -1
NumberOfCol | 81 | 9 | 3 | 3 | 1 | 4 | 0 | 0 | 0 | 0.32458 | 0 | BB | 830.5303 | 86.3628 | 0.1262 | 1.7834 | 0 |  | -1 | -1 | 3 | -1 | 10 | 107 | 0.065833 | 0.4925 | 0.0066667 | 108 | -1 | 0.065833 | 0.34 | 57.9071 | 0.065833 | 0.34 | 58.4238 | 0.23659 | 0.1682 | 145.2898 | 74.2131 | 160.5956 | 36.3396 | 0.30882 | 132.564 | 0.35347 | 115.8359 | 0.065833 | 0.30267 | 97.1765 | 0.077325 | -0.45271 | -0.35528 | 830.5303 | 0.28807 | 0.0059792 | -0.00020931 | 9.4551e-05 | 0.65385 | 60.0443 | 22.9601 | 6.4205 | 13.8786 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32583 | 0.065833 | 0.33467 | 0.64359 | 0.28718 | 8.353 | -1 | -1
NumberOfHead | 9 | 21 | 5 | 4 | 1 | 4 | 0 | 0 | 0 | 0.32496 | 0 | BB | 66.4022 | 17.9154 | 0.055242 | 1.4152 | 0 |  | -1 | -1 | 5 | -1 | 30 | 75 | 0.19917 | 0.41917 | 0.0066667 | 56 | -1 | 0.19917 | 0.16519 | 19.302 | 0.19917 | 0.16519 | 19.4072 | 0.28952 | 0.073534 | 39.8186 | 20.244 | 45.6511 | 16.7747 | 0.30934 | 31.1889 | 0.34944 | 27.0931 | 0.29694 | 0.051852 | 27.2961 | 0.033573 | -0.84239 | 0.49492 | 66.4022 | 0.31325 | 0.0011271 | -3.1877e-05 | 4.4401e-06 | 0.65205 | 314.148 | 97.2722 | 218.7622 | 87.0572 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.32583 | 0.19917 | 0.16296 | 0.64327 | 0.28655 | 35.1714 | -1 | -1
Modified | 1 | 19 | 6 | 5 | 1 | 4 | 0 | 0 | 0 | 0.32793 | 0 | BB | 42.6563 | 14.1235 | 0.047236 | 1.2442 | 0 |  | -1 | -1 | 6 | -1 | 28 | 72 | 0.18583 | 0.41917 | 0.0066667 | 55 | -1 | 0.18583 | 0.18148 | 10.2849 | 0.18583 | 0.18148 | 10.3679 | 0.2962 | 0.066161 | 27.8678 | 10.0404 | 30.9811 | 9.3761 | 0.30951 | 17.5189 | 0.34949 | 17.4513 | 0.30583 | 0.045185 | 16.5963 | 0.029415 | -1.5009 | 2.764 | 42.6563 | 0.31993 | 0.00086524 | -3.8199e-05 | 4.3151e-06 | 0.61869 | 404.1062 | 83.9187 | 299.986 | 118.2947 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.3325 | 0.18583 | 0.17852 | 0.60859 | 0.21717 | 24.7088 | -1 | -1
NextPeakSignal_ | Peak | 29 | 7 | 6 | 1 | 4 | 0 | 0 | 0 | 0.32834 | 0 | BB | 37.8016 | 12.8348 | 0.046361 | 1.1952 | 0 |  | -1 | -1 | 7 | -1 | 27 | 71 | 0.17917 | 0.42583 | 0.0066667 | 55 | -1 | 0.17917 | 0.18889 | 1.5111 | 0.17917 | 0.18889 | 1.5868 | 0.29688 | 0.065599 | 17.6526 | 1.1531 | 20.2123 | 0.79064 | 0.30931 | 7.675 | 0.34953 | 8.1552 | 0.30657 | 0.045185 | 7.2616 | 0.028792 | -1.6123 | 3.5741 | 37.8016 | 0.32138 | 0.00082895 | -3.8481e-05 | 4.5175e-06 | 0.61594 | 411.0685 | 77.4659 | 299.986 | 124.5972 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.3325 | 0.25694 | 0.10815 | 0.71569 | 0.43137 | 110.4674 | -1 | -1
Signal_ | Signal | 35 | 8 | 8 | 1 | 4 | 0 | 0 | 0 | 0.32864 | 0 | BB | 37.4249 | 12.6888 | 0.04641 | 1.1862 | 0 |  | -1 | -1 | 8 | -1 | 27 | 71 | 0.17917 | 0.4325 | 0.0066667 | 55 | -1 | 0.17917 | 0.18963 | 4.9656 | 0.17917 | 0.18963 | 5.0406 | 0.29695 | 0.065955 | 20.8977 | 4.5968 | 23.3158 | 4.2613 | 0.30932 | 10.9586 | 0.34956 | 11.6863 | 0.30731 | 0.044444 | 10.6621 | 0.028618 | -1.5973 | 3.6333 | 37.4249 | 0.32198 | 0.00081899 | -3.7438e-05 | 4.4493e-06 | 0.61836 | 406.6437 | 76.8619 | 310.0688 | 126.585 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.3325 | 0.26287 | 0.10296 | 0.73936 | 0.47872 | 130.2433 | -1 | -1
NextPeakComp_ | Peak | 10 | 2 | 1 | 1 | 3 | 0 | 0 | 0 | 0.33859 | 0 | BB | 1529.2446 | 147.176 | 0.14122 | 1.9362 | 0 |  | -1 | -1 | 2 | -1 | 1 | 115 | 0.0058333 | 0.5125 | 0.0066667 | 120 | -1 | 0.0325 | 0.39833 | 43.7512 | 0.0325 | 0.39833 | 44.6277 | 0.24746 | 0.18783 | 199.1157 | 59.6537 | 203.1197 | 13.9158 | 0.3134 | 160.5569 | 0.37952 | 123.0469 | 0.0325 | 0.355 | 110.3644 | 0.093225 | -0.63271 | -0.20226 | 1529.2446 | 0.28846 | 0.0086909 | -0.00051263 | 0.00021132 | 0.64946 | 52.167 | 18.1248 | 5.0568 | 9.5744 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.33917 | 0.0325 | 0.39167 | 0.63859 | 0.27717 | 6.437 | -1 | -1
Compound_ | Compound | 11 | 1 | 7 | 1 | 4 | 0 | 0 | 0 | 0.34628 | 0 | BB | 1512.1324 | 171.4491 | 0.1229 | 1.5846 | 0 |  | -1 | -1 | 1 | -1 | 1 | 108 | 0.0058333 | 0.51917 | 0.0066667 | 113 | -1 | 0.0325 | 0.415 | -12.1985 | 0.0325 | 0.41333 | -11.1836 | 0.27295 | 0.16714 | 173.6835 | -6.9179 | 171.7776 | -36.0991 | 0.31847 | 105.1893 | 0.38154 | 93.6376 | 0.29583 | 0.098333 | 64.9386 | 0.090436 | -0.85252 | 0.31398 | 1512.1325 | 0.30923 | 0.0081787 | -0.00063057 | 0.00022168 | 0.65957 | 68.4975 | 17.3611 | 68.5239 | 11.692 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.34583 | 0.0325 | 0.405 | 0.64628 | 0.29255 | 6.5135 | -1 | -1
RTRatioRefComp_ | Compound | 18 | 3 | 10 | 2 | 4 | 0 | 0 | 0 | 1.4969 | 0 | BB | 17.8473 | 6.5005 | 0.044031 | 1.1421 | 0 |  | -1 | -1 | 3 | -1 | 211 | 245 | 1.4458 | 1.544 | 0.0066667 | 45 | -1 | 1.4628 | 0.08116 | 12.442 | 1.4628 | 0.08116 | 12.479 | 1.4581 | 0.073826 | 20.813 | 10.7491 | 19.7694 | 13.3026 | 1.4762 | 15.4433 | 1.5163 | 16.186 | 1.4749 | 0.047879 | 15.2588 | 0.017111 | 0.057888 | -0.44409 | 18.066 | 1.4952 | 0.00029278 | 2.9e-07 | 2.1909e-07 | 1.116 | 6597.8389 | 8530.0478 | 5431.544 | 7636.3164 | 9.6877 | 6.9589 | 3.9295 | 3.9462 | -1 | -1 | -1 | -1 | 6.3915 | 4.6118 | -1 | -1 | -1 | 1.4992 | 1.4646 | 0.079342 | 1.1484 | 1.2967 | 5845.7621 | -1 | -1
|  | 13 | 2 | 11 | 2 | 4 | 0 | 0 | 0 | 1.497 | 0 | BV | 56.4833 | 17.5059 | 0.049643 | 0.91914 | 0 |  | -1 | -1 | 2 | -1 | 210 | 233 | 1.4125 | 1.5438 | 0.0066667 | 34 | -1 | 1.4565 | 0.087274 | 16.2045 | 1.4569 | 0.08683 | 16.3075 | 1.4562 | 0.084958 | 37.9762 | 13.7942 | 35.5181 | 17.0698 | 1.4773 | 26.287 | 1.5173 | 27.0464 | 1.4729 | 0.053778 | 24.0306 | 0.016624 | 0.10979 | -0.48599 | 39.3924 | 1.4958 | 0.00027636 | 5.0437e-07 | 1.92e-07 | 1.0282 | 4982.0657 | 7376.8136 | 4305.3047 | 8096.6442 | 8.4932 | 5.9639 | 3.3299 | 3.344 | -1 | -1 | -1 | -1 | 5.4957 | 4.4213 | -1 | 3.687 | 3.687 | 1.4992 | 1.4596 | 0.084163 | 1.0639 | 1.1277 | 5564.5902 | -1 | -1
|  | 12 | 1 | 9 | 2 | 3 | 0 | 0 | 0 | 1.4971 | 0 | BV | 964.4775 | 51.9345 | 0.22866 | 8.077 | 0 |  | -1 | -1 | 1 | -1 | 126 | 233 | 0.83917 | 1.5434 | 0.0066667 | 118 | -1 | 1.1325 | 0.41089 | -13.3726 | 1.1342 | 0.40922 | -13.0663 | 1.4195 | 0.16589 | 43.1457 | -20.3546 | 39.5804 | -10.491 | 1.4736 | 23.8645 | 1.5151 | 29.4058 | 1.4475 | 0.09589 | 9.9071 | 0.15849 | 0.31487 | -0.96949 | 256.0598 | 1.2493 | 0.02512 | 0.0012536 | 0.0012812 | 0.56058 | 1306.732 | 332.8039 | 1354.1337 | 62.1332 | 6.9113 | 3.4836 | 6.9623 | 6.9919 | -1 | -1 | -1 | -1 | 1.8882 | 4.3235 | -1 | 1.5255 | 1.5255 | 1.4992 | 1.1558 | 0.38756 | 0.5644 | 0.12881 | 69.2256 | -1 | -1
|  | 14 | 1 | 13 | 3 | 3 | 0 | 0 | 0 | 1.6247 | 0 | VV | 262.1011 | 40.041 | 0.088368 | 2.2442 | 0 |  | -1 | -1 | 1 | -1 | 232 | 251 | 1.5434 | 1.6664 | 0.0066667 | 30 | -1 | 1.5434 | 0.12284 | -6.336 | 1.5434 | 0.12284 | -6.0971 | 1.2564 | 0.45975 | 32.6027 | -30.0511 | 35.306 | -2.7148 | 1.611 | 30.2666 | 1.651 | 24.3906 | 1.5434 | 0.12284 | 11.8159 | 0.023198 | -0.37185 | -0.53049 | 39.7206 | 1.6115 | 0.00053817 | -4.6424e-06 | 7.1523e-07 | 0.74497 | 200.0923 | 4379.7107 | 970.5439 | 4825.3266 | 0.4078 | 0.59754 | 0.6853 | 0.68821 | -1 | -1 | -1 | -1 | 0.99666 | 1.0852 | 1.1761 | 1.5223 | 1.1761 | 1.6258 | 1.5434 | 0.12284 | 0.74497 | 0.48994 | 2219.7521 | -1 | -1
|  | 15 | 2 | 12 | 3 | 4 | 0 | 0 | 0 | 1.6257 | 0 | VB | 44.7957 | 9.276 | 0.068341 | 2.7872 | 0 |  | -1 | -1 | 2 | -1 | 232 | 251 | 1.5438 | 1.6658 | 0.0066667 | 30 | -1 | 1.5438 | 0.12206 | 20.7369 | 1.5438 | 0.12206 | 20.792 | 1.506 | 0.15533 | 30.1075 | 15.7145 | 31.9808 | 21.7034 | 1.611 | 28.3327 | 1.651 | 24.7055 | 1.5811 | 0.06902 | 24.9216 | 0.023259 | -0.38254 | -0.52333 | 27.4836 | 1.6126 | 0.00054096 | -4.8131e-06 | 7.2477e-07 | 0.74373 | 1752.9057 | 4435.5842 | 3074.0918 | 4807.1626 | 1.071 | 1.5367 | 1.2312 | 1.2365 | -1 | -1 | -1 | -1 | 1.4638 | 1.086 | 1.9537 | -1 | 1.9537 | 1.6258 | 1.5438 | 0.12206 | 0.74373 | 0.48745 | 2240.9818 | -1 | -1
|  | 16 | 1 | 15 | 4 | 3 | 0 | 0 | 0 | 1.8608 | 0 | VV | 1636.0095 | 74.3345 | 0.32677 | 0.69086 | 0 |  | -1 | -1 | 1 | -1 | 250 | 328 | 1.6664 | 2.1796 | 0.0066667 | 89 | -1 | 1.6664 | 0.51327 | 9.0609 | 1.6664 | 0.51327 | 9.5074 | 1.6335 | 0.58724 | 145.3985 | -7.6294 | 83.9617 | 27.2875 | 1.6943 | 33.2969 | 1.9312 | 72.8689 | 1.7085 | 0.47114 | 42.9967 | 0.10381 | 0.494 | -0.31439 | 761.1763 | 1.8728 | 0.010777 | 0.00055271 | 0.00031193 | 1.3312 | 160.3707 | 328.0127 | 86.2658 | 325.4304 | 0.45099 | 0.92787 | 0.46703 | 0.46901 | -1 | -1 | -1 | -1 | 1.0286 | 1.1453 | 2.8261 | 2.4352 | 2.4352 | 1.8592 | 1.6664 | 0.51327 | 1.3312 | 1.6623 | 187.8657 | -1 | -1
|  | 17 | 2 | 14 | 4 | 4 | 0 | 0 | 0 | 1.8624 | 0 | BV | 748.8038 | 37.8565 | 0.30077 | 0.63936 | 0 |  | -1 | -1 | 2 | -1 | 250 | 328 | 1.6672 | 2.1789 | 0.0066667 | 89 | -1 | 1.6885 | 0.49041 | 27.7127 | 1.6885 | 0.49041 | 27.9401 | 1.6768 | 0.49785 | 109.5741 | 22.1517 | 66.5102 | 32.7805 | 1.6955 | 30.9441 | 1.9323 | 58.966 | 1.7298 | 0.44907 | 44.9989 | 0.10316 | 0.47762 | -0.34408 | 531.329 | 1.8742 | 0.010642 | 0.00052432 | 0.00030077 | 1.4367 | 223.1335 | 359.3045 | 94.9534 | 330.0902 | 0.72487 | 0.96631 | 0.53689 | 0.53918 | -1 | -1 | -1 | -1 | 1.0347 | 1.1456 | -1 | 2.6674 | 2.6674 | 1.8592 | 1.6925 | 0.48641 | 1.4592 | 1.9184 | 192.2765 | -1 | -1
|  | 22 | 1 | 17 | 5 | 3 | 0 | 0 | 0 | 2.2463 | 0 | VB | 1298.792 | 242.7316 | 0.080425 | 0.57512 | 0 |  | -1 | -1 | 1 | -1 | 327 | 379 | 2.1796 | 2.5162 | 0.0066667 | 63 | -1 | 2.1796 | 0.33619 | 39.3286 | 2.1796 | 0.33619 | 40.7675 | 2.1946 | 0.13605 | 329.1876 | 25.728 | 295.4304 | 33.8175 | 2.2213 | 182.4712 | 2.2764 | 202.0172 | 2.215 | 0.079167 | 148.6791 | 0.031607 | 0.68421 | 0.88441 | 990.836 | 2.2599 | 0.00099901 | 2.1605e-05 | 3.8767e-06 | 2.5396 | 4359.8912 | 1115.6487 | 4458.4109 | 5112.2719 | 1.0661 | 1.1347 | 0.82319 | 0.82669 | -1 | -1 | -1 | -1 | 1.4294 | 1.2072 | 7.9518 | -1 | 7.9518 | 2.2458 | 2.1796 | 0.18119 | 1.3687 | 1.7374 | 2144.5035 | -1 | -1
|  | 23 | 2 | 18 | 5 | 4 | 0 | 0 | 0 | 2.2463 | 0 | VB | 809.6254 | 157.9321 | 0.077808 | 0.58124 | 0 |  | -1 | -1 | 2 | -1 | 327 | 378 | 2.1789 | 2.5157 | 0.0066667 | 62 | -1 | 2.1789 | 0.28776 | 41.1618 | 2.1789 | 0.25693 | 42.0975 | 2.1961 | 0.1329 | 230.9396 | 33.2378 | 208.2961 | 36.0752 | 2.2214 | 132.7298 | 2.2764 | 145.7205 | 2.2158 | 0.0775 | 112.2764 | 0.032234 | 0.82268 | 1.657 | 667.0883 | 2.2595 | 0.001039 | 2.7553e-05 | 5.0276e-06 | 1.9195 | 4568.8627 | 1522.7773 | 4652.2325 | 4913.4035 | 1.2172 | 1.2333 | 0.85661 | 0.86026 | -1 | -1 | -1 | -1 | 1.4227 | 1.2061 | 11.128 | -1 | 11.128 | 2.2458 | 2.19 | 0.15583 | 1.3955 | 1.791 | 2848.0497 | -1 | -1
|  | 30 | 3 | 19 | 5 | 4 | 0 | 0 | 0 | 2.2464 | 0 | BB | 360.4327 | 79.0015 | 0.069227 | 0.58532 | 0 |  | -1 | -1 | 3 | -1 | 316 | 376 | 2.1792 | 2.4992 | 0.0066667 | 71 | -1 | 2.1925 | 0.15048 | 28.1442 | 2.1935 | 0.14762 | 28.6117 | 2.1995 | 0.12593 | 124.6481 | 25.1336 | 112.2972 | 23.9978 | 2.2211 | 70.965 | 2.2767 | 78.4637 | 2.2173 | 0.073333 | 63.674 | 0.032483 | 0.85936 | 1.8801 | 360.4327 | 2.2599 | 0.0010551 | 2.9453e-05 | 5.4329e-06 | 1.4091 | 5088.9084 | 5568.7725 | 5195.9141 | 4840.4463 | 7.5043 | 8.0893 | 7.2656 | 7.2965 | -1 | -1 | -1 | -1 | 7.7095 | 1.5007 | -1 | -1 | -1 | 2.2458 | 2.1982 | 0.13238 | 1.39 | 1.78 | 3960.9328 | -1 | -1
|  | 28 | 6 | 20 | 5 | 4 | 0 | 0 | 0 | 2.2465 | 0 | BB | 41.0381 | 8.9564 | 0.071457 | 0.59413 | 0 |  | -1 | -1 | 6 | -1 | 316 | 370 | 2.1592 | 2.4058 | 0.0066667 | 65 | -1 | 2.1925 | 0.1525 | 9.9034 | 2.1933 | 0.15 | 9.9564 | 2.1993 | 0.12676 | 20.8391 | 9.5424 | 19.4281 | 9.4669 | 2.2211 | 14.7577 | 2.2765 | 15.674 | 2.2175 | 0.073333 | 13.9316 | 0.03154 | 0.53958 | 0.080378 | 41.0381 | 2.2596 | 0.00099475 | 1.6929e-05 | 3.0481e-06 | 1.4286 | 5022.319 | 5421.9483 | 5195.9141 | 5132.6498 | 19.8891 | 14.361 | 19.0204 | 19.1013 | -1 | -1 | -1 | -1 | 15.9107 | 6.8504 | -1 | -1 | -1 | 2.2458 | 2.1983 | 0.13333 | 1.4035 | 1.807 | 3870.0422 | -1 | -1
|  | 32 | 4 | 21 | 5 | 4 | 0 | 0 | 0 | 2.2465 | 0 | BB | 201.8152 | 44.1762 | 0.069298 | 0.58709 | 0 |  | -1 | -1 | 4 | -1 | 316 | 375 | 2.1792 | 2.4925 | 0.0066667 | 70 | -1 | 2.1925 | 0.15238 | 21.1909 | 2.1935 | 0.14952 | 21.4523 | 2.1995 | 0.1263 | 75.2064 | 19.3898 | 68.2023 | 19.0738 | 2.2212 | 45.1907 | 2.2768 | 49.4423 | 2.2173 | 0.074286 | 41.0581 | 0.031726 | 0.63949 | 0.61637 | 201.8152 | 2.2597 | 0.0010066 | 2.0422e-05 | 3.664e-06 | 1.4273 | 5058.9887 | 5430.4234 | 5063.5395 | 5073.0584 | 17.241 | 15.659 | 10.6818 | 10.7272 | -1 | -1 | -1 | -1 | 14.1306 | 6.9946 | -1 | -1 | -1 | 2.2458 | 2.1982 | 0.13333 | 1.4 | 1.8 | 3878.9465 | -1 | -1
|  | 31 | 5 | 16 | 5 | 4 | 0 | 0 | 0 | 2.2465 | 0 | BB | 101.5097 | 22.1889 | 0.069373 | 0.58732 | 0 |  | -1 | -1 | 5 | -1 | 316 | 369 | 2.1725 | 2.4125 | 0.0066667 | 64 | -1 | 2.1933 | 0.1525 | 13.3228 | 2.1942 | 0.15 | 13.4541 | 2.1994 | 0.12652 | 40.4519 | 12.398 | 36.9194 | 12.2939 | 2.2215 | 25.5322 | 2.2766 | 27.5876 | 2.2175 | 0.073333 | 23.3018 | 0.031525 | 0.55657 | 0.10852 | 101.5097 | 2.2597 | 0.00099384 | 1.7438e-05 | 3.0704e-06 | 1.4516 | 5041.136 | 5421.9483 | 5195.9141 | 5137.8132 | 19.2098 | 15.1214 | 18.0358 | 18.1125 | -1 | -1 | -1 | -1 | 14.95 | 6.9131 | -1 | -1 | -1 | 2.2458 | 2.1983 | 0.13417 | 1.4123 | 1.8246 | 3800.3069 | -1 | -1
|  | 24 | 1 | 23 | 6 | 3 | 0 | 0 | 0 | 2.7557 | 0 | BB | 497.6824 | 41.6811 | 0.1933 | 1.1418 | 0 |  | -1 | -1 | 1 | -1 | 380 | 444 | 2.5325 | 2.9555 | 0.0066667 | 75 | -1 | 2.6058 | 0.34967 | 57.0204 | 2.6069 | 0.34856 | 57.2711 | 2.5844 | 0.32757 | 109.5188 | 47.5122 | 103.9926 | 62.4563 | 2.6562 | 73.4848 | 2.8356 | 82.7631 | 2.6625 | 0.2 | 76.0758 | 0.073782 | 0.013043 | -0.49597 | 495.9713 | 2.7481 | 0.0054437 | 5.2389e-06 | 7.4205e-05 | 1.1974 | 1129.7039 | 1549.0575 | 1049.3115 | 1387.3171 | 2.1975 | 1.8568 | 2.144 | 2.1532 | -1 | -1 | -1 | -1 | 2.3162 | 1.2268 | -1 | -1 | -1 | 2.7525 | 2.6147 | 0.34079 | 1.2367 | 1.4734 | 998.8745 | -1 | -1
|  | 25 | 2 | 22 | 6 | 4 | 0 | 0 | 0 | 2.7581 | 0 | BB | 346.6201 | 29.0944 | 0.19299 | 1.173 | 0 |  | -1 | -1 | 2 | -1 | 381 | 444 | 2.5392 | 2.953 | 0.0066667 | 74 | -1 | 2.6135 | 0.33953 | 50.2198 | 2.6144 | 0.33858 | 50.394 | 2.586 | 0.32648 | 87.1386 | 42.3117 | 82.6156 | 54.8128 | 2.6569 | 60.7867 | 2.836 | 68.5798 | 2.6668 | 0.19905 | 63.4647 | 0.07357 | 0.0147 | -0.49903 | 346.42 | 2.7493 | 0.0054125 | 5.8536e-06 | 7.3268e-05 | 1.1694 | 1142.7847 | 1650.9734 | 1064.5147 | 1396.4766 | 2.2281 | 2.0396 | 2.1744 | 2.1836 | -1 | -1 | -1 | -1 | 2.3147 | 1.2278 | -1 | -1 | -1 | 2.7592 | 2.6201 | 0.33286 | 1.1969 | 1.3939 | 1083.7247 | -1 | -1
|  | 26 | 1 | 25 | 7 | 3 | 0 | 0 | 0 | 3.224 | 0 | BB | 1840.5358 | 61.4836 | 0.40525 | 0.28906 | 0 |  | -1 | -1 | 1 | -1 | 444 | 730 | 2.9592 | 4.8572 | 0.0066667 | 297 | -1 | 2.9958 | 1.5067 | 66.7083 | 2.9992 | 1.48 | 67.0772 | 3.0271 | 0.46947 | 139.8299 | 64.3333 | 132.586 | 63.5543 | 3.1167 | 98.6997 | 3.304 | 112.317 | 3.1058 | 0.29 | 94.7402 | 0.41134 | 1.0661 | 0.23254 | 1841.1232 | 3.5421 | 0.1692 | 0.074201 | 0.092542 | 3.2647 | 755.4353 | 114.6013 | 685.4845 | 74.1513 | 1.1751 | 0.63068 | 1.123 | 1.1278 | -1 | -1 | -1 | -1 | 0.81831 | 1.1699 | -1 | -1 | -1 | 3.2258 | 3.0192 | 1.2467 | 3.0161 | 5.0323 | 44.443 | -1 | -1
|  | 27 | 2 | 24 | 7 | 4 | 0 | 0 | 0 | 3.2322 | 0 | BB | 606.5653 | 36.7018 | 0.24681 | 0.76692 | 0 |  | -1 | -1 | 2 | -1 | 446 | 597 | 2.9725 | 3.6442 | 0.0066667 | 162 | -1 | 3.0636 | 0.58056 | 68.4362 | 3.0658 | 0.57833 | 68.6563 | 3.0373 | 0.4133 | 115.0771 | 59.216 | 107.1908 | 75.3216 | 3.1195 | 82.7904 | 3.3047 | 96.6107 | 3.1258 | 0.30444 | 85.165 | 0.11868 | 0.55316 | -0.02399 | 607.8764 | 3.2617 | 0.014086 | 0.00092476 | 0.00059047 | 1.735 | 978.7357 | 775.0495 | 624.5551 | 755.2836 | 1.2816 | 1.2881 | 1.1063 | 1.111 | -1 | -1 | -1 | -1 | 1.3327 | 1.1719 | -1 | -1 | -1 | 3.2325 | 3.0725 | 0.57167 | 1.7865 | 2.5729 | 348.7647 | -1 | -1
|  | 33 | 1 | 27 | 8 | 3 | 0 | 0 | 0 | 5.5296 | 0 | BB | 1924.3867 | 616.8262 | 0.048398 | 0.90372 | 0 |  | -1 | -1 | 1 | -1 | 811 | 932 | 5.4058 | 6.2058 | 0.0066667 | 132 | -1 | 5.4808 | 0.105 | 77.9975 | 5.4825 | 0.10167 | 81.5671 | 5.49 | 0.081369 | 818.3937 | 52.3922 | 792.8177 | 51.2983 | 5.5074 | 388.5798 | 5.5505 | 422.9258 | 5.5042 | 0.051667 | 349.2803 | 0.035881 | 8.4068 | 121.9909 | 1924.3867 | 5.5328 | 0.0012874 | 0.00038833 | 0.00020716 | 1.0167 | 73967.5968 | 69407.157 | 63523.1057 | 23777.5731 | 8.3713 | 3.5764 | 7.929 | 7.9628 | -1 | -1 | -1 | -1 | 2.2256 | 1.7151 | -1 | -1 | -1 | 5.5325 | 5.4875 | 0.09 | 1 | 1 | 70034.3921 | -1 | -1
|  | 34 | 2 | 28 | 8 | 4 | 0 | 0 | 0 | 5.5296 | 0 | BB | 589.5656 | 188.7279 | 0.048445 | 0.94613 | 0 |  | -1 | -1 | 2 | -1 | 808 | 852 | 5.3858 | 5.6381 | 0.0066667 | 55 | -1 | 5.4814 | 0.10444 | 104.3464 | 5.4821 | 0.10222 | 105.4382 | 5.4904 | 0.080265 | 333.926 | 96.0854 | 326.1169 | 96.5704 | 5.5089 | 207.8617 | 5.5494 | 215.873 | 5.5044 | 0.051111 | 187.3262 | 0.023194 | -0.44348 | 2.0012 | 589.6216 | 5.5299 | 0.00053797 | -5.5337e-06 | 1.4474e-06 | 1.0147 | 76016.7317 | 70147.4948 | 64911.5479 | 56842.8491 | 9.3097 | 8.385 | 7.5925 | 7.6248 | -1 | -1 | -1 | -1 | 7.9935 | 1.7108 | -1 | -1 | -1 | 5.5325 | 5.4873 | 0.08963 | 0.9918 | 0.98361 | 70095.1612 | -1 | -1
|  | 38 | 6 | 29 | 8 | 4 | 0 | 0 | 0 | 5.5297 | 0 | BB | 20.8357 | 7.1641 | 0.045931 | 0.87484 | 0 |  | -1 | -1 | 6 | -1 | 816 | 851 | 5.4792 | 5.6058 | 0.0066667 | 46 | -1 | 5.4822 | 0.095758 | 10.2555 | 5.4834 | 0.093939 | 10.2969 | 5.4925 | 0.077235 | 19.0255 | 10.1091 | 18.7493 | 9.8053 | 5.5096 | 14.2129 | 5.5488 | 14.48 | 5.5052 | 0.049697 | 13.4045 | 0.018736 | 0.25206 | -0.16919 | 20.8357 | 5.5318 | 0.00035104 | 1.6578e-06 | 3.4884e-07 | 0.95679 | 82099.4117 | 83451.9652 | 68658.2601 | 87171.1166 | 32.1889 | 33.0624 | 31.3561 | 31.4895 | -1 | -1 | -1 | -1 | 32.5425 | 2.4615 | -1 | -1 | -1 | 5.5325 | 5.4889 | 0.084242 | 0.96528 | 0.93056 | 77368.457 | -1 | -1
|  | 40 | 7 | 30 | 8 | 4 | 0 | 0 | 0 | 5.5297 | 0 | BB | 22.6076 | 7.6839 | 0.046326 | 0.88074 | 0 |  | -1 | -1 | 7 | -1 | 816 | 851 | 5.4792 | 5.6125 | 0.0066667 | 46 | -1 | 5.4834 | 0.096364 | 1.6027 | 5.484 | 0.094545 | 1.6472 | 5.492 | 0.077974 | 10.9889 | 1.4023 | 10.6864 | 1.1608 | 5.5096 | 5.8809 | 5.5488 | 6.1693 | 5.5052 | 0.049697 | 4.9809 | 0.019059 | 0.25976 | -0.12791 | 22.6076 | 5.5317 | 0.00036325 | 1.7984e-06 | 3.7898e-07 | 0.975 | 80550.0876 | 82405.5559 | 68658.2601 | 84238.6545 | 72.4557 | 45.5852 | 64.412 | 64.6861 | -1 | -1 | -1 | -1 | 54.4436 | 16.8413 | -1 | -1 | -1 | 5.5325 | 5.4889 | 0.084848 | 0.97222 | 0.94444 | 76789.1707 | -1 | -1
|  | 37 | 3 | 31 | 8 | 4 | 0 | 0 | 0 | 5.5297 | 0 | BB | 388.5524 | 128.9473 | 0.047155 | 0.89497 | 0 |  | -1 | -1 | 3 | -1 | 815 | 852 | 5.4658 | 5.6258 | 0.0066667 | 48 | -1 | 5.484 | 0.10061 | 83.4087 | 5.4846 | 0.098788 | 84.1547 | 5.4911 | 0.079287 | 240.515 | 77.9173 | 234.8348 | 77.9567 | 5.5094 | 154.9273 | 5.5489 | 160.8908 | 5.5052 | 0.050303 | 140.1061 | 0.019879 | 0.29032 | 0.055465 | 388.5524 | 5.5316 | 0.00039517 | 2.2807e-06 | 4.7714e-07 | 1.0316 | 77903.9146 | 75602.2231 | 67013.8106 | 77432.1216 | 31.9985 | 32.6914 | 31.2034 | 31.3362 | -1 | -1 | -1 | -1 | 31.2416 | 2.4616 | -1 | -1 | -1 | 5.5325 | 5.4883 | 0.087879 | 0.99315 | 0.9863 | 73005.5162 | -1 | -1
|  | 36 | 5 | 32 | 8 | 4 | 0 | 0 | 0 | 5.5298 | 0 | BB | 21.3028 | 7.3281 | 0.045915 | 0.87938 | 0 |  | -1 | -1 | 5 | -1 | 816 | 851 | 5.4792 | 5.6058 | 0.0066667 | 46 | -1 | 5.4846 | 0.095152 | 18.0679 | 5.4852 | 0.093333 | 18.1103 | 5.4925 | 0.077243 | 27.0626 | 17.8482 | 26.7235 | 17.6722 | 5.5096 | 22.0721 | 5.5488 | 22.4208 | 5.5058 | 0.049091 | 21.2891 | 0.018717 | 0.25345 | -0.17405 | 21.3028 | 5.5318 | 0.00035032 | 1.6618e-06 | 3.4681e-07 | 0.98718 | 82081.8884 | 84518.4332 | 70363.9904 | 87351.9564 | 32.2256 | 33.1439 | 31.5119 | 31.646 | -1 | -1 | -1 | -1 | 32.5636 | 2.4615 | -1 | -1 | -1 | 5.5325 | 5.4895 | 0.084242 | 0.97887 | 0.95775 | 78397.3716 | -1 | -1
|  | 39 | 4 | 26 | 8 | 4 | 0 | 0 | 0 | 5.5298 | 0 | BB | 144.0372 | 48.0057 | 0.047005 | 0.89494 | 0 |  | -1 | -1 | 4 | -1 | 815 | 852 | 5.4725 | 5.6192 | 0.0066667 | 48 | -1 | 5.484 | 0.10061 | 45.5244 | 5.4846 | 0.098788 | 45.8022 | 5.4912 | 0.079075 | 104.097 | 43.4393 | 101.8864 | 43.5316 | 5.5094 | 71.9823 | 5.5489 | 74.3968 | 5.5052 | 0.050303 | 66.6346 | 0.01971 | 0.28032 | 0.003869 | 144.0372 | 5.5317 | 0.00038848 | 2.1464e-06 | 4.5334e-07 | 1.0316 | 78322.5338 | 75602.2231 | 67013.8106 | 78766.1777 | 31.9733 | 32.445 | 30.9646 | 31.0964 | -1 | -1 | -1 | -1 | 31.8055 | 2.4615 | -1 | -1 | -1 | 5.5325 | 5.4889 | 0.087273 | 1 | 1 | 74479.9345 | -1 | -1
|  | 41 | 1 | 34 | 9 | 3 | 0 | 0 | 0 | 6.2983 | 0 | BB | 1716.9768 | 508.2488 | 0.053413 | 0.84256 | 0 |  | -1 | -1 | 1 | -1 | 934 | 977 | 6.2268 | 6.5058 | 0.0066667 | 54 | -1 | 6.2481 | 0.11259 | 63.3684 | 6.2488 | 0.11037 | 66.3465 | 6.2556 | 0.090694 | 673.3121 | 42.1586 | 640.897 | 40.8485 | 6.2756 | 338.2473 | 6.3223 | 339.9781 | 6.2718 | 0.055556 | 289.704 | 0.02306 | 0.58368 | 1.5904 | 1717.1407 | 6.3026 | 0.00053177 | 7.1574e-06 | 1.2981e-06 | 1.0956 | 77183.7943 | 78250.4004 | 71223.1166 | 74699.7933 | 8.9342 | 8.831 | 8.423 | 8.4589 | -1 | -1 | -1 | -1 | 6.5306 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2532 | 0.098519 | 1.0726 | 1.1452 | 71175.6996 | -1 | -1
|  | 42 | 2 | 35 | 9 | 4 | 0 | 0 | 0 | 6.2983 | 0 | BB | 1097.6448 | 325.9341 | 0.05329 | 0.84835 | 0 |  | -1 | -1 | 2 | -1 | 929 | 970 | 6.2058 | 6.4136 | 0.0066667 | 52 | -1 | 6.2485 | 0.11267 | 114.4053 | 6.2492 | 0.11067 | 116.315 | 6.2556 | 0.090579 | 505.8489 | 100.1036 | 484.6123 | 100.7216 | 6.2757 | 290.5971 | 6.3224 | 291.5971 | 6.2718 | 0.055333 | 259.5438 | 0.022437 | 0.33636 | 0.12448 | 1097.6212 | 6.3014 | 0.0005034 | 3.7991e-06 | 7.9179e-07 | 1.1067 | 77380.9051 | 78147.5408 | 71796.3385 | 78877.1778 | 8.9983 | 8.8509 | 8.4848 | 8.5209 | -1 | -1 | -1 | -1 | 8.453 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2538 | 0.098 | 1.0809 | 1.1618 | 71435.6773 | -1 | -1
|  | 6 | 8 | 36 | 9 | 4 | 0 | 0 | 0 | 6.2983 | 0 | BB | 105.6106 | 31.2487 | 0.05343 | 0.84235 | 0 |  | -1 | -1 | 8 | -1 | 929 | 985 | 6.1992 | 6.5592 | 0.0066667 | 67 | -1 | 6.2487 | 0.11238 | 5.6656 | 6.2487 | 0.11048 | 5.8487 | 6.2556 | 0.090686 | 43.1234 | 4.3337 | 41.1444 | 4.311 | 6.2753 | 22.2066 | 6.3219 | 23.0417 | 6.2715 | 0.05619 | 19.582 | 0.023834 | 0.97194 | 4.5828 | 105.6106 | 6.3018 | 0.00056806 | 1.3159e-05 | 2.447e-06 | 1.0943 | 77197.2186 | 78545.4063 | 69622.6482 | 69909.7155 | 76.2215 | 49.4163 | 69.7015 | 69.9981 | -1 | -1 | -1 | -1 | 57.003 | 19.1648 | -1 | -1 | -1 | 6.2992 | 6.2535 | 0.098095 | 1.0729 | 1.1458 | 71771.1325 | -1 | -1
|  | 3 | 5 | 37 | 9 | 4 | 0 | 0 | 0 | 6.2984 | 0 | BB | 337.7734 | 100.4768 | 0.05322 | 0.85056 | 0 |  | -1 | -1 | 5 | -1 | 929 | 970 | 6.2058 | 6.4109 | 0.0066667 | 52 | -1 | 6.2492 | 0.112 | 23.5643 | 6.2498 | 0.11 | 24.153 | 6.2557 | 0.090447 | 144.2625 | 19.1079 | 137.7197 | 19.3977 | 6.2757 | 77.6488 | 6.3224 | 78.2562 | 6.2718 | 0.055333 | 68.3064 | 0.022372 | 0.32933 | 0.11026 | 337.8134 | 6.3014 | 0.00050051 | 3.6877e-06 | 7.7916e-07 | 1.1149 | 77606.5729 | 79080.6375 | 71796.3385 | 79333.2928 | 9.1669 | 9.2758 | 8.6484 | 8.6852 | -1 | -1 | -1 | -1 | 9.3646 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2538 | 0.098 | 1.0809 | 1.1618 | 71435.6773 | -1 | -1
|  | 2 | 3 | 38 | 9 | 4 | 0 | 0 | 0 | 6.2984 | 0 | BB | 535.4226 | 159.2202 | 0.053232 | 0.8519 | 0 |  | -1 | -1 | 3 | -1 | 929 | 970 | 6.2058 | 6.4024 | 0.0066667 | 52 | -1 | 6.2492 | 0.11333 | 94.1274 | 6.2498 | 0.11067 | 95.0603 | 6.2557 | 0.090506 | 285.5477 | 86.5966 | 274.8364 | 88.0316 | 6.2757 | 179.7492 | 6.3224 | 180.9906 | 6.2718 | 0.055333 | 165.0275 | 0.022298 | 0.31187 | 0.036717 | 535.1222 | 6.3013 | 0.00049722 | 3.4578e-06 | 7.5077e-07 | 1.1216 | 77505.2798 | 77230.8621 | 71796.3385 | 79856.6069 | 9.0539 | 8.9821 | 8.5497 | 8.5861 | -1 | -1 | -1 | -1 | 9.1244 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2538 | 0.098667 | 1.0882 | 1.1765 | 70046.479 | -1 | -1
|  | 4 | 6 | 39 | 9 | 4 | 0 | 0 | 0 | 6.2984 | 0 | BB | 441.7046 | 130.9946 | 0.053339 | 0.84511 | 0 |  | -1 | -1 | 6 | -1 | 929 | 978 | 6.1992 | 6.5125 | 0.0066667 | 60 | -1 | 6.2483 | 0.1125 | 15.3488 | 6.2492 | 0.11083 | 16.1164 | 6.2557 | 0.090518 | 172.5816 | 9.7125 | 164.1738 | 9.7282 | 6.2754 | 84.9306 | 6.3221 | 87.7726 | 6.2717 | 0.055833 | 73.6834 | 0.023096 | 0.62008 | 1.8865 | 441.7046 | 6.3017 | 0.00053343 | 7.6396e-06 | 1.3905e-06 | 1.1083 | 77484.3094 | 78379.2606 | 70516.1917 | 74444.2782 | 9.1649 | 9.228 | 8.5591 | 8.5955 | -1 | -1 | -1 | -1 | 9.2021 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2533 | 0.098333 | 1.0727 | 1.1455 | 71435.2875 | -1 | -1
|  | 1 | 4 | 40 | 9 | 4 | 0 | 0 | 0 | 6.2984 | 0 | BB | 337.2556 | 100.3639 | 0.053204 | 0.8526 | 0 |  | -1 | -1 | 4 | -1 | 929 | 970 | 6.2258 | 6.402 | 0.0066667 | 52 | -1 | 6.2492 | 0.11333 | 53.8113 | 6.2498 | 0.11067 | 54.3993 | 6.2557 | 0.090448 | 174.4792 | 49.0528 | 167.7323 | 49.9814 | 6.2757 | 107.714 | 6.3224 | 108.5622 | 6.2718 | 0.055333 | 98.5022 | 0.022279 | 0.31027 | 0.034746 | 337.1094 | 6.3013 | 0.00049636 | 3.4311e-06 | 7.4768e-07 | 1.1216 | 77605.2037 | 77230.8621 | 71796.3385 | 79995.5293 | 9.068 | 8.9817 | 8.5493 | 8.5857 | -1 | -1 | -1 | -1 | 9.1649 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2538 | 0.098 | 1.0809 | 1.1618 | 71435.6773 | -1 | -1
|  | 5 | 7 | 33 | 9 | 4 | 0 | 0 | 0 | 6.2984 | 0 | BB | 342.3481 | 101.8314 | 0.053222 | 0.85016 | 0 |  | -1 | -1 | 7 | -1 | 929 | 970 | 6.2058 | 6.4125 | 0.0066667 | 52 | -1 | 6.2485 | 0.112 | 5.3465 | 6.2492 | 0.11 | 5.9432 | 6.2557 | 0.090454 | 127.6387 | 0.94823 | 121.0967 | 0.9954 | 6.2757 | 60.1527 | 6.3224 | 60.797 | 6.2719 | 0.055291 | 50.6942 | 0.022358 | 0.32625 | 0.098861 | 342.3481 | 6.3014 | 0.00049986 | 3.6461e-06 | 7.7428e-07 | 1.1 | 77594.3247 | 79080.6375 | 71905.3682 | 79437.3919 | 9.1281 | 9.2232 | 8.6032 | 8.6398 | -1 | -1 | -1 | -1 | 9.2917 | 1.139 | -1 | -1 | -1 | 6.2992 | 6.2538 | 0.098 | 1.0809 | 1.1618 | 71435.6773 | -1 | -1
|  | 8 | 1 | 42 | 10 | 3 | 0 | 0 | 0 | 6.6988 | 0 | BB | 20.0302 | 7.3068 | 0.045982 | 0.78979 | 0 |  | -1 | -1 | 1 | -1 | 991 | 1027 | 6.6592 | 6.7592 | 0.0066667 | 47 | -1 | 6.6592 | 0.076363 | 37.0579 | 6.6592 | 0.076363 | 37.1004 | 6.6645 | 0.074167 | 45.6747 | 37.8645 | 46.2251 | 35.4688 | 6.6757 | 40.4046 | 6.7227 | 39.7881 | 6.6743 | 0.047273 | 40.2924 | 0.017038 | 0.1849 | -0.39958 | 20.0302 | 6.7021 | 0.00029031 | 9.1457e-07 | 2.1916e-07 | 0.95455 | 130540.3107 | 192402.2008 | 111257.6834 | 154725.0966 | 4.8596 | 5.2999 | 4.5774 | 4.5969 | -1 | -1 | -1 | -1 | 4.9812 | 1.0636 | -1 | -1 | -1 | 6.6992 | 6.6592 | 0.074545 | 0.93182 | 0.86364 | 139862.1679 | -1 | -1
|  | 7 | 2 | 41 | 10 | 4 | 0 | 0 | 0 | 6.7001 | 0 | BB | 14.6215 | 5.281 | 0.046301 | 0.93354 | 0 |  | -1 | -1 | 2 | -1 | 991 | 1027 | 6.6525 | 6.7592 | 0.0066667 | 47 | -1 | 6.6561 | 0.088485 | 103.6336 | 6.6567 | 0.087273 | 103.6643 | 6.6635 | 0.074977 | 110.0913 | 103.4853 | 109.9691 | 103.3238 | 6.6757 | 105.6928 | 6.7227 | 106.0503 | 6.6767 | 0.047273 | 105.9671 | 0.017339 | 0.12598 | -0.38424 | 14.6215 | 6.7013 | 0.00030064 | 6.5673e-07 | 2.3642e-07 | 1.0286 | 127734.563 | 143299.195 | 111257.6834 | 149370.7913 | 4.8537 | 4.9935 | 4.601 | 4.6206 | -1 | -1 | -1 | -1 | 5.0269 | 1.0638 | -1 | -1 | -1 | 6.6992 | 6.661 | 0.079394 | 1.0397 | 1.0794 | 127457.4886 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 13:19:28
ResNewDateTime | 02 September 2019 13:19:28
ResModBy | SYSTEM
ResModTime | 09/02/19 13:19:29
ResModDateTime | 02 September 2019 13:19:29
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11673.1244

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11673.1244

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5843.9702

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2132.7852

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 837.4041

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 526.9881

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 546.2347

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 402.7573

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 143.0355

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 11673.1244

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5843.9702

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2132.7852

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 837.4041

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 526.9881

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 546.2347

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 402.7573

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 143.0355

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.34628 | 1512.1324 | 171.4491 | 0.1229 | 1.5846 | -19.7192 | 0.0058333 | 0 | 39.7182 | 0.51917 | 7.1054e-15 | -49.9034 | 1 | -174.5874 | 40.7366 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 1.4971 | 964.4775 | 51.9345 | 0.22866 | 8.077 | -15.7406 | 0.83917 | -7.1054e-15 | -54.862 | 1.5434 | 34.0442 | -12.9894 | 1 | 59.4592 | -104.7582 | 0 | 0 | 0
NumberOfHead | 9 | 34 | 8 | 1.6247 | 262.1011 | 40.041 | 0.088368 | 2.2442 | -8.1555 | 1.5434 | 34.0442 | -12.9894 | 1.6664 | 26.3032 | -5.6767 | 1 | 59.4592 | -104.7582 | 0 | 0 | 0
Modified | 1 | 34 | 8 | 1.8608 | 1636.0095 | 74.3345 | 0.32677 | 0.69086 | 5.8821 | 1.6664 | 26.3032 | -5.6767 | 2.1796 | 30.5256 | 24.8417 | 1 | 59.4592 | -104.7582 | 0 | 0 | 0
DateTime |  | 32 | 8 | 2.2463 | 1298.792 | 242.7316 | 0.080425 | 0.57512 | 28.806 | 2.1796 | 30.5256 | 24.8417 | 2.5162 | 0 | 44.8506 | 1 | 59.4592 | -104.7582 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 2.7557 | 497.6824 | 41.6811 | 0.1933 | 1.1418 | 55.3284 | 2.5325 | 0 | 45.145 | 2.9555 | 1.4211e-14 | 64.4431 | 1 | 45.6211 | -70.3904 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 3.224 | 1840.5358 | 61.4836 | 0.40525 | 0.28906 | 64.0065 | 2.9592 | 0 | 64.446 | 4.8572 | 0 | 61.2966 | 1 | -1.6592 | 69.3559 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.5296 | 1924.3867 | 616.8262 | 0.048398 | 0.90372 | 51.8597 | 5.4058 | 0 | 53.524 | 6.2058 | 0 | 42.769 | 1 | -13.4438 | 126.1991 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.2983 | 1716.9768 | 508.2488 | 0.053413 | 0.84256 | 41.5421 | 6.2268 | 7.1054e-15 | 42.5737 | 6.5058 | 0 | 38.5437 | 1 | -14.4449 | 132.5195 | 0 | 0 | 0
|  | 0 | 8 | 6.6988 | 20.0302 | 7.3068 | 0.045982 | 0.78979 | 36.7564 | 6.6592 | 0 | 38.0378 | 6.7592 | 0 | 34.8077 | 1 | -32.3009 | 253.1352 | 0 | 0 | 0

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 10 | 0 | 8 | 0.33859 | 1529.2446 | 147.176 | 0.14122 | 1.9362 | 37.4631 | 0.0058333 | 0 | 118.4907 | 0.5125 | -1.4211e-14 | -4.8833 | 1 | -243.5013 | 119.9111 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 1.497 | 56.4833 | 17.5059 | 0.049643 | 0.91914 | 15.3674 | 1.4125 | 0 | 12.1078 | 1.5438 | 4.748 | 17.1693 | 1 | 38.556 | -42.3526 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 1.6257 | 44.7957 | 9.276 | 0.068341 | 2.7872 | 20.3285 | 1.5438 | 4.748 | 17.1693 | 1.6658 | 0 | 21.8754 | 1 | 38.556 | -42.3526 | 0 | 0 | 0
Modified | 1 | 2 | 8 | 1.8624 | 748.8038 | 37.8565 | 0.30077 | 0.63936 | 26.1147 | 1.6672 | 0 | 21.9454 | 2.1789 | 14.1923 | 32.871 | 1 | 21.3495 | -13.6476 | 0 | 0 | 0
DateTime |  | 32 | 8 | 2.2463 | 809.6254 | 157.9321 | 0.077808 | 0.58124 | 34.3106 | 2.1789 | 14.1923 | 32.871 | 2.5157 | -7.1054e-15 | 40.0619 | 1 | 21.3495 | -13.6476 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 2.7581 | 346.6201 | 29.0944 | 0.19299 | 1.173 | 48.9009 | 2.5392 | 0 | 40.5178 | 2.953 | 7.1054e-15 | 56.3631 | 1 | 38.2906 | -56.7085 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 3.2322 | 606.5653 | 36.7018 | 0.24681 | 0.76692 | 66.8088 | 2.9725 | 0 | 56.6902 | 3.6442 | -1.4211e-14 | 82.8639 | 1 | 38.9683 | -59.1431 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 5.5296 | 589.5656 | 188.7279 | 0.048445 | 0.94613 | 96.3223 | 5.3858 | 0 | 95.4533 | 5.6381 | 0 | 96.978 | 1 | 6.043 | 62.9065 | 0 | 0 | 0
IntegMode | 2 | 0 | 8 | 6.2983 | 1097.6448 | 325.9341 | 0.05329 | 0.84835 | 100.3947 | 6.2058 | 0 | 99.7639 | 6.4136 | 0 | 101.1817 | 1 | 6.8228 | 57.423 | 0 | 0 | 0
|  | 0 | 8 | 6.7001 | 14.6215 | 5.281 | 0.046301 | 0.93354 | 103.4064 | 6.6525 | 0 | 103.5089 | 6.7592 | 0 | 103.2791 | 1 | -2.1547 | 117.8431 | 0 | 0 | 0

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.32458 | 830.5303 | 86.3628 | 0.1262 | 1.7834 | 54.4008 | 0.065833 | 0 | 112.6628 | 0.4925 | -1.4211e-14 | 16.5892 | 1 | -225.1726 | 127.4867 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4969 | 17.8473 | 6.5005 | 0.044031 | 1.1421 | 12.0917 | 1.4458 | 0 | 10.3254 | 1.544 | -1.7764e-15 | 13.7197 | 1 | 34.589 | -39.6845 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.2464 | 360.4327 | 79.0015 | 0.069227 | 0.58532 | 24.7107 | 2.1792 | 3.5527e-15 | 25.3172 | 2.4992 | 3.5527e-15 | 22.4309 | 1 | -9.0197 | 44.9726 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5297 | 388.5524 | 128.9473 | 0.047155 | 0.89497 | 77.9365 | 5.4658 | 0 | 77.9047 | 5.6258 | 0 | 77.9843 | 1 | 0.4977 | 75.1844 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.2984 | 535.4226 | 159.2202 | 0.053232 | 0.8519 | 87.2733 | 6.2058 | 0 | 85.8064 | 6.4024 | 0 | 88.9234 | 1 | 15.8547 | -12.5851 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32117 | 154.2961 | 32.1545 | 0.067983 | 1.1424 | 46.8921 | 0.2125 | 0 | 65.9227 | 0.43917 | 0 | 26.2299 | 1 | -175.1156 | 103.1348 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.2465 | 201.8152 | 44.1762 | 0.069298 | 0.58709 | 19.2722 | 2.1792 | 0 | 19.4407 | 2.4925 | 0 | 18.6567 | 1 | -2.5019 | 24.8927 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5298 | 144.0372 | 48.0057 | 0.047005 | 0.89494 | 43.4843 | 5.4725 | 0 | 43.4175 | 5.6192 | 0 | 43.5886 | 1 | 1.1672 | 37.0301 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2984 | 337.2556 | 100.3639 | 0.053204 | 0.8526 | 49.4908 | 6.2258 | 0 | 48.7461 | 6.402 | 0 | 50.5552 | 1 | 10.2666 | -15.172 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32496 | 66.4022 | 17.9154 | 0.055242 | 1.4152 | 18.5717 | 0.19917 | -3.5527e-15 | 24.5066 | 0.41917 | -3.5527e-15 | 14.1273 | 1 | -47.1787 | 33.903 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.2465 | 101.5097 | 22.1889 | 0.069373 | 0.58732 | 12.3593 | 2.1725 | 0 | 12.4202 | 2.4125 | 0 | 12.2228 | 1 | -0.82254 | 14.2072 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5298 | 21.3028 | 7.3281 | 0.045915 | 0.87938 | 17.7633 | 5.4792 | 0 | 17.8785 | 5.6058 | 0 | 17.59 | 1 | -2.2775 | 30.3575 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2984 | 337.7734 | 100.4768 | 0.05322 | 0.85056 | 19.2445 | 6.2058 | 0 | 18.9481 | 6.4109 | 0 | 19.605 | 1 | 3.2039 | -0.93504 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 0.32793 | 42.6563 | 14.1235 | 0.047236 | 1.2442 | 9.7218 | 0.18583 | 0 | 11.1485 | 0.41917 | 0 | 8.8058 | 1 | -10.0401 | 13.0142 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.2465 | 41.0381 | 8.9564 | 0.071457 | 0.59413 | 9.5143 | 2.1592 | 0 | 9.5663 | 2.4058 | 0 | 9.4194 | 1 | -0.5954 | 10.8519 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 5.5297 | 20.8357 | 7.1641 | 0.045931 | 0.87484 | 9.9628 | 5.4792 | 0 | 10.1614 | 5.6058 | 0 | 9.6631 | 1 | -3.9339 | 31.7159 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2984 | 441.7046 | 130.9946 | 0.053339 | 0.84511 | 9.7199 | 6.1992 | 0 | 9.7027 | 6.5125 | 0 | 9.757 | 1 | 0.17349 | 8.6272 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 0.32834 | 37.8016 | 12.8348 | 0.046361 | 1.1952 | 0.97924 | 0.17917 | 0 | 1.8034 | 0.42583 | 0 | 0.4406 | 1 | -5.5249 | 2.7933 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5297 | 22.6076 | 7.6839 | 0.046326 | 0.88074 | 1.2856 | 5.4792 | 0 | 1.442 | 5.6125 | 0 | 1.029 | 1 | -3.0971 | 18.4112 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2984 | 342.3481 | 101.8314 | 0.053222 | 0.85016 | 0.97046 | 6.2058 | 0 | 0.9222 | 6.4125 | 0 | 1.03 | 1 | 0.52144 | -2.3138 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 0.32864 | 37.4249 | 12.6888 | 0.04641 | 1.1862 | 4.4356 | 0.17917 | 0 | 5.1961 | 0.4325 | 0 | 3.9072 | 1 | -5.0877 | 6.1076 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2983 | 105.6106 | 31.2487 | 0.05343 | 0.84235 | 4.323 | 6.1992 | 0 | 4.3478 | 6.5592 | 0 | 4.2577 | 1 | -0.25034 | 5.8997 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2