## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567418692
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 2
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 2
Vial | 2
SampleLocation | 2
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 11:04:52
SampleName | CS-135_0002
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 0.95917
DAD1UVBurnTime | 147.6258
DAD1VisOnTime | 0.95861
DAD1VisBurnTime | 133.1369
StartPressure | 26.804
StopPressure | 61.496
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 40.002
StopLeftTemp | 40.002
StartRightTemp | 40.002
StopRightTemp | 40.001
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 7 | 3 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 6 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 8 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 22 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 29 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 3 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 5780.9953 | 1123.8605 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 2 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 2914.9978 | 530.491 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 1 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 1529.7472 | 289.8757 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
Modified | 1 | 14 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 419.1062 | 105.0397 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 12 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 167.4097 | 38.3413 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 11 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 112.9541 | 27.3848 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  | 9 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 84.1413 | 21.8022 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0
|  |  |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0002.D | 0 | 0 | 0 | 0 | 0 | 0 | 0.0016667 | 8.495 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 30 | 4 | 3 | 2 | 1 | 4 | 0 | 0 | 0 | 0.2175 | 0 | BB | 551.0074 | 45.4994 | 0.16729 | 0.9637 | 0 |  | -1 | -1 | 3 | -1 | 1 | 110 | 0.0083333 | 0.475 | 0.0066667 | 115 | -1 | 0.028333 | 0.29667 | 61.6543 | 0.028333 | 0.295 | 61.9247 | 0.050871 | 0.32115 | 105.7132 | 86.259 | 116.2795 | 34.2363 | 0.18796 | 102.2651 | 0.27702 | 84.6771 | 0.028333 | 0.255 | 82.1993 | 0.082123 | -0.00096283 | -0.33191 | 551.0075 | 0.21964 | 0.0067442 | -5.3326e-07 | 0.00012135 | 0.79018 | 7.171 | 13.1304 | 3.9383 | 7.1532 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.215 | 0.028333 | 0.29 | 0.77679 | 0.55357 | 7.4989 | -1 | -1
NumberOfCol | 81 | 5 | 2 | 3 | 1 | 4 | 0 | 0 | 0 | 0.23032 | 0 | BB | 953.6823 | 75.1356 | 0.17808 | 0.93044 | 0 |  | -1 | -1 | 2 | -1 | 1 | 116 | 0.0016667 | 0.495 | 0.0066667 | 121 | -1 | 0.028333 | 0.325 | 65.1281 | 0.028333 | 0.32333 | 65.5757 | 0.072561 | 0.33113 | 139.3027 | 95.0018 | 152.1025 | 24.5216 | 0.19818 | 130.2786 | 0.29936 | 101.2939 | 0.028333 | 0.275 | 99.1472 | 0.087415 | -0.055621 | -0.33214 | 953.6823 | 0.23406 | 0.0076413 | -3.7153e-05 | 0.00015578 | 0.80833 | 7.608 | 12.3399 | 3.8193 | 7.1695 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.22833 | 0.028333 | 0.31833 | 0.79583 | 0.59167 | 7.297 | -1 | -1
NumberOfHead | 9 | 6 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 0.244 | 0 | BB | 1027.1997 | 81.7612 | 0.18057 | 0.88228 | 0 |  | -1 | -1 | 1 | -1 | 1 | 120 | 0.0016667 | 0.515 | 0.0066667 | 125 | -1 | 0.028333 | 0.35333 | 9.9626 | 0.028333 | 0.35333 | 10.4498 | 0.1041 | 0.32113 | 93.3324 | 29.6049 | 102.2793 | -24.5856 | 0.20725 | 76.5946 | 0.31683 | 51.2927 | 0.028333 | 0.295 | 46.9925 | 0.088438 | -0.11225 | -0.25491 | 1027.1997 | 0.25036 | 0.0078213 | -7.7647e-05 | 0.00016793 | 0.82813 | 9.0615 | 11.6951 | 3.7179 | 8.0143 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.24167 | 0.028333 | 0.34667 | 0.8125 | 0.625 | 7.1105 | -1 | -1
Modified | 1 | 13 | 3 | 5 | 2 | 4 | 0 | 0 | 0 | 1.4613 | 0 | BB | 81.8518 | 10.4943 | 0.103 | 0.64363 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.295 | 1.6083 | 0.0066667 | 89 | -1 | 1.295 | 0.3 | 9.8766 | 1.295 | 0.29867 | 9.9385 | 1.4054 | 0.19577 | 21.6688 | 9.8367 | 35.0606 | 8.3962 | 1.4382 | 16.7844 | 1.5856 | 11.3646 | 1.4243 | 0.13333 | 14.5836 | 0.062184 | -0.26141 | -0.40199 | 81.8518 | 1.4777 | 0.0038669 | -6.286e-05 | 3.8848e-05 | 0.896 | 891.8729 | 593.4636 | 665.7773 | 564.6618 | 4.8124 | 5.2115 | 3.7635 | 3.7795 | -1 | -1 | -1 | -1 | 4.3588 | 6.7188 | -1 | -1 | -1 | 1.4617 | 1.295 | 0.296 | 0.888 | 0.776 | 400.5388 | -1 | -1
NextPeakSignal_ | Peak | 10 | 2 | 6 | 2 | 4 | 0 | 0 | 0 | 1.4614 | 0 | BB | 208.8935 | 25.2321 | 0.10859 | 0.83063 | 0 |  | -1 | -1 | 2 | -1 | 187 | 270 | 1.2617 | 1.6053 | 0.0066667 | 94 | -1 | 1.2617 | 0.332 | 18.1849 | 1.2617 | 0.33067 | 18.3339 | 1.4022 | 0.19446 | 46.336 | 17.6245 | 74.2367 | 15.8849 | 1.4382 | 35.1083 | 1.5814 | 22.4711 | 1.423 | 0.13467 | 29.51 | 0.069338 | -0.44002 | -0.26545 | 208.9243 | 1.4645 | 0.0048078 | -0.00014669 | 6.3208e-05 | 0.82667 | 903.9391 | 484.5744 | 652.6588 | 446.0883 | 4.6844 | 4.6843 | 3.5308 | 3.5459 | -1 | -1 | -1 | -1 | 3.9247 | 6.3449 | -1 | -1 | -1 | 1.4617 | 1.271 | 0.31867 | 0.83566 | 0.67133 | 320.2395 | -1 | -1
Signal_ | Signal | 7 | 1 | 4 | 2 | 3 | 0 | 0 | 0 | 1.4614 | 0 | BB | 1003.4731 | 48.2905 | 0.25443 | 3.7499 | 0 |  | -1 | -1 | 1 | -1 | 125 | 242 | 0.82833 | 1.6043 | 0.0066667 | 128 | -1 | 1.155 | 0.44932 | 1.79 | 1.1567 | 0.44766 | 2.0763 | 1.3727 | 0.22406 | 53.6061 | -6.9287 | 93.7835 | 9.7474 | 1.4383 | 37.8068 | 1.5804 | 19.8907 | 1.3767 | 0.19677 | 23.5468 | 0.16935 | -0.32701 | -0.87431 | 1000.6702 | 1.3023 | 0.02868 | -0.0015883 | 0.0017485 | 0.73386 | 680.9271 | 264.5565 | 305.6978 | 59.1319 | 4.4661 | 3.7918 | 2.9088 | 2.9212 | -1 | -1 | -1 | -1 | 2.0402 | 5.9894 | -1 | -1 | -1 | 1.4617 | 1.1767 | 0.42766 | 0.75028 | 0.50055 | 149.9866 | -1 | -1
NextPeakComp_ | Peak | 8 | 1 | 7 | 3 | 3 | 0 | 0 | 0 | 2.1121 | 0 | BB | 63.5199 | 10.0529 | 0.089717 | 0.8985 | 0 |  | -1 | -1 | 1 | -1 | 291 | 359 | 1.9483 | 2.2566 | 0.0066667 | 79 | -1 | 2.0294 | 0.22711 | 41.1382 | 2.0306 | 0.226 | 41.1976 | 2.045 | 0.14453 | 52.8049 | 39.5296 | 51.71 | 41.9502 | 2.0835 | 47.1368 | 2.1375 | 48.5094 | 2.075 | 0.093333 | 45.6514 | 0.049441 | -0.074156 | 0.074041 | 63.3079 | 2.1147 | 0.0024444 | -8.962e-06 | 1.8368e-05 | 1.3382 | 3426.3961 | 2168.1233 | 2844.8342 | 1829.4207 | 3.531 | 2.405 | 2.6357 | 2.6469 | -1 | -1 | -1 | -1 | 1.8565 | 1.4453 | -1 | -1 | -1 | 2.115 | 2.0394 | 0.21711 | 1.4368 | 1.8735 | 1266.9139 | -1 | -1
Compound_ | Compound | 15 | 1 | 9 | 4 | 3 | 0 | 0 | 0 | 4.8087 | 0 | BB | 1701.6533 | 340.7661 | 0.078259 | 0.53654 | 0 |  | -1 | -1 | 1 | -1 | 699 | 766 | 4.7417 | 5.095 | 0.0066667 | 78 | -1 | 4.7539 | 0.16222 | 72.9603 | 4.755 | 0.16 | 74.9845 | 4.7606 | 0.14167 | 493.8335 | 58.7268 | 428.8912 | 56.9163 | 4.7799 | 233.4807 | 4.8432 | 291.8026 | 4.7783 | 0.082222 | 226.7957 | 0.034503 | 0.68845 | 0.9626 | 1701.6533 | 4.8253 | 0.0011905 | 2.8278e-05 | 5.6159e-06 | 1.5 | 18431.5885 | 21963.849 | 18946.1285 | 19558.1152 | 18.8439 | 17.315 | 18.0479 | 18.1247 | -1 | -1 | -1 | -1 | 16.1454 | 2.2767 | -1 | -1 | -1 | 4.8083 | 4.7594 | 0.14444 | 1.4773 | 1.9545 | 14419.728 | -1 | -1
RTRatioRefComp_ | Compound | 18 | 7 | 10 | 4 | 4 | 0 | 0 | 0 | 4.8087 | 0 | BB | 52.9058 | 10.6294 | 0.078069 | 0.53978 | 0 |  | -1 | -1 | 7 | -1 | 699 | 758 | 4.735 | 5.0083 | 0.0066667 | 70 | -1 | 4.754 | 0.16286 | 1.6778 | 4.755 | 0.16 | 1.741 | 4.7607 | 0.14125 | 14.8159 | 1.2215 | 12.7816 | 1.202 | 4.7793 | 6.4958 | 4.8439 | 8.4127 | 4.7788 | 0.080952 | 6.4755 | 0.033886 | 0.54098 | 0.029948 | 52.9058 | 4.825 | 0.0011483 | 2.1049e-05 | 3.995e-06 | 1.5 | 18539.8426 | 21792.9248 | 19545.1787 | 20275.1383 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4.8083 | 4.7598 | 0.14381 | 1.4804 | 1.9608 | 14519.0687 | -1 | -1
|  | 16 | 2 | 11 | 4 | 4 | 0 | 0 | 0 | 4.8087 | 0 | BB | 1104.6285 | 221.6676 | 0.078138 | 0.54002 | 0 |  | -1 | -1 | 2 | -1 | 699 | 758 | 4.735 | 4.9846 | 0.0066667 | 70 | -1 | 4.755 | 0.16381 | 98.5936 | 4.755 | 0.1619 | 99.9102 | 4.7606 | 0.14152 | 372.9379 | 88.54 | 329.9854 | 89.7218 | 4.7793 | 198.8579 | 4.844 | 239.3456 | 4.7788 | 0.081905 | 198.6573 | 0.033807 | 0.51855 | -0.073865 | 1104.4485 | 4.825 | 0.0011429 | 2.0037e-05 | 3.8225e-06 | 1.5179 | 18469.4442 | 21540.2553 | 19093.2823 | 20369.1392 | 19.9257 | 16.8784 | 18.1611 | 18.2384 | -1 | -1 | -1 | -1 | 16.2903 | 3.2906 | -1 | -1 | -1 | 4.8083 | 4.7598 | 0.14476 | 1.4902 | 1.9804 | 14241.6846 | -1 | -1
|  | 17 | 6 | 12 | 4 | 4 | 0 | 0 | 0 | 4.8088 | 0 | BB | 73.7067 | 14.8159 | 0.07804 | 0.54021 | 0 |  | -1 | -1 | 6 | -1 | 699 | 758 | 4.735 | 5.0006 | 0.0066667 | 70 | -1 | 4.755 | 0.16286 | 8.3995 | 4.755 | 0.16095 | 8.4875 | 4.7607 | 0.14114 | 26.7188 | 7.7475 | 23.876 | 7.7676 | 4.7793 | 15.1009 | 4.844 | 17.7727 | 4.7788 | 0.080952 | 15.0866 | 0.033855 | 0.53552 | -0.0023937 | 73.7086 | 4.825 | 0.0011462 | 2.078e-05 | 3.938e-06 | 1.5089 | 18569.8539 | 21792.9248 | 19545.1787 | 20311.892 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4.8083 | 4.7598 | 0.14476 | 1.4902 | 1.9804 | 14241.6846 | -1 | -1
|  | 21 | 5 | 13 | 4 | 4 | 0 | 0 | 0 | 4.8088 | 0 | BB | 133.8954 | 26.9493 | 0.077965 | 0.54258 | 0 |  | -1 | -1 | 5 | -1 | 699 | 758 | 4.7417 | 4.9706 | 0.0066667 | 70 | -1 | 4.755 | 0.16571 | 14.6788 | 4.756 | 0.1619 | 14.8389 | 4.7607 | 0.14112 | 48.048 | 13.4018 | 42.8031 | 13.708 | 4.7793 | 26.8097 | 4.8439 | 31.8291 | 4.7788 | 0.081905 | 26.8424 | 0.033631 | 0.50597 | -0.1195 | 133.8645 | 4.8249 | 0.001131 | 1.9246e-05 | 3.6848e-06 | 1.5455 | 18574.7486 | 21047.9229 | 19093.2823 | 20582.7536 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4.8083 | 4.7598 | 0.14571 | 1.5 | 2 | 13971.324 | -1 | -1
|  | 19 | 3 | 14 | 4 | 4 | 0 | 0 | 0 | 4.8089 | 0 | BB | 497.3654 | 100.0856 | 0.077976 | 0.54423 | 0 |  | -1 | -1 | 3 | -1 | 699 | 758 | 4.7417 | 4.9604 | 0.0066667 | 70 | -1 | 4.756 | 0.16857 | 66.4468 | 4.756 | 0.16476 | 67.0412 | 4.7607 | 0.14126 | 190.5661 | 61.3507 | 170.8115 | 63.5353 | 4.7793 | 111.3139 | 4.8439 | 130.4285 | 4.7788 | 0.081905 | 111.6231 | 0.033597 | 0.49769 | -0.14983 | 497.5069 | 4.8249 | 0.0011287 | 1.8874e-05 | 3.6313e-06 | 1.5727 | 18538.6762 | 20340.4805 | 19093.2823 | 20624.2672 | 19.8647 | 17.8604 | 18.2745 | 18.3522 | -1 | -1 | -1 | -1 | 17.4733 | 3.2908 | -1 | -1 | -1 | 4.8083 | 4.7607 | 0.14571 | 1.53 | 2.06 | 13718.0674 | -1 | -1
|  | 20 | 4 | 8 | 4 | 4 | 0 | 0 | 0 | 4.8089 | 0 | BB | 267.0451 | 53.7879 | 0.077922 | 0.54492 | 0 |  | -1 | -1 | 4 | -1 | 699 | 758 | 4.7417 | 4.96 | 0.0066667 | 70 | -1 | 4.756 | 0.16857 | 38.278 | 4.756 | 0.16476 | 38.5975 | 4.7607 | 0.14111 | 104.9814 | 35.5297 | 94.3742 | 36.7319 | 4.7793 | 62.369 | 4.8439 | 72.6436 | 4.7788 | 0.081905 | 62.5555 | 0.033565 | 0.49739 | -0.14943 | 267.1444 | 4.8249 | 0.0011266 | 1.8809e-05 | 3.6182e-06 | 1.5727 | 18578.7773 | 20340.4805 | 19093.2823 | 20662.7599 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4.8083 | 4.7607 | 0.14571 | 1.53 | 2.06 | 13718.0674 | -1 | -1
|  | 22 | 1 | 16 | 5 | 3 | 0 | 0 | 0 | 5.5327 | 0 | BB | 1889.2477 | 612.9501 | 0.047959 | 0.91549 | 0 |  | -1 | -1 | 1 | -1 | 813 | 857 | 5.415 | 5.7017 | 0.0066667 | 55 | -1 | 5.4854 | 0.10296 | 75.8166 | 5.4861 | 0.10074 | 79.3733 | 5.4935 | 0.080363 | 821.6205 | 50.463 | 795.2341 | 49.0517 | 5.5115 | 405.4014 | 5.5518 | 447.8874 | 5.5076 | 0.051111 | 346.1291 | 0.021601 | -0.024177 | 1.3485 | 1889.2477 | 5.534 | 0.00046662 | -2.4369e-07 | 9.4679e-07 | 1.0303 | 75899.9716 | 72245.8983 | 64970.225 | 65632.807 | 6.5215 | 6.8254 | 6.3802 | 6.4074 | -1 | -1 | -1 | -1 | 6.316 | 1.1506 | -1 | -1 | -1 | 5.535 | 5.4906 | 0.088889 | 1 | 1 | 71861.0953 | -1 | -1
|  | 26 | 2 | 17 | 5 | 4 | 0 | 0 | 0 | 5.5327 | 0 | BB | 582.5707 | 187.9696 | 0.048158 | 0.93848 | 0 |  | -1 | -1 | 2 | -1 | 813 | 853 | 5.415 | 5.6574 | 0.0066667 | 51 | -1 | 5.485 | 0.10333 | 102.0186 | 5.4857 | 0.10133 | 103.1091 | 5.4936 | 0.079948 | 331.2234 | 93.9173 | 322.8708 | 94.1189 | 5.5116 | 203.3955 | 5.5518 | 215.8392 | 5.5077 | 0.050667 | 184.8968 | 0.022706 | -0.337 | 1.9257 | 582.5295 | 5.5333 | 0.00051555 | -3.9449e-06 | 1.3092e-06 | 1.027 | 76691.0407 | 71728.9347 | 66115.0527 | 59387.2404 | 6.5374 | 6.7747 | 6.4163 | 6.4436 | -1 | -1 | -1 | -1 | 6.2662 | 1.1505 | -1 | -1 | -1 | 5.535 | 5.4903 | 0.089333 | 1 | 1 | 71147.8382 | -1 | -1
|  | 23 | 6 | 18 | 5 | 4 | 0 | 0 | 0 | 5.5327 | 0 | BB | 21.1443 | 7.2573 | 0.045991 | 0.88238 | 0 |  | -1 | -1 | 6 | -1 | 817 | 852 | 5.4817 | 5.6083 | 0.0066667 | 46 | -1 | 5.4865 | 0.095152 | 8.5321 | 5.4871 | 0.093939 | 8.5742 | 5.4953 | 0.077369 | 17.4223 | 8.3526 | 17.1147 | 8.1006 | 5.5121 | 12.4123 | 5.5512 | 12.9347 | 5.5083 | 0.049091 | 11.7307 | 0.018782 | 0.24772 | -0.16578 | 21.1443 | 5.5347 | 0.00035275 | 1.6412e-06 | 3.5268e-07 | 0.98101 | 81889.1384 | 84594.834 | 70427.5963 | 86839.3817 | 6.6261 | 7.0146 | 6.5411 | 6.5689 | -1 | -1 | -1 | -1 | 6.7412 | 1.1505 | -1 | -1 | -1 | 5.535 | 5.492 | 0.084242 | 0.97887 | 0.95775 | 78468.2393 | -1 | -1
|  | 24 | 7 | 19 | 5 | 4 | 0 | 0 | 0 | 5.5327 | 0 | BB | 22.6722 | 7.7013 | 0.046346 | 0.88612 | 0 |  | -1 | -1 | 7 | -1 | 817 | 853 | 5.4817 | 5.615 | 0.0066667 | 47 | -1 | 5.4865 | 0.096364 | 1.7568 | 5.4871 | 0.095152 | 1.8014 | 5.4949 | 0.077994 | 11.1687 | 1.5376 | 10.845 | 1.3265 | 5.5117 | 5.8128 | 5.5512 | 6.4572 | 5.5083 | 0.049697 | 5.1518 | 0.019097 | 0.26022 | -0.11286 | 22.6722 | 5.5347 | 0.00036468 | 1.8122e-06 | 3.8397e-07 | 0.99367 | 80581.6603 | 82480.0468 | 68720.3241 | 83999.1323 | 6.604 | 6.9821 | 6.511 | 6.5387 | -1 | -1 | -1 | -1 | 6.6971 | 1.1506 | -1 | -1 | -1 | 5.535 | 5.492 | 0.084848 | 0.98592 | 0.97183 | 77864.8693 | -1 | -1
|  | 28 | 3 | 20 | 5 | 4 | 0 | 0 | 0 | 5.5327 | 0 | BB | 387.8935 | 128.8783 | 0.047114 | 0.89798 | 0 |  | -1 | -1 | 3 | -1 | 817 | 853 | 5.475 | 5.636 | 0.0066667 | 47 | -1 | 5.4871 | 0.10061 | 78.8837 | 5.4877 | 0.098788 | 79.6314 | 5.4941 | 0.079157 | 236.1046 | 73.3324 | 230.0783 | 73.4648 | 5.5117 | 147.4612 | 5.5512 | 158.5772 | 5.5083 | 0.050303 | 135.7068 | 0.019912 | 0.30647 | 0.11886 | 387.8923 | 5.5346 | 0.00039651 | 2.4197e-06 | 4.9034e-07 | 1.0449 | 78230.8143 | 75670.5641 | 67074.388 | 77255.1138 | 6.5683 | 6.723 | 6.4334 | 6.4608 | -1 | -1 | -1 | -1 | 6.632 | 1.1505 | -1 | -1 | -1 | 5.535 | 5.4914 | 0.087879 | 1.0069 | 1.0139 | 73071.5099 | -1 | -1
|  | 27 | 4 | 21 | 5 | 4 | 0 | 0 | 0 | 5.5328 | 0 | BB | 142.554 | 47.5638 | 0.046966 | 0.89846 | 0 |  | -1 | -1 | 4 | -1 | 817 | 853 | 5.475 | 5.6267 | 0.0066667 | 47 | -1 | 5.4871 | 0.10061 | 44.4044 | 5.4877 | 0.098182 | 44.6804 | 5.4943 | 0.078961 | 102.504 | 42.3064 | 100.1906 | 42.4507 | 5.5117 | 69.556 | 5.5512 | 73.8376 | 5.5083 | 0.050303 | 65.3764 | 0.019739 | 0.29284 | 0.053954 | 142.5728 | 5.5347 | 0.00038964 | 2.2523e-06 | 4.6365e-07 | 1.0385 | 78619.8908 | 75670.5641 | 67074.388 | 78617.5727 | 6.5789 | 6.7233 | 6.4337 | 6.4611 | -1 | -1 | -1 | -1 | 6.6579 | 1.1505 | -1 | -1 | -1 | 5.535 | 5.492 | 0.087273 | 1.0141 | 1.0282 | 73625.502 | -1 | -1
|  | 25 | 5 | 15 | 5 | 4 | 0 | 0 | 0 | 5.5328 | 0 | BB | 21.2959 | 7.3164 | 0.045958 | 0.88756 | 0 |  | -1 | -1 | 5 | -1 | 817 | 852 | 5.4817 | 5.6083 | 0.0066667 | 46 | -1 | 5.4883 | 0.094545 | 15.6788 | 5.4889 | 0.093333 | 15.7213 | 5.4954 | 0.077323 | 24.6666 | 15.4281 | 24.3006 | 15.3103 | 5.5121 | 19.5472 | 5.5512 | 20.1428 | 5.5089 | 0.049091 | 18.9031 | 0.01876 | 0.25106 | -0.16539 | 21.2959 | 5.5347 | 0.00035193 | 1.6576e-06 | 3.5109e-07 | 1.0132 | 81985.0407 | 85682.8593 | 70427.5963 | 87042.4344 | 6.6285 | 6.9544 | 6.4939 | 6.5216 | -1 | -1 | -1 | -1 | 6.7744 | 1.1506 | -1 | -1 | -1 | 5.535 | 5.4932 | 0.083636 | 1 | 1 | 81170.5527 | -1 | -1
|  | 29 | 1 | 23 | 6 | 3 | 0 | 0 | 0 | 6.3419 | 0 | BV | 59.6861 | 20.8619 | 0.045378 | 0.86609 | 0 |  | -1 | -1 | 1 | -1 | 938 | 959 | 6.2917 | 6.3838 | 0.0066667 | 32 | -1 | 6.2979 | 0.085844 | 38.8418 | 6.2988 | 0.085011 | 38.9657 | 6.3057 | 0.074964 | 65.4187 | 38.4275 | 63.2191 | 37.3965 | 6.3167 | 46.6553 | 6.3567 | 53.3364 | 6.3187 | 0.046667 | 48.2578 | 0.01486 | -0.0019275 | -0.55612 | 43.4784 | 6.3369 | 0.00022083 | -6.3254e-09 | 1.1918e-07 | 0.99042 | 114504.6064 | 136434.5249 | 102306.4522 | 181841.7445 | 10.4192 | 10.7146 | 9.7241 | 9.7655 | -1 | -1 | -1 | -1 | 11.0099 | 1.1463 | -1 | 3.484 | 3.484 | 6.3417 | 6.3033 | 0.080428 | 1.0491 | 1.0981 | 110411.4325 | -1 | -1
|  | 11 | 6 | 24 | 6 | 4 | 0 | 0 | 0 | 6.3421 | 0 | BB | 18.1031 | 5.3116 | 0.051763 | 0.60598 | 0 |  | -1 | -1 | 6 | -1 | 937 | 989 | 6.2817 | 6.5828 | 0.0066667 | 63 | -1 | 6.2992 | 0.16667 | 8.2451 | 6.3 | 0.1625 | 8.276 | 6.3057 | 0.073731 | 15.0182 | 8.011 | 14.5144 | 8.0261 | 6.3187 | 10.5185 | 6.3589 | 11.5873 | 6.3183 | 0.048333 | 10.5947 | 0.037605 | 1.5397 | 2.6797 | 18.1025 | 6.3579 | 0.0014141 | 8.1877e-05 | 1.1358e-05 | 1.95 | 118367.2099 | 36195.0625 | 95372.4834 | 28584.6638 | 10.7132 | 7.7284 | 9.7616 | 9.8031 | -1 | -1 | -1 | -1 | 7.2993 | 1.1463 | -1 | -1 | -1 | 6.3417 | 6.3033 | 0.13917 | 1.8152 | 2.6304 | 22314.7506 | -1 | -1
|  | 9 | 7 | 25 | 6 | 4 | 0 | 0 | 0 | 6.3422 | 0 | BB | 8.5633 | 3.4716 | 0.040778 | 1.1695 | 0 |  | -1 | -1 | 7 | -1 | 940 | 971 | 6.295 | 6.3831 | 0.0066667 | 42 | -1 | 6.3083 | 0.074723 | 1.8292 | 6.3083 | 0.074723 | 1.8493 | 6.3069 | 0.065755 | 6.4953 | 1.2321 | 6.0015 | 2.0819 | 6.3175 | 2.8124 | 6.3575 | 4.0319 | 6.3211 | 0.043333 | 3.3573 | 0.014859 | -0.0059528 | -0.55432 | 8.5482 | 6.3402 | 0.00022079 | -1.953e-08 | 1.1922e-07 | 1.1208 | 148822.85 | 180067.2196 | 118651.27 | 182066.177 | 11.2621 | 11.8281 | 10.2236 | 10.2671 | -1 | -1 | -1 | -1 | 11.8613 | 1.1463 | -1 | -1 | -1 | 6.3417 | 6.31 | 0.073057 | 1.1535 | 1.3071 | 122880.7781 | -1 | -1
|  | 12 | 5 | 26 | 6 | 4 | 0 | 0 | 0 | 6.3423 | 0 | BB | 12.2184 | 4.0756 | 0.046976 | 0.80471 | 0 |  | -1 | -1 | 5 | -1 | 938 | 974 | 6.2883 | 6.4662 | 0.0066667 | 47 | -1 | 6.3017 | 0.16455 | 17.0183 | 6.3023 | 0.16394 | 17.0421 | 6.3057 | 0.07305 | 22.2845 | 16.7345 | 21.8044 | 16.9573 | 6.3183 | 18.645 | 6.3579 | 19.7288 | 6.3192 | 0.047273 | 18.8217 | 0.025527 | 1.3248 | 2.5444 | 12.2545 | 6.3483 | 0.00065164 | 2.2037e-05 | 2.3544e-06 | 2.0808 | 120582.7946 | 37134.2153 | 99700.0255 | 61844.5031 | 10.7668 | 7.8112 | 9.8708 | 9.9128 | -1 | -1 | -1 | -1 | 9.1848 | 1.1463 | -1 | -1 | -1 | 6.3417 | 6.3047 | 0.14727 | 1.9918 | 2.9836 | 18263.6562 | -1 | -1
|  | 30 | 2 | 27 | 6 | 4 | 0 | 0 | 0 | 6.3424 | 0 | BV | 37.5817 | 13.2844 | 0.045005 | 0.94744 | 0 |  | -1 | -1 | 2 | -1 | 939 | 959 | 6.2883 | 6.3806 | 0.0066667 | 31 | -1 | 6.3028 | 0.07777 | 98.0907 | 6.3032 | 0.077378 | 98.1696 | 6.3057 | 0.075457 | 115.2573 | 97.2531 | 113.3488 | 97.7968 | 6.3167 | 102.6726 | 6.3567 | 107.6134 | 6.3197 | 0.047451 | 104.0859 | 0.014452 | 0.024405 | -0.58945 | 26.2136 | 6.3403 | 0.00020885 | 7.3657e-08 | 1.0514e-07 | 1.0067 | 113012.8279 | 166234.2517 | 98952.3714 | 192481.8555 | 10.4207 | 11.1774 | 9.6966 | 9.7379 | -1 | -1 | -1 | -1 | 10.8594 | 1.1464 | -1 | 3.127 | 3.127 | 6.3417 | 6.306 | 0.074633 | 1.0457 | 1.0914 | 128591.7732 | -1 | -1
|  | 14 | 4 | 28 | 6 | 4 | 0 | 0 | 0 | 6.3431 | 0 | BB | 9.5071 | 3.688 | 0.042075 | 1.2082 | 0 |  | -1 | -1 | 4 | -1 | 940 | 972 | 6.295 | 6.3875 | 0.0066667 | 43 | -1 | 6.3089 | 0.078599 | 48.8546 | 6.3094 | 0.078043 | 48.876 | 6.3065 | 0.068403 | 53.8875 | 48.0777 | 53.164 | 49.2806 | 6.3176 | 49.8367 | 6.3577 | 51.3851 | 6.3217 | 0.045556 | 50.4874 | 0.015809 | 0.059936 | -0.47778 | 9.5614 | 6.3413 | 0.00024993 | 2.3682e-07 | 1.5755e-07 | 1.211 | 137523.7203 | 162746.9263 | 107357.8713 | 160893.5876 | 10.998 | 11.3048 | 9.933 | 9.9753 | -1 | -1 | -1 | -1 | 11.3455 | 1.1465 | -1 | -1 | -1 | 6.3417 | 6.3111 | 0.076377 | 1.2498 | 1.4996 | 104556.2811 | -1 | -1
|  | 1 | 3 | 22 | 6 | 4 | 0 | 0 | 0 | 6.3433 | 0 | BB | 11.6291 | 4.9181 | 0.039587 | 1.4922 | 0 |  | -1 | -1 | 3 | -1 | 940 | 971 | 6.295 | 6.376 | 0.0066667 | 42 | -1 | 6.3139 | 0.062079 | 84.4728 | 6.3139 | 0.062079 | 84.5014 | 6.3076 | 0.062575 | 91.6443 | 82.6509 | 90.2614 | 85.608 | 6.3175 | 85.1413 | 6.3575 | 87.8082 | 6.3239 | 0.042778 | 86.6487 | 0.013822 | -0.045246 | -0.64638 | 11.5856 | 6.3393 | 0.00019104 | -1.1947e-07 | 8.5895e-08 | 1.1174 | 164330.7784 | 260889.2224 | 121753.1332 | 210360.3281 | 11.4386 | 12.4567 | 10.2327 | 10.2762 | -1 | -1 | -1 | -1 | 11.9262 | 1.1465 | -1 | -1 | -1 | 6.3417 | 6.315 | 0.060968 | 1.1431 | 1.2863 | 177884.7766 | -1 | -1
|  | 3 | 1 | 30 | 7 | 3 | 0 | 0 | 0 | 6.4149 | 0 | VB | 36.2154 | 9.1778 | 0.058036 | 0.61858 | 0 |  | -1 | -1 | 1 | -1 | 958 | 990 | 6.3838 | 6.5817 | 0.0066667 | 43 | -1 | 6.3838 | 0.094572 | 37.3215 | 6.3838 | 0.094017 | 37.3755 | 6.3489 | 0.1237 | 46.95 | 37.834 | 47.951 | 36.1328 | 6.399 | 44.7467 | 6.4376 | 43.3131 | 6.3838 | 0.064017 | 41.4327 | 0.01422 | 0.011305 | -0.69528 | 10.4273 | 6.4211 | 0.00020221 | 3.2507e-08 | 9.424e-08 | 1.5048 | 43029.1275 | 115028.2388 | 55630.6972 | 203898.4038 | 0.73567 | 1.0126 | 0.77576 | 0.77906 | -1 | -1 | -1 | -1 | 1.4483 | 1.0115 | 1.5327 | -1 | 1.5327 | 6.415 | 6.3838 | 0.088461 | 1.4159 | 1.8318 | 71158.2339 | -1 | -1
|  | 2 | 2 | 29 | 7 | 4 | 0 | 0 | 0 | 6.4168 | 0 | VB | 27.641 | 7.2017 | 0.056778 | 0.83541 | 0 |  | -1 | -1 | 2 | -1 | 958 | 990 | 6.3806 | 6.5156 | 0.0066667 | 43 | -1 | 6.3806 | 0.13439 | 98.3518 | 6.3806 | 0.13439 | 98.3943 | 6.3538 | 0.1177 | 106.2511 | 97.5993 | 106.4529 | 98.4474 | 6.399 | 103.8015 | 6.4376 | 103.4161 | 6.3806 | 0.070498 | 101.5769 | 0.016547 | 0.15598 | -0.60321 | 11.2914 | 6.4206 | 0.0002738 | 7.067e-07 | 1.7969e-07 | 1.9541 | 47532.3166 | 56966.6821 | 45872.473 | 150561.2174 | 0.77092 | 0.87733 | 0.74169 | 0.74485 | -1 | -1 | -1 | -1 | 1.2959 | 1.0117 | 1.6952 | -1 | 1.6952 | 6.415 | 6.3806 | 0.13439 | 1.9541 | 2.9081 | 22851.8671 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 11:13:27
ResNewDateTime | 02 September 2019 11:13:27
ResModBy | SYSTEM
ResModTime | 09/02/19 11:13:28
ResModDateTime | 02 September 2019 11:13:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5780.9953

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5780.9953

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2914.9978

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1529.7472

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 419.1062

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 167.4097

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 112.9541

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 84.1413

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 0

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 5780.9953

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2914.9978

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1529.7472

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 419.1062

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 167.4097

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 112.9541

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 84.1413

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 0

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 0.244 | 1027.1997 | 81.7612 | 0.18057 | 0.88228 | 5.9957 | 0.0016667 | 0 | 46.8898 | 0.515 | 0 | -39.7358 | 1 | -168.7511 | 47.171 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4614 | 1003.4731 | 48.2905 | 0.25443 | 3.7499 | -0.32825 | 0.82833 | 7.1054e-15 | -47.4472 | 1.6043 | 1.4211e-14 | 10.3084 | 1 | 74.4282 | -109.0986 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.1121 | 63.5199 | 10.0529 | 0.089717 | 0.8985 | 40.6549 | 1.9483 | 0 | 37.9114 | 2.2566 | 0 | 43.0734 | 1 | 16.7477 | 5.2813 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.8087 | 1701.6533 | 340.7661 | 0.078259 | 0.53654 | 58.1123 | 4.7417 | 7.1054e-15 | 58.9685 | 5.095 | 1.4211e-14 | 54.4529 | 1 | -12.7801 | 119.5677 | 0 | 0 | 0
DateTime |  | 0 | 8 | 5.5327 | 1889.2477 | 612.9501 | 0.047959 | 0.91549 | 49.7749 | 5.415 | 0 | 51.8413 | 5.7017 | 0 | 46.8068 | 1 | -17.562 | 146.9396 | 0 | 0 | 0
IntegStart | 0 | 2 | 8 | 6.3419 | 59.6861 | 20.8619 | 0.045378 | 0.86609 | 37.9307 | 6.2917 | -7.1054e-15 | 38.6205 | 6.3838 | 5.988 | 37.3544 | 1 | -13.7524 | 125.1463 | 0 | 0 | 0
IntegEnd | 0 | 32 | 8 | 6.4149 | 36.2154 | 9.1778 | 0.058036 | 0.61858 | 36.9257 | 6.3838 | 5.988 | 37.3544 | 6.5817 | 0 | 34.6327 | 1 | -13.7524 | 125.1463 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 6 | 0 | 8 | 0.23032 | 953.6823 | 75.1356 | 0.17808 | 0.93044 | 61.4229 | 0.0016667 | 0 | 110.0917 | 0.495 | 0 | 5.0855 | 1 | -212.8504 | 110.4464 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4614 | 208.8935 | 25.2321 | 0.10859 | 0.83063 | 17.0949 | 1.2617 | 0 | 18.8813 | 1.6053 | 0 | 15.8069 | 1 | -8.9458 | 30.168 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 4.8087 | 1104.6285 | 221.6676 | 0.078138 | 0.54002 | 88.9418 | 4.735 | 0 | 88.326 | 4.9846 | 0 | 90.4102 | 1 | 8.3503 | 48.7874 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5327 | 582.5707 | 187.9696 | 0.048158 | 0.93848 | 94.0157 | 5.415 | 0 | 93.719 | 5.6574 | 0 | 94.3302 | 1 | 2.5215 | 80.065 | 0 | 0 | 0
DateTime |  | 2 | 8 | 6.3424 | 37.5817 | 13.2844 | 0.045005 | 0.94744 | 97.5174 | 6.2883 | 0 | 97.1279 | 6.3806 | 4.2484 | 97.7929 | 1 | 7.2057 | 51.8159 | 0 | 0 | 0
IntegStart | 0 | 32 | 8 | 6.4168 | 27.641 | 7.2017 | 0.056778 | 0.83541 | 98.0539 | 6.3806 | 4.2484 | 97.7929 | 6.5156 | 0 | 98.7652 | 1 | 7.2057 | 51.8159 | 0 | 0 | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 0.2175 | 551.0074 | 45.4994 | 0.16729 | 0.9637 | 59.2674 | 0.0083333 | 0 | 93.1497 | 0.475 | 0 | 17.5548 | 1 | -161.9891 | 94.4996 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4613 | 81.8518 | 10.4943 | 0.103 | 0.64363 | 9.4249 | 1.295 | 1.7764e-15 | 10.6487 | 1.6083 | 1.7764e-15 | 8.3432 | 1 | -7.358 | 20.1773 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 4.8089 | 497.3654 | 100.0856 | 0.077976 | 0.54423 | 62.0958 | 4.7417 | 0 | 61.0566 | 4.9604 | 0 | 64.4396 | 1 | 15.4652 | -12.2742 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 5.5327 | 387.8935 | 128.8783 | 0.047114 | 0.89798 | 73.397 | 5.475 | 0 | 73.3004 | 5.636 | 0 | 73.5697 | 1 | 1.6734 | 64.1383 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.3433 | 11.6291 | 4.9181 | 0.039587 | 1.4922 | 84.3422 | 6.295 | 0 | 82.0575 | 6.376 | 2.8422e-14 | 85.8838 | 1 | 47.2572 | -215.4265 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 4.8089 | 267.0451 | 53.7879 | 0.077922 | 0.54492 | 35.9401 | 4.7417 | 0 | 35.3675 | 4.96 | 0 | 37.228 | 1 | 8.5197 | -5.0302 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5328 | 142.554 | 47.5638 | 0.046966 | 0.89846 | 42.3767 | 5.475 | 0 | 42.2711 | 5.6267 | 0 | 42.5484 | 1 | 1.8275 | 32.2655 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3431 | 9.5071 | 3.688 | 0.042075 | 1.2082 | 48.7228 | 6.295 | 0 | 47.8764 | 6.3875 | 1.4211e-14 | 49.5028 | 1 | 17.5854 | -62.8237 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 4.8088 | 133.8954 | 26.9493 | 0.077965 | 0.54258 | 13.5062 | 4.7417 | 0 | 13.3605 | 4.9706 | 0 | 13.8572 | 1 | 2.1701 | 3.0707 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5328 | 21.2959 | 7.3164 | 0.045958 | 0.88756 | 15.3711 | 5.4817 | -1.7764e-15 | 15.449 | 5.6083 | -1.7764e-15 | 15.2559 | 1 | -1.5246 | 23.8065 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3423 | 12.2184 | 4.0756 | 0.046976 | 0.80471 | 16.8463 | 6.2883 | 0 | 16.6817 | 6.4662 | 0 | 17.2241 | 1 | 3.0496 | -2.4955 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 4.8088 | 73.7067 | 14.8159 | 0.07804 | 0.54021 | 7.7543 | 4.735 | 0 | 7.7438 | 5.0006 | -8.8818e-16 | 7.7816 | 1 | 0.14215 | 7.0707 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5327 | 21.1443 | 7.2573 | 0.045991 | 0.88238 | 8.231 | 5.4817 | 0 | 8.3971 | 5.6083 | 0 | 7.9846 | 1 | -3.2563 | 26.247 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3421 | 18.1031 | 5.3116 | 0.051763 | 0.60598 | 8.0185 | 6.2817 | 0 | 8.0061 | 6.5828 | 0 | 8.0678 | 1 | 0.20481 | 6.7195 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 0 | 8 | 4.8087 | 52.9058 | 10.6294 | 0.078069 | 0.53978 | 1.2148 | 4.735 | 0 | 1.225 | 5.0083 | 0 | 1.1873 | 1 | -0.13782 | 1.8776 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 5.5327 | 22.6722 | 7.7013 | 0.046346 | 0.88612 | 1.4354 | 5.4817 | 1.7764e-15 | 1.5736 | 5.615 | 1.7764e-15 | 1.2126 | 1 | -2.7072 | 16.4138 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.3422 | 8.5633 | 3.4716 | 0.040778 | 1.1695 | 1.688 | 6.295 | 0 | 1.0786 | 6.3831 | 3.5527e-15 | 2.2166 | 1 | 12.924 | -80.2777 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2