## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqInstName | HPLC 1260 Infinity II
AcqMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
AcqMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqInjTime | 1567439752
AcqSubmitter | SYSTEM
AcqMethModTimeNonCalib | 1566548152
AcqMethModTime | 1566548152
AcqMethModBy | SYSTEM
AcqMethModified | 0
InjVolume | -2
ActInjVolume | -2
AcqSeqLine | 41
AcqMethodInjector | 1
Version | Rev. C.01.08 [210] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135.S
Dilution | 1
SeqLine | 41
Vial | 41
SampleLocation | 41
Inj | 1
BarCode
AcqMeth | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
AcqOp | SYSTEM
InjDateTime | 02-Sep-19, 16:55:52
SampleName | CS-135_0041
SampleInfo
SampleAmount | 0
Multiplier | 1
ISTD2Amount | 0
ISTDNum | 1
ISTDAmount | 0
LimsKField1
LimsKField2
LimsKField3
MethodInfo
DAMethPath | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\
DAMethFile | GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
DAMethModified | 0
DAMethModTimeNonCalib | 1566548152
DAMethModTime | 1566548152
DAMethModBy | SYSTEM
ReferencedInjectionInfo | (file not found)
NumSignals | 8

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 8
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0
ColumnType | 1

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | ModuleInfo2 | name | partNumber | deviceType | instrumentConfiguration
NumberOfRows | 3 | 1 | 1 | DEAEX01129 | D.07.22 [0001] |  | 0 | Quat. Pump | G7111A | 1 | Quat. Pump (G7111A) =================== Seal Wash Installed: No Configured Pressure Unit: bar Firmware Revision: D.07.22 [0001] Serialnumber:
NumberOfCol | 10 | 1 | 2 | DEAED06112 | D.07.22 [0001] |  | 0 | Column Comp. | G7116A | 4 | Column Comp. (G7116A) ===================== Valve Installed: No Left Tag Reader Installed: Yes Right Tag Reader Installed: No Firmware Revision:
NumberOfHead | 6 | 1 | 3 | DEAC603739 | D.07.20 [0007] |  | 0 | DAD | G7115A | 2 | DAD (G7115A) ============ Firmware Revision: D.07.20 [0007] Serialnumber: DEAC603739 Moduletype: G7115A Connection info Con
Modified | 1
location
specials

## ModuleInfo2
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType | instrumentConfiguration | Parent | Child
NumberOfRows | 0
NumberOfCol | 11
NumberOfHead | 4
Modified | 1

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 10 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1, Start/Stop Conditions | 0
NumberOfHead | 4 | THM1, Start/Stop Conditions | 0
Modified | 1 | PMP1, Pressure | 6 | PMP1, PMP1A, Pressure
|  | PMP1, Flow | 6 | PMP1, PMP1B, Flow
|  | PMP1, Solvent Ratio A | 6 | PMP1, PMP1C, Solvent Ratio A
|  | PMP1, Solvent Ratio B | 6 | PMP1, PMP1D, Solvent Ratio B
|  | PMP1, Solvent Ratio C | 6 | PMP1, PMP1E, Solvent Ratio C
|  | PMP1, Solvent Ratio D | 6 | PMP1, PMP1F, Solvent Ratio D
|  | PMP1, Direction of Piston A | 6 | PMP1, PMP1G, Direction of Piston A

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 4 | PMP1, Solvent A | Water + 0.1% formic
NumberOfCol | 2 | PMP1, Solvent B | ACN + 0.1% formic
NumberOfHead | 21 | PMP1, Solvent C
Modified | 1 | PMP1, Solvent D
DAD1UVOnTime | 6.8089
DAD1UVBurnTime | 153.4756
DAD1VisOnTime | 6.8083
DAD1VisBurnTime | 138.9869
StartPressure | 26.88
StopPressure | 61.155
StartFlow | 0.3
StopFlow | 0.8
PumpType | 1
StartLeftTemp | 39.998
StopLeftTemp | 40.001
StartRightTemp | 40
StopRightTemp | 40
InjVolume | -2
ActInjVolume | -2
InjVolumeText | Manually
ActInjVolText | Manually

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 8 | 1 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 4 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 7 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 10 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 18 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 25 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup
NextCompGroup_ | Compound
CompGroup_ | CompGroup
ControlLimits_ | ControlLimits

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType | firstNoise
NumberOfRows | 8 | 1 |  | DAD1 A, Sig=210,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 6541.4533 | 1438.2619 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfCol | 19 | 3 |  | DAD1 B, Sig=220,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 2984.5509 | 677.5617 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
NumberOfHead | 6 | 2 |  | DAD1 C, Sig=230,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 1303.9087 | 365.0517 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
Modified | 1 | 6 |  | DAD1 D, Sig=240,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 643.4838 | 184.9683 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
FirstPeak_ | Peak | 5 |  | DAD1 E, Sig=250,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 440.8334 | 127.1183 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
UnkComp_ | Compound | 13 |  | DAD1 F, Sig=260,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 472.6549 | 142.5616 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 21 |  | DAD1 G, Sig=270,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 365.3164 | 110.0816 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0
|  | 27 |  | DAD1 H, Sig=280,10 Ref=600,100 | 0 | 0 | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\CS-135_0041.D | 105.3785 | 31.3995 | 0 | 0 | 0 | 0 | 0.0045833 | 8.4979 | 0 | min | mAU | 1 | 0

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak | RTRatioRefComp | RTRatio | RTRatioT0 | objNum | refObjNum | startIndex | endIndex | startTime | endTime | timeIncrement | dataPoints | kPrime | frontSigma | sigmaWidth | sigmaHeight | frontTail | tailWidth | tailHeight | frontTangent | tangentWidth | frontTangEnd | frontTangentY | backTangEnd | backTangentY | upslopeTime | upslopeHeight | downslopeTime | downslopeHeight | frontHalfWidth | halfwidth | halfwidthHeight | sigma | skew | excess | moment0 | moment1 | moment2 | moment3 | moment4 | tailFact | tangentPlates | sigmaPlates | halfWidthPlates | statPlates | tangentResol | sigmaResol | halfWidthResol | halfWidthResol_118 | S2N_EP_NoiseFrom | S2N_EP_NoiseTo | S2N_EP_Noise | S2N_EP | statResol | alpha | PkVRatioFront | PkVRatioTail | PkVRatio | splineRT | front10percH | width10percH | USPAsymmetry_10PercH | AsymmetryFoleyDorsey | FoleyDorseyPlates | signalNoise | signalNoiseUSP
NumberOfRows | 34 | 4 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 0.26346 | 0 | BB | 887.1374 | 63.9129 | 0.20194 | 1.0319 | 0 |  | -1 | -1 | 1 | -1 | 1 | 77 | 0.0045833 | 0.50458 | 0.0066667 | 82 | -1 | 0.03125 | 0.36333 | 4.5441 | 0.03125 | 0.36333 | 4.9282 | 0.08088 | 0.37439 | 67.481 | 33.4649 | 81.3497 | -31.2174 | 0.2347 | 62.1225 | 0.36745 | 20.3214 | 0.03125 | 0.31333 | 33.7415 | 0.092317 | -0.22886 | -0.44898 | 887.1374 | 0.25825 | 0.0085224 | -0.00018006 | 0.00018528 | 0.77857 | 7.991 | 13.2573 | 3.9502 | 7.8255 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.26458 | 0.03125 | 0.35778 | 0.76667 | 0.53333 | 7.2977 | -1 | -1
NumberOfCol | 81 | 8 | 3 | 3 | 2 | 4 | 0 | 0 | 0 | 1.4607 | 0 | BB | 78.3262 | 10.2699 | 0.10298 | 0.59472 | 0 |  | -1 | -1 | 3 | -1 | 189 | 267 | 1.3112 | 1.6046 | 0.0066667 | 89 | -1 | 1.3112 | 0.27733 | 18.3615 | 1.3112 | 0.27733 | 18.4216 | 1.4057 | 0.19298 | 29.8528 | 18.5238 | 43.6045 | 16.294 | 1.4379 | 25.1641 | 1.5831 | 19.3699 | 1.4246 | 0.10133 | 22.9317 | 0.058895 | -0.20125 | -0.48488 | 78.3262 | 1.4803 | 0.0034686 | -4.1112e-05 | 3.026e-05 | 0.94545 | 913.1972 | 690.8777 | 1146.7546 | 631.7189 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4579 | 1.3112 | 0.27467 | 0.93636 | 0.87273 | 490.3801 | -1 | -1
NumberOfHead | 9 | 9 | 2 | 4 | 2 | 4 | 0 | 0 | 0 | 1.4608 | 0 | BB | 740.3444 | 34.7818 | 0.26233 | 3.8859 | 0 |  | -1 | -1 | 2 | -1 | 128 | 242 | 0.85125 | 1.6034 | 0.0066667 | 125 | -1 | 1.1379 | 0.46547 | 17.3094 | 1.1396 | 0.4638 | 17.516 | 1.3679 | 0.22795 | 54.5321 | 11.1219 | 82.9408 | 22.9529 | 1.4379 | 43.8554 | 1.5793 | 30.2798 | 1.3496 | 0.22333 | 33.0117 | 0.1649 | -0.29758 | -0.88016 | 743.52 | 1.304 | 0.027193 | -0.0013344 | 0.0015676 | 0.72849 | 654.5096 | 245.257 | 236.0848 | 62.5351 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.4579 | 1.1562 | 0.44714 | 0.74111 | 0.48222 | 133.381 | -1 | -1
Modified | 1 | 7 | 1 | 2 | 2 | 3 | 0 | 0 | 0 | 1.4608 | 0 | BB | 1174.7693 | 50.7388 | 0.28212 | 4.1795 | 0 |  | -1 | -1 | 1 | -1 | 123 | 242 | 0.81792 | 1.6024 | 0.0066667 | 130 | -1 | 1.1346 | 0.46784 | 9.6847 | 1.1362 | 0.46617 | 9.9864 | 1.3623 | 0.23254 | 63.8043 | -0.64097 | 104.8441 | 19.0948 | 1.4379 | 48.8381 | 1.5783 | 29.6704 | 1.3379 | 0.23667 | 32.6159 | 0.17057 | -0.26564 | -0.89225 | 1181.6798 | 1.2895 | 0.029094 | -0.0013183 | 0.0017842 | 0.72462 | 628.9216 | 242.7799 | 210.233 | 57.1533 | 3.9456 | 3.6014 | 2.5579 | 2.5688 | -1 | -1 | -1 | -1 | 1.9614 | 5.5447 | -1 | -1 | -1 | 1.4579 | 1.1529 | 0.44951 | 0.73689 | 0.47379 | 130.5295 | -1 | -1
NextPeakSignal_ | Peak | 14 | 5 | 6 | 3 | 4 | 0 | 0 | 0 | 2.0383 | 0 | BB | 69.9414 | 14.5526 | 0.074071 | 0.5624 | 0 |  | -1 | -1 | 5 | -1 | 284 | 351 | 1.9646 | 2.329 | 0.0066667 | 78 | -1 | 1.9846 | 0.16444 | 14.2232 | 1.9846 | 0.16111 | 14.3095 | 1.9905 | 0.13096 | 32.1498 | 13.5786 | 29.6692 | 13.6109 | 2.0094 | 20.9092 | 2.0697 | 23.6089 | 2.0079 | 0.077778 | 20.7826 | 0.036559 | 1.2203 | 3.5304 | 69.9492 | 2.0545 | 0.0013366 | 5.9628e-05 | 1.1666e-05 | 1.5104 | 3874.2059 | 3839.4979 | 3803.396 | 3158.0282 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0379 | 1.989 | 0.14111 | 1.4432 | 1.8864 | 2773.0651 | -1 | -1
Signal_ | Signal | 16 | 4 | 8 | 3 | 4 | 0 | 0 | 0 | 2.0384 | 0 | BB | 143.054 | 29.5458 | 0.074487 | 0.55761 | 0 |  | -1 | -1 | 4 | -1 | 284 | 343 | 1.9579 | 2.2786 | 0.0066667 | 70 | -1 | 1.9846 | 0.16762 | 21.1467 | 1.9846 | 0.16476 | 21.322 | 1.9905 | 0.13163 | 57.575 | 19.8269 | 52.4784 | 19.9233 | 2.0092 | 34.5458 | 2.0695 | 40.3813 | 2.0084 | 0.077143 | 34.465 | 0.036146 | 0.97811 | 1.7777 | 143.0511 | 2.0547 | 0.0013065 | 4.6192e-05 | 8.1556e-06 | 1.5446 | 3835.3451 | 3695.4396 | 3866.261 | 3231.3528 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2.0379 | 1.9893 | 0.14286 | 1.4706 | 1.9412 | 2659.2193 | -1 | -1
NextPeakComp_ | Peak | 10 | 1 | 5 | 3 | 3 | 0 | 0 | 0 | 2.0384 | 0 | BB | 743.6136 | 149.283 | 0.076114 | 0.53667 | 0 |  | -1 | -1 | 1 | -1 | 283 | 342 | 1.9446 | 2.2724 | 0.0066667 | 70 | -1 | 1.9846 | 0.18381 | 48.0049 | 1.9846 | 0.17714 | 48.8905 | 1.9903 | 0.13339 | 232.3619 | 41.1724 | 205.941 | 42.1193 | 2.0088 | 114.7926 | 2.0691 | 146.9664 | 2.0084 | 0.078095 | 115.3125 | 0.039069 | 1.1094 | 1.9902 | 743.5616 | 2.0569 | 0.0015264 | 6.6163e-05 | 1.1627e-05 | 1.6607 | 3734.5913 | 3073.101 | 3772.5369 | 2771.8438 | 3.157 | 2.216 | 2.1563 | 2.1654 | -1 | -1 | -1 | -1 | 1.8304 | 1.3954 | -1 | -1 | -1 | 2.0379 | 1.9893 | 0.14857 | 1.5294 | 2.0588 | 2371.1809 | -1 | -1
Compound_ | Compound | 17 | 3 | 9 | 3 | 4 | 0 | 0 | 0 | 2.0384 | 0 | BB | 265.6985 | 53.7632 | 0.075657 | 0.54205 | 0 |  | -1 | -1 | 3 | -1 | 283 | 342 | 1.9512 | 2.2736 | 0.0066667 | 70 | -1 | 1.9846 | 0.1781 | 25.0139 | 1.9846 | 0.17333 | 25.3328 | 1.9904 | 0.13285 | 91.3782 | 22.5698 | 81.9291 | 22.8647 | 2.0089 | 49.01 | 2.0691 | 60.5633 | 2.0084 | 0.078095 | 49.2507 | 0.038314 | 1.0858 | 1.9759 | 265.6556 | 2.0564 | 0.0014679 | 6.1066e-05 | 1.0722e-05 | 1.625 | 3764.9813 | 3273.469 | 3772.5369 | 2880.7222 | 3.5462 | 3.1713 | 3.7833 | 3.7994 | -1 | -1 | -1 | -1 | 2.9633 | 1.3955 | -1 | -1 | -1 | 2.0379 | 1.9893 | 0.14667 | 1.5098 | 2.0196 | 2462.3534 | -1 | -1
RTRatioRefComp_ | Compound | 11 | 2 | 7 | 3 | 4 | 0 | 0 | 0 | 2.0385 | 0 | BB | 500.8869 | 100.3733 | 0.076219 | 0.53524 | 0 |  | -1 | -1 | 2 | -1 | 283 | 342 | 1.9446 | 2.2728 | 0.0066667 | 70 | -1 | 1.9846 | 0.18476 | 42.6833 | 1.9846 | 0.17905 | 43.2787 | 1.9903 | 0.1335 | 166.6397 | 38.0824 | 148.8582 | 38.7398 | 2.0089 | 87.549 | 2.0691 | 109.2902 | 2.0084 | 0.078095 | 87.937 | 0.039263 | 1.1172 | 2.0012 | 500.8335 | 2.0571 | 0.0015416 | 6.7618e-05 | 1.1885e-05 | 1.6786 | 3728.4881 | 3041.5012 | 3772.5369 | 2745.0847 | 3.1966 | 2.2211 | 2.2519 | 2.2615 | -1 | -1 | -1 | -1 | 1.8443 | 1.3955 | -1 | -1 | -1 | 2.0379 | 1.9893 | 0.14857 | 1.5294 | 2.0588 | 2371.1809 | -1 | -1
|  | 12 | 1 | 11 | 4 | 3 | 0 | 0 | 0 | 4.9231 | 0 | BB | 17.1638 | 5.618 | 0.047643 | 0.72235 | 0 |  | -1 | -1 | 1 | -1 | 724 | 763 | 4.8779 | 5.0779 | 0.0066667 | 50 | -1 | 4.8779 | 0.087333 | 63.5548 | 4.8779 | 0.087333 | 63.5875 | 4.8881 | 0.073147 | 70.5498 | 63.8955 | 70.4527 | 62.731 | 4.9011 | 66.375 | 4.9411 | 66.813 | 4.8986 | 0.047333 | 66.0408 | 0.026862 | 1.4595 | 3.1612 | 17.1638 | 4.9318 | 0.00072157 | 2.8289e-05 | 3.2079e-06 | 0.93572 | 72521.5821 | 79491.4413 | 59967.3099 | 33707.3797 | 27.9337 | 26.5974 | 27.0233 | 27.1383 | -1 | -1 | -1 | -1 | 21.8015 | 2.4152 | -1 | -1 | -1 | 4.9246 | 4.8779 | 0.084 | 0.9 | 0.8 | 57329.5653 | -1 | -1
|  | 15 | 2 | 10 | 4 | 4 | 0 | 0 | 0 | 4.9248 | 0 | BB | 11.5494 | 3.7118 | 0.048301 | 0.95385 | 0 |  | -1 | -1 | 2 | -1 | 722 | 762 | 4.8113 | 5.0221 | 0.0066667 | 51 | -1 | 4.8853 | 0.13683 | 95.8677 | 4.8859 | 0.13617 | 95.8893 | 4.8875 | 0.073989 | 100.6853 | 95.472 | 100.201 | 95.9451 | 4.9012 | 97.392 | 4.9414 | 98.2819 | 4.9019 | 0.048 | 97.5092 | 0.026983 | 0.03496 | 1.9153 | 11.655 | 4.9268 | 0.00072811 | 6.8686e-07 | 2.6058e-06 | 1.7608 | 70879.5545 | 32381.3909 | 58313.1191 | 33337.9469 | 27.8221 | 22.4381 | 26.8964 | 27.0108 | -1 | -1 | -1 | -1 | 21.6593 | 2.416 | -1 | -1 | -1 | 4.9246 | 4.8879 | 0.13417 | 1.8295 | 2.6591 | 14371.7777 | -1 | -1
|  | 18 | 1 | 13 | 5 | 3 | 0 | 0 | 0 | 5.4533 | 0 | BV E | 50.6685 | 20.7049 | 0.04055 | 1.2576 | 0 |  | -1 | -1 | 1 | -1 | 806 | 824 | 5.4018 | 5.4846 | 0.0066667 | 29 | -1 | 5.4109 | 0.073704 | 56.5573 | 5.4112 | 0.073333 | 56.6795 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4305 | 0.043704 | 65.8476 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0.91667 | -1 | 136758.1002 | 86191.7062 | -1 | -1 | 8.2317 | 6.8438 | 6.8729 | -1 | -1 | -1 | -1 | -1 | 1.1077 | -1 | -1 | -1 | 5.4512 | 5.4153 | 0.069259 | 0.96392 | 0.92784 | 110976.4331 | -1 | -1
|  | 19 | 6 | 14 | 5 | 4 | 0 | 0 | 0 | 5.4534 | 0 | BV | 9.154 | 3.413 | 0.045291 | 1.0128 | 0 |  | -1 | -1 | 6 | -1 | 805 | 825 | 5.3846 | 5.4893 | 0.0066667 | 31 | -1 | 5.4128 | 0.076452 | 11.1647 | 5.4132 | 0.076059 | 11.1849 | 5.4168 | 0.073344 | 15.4516 | 11.0039 | 15.1888 | 11.0309 | 5.4263 | 12.16 | 5.4761 | 12.6183 | 5.4309 | 0.044706 | 12.7 | 0.014104 | -0.017859 | -0.62014 | 6.8842 | 5.4517 | 0.00019892 | -5.0104e-08 | 9.4165e-08 | 0.99975 | 88384.7113 | 127104.008 | 82370.6745 | 149414.3348 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4.1604 | 4.1604 | 5.4512 | 5.4167 | 0.07253 | 1.0509 | 1.1017 | 100162.867 | -1 | -1
|  | 23 | 5 | 15 | 5 | 4 | 0 | 0 | 0 | 5.4534 | 0 | BV | 10.3219 | 3.8532 | 0.045253 | 1.0318 | 0 |  | -1 | -1 | 5 | -1 | 805 | 825 | 5.3913 | 5.4895 | 0.0066667 | 31 | -1 | 5.414 | 0.075455 | 19.0456 | 5.4144 | 0.075063 | 19.0684 | 5.4168 | 0.072654 | 23.9272 | 18.799 | 23.5365 | 18.9662 | 5.4263 | 20.1326 | 5.4663 | 21.908 | 5.4309 | 0.044706 | 20.7802 | 0.014304 | -0.026054 | -0.60933 | 7.9969 | 5.4515 | 0.00020459 | -7.6246e-08 | 1.0007e-07 | 1.0181 | 90071.7504 | 130482.4358 | 82370.6745 | 145258.0787 | 33.5441 | 35.5889 | 32.7615 | 32.901 | -1 | -1 | -1 | -1 | 33.3942 | 2.6755 | -1 | 4.415 | 4.415 | 5.4512 | 5.4175 | 0.071926 | 1.0663 | 1.1327 | 100528.6714 | -1 | -1
|  | 20 | 2 | 16 | 5 | 4 | 0 | 0 | 0 | 5.4537 | 0 | BV E | 34.9657 | 13.7508 | 0.041666 | 1.1865 | 0 |  | -1 | -1 | 2 | -1 | 806 | 825 | 5.3913 | 5.4913 | 0.0066667 | 30 | -1 | 5.414 | 0.077255 | 99.126 | 5.4144 | 0.076863 | 99.2073 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4309 | 0.045098 | 105.3018 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.0426 | -1 | 124474.2986 | 80944.3694 | -1 | -1 | 6.1759 | 6.6749 | 6.7033 | -1 | -1 | -1 | -1 | -1 | 1.1074 | -1 | -1 | -1 | 5.4512 | 5.4171 | 0.074118 | 1.0862 | 1.1724 | 93118.5123 | -1 | -1
|  | 24 | 4 | 17 | 5 | 4 | 0 | 0 | 0 | 5.4538 | 0 | BV E | 11.9276 | 4.7018 | 0.041596 | 1.2221 | 0 |  | -1 | -1 | 4 | -1 | 806 | 825 | 5.3913 | 5.4913 | 0.0066667 | 30 | -1 | 5.4167 | 0.07451 | 44.3835 | 5.4171 | 0.074118 | 44.4114 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4316 | 0.044706 | 46.5016 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.0862 | -1 | 133815.0382 | 82370.6745 | -1 | -1 | 35.2652 | 32.9359 | 33.0761 | -1 | -1 | -1 | -1 | -1 | 2.6756 | -1 | -1 | -1 | 5.4512 | 5.4195 | 0.071765 | 1.1296 | 1.2593 | 95887.1103 | -1 | -1
|  | 22 | 3 | 12 | 5 | 4 | 0 | 0 | 0 | 5.4541 | 0 | BV E | 18.9177 | 7.5015 | 0.041422 | 1.2623 | 0 |  | -1 | -1 | 3 | -1 | 806 | 825 | 5.3913 | 5.4913 | 0.0066667 | 30 | -1 | 5.4171 | 0.074118 | 78.3663 | 5.4171 | 0.074118 | 78.4107 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.4316 | 0.045098 | 81.7413 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1.0862 | -1 | 135234.8157 | 80944.3694 | -1 | -1 | 33.8568 | 32.578 | 32.7166 | -1 | -1 | -1 | -1 | -1 | 2.6756 | -1 | -1 | -1 | 5.4512 | 5.4195 | 0.071765 | 1.1296 | 1.2593 | 95887.1103 | -1 | -1
|  | 25 | 1 | 19 | 6 | 3 | 0 | 0 | 0 | 5.5359 | 0 | VB R | 1941.99 | 631.9733 | 0.04785 | 1.0218 | 0 |  | -1 | -1 | 1 | -1 | 811 | 890 | 5.4017 | 5.9246 | 0.0066667 | 90 | -1 | 5.4873 | 0.104 | 81.1053 | 5.4886 | 0.10133 | 84.7766 | 5.4964 | 0.080885 | 841.143 | 54.7647 | 814.989 | 53.6286 | 5.5137 | 399.159 | 5.5563 | 439.5179 | 5.5113 | 0.050667 | 360.126 | 0.026974 | 1.008 | 19.3277 | 1992.2324 | 5.533 | 0.00072757 | 1.9782e-05 | 1.1819e-05 | 1.027 | 75002.0622 | 70886.9291 | 66184.7497 | 42077.0524 | -1 | 1.1611 | 1.0276 | 1.032 | -1 | -1 | -1 | -1 | -1 | 1.0151 | 42.7826 | -1 | 42.7826 | 5.5379 | 5.4939 | 0.089333 | 1.0152 | 1.0303 | 70276.3577 | -1 | -1
|  | 30 | 6 | 20 | 6 | 4 | 0 | 0 | 0 | 5.5359 | 0 | VB | 23.4358 | 7.6859 | 0.047574 | 0.92787 | 0 |  | -1 | -1 | 6 | -1 | 824 | 853 | 5.4893 | 5.6217 | 0.0066667 | 40 | -1 | 5.4893 | 0.10147 | 11.3757 | 5.4893 | 0.10044 | 11.4203 | 5.4966 | 0.079879 | 20.6813 | 11.0332 | 20.381 | 11.0626 | 5.5155 | 15.673 | 5.5536 | 16.3226 | 5.5113 | 0.050256 | 14.7672 | 0.017892 | 0.20903 | -0.32778 | 20.2456 | 5.5359 | 0.00032011 | 1.1972e-06 | 2.7382e-07 | 1.0324 | 76903.8623 | 74470.3619 | 67269.7275 | 95738.4603 | 1.0771 | 1.1595 | 1.021 | 1.0254 | -1 | -1 | -1 | -1 | 1.3165 | 1.0151 | 9.3689 | -1 | 9.3689 | 5.5379 | 5.4893 | 0.093262 | 0.95857 | 0.91714 | 62826.0578 | -1 | -1
|  | 26 | 2 | 21 | 6 | 4 | 0 | 0 | 0 | 5.5359 | 0 | VB R | 592.1406 | 193.6011 | 0.047683 | 1.2143 | 0 |  | -1 | -1 | 2 | -1 | 809 | 853 | 5.3913 | 5.6438 | 0.0066667 | 55 | -1 | 5.4875 | 0.10444 | 107.1309 | 5.4883 | 0.10222 | 108.2553 | 5.4968 | 0.079886 | 343.3343 | 98.6651 | 334.348 | 99.0928 | 5.5144 | 208.8219 | 5.5549 | 224.9885 | 5.5113 | 0.05037 | 192.5883 | 0.028402 | -1.1 | 2.5695 | 627.1483 | 5.5326 | 0.00080666 | -2.5202e-05 | 3.6241e-06 | 1.0299 | 76891.0442 | 70284.9197 | 66965.684 | 37946.6281 | -1 | 1.1306 | 1.0113 | 1.0156 | -1 | -1 | -1 | -1 | -1 | 1.0151 | 16.9389 | -1 | 16.9389 | 5.5379 | 5.4935 | 0.08963 | 1.0083 | 1.0167 | 70232.4835 | -1 | -1
|  | 31 | 7 | 22 | 6 | 4 | 0 | 0 | 0 | 5.5359 | 0 | BB | 22.4598 | 7.7632 | 0.045753 | 0.87667 | 0 |  | -1 | -1 | 7 | -1 | 817 | 852 | 5.4846 | 5.6112 | 0.0066667 | 46 | -1 | 5.4894 | 0.094545 | 2.9374 | 5.4906 | 0.092727 | 2.9824 | 5.4989 | 0.076866 | 12.4634 | 2.7845 | 12.1265 | 2.4347 | 5.515 | 6.9891 | 5.5542 | 7.6837 | 5.5119 | 0.049091 | 6.3627 | 0.018617 | 0.25245 | -0.17639 | 22.4598 | 5.538 | 0.00034661 | 1.6291e-06 | 3.3923e-07 | 0.98077 | 83051.2429 | 85773.1842 | 70501.8394 | 88483.8085 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5.5379 | 5.4955 | 0.08303 | 0.97857 | 0.95714 | 80837.9553 | -1 | -1
|  | 28 | 3 | 23 | 6 | 4 | 0 | 0 | 0 | 5.5359 | 0 | VB R | 407.3246 | 133.6155 | 0.047566 | 1.1436 | 0 |  | -1 | -1 | 3 | -1 | 809 | 853 | 5.3913 | 5.6322 | 0.0066667 | 55 | -1 | 5.489 | 0.1037 | 84.8755 | 5.4898 | 0.10148 | 85.6516 | 5.4969 | 0.079744 | 248.1573 | 78.6159 | 241.5824 | 79.7217 | 5.5144 | 154.5854 | 5.5549 | 166.4007 | 5.5113 | 0.05037 | 143.8597 | 0.02698 | -1.0642 | 2.8338 | 426.1702 | 5.5337 | 0.00072792 | -2.0901e-05 | 3.0911e-06 | 1.0538 | 77163.7118 | 71292.5759 | 66965.684 | 42067.0617 | -1 | 1.1508 | 1.0075 | 1.0117 | -1 | -1 | -1 | -1 | -1 | 1.015 | 18.0537 | -1 | 18.0537 | 5.5379 | 5.4942 | 0.088889 | 1.0169 | 1.0339 | 70869.1412 | -1 | -1
|  | 29 | 5 | 24 | 6 | 4 | 0 | 0 | 0 | 5.536 | 0 | VB | 24.0692 | 7.8858 | 0.047609 | 0.93495 | 0 |  | -1 | -1 | 5 | -1 | 824 | 853 | 5.4895 | 5.6175 | 0.0066667 | 40 | -1 | 5.4895 | 0.10539 | 19.4134 | 5.4895 | 0.10334 | 19.4592 | 5.4966 | 0.079981 | 28.982 | 18.9825 | 28.6205 | 19.1665 | 5.5155 | 23.7848 | 5.5536 | 24.5224 | 5.5113 | 0.050256 | 22.8934 | 0.018024 | 0.23409 | -0.27704 | 20.8238 | 5.5363 | 0.00032486 | 1.3706e-06 | 2.8736e-07 | 1.0661 | 76707.6329 | 69030.321 | 67269.7275 | 94349.2996 | 1.0817 | 1.1412 | 1.0214 | 1.0258 | -1 | -1 | -1 | -1 | 1.3112 | 1.0151 | 9.0354 | -1 | 9.0354 | 5.5379 | 5.4895 | 0.09462 | 0.97614 | 0.95229 | 62103.4191 | -1 | -1
|  | 32 | 4 | 18 | 6 | 4 | 0 | 0 | 0 | 5.536 | 0 | VB R | 152.4758 | 49.9737 | 0.047596 | 1.3424 | 0 |  | -1 | -1 | 4 | -1 | 809 | 853 | 5.3913 | 5.626 | 0.0066667 | 55 | -1 | 5.4883 | 0.10519 | 47.0167 | 5.489 | 0.10296 | 47.307 | 5.4969 | 0.079768 | 108.1073 | 44.5388 | 105.5728 | 45.2184 | 5.5144 | 73.0012 | 5.5549 | 77.5891 | 5.5113 | 0.05037 | 69.0791 | 0.030078 | -1.1723 | 2.198 | 164.3373 | 5.5311 | 0.00090468 | -3.1899e-05 | 4.2543e-06 | 1.053 | 77117.3748 | 69298.4769 | 66965.684 | 33816.6141 | -1 | 1.1428 | 1.0152 | 1.0195 | -1 | -1 | -1 | -1 | -1 | 1.0151 | 17.0241 | -1 | 17.0241 | 5.5379 | 5.4942 | 0.08963 | 1.0254 | 1.0508 | 69189.128 | -1 | -1
|  | 33 | 1 | 26 | 7 | 3 | 0 | 0 | 0 | 6.2785 | 0 | BB | 1710.5392 | 510.3004 | 0.053107 | 0.85112 | 0 |  | -1 | -1 | 1 | -1 | 926 | 973 | 6.2081 | 6.4779 | 0.0066667 | 58 | -1 | 6.2283 | 0.11185 | 65.8516 | 6.229 | 0.10963 | 68.8402 | 6.2361 | 0.089778 | 677.2886 | 44.561 | 648.2543 | 43.2179 | 6.2546 | 321.2626 | 6.3012 | 357.6163 | 6.252 | 0.055556 | 292.9895 | 0.022787 | 0.53562 | 1.302 | 1710.2167 | 6.2785 | 0.00051925 | 6.3375e-06 | 1.1599e-06 | 1.1212 | 78236.2277 | 78756.1984 | 70743.3901 | 75915.7167 | 8.7026 | 8.6009 | 8.2145 | 8.2495 | -1 | -1 | -1 | -1 | 7.4905 | 1.1341 | -1 | -1 | -1 | 6.2779 | 6.2342 | 0.097037 | 1.1102 | 1.2203 | 70653.8028 | -1 | -1
|  | 34 | 2 | 27 | 7 | 4 | 0 | 0 | 0 | 6.2785 | 0 | BB | 1093.5509 | 327.2388 | 0.052987 | 0.85691 | 0 |  | -1 | -1 | 2 | -1 | 926 | 967 | 6.1912 | 6.3931 | 0.0066667 | 52 | -1 | 6.2293 | 0.11133 | 116.775 | 6.2299 | 0.10933 | 118.6914 | 6.2361 | 0.089658 | 509.0992 | 102.4395 | 490.2008 | 103.0442 | 6.2547 | 280.5716 | 6.3011 | 304.7759 | 6.2519 | 0.055333 | 262.4201 | 0.02225 | 0.32621 | 0.11789 | 1093.5031 | 6.2814 | 0.00049505 | 3.5932e-06 | 7.6412e-07 | 1.1389 | 78446.0444 | 79491.4973 | 71312.7511 | 79701.9088 | 8.7604 | 8.6042 | 8.2552 | 8.2903 | -1 | -1 | -1 | -1 | 7.3917 | 1.1342 | -1 | -1 | -1 | 6.2779 | 6.2339 | 0.097333 | 1.1061 | 1.2121 | 70458.6836 | -1 | -1
|  | 27 | 8 | 28 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 105.3785 | 31.3995 | 0.053154 | 0.85004 | 0 |  | -1 | -1 | 8 | -1 | 926 | 984 | 6.1846 | 6.5512 | 0.0066667 | 69 | -1 | 6.2284 | 0.11238 | 6.8601 | 6.2293 | 0.10952 | 7.044 | 6.2361 | 0.089841 | 44.4277 | 5.522 | 42.6639 | 5.4999 | 6.2547 | 22.6022 | 6.3012 | 24.9005 | 6.2522 | 0.055238 | 20.8342 | 0.023546 | 0.90117 | 4.1764 | 105.3785 | 6.2819 | 0.00055443 | 1.1765e-05 | 2.206e-06 | 1.1275 | 78126.4739 | 78016.3603 | 71558.8692 | 71176.5928 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6.2779 | 6.2341 | 0.097143 | 1.1087 | 1.2174 | 70584.1799 | -1 | -1
|  | 2 | 3 | 29 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 533.6418 | 159.9015 | 0.052935 | 0.86062 | 0 |  | -1 | -1 | 3 | -1 | 926 | 967 | 6.1912 | 6.3816 | 0.0066667 | 52 | -1 | 6.2293 | 0.11267 | 96.3459 | 6.2299 | 0.11067 | 97.2823 | 6.2361 | 0.089595 | 288.2476 | 88.8143 | 278.6983 | 90.2407 | 6.2547 | 175.9353 | 6.3011 | 188.535 | 6.2526 | 0.054667 | 167.5094 | 0.02219 | 0.3147 | 0.079109 | 533.9224 | 6.2814 | 0.00049238 | 3.4383e-06 | 7.4649e-07 | 1.1528 | 78556.148 | 77621.1746 | 73062.6922 | 80133.9236 | 8.771 | 8.5806 | 8.3075 | 8.3429 | -1 | -1 | -1 | -1 | 7.604 | 1.1341 | -1 | -1 | -1 | 6.2779 | 6.2346 | 0.097333 | 1.1231 | 1.2462 | 69498.0479 | -1 | -1
|  | 5 | 5 | 31 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 336.5009 | 100.8267 | 0.052937 | 0.85864 | 0 |  | -1 | -1 | 5 | -1 | 926 | 967 | 6.1912 | 6.3906 | 0.0066667 | 52 | -1 | 6.2293 | 0.11133 | 25.2063 | 6.2299 | 0.10933 | 25.7966 | 6.2362 | 0.089552 | 146.1033 | 20.7411 | 140.2868 | 21.0322 | 6.2547 | 75.4432 | 6.3011 | 83.2293 | 6.2519 | 0.055333 | 70.0754 | 0.022211 | 0.32218 | 0.11237 | 336.519 | 6.2815 | 0.00049333 | 3.5302e-06 | 7.5746e-07 | 1.1389 | 78632.7093 | 79491.4973 | 71312.7511 | 79981.2861 | 8.7605 | 8.5662 | 8.2636 | 8.2988 | -1 | -1 | -1 | -1 | 9.2606 | 1.1341 | -1 | -1 | -1 | 6.2779 | 6.2346 | 0.096667 | 1.1154 | 1.2308 | 70896.908 | -1 | -1
|  | 13 | 6 | 32 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 440.065 | 131.4626 | 0.053054 | 0.85319 | 0 |  | -1 | -1 | 6 | -1 | 926 | 973 | 6.1779 | 6.479 | 0.0066667 | 58 | -1 | 6.229 | 0.11185 | 16.7972 | 6.2298 | 0.10963 | 17.567 | 6.2362 | 0.089603 | 174.3657 | 11.1464 | 166.8521 | 11.1594 | 6.2546 | 82.1535 | 6.3012 | 92.1687 | 6.252 | 0.055556 | 75.2981 | 0.022878 | 0.5779 | 1.6026 | 440.065 | 6.2817 | 0.00052339 | 6.9197e-06 | 1.2608e-06 | 1.1385 | 78542.9572 | 78756.1984 | 70743.3901 | 75393.8565 | 8.7646 | 8.7043 | 8.2476 | 8.2827 | -1 | -1 | -1 | -1 | 9.1468 | 1.1342 | -1 | -1 | -1 | 6.2779 | 6.2342 | 0.097037 | 1.1102 | 1.2203 | 70653.8028 | -1 | -1
|  | 21 | 7 | 30 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 342.8566 | 102.3184 | 0.053094 | 0.85166 | 0 |  | -1 | -1 | 7 | -1 | 926 | 984 | 6.1779 | 6.5507 | 0.0066667 | 69 | -1 | 6.2284 | 0.11238 | 6.5276 | 6.2293 | 0.10952 | 7.1267 | 6.2361 | 0.089768 | 128.9478 | 2.1428 | 123.1985 | 2.1242 | 6.2547 | 57.7456 | 6.3012 | 65.3313 | 6.2522 | 0.055238 | 52.0597 | 0.023263 | 0.78733 | 3.3526 | 342.8576 | 6.2819 | 0.00054118 | 9.9122e-06 | 1.8605e-06 | 1.1275 | 78253.6692 | 78016.3603 | 71558.8692 | 72918.4897 | 8.9143 | 8.9731 | 8.3647 | 8.4003 | -1 | -1 | -1 | -1 | 8.8807 | 1.1342 | -1 | -1 | -1 | 6.2779 | 6.2341 | 0.097143 | 1.1087 | 1.2174 | 70584.1799 | -1 | -1
|  | 6 | 4 | 25 | 7 | 4 | 0 | 0 | 0 | 6.2786 | 0 | BB | 336.0264 | 100.7471 | 0.052912 | 0.86124 | 0 |  | -1 | -1 | 4 | -1 | 926 | 967 | 6.1912 | 6.3812 | 0.0066667 | 52 | -1 | 6.2293 | 0.11267 | 55.6938 | 6.2299 | 0.11067 | 56.2837 | 6.2362 | 0.089544 | 176.6067 | 50.9338 | 170.5937 | 51.8643 | 6.2547 | 105.7716 | 6.3011 | 113.7819 | 6.2526 | 0.054667 | 100.5284 | 0.022102 | 0.29966 | 0.029567 | 335.8333 | 6.2814 | 0.00048849 | 3.2353e-06 | 7.2291e-07 | 1.1528 | 78645.9177 | 77621.1746 | 73062.6922 | 80771.6055 | 8.772 | 8.5219 | 8.3072 | 8.3425 | -1 | -1 | -1 | -1 | 7.1892 | 1.1341 | -1 | -1 | -1 | 6.2779 | 6.2346 | 0.097333 | 1.1231 | 1.2462 | 69498.0479 | -1 | -1
|  | 1 | 1 | 34 | 8 | 3 | 0 | 0 | 0 | 6.6844 | 0 | BB | 15.5716 | 5.7306 | 0.043702 | 0.75669 | 0 |  | -1 | -1 | 1 | -1 | 990 | 1024 | 6.6446 | 6.7446 | 0.0066667 | 45 | -1 | 6.6446 | 0.074546 | 39.0639 | 6.6446 | 0.074546 | 39.0972 | 6.6514 | 0.072843 | 45.7041 | 39.9395 | 46.4171 | 37.4814 | 6.6683 | 42.8844 | 6.7084 | 41.0389 | 6.6597 | 0.046667 | 41.5976 | 0.016806 | 0.16312 | -0.40972 | 15.5716 | 6.6881 | 0.00028243 | 7.7423e-07 | 2.0662e-07 | 0.93182 | 134740.7441 | 201022.6984 | 113669.7452 | 158376.5974 | 4.9927 | 5.4448 | 4.6663 | 4.6862 | -1 | -1 | -1 | -1 | 5.1727 | 1.0647 | -1 | -1 | -1 | 6.6846 | 6.6446 | 0.072727 | 0.90909 | 0.81818 | 142495.3715 | -1 | -1
|  | 3 | 2 | 33 | 8 | 4 | 0 | 0 | 0 | 6.686 | 0 | BB | 11.113 | 4.1041 | 0.043591 | 0.91683 | 0 |  | -1 | -1 | 2 | -1 | 990 | 1024 | 6.6379 | 6.7446 | 0.0066667 | 45 | -1 | 6.6379 | 0.089697 | 105.9107 | 6.6379 | 0.089091 | 105.9345 | 6.6506 | 0.07315 | 110.8812 | 105.8725 | 110.8971 | 105.5795 | 6.6683 | 108.377 | 6.7084 | 107.7398 | 6.6628 | 0.046667 | 107.7184 | 0.016819 | 0.11719 | -0.42308 | 11.113 | 6.6873 | 0.00028288 | 5.5755e-07 | 2.0621e-07 | 0.95454 | 133610.5833 | 138845.6138 | 113669.7452 | 158088.5028 | 5.0055 | 5.0673 | 4.6939 | 4.7139 | -1 | -1 | -1 | -1 | 5.1945 | 1.0649 | -1 | -1 | -1 | 6.6846 | 6.6464 | 0.077576 | 1.0159 | 1.0317 | 135695.4807 | -1 | -1

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 51
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.80
SampleAmount | 0
Multiplier | 1
RunType | 1
Units | ng/ul
CalcBase | 0
CalcType | 0
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | SYSTEM
ResNewTime | 09/02/19 17:04:27
ResNewDateTime | 02 September 2019 17:04:27
ResModBy | SYSTEM
ResModTime | 09/02/19 17:04:28
ResModDateTime | 02 September 2019 17:04:28
SampleLevel | 0
CalMethod | C:\Users\Public\Documents\ChemStation\2\Data\CS-135 2019-09-02 10-39-04\GENERIC 5MIN GRADIENT_ELECTROCHEMISTRY.M
CalNewBy
CalNewTime
CalNewDateTime
CalModBy
CalModTime
CalModDateTime
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 0
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 0
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0
ShowUnkComp | 1

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 0
NumberOfCol | 5
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## peaksumcalc
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6541.4533

## peaksumcalc1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6541.4533

## peaksumcalc2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2984.5509

## peaksumcalc3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1303.9087

## peaksumcalc4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 643.4838

## peaksumcalc5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 440.8334

## peaksumcalc6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 472.6549

## peaksumcalc7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 365.3164

## peaksumcalc8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 105.3785

## PeakSumCalcT1
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 6541.4533

## PeakSumCalcT2
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 2984.5509

## PeakSumCalcT3
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 1303.9087

## PeakSumCalcT4
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 643.4838

## PeakSumCalcT5
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 440.8334

## PeakSumCalcT6
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 472.6549

## PeakSumCalcT7
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 365.3164

## PeakSumCalcT8
HeaderName | HeaderValue | segName | Timestart | Timeend | Height | Area | PPM | ISTDName | RF | Signal
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 17
Modified | 1
total | 0
total1 | 0
total2 | 0
total3 | 0
total4 | 0
total5 | 0
total6 | 0
total7 | 0
total8 | 0
multiplier | 1
dilution | 1
sampleAmt | 0
TotPeakResponse | 105.3785

## Noise
HeaderName | HeaderValue | signal | nextNoiseSignal | timeFrom | timeTo | ResTimeFrom | ResTimeTo | corrCoeff | drift | PosDrift | NegDrift | wander | noisePP | Obj_X_Max | noise | ASTMnoise | coeff_A0 | coeff_A1 | sd_A0 | rsd_A0 | tsd_A0 | sd_A1 | rsd_A1 | tsd_A1
NumberOfRows | 0
NumberOfCol | 23
NumberOfHead | 4
Modified | 1

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 8 | 0 | 8 | 0.26346 | 887.1374 | 63.9129 | 0.20194 | 1.0319 | 1.9215 | 0.0045833 | 0 | 46.6466 | 0.50458 | -1.4211e-14 | -39.7377 | 1 | -172.7686 | 47.4384 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 1.4608 | 1174.7693 | 50.7388 | 0.28212 | 4.1795 | 7.7162 | 0.81792 | 0 | -46.8454 | 1.6024 | 1.0658e-14 | 19.7364 | 1 | 84.871 | -116.2629 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 2.0384 | 743.6136 | 149.283 | 0.076114 | 0.53667 | 41.5139 | 1.9446 | 0 | 40.8478 | 2.2724 | 0 | 43.175 | 1 | 7.0984 | 27.0443 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 4.9231 | 17.1638 | 5.618 | 0.047643 | 0.72235 | 63.3386 | 4.8779 | 1.4211e-14 | 64.0578 | 5.0779 | 1.4211e-14 | 60.874 | 1 | -15.9192 | 141.7104 | 0 | 0 | 0
DateTime |  | 2 | 31 | 5.4533 | 50.6685 | 20.7049 | 0.04055 | 1.2576 | 55.6425 | 5.4018 | 5.3098e-08 | 56.0952 | 5.4846 | 6.6107e-08 | 69.7031 | 2 | -14.0466 | 131.9709 | 34.6331 | -127.8143 | 5.4913
IntegStart | 0 | 32 | 20 | 5.5359 | 1941.99 | 631.9733 | 0.04785 | 1.0218 | 54.2109 | 5.4017 | -7.1054e-15 | 56.0954 | 5.9246 | 0 | 48.7509 | 1 | -14.0466 | 131.9709 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.2785 | 1710.5392 | 510.3004 | 0.053107 | 0.85112 | 43.9263 | 6.2081 | 7.1054e-15 | 44.9799 | 6.4779 | 0 | 40.9427 | 1 | -14.9604 | 137.8549 | 0 | 0 | 0
Errors | 0 | 0 | 8 | 6.6844 | 15.5716 | 5.7306 | 0.043702 | 0.75669 | 38.8243 | 6.6446 | 0 | 40.1692 | 6.7446 | 0 | 36.7947 | 1 | -33.7458 | 264.3958 | 0 | 0 | 0
IntegMode | 2

## IntResults2
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 7 | 0 | 8 | 1.4608 | 740.3444 | 34.7818 | 0.26233 | 3.8859 | 15.9414 | 0.85125 | 0 | -15.6932 | 1.6034 | -1.0658e-14 | 23.3445 | 1 | 51.9023 | -59.8751 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0385 | 500.8869 | 100.3733 | 0.076219 | 0.53524 | 38.3193 | 1.9446 | 0 | 37.8571 | 2.2728 | 0 | 39.4735 | 1 | 4.9245 | 28.2809 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 4.9248 | 11.5494 | 3.7118 | 0.048301 | 0.95385 | 95.7109 | 4.8113 | 0 | 94.9845 | 5.0221 | 0 | 96.3328 | 1 | 6.3949 | 64.2171 | 0 | 0 | 0
Modified | 1 | 2 | 31 | 5.4537 | 34.9657 | 13.7508 | 0.041666 | 1.1865 | 98.5477 | 5.3913 | 6.1837e-08 | 98.1003 | 5.4913 | 6.3213e-08 | 110.0645 | 2 | 5.3543 | 69.2332 | 25.9219 | -122.8356 | 5.4979
DateTime |  | 32 | 20 | 5.5359 | 592.1406 | 193.6011 | 0.047683 | 1.2143 | 98.8741 | 5.3913 | 0 | 98.0997 | 5.6438 | 0 | 99.4518 | 1 | 5.3543 | 69.2332 | 0 | 0 | 0
IntegStart | 0 | 0 | 8 | 6.2785 | 1093.5509 | 327.2388 | 0.052987 | 0.85691 | 102.7256 | 6.1912 | 0 | 102.1371 | 6.3931 | 0 | 103.4981 | 1 | 6.7435 | 60.3863 | 0 | 0 | 0
IntegEnd | 0 | 0 | 8 | 6.686 | 11.113 | 4.1041 | 0.043591 | 0.91683 | 105.7306 | 6.6379 | 1.4211e-14 | 105.9232 | 6.7446 | 1.4211e-14 | 105.4959 | 1 | -4.0054 | 132.5109 | 0 | 0 | 0
Errors | 0
IntegMode | 2

## IntResults3
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 5 | 0 | 8 | 1.4607 | 78.3262 | 10.2699 | 0.10298 | 0.59472 | 17.8882 | 1.3112 | 0 | 19.6152 | 1.6046 | 0 | 16.2258 | 1 | -11.5546 | 34.7662 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 2.0384 | 265.6985 | 53.7632 | 0.075657 | 0.54205 | 22.6764 | 1.9512 | 0 | 22.4829 | 2.2736 | 0 | 23.1985 | 1 | 2.2198 | 18.1514 | 0 | 0 | 0
NumberOfHead | 9 | 2 | 31 | 5.4541 | 18.9177 | 7.5015 | 0.041422 | 1.2623 | 78.0828 | 5.3913 | 6.0677e-08 | 77.1515 | 5.4913 | 7.8813e-08 | 85.938 | 2 | 13.8662 | 2.3942 | 17.4976 | -129.0673 | 5.4979
Modified | 1 | 32 | 20 | 5.5359 | 407.3246 | 133.6155 | 0.047566 | 1.1436 | 79.1567 | 5.3913 | 0 | 77.1503 | 5.6322 | 0 | 80.4911 | 1 | 13.8662 | 2.3942 | 0 | 0 | 0
DateTime |  | 0 | 8 | 6.2786 | 533.6418 | 159.9015 | 0.052935 | 0.86062 | 89.4898 | 6.1912 | 0 | 88.0995 | 6.3816 | 0 | 91.1298 | 1 | 15.9208 | -10.4699 | 0 | 0 | 0
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults4
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 2.0384 | 143.054 | 29.5458 | 0.074487 | 0.55761 | 19.8619 | 1.9579 | 0 | 19.803 | 2.2786 | 0 | 20.0378 | 1 | 0.73221 | 18.3694 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 31 | 5.4538 | 11.9276 | 4.7018 | 0.041596 | 1.2221 | 44.2026 | 5.3913 | -2.5485e-09 | 43.6389 | 5.4913 | 7.0785e-08 | 47.4257 | 2 | 8.5204 | -2.2974 | 6.6061 | -121.6688 | 5.4979
NumberOfHead | 9 | 32 | 20 | 5.536 | 152.4758 | 49.9737 | 0.047596 | 1.3424 | 44.8715 | 5.3913 | 0 | 43.6382 | 5.626 | 0 | 45.6383 | 1 | 8.5204 | -2.2974 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2786 | 336.0264 | 100.7471 | 0.052912 | 0.86124 | 51.3747 | 6.1912 | 0 | 50.467 | 6.3812 | 7.1054e-15 | 52.4409 | 1 | 10.3914 | -13.869 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults5
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 4 | 0 | 8 | 2.0383 | 69.9414 | 14.5526 | 0.074071 | 0.5624 | 13.5904 | 1.9646 | 0 | 13.5722 | 2.329 | 0 | 13.662 | 1 | 0.24641 | 13.0881 | 0 | 0 | 0
NumberOfCol | 20 | 2 | 8 | 5.4534 | 10.3219 | 3.8532 | 0.045253 | 1.0318 | 18.8833 | 5.3913 | 0 | 18.7402 | 5.4895 | 0.87276 | 18.9661 | 1 | 2.301 | 6.3351 | 0 | 0 | 0
NumberOfHead | 9 | 32 | 8 | 5.536 | 24.0692 | 7.8858 | 0.047609 | 0.93495 | 19.0732 | 5.4895 | 0.87276 | 18.9661 | 5.6175 | 0 | 19.2608 | 1 | 2.301 | 6.3351 | 0 | 0 | 0
Modified | 1 | 0 | 8 | 6.2786 | 336.5009 | 100.8267 | 0.052937 | 0.85864 | 20.8789 | 6.1912 | 0 | 20.5951 | 6.3906 | 0 | 21.243 | 1 | 3.2505 | 0.47062 | 0 | 0 | 0
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults6
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 3 | 2 | 8 | 5.4534 | 9.154 | 3.413 | 0.045291 | 1.0128 | 11.0173 | 5.3846 | 0 | 10.9921 | 5.4893 | 0.82036 | 11.0305 | 1 | 0.36768 | 9.0122 | 0 | 0 | 0
NumberOfCol | 20 | 32 | 8 | 5.5359 | 23.4358 | 7.6859 | 0.047574 | 0.92787 | 11.0477 | 5.4893 | 0.82036 | 11.0305 | 5.6217 | 0 | 11.0792 | 1 | 0.36768 | 9.0122 | 0 | 0 | 0
NumberOfHead | 9 | 0 | 8 | 6.2786 | 440.065 | 131.4626 | 0.053054 | 0.85319 | 11.1525 | 6.1779 | 0 | 11.138 | 6.479 | 0 | 11.1815 | 1 | 0.14463 | 10.2444 | 0 | 0 | 0
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults7
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 2 | 0 | 8 | 5.5359 | 22.4598 | 7.7632 | 0.045753 | 0.87667 | 2.6161 | 5.4846 | 0 | 2.8496 | 5.6112 | 0 | 2.2731 | 1 | -4.5513 | 27.8115 | 0 | 0 | 0
NumberOfCol | 20 | 0 | 8 | 6.2786 | 342.8566 | 102.3184 | 0.053094 | 0.85166 | 2.134 | 6.1779 | 0 | 2.1548 | 6.5507 | 0 | 2.0778 | 1 | -0.20669 | 3.4317 | 0 | 0 | 0
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2

## IntResults8
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5
NumberOfRows | 1 | 0 | 8 | 6.2786 | 105.3785 | 31.3995 | 0.053154 | 0.85004 | 5.5115 | 6.1846 | 0 | 5.5346 | 6.5512 | 0 | 5.4445 | 1 | -0.24579 | 7.0547 | 0 | 0 | 0
NumberOfCol | 20
NumberOfHead | 9
Modified | 1
DateTime
IntegStart | 0
IntegEnd | 0
Errors | 0
IntegMode | 2