## Raw
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 14.78 | 16.27 | 16.27 | 38.2 | 38.1 | 16.86 | 16.86 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:09:43 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1687 | 6780 | 5583 | 8507 | 2139 | 1812 | 7088 | 1515 | 2167 | 1836 | 2393 | 2441
B | 2035 | 6458 | 2149 | 5701 | 2539 | 2048 | 4794 | 1414 | 2088 | 1770 | 27792 | 2086
C | 1768 | 2706 | 18997 | 3154 | 5990 | 2472 | 3916 | 1558 | 1906 | 1718 | 1926 | 2156
D | 2158 | 1930 | 7667 | 9293 | 7879 | 3261 | 3723 | 1436 | 1982 | 1860 | 1852 | 2016
E | 2139 | 2221 | 34406 | 5062 | 2083 | 3378 | 2904 | 58523 | 35728 | 2191 | 3178 | 3605
F | 2196 | 5921 | 4155 | 1962 | 1801 | 4017 | 2415 | 43339 | 8978 | 2122 | 1826 | 1899
G | 2107 | 3367 | 1950 | 3844 | 1733 | 4162 | 2441 | 3804 | 3818 | 1899 | 1469 | 1749
H | 2500 | 2107 | 1930 | 2192 | 2049 | 7234 | 1993 | 2570 | 2315 | 1730 | 1535 | 1842
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 2 |  | 14.78 | 16.27 | 16.27 | 38.1 | 38.1 | 16.86 | 16.96 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:09:58 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1835 | 6965 | 5600 | 8739 | 2276 | 1745 | 7040 | 1369 | 1999 | 1869 | 2566 | 2559
B | 1882 | 6407 | 2313 | 5634 | 2498 | 2195 | 4772 | 1482 | 1963 | 1862 | 28719 | 2119
C | 1884 | 2989 | 18870 | 3390 | 5664 | 2421 | 3923 | 1472 | 1921 | 1754 | 1895 | 2065
D | 2108 | 2011 | 7793 | 9335 | 7935 | 3070 | 3747 | 1481 | 1948 | 1898 | 1812 | 2058
E | 1995 | 2162 | 34733 | 5067 | 2124 | 3567 | 2824 | 59010 | 35840 | 2246 | 3090 | 3415
F | 2254 | 5991 | 3859 | 2157 | 1810 | 4013 | 2536 | 41997 | 8943 | 2076 | 1886 | 1774
G | 2132 | 3181 | 1922 | 3589 | 1840 | 4120 | 2463 | 3720 | 3908 | 1904 | 1430 | 1850
H | 2504 | 2125 | 1910 | 2415 | 1932 | 7497 | 2018 | 2618 | 2311 | 1804 | 1513 | 1812
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 3 |  | 14.78 | 16.27 | 16.27 | 38.1 | 37.9 | 16.96 | 16.96 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:10:12 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1772 | 6971 | 5948 | 8685 | 2228 | 1924 | 7239 | 1453 | 2223 | 1925 | 2384 | 2532
B | 1931 | 6550 | 2356 | 5612 | 2533 | 2274 | 4585 | 1456 | 1975 | 1740 | 24934 | 2213
C | 2023 | 2844 | 19140 | 3225 | 5525 | 2469 | 4057 | 1484 | 1976 | 1664 | 1967 | 1967
D | 2250 | 1962 | 7701 | 9431 | 7947 | 3027 | 3801 | 1485 | 1982 | 2032 | 1890 | 2079
E | 2038 | 2170 | 34679 | 5316 | 1933 | 3517 | 2835 | 60490 | 36135 | 2205 | 2897 | 3518
F | 2240 | 6022 | 4003 | 2105 | 2013 | 4226 | 2499 | 40812 | 8863 | 2119 | 1893 | 1795
G | 1996 | 3394 | 1892 | 3666 | 1895 | 4233 | 2464 | 3662 | 3929 | 1824 | 1591 | 1758
H | 2634 | 2063 | 2123 | 2268 | 1978 | 7389 | 1929 | 2513 | 2342 | 1772 | 1441 | 1898
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 4 |  | 14.78 | 16.27 | 16.27 | 37.9 | 38.1 | 16.96 | 16.96 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:10:26 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1941 | 6829 | 5626 | 8748 | 2182 | 1952 | 6983 | 1455 | 2174 | 1837 | 2321 | 2489
B | 2097 | 6241 | 2376 | 5899 | 2528 | 2230 | 4705 | 1547 | 2033 | 1807 | 23915 | 2227
C | 1899 | 2871 | 19250 | 3331 | 5682 | 2465 | 4023 | 1456 | 1922 | 1698 | 1867 | 1995
D | 2168 | 1896 | 7806 | 9282 | 8083 | 3204 | 3872 | 1521 | 1981 | 1991 | 1881 | 2139
E | 2073 | 2212 | 34711 | 5438 | 2017 | 3443 | 2777 | 61393 | 36408 | 2501 | 3208 | 3354
F | 2252 | 6101 | 3955 | 2036 | 2070 | 4143 | 2508 | 42785 | 8756 | 2227 | 1905 | 1811
G | 2313 | 3401 | 2012 | 3595 | 1979 | 4247 | 2369 | 3742 | 3985 | 1794 | 1328 | 1831
H | 2338 | 2202 | 2029 | 2394 | 2105 | 7125 | 2003 | 2591 | 2443 | 1780 | 1516 | 1816
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 5 |  | 14.78 | 16.27 | 16.27 | 38.1 | 38.2 | 16.96 | 16.96 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:10:40 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1829 | 7133 | 5775 | 8735 | 2321 | 1901 | 7233 | 1456 | 2065 | 1936 | 2288 | 2559
B | 1943 | 6286 | 2374 | 5823 | 2604 | 2022 | 4839 | 1442 | 2077 | 1783 | 24680 | 2004
C | 1847 | 2930 | 19975 | 3287 | 5545 | 2458 | 3995 | 1419 | 1990 | 1829 | 1914 | 1952
D | 2181 | 1912 | 7983 | 9214 | 7812 | 3018 | 3683 | 1489 | 1962 | 2127 | 1997 | 2023
E | 2102 | 2260 | 34620 | 5412 | 1954 | 3180 | 2998 | 61052 | 35982 | 2051 | 3183 | 3860
F | 2100 | 5860 | 3989 | 2086 | 1939 | 4054 | 2382 | 43203 | 8893 | 2224 | 1925 | 1788
G | 2367 | 3290 | 1894 | 3576 | 1897 | 4287 | 2360 | 3742 | 3893 | 1832 | 1501 | 1734
H | 2719 | 2208 | 1894 | 2293 | 2013 | 7501 | 2254 | 2546 | 2371 | 1819 | 1577 | 1781
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 6 |  | 14.78 | 16.27 | 16.27 | 38.2 | 38.1 | 16.96 | 16.96 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:10:55 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1815 | 6977 | 5801 | 8779 | 2226 | 1920 | 7211 | 1442 | 2181 | 1845 | 2416 | 2482
B | 1972 | 6448 | 2311 | 5755 | 2675 | 2064 | 4734 | 1470 | 2031 | 1795 | 23978 | 2205
C | 2045 | 2979 | 19353 | 3312 | 5374 | 2437 | 4034 | 1497 | 1940 | 1592 | 1927 | 2093
D | 2099 | 2066 | 7806 | 9250 | 7939 | 3071 | 3873 | 1490 | 1853 | 1903 | 1834 | 2066
E | 2017 | 2250 | 34380 | 5421 | 2053 | 3399 | 2814 | 60973 | 36124 | 1962 | 3200 | 3903
F | 2370 | 6171 | 3932 | 2224 | 1983 | 4129 | 2666 | 42300 | 9041 | 2328 | 1915 | 1790
G | 1938 | 3357 | 2083 | 3746 | 1956 | 4414 | 2458 | 3588 | 3918 | 1918 | 1458 | 1857
H | 2694 | 2234 | 1955 | 2359 | 2084 | 7365 | 2103 | 2519 | 2423 | 1974 | 1370 | 1845
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 7 |  | 14.78 | 16.27 | 16.27 | 38.1 | 38.1 | 17.06 | 17.06 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:11:09 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1769 | 6960 | 5744 | 9055 | 2273 | 1890 | 7046 | 1484 | 2255 | 2035 | 2362 | 2456
B | 2055 | 6590 | 2370 | 5609 | 2418 | 2029 | 4733 | 1452 | 1951 | 1831 | 24863 | 2037
C | 2009 | 2968 | 19658 | 3290 | 5605 | 2560 | 3813 | 1507 | 2027 | 1734 | 1900 | 1874
D | 2132 | 1960 | 7728 | 9248 | 8099 | 3194 | 3697 | 1545 | 2106 | 1926 | 1974 | 2092
E | 2091 | 2167 | 34874 | 5617 | 2048 | 3515 | 2826 | 60369 | 36344 | 2149 | 3237 | 3626
F | 2307 | 6069 | 3967 | 2172 | 2124 | 4085 | 2515 | 42707 | 9145 | 2139 | 1803 | 1784
G | 2365 | 3349 | 1976 | 3791 | 1948 | 4436 | 2344 | 3673 | 3904 | 1915 | 1581 | 1848
H | 2722 | 2159 | 1913 | 2232 | 1961 | 7015 | 2002 | 2467 | 2263 | 1873 | 1427 | 1852
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 8 |  | 14.78 | 16.27 | 16.27 | 38.1 | 38.2 | 17.06 | 17.06 | 1 | Calcien and HPTS(1) | 0 | 0 | De=1st Ex=Top Em=Top Wdw=N/A (14) | 0 | 1/28/2015 4:11:23 PM
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Calcien and HPTS | 0 | 247 | 1 | 0:00 | De=1st Ex=Top Em=Top Wdw=N/A (14)
Results for Calcien and HPTS(1) - channel 1 (RFU)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1771 | 6923 | 5531 | 9133 | 2177 | 1847 | 7136 | 1482 | 2336 | 1823 | 2340 | 2625
B | 1928 | 6609 | 2258 | 5629 | 2513 | 2161 | 4867 | 1494 | 1937 | 1760 | 24882 | 2153
C | 2065 | 3021 | 19815 | 3399 | 5559 | 2379 | 3936 | 1451 | 1915 | 1707 | 1844 | 1977
D | 2089 | 1960 | 7535 | 9385 | 7867 | 3010 | 3732 | 1565 | 1963 | 2039 | 1934 | 2187
E | 1982 | 2108 | 34511 | 5499 | 2027 | 3501 | 2880 | 61100 | 35647 | 2121 | 3269 | 3873
F | 2267 | 5947 | 3822 | 2120 | 1860 | 4387 | 2453 | 43326 | 8614 | 2199 | 1954 | 1902
G | 2390 | 3281 | 1916 | 3730 | 1854 | 4341 | 2434 | 3822 | 3851 | 1902 | 1562 | 1855
H | 2636 | 2169 | 1979 | 2297 | 2205 | 7190 | 1953 | 2608 | 2309 | 1929 | 1513 | 1936
Basic assay information
Assay ID: |  |  |  | 11348
Assay Started: |  |  |  | 1/28/2015 4:09:21 PM
Assay Finished: |  |  |  | 1/28/2015 4:11:32 PM
Assay Exported: |  |  |  | 1/28/2015 4:11:32 PM
Protocol ID: |  |  |  | 100418
Protocol Name: |  |  |  | HPTS and Calcein det
Serial#: |  |  |  | 1041378
Protocol information
Protocol:
Protocol name |  |  |  | HPTS and Calcein det
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 8
Start plate repeat each |  |  |  | N/A
Is label meas. height used |  |  |  | Yes
Height of measurement |  |  |  | Defined in label
Is gripper height used |  |  |  | No
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 96 General
Number of rows |  |  |  | 8
Number of columns |  |  |  | 12
Number of the wells in the plate |  |  |  | 96
Height of the plate |  |  |  | 14.35 mm
Coordinates of corners:
96 General
14.38 mm x------------------------------------------------------ x 113.38 mm
11.24 mm 11.24 mm
14.38 mm x------------------------------------------------------ x 113.38 mm
74.24 mm 74.24 mm
Platemap:
Plate |  |  |  | 1
Group |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | - | - | - | - | - | - | - | - | - | - | -
B | - | - | - | - | - | - | - | - | - | - | - | -
C | - | - | - | - | - | - | - | - | - | - | - | -
D | - | - | - | - | - | - | - | - | - | - | - | -
E | - | - | - | - | - | - | - | - | - | - | - | -
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
- - Undefined
Calculations:
No calculations.
Auto export parameters:
Export format |  |  |  | Plate2
Include basic assay information |  |  |  | Yes
Place assay information at |  |  |  | End of file
Include basic plate information |  |  |  | Yes
Place plate information at |  |  |  | Beginning of plate
Include protocol information |  |  |  | Yes
Protocol info level |  |  |  | Large
Include error and warning information |  |  |  | Yes
Include background information |  |  |  | Yes
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | <DefaultDataFolder>\<Date>\<ProtocolName>_<AssayID>.csv
Operations:
Plate 1
Group 1
Measurement
Label |  |  |  | Calcien and HPTS(1)
Labels:
Calcien and HPTS |  |  |  | 4000086
Top mirror |  |  |  | FITC
Bottom mirror |  |  |  | N/A
Exc. filter |  |  |  | Photometric 340 Narrow 340
Using of excitation filter |  |  |  | Top
2nd exc. filter |  |  |  | N/A
Using of 2nd excitation filter |  |  |  | Top
Ems. filter |  |  |  | BODIPY TMR FP 531
2nd ems. filter |  |  |  | N/A
Measurement height |  |  |  | 4.9 mm
Number of flashes |  |  |  | 1
Number of flashes integrated |  |  |  | 1
PMT gain |  |  |  | 167
Excitation light |  |  |  | 42%
Reference excitation light |  |  |  | 100%
Emission light |  |  |  | 100%
Reference AD gain |  |  |  | 8
Reference signal |  |  |  | 250113
Last edited |  |  |  | 1/28/2015 4:05:00 PM
Last edited by |  |  |  | EnVision
Factory preset |  |  |  | No
Filters:
Photometric 340 Narrow 340 |  |  |  | 324
Filter type |  |  |  | Excitation
Description |  |  |  | P340 CWL=340nm BW=14nm Tmin=20%
Used with |  |  |  | Absorbance DELFIA - Time-resolved Fluorescence Fluorescence Intensity Fluorescence Polarization LANCE - Time-resolved Fluorescence
Last edited |  |  |  | 2014-10-12 13:09
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
BODIPY TMR FP 531 |  |  |  | 105
Filter type |  |  |  | Excitation
Description |  |  |  | X531 CWL=531nm BW=25nm Tmin=60%
Used with |  |  |  | Absorbance DELFIA - Time-resolved Fluorescence Fluorescence Intensity Fluorescence Polarization LANCE - Time-resolved FluorescenceAbsorbance DELFIA - Time-resolved Fluorescence Fluorescence Intensity Fluorescence Polarization LANCE - Time-resolved Fluorescence
Last edited |  |  |  | 2014-10-12 13:09
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Mirror modules:
FITC |  |  |  | 403
Used by |  |  |  | Top
Dual |  |  |  | No
Bias |  |  |  | No
Description |  |  |  | D505
Used with |  |  |  | Luminescence DELFIA - Time-resolved Fluorescence Fluorescence Intensity LANCE - Time-resolved Fluorescence
Last edited |  |  |  | 2014-10-12 13:09
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 1041378
Nickname |  |  |  | EnVision
Exported with EnVision Workstation version 1.13.3009.1401

## Process (SRhB settings)
[21 empty] | [Dye] | [Ca]
HNDS | [18 empty] | RED | 534 | 0.001 | 25 | 66122 | 65592 | 65065 | 65283 | 64870 | 67070 | 66191 | 66966 | 65894.875 | 1.2564e-10 | 0.003 | 2.9995e-05 | 0.00041888 | 0.0006117
| 35261 | 35093 | 36188 | 34922 | 35479 | 35215 | 34548 | 35648 | 38712 | 38210 | 38952 | 39720 | 39368 | 40128 | 39651 | 37746 | 0 | 37177.5625 | RED | 543 | 0.1 | 5 | 3313673 | 3266810 | 3302520 | 3284913 | 3292395 | 3290058 | 3290853 | 3276286 | 3289688.5 | 1.3236e-08 | 0.0023 | 2.2996e-05 | 0.057558 | 0.038563
| 56335 | 55946 | 55584 | 56314 | 55401 | 56046 | 56267 | 56497 | 58988 | 59498 | 58831 | 57968 | 59068 | 59732 | 58571 | 58384 | 0.0005 | 57464.375 |  | * |  |  | 40037 | 38316 | 39096 | 38607 | 38782 | 38398 | 39704 | 39811 | 39093.875
| 78845 | 79092 | 78682 | 78254 | 78187 | 78293 | 76731 | 79002 | 78656 | 80260 | 79830 | 80405 | 78632 | 80505 | 80255 | 79981 | 0.001 | 79100.625 |  | * |  |  | 37021 | 39019 | 37262 | 39160 | 38036 | 39494 | 38552 | 38571 | 38389.375
| 124326 | 122085 | 123399 | 123311 | 120967 | 120921 | 122027 | 123113 | 125210 | 125177 | 124491 | 123772 | 124140 | 122222 | 125581 | 122096 | 0.002 | 123302.375 | RED | Red 0.001 | 0.001 | 5 | 411407 | 409753 | 408830 | 411463 | 410621 | 413440 | 407362 | 409203 | 410259.875 | 1.5261e-09 | 0.0013 | 7.0775e-06 | 0.021562 | 0.0067062
| 168247 | 168050 | 169360 | 169561 | 169830 | 167350 | 167809 | 168992 | 167567 | 166389 | 165979 | 168418 | 167941 | 168351 | 168307 | 168496 | 0.003 | 168165.4375 |  | * |  |  | 44594 | 43265 | 43569 | 43680 | 44372 | 43684 | 43689 | 43718 | 43821.375
| 214712 | 219063 | 218507 | 216814 | 218159 | 215806 | 217546 | 215628 | 211526 | 212855 | 209426 | 211333 | 207481 | 210176 | 214273 | 211529 | 0.004 | 214052.125 |  | * |  |  | 33521 | 33514 | 32694 | 32993 | 32925 | 33354 | 33739 | 32382 | 33140.25
| 264987 | 264894 | 268630 | 265716 | 266525 | 263752 | 266117 | 267587 | 257969 | 257564 | 259311 | 262268 | 261258 | 259826 | 259112 | 261158 | 0.005 | 262917.125 |  | * |  |  | 33976 | 33508 | 33622 | 32779 | 33577 | 33477 | 32976 | 32785 | 33337.5
| 454334 | 447916 | 455403 | 453026 | 451499 | 450152 | 452821 | 452717 | 458742 | 459478 | 457696 | 461439 | 458415 | 460730 | 457169 | 461204 | 0.01 | 455796.3125
HPTS | [19 empty] | * |  |  | 38683 | 39253 | 39169 | 38643 | 39051 | 37770 | 39129 | 38347 | 38755.625
| 34150 | 34286 | 34115 | 34177 | 35170 | 34783 | 34104 | 33682 | 37490 | 36723 | 37576 | 38006 | 38291 | 37848 | 37361 | 37586 | 0 | 35959.25 |  | * |  |  | 37741 | 39022 | 36902 | 37951 | 36814 | 39201 | 39477 | 39503 | 38326.375
| 182457 | 182099 | 181751 | 181205 | 181052 | 182011 | 182294 | 181051 | 202319 | 206193 | 199453 | 205231 | 200431 | 201617 | 201472 | 202298 | 0.0005 | 192058.375 |  | * |  |  | 40005 | 38838 | 38172 | 38366 | 39057 | 39536 | 38849 | 39492 | 39039.375
| 339253 | 339032 | 337245 | 338853 | 338500 | 336841 | 337302 | 342145 | 327922 | 327326 | 323631 | 327687 | 325886 | 324691 | 319078 | 329446 | 0.001 | 332177.375 |  | * |  |  | 42002 | 41487 | 41654 | 40343 | 41917 | 40243 | 41090 | 40724 | 41182.5
| 594222 | 591517 | 596870 | 597922 | 593586 | 595954 | 595488 | 596327 | 638799 | 642214 | 637668 | 638419 | 636610 | 638360 | 636384 | 640680 | 0.002 | 616938.75 | HNDS | HNDS 1 | 1 | 5 | 51964 | 50622 | 50956 | 51041 | 51434 | 51211 | 51666 | 50976 | 51233.75 | 3.2866e-10 | 0.0006 | 3.2666e-06 | 0.010061 | 0.0031252
| 848900 | 846036 | 845415 | 846763 | 846566 | 845092 | 841793 | 850771 | 851840 | 856290 | 851648 | 854049 | 852660 | 849949 | 850480 | 849956 | 0.003 | 849263 | HNDS | HNDS 0.5 | 0.5 | 5 | 44702 | 43855 | 44010 | 43406 | 44598 | 44362 | 44295 | 43807 | 44129.375 | 1.6254e-10 | 0.0003 | 1.6333e-06 | 0.0099517 | 0.0062639
| 1075699 | 1070851 | 1075892 | 1071710 | 1079182 | 1078808 | 1069134 | 1072739 | 1188172 | 1180903 | 1187320 | 1176686 | 1188243 | 1188710 | 1182346 | 1183088 | 0.004 | 1129342.6875 | HNDS | HNDS 0.1 | 0.1 | 5 | 39217 | 39614 | 39138 | 39269 | 39965 | 38300 | 39166 | 38527 | 39149.5 | 4.6098e-11 | 0.0012 | 6.5331e-06 | 0.00070561 | 0.00053939
| 1296340 | 1296032 | 1299224 | 1297564 | 1298583 | 1290201 | 1281176 | 1297728 | 1418570 | 1428720 | 1424057 | 1423992 | 1428172 | 1429115 | 1424923 | 1426588 | 0.005 | 1360061.5625 | HNDS | HNDS 0.01 | 0.01 | 5 | 39742 | 39174 | 38850 | 40274 | 40289 | 39587 | 39910 | 38653 | 39559.875 | 5.5694e-11 | 0.0006 | 3.2666e-06 | 0.001705 | 0.00082109
| 2541542 | 2561160 | 2558978 | 2559412 | 2556367 | 2564902 | 2525784 | 2550643 | 2228483 | 2247054 | 2241934 | 2246832 | 2221729 | 2245632 | 2241537 | 2227916 | 0.01 | 2394994.0625
RED | [18 empty] | HPTS | 526 | 0.005 | 25 | 40543 | 40284 | 40275 | 38027 | 41537 | 39183 | 40168 | 38598 | 39826.875 | 1.5573e-11 | 0.0015 | 1.4997e-05 | 0.00010384 | 5.4388e-05
| 35217 | 34148 | 32464 | 34949 | 32995 | 34298 | 32763 | 32917 | 36821 | 35862 | 36037 | 35924 | 36752 | 36422 | 36377 | 36147 | 0 | 35005.8125 |  | * |  |  | 40921 | 40764 | 40614 | 40187 | 40821 | 40910 | 40282 | 40295 | 40599.25
| 176383 | 174189 | 175861 | 174160 | 175342 | 173171 | 172240 | 174503 | 178046 | 176156 | 175900 | 175957 | 174980 | 176427 | 178250 | 177013 | 0.0005 | 175536.125 |  | * |  |  | 38795 | 39359 | 39230 | 37959 | 39242 | 39210 | 39706 | 38164 | 38958.125
| 315999 | 314537 | 315922 | 312969 | 317591 | 313170 | 314835 | 314353 | 326026 | 322072 | 321967 | 322330 | 321740 | 320388 | 320794 | 325948 | 0.001 | 318790.0625 |  | * |  |  | 40331 | 39546 | 41122 | 39283 | 41275 | 40055 | 41002 | 39882 | 40312
| 584653 | 581445 | 584775 | 579120 | 585675 | 578744 | 582802 | 585076 | 572495 | 570179 | 570857 | 572708 | 571428 | 568201 | 570969 | 569642 | 0.002 | 576798.0625 |  | HPTS 1 | 1 | 5 | 251456 | 248625 | 250622 | 252150 | 252033 | 253030 | 251852 | 250704 | 251309 | 8.6703e-10 | 0.0008 | 4.3554e-06 | 0.019907 | 0.020905
| 876477 | 869387 | 869452 | 876262 | 868897 | 873787 | 868928 | 866457 | 836842 | 838869 | 836752 | 833819 | 838567 | 840555 | 837722 | 837680 | 0.003 | 854403.3125 |  | HPTS 0.5 | 0.5 | 5 | 86290 | 85545 | 85906 | 87002 | 85967 | 86468 | 87639 | 85835 | 86331.5 | 2.0281e-10 | 0.0005 | 2.7221e-06 | 0.0074503 | 0.006889
| 1111586 | 1116489 | 1117127 | 1119338 | 1116803 | 1114934 | 1109559 | 1117059 | 1080147 | 1079999 | 1082325 | 1077147 | 1077310 | 1085897 | 1087628 | 1081381 | 0.004 | 1098420.5625 |  | HPTS 0.1 | 0.1 | 5 | 53689 | 53428 | 53799 | 53673 | 55237 | 53829 | 53899 | 53984 | 53942.25 | 7.2403e-11 | 0.0008 | 4.3554e-06 | 0.0016624 | 0.0012435
| 1303801 | 1311760 | 1289907 | 1292170 | 1297942 | 1291962 | 1269425 | 1310290 | 1331032 | 1337117 | 1333174 | 1337648 | 1339079 | 1337747 | 1338407 | 1340263 | 0.005 | 1316357.75 |  | HPTS 0.01 | 0.01 | 5 | 48134 | 47110 | 47704 | 46741 | 46846 | 47013 | 47594 | 48016 | 47394.75 | 4.6042e-11 | 0.017 | 9.2552e-05 | 4.9747e-05 | 1.3771e-05
| 2452601 | 2444122 | 2442920 | 2447240 | 2456968 | 2443792 | 2434859 | 2441247 | 2337504 | 2351070 | 2351028 | 2353104 | 2351007 | 2360982 | 2346679 | 2335705 | 0.01 | 2396926.75
Disulfopyrene | [19 empty] | * |  |  | 32706 | 32086 | 32588 | 31233 | 32158 | 32270 | 32146 | 32778 | 32245.625
| 38044 | 36657 | 36996 | 38392 | 36580 | 36843 | 37359 | 37021 | 37859 | 37771 | 37934 | 37526 | 37510 | 36726 | 36552 | 36222 | 0 | 37249.5 |  | * |  |  | 32608 | 33403 | 32368 | 32496 | 33687 | 32382 | 32199 | 32188 | 32666.375
| 49569 | 49688 | 49432 | 49446 | 50817 | 49450 | 49412 | 48807 | 50942 | 50752 | 50547 | 50185 | 50086 | 49548 | 49951 | 50607 | 0.0005 | 49952.4375 |  | * |  |  | 33577 | 34601 | 33410 | 34111 | 33636 | 33228 | 33999 | 33927 | 33811.125
| 63371 | 63325 | 64280 | 63474 | 62270 | 63714 | 62796 | 61981 | 66045 | 65981 | 65082 | 65200 | 63445 | 65531 | 63838 | 64357 | 0.001 | 64043.125 |  | * |  |  | 34135 | 33176 | 33909 | 33697 | 34868 | 33957 | 34219 | 32835 | 33849.5
| 93733 | 93423 | 93710 | 93019 | 93753 | 93230 | 93086 | 94174 | 94364 | 94414 | 94283 | 94653 | 93874 | 94946 | 95314 | 94348 | 0.002 | 94020.25 | On Glass | HPTS 1 | 1 | 5 | 634966 | 640669 | 633939 | 638686 | 635851 | 630708 | 637493 | 635041 | 635919.125 | 2.4155e-09 | 0.0017 | 9.2552e-06 | 0.026099 | 0.016847
| 125758 | 123522 | 125431 | 123582 | 125805 | 125244 | 124169 | 124573 | 123744 | 122949 | 122274 | 121088 | 122533 | 122840 | 120531 | 121479 | 0.003 | 123470.125 | On Glass | HPTS 0.5 | 0.5 | 5 | 572962 | 565082 | 563543 | 567145 | 569654 | 569361 | 564830 | 564968 | 567193.125 | 2.1388e-09 | 0.0051 | 2.7766e-05 | 0.0077031 | 0.0039063
| 157550 | 154413 | 156120 | 156370 | 156289 | 157424 | 157079 | 156270 | 153504 | 152976 | 152301 | 150710 | 151482 | 151938 | 152125 | 153008 | 0.004 | 154347.4375 | On Glass | HPTS 0.1 | 0.1 | 5 | 67680 | 67782 | 69580 | 68872 | 68140 | 66689 | 68636 | 65871 | 67906.25 | 1.2862e-10 | 0.0018 | 9.7997e-06 | 0.0013125 | 0.00050325
| 190797 | 191258 | 191564 | 189942 | 192797 | 191940 | 189169 | 190325 | 181839 | 183634 | 182854 | 182418 | 180046 | 184984 | 183872 | 181658 | 0.005 | 186818.5625 | On Glass | HPTS 0.01 | 0.01 | 5 | 49175 | 50050 | 50198 | 50012 | 50011 | 49225 | 50783 | 49342 | 49849.5 | 5.5925e-11 | 0.0037 | 2.0144e-05 | 0.00027763 | 9.0645e-05
| 361768 | 362309 | 364889 | 362295 | 362636 | 359619 | 361227 | 360692 | 347602 | 350778 | 347380 | 345763 | 348436 | 350551 | 350275 | 349676 | 0.01 | 355368.5
[19 empty] | SRhB | 537 | 0.1 | 5 | 47651 | 46304 | 47213 | 46984 | 47323 | 46711 | 46305 | 47514 | 47000.625 | 1.8586e-11 | 0.0018 | 1.7997e-05 | 0.00010327 | 0.003704
SRhB | 37344 | 36786 | 37740 | 37587 | 38756 | 38067 | 38056 | 37991 | 43625 | 42471 | 42406 | 42363 | 42763 | 43000 | 43571 | 41787 | 0 | 40269.5625 | MonoSulfNaphth | 538 | 0.1 | 5 | 47433 | 47799 | 48012 | 46893 | 47279 | 47217 | 46684 | 46968 | 47285.625 |  | 0.0024 | 2.3996e-05 | 0 | 0
| 196821 | 198016 | 197504 | 198118 | 197375 | 195944 | 201131 | 198019 | 205682 | 206474 | 204203 | 205372 | 205316 | 204107 | 203388 | 206441 | 0.0005 | 201494.4375 | MonoSulfPyre | 539 | 0.1 | 5 | 113170 | 114715 | 113742 | 113326 | 112653 | 114544 | 113747 | 111816 | 113464.125 |  | 0.0029 | 2.8995e-05 | 0 | 0.021472
| 362616 | 357879 | 361408 | 358816 | 362300 | 358444 | 360815 | 363810 | 357226 | 358186 | 355957 | 353873 | 359060 | 355182 | 359773 | 352151 | 0.001 | 358593.5 | DiSulfPyrene | 540 | 0.1 | 5 | 344825 | 340839 | 340942 | 344732 | 344541 | 341807 | 344436 | 343803 | 343240.625 | 9.8912e-09 | 0.0025 | 2.4996e-05 | 0.039572 | 0.00078387
| 771075 | 769789 | 771138 | 768656 | 768561 | 773724 | 766853 | 773109 | 752169 | 756053 | 757741 | 754064 | 759996 | 760094 | 761955 | 753983 | 0.002 | 763685 | TetraSulfPyrene | 541 | 0.1 | 5 | 39983 | 39884 | 39418 | 39425 | 41002 | 40289 | 40532 | 39687 | 40027.5 |  | 0.0004 | 3.9993e-06 | 0 | 0
| 1188076 | 1185792 | 1191023 | 1188096 | 1189112 | 1188938 | 1183747 | 1186877 | 1179983 | 1175381 | 1180426 | 1169477 | 1173743 | 1172756 | 1169922 | 1160188 | 0.003 | 1180221.0625 |  | * |  |  | 41136 | 40269 | 40725 | 40442 | 40550 | 40550 | 39854 | 39567 | 40386.625
| 1563383 | 1562934 | 1565495 | 1562858 | 1557692 | 1564352 | 1548314 | 1563080 | 1583874 | 1583733 | 1583935 | 1581279 | 1580241 | 1587434 | 1584265 | 1568514 | 0.004 | 1571336.4375 |  | * |  |  | 41447 | 40075 | 40830 | 41270 | 40732 | 41141 | 40561 | 40675 | 40841.375
| 1934782 | 1939497 | 1924351 | 1932681 | 1930181 | 1937292 | 1914105 | 1919627 | 1983314 | 1976238 | 1989216 | 1950146 | 2000541 | 1965589 | 1989415 | 1935028 | 0.005 | 1951375.1875 |  | * |  |  | 42058 | 40932 | 41933 | 41103 | 41574 | 41954 | 41550 | 42195 | 41662.375
| 3564456 | 3585370 | 3571911 | 3565206 | 3549847 | 3574531 | 3558152 | 3566424 | 3561206 | 3571303 | 3581674 | 3564554 | 3569946 | 3567672 | 3564879 | 3569772 | 0.01 | 3567931.4375
[19 empty] | RED | 503 | 0.002 | 3.5 | 1507522 | 1512722 | 1507068 | 1508428 | 1514664 | 1504290 | 1517843 | 1497989 | 1508815.75 | 5.9936e-09 | 0.0026 | 2.5995e-05 | 0.023057 | 0.0099871
[19 empty] | RED | 504 | 0.001 | 3.5 | 687994 | 689078 | 688346 | 691887 | 692037 | 694905 | 692916 | 688290 | 690681.625 | 2.6665e-09 | 0.0014 | 1.3997e-05 | 0.01905 | 0.010244
[19 empty] | RED | 518 | 0.02 | 5 | 411051 | 414055 | 418969 | 414622 | 417943 | 413614 | 415853 | 411698 | 414725.625 | 1.5442e-09 | 0.001 | 9.9982e-06 | 0.015445 | 0.0052767
[19 empty] | RED | 519 | 0.05 | 5 | 1365783 | 1366934 | 1367273 | 1365412 | 1368550 | 1364322 | 1365901 | 1360480 | 1365581.875 | 5.4111e-09 | 0.0018 | 1.7997e-05 | 0.030067 | 0.015486
[19 empty] | RED | 520 | 0.005 | 5 | 680332 | 686590 | 682658 | 687772 | 681046 | 687236 | 687778 | 679836 | 684156 | 2.6399e-09 | 0.001 | 9.9982e-06 | 0.026404 | 0.01301
[19 empty] | RED | 521 | 0.002 | 5 | 137200 | 137334 | 137957 | 136600 | 137566 | 139904 | 136767 | 137678 | 137625.75 | 4.1735e-10 | 0.0008 | 7.9986e-06 | 0.0052178 | 0.00099585
[19 empty] | RED | 532 | 0.01 | 25 | 672530 | 672008 | 675496 | 668372 | 674670 | 671635 | 668546 | 668064 | 671415.125 | 2.5881e-09 | 0.0027 | 2.6995e-05 | 0.0095874 | 0.0025028
[19 empty] | RED | 533 | 0.002 | 25 | 165611 | 163147 | 165816 | 162549 | 165222 | 162420 | 165605 | 162247 | 164077.125 | 5.2492e-10 | 0.003 | 2.9995e-05 | 0.0017501 | 0.0005145
[19 empty] | HNDS | 505 | 0.1 | 3.5 | 66836 | 65667 | 67638 | 66630 | 66221 | 66433 | 66324 | 66598 | 66543.375 | 6.8663e-10 | 0.0015 | 1.4997e-05 | 0.0045783 | 0.0058331
[19 empty] | HNDS | 507 | 0.01 | 3.5 | 42619 | 42276 | 41978 | 43002 | 41198 | 41798 | 42542 | 41458 | 42108.875 | 1.1529e-10 | 0.0013 | 1.2998e-05 | 0.00088704 | 0.0010135
[9 empty] | HNDS | HPTS | RED | SRhB | MonoSulfNaphth | MonoSulfPyre | DiSulfPyrene | TetraSulfPyrene |  |  | HNDS | 515 | 0.05 | 5 | 156872 | 156819 | 155690 | 155236 | 155143 | 154766 | 155477 | 154661 | 155583 | 2.7686e-09 | 0.0023 | 2.2996e-05 | 0.012039 | 0.016854
[7 empty] | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | HNDS | 516 | 0.01 | 5 | 77248 | 77937 | 76532 | 75808 | 77687 | 75871 | 76629 | 77769 | 76935.125 | 9.2961e-10 | 0.003 | 2.9995e-05 | 0.0030993 | 0.0044167
[7 empty] | 25 | 0.1 | 0.029435 | 0.0003607 | [8 empty] | HNDS | 527 | 0.1 | 25 | 252501 | 250361 | 254638 | 248971 | 250428 | 253370 | 248699 | 250179 | 251143.375 | 5.003e-09 | 0.0017 | 1.6997e-05 | 0.029435 | 0.042461
[7 empty] | 25 | 0.05 |  | 0.00026541 | [8 empty] | HNDS | 530 | 0.005 | 25 | 52745 | 53752 | 54309 | 54265 | 53353 | 54084 | 54671 | 54383 | 53945.25 | 3.9206e-10 | 0.0021 | 2.0996e-05 | 0.0018673 | 0.0023479
[7 empty] | 25 | 0.01 |  | 9.357e-05 | 0.0095874 | [8 empty] | * |  |  | 39475 | 40259 | 39357 | 39393 | 38085 | 40096 | 39078 | 39563 | 39413.25
[7 empty] | 25 | 0.005 | 0.0018673 | 0.00010384 | [9 empty] | * |  |  | 39518 | 38274 | 39454 | 38026 | 39726 | 39311 | 39172 | 38156 | 38954.625
[7 empty] | 25 | 0.002 |  |  | 0.0017501
[7 empty] | 25 | 0.001 |  |  | 0.00041888 | [7 empty] | HPTS | 501 | 0.1 | 3.5 | 122478 | 120991 | 121703 | 118610 | 121620 | 120410 | 120634 | 119208 | 120706.75 | 3.4121e-10 | 0.0018 | 1.7997e-05 | 0.0018959 | 0.00075143
[7 empty] | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | HPTS | 510 | 0.1 | 5 | 92647 | 92954 | 91740 | 96199 | 89687 | 94169 | 90357 | 94451 | 92775.5 | 2.2875e-10 | 0.0064 | 6.3988e-05 | 0.00035749 | 0.00019078
[7 empty] | 5 | 0.1 |  | 0.00035749 | 0.057558 | 0.00010327 | 0.0016416 | 0.0011681 | 0.039572 | 0.0003819 |  |  | HPTS | 511 | 0.05 | 5 | 46662 | 45541 | 47789 | 46640 | 46004 | 45984 | 47051 | 45393 | 46383 | 4.1968e-11 | 0.003 | 2.9995e-05 | 0.00013992 | 9.2824e-05
[7 empty] | 5 | 0.05 | 0.012039 | 0.00013992 | 0.030067 | [7 empty] | HPTS | 512 | 0.01 | 5 | 38735 | 38234 | 38504 | 37082 | 38906 | 37796 | 38031 | 38565 | 38231.625 | 9.1499e-12 | 0.0017 | 1.6997e-05 | 5.3833e-05 | 1.4605e-05
[7 empty] | 5 | 0.02 |  |  | 0.015445 | [7 empty] | HPTS | 513 | 0.005 | 5 | 40116 | 39878 | 40043 | 40306 | 39762 | 40432 | 40659 | 40284 | 40185 | 1.7014e-11 | 0.0029 | 2.8995e-05 | 5.8681e-05 | 2.9856e-05
[7 empty] | 5 | 0.01 | 0.0030993 | 5.3833e-05 | [8 empty] | HPTS | 523 | 0.1 | 25 | 68057 | 66943 | 67329 | 68333 | 67789 | 67331 | 66366 | 66328 | 67309.5 | 1.2622e-10 | 0.0035 | 3.4994e-05 | 0.0003607 | 0.00031545
[7 empty] | 5 | 0.005 |  | 5.8681e-05 | 0.026404 | [7 empty] | HPTS | 524 | 0.05 | 25 | 52910 | 52534 | 54298 | 52713 | 53419 | 52782 | 53463 | 52648 | 53095.875 | 6.8995e-11 | 0.0026 | 2.5995e-05 | 0.00026541 | 0.00014956
[7 empty] | 5 | 0.002 |  |  | 0.0052178 | [7 empty] | HPTS | 525/529 | 0.01 | 25 | 41069 | 42754 | 42010 | 41068 | 41361 | 41232 | 41296 | 41496 | 41535.75 | 2.2453e-11 | 0.0024 | 2.3996e-05 | 9.357e-05 | 3.2146e-05
[7 empty] | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 3.5 | 0.1 | 0.0045783 | 0.0018959
[7 empty] | 3.5 | 0.05
[7 empty] | 3.5 | 0.01 | 0.00088704
[7 empty] | 3.5 | 0.005
[7 empty] | 3.5 | 0.002 |  |  | 0.023057
[7 empty] | 3.5 | 0.001 |  |  | 0.01905

## Process (Naphthalene settings)
HNDS | 37493 | 36677 | 35696 | 35906 | 34112 | 36614 | 36773 | 36516 | 26132 | 24755 | 25386 | 24622 | 25313 | 26211 | 26080 | 24761 | 0 | 30815.4375
| 43590 | 44904 | 45102 | 44212 | 44741 | 45374 | 45147 | 44678 | 45484 | 45289 | 43262 | 44440 | 43287 | 44519 | 44734 | 45734 | 0.0005 | 44656.0625 | HNDS | 505 | 0.1 | 3.5 | 50961 | 49262 | 50011 | 50907 | 49145 | 48525 | 49549 | 50035 | 49799.375 | 5.7569e-10 | 0.0015 | 1.4997e-05 | 0.0038386
| 61524 | 62530 | 63029 | 63051 | 62322 | 64893 | 63620 | 61781 | 64579 | 66217 | 64716 | 63163 | 64736 | 64862 | 63656 | 64380 | 0.001 | 63691.1875 | HNDS | 507 | 0.01 | 3.5 | 29847 | 27753 | 27789 | 27800 | 26967 | 28107 | 28796 | 29445 | 28313 | -7.5871e-11 | 0.0013 | 1.2998e-05 | -0.00058373
| 95704 | 97316 | 96809 | 97370 | 93811 | 98559 | 96502 | 95188 | 105429 | 104140 | 102706 | 105293 | 103304 | 106147 | 103792 | 104064 | 0.002 | 100383.375 | HNDS | 515 | 0.05 | 5 | 166477 | 168619 | 168780 | 166817 | 166926 | 170120 | 168885 | 168205 | 168103.625 | 4.1632e-09 | 0.0023 | 2.2996e-05 | 0.018104
| 133123 | 138147 | 131180 | 133224 | 134075 | 136757 | 134407 | 132632 | 135132 | 137086 | 137406 | 132297 | 135988 | 138662 | 135097 | 135763 | 0.003 | 135061 | HNDS | 516 | 0.01 | 5 | 72484 | 72220 | 73580 | 74625 | 72638 | 74248 | 71554 | 73256 | 73075.625 | 1.2815e-09 | 0.003 | 2.9995e-05 | 0.0042725
| 160195 | 161749 | 163473 | 164161 | 161644 | 164388 | 164407 | 162872 | 161161 | 162787 | 160949 | 162762 | 163295 | 163148 | 165169 | 163736 | 0.004 | 162868.5 | HNDS | 527 | 0.1 | 25 | 261895 | 257648 | 258364 | 257820 | 262002 | 259220 | 259103 | 261040 | 259636.5 | 6.9388e-09 | 0.0017 | 1.6997e-05 | 0.040824
| 202515 | 201946 | 203127 | 203330 | 204587 | 205216 | 207373 | 209637 | 192027 | 191734 | 192941 | 196562 | 194246 | 192586 | 194562 | 196166 | 0.005 | 199284.6875 | HNDS | 530 | 0.005 | 25 | 43972 | 41242 | 42329 | 42987 | 41240 | 40430 | 42052 | 42692 | 42118 | 3.4275e-10 | 0.0021 | 2.0996e-05 | 0.0016325
| 356346 | 355477 | 357503 | 352339 | 353169 | 358246 | 358499 | 362565 | 363811 | 349942 | 361225 | 352588 | 362805 | 351636 | 354916 | 353882 | 0.01 | 356559.3125 |  | * |  |  | 22560 | 22276 | 22582 | 23032 | 22034 | 21665 | 22880 | 22594 | 22452.875
[20 empty] | * |  |  | 24165 | 21920 | 22090 | 24578 | 23225 | 23595 | 21623 | 23946 | 23142.75
Monosulfonaptha | 25640 | 25754 | 26416 | 27487 | 27177 | 25933 | 25002 | 26721 | [8 empty] | 0 | 26266.25
| 35011 | 35227 | 33959 | 34176 | 35458 | 33773 | 34808 | 35080 | 30269 | 29986 | 31084 | 29935 | 29010 | 30357 | 28649 | 30574 | 0.0005 | 32334.75 | SRhB | 537 |  |  | 25580 | 24481 | 23939 | 25089 | 25578 | 25135 | 25263 | 25377 | 25055.25 |  | 0.0018 | 1.7997e-05 | 0
| 38838 | 38589 | 38800 | 39672 | 36478 | 36924 | 38724 | 39036 | 36487 | 39986 | 38185 | 40195 | 40088 | 38961 | 39556 | 38731 | 0.001 | 38703.125 | MonoSulfNaphth | 538 |  |  | 32364 | 31317 | 31851 | 31442 | 31869 | 31718 | 31111 | 32743 | 31801.875 | 3.9391e-10 | 0.0024 | 2.3996e-05 | 0.0016416
| 56105 | 54693 | 55667 | 55414 | 53018 | 56085 | 54265 | 53961 | 53935 | 52089 | 55248 | 54122 | 54057 | 53746 | 54390 | 52110 | 0.002 | 54306.5625 | MonoSulfPyre | 539 |  |  | 32566 | 33243 | 33250 | 33030 | 32592 | 31407 | 33725 | 31806 | 32702.375 | 3.3868e-10 | 0.0029 | 2.8995e-05 | 0.0011681
| 67742 | 68729 | 70389 | 70154 | 70004 | 69767 | 70533 | 68727 | 73045 | 74856 | 73429 | 73898 | 73906 | 74499 | 75236 | 75254 | 0.003 | 71885.5 | DiSulfPyrene | 540 |  |  | 25302 | 24980 | 25613 | 25447 | 24566 | 25409 | 25501 | 25022 | 25230 |  | 0.0025 | 2.4996e-05 | 0
| 74954 | 77348 | 74921 | 75793 | 76363 | 76454 | 76202 | 76995 | 86171 | 85536 | 85856 | 87491 | 85040 | 86843 | 86193 | 86682 | 0.004 | 81177.625 | TetraSulfPyrene | 541 |  |  | 24957 | 25285 | 25777 | 25740 | 25473 | 24951 | 26127 | 25771 | 25510.125 | 1.5273e-11 | 0.0004 | 3.9993e-06 | 0.0003819
| 85639 | 87624 | 87400 | 88072 | 88180 | 90182 | 89705 | 89135 | 103808 | 103543 | 103869 | 105258 | 100954 | 105040 | 103446 | 103296 | 0.005 | 95946.9375 |  | * |  |  | 24389 | 22725 | 23255 | 23602 | 22944 | 24245 | 23654 | 23793 | 23575.875
| 34893 | 34203 | 33715 | 34616 | 34572 | 33659 | 33485 | 34571 | 32306 | 31715 | 32281 | 31487 | 33062 | 31600 | 32427 | 32590 |  |  |  | * |  |  | 23446 | 24451 | 23534 | 23776 | 24558 | 23367 | 23452 | 24204 | 23848.5
[20 empty] | * |  |  | 23379 | 23068 | 22664 | 22710 | 23054 | 23241 | 23331 | 23684 | 23141.375
Monosulfopyrene | 27073 | 27950 | 26302 | 27908 | 27099 | 27500 | 27130 | 26968 | 24851 | 26345 | 25434 | 25637 | 25386 | 25168 | 26243 | 25499 | 0 | 26405.8125
| 32879 | 33660 | 32355 | 33601 | 33063 | 33044 | 32835 | 32141 | 33189 | 35532 | 34881 | 35814 | 33823 | 34338 | 34949 | 34201 | 0.0005 | 33769.0625 |  | * |  |  | 24706 | 23925 | 25502 | 25566 | 23853 | 24946 | 24131 | 24935 | 24695.5
| 43093 | 43787 | 43692 | 43951 | 41501 | 43137 | 44182 | 43070 | 44907 | 44739 | 45888 | 47741 | 45425 | 46532 | 45626 | 46193 | 0.001 | 44591.5 |  | * |  |  | 25416 | 25589 | 23965 | 25245 | 25565 | 25617 | 25179 | 24093 | 25083.625
| 58557 | 59530 | 60087 | 59447 | 59599 | 58305 | 60648 | 60891 | 59421 | 59198 | 58683 | 59913 | 59829 | 59795 | 60213 | 59578 | 0.002 | 59605.875 |  | * |  |  | 24104 | 23565 | 23644 | 24855 | 23622 | 24879 | 23721 | 24648 | 24129.75
| 77776 | 76071 | 78076 | 76744 | 78694 | 76033 | 75461 | 76539 | 73961 | 74937 | 75637 | 75033 | 74271 | 73375 | 76592 | 72485 | 0.003 | 75730.3125 |  | * |  |  | 24569 | 24281 | 24384 | 25292 | 23777 | 24507 | 24676 | 24265 | 24468.875
| 97150 | 98853 | 99421 | 99712 | 97671 | 98033 | 98527 | 100466 | 100376 | 99627 | 102583 | 103619 | 100233 | 101346 | 101061 | 101586 | 0.004 | 100016.5 | HNDS | HNDS 1 | 1 | 5 | 27422 | 26651 | 25686 | 28207 | 26532 | 27446 | 27267 | 26789 | 27000 | -1.1569e-10 | 0.0006 | 3.2666e-06 | -0.0035416
| 136284 | 137708 | 133453 | 135042 | 133655 | 135068 | 132978 | 134672 | 117548 | 116506 | 116246 | 117908 | 114641 | 116110 | 117451 | 115912 | 0.005 | 125698.875 | HNDS | HNDS 0.5 | 0.5 | 5 | 32128 | 30160 | 30022 | 30905 | 31475 | 31981 | 32235 | 31226 | 31266.5 | 1.3691e-11 | 0.0003 | 1.6333e-06 | 0.00083828
| 348482 | 358028 | 350349 | 350406 | 350652 | 351576 | 346098 | 352626 | 346372 | 349098 | 356654 | 344479 | 347166 | 340794 | 347105 | 341894 | 0.01 | 348861.1875 | HNDS | HNDS 0.1 | 0.1 | 5 | 24647 | 25004 | 25173 | 25332 | 24689 | 23903 | 24394 | 24656 | 24724.75 | -1.8468e-10 | 0.0012 | 6.5331e-06 | -0.0028269
[19 empty] | HNDS | HNDS 0.01 | 0.01 | 5 | 41528 | 39054 | 30318 | 39017 | 39230 | 39794 | 29299 | 38924 | 37145.5 | 1.9197e-10 | 0.0006 | 3.2666e-06 | 0.0058768
Tetrasulfopyrene | 25672 | 25453 | 25602 | 25873 | 25269 | 26288 | 25737 | 25260 | 22930 | 24131 | 23982 | 23956 | 22835 | 23577 | 23512 | 24170 | 0 | 24640.4375
| 57314 | 59069 | 59436 | 59256 | 59202 | 58834 | 58817 | 57717 | 50909 | 51929 | 49630 | 51904 | 50533 | 50572 | 51049 | 51769 | 0.0005 | 54871.25
| 87383 | 85135 | 85557 | 85352 | 87538 | 87077 | 86026 | 87609 | 79876 | 80644 | 81238 | 81532 | 81909 | 79346 | 80673 | 81695 | 0.001 | 83661.875
| 151226 | 150659 | 150246 | 150298 | 150246 | 150133 | 150087 | 148745 | 196697 | 188606 | 195246 | 193430 | 195341 | 192738 | 198552 | 193521 | 0.002 | 172235.6875
| 197677 | 196609 | 192593 | 191884 | 192198 | 197504 | 192948 | 194919 | 237710 | 240323 | 242538 | 239830 | 242037 | 241829 | 241310 | 239912 | 0.003 | 217613.8125
| 243158 | 243081 | 244047 | 244960 | 242839 | 243765 | 244932 | 242904 | 243542 | 223021 | 225251 | 223612 | 228957 | 218048 | 222513 | 218104 | 0.004 | 234545.875
| 292471 | 289018 | 299833 | 300108 | 291556 | 287969 | 300521 | 298521 | 300608 | 294579 | 299973 | 293259 | 301770 | 297827 | 305093 | 292306 | 0.005 | 296588.25
| 512678 | 510641 | 515329 | 513946 | 508405 | 510968 | 510520 | 514841 | 510491 | 508350 | 507613 | 511915 | 508734 | 510602 | 510582 | 510131 | 0.01 | 510984.125

## Process (HPTS settings)
HNDS | 1985 | 2010 | 1878 | 1964 | 1777 | 1926 | 2045 | 2007 | 1845 | 1930 | 1983 | 1949 | 1966 | 2026 | 1924 | 1833 | 0 | 1940.5 |  |  | [Dye] | [Ca] | [15 empty] | Average mol%
| 3851 | 3887 | 3870 | 3903 | 3778 | 3810 | 3787 | 4064 | 4072 | 4021 | 4064 | 3958 | 4047 | 4078 | 3930 | 3987 | 0.0005 | 3944.1875 | RED | 534 | 0.001 | 25 | 2340 | 2321 | 2416 | 2566 | 2362 | 2384 | 2288 | 2393 | 2383.75 | 1.8348e-10 | 0.003 | 2.9995e-05 |  | 0.0006117 | 0.00041888 | 0.00051529
| 5993 | 6070 | 6212 | 6231 | 6211 | 6182 | 6261 | 6014 | 6413 | 6327 | 6100 | 6088 | 6337 | 6153 | 6391 | 6318 | 0.001 | 6206.3125 | RED | 543 | 0.1 | 5 | 24882 | 23915 | 23978 | 28719 | 24863 | 24934 | 24680 | 27792 | 25470.375 | 8.8679e-09 | 0.0023 | 2.2996e-05 |  | 0.038563 | 0.057558 | 0.048061
| 10916 | 10576 | 10502 | 10453 | 10568 | 10503 | 10358 | 10400 | 11101 | 10991 | 11200 | 11264 | 11259 | 10834 | 11361 | 11198 | 0.002 | 10842.75 |  | * |  |  | 1844 | 1867 | 1927 | 1895 | 1900 | 1967 | 1914 | 1926 | 1905 | [6 empty] | #DIV/0!
| 15503 | 14986 | 15199 | 15322 | 15312 | 15407 | 15512 | 15625 | 15292 | 15306 | 15190 | 15537 | 15040 | 15341 | 16123 | 15869 | 0.003 | 15410.25 |  | * |  |  | 1934 | 1881 | 1834 | 1812 | 1974 | 1890 | 1997 | 1852 | 1896.75 | [6 empty] | #DIV/0!
| 19348 | 19348 | 19291 | 19395 | 19282 | 19277 | 18949 | 19316 | 18960 | 19102 | 19408 | 18981 | 19145 | 19393 | 19075 | 19206 | 0.004 | 19217.25 | RED | Red 0.001 | 0.001 | 5 | 3269 | 3208 | 3200 | 3090 | 3237 | 2897 | 3183 | 3178 | 3157.75 | 4.7463e-10 | 0.0013 | 7.0775e-06 |  | 0.0067062 | 0.021562 | 0.014134
| 25550 | 25308 | 24895 | 25030 | 24842 | 25233 | 25857 | 24876 | 25162 | 25088 | 25111 | 24244 | 25086 | 25183 | 25254 | 24717 | 0.005 | 25089.75 |  | * |  |  | 1954 | 1905 | 1915 | 1886 | 1803 | 1893 | 1925 | 1826 | 1888.375 | [6 empty] | #DIV/0!
| 47333 | 47791 | 47480 | 46664 | 47619 | 47743 | 47105 | 47133 | 47718 | 46749 | 46788 | 46719 | 47364 | 48112 | 47619 | 46911 | 0.01 | 47303 |  | * |  |  | 1562 | 1328 | 1458 | 1430 | 1581 | 1591 | 1501 | 1469 | 1490 | [6 empty] | #DIV/0!
[20 empty] | * |  |  | 1513 | 1516 | 1370 | 1513 | 1427 | 1441 | 1577 | 1535 | 1486.5 | [6 empty] | #DIV/0!
HPTS | 1826 | 1887 | 1802 | 1877 | 1844 | 1808 | 1858 | 1872 | 1942 | 1860 | 2063 | 1871 | 1927 | 1860 | 1848 | 1769 | 0 | 1869.625 | [19 empty] | #DIV/0!
| 24485 | 23661 | 24166 | 24129 | 24489 | 24091 | 24330 | 24056 | 26059 | 25124 | 25535 | 25304 | 26386 | 25415 | 25448 | 24908 | 0.0005 | 24849.125 |  | * |  |  | 1823 | 1837 | 1845 | 1869 | 2035 | 1925 | 1936 | 1836 | 1888.25 | [6 empty] | #DIV/0!
| 48507 | 47200 | 48767 | 47052 | 48210 | 48225 | 48888 | 48482 | 48465 | 48826 | 48279 | 48732 | 47911 | 46401 | 47502 | 48596 | 0.001 | 48127.6875 |  | * |  |  | 1760 | 1807 | 1795 | 1862 | 1831 | 1740 | 1783 | 1770 | 1793.5 | [6 empty] | #DIV/0!
| 89394 | 90401 | 88760 | 89355 | 90281 | 89758 | 89300 | 90727 | 89496 | 89097 | 90210 | 88886 | 89669 | 89022 | 89949 | 89351 | 0.002 | 89603.5 |  | * |  |  | 1707 | 1698 | 1592 | 1754 | 1734 | 1664 | 1829 | 1718 | 1712 | [6 empty] | #DIV/0!
| 136213 | 134230 | 134227 | 134916 | 135622 | 134838 | 136295 | 135077 | 130299 | 129851 | 129748 | 130061 | 129422 | 128818 | 130200 | 131374 | 0.003 | 132574.4375 |  | * |  |  | 2039 | 1991 | 1903 | 1898 | 1926 | 2032 | 2127 | 1860 | 1972 | [6 empty] | #DIV/0!
| 165970 | 166934 | 167932 | 166726 | 166252 | 168896 | 165806 | 168611 | 168301 | 169624 | 167284 | 169004 | 169016 | 167200 | 169359 | 167400 | 0.004 | 167769.6875 | HNDS | HNDS 1 | 1 | 5 | 2121 | 2501 | 1962 | 2246 | 2149 | 2205 | 2051 | 2191 | 2178.25 | 1.0209e-10 | 0.0006 | 3.2666e-06 |  | 0.0031252 | 0.010061 | 0.0065932
| 191869 | 193229 | 193957 | 191524 | 191798 | 192173 | 193507 | 189915 | 204295 | 207067 | 202555 | 205996 | 204912 | 206343 | 204406 | 204182 | 0.005 | 198608 | HNDS | HNDS 0.5 | 0.5 | 5 | 2199 | 2227 | 2328 | 2076 | 2139 | 2119 | 2224 | 2122 | 2179.25 | 1.0231e-10 | 0.0003 | 1.6333e-06 |  | 0.0062639 | 0.0099517 | 0.0081078
| 359260 | 358653 | 360022 | 358187 | 358408 | 359435 | 358406 | 361678 | 355465 | 355424 | 351512 | 351485 | 359736 | 352698 | 355889 | 356152 | 0.01 | 357025.625 | HNDS | HNDS 0.1 | 0.1 | 5 | 1902 | 1794 | 1918 | 1904 | 1915 | 1824 | 1832 | 1899 | 1873.5 | 3.5239e-11 | 0.0012 | 6.5331e-06 |  | 0.00053939 | 0.00070561 | 0.0006225
[19 empty] | HNDS | HNDS 0.01 | 0.01 | 5 | 1929 | 1780 | 1974 | 1804 | 1873 | 1772 | 1819 | 1730 | 1835.125 | 2.6821e-11 | 0.0006 | 3.2666e-06 |  | 0.00082109 | 0.001705 | 0.001263
RED | 1692 | 1839 | 1639 | 1739 | 1751 | 1752 | 1737 | 1857 | 2040 | 2035 | 1954 | 1955 | 2083 | 1960 | 2066 | 2062 | 0 | 1885.0625 | [19 empty] | #DIV/0!
| 3034 | 3118 | 3070 | 3174 | 3238 | 3174 | 3107 | 3160 | 3622 | 3569 | 3662 | 3690 | 3458 | 3638 | 3596 | 3551 | 0.0005 | 3366.3125 | HPTS | 526 | 0.005 | 25 | 2336 | 2174 | 2181 | 1999 | 2255 | 2223 | 2065 | 2167 | 2175 | 8.1567e-12 | 0.0015 | 1.4997e-05 |  | 5.4388e-05 | 0.00010384 | 7.9112e-05
| 4705 | 4952 | 4752 | 4661 | 4721 | 4604 | 4757 | 4669 | 4227 | 4436 | 4329 | 4311 | 4354 | 4439 | 4300 | 4577 | 0.001 | 4549.625 |  | * |  |  | 1937 | 2033 | 2031 | 1963 | 1951 | 1975 | 2077 | 2088 | 2006.875 | [6 empty] | #DIV/0!
| 6728 | 6619 | 6702 | 6783 | 6521 | 6679 | 6540 | 6596 | 7747 | 7926 | 7858 | 7981 | 7966 | 7705 | 8009 | 7873 | 0.002 | 7264.5625 |  | * |  |  | 1915 | 1922 | 1940 | 1921 | 2027 | 1976 | 1990 | 1906 | 1949.625 | [6 empty] | #DIV/0!
| 9850 | 9963 | 9648 | 9652 | 9658 | 9705 | 9541 | 9365 | 8981 | 8934 | 9151 | 9066 | 9467 | 9174 | 8798 | 9098 | 0.003 | 9378.1875 |  | * |  |  | 1963 | 1981 | 1853 | 1948 | 2106 | 1982 | 1962 | 1982 | 1972.125 | [6 empty] | #DIV/0!
| 12249 | 12354 | 11922 | 12286 | 12137 | 12070 | 12002 | 12292 | 13678 | 13421 | 13450 | 13211 | 13520 | 13249 | 13407 | 13343 | 0.004 | 12786.9375 |  | HPTS 1 | 1 | 5 | 35647 | 36408 | 36124 | 35840 | 36344 | 36135 | 35982 | 35728 | 36026 | 9.1049e-10 | 0.0008 | 4.3554e-06 |  | 0.020905 | 0.019907 | 0.020406
| 15085 | 15319 | 14688 | 15023 | 14893 | 15007 | 14897 | 14548 | 15919 | 15825 | 15599 | 15680 | 16382 | 16030 | 15583 | 15765 | 0.005 | 15390.1875 |  | HPTS 0.5 | 0.5 | 5 | 8614 | 8756 | 9041 | 8943 | 9145 | 8863 | 8893 | 8978 | 8904.125 | 1.8753e-10 | 0.0005 | 2.7221e-06 |  | 0.006889 | 0.0074503 | 0.0071697
| 28228 | 27899 | 28534 | 27968 | 27536 | 28092 | 28101 | 27775 | 28311 | 29325 | 28656 | 29199 | 27447 | 28997 | 27967 | 29371 | 0.01 | 28337.875 |  | HPTS 0.1 | 0.1 | 5 | 3851 | 3985 | 3918 | 3908 | 3904 | 3929 | 3893 | 3818 | 3900.75 | 5.4158e-11 | 0.0008 | 4.3554e-06 |  | 0.0012435 | 0.0016624 | 0.0014529
[20 empty] | HPTS 0.01 | 0.01 | 5 | 2309 | 2443 | 2423 | 2311 | 2263 | 2342 | 2371 | 2315 | 2347.125 | 1.2745e-11 | 0.017 | 9.2552e-05 |  | 1.3771e-05 | 4.9747e-05 | 3.1759e-05
MnoSulfopyrene | 1889 | 1945 | 2048 | 1962 | 1979 | 1996 | 1944 | 2002 | 1918 | 1822 | 1822 | 1945 | 1909 | 1847 | 1796 | 1844 | 0 | 1916.75 | [19 empty] | #DIV/0!
| 1960 | 1993 | 1967 | 2070 | 1963 | 1894 | 1947 | 1967 | 2173 | 2296 | 2226 | 2168 | 2355 | 2203 | 2232 | 2147 | 0.0005 | 2097.5625 |  | * |  |  | 1482 | 1455 | 1442 | 1369 | 1484 | 1453 | 1456 | 1515 | 1457 | [6 empty] | #DIV/0!
| 2365 | 2466 | 2474 | 2277 | 2572 | 2533 | 2326 | 2244 | 2447 | 2425 | 2343 | 2420 | 2417 | 2386 | 2454 | 2412 | 0.001 | 2410.0625 |  | * |  |  | 1494 | 1547 | 1470 | 1482 | 1452 | 1456 | 1442 | 1414 | 1469.625 | [6 empty] | #DIV/0!
| 2828 | 2757 | 2745 | 2754 | 2725 | 2891 | 2833 | 2760 | 2772 | 2840 | 2759 | 2699 | 2777 | 2744 | 2795 | 2783 | 0.002 | 2778.875 |  | * |  |  | 1451 | 1456 | 1497 | 1472 | 1507 | 1484 | 1419 | 1558 | 1480.5 | [6 empty] | #DIV/0!
| 3211 | 3178 | 3090 | 3324 | 3339 | 3206 | 3325 | 3243 | 3275 | 3152 | 3361 | 3145 | 3079 | 3290 | 3356 | 3173 | 0.003 | 3234.1875 |  | * |  |  | 1565 | 1521 | 1490 | 1481 | 1545 | 1485 | 1489 | 1436 | 1501.5 | [6 empty] | #DIV/0!
| 4005 | 4137 | 4085 | 3804 | 4006 | 3869 | 3890 | 3906 | 3954 | 4233 | 4053 | 4146 | 4168 | 4255 | 4086 | 4258 | 0.004 | 4053.4375 | On Glass | HPTS 1 | 1 | 5 | 61100 | 61393 | 60973 | 59010 | 60369 | 60490 | 61052 | 58523 | 60363.75 | 1.5592e-09 | 0.0017 | 9.2552e-06 |  | 0.016847 | 0.026099 | 0.021473
| 5024 | 5098 | 5028 | 4992 | 5059 | 5081 | 4956 | 4895 | 4244 | 4324 | 4127 | 4406 | 4426 | 4306 | 4117 | 4001 | 0.005 | 4630.25 | On Glass | HPTS 0.5 | 0.5 | 5 | 43326 | 42785 | 42300 | 41997 | 42707 | 40812 | 43203 | 43339 | 42558.625 | 1.0846e-09 | 0.0051 | 2.7766e-05 |  | 0.0039063 | 0.0077031 | 0.0058047
| 8418 | 8610 | 8231 | 8405 | 8301 | 8378 | 8591 | 8630 | 8325 | 8457 | 8290 | 8299 | 7838 | 8123 | 7852 | 8153 | 0.01 | 8306.3125 | On Glass | HPTS 0.1 | 0.1 | 5 | 3822 | 3742 | 3588 | 3720 | 3673 | 3662 | 3742 | 3804 | 3719.125 | 4.9317e-11 | 0.0018 | 9.7997e-06 |  | 0.00050325 | 0.0013125 | 0.00090789
[19 empty] | On Glass | HPTS 0.01 | 0.01 | 5 | 2608 | 2591 | 2519 | 2618 | 2467 | 2513 | 2546 | 2570 | 2554 | 1.8259e-11 | 0.0037 | 2.0144e-05 |  | 9.0645e-05 | 0.00027763 | 0.00018414
DiSulfopyrene | 1859 | 1813 | 1851 | 1864 | 1838 | 1773 | 1875 | 1906 | 1860 | 1845 | 1891 | 1968 | 2055 | 2028 | 1977 | 1989 | 0 | 1899.5 | [19 empty] | #DIV/0!
| 19860 | 20253 | 20155 | 20017 | 19920 | 20546 | 20205 | 19932 | 18397 | 19234 | 18314 | 18333 | 18762 | 18546 | 18536 | 18769 | 0.0005 | 19361.1875 | SRhB | 537 | 0.1 | 5 | 2177 | 2182 | 2226 | 2276 | 2273 | 2228 | 2321 | 2139 | 2227.75 | 6.666e-10 | 0.0018 | 1.7997e-05 |  | 0.003704 | 0.00010327 | 0.0019036
| 37701 | 38217 | 37687 | 38283 | 38275 | 37489 | 37818 | 37531 | 36606 | 36728 | 36117 | 36289 | 36377 | 36369 | 36330 | 35559 | 0.001 | 37086 | MonoSulfNaphth | 538 | 0.1 | 5 | 2513 | 2528 | 2675 | 2498 | 2418 | 2533 | 2604 | 2539 | 2538.5 |  | 0.0024 | 2.3996e-05 | 0.0016416 |  | 0 | 0.0008208
| 68862 | 69865 | 68991 | 69336 | 68165 | 70020 | 70095 | 69479 | 73571 | 74365 | 72184 | 73733 | 71804 | 75018 | 72747 | 74267 | 0.002 | 71406.375 | MonoSulfPyre | 539 | 0.1 | 5 | 5559 | 5682 | 5374 | 5664 | 5605 | 5525 | 5545 | 5990 | 5618 | 6.2258e-09 | 0.0029 | 2.8995e-05 | 0.0011681 | 0.021472 | 0 | 0.0075467
| 113373 | 111890 | 110659 | 112477 | 113384 | 110644 | 111063 | 111444 | 107131 | 106242 | 107457 | 106756 | 107590 | 106569 | 106884 | 107153 | 0.003 | 109419.75 | DiSulfPyrene | 540 | 0.1 | 5 | 7867 | 8083 | 7939 | 7935 | 8099 | 7947 | 7812 | 7879 | 7945.125 | 1.9593e-10 | 0.0025 | 2.4996e-05 |  | 0.00078387 | 0.039572 | 0.020178
| 140682 | 141561 | 141388 | 140714 | 140840 | 141565 | 140579 | 139864 | 142815 | 143724 | 141651 | 141361 | 142385 | 141483 | 141108 | 141876 | 0.004 | 141474.75 | TetraSulfPyrene | 541 | 0.1 | 5 | 2027 | 2017 | 2053 | 2124 | 2048 | 1933 | 1954 | 2083 | 2029.875 |  | 0.0004 | 3.9993e-06 | 0.0003819 |  | 0 | 0.00019095
| 177627 | 174750 | 175645 | 176424 | 175844 | 177196 | 177201 | 175628 | 164782 | 164445 | 163970 | 164134 | 165845 | 163508 | 164494 | 164062 | 0.005 | 170347.1875 |  | * |  |  | 1860 | 2070 | 1983 | 1810 | 2124 | 2013 | 1939 | 1801 | 1950 | [6 empty] | #DIV/0!
| 285689 | 287156 | 287916 | 287594 | 285425 | 287242 | 286976 | 288645 | 298246 | 302278 | 295121 | 301024 | 296275 | 300688 | 296184 | 296220 | 0.01 | 292667.4375 |  | * |  |  | 1854 | 1979 | 1956 | 1840 | 1948 | 1895 | 1897 | 1733 | 1887.75 | [6 empty] | #DIV/0!
[20 empty] | * |  |  | 2205 | 2105 | 2084 | 1932 | 1961 | 1978 | 2013 | 2049 | 2040.875 | [6 empty] | #DIV/0!
SRhB | 1953 | 2003 | 2103 | 2018 | 2002 | 1929 | 2254 | 1993 | 1847 | 1952 | 1920 | 1745 | 1890 | 1924 | 1901 | 1812 | 0 | 1952.875 | [19 empty] | #DIV/0!
| 2434 | 2369 | 2458 | 2463 | 2344 | 2464 | 2360 | 2441 | 2161 | 2230 | 2064 | 2195 | 2029 | 2274 | 2022 | 2048 | 0.0005 | 2272.25 | RED | 503 | 0.002 | 3.5 | 9133 | 8748 | 8779 | 8739 | 9055 | 8685 | 8735 | 8507 | 8797.625 | 2.5962e-09 | 0.0026 | 2.5995e-05 |  | 0.0099871 | 0.023057 | 0.016522
| 2453 | 2508 | 2666 | 2536 | 2515 | 2499 | 2382 | 2415 | 2379 | 2465 | 2437 | 2421 | 2560 | 2469 | 2458 | 2472 | 0.001 | 2477.1875 | RED | 504 | 0.001 | 3.5 | 5629 | 5899 | 5755 | 5634 | 5609 | 5612 | 5823 | 5701 | 5707.75 | 1.4339e-09 | 0.0014 | 1.3997e-05 |  | 0.010244 | 0.01905 | 0.014647
| 2880 | 2777 | 2814 | 2824 | 2826 | 2835 | 2998 | 2904 | 3010 | 3204 | 3071 | 3070 | 3194 | 3027 | 3018 | 3261 | 0.002 | 2982.0625 | RED | 518 | 0.02 | 5 | 3399 | 3331 | 3312 | 3390 | 3290 | 3225 | 3287 | 3154 | 3298.5 | 5.2758e-10 | 0.001 | 9.9982e-06 |  | 0.0052767 | 0.015445 | 0.010361
| 3732 | 3872 | 3873 | 3747 | 3697 | 3801 | 3683 | 3723 | 3501 | 3443 | 3399 | 3567 | 3515 | 3517 | 3180 | 3378 | 0.003 | 3601.75 | RED | 519 | 0.05 | 5 | 9385 | 9282 | 9250 | 9335 | 9248 | 9431 | 9214 | 9293 | 9304.75 | 2.7869e-09 | 0.0018 | 1.7997e-05 |  | 0.015486 | 0.030067 | 0.022776
| 3936 | 4023 | 4034 | 3923 | 3813 | 4057 | 3995 | 3916 | 4387 | 4143 | 4129 | 4013 | 4085 | 4226 | 4054 | 4017 | 0.004 | 4046.9375 | RED | 520 | 0.005 | 5 | 5499 | 5438 | 5421 | 5067 | 5617 | 5316 | 5412 | 5062 | 5354 | 1.3008e-09 | 0.001 | 9.9982e-06 |  | 0.01301 | 0.026404 | 0.019707
| 4867 | 4705 | 4734 | 4772 | 4733 | 4585 | 4839 | 4794 | 4341 | 4247 | 4414 | 4120 | 4436 | 4233 | 4287 | 4162 | 0.005 | 4516.8125 | RED | 521 | 0.002 | 5 | 2120 | 2036 | 2224 | 2157 | 2172 | 2105 | 2086 | 1962 | 2107.75 | 7.9654e-11 | 0.0008 | 7.9986e-06 |  | 0.00099585 | 0.0052178 | 0.0031068
| 7136 | 6983 | 7211 | 7040 | 7046 | 7239 | 7233 | 7088 | 7190 | 7125 | 7365 | 7497 | 7015 | 7389 | 7501 | 7234 | 0.01 | 7205.75 | RED | 532 | 0.01 | 25 | 3730 | 3595 | 3746 | 3589 | 3791 | 3666 | 3576 | 3844 | 3692.125 | 6.7564e-10 | 0.0027 | 2.6995e-05 |  | 0.0025028 | 0.0095874 | 0.0060451
[19 empty] | RED | 533 | 0.002 | 25 | 2297 | 2394 | 2359 | 2415 | 2232 | 2268 | 2293 | 2192 | 2306.25 | 1.5432e-10 | 0.003 | 2.9995e-05 |  | 0.0005145 | 0.0017501 | 0.0011323
#DIV/0!
[19 empty] | HNDS | 505 | 0.1 | 3.5 | 5531 | 5626 | 5801 | 5600 | 5744 | 5948 | 5775 | 5583 | 5701 | 8.7481e-10 | 0.0015 | 1.4997e-05 | 0.0038386 | 0.0058331 | 0.0045783 | 0.00475
[19 empty] | HNDS | 507 | 0.01 | 3.5 | 2258 | 2376 | 2311 | 2313 | 2370 | 2356 | 2374 | 2149 | 2313.375 | 1.3173e-10 | 0.0013 | 1.2998e-05 | -0.00058373 | 0.0010135 | 0.00088704 | 0.00043893
[19 empty] | HNDS | 515 | 0.05 | 5 | 19815 | 19250 | 19353 | 18870 | 19658 | 19140 | 19975 | 18997 | 19382.25 | 3.8758e-09 | 0.0023 | 2.2996e-05 | 0.018104 | 0.016854 | 0.012039 | 0.015666
[19 empty] | HNDS | 516 | 0.01 | 5 | 7535 | 7806 | 7806 | 7793 | 7728 | 7701 | 7983 | 7667 | 7752.375 | 1.3248e-09 | 0.003 | 2.9995e-05 | 0.0042725 | 0.0044167 | 0.0030993 | 0.0039295
[19 empty] | HNDS | 527 | 0.1 | 25 | 34511 | 34711 | 34380 | 34733 | 34874 | 34679 | 34620 | 34406 | 34614.25 | 7.217e-09 | 0.0017 | 1.6997e-05 | 0.040824 | 0.042461 | 0.029435 | 0.037573
[19 empty] | HNDS | 530 | 0.005 | 25 | 3822 | 3955 | 3932 | 3859 | 3967 | 4003 | 3989 | 4155 | 3960.25 | 4.9297e-10 | 0.0021 | 2.0996e-05 | 0.0016325 | 0.0023479 | 0.0018673 | 0.0019492
[20 empty] | * |  |  | 1916 | 2012 | 2083 | 1922 | 1976 | 1892 | 1894 | 1950 | 1955.625 | [6 empty] | #DIV/0!
[20 empty] | * |  |  | 1979 | 2029 | 1955 | 1910 | 1913 | 2123 | 1894 | 1930 | 1966.625 | [6 empty] | #DIV/0!
#DIV/0!
[19 empty] | HPTS | 501 | 0.1 | 3.5 | 6923 | 6829 | 6977 | 6965 | 6960 | 6971 | 7133 | 6780 | 6942.25 | 1.3523e-10 | 0.0018 | 1.7997e-05 |  | 0.00075143 | 0.0018959 | 0.0013237
[19 empty] | HPTS | 510 | 0.1 | 5 | 6609 | 6241 | 6448 | 6407 | 6590 | 6550 | 6286 | 6458 | 6448.625 | 1.2207e-10 | 0.0064 | 6.3988e-05 |  | 0.00019078 | 0.00035749 | 0.00027413
[19 empty] | HPTS | 511 | 0.05 | 5 | 3021 | 2871 | 2979 | 2989 | 2968 | 2844 | 2930 | 2706 | 2913.5 | 2.7842e-11 | 0.003 | 2.9995e-05 |  | 9.2824e-05 | 0.00013992 | 0.00011637
[19 empty] | HPTS | 512 | 0.01 | 5 | 1960 | 1896 | 2066 | 2011 | 1960 | 1962 | 1912 | 1930 | 1962.125 | 2.4823e-12 | 0.0017 | 1.6997e-05 |  | 1.4605e-05 | 5.3833e-05 | 3.4219e-05
[19 empty] | HPTS | 513 | 0.005 | 5 | 2108 | 2212 | 2250 | 2162 | 2167 | 2170 | 2260 | 2221 | 2193.75 | 8.6565e-12 | 0.0029 | 2.8995e-05 |  | 2.9856e-05 | 5.8681e-05 | 4.4268e-05
[19 empty] | HPTS | 523 | 0.1 | 25 | 5947 | 6101 | 6171 | 5991 | 6069 | 6022 | 5860 | 5921 | 6010.25 | 1.1039e-10 | 0.0035 | 3.4994e-05 |  | 0.00031545 | 0.0003607 | 0.00033808
[19 empty] | HPTS | 524 | 0.05 | 25 | 3281 | 3401 | 3357 | 3181 | 3349 | 3394 | 3290 | 3367 | 3327.5 | 3.8878e-11 | 0.0026 | 2.5995e-05 |  | 0.00014956 | 0.00026541 | 0.00020749
[19 empty] | HPTS | 525/529 | 0.01 | 25 | 2169 | 2202 | 2234 | 2125 | 2159 | 2063 | 2208 | 2107 | 2158.375 | 7.7136e-12 | 0.0024 | 2.3996e-05 |  | 3.2146e-05 | 9.357e-05 | 6.2858e-05

## Compiled Data
|  | HNDS | HPTS | RED | SRhB | MonoSulfNaphth | MonoSulfPyre | DiSulfPyrene | TetraSulfPyrene | RED | 503 | 0.002 | 3.5
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RED | 504 | 0.001 | 3.5
25 | 0.1 | 0.037573 | 0.0033808 | [6 empty] | RED | 518 | 0.02 | 5
25 | 0.05 |  | 0.0020749 | [6 empty] | RED | 519 | 0.05 | 5
25 | 0.01 |  | 0.00062858 | 0.0060451 | [5 empty] | RED | 520 | 0.005 | 5
25 | 0.005 | 0.0019492 | 0.00079112 | [6 empty] | RED | 521 | 0.002 | 5
25 | 0.002 |  |  | 0.0011323 | [5 empty] | RED | 532 | 0.01 | 25
25 | 0.001 |  |  | 0.00051529 | [5 empty] | RED | 533 | 0.002 | 25
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | #DIV/0!
5 | 0.1 | 0 | 0.0027413 | 0.048061 | 0.0019036 | 0.0008208 | 0.0075467 | 0.020178 | 0.00019095 | HNDS | 505 | 0.1 | 3.5
5 | 0.05 | 0.015666 | 0.0011637 | 0.022776 | [5 empty] | HNDS | 507 | 0.01 | 3.5
5 | 0.02 |  |  | 0.010361 | [5 empty] | HNDS | 515 | 0.05 | 5
5 | 0.01 | 0.0039295 | 0.00034219 | [6 empty] | HNDS | 516 | 0.01 | 5
5 | 0.005 |  | 0.00044268 | 0.019707 | [5 empty] | HNDS | 527 | 0.1 | 25
5 | 0.002 |  |  | 0.0031068 | [5 empty] | HNDS | 530 | 0.005 | 25
3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | * |  |  | #DIV/0!
3.5 | 0.1 | 0.0475 | 0.013237 | [7 empty] | * |  |  | #DIV/0!
3.5 | 0.05 | [12 empty] | #DIV/0!
3.5 | 0.01 | 0.0043893 | [7 empty] | HPTS | 501 | 0.1 | 3.5
3.5 | 0.005 | [8 empty] | HPTS | 510 | 0.1 | 5
3.5 | 0.002 |  |  | 0.016522 | [5 empty] | HPTS | 511 | 0.05 | 5
3.5 | 0.001 |  |  | 0.014647 | [5 empty] | HPTS | 512 | 0.01 | 5
[10 empty] | HPTS | 513 | 0.005 | 5
[10 empty] | HPTS | 523 | 0.1 | 25
SrSO4 |  | HNDS | HPTS | RED | [5 empty] | HPTS | 524 | 0.05 | 25
5 | 1 | 0.0065932 | 0.020406 | [6 empty] | HPTS | 525/529 | 0.01 | 25
5 | 0.5 | 0.0081078 | 0.0071697
5 | 0.1 | 0.0006225 | 0.0014529
5 | 0.01 | 0.001263 | 3.1759e-05
5 | 0.001 |  |  | 0.014134
| 0 | 0 | 0 | 0
25 | 0 | 0
25 | 0.1 | 0.004
25 | 0.05 | 0.002
25 | 0.01 | 0.0004
25 | 0.005 | 0.0002
25 | 0.002 | 8e-05
25 | 0.001 | 4e-05
5 | 0 | 0
5 | 0.1 | 0.02
5 | 0.05 | 0.01
5 | 0.02 | 0.004
5 | 0.01 | 0.002
5 | 0.005 | 0.001
5 | 0.002 | 0.0004
3.5 | 0 | 0
3.5 | 0.1 | 0.028571
3.5 | 0.05 | 0.014286
3.5 | 0.01 | 0.0028571
3.5 | 0.005 | 0.0014286
3.5 | 0.002 | 0.00057143
3.5 | 0.001 | 0.00028571

## YYK analysis 300115
[22 empty] | RED |  | HPTS |  |  | HNDS
a | c |  |  |  | a axis |  |  |  |  | c axis | [6 empty] | HNDS |  |  | HPTS | Incorporation (mol%) | d(a) | d(c) | d(a) | d(c) |  | d(a) | d(c)
|  | 350322-mac-001.dat | CaCO3 5 mM + HNDS 0.05 mM |  |  |  | HNDS | HPTS | RED |  |  | HNDS | HPTS | RED | 5 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
|  | 350328-mac-001.dat | CaCO3 5 mM + HNDS 0.01 mM |  | 25 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 5 | 0.1 | 0.015666 |  |  |  | 0.048061 | -0.00019953 | 0.00016473
[5 empty] | 25 | 0.1 | 0.00015824 | 0.00017074 |  | 25 | 0.1 | 1.0553e-05 | 3.635e-05 |  | 5 | 0.05 | 0.0039295 | -6.01e-06 | 5.2174e-05 |  | 0.022776 | -0.0001785 | 0.00015125 |  |  |  | d(a) | d(c)
[5 empty] | 25 | 0.05 |  |  |  | 25 | 0.05 |  |  |  | 5 | 0.02 |  |  |  |  | 0.019707 | -0.00013563 | 0.00015242 |  |  | 0 | 0 | 0
|  | 350307-mac-001.dat | CaCO3 5 mM + HPTS 0.01 mM |  | 25 | 0.01 |  | 7.7918e-05 | 0.00014602 | 25 | 0.01 |  | 2.1106e-05 | -1.8175e-05 | 5 | 0.01 |  |  |  |  | 0.015666 |  |  |  |  | 0.015666 | 0.00027154 | -9.614e-05
|  | 350306-mac-001.dat | CaCO3 5 mM + Red dye 0.005 mM |  | 25 | 0.005 | 0.0001348 |  |  | 25 | 0.005 | -4.6903e-06 |  |  | 5 | 0.005 |  |  |  |  | 0.0039295 |  |  |  |  | 0.0039295 | -6.01e-06 | 5.2174e-05
0 | 0 |  |  |  | 25 | 0.002 |  |  | 0.00018187 | 25 | 0.002 |  |  | -4.6316e-05 | 5 | 0.002 |  |  |  |  | 0.00027413 |  |  | -8.8348e-05 | 3.5173e-05
|  | 350331-mac-001.dat | CaCO3 25 mM + HPTS 0.01 mM |  | 25 | 0.001 |  |  |  | 25 | 0.001 | [9 empty] | 0.00011637 |  |  | -4.808e-05 | -8.7933e-06
|  | 350334-mac-001.dat | CaCO3 5 mM + Red dye 0.05 mM |  | 5 | 0 |  | 0 | 0 | 5 | 0 |  |  | 0 | [6 empty] | 3.4219e-05 |  |  | -6.591e-05 | 4.338e-05
|  | 350336-mac-001.dat | CaCO3 25 mM + Red dye 0.002 mM |  | 5 | 0.1 |  |  | -0.00019953 | 5 | 0.1 |  |  | 0.00016473 | [6 empty] | 4.4268e-05 |  |  | -5.0084e-05 | 6.1553e-05
|  | 350337-mac-001.dat | CaCO3 25 mM + HNDS 0.005 mM |  | 5 | 0.05 |  |  | -0.0001785 | 5 | 0.05 |  |  | 0.00015125
|  | 350338-mac-001.dat | CaCO3 5 mM + HNDS 0.005 mM |  | 5 | 0.02 |  |  | 0.0003618 | 5 | 0.02 |  |  | -8.7347e-05
|  | 350339-mac-001.dat | CaCO3 5 mm + Red dye 0.02 mM |  | 5 | 0.01 |  |  |  | 5 | 0.01
|  | 350340-mac-001.dat | CaCO3 3.5 mM + HPTS 0.1 mM |  | 5 | 0.005 |  |  | -0.00013563 | 5 | 0.005 |  |  | 0.00015242
|  | 350341-mac-001.dat | CaCO3 3.5 mM + Red dye 0.002 mM |  | 5 | 0.002 |  |  |  | 5 | 0.002
|  | 350342-mac-001.dat | CaCO3 3.5 mM + HNDS 0.1 mM |  | 3.5 | 0 | 0 | 0 | 0 | 3.5 | 0 | 0 | 0 | 0
0 | 0 | 350343-mac-001.dat | CaCO3 3.5 mM reference |  | 3.5 | 0.1 | 2.1443e-05 | 7.6152e-06 |  | 3.5 | 0.1 | 3.6922e-05 | 2.3443e-06
|  | 350344-mac-001.dat | CaCO3 5 mM + HPTS 0.1 mM |  | 3.5 | 0.05 | -1.3627e-05 |  |  | 3.5 | 0.05 | -6.4467e-06
|  | 350345-mac-001.dat | CaCO3 5 mM + HNDS 0.1 mM |  | 3.5 | 0.01 | -6.012e-06 | -1.5431e-05 |  | 3.5 | 0.01 | -7.6189e-06 | -5.8607e-06
0 | 0 | 350346-mac-001.dat | CaCO3 5 mM reference |  | 3.5 | 0.005 |  |  |  | 3.5 | 0.005
|  | 350347-mac-001.dat | CaCO3 25 mM + HNDS 0.1 mM |  | 3.5 | 0.002 |  |  | -5.2104e-06 | 3.5 | 0.002 |  |  | -2.7545e-05
0.00016785 | -1.7002e-05 | 350348-mac-001.dat |  | ? | 3.5 | 0.001 |  |  | 8.6172e-06 | 3.5 | 0.001 |  |  | -4.7471e-05
|  | 350349-mac-001.dat |  | CaCO3 25 mM + HPTS 0.1 mM
|  | 350354-mac-001.dat |  | CaCO3 3.5 mM + HNDS 0.01 mM
|  | 350357-mac-001.dat |  | CaCO3 3.5 mM + Red dye 0.001 mM
|  | 350358-mac-001.dat |  | CaCO3 5 mM + HPTS 0.05 mM
|  | 350360-mac-001.dat |  | CaCO3 3.5 mM + HPTS 0.01 mM
|  | 350367-mac-001.dat |  | CaCO3 5 mM + Red dye 0.1 mM
|  | 350369-mac-001.dat |  | CaCO3 25 mM + Red dye 0.01 mM
|  | 350371-mac-001.dat |  | CaCO3 3.5 mM + HNDS 0.05 mM